## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4941-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4941-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4941-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4941-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4941-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4941-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4941-5_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_4941-5_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_4941-5_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_4941-5_0_3_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_4941-5_0_3_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_4941-5_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_4941-5_0_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_4941-5_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_4941-5_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4941-5_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4941-5_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4941-5_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4941-5_0_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_4941-5_0_3_node_104 | 0.4 | n |  | TRUE
20 | bus_LV_4941-5_0_3_node_94 | 0.4 | n |  | TRUE
21 | bus_LV_4941-5_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4941-5_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4941-5_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4941-5_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4941-5_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4941-5_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4941-5_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_4941-5_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_4941-5_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4941-5_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4941-5_0_3_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_4941-5_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_4941-5_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4941-5_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4941-5_0_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_4941-5_0_3_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_4941-5_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_4941-5_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_4941-5_0_3_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_4941-5_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_4941-5_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_4941-5_0_3_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_4941-5_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_4941-5_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4941-5_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_4941-5_0_3_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_4941-5_0_3_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_4941-5_0_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_4941-5_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4941-5_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4941-5_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4941-5_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4941-5_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4941-5_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_4941-5_0_3_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_4941-5_0_3_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_4941-5_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_4941-5_0_3_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_4941-5_0_3_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_4941-5_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_4941-5_0_3_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_4941-5_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4941-5_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_4941-5_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_4941-5_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4941-5_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_4941-5_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4941-5_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_4941-5_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_4941-5_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_4941-5_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_4941-5_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_4941-5_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_4941-5_0_3_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_4941-5_0_3_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_4941-5_0_3_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4941-5_0_3_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_4941-5_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_4941-5_0_3_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_4941-5_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_4941-5_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_4941-5_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_4941-5_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_4941-5_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_4941-5_0_3_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_4941-5_0_3_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_4941-5_0_3_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_4941-5_0_3_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_4941-5_0_3_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_4941-5_0_3_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_4941-5_0_3_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_4941-5_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_4941-5_0_3_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_4941-5_0_3_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_4941-5_0_3_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_4941-5_0_3_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_4941-5_0_3_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_4941-5_0_3_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_4941-5_0_3_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_4941-5_0_3_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_4941-5_0_3_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_4941-5_0_3_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_4941-5_0_3_node_112 | 0.4 | n |  | TRUE
104 | bus_LV_4941-5_0_3_node_114 | 0.4 | n |  | TRUE
105 | bus_LV_4941-5_0_3_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_4941-5_0_3_node_107 | 0.4 | n |  | TRUE
107 | bus_LV_4941-5_0_3_node_108 | 0.4 | n |  | TRUE
108 | bus_LV_4941-5_0_3_node_110 | 0.4 | n |  | TRUE
109 | bus_LV_4941-5_0_3_node_111 | 0.4 | n |  | TRUE
110 | bus_LV_4941-5_0_3_node_113 | 0.4 | n |  | TRUE
111 | bus_LV_4941-5_0_3_node_115 | 0.4 | n |  | TRUE
112 | bus_MV_439_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4941-5_0_3_load_0 | 0 | 0.0031451 | 0.00078825 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4941-5_0_3_load_1 | 1 | 0.0023635 | 0.00059234 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4941-5_0_3_load_2 | 2 | 0.0017907 | 0.00044879 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4941-5_0_3_load_4 | 4 | 0.00073427 | 0.00018403 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4941-5_0_3_load_5 | 5 | 0.00081155 | 0.00020339 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4941-5_0_3_load_20 | 6 | 0.0028988 | 0.00072652 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4941-5_0_3_load_19 | 7 | 0.0017036 | 0.00042696 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4941-5_0_3_load_17 | 8 | 0.00090524 | 0.00022688 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4941-5_0_3_load_29 | 9 | 0.001502 | 0.00037645 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4941-5_0_3_load_36 | 10 | 0.0024484 | 0.00061362 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4941-5_0_3_load_18 | 11 | 0.00050926 | 0.00012763 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4941-5_0_3_load_30 | 12 | 0.0013084 | 0.00032793 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4941-5_0_3_load_6 | 13 | 0.0028512 | 0.00071457 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4941-5_0_3_load_7 | 14 | 0.0020779 | 0.00052077 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4941-5_0_3_load_9 | 16 | 0.0018413 | 0.00046147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4941-5_0_3_load_31 | 18 | 0.0017637 | 0.00044202 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4941-5_0_3_load_104 | 19 | 0.00052099 | 0.00013057 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4941-5_0_3_load_11 | 21 | 0.0014127 | 0.00035406 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4941-5_0_3_load_12 | 22 | 0.0027099 | 0.00067918 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4941-5_0_3_load_15 | 25 | 0.0005942 | 0.00014892 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4941-5_0_3_load_16 | 26 | 0.0011179 | 0.00028017 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4941-5_0_3_load_24 | 27 | 0.0028693 | 0.00071912 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4941-5_0_3_load_32 | 28 | 0.0031498 | 0.00078941 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4941-5_0_3_load_25 | 29 | 0.0017053 | 0.0004274 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4941-5_0_3_load_34 | 32 | 0.0020352 | 0.00051008 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4941-5_0_3_load_21 | 33 | 0.0027358 | 0.00068566 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4941-5_0_3_load_60 | 36 | 0.0025875 | 0.00064848 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4941-5_0_3_load_48 | 39 | 0.0019478 | 0.00048817 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4941-5_0_3_load_54 | 40 | 0.0029038 | 0.00072776 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4941-5_0_3_load_45 | 41 | 0.0023916 | 0.00059939 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4941-5_0_3_load_61 | 42 | 0.0079189 | 0.0019847 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4941-5_0_3_load_37 | 43 | 0.0012528 | 0.00031398 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4941-5_0_3_load_33 | 44 | 0.0027002 | 0.00067672 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4941-5_0_3_load_46 | 45 | 0.0030207 | 0.00075707 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4941-5_0_3_load_53 | 48 | 0.0016828 | 0.00042175 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4941-5_0_3_load_38 | 49 | 0.0034387 | 0.00086183 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4941-5_0_3_load_39 | 50 | 0.002235 | 0.00056014 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4941-5_0_3_load_42 | 53 | 0.0015367 | 0.00038514 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4941-5_0_3_load_43 | 54 | 0.0042052 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4941-5_0_3_load_79 | 55 | 0.00436 | 0.0010927 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4941-5_0_3_load_59 | 57 | 0.0024942 | 0.00062511 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4941-5_0_3_load_72 | 58 | 0.0044358 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4941-5_0_3_load_100 | 59 | 0.0041389 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4941-5_0_3_load_71 | 61 | 0.0041357 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4941-5_0_3_load_44 | 62 | 0.00079391 | 0.00019897 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4941-5_0_3_load_55 | 63 | 0.0034909 | 0.00087491 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4941-5_0_3_load_49 | 64 | 0.0026811 | 0.00067195 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4941-5_0_3_load_50 | 65 | 0.0017531 | 0.00043938 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4941-5_0_3_load_51 | 66 | 0.0008988 | 0.00022526 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4941-5_0_3_load_52 | 67 | 0.0028152 | 0.00070555 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4941-5_0_3_load_57 | 68 | 0.00087688 | 0.00021977 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4941-5_0_3_load_68 | 69 | 0.0016 | 0.000401 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4941-5_0_3_load_58 | 70 | 0.00083743 | 0.00020988 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4941-5_0_3_load_66 | 71 | 0.0028285 | 0.00070889 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4941-5_0_3_load_65 | 72 | 0.00087648 | 0.00021967 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4941-5_0_3_load_67 | 73 | 0.0032537 | 0.00081546 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4941-5_0_3_load_84 | 74 | 0.0023059 | 0.00057792 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4941-5_0_3_load_81 | 75 | 0.0019341 | 0.00048474 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4941-5_0_3_load_63 | 76 | 0.00087687 | 0.00021977 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4941-5_0_3_load_82 | 78 | 0.0012571 | 0.00031506 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4941-5_0_3_load_73 | 79 | 0.0097097 | 0.0024335 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4941-5_0_3_load_78 | 81 | 0.0037167 | 0.00093149 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4941-5_0_3_load_75 | 82 | 0.0046727 | 0.0011711 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4941-5_0_3_load_76 | 83 | 0.0026836 | 0.00067257 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4941-5_0_3_load_96 | 85 | 0.0015378 | 0.00038541 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4941-5_0_3_load_92 | 86 | 0.00076737 | 0.00019232 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4941-5_0_3_load_87 | 87 | 0.00075971 | 0.0001904 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4941-5_0_3_load_97 | 88 | 0.00057622 | 0.00014441 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4941-5_0_3_load_91 | 89 | 0.00076919 | 0.00019278 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4941-5_0_3_load_86 | 90 | 0.0015297 | 0.00038338 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4941-5_0_3_load_85 | 91 | 0.00087034 | 0.00021813 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4941-5_0_3_load_89 | 93 | 0.00046643 | 0.0001169 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4941-5_0_3_load_102 | 94 | 0.00071943 | 0.00018031 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4941-5_0_3_load_103 | 95 | 0.0011133 | 0.00027902 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4941-5_0_3_load_90 | 96 | 0.00066894 | 0.00016765 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4941-5_0_3_load_105 | 99 | 0.00098947 | 0.00024798 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4941-5_0_3_load_98 | 100 | 0.0033412 | 0.00083737 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4941-5_0_3_load_99 | 101 | 0.0023382 | 0.00058601 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4941-5_0_3_load_112 | 103 | 0.00031613 | 7.923e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4941-5_0_3_load_114 | 104 | 0.00029159 | 7.308e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4941-5_0_3_load_106 | 105 | 0.004036 | 0.0010115 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4941-5_0_3_load_107 | 106 | 0.00059256 | 0.00014851 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4941-5_0_3_load_110 | 108 | 0.0006197 | 0.00015531 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4941-5_0_3_load_111 | 109 | 0.0012658 | 0.00031725 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4941-5_0_3_load_115 | 111 | 0.00045329 | 0.00011361 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4941-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0064772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4941-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.036637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4941-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.039287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4941-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4941-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.022791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4941-5_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.038235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4941-5_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.024555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4941-5_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.0050322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4941-5_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0096407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4941-5_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.024668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4941-5_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.090425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4941-5_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.012316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4941-5_0_3_line_12 | NAYY 4x150 SE | 10 | 32 | 0.0086917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4941-5_0_3_line_13 | NAYY 4x150 SE | 12 | 18 | 0.015074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4941-5_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.035439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4941-5_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.072856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4941-5_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.015053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4941-5_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.018768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4941-5_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.013583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4941-5_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.06608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4941-5_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.021962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4941-5_0_3_line_21 | NAYY 4x150 SE | 20 | 97 | 0.02192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4941-5_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.085661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4941-5_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.012198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4941-5_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.035512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4941-5_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0015894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4941-5_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.016098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4941-5_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.032916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4941-5_0_3_line_28 | NAYY 4x150 SE | 24 | 28 | 0.056736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4941-5_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.0025796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4941-5_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.019871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4941-5_0_3_line_31 | NAYY 4x150 SE | 28 | 31 | 0.025182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4941-5_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.045239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4941-5_0_3_line_33 | NAYY 4x150 SE | 31 | 46 | 0.015191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4941-5_0_3_line_34 | NAYY 4x150 SE | 31 | 42 | 0.040306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4941-5_0_3_line_35 | NAYY 4x150 SE | 32 | 44 | 0.039574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4941-5_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.043827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4941-5_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0058531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4941-5_0_3_line_38 | NAYY 4x150 SE | 35 | 40 | 0.0079998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4941-5_0_3_line_39 | NAYY 4x150 SE | 35 | 41 | 0.013675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4941-5_0_3_line_40 | NAYY 4x150 SE | 36 | 42 | 0.018662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4941-5_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.012149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4941-5_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.016436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4941-5_0_3_line_43 | NAYY 4x150 SE | 38 | 43 | 0.014084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4941-5_0_3_line_44 | NAYY 4x150 SE | 38 | 44 | 0.011106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4941-5_0_3_line_45 | NAYY 4x150 SE | 39 | 45 | 0.019523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4941-5_0_3_line_46 | NAYY 4x150 SE | 40 | 63 | 0.021886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4941-5_0_3_line_47 | NAYY 4x150 SE | 41 | 62 | 0.028331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4941-5_0_3_line_48 | NAYY 4x150 SE | 43 | 47 | 0.016383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4941-5_0_3_line_49 | NAYY 4x150 SE | 45 | 62 | 0.0034117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4941-5_0_3_line_50 | NAYY 4x150 SE | 46 | 74 | 0.032495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4941-5_0_3_line_51 | NAYY 4x150 SE | 46 | 75 | 0.00024438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4941-5_0_3_line_52 | NAYY 4x150 SE | 47 | 48 | 0.018551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4941-5_0_3_line_53 | NAYY 4x150 SE | 48 | 66 | 0.024106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4941-5_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.033838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4941-5_0_3_line_55 | NAYY 4x150 SE | 49 | 51 | 0.028492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4941-5_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.019208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4941-5_0_3_line_57 | NAYY 4x150 SE | 51 | 53 | 0.016801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4941-5_0_3_line_58 | NAYY 4x150 SE | 51 | 54 | 0.011533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4941-5_0_3_line_59 | NAYY 4x150 SE | 52 | 55 | 0.012033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4941-5_0_3_line_60 | NAYY 4x150 SE | 52 | 56 | 0.011861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4941-5_0_3_line_61 | NAYY 4x150 SE | 53 | 57 | 0.011784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4941-5_0_3_line_62 | NAYY 4x150 SE | 54 | 58 | 0.013545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4941-5_0_3_line_63 | NAYY 4x150 SE | 56 | 59 | 0.062602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4941-5_0_3_line_64 | NAYY 4x150 SE | 57 | 60 | 0.0055854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4941-5_0_3_line_65 | NAYY 4x150 SE | 58 | 61 | 0.003591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4941-5_0_3_line_66 | NAYY 4x150 SE | 60 | 70 | 0.01348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_4941-5_0_3_line_67 | NAYY 4x150 SE | 60 | 63 | 0.012459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4941-5_0_3_line_68 | NAYY 4x150 SE | 61 | 79 | 0.01956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4941-5_0_3_line_69 | NAYY 4x150 SE | 64 | 65 | 0.027025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4941-5_0_3_line_70 | NAYY 4x150 SE | 64 | 66 | 0.0021895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4941-5_0_3_line_71 | NAYY 4x150 SE | 65 | 67 | 0.001839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4941-5_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.019143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4941-5_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.016043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4941-5_0_3_line_74 | NAYY 4x150 SE | 69 | 72 | 0.0028494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4941-5_0_3_line_75 | NAYY 4x150 SE | 70 | 71 | 0.012142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_4941-5_0_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.025169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4941-5_0_3_line_77 | NAYY 4x150 SE | 72 | 77 | 0.024693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4941-5_0_3_line_78 | NAYY 4x150 SE | 75 | 78 | 0.012455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4941-5_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0085821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4941-5_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.010755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4941-5_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.020236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4941-5_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.023862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4941-5_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.017739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4941-5_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.029386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4941-5_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.057663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4941-5_0_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.022141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4941-5_0_3_line_87 | NAYY 4x150 SE | 84 | 87 | 0.03405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4941-5_0_3_line_88 | NAYY 4x150 SE | 85 | 88 | 0.01816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4941-5_0_3_line_89 | NAYY 4x150 SE | 86 | 89 | 0.01126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4941-5_0_3_line_90 | NAYY 4x150 SE | 87 | 90 | 0.0042288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4941-5_0_3_line_91 | NAYY 4x150 SE | 88 | 100 | 0.04544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4941-5_0_3_line_92 | NAYY 4x150 SE | 89 | 96 | 0.010814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4941-5_0_3_line_93 | NAYY 4x150 SE | 90 | 91 | 0.0089958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4941-5_0_3_line_94 | NAYY 4x150 SE | 91 | 92 | 0.10552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4941-5_0_3_line_95 | NAYY 4x150 SE | 92 | 93 | 0.056879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4941-5_0_3_line_96 | NAYY 4x150 SE | 93 | 94 | 0.01216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4941-5_0_3_line_97 | NAYY 4x150 SE | 94 | 95 | 0.025654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4941-5_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.034193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4941-5_0_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.0097772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4941-5_0_3_line_100 | NAYY 4x150 SE | 100 | 101 | 0.039171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4941-5_0_3_line_101 | NAYY 4x150 SE | 101 | 102 | 0.013225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4941-5_0_3_line_102 | NAYY 4x150 SE | 102 | 103 | 0.15411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4941-5_0_3_line_103 | NAYY 4x150 SE | 103 | 104 | 0.28323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4941-5_0_3_line_104 | NAYY 4x150 SE | 104 | 110 | 0.0012658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4941-5_0_3_line_105 | NAYY 4x150 SE | 105 | 106 | 0.018869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4941-5_0_3_line_106 | NAYY 4x150 SE | 105 | 107 | 0.0036729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4941-5_0_3_line_107 | NAYY 4x150 SE | 107 | 108 | 0.005671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4941-5_0_3_line_108 | NAYY 4x150 SE | 107 | 109 | 0.024182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4941-5_0_3_line_109 | NAYY 4x150 SE | 108 | 110 | 0.020405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4941-5_0_3_line_110 | NAYY 4x150 SE | 109 | 111 | 0.011923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4941-5_0_3_trafo_66 | 0.25 MVA 20/0.4 kV | 112 | 71 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2724043.9379 | 1271920.0618 | 2724040.4603 | 1271914.5974
1 | 2724063.6085 | 1271950.9708 | 2724043.9379 | 1271920.0618
2 | 2724013.1145 | 1271889.0081 | 2724018.1841 | 1271889.4483 | 2724022.9435 | 1271891.7615 | 2724032.209 | 1271901.632 | 2724040.4603 | 1271914.5974
3 | 2724063.6085 | 1271950.9708 | 2724074.0577 | 1271948.9106 | 2724083.4246 | 1271944.2482
4 | 2724063.6085 | 1271950.9708 | 2724074.7246 | 1271970.8673
5 | 2724013.1145 | 1271889.0081 | 2724005.4338 | 1271892.8726 | 2723995.0622 | 1271901.9744 | 2723987.6561 | 1271915.974
6 | 2724013.1145 | 1271889.0081 | 2724018.1915 | 1271882.6532 | 2724031.478 | 1271873.0024
7 | 2724087.7829 | 1271941.7669 | 2724086.5127 | 1271942.711 | 2724083.4246 | 1271944.2482
8 | 2724076.0996 | 1271980.4095 | 2724074.7246 | 1271970.8673 | 2724074.7246 | 1271970.8673
9 | 2723987.6561 | 1271915.974 | 2723986.9682 | 1271917.2743 | 2723978.7502 | 1271937.3983 | 2723978.0991 | 1271938.7044
10 | 2724163.9546 | 1271895.3724 | 2724144.3878 | 1271904.8476 | 2724125.7025 | 1271912.1283 | 2724118.5048 | 1271915.2021 | 2724112.7694 | 1271918.8739 | 2724097.9935 | 1271934.1776 | 2724087.7829 | 1271941.7669
11 | 2724077.4818 | 1271992.6331 | 2724077.3575 | 1271989.1397 | 2724076.0996 | 1271980.4095
12 | 2723978.0991 | 1271938.7044 | 2723974.7283 | 1271945.4658 | 2723973.9644 | 1271946.3074
13 | 2724078.0175 | 1272007.6974 | 2724077.4818 | 1271992.6331
14 | 2724090.7923 | 1272070.2317 | 2724083.5186 | 1272045.7219 | 2724081.6936 | 1272036.0197
15 | 2724112.4341 | 1272139.7616 | 2724108.3977 | 1272129.5562 | 2724090.7923 | 1272070.2317
16 | 2724081.6936 | 1272036.0197 | 2724078.9109 | 1272021.2257
17 | 2724112.4341 | 1272139.7616 | 2724119.7522 | 1272157.0538
18 | 2724078.0175 | 1272007.6974 | 2724078.4024 | 1272018.5224 | 2724078.9109 | 1272021.2257
19 | 2724119.7522 | 1272157.0538 | 2724121.3616 | 1272168.1758 | 2724120.1991 | 1272183.3766 | 2724113.5535 | 1272205.6466 | 2724108.5515 | 1272221.2195
20 | 2724102.3323 | 1272242.2783 | 2724105.9532 | 1272229.309 | 2724108.5515 | 1272221.2195
21 | 2724102.3323 | 1272242.2783 | 2724100.5647 | 1272250.4821 | 2724095.247 | 1272262.9264
22 | 2723851.1285 | 1271850.6261 | 2723859.2538 | 1271840.1448 | 2723864.5945 | 1271835.9195 | 2723870.5554 | 1271832.9751 | 2723916.6357 | 1271823.5887 | 2723928.312 | 1271822.9442 | 2723928.5311 | 1271822.9656
23 | 2723940.6717 | 1271824.1491 | 2723928.5311 | 1271822.9656
24 | 2723827.869 | 1271876.0423 | 2723833.9343 | 1271873.8563 | 2723837.4581 | 1271870.8718 | 2723847.2666 | 1271855.6078 | 2723851.1285 | 1271850.6261
25 | 2723940.6717 | 1271824.1491 | 2723941.5052 | 1271822.7958
26 | 2723940.6717 | 1271824.1491 | 2723935.8605 | 1271839.5114
27 | 2723827.869 | 1271876.0423 | 2723827.4816 | 1271850.7662 | 2723828.0154 | 1271843.148
28 | 2723827.869 | 1271876.0423 | 2723827.4805 | 1271906.0287 | 2723825.0969 | 1271919.9361 | 2723820.923 | 1271931.864
29 | 2723935.8605 | 1271839.5114 | 2723935.0896 | 1271841.9731
30 | 2723829.4043 | 1271823.3254 | 2723828.0154 | 1271843.148
31 | 2723811.6544 | 1271955.276 | 2723820.0862 | 1271934.2555 | 2723820.923 | 1271931.864
32 | 2723829.4043 | 1271823.3254 | 2723832.106 | 1271803.5859 | 2723834.8087 | 1271788.8177 | 2723837.5667 | 1271778.8915
33 | 2723811.6544 | 1271955.276 | 2723797.6444 | 1271957.4288 | 2723796.5842 | 1271957.3954
34 | 2723811.6544 | 1271955.276 | 2723817.6146 | 1271957.7366 | 2723823.5179 | 1271965.0561 | 2723835.7358 | 1271986.2396
35 | 2723942.0201 | 1271969.1981 | 2723943.1785 | 1271968.4361 | 2723959.3206 | 1271958.6324 | 2723967.7037 | 1271953.2034 | 2723973.9644 | 1271946.3074
36 | 2723870.7863 | 1272044.8884 | 2723865.3783 | 1272037.6349 | 2723847.9838 | 1272007.4753
37 | 2723847.9838 | 1272007.4753 | 2723845.0595 | 1272002.4051
38 | 2723870.7863 | 1272044.8884 | 2723873.7459 | 1272052.3206
39 | 2723870.7863 | 1272044.8884 | 2723878.8874 | 1272037.8295 | 2723880.6615 | 1272035.4973
40 | 2723845.0595 | 1272002.4051 | 2723835.7358 | 1271986.2396
41 | 2723932.7413 | 1271975.3012 | 2723923.2147 | 1271982.875
42 | 2723923.2147 | 1271982.875 | 2723912.9519 | 1271994.6929 | 2723912.4471 | 1271995.293
43 | 2723932.7413 | 1271975.3012 | 2723942.1169 | 1271985.8114
44 | 2723932.7413 | 1271975.3012 | 2723942.0201 | 1271969.1981
45 | 2723899.8797 | 1272010.2331 | 2723899.8797 | 1272010.2331 | 2723912.4471 | 1271995.293
46 | 2723873.7459 | 1272052.3206 | 2723881.8427 | 1272072.6535
47 | 2723897.8142 | 1272012.9485 | 2723880.6615 | 1272035.4973
48 | 2723953.0227 | 1271998.037 | 2723942.1169 | 1271985.8114
49 | 2723897.8142 | 1272012.9485 | 2723899.8797 | 1272010.2331
50 | 2723796.5842 | 1271957.3954 | 2723792.1115 | 1271969.3906 | 2723792.5839 | 1271978.0752 | 2723793.025 | 1271982.155 | 2723789.9166 | 1271988.3068
51 | 2723796.5842 | 1271957.3954 | 2723796.34 | 1271957.3886
52 | 2723953.0227 | 1271998.037 | 2723969.9821 | 1271990.519
53 | 2723988.6425 | 1271999.5629 | 2723985.4046 | 1271993.468 | 2723981.6941 | 1271989.9424 | 2723977.5622 | 1271988.9214 | 2723972.3288 | 1271989.4787 | 2723969.9821 | 1271990.519
54 | 2723848.6735 | 1272084.2011 | 2723839.8784 | 1272064.9255 | 2723836.5759 | 1272062.3872 | 2723831.2923 | 1272061.3977 | 2723828.2179 | 1272061.8663
55 | 2723860.5008 | 1272110.1223 | 2723848.6735 | 1272084.2011
56 | 2723809.229 | 1272064.7605 | 2723828.2179 | 1272061.8663
57 | 2723860.5008 | 1272110.1223 | 2723872.8754 | 1272098.7579
58 | 2723860.5008 | 1272110.1223 | 2723852.8627 | 1272118.7641
59 | 2723809.229 | 1272064.7605 | 2723810.0094 | 1272070.2375 | 2723811.1506 | 1272076.6374
60 | 2723807.2549 | 1272053.0637 | 2723809.229 | 1272064.7605
61 | 2723879.9572 | 1272089.4106 | 2723874.8856 | 1272096.9117 | 2723872.8754 | 1272098.7579
62 | 2723843.8926 | 1272128.913 | 2723852.8627 | 1272118.7641
63 | 2723807.2549 | 1272053.0637 | 2723780.901 | 1272056.1586 | 2723774.9975 | 1272057.8142 | 2723770.5567 | 1272062.5589 | 2723767.0787 | 1272064.7992 | 2723760.0795 | 1272065.9647 | 2723757.537 | 1272067.0124 | 2723752.3072 | 1272070.6284 | 2723749.3604 | 1272071.5786
64 | 2723883.0856 | 1272084.7836 | 2723879.9572 | 1272089.4106
65 | 2723841.5144 | 1272131.6036 | 2723843.8926 | 1272128.913
66 | 2723883.0856 | 1272084.7836 | 2723891.9747 | 1272082.8349 | 2723895.1158 | 1272079.7826
67 | 2723883.0856 | 1272084.7836 | 2723883.5011 | 1272076.8182 | 2723881.8427 | 1272072.6535
68 | 2723841.5144 | 1272131.6036 | 2723838.6516 | 1272134.8427 | 2723830.5125 | 1272147.7243
69 | 2723989.6697 | 1272001.4966 | 2724002.3485 | 1272025.3633
70 | 2723989.6697 | 1272001.4966 | 2723988.6425 | 1271999.5629
71 | 2724002.3485 | 1272025.3633 | 2724003.2113 | 1272026.9874
72 | 2724016.4518 | 1272037.9918 | 2724015.8296 | 1272035.1123 | 2724006.0177 | 1272032.2703 | 2724003.2113 | 1272026.9874
73 | 2724016.4518 | 1272037.9918 | 2724019.8404 | 1272053.6727
74 | 2724020.4423 | 1272056.4579 | 2724019.8404 | 1272053.6727
75 | 2723895.1158 | 1272079.7826 | 2723900.5003 | 1272074.5505 | 2723904.7831 | 1272072.7813
76 | 2723904.7831 | 1272072.7813 | 2723918.1012 | 1272067.2797 | 2723928.6813 | 1272065.3235
77 | 2724025.1118 | 1272080.6831 | 2724024.4969 | 1272075.2206 | 2724020.4423 | 1272056.4579
78 | 2723796.34 | 1271957.3886 | 2723786.6807 | 1271957.1209 | 2723783.9062 | 1271956.8117
79 | 2724025.1118 | 1272080.6831 | 2724032.7608 | 1272084.5749
80 | 2723824.7677 | 1272156.8164 | 2723830.5125 | 1272147.7243
81 | 2723824.7677 | 1272156.8164 | 2723821.4419 | 1272136.8554
82 | 2723824.7677 | 1272156.8164 | 2723826.5818 | 1272167.5311 | 2723829.5589 | 1272180.1803
83 | 2723829.5589 | 1272180.1803 | 2723830.7749 | 1272185.3468 | 2723834.0774 | 1272197.3316
84 | 2723841.884 | 1272225.6617 | 2723834.0774 | 1272197.3316
85 | 2723841.884 | 1272225.6617 | 2723847.9572 | 1272247.4539 | 2723853.4374 | 1272272.0473 | 2723854.7581 | 1272281.8025
86 | 2723841.884 | 1272225.6617 | 2723849.39 | 1272223.2836 | 2723863.5882 | 1272224.6827
87 | 2723841.884 | 1272225.6617 | 2723836.239 | 1272230.4256 | 2723833.0414 | 1272235.441 | 2723830.36 | 1272242.0353 | 2723826.24 | 1272246.909 | 2723820.7472 | 1272251.5871
88 | 2723856.5238 | 1272299.8584 | 2723856.1992 | 1272292.4464 | 2723854.7581 | 1272281.8025
89 | 2723863.5882 | 1272224.6827 | 2723874.5467 | 1272227.2716
90 | 2723820.7472 | 1272251.5871 | 2723817.374 | 1272254.1375
91 | 2723856.5238 | 1272299.8584 | 2723857.2112 | 1272315.5559 | 2723855.5179 | 1272345.2349
92 | 2723885.0712 | 1272229.758 | 2723874.5467 | 1272227.2716
93 | 2723810.1983 | 1272259.5627 | 2723817.374 | 1272254.1375
94 | 2723810.1983 | 1272259.5627 | 2723709.945 | 1272292.4807
95 | 2723709.945 | 1272292.4807 | 2723716.1535 | 1272316.0883 | 2723724.0568 | 1272347.5804
96 | 2723727.0166 | 1272359.3743 | 2723724.0568 | 1272347.5804
97 | 2723724.2502 | 1272382.0417 | 2723730.6982 | 1272375.2149 | 2723728.2073 | 1272364.119 | 2723727.0166 | 1272359.3743
98 | 2724129.5111 | 1272261.4563 | 2724095.247 | 1272262.9264
99 | 2724129.5111 | 1272261.4563 | 2724139.282 | 1272261.1056
100 | 2723853.2865 | 1272384.3421 | 2723855.5179 | 1272345.2349
101 | 2723852.5332 | 1272397.5453 | 2723853.2865 | 1272384.3421
102 | 2723852.5332 | 1272397.5453 | 2723928.9934 | 1272531.3528
103 | 2723928.9934 | 1272531.3528 | 2724135.3511 | 1272725.3512
104 | 2724136.533 | 1272725.8042 | 2724135.3511 | 1272725.3512
105 | 2724164.641 | 1272735.5437 | 2724181.5095 | 1272741.0308 | 2724182.5991 | 1272741.3334
106 | 2724161.1483 | 1272734.4076 | 2724164.641 | 1272735.5437
107 | 2724161.1483 | 1272734.4076 | 2724155.7949 | 1272732.5365
108 | 2724161.1483 | 1272734.4076 | 2724176.8472 | 1272729.4998 | 2724184.4132 | 1272727.8983
109 | 2724136.533 | 1272725.8042 | 2724155.7949 | 1272732.5365
110 | 2724196.0779 | 1272725.4294 | 2724184.4132 | 1272727.8983

## bus_geodata
| x | y | coords
0 | 2724043.9379 | 1271920.0618
1 | 2724040.4603 | 1271914.5974
2 | 2724063.6085 | 1271950.9708
3 | 2724013.1145 | 1271889.0081
4 | 2724083.4246 | 1271944.2482
5 | 2724074.7246 | 1271970.8673
6 | 2723987.6561 | 1271915.974
7 | 2724031.478 | 1271873.0024
8 | 2724087.7829 | 1271941.7669
9 | 2724076.0996 | 1271980.4095
10 | 2723978.0991 | 1271938.7044
11 | 2724163.9546 | 1271895.3724
12 | 2724077.4818 | 1271992.6331
13 | 2724090.7923 | 1272070.2317
14 | 2724081.6936 | 1272036.0197
15 | 2724112.4341 | 1272139.7616
16 | 2724078.9109 | 1272021.2257
17 | 2724119.7522 | 1272157.0538
18 | 2724078.0175 | 1272007.6974
19 | 2724108.5515 | 1272221.2195
20 | 2724102.3323 | 1272242.2783
21 | 2723928.5311 | 1271822.9656
22 | 2723851.1285 | 1271850.6261
23 | 2723940.6717 | 1271824.1491
24 | 2723827.869 | 1271876.0423
25 | 2723941.5052 | 1271822.7958
26 | 2723935.8606 | 1271839.5114
27 | 2723828.0154 | 1271843.148
28 | 2723820.923 | 1271931.864
29 | 2723935.0896 | 1271841.9731
30 | 2723829.4043 | 1271823.3254
31 | 2723811.6544 | 1271955.276
32 | 2723973.9644 | 1271946.3074
33 | 2723837.5667 | 1271778.8915
34 | 2723847.9838 | 1272007.4753
35 | 2723870.7863 | 1272044.8884
36 | 2723845.0595 | 1272002.4051
37 | 2723923.2147 | 1271982.875
38 | 2723932.7413 | 1271975.3012
39 | 2723912.4471 | 1271995.293
40 | 2723873.7459 | 1272052.3206
41 | 2723880.6615 | 1272035.4973
42 | 2723835.7358 | 1271986.2396
43 | 2723942.1169 | 1271985.8114
44 | 2723942.0201 | 1271969.1981
45 | 2723899.8797 | 1272010.2331
46 | 2723796.5842 | 1271957.3954
47 | 2723953.0227 | 1271998.0369
48 | 2723969.9821 | 1271990.519
49 | 2723848.6735 | 1272084.2011
50 | 2723828.2179 | 1272061.8663
51 | 2723860.5008 | 1272110.1223
52 | 2723809.229 | 1272064.7605
53 | 2723872.8754 | 1272098.7579
54 | 2723852.8627 | 1272118.7641
55 | 2723811.1506 | 1272076.6374
56 | 2723807.2549 | 1272053.0637
57 | 2723879.9572 | 1272089.4106
58 | 2723843.8926 | 1272128.913
59 | 2723749.3604 | 1272071.5786
60 | 2723883.0856 | 1272084.7836
61 | 2723841.5144 | 1272131.6036
62 | 2723897.8142 | 1272012.9485
63 | 2723881.8427 | 1272072.6535
64 | 2723989.6697 | 1272001.4966
65 | 2724002.3485 | 1272025.3633
66 | 2723988.6425 | 1271999.5629
67 | 2724003.2113 | 1272026.9874
68 | 2724016.4518 | 1272037.9918
69 | 2724019.8404 | 1272053.6727
70 | 2723895.1158 | 1272079.7826
71 | 2723904.7831 | 1272072.7813
72 | 2724020.4423 | 1272056.4579
73 | 2723928.6813 | 1272065.3235
74 | 2723789.9166 | 1271988.3068
75 | 2723796.34 | 1271957.3886
76 | 2724032.7608 | 1272084.5749
77 | 2724025.1118 | 1272080.6831
78 | 2723783.9062 | 1271956.8117
79 | 2723830.5125 | 1272147.7243
80 | 2723824.7677 | 1272156.8164
81 | 2723821.4419 | 1272136.8554
82 | 2723829.5589 | 1272180.1803
83 | 2723834.0774 | 1272197.3316
84 | 2723841.884 | 1272225.6617
85 | 2723854.7581 | 1272281.8025
86 | 2723863.5882 | 1272224.6827
87 | 2723820.7472 | 1272251.5871
88 | 2723856.5238 | 1272299.8584
89 | 2723874.5467 | 1272227.2716
90 | 2723817.374 | 1272254.1375
91 | 2723810.1983 | 1272259.5627
92 | 2723709.945 | 1272292.4807
93 | 2723724.0568 | 1272347.5804
94 | 2723727.0166 | 1272359.3743
95 | 2723724.2502 | 1272382.0417
96 | 2723885.0712 | 1272229.758
97 | 2724095.247 | 1272262.9264
98 | 2724129.5111 | 1272261.4563
99 | 2724139.282 | 1272261.1056
100 | 2723855.5179 | 1272345.2349
101 | 2723853.2865 | 1272384.3421
102 | 2723852.5332 | 1272397.5453
103 | 2723928.9934 | 1272531.3528
104 | 2724135.3511 | 1272725.3512
105 | 2724164.641 | 1272735.5437
106 | 2724182.5991 | 1272741.3334
107 | 2724161.1483 | 1272734.4076
108 | 2724155.7949 | 1272732.5365
109 | 2724184.4132 | 1272727.8983
110 | 2724136.533 | 1272725.8042
111 | 2724196.0779 | 1272725.4294
112 | 2723883.0856 | 1272084.7836

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1