## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4941-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4941-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4941-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4941-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4941-9_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4941-9_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_4941-9_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4941-9_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_4941-9_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_4941-9_0_3_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_4941-9_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_4941-9_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4941-9_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4941-9_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4941-9_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4941-9_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4941-9_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4941-9_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4941-9_0_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_4941-9_0_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_4941-9_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_4941-9_0_3_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_4941-9_0_3_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_4941-9_0_3_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_4941-9_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4941-9_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4941-9_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4941-9_0_3_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_4941-9_0_3_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_4941-9_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4941-9_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_4941-9_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_4941-9_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4941-9_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4941-9_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4941-9_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_4941-9_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_4941-9_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4941-9_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_4941-9_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4941-9_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4941-9_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_4941-9_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_4941-9_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_4941-9_0_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_4941-9_0_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_4941-9_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_4941-9_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_4941-9_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_4941-9_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_4941-9_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4941-9_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4941-9_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4941-9_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_4941-9_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_4941-9_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_4941-9_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_4941-9_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_4941-9_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_4941-9_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_4941-9_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_4941-9_0_3_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_4941-9_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_4941-9_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_4941-9_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4941-9_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_4941-9_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4941-9_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_4941-9_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_4941-9_0_3_node_98 | 0.4 | n |  | TRUE
70 | bus_LV_4941-9_0_3_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_4941-9_0_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_4941-9_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4941-9_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4941-9_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_4941-9_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_4941-9_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_4941-9_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_4941-9_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_4941-9_0_3_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_4941-9_0_3_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_4941-9_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_4941-9_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_4941-9_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_4941-9_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4941-9_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_4941-9_0_3_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_4941-9_0_3_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_4941-9_0_3_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_4941-9_0_3_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_4941-9_0_3_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_4941-9_0_3_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_4941-9_0_3_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_4941-9_0_3_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_4941-9_0_3_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_4941-9_0_3_node_96 | 0.4 | n |  | TRUE
96 | bus_MV_439_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4941-9_0_3_load_0 | 0 | 0.00045 | 0.00011278 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4941-9_0_3_load_1 | 1 | 0.00066713 | 0.0001672 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4941-9_0_3_load_14 | 5 | 0.00077735 | 0.00019482 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4941-9_0_3_load_4 | 6 | 0.0022486 | 0.00056356 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4941-9_0_3_load_19 | 7 | 0.0036642 | 0.00091833 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4941-9_0_3_load_13 | 8 | 0.0023377 | 0.00058589 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4941-9_0_3_load_20 | 10 | 0.002403 | 0.00060225 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4941-9_0_3_load_12 | 11 | 0.00049756 | 0.0001247 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4941-9_0_3_load_6 | 12 | 0.00091775 | 0.00023001 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4941-9_0_3_load_7 | 13 | 0.0013462 | 0.00033738 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4941-9_0_3_load_9 | 15 | 0.00090478 | 0.00022676 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4941-9_0_3_load_15 | 17 | 0.0007773 | 0.00019481 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4941-9_0_3_load_45 | 19 | 0.00070069 | 0.00017561 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4941-9_0_3_load_84 | 21 | 0.0014286 | 0.00035805 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4941-9_0_3_load_69 | 22 | 0.0014665 | 0.00036755 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4941-9_0_3_load_16 | 24 | 0.0037234 | 0.00093318 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4941-9_0_3_load_17 | 25 | 0.0048963 | 0.0012271 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4941-9_0_3_load_18 | 26 | 0.0039113 | 0.00098027 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4941-9_0_3_load_54 | 27 | 0.0045596 | 0.0011427 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4941-9_0_3_load_21 | 29 | 0.0036552 | 0.00091607 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4941-9_0_3_load_35 | 30 | 0.0022143 | 0.00055497 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4941-9_0_3_load_33 | 31 | 0.0026517 | 0.00066459 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4941-9_0_3_load_22 | 32 | 0.0015469 | 0.0003877 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4941-9_0_3_load_23 | 33 | 0.002177 | 0.00054561 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4941-9_0_3_load_24 | 34 | 0.0059787 | 0.0014984 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4941-9_0_3_load_25 | 35 | 0.00094484 | 0.0002368 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4941-9_0_3_load_26 | 36 | 0.00094454 | 0.00023672 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4941-9_0_3_load_31 | 37 | 0.005982 | 0.0014992 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4941-9_0_3_load_27 | 39 | 0.0036417 | 0.00091271 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4941-9_0_3_load_28 | 40 | 0.0048999 | 0.001228 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4941-9_0_3_load_59 | 44 | 0.0050571 | 0.0012674 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4941-9_0_3_load_60 | 46 | 0.00076096 | 0.00019071 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4941-9_0_3_load_51 | 47 | 0.0085192 | 0.0021351 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4941-9_0_3_load_57 | 48 | 0.00076096 | 0.00019071 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4941-9_0_3_load_34 | 49 | 0.0038813 | 0.00097275 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4941-9_0_3_load_36 | 50 | 0.0035189 | 0.00088192 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4941-9_0_3_load_41 | 51 | 0.0023903 | 0.00059906 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4941-9_0_3_load_39 | 52 | 0.0038775 | 0.0009718 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4941-9_0_3_load_37 | 53 | 0.00076072 | 0.00019065 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4941-9_0_3_load_38 | 54 | 0.0035182 | 0.00088174 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4941-9_0_3_load_40 | 55 | 0.00076096 | 0.00019071 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4941-9_0_3_load_42 | 56 | 0.0014096 | 0.00035328 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4941-9_0_3_load_61 | 58 | 0.001279 | 0.00032054 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4941-9_0_3_load_62 | 59 | 0.0028147 | 0.00070543 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4941-9_0_3_load_63 | 60 | 0.0020713 | 0.00051912 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4941-9_0_3_load_99 | 61 | 0.009139 | 0.0022904 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4941-9_0_3_load_47 | 62 | 0.0034178 | 0.00085659 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4941-9_0_3_load_50 | 63 | 0.0047114 | 0.0011808 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4941-9_0_3_load_52 | 64 | 0.00085542 | 0.00021439 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4941-9_0_3_load_66 | 65 | 0.0037197 | 0.00093225 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4941-9_0_3_load_56 | 66 | 0.00045786 | 0.00011475 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4941-9_0_3_load_58 | 67 | 0.00051513 | 0.0001291 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4941-9_0_3_load_98 | 69 | 0.01337 | 0.0033507 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4941-9_0_3_load_87 | 70 | 0.0013981 | 0.0003504 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4941-9_0_3_load_86 | 71 | 0.002244 | 0.00056239 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4941-9_0_3_load_67 | 72 | 0.0022783 | 0.000571 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4941-9_0_3_load_68 | 73 | 0.0010028 | 0.00025134 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4941-9_0_3_load_70 | 74 | 0.0022538 | 0.00056487 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4941-9_0_3_load_74 | 75 | 0.001291 | 0.00032357 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4941-9_0_3_load_72 | 76 | 0.0018464 | 0.00046275 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4941-9_0_3_load_73 | 77 | 0.0014973 | 0.00037525 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4941-9_0_3_load_75 | 78 | 0.0017335 | 0.00043447 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4941-9_0_3_load_81 | 79 | 0.0018302 | 0.00045868 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4941-9_0_3_load_82 | 80 | 0.0016566 | 0.00041519 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4941-9_0_3_load_76 | 81 | 0.0010117 | 0.00025354 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4941-9_0_3_load_77 | 82 | 0.0039951 | 0.0010013 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4941-9_0_3_load_78 | 83 | 0.0013127 | 0.000329 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4941-9_0_3_load_79 | 84 | 0.0040233 | 0.0010083 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4941-9_0_3_load_80 | 85 | 0.003619 | 0.00090702 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4941-9_0_3_load_88 | 86 | 0.0023456 | 0.00058785 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4941-9_0_3_load_89 | 87 | 0.00017236 | 4.3198e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4941-9_0_3_load_90 | 88 | 0.00053803 | 0.00013484 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4941-9_0_3_load_91 | 89 | 0.00079141 | 0.00019835 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4941-9_0_3_load_92 | 90 | 0.0023477 | 0.00058839 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4941-9_0_3_load_93 | 91 | 0.00083438 | 0.00020912 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4941-9_0_3_load_95 | 93 | 0.0051578 | 0.0012927 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4941-9_0_3_load_94 | 94 | 0.0011953 | 0.00029958 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4941-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4941-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.036157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4941-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.060255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4941-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.043004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4941-9_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4941-9_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.029111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4941-9_0_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.039447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4941-9_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.017721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4941-9_0_3_line_8 | NAYY 4x150 SE | 7 | 10 | 0.0082042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4941-9_0_3_line_9 | NAYY 4x150 SE | 8 | 11 | 0.024772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4941-9_0_3_line_10 | NAYY 4x150 SE | 9 | 21 | 0.0020036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4941-9_0_3_line_11 | NAYY 4x150 SE | 9 | 22 | 0.022353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4941-9_0_3_line_12 | NAYY 4x150 SE | 10 | 29 | 0.0069768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4941-9_0_3_line_13 | NAYY 4x150 SE | 11 | 16 | 0.037819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4941-9_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0044916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4941-9_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.047661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4941-9_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.011073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4941-9_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.018038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4941-9_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0045017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4941-9_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0015378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4941-9_0_3_line_20 | NAYY 4x150 SE | 18 | 23 | 0.032513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4941-9_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.003994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4941-9_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.022353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4941-9_0_3_line_23 | NAYY 4x150 SE | 20 | 62 | 0.045667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4941-9_0_3_line_24 | NAYY 4x150 SE | 22 | 72 | 0.022782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4941-9_0_3_line_25 | NAYY 4x150 SE | 23 | 36 | 0.032637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4941-9_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0036773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4941-9_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.017675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4941-9_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.011951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4941-9_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.022723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4941-9_0_3_line_30 | NAYY 4x150 SE | 28 | 45 | 0.058183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4941-9_0_3_line_31 | NAYY 4x150 SE | 28 | 41 | 0.063093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4941-9_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.014053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4941-9_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.020137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4941-9_0_3_line_34 | NAYY 4x150 SE | 31 | 49 | 0.00091717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4941-9_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.015389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4941-9_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.010836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4941-9_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.011598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_4941-9_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0016758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4941-9_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.013218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_4941-9_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.029106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4941-9_0_3_line_41 | NAYY 4x150 SE | 38 | 42 | 0.029451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4941-9_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0042365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4941-9_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.026875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4941-9_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.029251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4941-9_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.001928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_4941-9_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.02159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4941-9_0_3_line_47 | NAYY 4x150 SE | 43 | 46 | 0.010885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_4941-9_0_3_line_48 | NAYY 4x150 SE | 43 | 47 | 0.015603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4941-9_0_3_line_49 | NAYY 4x150 SE | 44 | 48 | 0.012496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4941-9_0_3_line_50 | NAYY 4x150 SE | 45 | 65 | 0.024056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4941-9_0_3_line_51 | NAYY 4x150 SE | 46 | 57 | 0.051205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_4941-9_0_3_line_52 | NAYY 4x150 SE | 47 | 63 | 0.018699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4941-9_0_3_line_53 | NAYY 4x150 SE | 48 | 66 | 0.0096239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4941-9_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.016674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4941-9_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.0012024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4941-9_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.017915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4941-9_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0022208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4941-9_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.012566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4941-9_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.013637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4941-9_0_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.0068493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4941-9_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.025787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_4941-9_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.014078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4941-9_0_3_line_63 | NAYY 4x150 SE | 57 | 59 | 0.0090978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4941-9_0_3_line_64 | NAYY 4x150 SE | 58 | 60 | 0.01551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4941-9_0_3_line_65 | NAYY 4x150 SE | 59 | 61 | 0.050482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4941-9_0_3_line_66 | NAYY 4x150 SE | 60 | 68 | 0.029896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4941-9_0_3_line_67 | NAYY 4x150 SE | 61 | 69 | 0.015487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4941-9_0_3_line_68 | NAYY 4x150 SE | 63 | 64 | 0.0081485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4941-9_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.017008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4941-9_0_3_line_70 | NAYY 4x150 SE | 68 | 70 | 0.020689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4941-9_0_3_line_71 | NAYY 4x150 SE | 69 | 95 | 0.0095438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4941-9_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.011757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4941-9_0_3_line_73 | NAYY 4x150 SE | 71 | 84 | 0.0027549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4941-9_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0046679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4941-9_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.018275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4941-9_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.0098244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4941-9_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.012645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4941-9_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.013616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4941-9_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.011332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4941-9_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.01421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4941-9_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.013037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4941-9_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.0033945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4941-9_0_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.010536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4941-9_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.02618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4941-9_0_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.00021221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4941-9_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.030191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4941-9_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.00018145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4941-9_0_3_line_88 | NAYY 4x150 SE | 87 | 89 | 0.0039054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4941-9_0_3_line_89 | NAYY 4x150 SE | 88 | 90 | 0.018126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4941-9_0_3_line_90 | NAYY 4x150 SE | 89 | 91 | 0.0081835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4941-9_0_3_line_91 | NAYY 4x150 SE | 90 | 92 | 0.44483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4941-9_0_3_line_92 | NAYY 4x150 SE | 91 | 94 | 0.007694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4941-9_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.11636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4941-9_0_3_line_94 | NAYY 4x150 SE | 93 | 95 | 0.035285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4941-9_0_3_trafo_42 | 0.25 MVA 20/0.4 kV | 96 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2722441.847 | 1272727.412 | 2722441.8351 | 1272727.5435 | 2722441.8784 | 1272744.6714
1 | 2722452.6188 | 1272693.3242 | 2722447.3753 | 1272703.4693 | 2722444.5562 | 1272710.6175 | 2722442.616 | 1272718.9183 | 2722441.847 | 1272727.412
2 | 2722463.191 | 1272800.8545 | 2722453.8142 | 1272778.1723 | 2722445.3251 | 1272759.1118 | 2722441.8784 | 1272744.6714
3 | 2722447.3962 | 1272658.6059 | 2722455.2853 | 1272677.943 | 2722457.8901 | 1272682.568 | 2722461.6184 | 1272687.0717 | 2722458.301 | 1272689.5941 | 2722452.6188 | 1272693.3242
4 | 2722463.191 | 1272800.8545 | 2722465.7413 | 1272807.0131 | 2722470.7851 | 1272819.2062
5 | 2722447.3962 | 1272658.6059 | 2722436.058 | 1272631.7938
6 | 2722476.5818 | 1272857.3847 | 2722478.0676 | 1272845.9716 | 2722477.2457 | 1272838.0917 | 2722475.24 | 1272829.9759 | 2722470.7851 | 1272819.2062
7 | 2722384.152 | 1272702.6605 | 2722401.4932 | 1272699.0105
8 | 2722384.152 | 1272702.6605 | 2722376.1237 | 1272704.3503
9 | 2722426.4411 | 1272608.9642 | 2722430.1637 | 1272617.8552 | 2722436.058 | 1272631.7938
10 | 2722476.5818 | 1272857.3847 | 2722478.5499 | 1272857.7605
11 | 2722476.5818 | 1272857.3847 | 2722454.2681 | 1272856.0529
12 | 2722369.2966 | 1272705.7873 | 2722376.1237 | 1272704.3503
13 | 2722411.8351 | 1272574.079 | 2722426.4411 | 1272608.9642
14 | 2722362.498 | 1272578.4276 | 2722358.4938 | 1272580.4625
15 | 2722405.1865 | 1272557.3034 | 2722401.6933 | 1272558.5099 | 2722362.498 | 1272578.4276
16 | 2722358.4938 | 1272580.4625 | 2722348.6224 | 1272585.4788
17 | 2722405.1865 | 1272557.3034 | 2722411.8351 | 1272574.079
18 | 2722348.6224 | 1272585.4788 | 2722344.6091 | 1272587.5182
19 | 2722343.2381 | 1272588.2149 | 2722344.6091 | 1272587.5182
20 | 2722313.0386 | 1272600.2449 | 2722321.0511 | 1272597.3304 | 2722343.2381 | 1272588.2149
21 | 2722343.2381 | 1272588.2149 | 2722341.6819 | 1272584.5348
22 | 2722341.6819 | 1272584.5348 | 2722346.5586 | 1272582.2782 | 2722361.644 | 1272574.4857
23 | 2722341.6819 | 1272584.5348 | 2722333.7953 | 1272564.6863 | 2722331.1183 | 1272560.9941 | 2722327.2146 | 1272560.5907 | 2722311.9906 | 1272564.9061
24 | 2722431.5299 | 1272855.8917 | 2722441.1551 | 1272855.2703 | 2722454.2681 | 1272856.0529
25 | 2722313.0386 | 1272600.2449 | 2722318.2258 | 1272616.0337 | 2722311.259 | 1272630.4578
26 | 2722227.5586 | 1272649.9946 | 2722231.2241 | 1272649.6994
27 | 2722209.9409 | 1272651.4133 | 2722227.5586 | 1272649.9946
28 | 2722209.9409 | 1272651.4133 | 2722209.9409 | 1272651.4133 | 2722208.8209 | 1272639.515
29 | 2722206.6913 | 1272616.8918 | 2722208.8209 | 1272639.515
30 | 2722148.4522 | 1272620.6124 | 2722152.5658 | 1272620.3306 | 2722206.6913 | 1272616.8918
31 | 2722206.6913 | 1272616.8918 | 2722254.2459 | 1272613.6064 | 2722260.8974 | 1272612.8323 | 2722269.5041 | 1272611.3758
32 | 2722369.2966 | 1272705.7873 | 2722355.5453 | 1272708.6817
33 | 2722336.6721 | 1272715.6245 | 2722343.8669 | 1272712.4321 | 2722355.5453 | 1272708.6817 | 2722355.5453 | 1272708.6817
34 | 2722336.6721 | 1272715.6245 | 2722335.8337 | 1272715.9965
35 | 2722313.1035 | 1272642.4932 | 2722316.7578 | 1272657.4417 | 2722316.7578 | 1272657.4417
36 | 2722310.5302 | 1272631.9668 | 2722313.1035 | 1272642.4932
37 | 2722305.5581 | 1272660.4531 | 2722316.7578 | 1272657.4417
38 | 2722310.5302 | 1272631.9668 | 2722310.5302 | 1272631.9668 | 2722311.259 | 1272630.4578
39 | 2722305.5581 | 1272660.4531 | 2722292.7933 | 1272663.8853
40 | 2722264.6857 | 1272671.4429 | 2722292.7933 | 1272663.8853
41 | 2722260.3205 | 1272700.5684 | 2722264.6857 | 1272671.4429
42 | 2722264.6857 | 1272671.4429 | 2722265.1453 | 1272667.2314
43 | 2722268.061 | 1272640.515 | 2722265.1453 | 1272667.2314
44 | 2722269.5041 | 1272611.3758 | 2722269.9709 | 1272616.8017 | 2722269.6448 | 1272626.0034 | 2722268.061 | 1272640.515
45 | 2722260.0327 | 1272702.4754 | 2722260.3205 | 1272700.5684
46 | 2722260.3205 | 1272700.5684 | 2722281.7444 | 1272697.8964
47 | 2722260.0327 | 1272702.4754 | 2722258.8584 | 1272713.2968
48 | 2722260.0327 | 1272702.4754 | 2722244.5055 | 1272704.0153
49 | 2722281.7444 | 1272697.8964 | 2722294.1442 | 1272696.3498
50 | 2722148.4522 | 1272620.6124 | 2722150.5679 | 1272644.5754
51 | 2722252.2189 | 1272764.0596 | 2722256.4433 | 1272735.554 | 2722258.8584 | 1272713.2968
52 | 2722225.8979 | 1272705.8607 | 2722244.5055 | 1272704.0153
53 | 2722303.6942 | 1272695.1587 | 2722294.1442 | 1272696.3498
54 | 2722320.9574 | 1272723.5026 | 2722330.3135 | 1272718.4458 | 2722335.8337 | 1272715.9965
55 | 2722319.8996 | 1272724.0743 | 2722320.9574 | 1272723.5026
56 | 2722319.8996 | 1272724.0743 | 2722304.1389 | 1272732.5927
57 | 2722302.1852 | 1272733.6486 | 2722304.1389 | 1272732.5927
58 | 2722302.1852 | 1272733.6486 | 2722291.1307 | 1272739.6234
59 | 2722279.1337 | 1272746.1076 | 2722291.1307 | 1272739.6234
60 | 2722279.1337 | 1272746.1076 | 2722273.1082 | 1272749.3643
61 | 2722252.2189 | 1272764.0596 | 2722259.9442 | 1272756.4792 | 2722273.1082 | 1272749.3643
62 | 2722252.2189 | 1272764.0596 | 2722256.2892 | 1272777.5359
63 | 2722252.2189 | 1272764.0596 | 2722246.7145 | 1272771.3034
64 | 2722256.2892 | 1272777.5359 | 2722260.7736 | 1272792.3831
65 | 2722212.4104 | 1272808.1402 | 2722235.5291 | 1272786.0234 | 2722246.7145 | 1272771.3034
66 | 2722269.4174 | 1272821.0019 | 2722260.7736 | 1272792.3831
67 | 2722200.3982 | 1272817.8555 | 2722207.7989 | 1272812.5518 | 2722212.4104 | 1272808.1402
68 | 2722223.4349 | 1272713.6281 | 2722225.8979 | 1272705.8607
69 | 2722320.5709 | 1272693.0537 | 2722303.6942 | 1272695.1587
70 | 2722269.4174 | 1272821.0019 | 2722289.6093 | 1272816.4944
71 | 2722192.6408 | 1272823.4148 | 2722200.3982 | 1272817.8555
72 | 2722289.6093 | 1272816.4944 | 2722301.0842 | 1272813.9328
73 | 2722303.7728 | 1272813.3326 | 2722301.0842 | 1272813.9328
74 | 2722431.5299 | 1272855.8917 | 2722426.8717 | 1272856.1924
75 | 2722426.8717 | 1272856.1924 | 2722409.0871 | 1272857.3406 | 2722408.6425 | 1272857.4289
76 | 2722399.0062 | 1272859.3422 | 2722408.6425 | 1272857.4289
77 | 2722386.6033 | 1272861.8048 | 2722399.0062 | 1272859.3422
78 | 2722386.6033 | 1272861.8048 | 2722383.071 | 1272862.5061 | 2722373.2828 | 1272864.6242
79 | 2722362.2067 | 1272867.0209 | 2722373.2828 | 1272864.6242
80 | 2722362.2067 | 1272867.0209 | 2722348.3184 | 1272870.0261
81 | 2722348.3184 | 1272870.0261 | 2722335.576 | 1272872.7834
82 | 2722332.6372 | 1272806.889 | 2722329.3242 | 1272807.6286
83 | 2722332.6372 | 1272806.889 | 2722342.9201 | 1272804.5935
84 | 2722303.7728 | 1272813.3326 | 2722329.3242 | 1272807.6286
85 | 2722342.9201 | 1272804.5935 | 2722343.1272 | 1272804.5472
86 | 2722343.1272 | 1272804.5472 | 2722357.8985 | 1272801.2498 | 2722364.9964 | 1272795.992 | 2722371.1505 | 1272795.0688
87 | 2721671.7906 | 1273135.9501 | 2721671.9433 | 1273135.852 | 2721671.9433 | 1273135.852
88 | 2721671.7906 | 1273135.9501 | 2721668.5053 | 1273138.0616
89 | 2721671.9433 | 1273135.852 | 2721676.6376 | 1273130.7329 | 2721681.6803 | 1273122.2178 | 2721682.3052 | 1273121.0956
90 | 2721668.5053 | 1273138.0616 | 2721667.4835 | 1273138.7183 | 2721661.1138 | 1273141.5452 | 2721661.1138 | 1273141.5452
91 | 2722048.9894 | 1272869.2642 | 2721682.3052 | 1273121.0956
92 | 2721653.5885 | 1273143.1481 | 2721661.1138 | 1273141.5452
93 | 2722048.9894 | 1272869.2642 | 2722063.88 | 1272862.221 | 2722083.8016 | 1272853.8139 | 2722103.3765 | 1272848.347 | 2722135.9642 | 1272840.7917 | 2722159.9926 | 1272836.0671
94 | 2722192.6408 | 1272823.4148 | 2722183.5594 | 1272828.9209 | 2722165.6955 | 1272834.9458 | 2722159.9926 | 1272836.0671

## bus_geodata
| x | y | coords
0 | 2722441.847 | 1272727.412
1 | 2722441.8784 | 1272744.6714
2 | 2722452.6188 | 1272693.3242
3 | 2722463.191 | 1272800.8545
4 | 2722447.3962 | 1272658.6059
5 | 2722470.7851 | 1272819.2062
6 | 2722401.4932 | 1272699.0105
7 | 2722384.152 | 1272702.6605
8 | 2722436.058 | 1272631.7938
9 | 2722476.5818 | 1272857.3847
10 | 2722376.1237 | 1272704.3503
11 | 2722426.4411 | 1272608.9642
12 | 2722362.498 | 1272578.4276
13 | 2722358.4938 | 1272580.4625
14 | 2722405.1865 | 1272557.3034
15 | 2722348.6224 | 1272585.4788
16 | 2722411.8351 | 1272574.079
17 | 2722344.6091 | 1272587.5182
18 | 2722343.2381 | 1272588.2149
19 | 2722361.644 | 1272574.4857
20 | 2722341.6819 | 1272584.5348
21 | 2722478.5499 | 1272857.7605
22 | 2722454.2681 | 1272856.0529
23 | 2722313.0386 | 1272600.2449
24 | 2722231.2241 | 1272649.6994
25 | 2722227.5586 | 1272649.9946
26 | 2722209.9409 | 1272651.4133
27 | 2722208.8209 | 1272639.515
28 | 2722206.6913 | 1272616.8918
29 | 2722369.2965 | 1272705.7873
30 | 2722355.5453 | 1272708.6817
31 | 2722336.6721 | 1272715.6245
32 | 2722313.1035 | 1272642.4932
33 | 2722316.7578 | 1272657.4417
34 | 2722310.5302 | 1272631.9668
35 | 2722305.5581 | 1272660.4531
36 | 2722311.259 | 1272630.4578
37 | 2722292.7933 | 1272663.8853
38 | 2722264.6857 | 1272671.4429
39 | 2722265.1453 | 1272667.2314
40 | 2722268.061 | 1272640.515
41 | 2722269.5041 | 1272611.3758
42 | 2722260.3205 | 1272700.5684
43 | 2722260.0327 | 1272702.4754
44 | 2722281.7444 | 1272697.8964
45 | 2722148.4522 | 1272620.6124
46 | 2722258.8584 | 1272713.2968
47 | 2722244.5055 | 1272704.0153
48 | 2722294.1442 | 1272696.3498
49 | 2722335.8337 | 1272715.9965
50 | 2722320.9574 | 1272723.5026
51 | 2722319.8996 | 1272724.0743
52 | 2722304.1389 | 1272732.5927
53 | 2722302.1852 | 1272733.6486
54 | 2722291.1307 | 1272739.6234
55 | 2722279.1337 | 1272746.1076
56 | 2722273.1082 | 1272749.3643
57 | 2722252.2189 | 1272764.0596
58 | 2722256.2892 | 1272777.5359
59 | 2722246.7145 | 1272771.3034
60 | 2722260.7736 | 1272792.3831
61 | 2722212.4104 | 1272808.1402
62 | 2722311.9906 | 1272564.9061
63 | 2722225.8979 | 1272705.8607
64 | 2722223.4349 | 1272713.6281
65 | 2722150.5679 | 1272644.5754
66 | 2722303.6942 | 1272695.1587
67 | 2722320.5709 | 1272693.0537
68 | 2722269.4174 | 1272821.0019
69 | 2722200.3982 | 1272817.8555
70 | 2722289.6093 | 1272816.4944
71 | 2722301.0842 | 1272813.9328
72 | 2722431.5299 | 1272855.8917
73 | 2722426.8717 | 1272856.1924
74 | 2722408.6425 | 1272857.4289
75 | 2722399.0062 | 1272859.3422
76 | 2722386.6033 | 1272861.8048
77 | 2722373.2828 | 1272864.6242
78 | 2722362.2067 | 1272867.0209
79 | 2722348.3184 | 1272870.0261
80 | 2722335.576 | 1272872.7834
81 | 2722332.6372 | 1272806.889
82 | 2722329.3242 | 1272807.6286
83 | 2722342.9201 | 1272804.5935
84 | 2722303.7728 | 1272813.3326
85 | 2722343.1272 | 1272804.5472
86 | 2722371.1505 | 1272795.0688
87 | 2721671.7906 | 1273135.9501
88 | 2721671.9433 | 1273135.852
89 | 2721668.5053 | 1273138.0616
90 | 2721682.3052 | 1273121.0956
91 | 2721661.1138 | 1273141.5452
92 | 2722048.9894 | 1272869.2642
93 | 2722159.9926 | 1272836.0671
94 | 2721653.5885 | 1273143.1481
95 | 2722192.6408 | 1272823.4148
96 | 2722252.2189 | 1272764.0596

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1