## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_495-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_495-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_495-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_495-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_495-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_495-5_0_3_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_495-5_0_3_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_495-5_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_495-5_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_495-5_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_495-5_0_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_495-5_0_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_495-5_0_3_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_495-5_0_3_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_495-5_0_3_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_495-5_0_3_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_495-5_0_3_node_92 | 0.4 | n |  | TRUE
17 | bus_LV_495-5_0_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_495-5_0_3_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_495-5_0_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_495-5_0_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_495-5_0_3_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_495-5_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_495-5_0_3_node_100 | 0.4 | n |  | TRUE
24 | bus_LV_495-5_0_3_node_91 | 0.4 | n |  | TRUE
25 | bus_LV_495-5_0_3_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_495-5_0_3_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_495-5_0_3_node_106 | 0.4 | n |  | TRUE
28 | bus_LV_495-5_0_3_node_9 | 0.4 | n |  | TRUE
29 | bus_LV_495-5_0_3_node_5 | 0.4 | n |  | TRUE
30 | bus_LV_495-5_0_3_node_6 | 0.4 | n |  | TRUE
31 | bus_LV_495-5_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_495-5_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_495-5_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_495-5_0_3_node_10 | 0.4 | n |  | TRUE
35 | bus_LV_495-5_0_3_node_11 | 0.4 | n |  | TRUE
36 | bus_LV_495-5_0_3_node_12 | 0.4 | n |  | TRUE
37 | bus_LV_495-5_0_3_node_13 | 0.4 | n |  | TRUE
38 | bus_LV_495-5_0_3_node_14 | 0.4 | n |  | TRUE
39 | bus_LV_495-5_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_495-5_0_3_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_495-5_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_495-5_0_3_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_495-5_0_3_node_15 | 0.4 | n |  | TRUE
44 | bus_LV_495-5_0_3_node_16 | 0.4 | n |  | TRUE
45 | bus_LV_495-5_0_3_node_17 | 0.4 | n |  | TRUE
46 | bus_LV_495-5_0_3_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_495-5_0_3_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_495-5_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_495-5_0_3_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_495-5_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_495-5_0_3_node_90 | 0.4 | n |  | TRUE
52 | bus_LV_495-5_0_3_node_20 | 0.4 | n |  | TRUE
53 | bus_LV_495-5_0_3_node_22 | 0.4 | n |  | TRUE
54 | bus_LV_495-5_0_3_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_495-5_0_3_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_495-5_0_3_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_495-5_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_495-5_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_495-5_0_3_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_495-5_0_3_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_495-5_0_3_node_28 | 0.4 | n |  | TRUE
62 | bus_LV_495-5_0_3_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_495-5_0_3_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_495-5_0_3_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_495-5_0_3_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_495-5_0_3_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_495-5_0_3_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_495-5_0_3_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_495-5_0_3_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_495-5_0_3_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_495-5_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_495-5_0_3_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_495-5_0_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_495-5_0_3_node_102 | 0.4 | n |  | TRUE
75 | bus_LV_495-5_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_495-5_0_3_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_495-5_0_3_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_495-5_0_3_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_495-5_0_3_node_103 | 0.4 | n |  | TRUE
80 | bus_LV_495-5_0_3_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_495-5_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_495-5_0_3_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_495-5_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_495-5_0_3_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_495-5_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_495-5_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_495-5_0_3_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_495-5_0_3_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_495-5_0_3_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_495-5_0_3_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_495-5_0_3_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_495-5_0_3_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_495-5_0_3_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_495-5_0_3_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_495-5_0_3_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_495-5_0_3_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_495-5_0_3_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_495-5_0_3_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_495-5_0_3_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_495-5_0_3_node_98 | 0.4 | n |  | TRUE
101 | bus_MV_444_1_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_495-5_0_3_load_0 | 0 | 0.0027955 | 0.00070062 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_495-5_0_3_load_1 | 1 | 0.00049878 | 0.00012501 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_495-5_0_3_load_2 | 2 | 0.0018788 | 0.00047088 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_495-5_0_3_load_4 | 4 | 0.0015276 | 0.00038285 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_495-5_0_3_load_52 | 5 | 0.001472 | 0.00036891 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_495-5_0_3_load_31 | 8 | 0.0004357 | 0.0001092 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_495-5_0_3_load_32 | 9 | 0.00083834 | 0.00021011 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_495-5_0_3_load_34 | 11 | 0.00027397 | 6.8664e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_495-5_0_3_load_35 | 12 | 0.00094768 | 0.00023751 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_495-5_0_3_load_65 | 14 | 0.00030492 | 7.6421e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_495-5_0_3_load_38 | 15 | 0.00049633 | 0.00012439 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_495-5_0_3_load_92 | 16 | 0.00017135 | 4.2944e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_495-5_0_3_load_37 | 17 | 0.0020271 | 0.00050805 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_495-5_0_3_load_53 | 18 | 0.0023741 | 0.000595 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_495-5_0_3_load_54 | 19 | 0.00048309 | 0.00012107 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_495-5_0_3_load_56 | 21 | 0.00048567 | 0.00012172 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_495-5_0_3_load_100 | 23 | 0.0012803 | 0.00032087 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_495-5_0_3_load_91 | 24 | 0.00044157 | 0.00011067 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_495-5_0_3_load_93 | 25 | 0.00052168 | 0.00013075 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_495-5_0_3_load_94 | 26 | 0.00031959 | 8.0098e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_495-5_0_3_load_106 | 27 | 0.001393 | 0.00034911 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_495-5_0_3_load_9 | 28 | 0.0036054 | 0.00090359 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_495-5_0_3_load_5 | 29 | 0.0046414 | 0.0011632 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_495-5_0_3_load_6 | 30 | 0.002726 | 0.0006832 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_495-5_0_3_load_30 | 32 | 0.0025418 | 0.00063704 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_495-5_0_3_load_21 | 33 | 0.0034808 | 0.00087236 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_495-5_0_3_load_10 | 34 | 0.0023113 | 0.00057927 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_495-5_0_3_load_11 | 35 | 0.0014699 | 0.00036838 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_495-5_0_3_load_12 | 36 | 0.00040124 | 0.00010056 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_495-5_0_3_load_13 | 37 | 0.0019874 | 0.0004981 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_495-5_0_3_load_14 | 38 | 0.00059429 | 0.00014894 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_495-5_0_3_load_26 | 39 | 0.0015843 | 0.00039707 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_495-5_0_3_load_59 | 40 | 0.0019636 | 0.00049211 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_495-5_0_3_load_25 | 41 | 0.0012456 | 0.00031218 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_495-5_0_3_load_60 | 42 | 0.00057499 | 0.00014411 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_495-5_0_3_load_15 | 43 | 0.00036034 | 9.031e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_495-5_0_3_load_16 | 44 | 0.00176 | 0.0004411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_495-5_0_3_load_18 | 46 | 0.0020073 | 0.00050308 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_495-5_0_3_load_19 | 47 | 0.0030417 | 0.00076231 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_495-5_0_3_load_89 | 49 | 0.00051364 | 0.00012873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_495-5_0_3_load_90 | 51 | 0.00041035 | 0.00010284 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_495-5_0_3_load_20 | 52 | 0.0031638 | 0.00079293 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_495-5_0_3_load_22 | 53 | 0.0048532 | 0.0012163 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_495-5_0_3_load_67 | 55 | 0.0016743 | 0.00041962 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_495-5_0_3_load_99 | 56 | 0.00049539 | 0.00012416 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_495-5_0_3_load_50 | 57 | 0.0023499 | 0.00058893 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_495-5_0_3_load_28 | 61 | 0.0029435 | 0.00073772 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_495-5_0_3_load_29 | 62 | 0.00079845 | 0.00020011 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_495-5_0_3_load_42 | 63 | 0.00034708 | 8.6987e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_495-5_0_3_load_43 | 65 | 0.0016265 | 0.00040763 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_495-5_0_3_load_87 | 67 | 0.0011065 | 0.00027731 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_495-5_0_3_load_41 | 70 | 0.0019638 | 0.00049218 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_495-5_0_3_load_62 | 71 | 0.0019974 | 0.0005006 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_495-5_0_3_load_61 | 73 | 0.0011376 | 0.00028511 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_495-5_0_3_load_102 | 74 | 0.0017455 | 0.00043746 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_495-5_0_3_load_63 | 75 | 0.0021154 | 0.00053016 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_495-5_0_3_load_45 | 76 | 0.0011803 | 0.00029581 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_495-5_0_3_load_51 | 78 | 0.00032667 | 8.187e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_495-5_0_3_load_103 | 79 | 0.001142 | 0.00028622 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_495-5_0_3_load_86 | 80 | 0.00054612 | 0.00013687 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_495-5_0_3_load_76 | 81 | 0.0066203 | 0.0016592 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_495-5_0_3_load_84 | 83 | 0.0014477 | 0.00036283 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_495-5_0_3_load_85 | 84 | 0.00079682 | 0.0001997 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_495-5_0_3_load_78 | 86 | 0.0033053 | 0.00082838 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_495-5_0_3_load_68 | 87 | 0.0053674 | 0.0013452 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_495-5_0_3_load_69 | 88 | 0.0012061 | 0.00030228 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_495-5_0_3_load_71 | 90 | 0.0018925 | 0.00047431 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_495-5_0_3_load_72 | 91 | 0.001114 | 0.00027918 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_495-5_0_3_load_74 | 92 | 0.00078 | 0.00019549 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_495-5_0_3_load_83 | 93 | 0.0016478 | 0.00041297 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_495-5_0_3_load_105 | 94 | 0.0034691 | 0.00086943 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_495-5_0_3_load_82 | 95 | 0.00059894 | 0.00015011 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_495-5_0_3_load_77 | 97 | 0.00089356 | 0.00022395 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_495-5_0_3_load_96 | 98 | 0.0023742 | 0.00059504 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_495-5_0_3_load_97 | 99 | 0.00052471 | 0.0001315 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_495-5_0_3_load_98 | 100 | 0.0010012 | 0.00025093 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_495-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_495-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0020063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_495-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.055047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_495-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0049485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_495-5_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.053701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_495-5_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.38338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_495-5_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.030961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_495-5_0_3_line_7 | NAYY 4x150 SE | 6 | 20 | 0.016401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_495-5_0_3_line_8 | NAYY 4x150 SE | 7 | 28 | 0.020651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_495-5_0_3_line_9 | NAYY 4x150 SE | 7 | 29 | 0.013802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_495-5_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.023601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_495-5_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.030743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_495-5_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.041619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_495-5_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.015834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_495-5_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.092955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_495-5_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.019141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_495-5_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.014207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_495-5_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.010251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_495-5_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.071772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_495-5_0_3_line_19 | NAYY 4x150 SE | 16 | 24 | 0.021617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_495-5_0_3_line_20 | NAYY 4x150 SE | 17 | 68 | 0.031487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_495-5_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.032364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_495-5_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.019865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_495-5_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.029125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_495-5_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.022035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_495-5_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.017011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_495-5_0_3_line_26 | NAYY 4x150 SE | 23 | 72 | 0.017577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_495-5_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.011935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_495-5_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.01753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_495-5_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0064031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_495-5_0_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.022926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_495-5_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.015783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_495-5_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.022014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_495-5_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.039585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_495-5_0_3_line_34 | NAYY 4x150 SE | 32 | 56 | 0.0033872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_495-5_0_3_line_35 | NAYY 4x150 SE | 33 | 52 | 0.010122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_495-5_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0032166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_495-5_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.016833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_495-5_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.023806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_495-5_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0023026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_495-5_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.015099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_495-5_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.010007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_495-5_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.020126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_495-5_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.022758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_495-5_0_3_line_44 | NAYY 4x150 SE | 41 | 60 | 0.010901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_495-5_0_3_line_45 | NAYY 4x150 SE | 42 | 83 | 0.0020133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_495-5_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.021147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_495-5_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.056939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_495-5_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.049799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_495-5_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.081694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_495-5_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0084104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_495-5_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.0092203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_495-5_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.020714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_495-5_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.013491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_495-5_0_3_line_54 | NAYY 4x150 SE | 50 | 77 | 0.051503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_495-5_0_3_line_55 | NAYY 4x150 SE | 50 | 76 | 0.025785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_495-5_0_3_line_56 | NAYY 4x150 SE | 51 | 82 | 0.0058557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_495-5_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0045022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_495-5_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.019538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_495-5_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.014292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_495-5_0_3_line_60 | NAYY 4x150 SE | 55 | 59 | 0.020085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_495-5_0_3_line_61 | NAYY 4x150 SE | 56 | 66 | 0.02382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_495-5_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.016711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_495-5_0_3_line_63 | NAYY 4x150 SE | 58 | 78 | 0.065707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_495-5_0_3_line_64 | NAYY 4x150 SE | 59 | 85 | 0.039096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_495-5_0_3_line_65 | NAYY 4x150 SE | 59 | 86 | 0.047363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_495-5_0_3_line_66 | NAYY 4x150 SE | 60 | 61 | 0.020133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_495-5_0_3_line_67 | NAYY 4x150 SE | 60 | 62 | 0.021036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_495-5_0_3_line_68 | NAYY 4x150 SE | 61 | 63 | 0.029704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_495-5_0_3_line_69 | NAYY 4x150 SE | 62 | 64 | 0.020258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_495-5_0_3_line_70 | NAYY 4x150 SE | 63 | 65 | 0.0092621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_495-5_0_3_line_71 | NAYY 4x150 SE | 64 | 66 | 0.004438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_495-5_0_3_line_72 | NAYY 4x150 SE | 64 | 67 | 0.014767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_495-5_0_3_line_73 | NAYY 4x150 SE | 66 | 98 | 0.033799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_495-5_0_3_line_74 | NAYY 4x150 SE | 67 | 80 | 0.014376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_495-5_0_3_line_75 | NAYY 4x150 SE | 68 | 69 | 0.01404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_495-5_0_3_line_76 | NAYY 4x150 SE | 68 | 70 | 0.034051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_495-5_0_3_line_77 | NAYY 4x150 SE | 69 | 71 | 0.023254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_495-5_0_3_line_78 | NAYY 4x150 SE | 70 | 72 | 0.034041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_495-5_0_3_line_79 | NAYY 4x150 SE | 71 | 73 | 0.037536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_495-5_0_3_line_80 | NAYY 4x150 SE | 72 | 74 | 0.016762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_495-5_0_3_line_81 | NAYY 4x150 SE | 73 | 75 | 0.028835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_495-5_0_3_line_82 | NAYY 4x150 SE | 77 | 79 | 0.0078575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_495-5_0_3_line_83 | NAYY 4x150 SE | 78 | 80 | 0.0052818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_495-5_0_3_line_84 | NAYY 4x150 SE | 81 | 82 | 0.019749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_495-5_0_3_line_85 | NAYY 4x150 SE | 82 | 96 | 0.029514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_495-5_0_3_line_86 | NAYY 4x150 SE | 83 | 84 | 0.018341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_495-5_0_3_line_87 | NAYY 4x150 SE | 84 | 89 | 0.023246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_495-5_0_3_line_88 | NAYY 4x150 SE | 85 | 94 | 0.0088251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_495-5_0_3_line_89 | NAYY 4x150 SE | 86 | 97 | 0.011384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_495-5_0_3_line_90 | NAYY 4x150 SE | 87 | 88 | 0.013274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_495-5_0_3_line_91 | NAYY 4x150 SE | 88 | 89 | 0.019526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_495-5_0_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.026903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_495-5_0_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.0018578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_495-5_0_3_line_94 | NAYY 4x150 SE | 92 | 93 | 0.034334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_495-5_0_3_line_95 | NAYY 4x150 SE | 93 | 95 | 0.023102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_495-5_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.038918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_495-5_0_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.05538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_495-5_0_3_line_98 | NAYY 4x150 SE | 98 | 99 | 0.00059811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_495-5_0_3_line_99 | NAYY 4x150 SE | 99 | 100 | 0.003994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_495-5_0_3_trafo_43 | 0.25 MVA 20/0.4 kV | 101 | 65 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2571223.374 | 1207038.3431 | 2571216.397 | 1207021.801
1 | 2571223.374 | 1207038.3431 | 2571224.1537 | 1207040.1917
2 | 2571191.8411 | 1206973.0907 | 2571199.3867 | 1206981.47 | 2571216.397 | 1207021.801
3 | 2571226.0767 | 1207044.7512 | 2571224.1537 | 1207040.1917
4 | 2571191.8411 | 1206973.0907 | 2571240.2597 | 1206949.8649
5 | 2571191.8411 | 1206973.0907 | 2571036.8315 | 1206622.4471
6 | 2571238.1086 | 1207073.2785 | 2571226.0767 | 1207044.7512
7 | 2571036.8315 | 1206622.4471 | 2571032.5492 | 1206606.6146
8 | 2571238.1086 | 1207073.2785 | 2571258.1891 | 1207068.4556
9 | 2571238.1086 | 1207073.2785 | 2571225.6335 | 1207079.1834
10 | 2570831.4417 | 1206462.8544 | 2570832.5846 | 1206463.8671 | 2570849.1066 | 1206478.5057
11 | 2570872.1172 | 1206498.8931 | 2570849.1066 | 1206478.5057
12 | 2570800.2917 | 1206435.254 | 2570831.4417 | 1206462.8544
13 | 2570872.1172 | 1206498.8931 | 2570879.8365 | 1206485.0587
14 | 2570872.1172 | 1206498.8931 | 2570892.2729 | 1206516.7489 | 2570898.0925 | 1206523.413 | 2570901.6868 | 1206527.5422 | 2570917.8368 | 1206531.8212 | 2570952.568 | 1206527.5047
15 | 2570800.2917 | 1206435.254 | 2570785.9653 | 1206422.5601
16 | 2570952.568 | 1206527.5047 | 2570966.6099 | 1206525.3463
17 | 2570952.568 | 1206527.5047 | 2570953.8612 | 1206517.3352
18 | 2570966.6099 | 1206525.3463 | 2571037.5484 | 1206514.442
19 | 2570961.3635 | 1206497.3641 | 2570958.9352 | 1206501.4924 | 2570954.721 | 1206510.5736 | 2570953.8612 | 1206517.3352
20 | 2571065.1022 | 1206500.0967 | 2571043.8444 | 1206513.4742 | 2571037.5484 | 1206514.442
21 | 2571012.6931 | 1206607.2137 | 2570980.3441 | 1206608.1896
22 | 2571032.5492 | 1206606.6146 | 2571012.6931 | 1206607.2137
23 | 2570951.2326 | 1206609.0679 | 2570980.3441 | 1206608.1896
24 | 2571032.5492 | 1206606.6146 | 2571031.7241 | 1206590.2317 | 2571029.691 | 1206584.9831
25 | 2571029.691 | 1206584.9831 | 2571039.7242 | 1206580.9097 | 2571043.1899 | 1206575.7897
26 | 2571053.0425 | 1206561.2339 | 2571043.1899 | 1206575.7897
27 | 2570961.3635 | 1206497.3641 | 2570967.4145 | 1206487.0767
28 | 2570976.302 | 1206471.967 | 2570967.4145 | 1206487.0767
29 | 2570979.5484 | 1206466.4479 | 2570976.302 | 1206471.967
30 | 2571280.4808 | 1207063.1015 | 2571258.1891 | 1207068.4556
31 | 2571225.6335 | 1207079.1834 | 2571215.1144 | 1207084.1625 | 2571211.4345 | 1207086.0712
32 | 2571280.4808 | 1207063.1015 | 2571300.4011 | 1207053.7324
33 | 2571280.4808 | 1207063.1015 | 2571294.9681 | 1207099.9398
34 | 2571300.4011 | 1207053.7324 | 2571303.4662 | 1207052.2908
35 | 2571298.6726 | 1207109.3598 | 2571294.9681 | 1207099.9398
36 | 2571422.075 | 1206973.9474 | 2571419.4169 | 1206975.7587
37 | 2571422.075 | 1206973.9474 | 2571432.0647 | 1206967.1402 | 2571436.1836 | 1206964.7851
38 | 2571399.7437 | 1206989.1645 | 2571419.4169 | 1206975.7587
39 | 2571438.1825 | 1206963.6422 | 2571436.1836 | 1206964.7851
40 | 2571387.2659 | 1206997.6671 | 2571399.7437 | 1206989.1645
41 | 2571438.1825 | 1206963.6422 | 2571446.8697 | 1206958.6749
42 | 2571387.2659 | 1206997.6671 | 2571370.6338 | 1207009.0005
43 | 2571466.6261 | 1206947.3785 | 2571446.8697 | 1206958.6749
44 | 2571361.6254 | 1207015.1391 | 2571370.6338 | 1207009.0005
45 | 2571466.6261 | 1206947.3785 | 2571468.3739 | 1206946.3791
46 | 2571548.6084 | 1207141.2257 | 2571540.5186 | 1207121.6871
47 | 2571564.7587 | 1207195.8103 | 2571549.5906 | 1207143.5981 | 2571548.6084 | 1207141.2257
48 | 2571521.4682 | 1207075.6763 | 2571540.5186 | 1207121.6871
49 | 2571564.7587 | 1207195.8103 | 2571522.3153 | 1207198.9595 | 2571491.0367 | 1207201.0661 | 2571483.2544 | 1207201.2663
50 | 2571518.2508 | 1207067.9056 | 2571521.4682 | 1207075.6763
51 | 2571474.0371 | 1207201.5034 | 2571474.0371 | 1207201.5034 | 2571483.2544 | 1207201.2663
52 | 2571511.9592 | 1207048.1692 | 2571518.2508 | 1207067.9056
53 | 2571474.0371 | 1207201.5034 | 2571460.5611 | 1207200.8625
54 | 2571511.9592 | 1207048.1692 | 2571557.6955 | 1207024.2369
55 | 2571511.9592 | 1207048.1692 | 2571488.1263 | 1207058.012
56 | 2571454.712 | 1207200.5844 | 2571460.5611 | 1207200.8625
57 | 2571300.3204 | 1207113.5497 | 2571298.6726 | 1207109.3598
58 | 2571307.4708 | 1207131.7319 | 2571300.3204 | 1207113.5497
59 | 2571307.4708 | 1207131.7319 | 2571310.9833 | 1207145.5853
60 | 2571315.9196 | 1207165.0543 | 2571310.9833 | 1207145.5853
61 | 2571325.0215 | 1207042.1527 | 2571303.4662 | 1207052.2908
62 | 2571388.8241 | 1207102.0235 | 2571377.4874 | 1207106.8585 | 2571373.3543 | 1207108.3268
63 | 2571388.8241 | 1207102.0235 | 2571377.56 | 1207071.3939 | 2571358.0561 | 1207076.0792 | 2571348.8049 | 1207071.877 | 2571347.2934 | 1207069.4583
64 | 2571315.9196 | 1207165.0543 | 2571294.8698 | 1207164.4666 | 2571276.7804 | 1207165.9658
65 | 2571315.9196 | 1207165.0543 | 2571335.7528 | 1207167.2377 | 2571351.3802 | 1207170.8089 | 2571362.3681 | 1207173.7708
66 | 2571361.6254 | 1207015.1391 | 2571350.7258 | 1206998.2123
67 | 2571361.6254 | 1207015.1391 | 2571345.4205 | 1207028.5527
68 | 2571350.7258 | 1206998.2123 | 2571334.6444 | 1206973.2383
69 | 2571329.05 | 1207040.2656 | 2571334.2013 | 1207037.8394 | 2571345.4205 | 1207028.5527
70 | 2571329.6299 | 1206965.4509 | 2571334.6444 | 1206973.2383
71 | 2571329.05 | 1207040.2656 | 2571325.0215 | 1207042.1527
72 | 2571329.05 | 1207040.2656 | 2571336.8759 | 1207052.7883
73 | 2571325.0215 | 1207042.1527 | 2571310 | 1207017.6781 | 2571310.2432 | 1207012.6018
74 | 2571344.4943 | 1207064.9792 | 2571336.8759 | 1207052.7883
75 | 2571071.7949 | 1206487.7461 | 2571065.1022 | 1206500.0967
76 | 2571065.1022 | 1206500.0967 | 2571068.0773 | 1206509.8321 | 2571072.1667 | 1206532.9029 | 2571071.9696 | 1206533.2973
77 | 2571071.7949 | 1206487.7461 | 2571083.3464 | 1206467.5643
78 | 2571053.0425 | 1206561.2339 | 2571064.3569 | 1206548.5274 | 2571071.9696 | 1206533.2973
79 | 2571101.9927 | 1206434.987 | 2571083.3464 | 1206467.5643
80 | 2571053.0425 | 1206561.2339 | 2571066.8733 | 1206570.703
81 | 2571101.9927 | 1206434.987 | 2571116.3167 | 1206409.9613
82 | 2571557.6955 | 1207024.2369 | 2571553.9604 | 1207017.324
83 | 2571347.2934 | 1207069.4583 | 2571344.4943 | 1207064.9792
84 | 2571454.712 | 1207200.5844 | 2571454.4673 | 1207180.8368
85 | 2571425.6471 | 1207195.0097 | 2571442.6728 | 1207198.441 | 2571454.712 | 1207200.5844
86 | 2571468.3739 | 1206946.3791 | 2571484.2961 | 1206937.275
87 | 2571504.4758 | 1206925.7365 | 2571484.2961 | 1206937.275
88 | 2571276.7804 | 1207165.9658 | 2571267.9796 | 1207166.6201
89 | 2571373.2054 | 1207177.2314 | 2571366.6149 | 1207174.9156 | 2571362.3681 | 1207173.7708
90 | 2571534.7326 | 1206913.0719 | 2571522.4878 | 1206918.1972
91 | 2571504.4758 | 1206925.7365 | 2571522.4878 | 1206918.1972
92 | 2571306.7843 | 1207224.0082 | 2571333.0202 | 1207218.0558
93 | 2571334.8319 | 1207217.6447 | 2571333.0202 | 1207218.0558
94 | 2571334.8319 | 1207217.6447 | 2571346.081 | 1207215.0925 | 2571368.7125 | 1207212.3361
95 | 2571391.6447 | 1207209.5431 | 2571368.7125 | 1207212.3361
96 | 2571425.6471 | 1207195.0097 | 2571417.8041 | 1207203.7412 | 2571414.2876 | 1207206.1483 | 2571408.2342 | 1207207.5226 | 2571391.6447 | 1207209.5431
97 | 2571425.6471 | 1207195.0097 | 2571407.4088 | 1207189.2497 | 2571373.2054 | 1207177.2314
98 | 2571310.2718 | 1207012.0043 | 2571310.2432 | 1207012.6018
99 | 2571310.4628 | 1207008.0149 | 2571310.2718 | 1207012.0043

## bus_geodata
| x | y | coords
0 | 2571223.374 | 1207038.3431
1 | 2571216.397 | 1207021.801
2 | 2571224.1537 | 1207040.1917
3 | 2571191.8411 | 1206973.0907
4 | 2571226.0767 | 1207044.7512
5 | 2571240.2597 | 1206949.8649
6 | 2571036.8315 | 1206622.4471
7 | 2571238.1086 | 1207073.2785
8 | 2570849.1066 | 1206478.5057
9 | 2570831.4417 | 1206462.8544
10 | 2570872.1172 | 1206498.8931
11 | 2570800.2917 | 1206435.254
12 | 2570879.8365 | 1206485.0587
13 | 2570952.568 | 1206527.5047
14 | 2570785.9653 | 1206422.5601
15 | 2570966.6099 | 1206525.3463
16 | 2570953.8612 | 1206517.3352
17 | 2571037.5484 | 1206514.442
18 | 2571012.6931 | 1206607.2137
19 | 2570980.3441 | 1206608.1896
20 | 2571032.5492 | 1206606.6146
21 | 2570951.2326 | 1206609.0679
22 | 2571029.691 | 1206584.9831
23 | 2571043.1899 | 1206575.7897
24 | 2570961.3635 | 1206497.3641
25 | 2570967.4145 | 1206487.0767
26 | 2570976.302 | 1206471.967
27 | 2570979.5484 | 1206466.4479
28 | 2571258.1891 | 1207068.4556
29 | 2571225.6335 | 1207079.1834
30 | 2571211.4345 | 1207086.0712
31 | 2571280.4808 | 1207063.1015
32 | 2571300.4011 | 1207053.7324
33 | 2571294.9681 | 1207099.9398
34 | 2571422.075 | 1206973.9474
35 | 2571419.4169 | 1206975.7587
36 | 2571436.1836 | 1206964.7851
37 | 2571399.7437 | 1206989.1645
38 | 2571438.1825 | 1206963.6422
39 | 2571387.2659 | 1206997.6671
40 | 2571446.8697 | 1206958.6749
41 | 2571370.6338 | 1207009.0005
42 | 2571466.6261 | 1206947.3785
43 | 2571548.6084 | 1207141.2257
44 | 2571540.5186 | 1207121.6871
45 | 2571564.7587 | 1207195.8103
46 | 2571521.4682 | 1207075.6763
47 | 2571483.2544 | 1207201.2663
48 | 2571518.2508 | 1207067.9056
49 | 2571474.0371 | 1207201.5034
50 | 2571511.9592 | 1207048.1692
51 | 2571460.5611 | 1207200.8625
52 | 2571298.6726 | 1207109.3598
53 | 2571300.3204 | 1207113.5497
54 | 2571307.4708 | 1207131.7319
55 | 2571310.9833 | 1207145.5853
56 | 2571303.4662 | 1207052.2908
57 | 2571373.3543 | 1207108.3268
58 | 2571388.8241 | 1207102.0235
59 | 2571315.9196 | 1207165.0543
60 | 2571361.6254 | 1207015.1391
61 | 2571350.7258 | 1206998.2123
62 | 2571345.4205 | 1207028.5527
63 | 2571334.6444 | 1206973.2383
64 | 2571329.05 | 1207040.2656
65 | 2571329.6299 | 1206965.451
66 | 2571325.0215 | 1207042.1527
67 | 2571336.8759 | 1207052.7883
68 | 2571065.1022 | 1206500.0967
69 | 2571071.7949 | 1206487.7461
70 | 2571071.9696 | 1206533.2973
71 | 2571083.3464 | 1206467.5643
72 | 2571053.0425 | 1206561.2339
73 | 2571101.9927 | 1206434.987
74 | 2571066.8733 | 1206570.703
75 | 2571116.3167 | 1206409.9613
76 | 2571488.1263 | 1207058.012
77 | 2571557.6955 | 1207024.2369
78 | 2571347.2934 | 1207069.4583
79 | 2571553.9604 | 1207017.324
80 | 2571344.4943 | 1207064.9792
81 | 2571454.4673 | 1207180.8368
82 | 2571454.712 | 1207200.5844
83 | 2571468.3739 | 1206946.3791
84 | 2571484.2961 | 1206937.275
85 | 2571276.7804 | 1207165.9658
86 | 2571362.3681 | 1207173.7708
87 | 2571534.7326 | 1206913.0719
88 | 2571522.4878 | 1206918.1972
89 | 2571504.4758 | 1206925.7365
90 | 2571306.7843 | 1207224.0082
91 | 2571333.0202 | 1207218.0558
92 | 2571334.8319 | 1207217.6447
93 | 2571368.7125 | 1207212.3361
94 | 2571267.9796 | 1207166.6201
95 | 2571391.6447 | 1207209.5431
96 | 2571425.6471 | 1207195.0097
97 | 2571373.2054 | 1207177.2314
98 | 2571310.2432 | 1207012.6018
99 | 2571310.2718 | 1207012.0043
100 | 2571310.4628 | 1207008.0149
101 | 2571300.8717 | 1206920.7901

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1