## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4951-16_1_2_node_37 | 0.4 | n |  | TRUE
1 | bus_LV_4951-16_1_2_node_36 | 0.4 | n |  | TRUE
2 | bus_LV_4951-16_1_2_node_31 | 0.4 | n |  | TRUE
3 | bus_LV_4951-16_1_2_node_103 | 0.4 | n |  | TRUE
4 | bus_LV_4951-16_1_2_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_4951-16_1_2_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_4951-16_1_2_node_104 | 0.4 | n |  | TRUE
7 | bus_LV_4951-16_1_2_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_4951-16_1_2_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_4951-16_1_2_node_120 | 0.4 | n |  | TRUE
10 | bus_LV_4951-16_1_2_node_121 | 0.4 | n |  | TRUE
11 | bus_LV_4951-16_1_2_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_4951-16_1_2_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_4951-16_1_2_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_4951-16_1_2_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_4951-16_1_2_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_4951-16_1_2_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_4951-16_1_2_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_4951-16_1_2_node_132 | 0.4 | n |  | TRUE
19 | bus_LV_4951-16_1_2_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_4951-16_1_2_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_4951-16_1_2_node_136 | 0.4 | n |  | TRUE
22 | bus_LV_4951-16_1_2_node_127 | 0.4 | n |  | TRUE
23 | bus_LV_4951-16_1_2_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_4951-16_1_2_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_4951-16_1_2_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_4951-16_1_2_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_4951-16_1_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_4951-16_1_2_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_4951-16_1_2_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_4951-16_1_2_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_4951-16_1_2_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_4951-16_1_2_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_4951-16_1_2_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_4951-16_1_2_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_4951-16_1_2_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_4951-16_1_2_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_4951-16_1_2_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_4951-16_1_2_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_4951-16_1_2_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_4951-16_1_2_node_133 | 0.4 | n |  | TRUE
41 | bus_LV_4951-16_1_2_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_4951-16_1_2_node_119 | 0.4 | n |  | TRUE
43 | bus_LV_4951-16_1_2_node_140 | 0.4 | n |  | TRUE
44 | bus_LV_4951-16_1_2_node_141 | 0.4 | n |  | TRUE
45 | bus_LV_4951-16_1_2_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_4951-16_1_2_node_128 | 0.4 | n |  | TRUE
47 | bus_LV_4951-16_1_2_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_4951-16_1_2_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_4951-16_1_2_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_4951-16_1_2_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_4951-16_1_2_node_134 | 0.4 | n |  | TRUE
52 | bus_LV_4951-16_1_2_node_146 | 0.4 | n |  | TRUE
53 | bus_LV_4951-16_1_2_node_139 | 0.4 | n |  | TRUE
54 | bus_LV_4951-16_1_2_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_4951-16_1_2_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_4951-16_1_2_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_4951-16_1_2_node_122 | 0.4 | n |  | TRUE
58 | bus_LV_4951-16_1_2_node_123 | 0.4 | n |  | TRUE
59 | bus_LV_4951-16_1_2_node_124 | 0.4 | n |  | TRUE
60 | bus_LV_4951-16_1_2_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_4951-16_1_2_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_4951-16_1_2_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_4951-16_1_2_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_4951-16_1_2_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_4951-16_1_2_node_108 | 0.4 | n |  | TRUE
66 | bus_LV_4951-16_1_2_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_4951-16_1_2_node_109 | 0.4 | n |  | TRUE
68 | bus_LV_4951-16_1_2_node_126 | 0.4 | n |  | TRUE
69 | bus_LV_4951-16_1_2_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_4951-16_1_2_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_4951-16_1_2_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_4951-16_1_2_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_4951-16_1_2_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_4951-16_1_2_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_4951-16_1_2_node_131 | 0.4 | n |  | TRUE
76 | bus_LV_4951-16_1_2_node_145 | 0.4 | n |  | TRUE
77 | bus_LV_4951-16_1_2_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_4951-16_1_2_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_4951-16_1_2_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_4951-16_1_2_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_4951-16_1_2_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_4951-16_1_2_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_4951-16_1_2_node_129 | 0.4 | n |  | TRUE
84 | bus_LV_4951-16_1_2_node_135 | 0.4 | n |  | TRUE
85 | bus_LV_4951-16_1_2_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_4951-16_1_2_node_97 | 0.4 | n |  | TRUE
87 | bus_LV_4951-16_1_2_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_4951-16_1_2_node_99 | 0.4 | n |  | TRUE
89 | bus_LV_4951-16_1_2_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_4951-16_1_2_node_102 | 0.4 | n |  | TRUE
91 | bus_LV_4951-16_1_2_node_137 | 0.4 | n |  | TRUE
92 | bus_LV_4951-16_1_2_node_138 | 0.4 | n |  | TRUE
93 | bus_LV_4951-16_1_2_node_105 | 0.4 | n |  | TRUE
94 | bus_LV_4951-16_1_2_node_106 | 0.4 | n |  | TRUE
95 | bus_LV_4951-16_1_2_node_110 | 0.4 | n |  | TRUE
96 | bus_LV_4951-16_1_2_node_114 | 0.4 | n |  | TRUE
97 | bus_LV_4951-16_1_2_node_112 | 0.4 | n |  | TRUE
98 | bus_LV_4951-16_1_2_node_111 | 0.4 | n |  | TRUE
99 | bus_LV_4951-16_1_2_node_113 | 0.4 | n |  | TRUE
100 | bus_LV_4951-16_1_2_node_115 | 0.4 | n |  | TRUE
101 | bus_LV_4951-16_1_2_node_125 | 0.4 | n |  | TRUE
102 | bus_LV_4951-16_1_2_node_144 | 0.4 | n |  | TRUE
103 | bus_LV_4951-16_1_2_node_142 | 0.4 | n |  | TRUE
104 | bus_LV_4951-16_1_2_node_143 | 0.4 | n |  | TRUE
105 | bus_MV_439_0_node_180 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4951-16_1_2_load_37 | 0 | 0.0045398 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4951-16_1_2_load_31 | 2 | 0.0011171 | 0.00027997 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4951-16_1_2_load_103 | 3 | 0.00068584 | 0.00017189 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4951-16_1_2_load_32 | 4 | 0.00084331 | 0.00021135 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4951-16_1_2_load_130 | 5 | 0.0016838 | 0.00042199 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4951-16_1_2_load_104 | 6 | 0.0013281 | 0.00033285 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4951-16_1_2_load_35 | 8 | 0.0068433 | 0.0017151 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4951-16_1_2_load_121 | 10 | 0.00090738 | 0.00022741 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4951-16_1_2_load_38 | 11 | 0.0020431 | 0.00051205 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4951-16_1_2_load_39 | 12 | 0.0013877 | 0.00034779 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4951-16_1_2_load_40 | 13 | 0.0026657 | 0.00066808 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4951-16_1_2_load_42 | 15 | 0.0019409 | 0.00048643 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4951-16_1_2_load_43 | 17 | 0.00022537 | 5.6483e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4951-16_1_2_load_132 | 18 | 0.00021702 | 5.439e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4951-16_1_2_load_80 | 19 | 0.0025094 | 0.00062893 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4951-16_1_2_load_136 | 21 | 0.0001648 | 4.1303e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4951-16_1_2_load_127 | 22 | 0.0022906 | 0.00057408 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4951-16_1_2_load_77 | 23 | 0.0014198 | 0.00035584 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4951-16_1_2_load_73 | 24 | 0.00090605 | 0.00022708 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4951-16_1_2_load_51 | 26 | 0.0016542 | 0.00041459 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4951-16_1_2_load_52 | 27 | 0.0037657 | 0.00094377 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4951-16_1_2_load_70 | 28 | 0.00138 | 0.00034585 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4951-16_1_2_load_68 | 30 | 0.00034989 | 8.769e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4951-16_1_2_load_62 | 32 | 0.0010253 | 0.00025698 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4951-16_1_2_load_53 | 33 | 0.00057607 | 0.00014438 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4951-16_1_2_load_54 | 34 | 0.00096122 | 0.0002409 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4951-16_1_2_load_57 | 37 | 0.00069195 | 0.00017342 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4951-16_1_2_load_58 | 38 | 0.0010703 | 0.00026824 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4951-16_1_2_load_133 | 40 | 0.0023389 | 0.00058618 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4951-16_1_2_load_60 | 41 | 0.0013827 | 0.00034653 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4951-16_1_2_load_119 | 42 | 0.0027786 | 0.00069639 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4951-16_1_2_load_140 | 43 | 0.00021331 | 5.3461e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4951-16_1_2_load_141 | 44 | 0.0012487 | 0.00031295 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4951-16_1_2_load_101 | 45 | 0.0012271 | 0.00030754 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4951-16_1_2_load_128 | 46 | 0.00019331 | 4.8447e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4951-16_1_2_load_61 | 47 | 0.0020919 | 0.00052428 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4951-16_1_2_load_63 | 48 | 0.0012525 | 0.00031391 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4951-16_1_2_load_65 | 49 | 0.0019294 | 0.00048354 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4951-16_1_2_load_67 | 50 | 0.0030418 | 0.00076235 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4951-16_1_2_load_134 | 51 | 0.0024315 | 0.00060939 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4951-16_1_2_load_146 | 52 | 0.0021073 | 0.00052815 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4951-16_1_2_load_139 | 53 | 0.00036261 | 9.0878e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4951-16_1_2_load_69 | 54 | 0.0014604 | 0.00036601 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4951-16_1_2_load_71 | 55 | 0.00040129 | 0.00010057 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4951-16_1_2_load_72 | 56 | 0.0036236 | 0.00090817 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4951-16_1_2_load_123 | 58 | 0.00062156 | 0.00015578 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4951-16_1_2_load_124 | 59 | 0.001409 | 0.00035312 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4951-16_1_2_load_74 | 60 | 0.00038169 | 9.5661e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4951-16_1_2_load_76 | 61 | 0.00064099 | 0.00016065 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4951-16_1_2_load_78 | 62 | 0.0017204 | 0.00043118 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4951-16_1_2_load_79 | 63 | 0.00092654 | 0.00023221 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4951-16_1_2_load_88 | 64 | 0.0011108 | 0.00027839 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4951-16_1_2_load_108 | 65 | 0.0024731 | 0.00061983 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4951-16_1_2_load_89 | 66 | 0.0010642 | 0.00026671 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4951-16_1_2_load_109 | 67 | 0.00060393 | 0.00015136 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4951-16_1_2_load_126 | 68 | 0.001319 | 0.00033058 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4951-16_1_2_load_81 | 69 | 0.0013878 | 0.00034781 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4951-16_1_2_load_82 | 70 | 0.0004909 | 0.00012303 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4951-16_1_2_load_83 | 71 | 0.0004357 | 0.0001092 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4951-16_1_2_load_84 | 72 | 0.0002421 | 6.0677e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4951-16_1_2_load_85 | 73 | 0.00043551 | 0.00010915 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4951-16_1_2_load_87 | 74 | 0.00089547 | 0.00022443 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4951-16_1_2_load_131 | 75 | 0.00049788 | 0.00012478 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4951-16_1_2_load_145 | 76 | 0.00045802 | 0.00011479 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4951-16_1_2_load_90 | 77 | 0.00082243 | 0.00020612 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4951-16_1_2_load_91 | 78 | 0.0010873 | 0.00027251 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4951-16_1_2_load_92 | 79 | 0.00062974 | 0.00015783 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4951-16_1_2_load_93 | 80 | 0.00050693 | 0.00012705 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4951-16_1_2_load_94 | 81 | 0.0021977 | 0.00055081 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4951-16_1_2_load_129 | 83 | 0.00060182 | 0.00015083 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4951-16_1_2_load_135 | 84 | 0.00024709 | 6.1927e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4951-16_1_2_load_96 | 85 | 0.0023393 | 0.00058627 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4951-16_1_2_load_97 | 86 | 0.0022459 | 0.00056286 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4951-16_1_2_load_98 | 87 | 0.0029567 | 0.00074101 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4951-16_1_2_load_99 | 88 | 0.0012736 | 0.00031921 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4951-16_1_2_load_100 | 89 | 0.002417 | 0.00060575 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4951-16_1_2_load_137 | 91 | 0.0026662 | 0.00066822 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4951-16_1_2_load_138 | 92 | 0.00036262 | 9.0881e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4951-16_1_2_load_105 | 93 | 0.0017034 | 0.00042691 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4951-16_1_2_load_106 | 94 | 0.0023497 | 0.00058889 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4951-16_1_2_load_110 | 95 | 0.00092593 | 0.00023206 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4951-16_1_2_load_114 | 96 | 0.00088792 | 0.00022253 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4951-16_1_2_load_112 | 97 | 0.0028257 | 0.00070818 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4951-16_1_2_load_111 | 98 | 0.0027712 | 0.00069452 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4951-16_1_2_load_113 | 99 | 0.0048272 | 0.0012098 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4951-16_1_2_load_115 | 100 | 0.0010952 | 0.00027449 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4951-16_1_2_load_125 | 101 | 0.0014971 | 0.0003752 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4951-16_1_2_load_144 | 102 | 0.00073466 | 0.00018412 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4951-16_1_2_load_142 | 103 | 0.0016877 | 0.00042298 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4951-16_1_2_load_143 | 104 | 0.00081056 | 0.00020315 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4951-16_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.16687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4951-16_1_2_line_1 | NAYY 4x150 SE | 1 | 9 | 0.44548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4951-16_1_2_line_2 | NAYY 4x150 SE | 1 | 8 | 0.075625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4951-16_1_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.0018145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4951-16_1_2_line_4 | NAYY 4x150 SE | 2 | 4 | 0.03266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4951-16_1_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.034511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4951-16_1_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.005724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4951-16_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.014757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4951-16_1_2_line_8 | NAYY 4x150 SE | 6 | 93 | 0.0052528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4951-16_1_2_line_9 | NAYY 4x150 SE | 7 | 75 | 0.032345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4951-16_1_2_line_10 | NAYY 4x150 SE | 7 | 72 | 0.025211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4951-16_1_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4951-16_1_2_line_12 | NAYY 4x150 SE | 10 | 40 | 0.036274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4951-16_1_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.046113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4951-16_1_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.02662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4951-16_1_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.03825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4951-16_1_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.01584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4951-16_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.037658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4951-16_1_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.020765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4951-16_1_2_line_19 | NAYY 4x150 SE | 16 | 20 | 0.019384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4951-16_1_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.029288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4951-16_1_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.00028499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4951-16_1_2_line_22 | NAYY 4x150 SE | 19 | 22 | 0.0020817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4951-16_1_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.016268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4951-16_1_2_line_24 | NAYY 4x150 SE | 20 | 24 | 0.023169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4951-16_1_2_line_25 | NAYY 4x150 SE | 21 | 84 | 0.00012543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4951-16_1_2_line_26 | NAYY 4x150 SE | 22 | 68 | 0.014106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4951-16_1_2_line_27 | NAYY 4x150 SE | 23 | 63 | 0.0094993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4951-16_1_2_line_28 | NAYY 4x150 SE | 24 | 60 | 0.0189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4951-16_1_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.022118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4951-16_1_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.01289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4951-16_1_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.025069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4951-16_1_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.046041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4951-16_1_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.030103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4951-16_1_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.047287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4951-16_1_2_line_35 | NAYY 4x150 SE | 29 | 32 | 0.016665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4951-16_1_2_line_36 | NAYY 4x150 SE | 30 | 54 | 0.0083423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4951-16_1_2_line_37 | NAYY 4x150 SE | 31 | 44 | 0.012376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4951-16_1_2_line_38 | NAYY 4x150 SE | 31 | 39 | 0.028466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4951-16_1_2_line_39 | NAYY 4x150 SE | 32 | 47 | 0.0017383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4951-16_1_2_line_40 | NAYY 4x150 SE | 33 | 34 | 0.017052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4951-16_1_2_line_41 | NAYY 4x150 SE | 33 | 35 | 0.044706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4951-16_1_2_line_42 | NAYY 4x150 SE | 34 | 36 | 0.023015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4951-16_1_2_line_43 | NAYY 4x150 SE | 35 | 37 | 0.024572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4951-16_1_2_line_44 | NAYY 4x150 SE | 35 | 38 | 0.008952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4951-16_1_2_line_45 | NAYY 4x150 SE | 36 | 39 | 0.050824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4951-16_1_2_line_46 | NAYY 4x150 SE | 36 | 40 | 0.09675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4951-16_1_2_line_47 | NAYY 4x150 SE | 38 | 41 | 0.031354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4951-16_1_2_line_48 | NAYY 4x150 SE | 39 | 42 | 0.0211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4951-16_1_2_line_49 | NAYY 4x150 SE | 41 | 43 | 0.018028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4951-16_1_2_line_50 | NAYY 4x150 SE | 42 | 45 | 0.026733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4951-16_1_2_line_51 | NAYY 4x150 SE | 43 | 46 | 0.019707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4951-16_1_2_line_52 | NAYY 4x150 SE | 44 | 52 | 0.029857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4951-16_1_2_line_53 | NAYY 4x150 SE | 45 | 88 | 0.0055554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4951-16_1_2_line_54 | NAYY 4x150 SE | 46 | 82 | 0.02664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4951-16_1_2_line_55 | NAYY 4x150 SE | 47 | 48 | 0.024966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4951-16_1_2_line_56 | NAYY 4x150 SE | 48 | 49 | 0.0083908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4951-16_1_2_line_57 | NAYY 4x150 SE | 49 | 50 | 0.017853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4951-16_1_2_line_58 | NAYY 4x150 SE | 50 | 51 | 0.020392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4951-16_1_2_line_59 | NAYY 4x150 SE | 51 | 53 | 0.010548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4951-16_1_2_line_60 | NAYY 4x150 SE | 53 | 92 | 0.007007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4951-16_1_2_line_61 | NAYY 4x150 SE | 54 | 55 | 0.002447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4951-16_1_2_line_62 | NAYY 4x150 SE | 55 | 56 | 0.023657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4951-16_1_2_line_63 | NAYY 4x150 SE | 57 | 58 | 0.024898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4951-16_1_2_line_64 | NAYY 4x150 SE | 57 | 59 | 0.0020922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4951-16_1_2_line_65 | NAYY 4x150 SE | 58 | 90 | 0.0071229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4951-16_1_2_line_66 | NAYY 4x150 SE | 59 | 101 | 0.025985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4951-16_1_2_line_67 | NAYY 4x150 SE | 60 | 61 | 0.0096107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4951-16_1_2_line_68 | NAYY 4x150 SE | 61 | 62 | 0.0050692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4951-16_1_2_line_69 | NAYY 4x150 SE | 62 | 64 | 0.0023225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4951-16_1_2_line_70 | NAYY 4x150 SE | 63 | 65 | 0.005634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4951-16_1_2_line_71 | NAYY 4x150 SE | 64 | 66 | 0.0031239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4951-16_1_2_line_72 | NAYY 4x150 SE | 65 | 67 | 0.0067394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4951-16_1_2_line_73 | NAYY 4x150 SE | 66 | 74 | 0.0091169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4951-16_1_2_line_74 | NAYY 4x150 SE | 67 | 95 | 0.00074092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4951-16_1_2_line_75 | NAYY 4x150 SE | 68 | 101 | 0.010419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4951-16_1_2_line_76 | NAYY 4x150 SE | 69 | 70 | 0.013304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4951-16_1_2_line_77 | NAYY 4x150 SE | 69 | 71 | 0.0017425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4951-16_1_2_line_78 | NAYY 4x150 SE | 70 | 72 | 0.012389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4951-16_1_2_line_79 | NAYY 4x150 SE | 71 | 73 | 0.0017659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4951-16_1_2_line_80 | NAYY 4x150 SE | 73 | 74 | 0.048368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4951-16_1_2_line_81 | NAYY 4x150 SE | 75 | 76 | 0.020242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4951-16_1_2_line_82 | NAYY 4x150 SE | 76 | 102 | 0.029261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4951-16_1_2_line_83 | NAYY 4x150 SE | 77 | 78 | 0.025344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4951-16_1_2_line_84 | NAYY 4x150 SE | 77 | 79 | 0.024221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4951-16_1_2_line_85 | NAYY 4x150 SE | 78 | 80 | 0.038677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4951-16_1_2_line_86 | NAYY 4x150 SE | 79 | 81 | 0.029607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4951-16_1_2_line_87 | NAYY 4x150 SE | 80 | 82 | 0.048938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4951-16_1_2_line_88 | NAYY 4x150 SE | 82 | 83 | 0.013992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4951-16_1_2_line_89 | NAYY 4x150 SE | 83 | 84 | 0.018446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4951-16_1_2_line_90 | NAYY 4x150 SE | 85 | 86 | 0.02631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4951-16_1_2_line_91 | NAYY 4x150 SE | 85 | 87 | 0.023852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4951-16_1_2_line_92 | NAYY 4x150 SE | 86 | 88 | 0.020843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4951-16_1_2_line_93 | NAYY 4x150 SE | 87 | 89 | 0.00043933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4951-16_1_2_line_94 | NAYY 4x150 SE | 90 | 91 | 0.012184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4951-16_1_2_line_95 | NAYY 4x150 SE | 91 | 92 | 0.0085944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4951-16_1_2_line_96 | NAYY 4x150 SE | 93 | 94 | 0.035585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4951-16_1_2_line_97 | NAYY 4x150 SE | 95 | 96 | 0.030268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4951-16_1_2_line_98 | NAYY 4x150 SE | 96 | 97 | 0.014218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4951-16_1_2_line_99 | NAYY 4x150 SE | 97 | 98 | 0.017036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4951-16_1_2_line_100 | NAYY 4x150 SE | 98 | 99 | 0.030269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4951-16_1_2_line_101 | NAYY 4x150 SE | 99 | 100 | 0.0035011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4951-16_1_2_line_102 | NAYY 4x150 SE | 102 | 104 | 0.020294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4951-16_1_2_line_103 | NAYY 4x150 SE | 103 | 104 | 0.027702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4951-16_1_2_trafo_139 | 0.25 MVA 20/0.4 kV | 105 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2720975.995 | 1275246.5784 | 2720960.3118 | 1275412.7106
1 | 2720533.6719 | 1275193.6797 | 2720975.995 | 1275246.5784
2 | 2720975.995 | 1275246.5784 | 2721010.5695 | 1275253.249 | 2721043.4622 | 1275256.8601 | 2721050.7694 | 1275257.328
3 | 2720300.925 | 1275608.449 | 2720301.346 | 1275606.684
4 | 2720268.8739 | 1275602.1699 | 2720300.925 | 1275608.449
5 | 2720301.346 | 1275606.684 | 2720302.4111 | 1275602.2195 | 2720304.2043 | 1275595.0383 | 2720307.6658 | 1275585.7001 | 2720314.1966 | 1275574.9712
6 | 2720264.7165 | 1275598.2457 | 2720266.2827 | 1275599.9144 | 2720268.8739 | 1275602.1699
7 | 2720255.9169 | 1275586.4796 | 2720260.5571 | 1275593.8143 | 2720264.7165 | 1275598.2457
8 | 2720314.1966 | 1275574.9712 | 2720316.9278 | 1275570.4843
9 | 2720255.9169 | 1275586.4796 | 2720241.3298 | 1275589.4073 | 2720223.8656 | 1275589.71
10 | 2720255.9169 | 1275586.4796 | 2720253.6744 | 1275580.2948 | 2720252.1133 | 1275574.9914 | 2720250.2998 | 1275562.0137
11 | 2720533.6719 | 1275193.6797 | 2720516.0232 | 1275195.0196
12 | 2720516.0232 | 1275195.0196 | 2720493.5063 | 1275196.7291 | 2720480.1781 | 1275199.8637
13 | 2720166.2277 | 1275342.4022 | 2720197.0731 | 1275342.5205 | 2720211.9977 | 1275345.7378
14 | 2720166.2277 | 1275342.4022 | 2720148.6655 | 1275342.3348 | 2720139.6181 | 1275341.9075
15 | 2720247.0741 | 1275359.7106 | 2720230.0073 | 1275349.6202 | 2720211.9977 | 1275345.7378
16 | 2720123.7957 | 1275341.1602 | 2720139.6181 | 1275341.9075
17 | 2720245.5662 | 1275394.5678 | 2720248.7968 | 1275376.6392 | 2720252.3127 | 1275365.734 | 2720247.0741 | 1275359.7106
18 | 2720245.5662 | 1275394.5678 | 2720257.4264 | 1275394.109 | 2720266.2629 | 1275395.1333
19 | 2720245.5662 | 1275394.5678 | 2720242.2216 | 1275413.6619
20 | 2720236.1363 | 1275292.4193 | 2720236.9745 | 1275277.5061 | 2720239.7711 | 1275263.4301
21 | 2720239.7711 | 1275263.4301 | 2720239.8266 | 1275263.1506
22 | 2720268.3308 | 1275395.373 | 2720266.2629 | 1275395.1333
23 | 2720242.2216 | 1275413.6619 | 2720225.9601 | 1275413.1874
24 | 2720242.2216 | 1275413.6619 | 2720240.8092 | 1275432.4061 | 2720240.7611 | 1275436.7775
25 | 2720239.8266 | 1275263.1506 | 2720239.8511 | 1275263.0276
26 | 2720268.3308 | 1275395.373 | 2720271.7474 | 1275395.7691 | 2720281.9158 | 1275398.9904 | 2720281.9158 | 1275398.9904
27 | 2720225.9601 | 1275413.1874 | 2720219.451 | 1275412.9974 | 2720216.4735 | 1275413.2413
28 | 2720240.7611 | 1275436.7775 | 2720240.7562 | 1275437.2206 | 2720240.8945 | 1275449.9798 | 2720241.0838 | 1275455.6735
29 | 2720462.2425 | 1275459.0018 | 2720440.369 | 1275455.7219
30 | 2720462.2425 | 1275459.0018 | 2720461.5354 | 1275446.1309
31 | 2720415.5773 | 1275452.0046 | 2720440.369 | 1275455.7219
32 | 2720454.3649 | 1275400.6978 | 2720455.5424 | 1275414.101 | 2720461.5354 | 1275446.1309
33 | 2720415.5773 | 1275452.0046 | 2720385.8069 | 1275447.5407
34 | 2720454.3649 | 1275400.6978 | 2720455.0133 | 1275395.4617 | 2720456.5355 | 1275365.4871 | 2720456.2542 | 1275353.4924
35 | 2720454.3649 | 1275400.6978 | 2720438.8522 | 1275404.0065 | 2720438.0512 | 1275404.0674
36 | 2720385.8069 | 1275447.5407 | 2720377.5568 | 1275446.3036
37 | 2720456.2542 | 1275353.4924 | 2720443.9475 | 1275354.7979
38 | 2720454.4576 | 1275325.1182 | 2720455.8597 | 1275336.3573 | 2720456.2542 | 1275353.4924
39 | 2720436.3179 | 1275404.1991 | 2720438.0512 | 1275404.0674
40 | 2720390.7989 | 1275272.4396 | 2720393.0381 | 1275273.4948 | 2720407.2156 | 1275276.8806
41 | 2720353.2208 | 1275248.4595 | 2720380.2349 | 1275267.4614 | 2720390.7989 | 1275272.4396
42 | 2720429.5766 | 1275282.3262 | 2720411.3197 | 1275277.8607 | 2720407.2156 | 1275276.8806
43 | 2720353.2208 | 1275248.4595 | 2720360.8293 | 1275241.1634 | 2720373.771 | 1275235.7433
44 | 2720353.2208 | 1275248.4595 | 2720344.5549 | 1275250.7047
45 | 2720454.4576 | 1275325.1182 | 2720448.5085 | 1275305.6565 | 2720438.2911 | 1275288.9991 | 2720429.5766 | 1275282.3262
46 | 2720429.5766 | 1275282.3262 | 2720480.1781 | 1275199.8637
47 | 2720313.658 | 1275250.1926 | 2720318.3895 | 1275251.7635 | 2720338.5775 | 1275252.2533 | 2720344.5549 | 1275250.7047
48 | 2720454.4576 | 1275325.1182 | 2720439.3751 | 1275328.3356 | 2720433.8579 | 1275329.6779
49 | 2720296.5547 | 1275244.4941 | 2720297.2965 | 1275244.7604 | 2720313.658 | 1275250.1926
50 | 2720408.1732 | 1275337.0391 | 2720423.3916 | 1275332.2242 | 2720433.8579 | 1275329.6779
51 | 2720296.5547 | 1275244.4941 | 2720281.0375 | 1275238.9236 | 2720277.8839 | 1275238.2716
52 | 2720422.6085 | 1275367.252 | 2720422.9417 | 1275359.407 | 2720426.8036 | 1275356.6166 | 2720443.9475 | 1275354.7979
53 | 2720402.8864 | 1275338.7441 | 2720403.6452 | 1275338.4716 | 2720408.1732 | 1275337.0391
54 | 2720251.7961 | 1275232.8777 | 2720277.8839 | 1275238.2716
55 | 2720436.3179 | 1275404.1991 | 2720422.9311 | 1275405.2161 | 2720411.3914 | 1275405.0834
56 | 2720403.0126 | 1275404.6742 | 2720409.2111 | 1275405.0583 | 2720411.3914 | 1275405.0834
57 | 2720403.0126 | 1275404.6742 | 2720385.1934 | 1275403.57
58 | 2720385.1934 | 1275403.57 | 2720364.84 | 1275402.3089
59 | 2720354.3118 | 1275401.6565 | 2720364.84 | 1275402.3089
60 | 2720354.3118 | 1275401.6565 | 2720347.3183 | 1275401.2231
61 | 2720375.1369 | 1275445.9408 | 2720377.5568 | 1275446.3036
62 | 2720375.1369 | 1275445.9408 | 2720358.1753 | 1275443.3975 | 2720351.7491 | 1275442.3813
63 | 2720309.3991 | 1275425.9312 | 2720315.627 | 1275414.4252 | 2720321.4923 | 1275408.8952 | 2720324.2071 | 1275406.3035
64 | 2720309.3991 | 1275425.9312 | 2720307.9373 | 1275424.4343
65 | 2720326.5769 | 1275399.9794 | 2720325.9863 | 1275404.605 | 2720324.2071 | 1275406.3035
66 | 2720307.9373 | 1275424.4343 | 2720294.6383 | 1275410.8162 | 2720289.5474 | 1275406.0841
67 | 2720241.3936 | 1275465.2792 | 2720241.2724 | 1275461.3202 | 2720241.1275 | 1275456.991 | 2720241.0838 | 1275455.6735
68 | 2720241.3936 | 1275465.2792 | 2720241.5487 | 1275470.346
69 | 2720241.6198 | 1275472.6675 | 2720241.5487 | 1275470.346
70 | 2720216.4735 | 1275413.2413 | 2720210.8583 | 1275413.7011
71 | 2720241.6198 | 1275472.6675 | 2720241.7154 | 1275475.7899
72 | 2720204.1414 | 1275414.2512 | 2720210.8583 | 1275413.7011
73 | 2720241.9945 | 1275484.9026 | 2720241.7154 | 1275475.7899
74 | 2720204.1414 | 1275414.2512 | 2720203.4029 | 1275414.3117
75 | 2720289.5474 | 1275406.0841 | 2720281.9158 | 1275398.9904
76 | 2720248.7631 | 1275549.7213 | 2720247.2718 | 1275536.5012
77 | 2720247.0765 | 1275534.7697 | 2720247.2718 | 1275536.5012
78 | 2720248.7631 | 1275549.7213 | 2720249.5214 | 1275556.4435 | 2720250.2998 | 1275562.0137
79 | 2720247.0765 | 1275534.7697 | 2720246.8786 | 1275533.0148
80 | 2720241.9945 | 1275484.9026 | 2720242.0622 | 1275487.1159 | 2720243.4971 | 1275503.0377 | 2720246.8786 | 1275533.0148
81 | 2720203.6266 | 1275590.0608 | 2720223.8656 | 1275589.71
82 | 2720174.3702 | 1275590.5678 | 2720203.6266 | 1275590.0608
83 | 2720147.5275 | 1275189.4864 | 2720148.5261 | 1275190.1126 | 2720170.9842 | 1275199.0341
84 | 2720127.0085 | 1275176.6177 | 2720147.5275 | 1275189.4864
85 | 2720170.9842 | 1275199.0341 | 2720184.7938 | 1275204.52 | 2720206.7282 | 1275213.8034
86 | 2720127.0085 | 1275176.6177 | 2720127.0085 | 1275176.6177 | 2720103.9793 | 1275158.011
87 | 2720251.7961 | 1275232.8777 | 2720206.7282 | 1275213.8034
88 | 2720251.7961 | 1275232.8777 | 2720246.6088 | 1275245.8721
89 | 2720239.8511 | 1275263.0276 | 2720239.941 | 1275262.5749 | 2720246.6088 | 1275245.8721
90 | 2720358.2335 | 1275353.7781 | 2720367.6025 | 1275351.4152 | 2720383.2703 | 1275345.7886
91 | 2720358.2335 | 1275353.7781 | 2720341.8203 | 1275357.9177 | 2720335.0585 | 1275359.4136
92 | 2720383.2703 | 1275345.7886 | 2720402.8864 | 1275338.7441
93 | 2720335.0585 | 1275359.4136 | 2720334.6296 | 1275359.5085
94 | 2720326.5769 | 1275399.9794 | 2720338.74 | 1275400.6973
95 | 2720338.74 | 1275400.6973 | 2720340.6892 | 1275400.8124 | 2720347.3183 | 1275401.2231
96 | 2720347.4775 | 1275554.9054 | 2720340.1389 | 1275554.889 | 2720330.8786 | 1275559.1375 | 2720317.5621 | 1275569.4423 | 2720316.9278 | 1275570.4843
97 | 2720173.2186 | 1275414.0606 | 2720191.2884 | 1275415.3038 | 2720203.4029 | 1275414.3117
98 | 2720159.0344 | 1275413.0848 | 2720173.2186 | 1275414.0606
99 | 2720142.0384 | 1275411.9155 | 2720159.0344 | 1275413.0848
100 | 2720111.9685 | 1275414.5656 | 2720119.8823 | 1275413.1147 | 2720138.2296 | 1275411.6535 | 2720142.0384 | 1275411.9155
101 | 2720111.9685 | 1275414.5656 | 2720108.5248 | 1275415.197
102 | 2720154.0896 | 1275591.1837 | 2720160.5362 | 1275590.8076 | 2720174.3702 | 1275590.5678
103 | 2720126.4347 | 1275592.7974 | 2720154.0896 | 1275591.1837

## bus_geodata
| x | y | coords
0 | 2720960.3118 | 1275412.7106
1 | 2720975.995 | 1275246.5784
2 | 2720300.925 | 1275608.449
3 | 2720301.346 | 1275606.684
4 | 2720268.874 | 1275602.1699
5 | 2720264.7165 | 1275598.2457
6 | 2720314.1966 | 1275574.9712
7 | 2720255.9169 | 1275586.4796
8 | 2721050.7694 | 1275257.328
9 | 2720533.6719 | 1275193.6797
10 | 2720516.0232 | 1275195.0196
11 | 2720166.2277 | 1275342.4022
12 | 2720211.9977 | 1275345.7378
13 | 2720139.6181 | 1275341.9075
14 | 2720247.0741 | 1275359.7106
15 | 2720123.7957 | 1275341.1602
16 | 2720245.5662 | 1275394.5678
17 | 2720236.1363 | 1275292.4193
18 | 2720239.7711 | 1275263.4301
19 | 2720266.2629 | 1275395.1333
20 | 2720242.2216 | 1275413.6619
21 | 2720239.8266 | 1275263.1506
22 | 2720268.3308 | 1275395.373
23 | 2720225.9601 | 1275413.1874
24 | 2720240.7611 | 1275436.7775
25 | 2720462.2425 | 1275459.0018
26 | 2720440.369 | 1275455.7219
27 | 2720461.5354 | 1275446.1309
28 | 2720415.5773 | 1275452.0046
29 | 2720454.3649 | 1275400.6978
30 | 2720385.8069 | 1275447.5407
31 | 2720456.2542 | 1275353.4924
32 | 2720438.0512 | 1275404.0674
33 | 2720390.7989 | 1275272.4396
34 | 2720407.2156 | 1275276.8806
35 | 2720353.2208 | 1275248.4595
36 | 2720429.5766 | 1275282.3262
37 | 2720373.771 | 1275235.7433
38 | 2720344.5549 | 1275250.7047
39 | 2720454.4576 | 1275325.1182
40 | 2720480.1781 | 1275199.8637
41 | 2720313.658 | 1275250.1926
42 | 2720433.8579 | 1275329.6779
43 | 2720296.5547 | 1275244.4941
44 | 2720443.9475 | 1275354.7979
45 | 2720408.1732 | 1275337.0391
46 | 2720277.8839 | 1275238.2716
47 | 2720436.3179 | 1275404.1991
48 | 2720411.3914 | 1275405.0834
49 | 2720403.0126 | 1275404.6742
50 | 2720385.1934 | 1275403.57
51 | 2720364.84 | 1275402.3089
52 | 2720422.6085 | 1275367.252
53 | 2720354.3118 | 1275401.6565
54 | 2720377.5568 | 1275446.3036
55 | 2720375.1369 | 1275445.9408
56 | 2720351.7491 | 1275442.3813
57 | 2720309.3991 | 1275425.9312
58 | 2720324.2071 | 1275406.3035
59 | 2720307.9373 | 1275424.4343
60 | 2720241.0838 | 1275455.6735
61 | 2720241.3936 | 1275465.2792
62 | 2720241.5487 | 1275470.346
63 | 2720216.4735 | 1275413.2413
64 | 2720241.6198 | 1275472.6675
65 | 2720210.8583 | 1275413.7011
66 | 2720241.7154 | 1275475.7899
67 | 2720204.1414 | 1275414.2512
68 | 2720281.9158 | 1275398.9904
69 | 2720247.2718 | 1275536.5012
70 | 2720248.7631 | 1275549.7213
71 | 2720247.0765 | 1275534.7697
72 | 2720250.2998 | 1275562.0137
73 | 2720246.8786 | 1275533.0148
74 | 2720241.9945 | 1275484.9026
75 | 2720223.8656 | 1275589.71
76 | 2720203.6266 | 1275590.0608
77 | 2720147.5275 | 1275189.4864
78 | 2720170.9842 | 1275199.0341
79 | 2720127.0085 | 1275176.6177
80 | 2720206.7282 | 1275213.8034
81 | 2720103.9793 | 1275158.011
82 | 2720251.7961 | 1275232.8777
83 | 2720246.6088 | 1275245.8721
84 | 2720239.8511 | 1275263.0276
85 | 2720358.2335 | 1275353.7781
86 | 2720383.2703 | 1275345.7886
87 | 2720335.0585 | 1275359.4136
88 | 2720402.8864 | 1275338.7441
89 | 2720334.6296 | 1275359.5085
90 | 2720326.5769 | 1275399.9794
91 | 2720338.74 | 1275400.6973
92 | 2720347.3183 | 1275401.2231
93 | 2720316.9278 | 1275570.4843
94 | 2720347.4775 | 1275554.9054
95 | 2720203.4029 | 1275414.3117
96 | 2720173.2186 | 1275414.0606
97 | 2720159.0344 | 1275413.0848
98 | 2720142.0384 | 1275411.9155
99 | 2720111.9685 | 1275414.5656
100 | 2720108.5248 | 1275415.197
101 | 2720289.5474 | 1275406.0841
102 | 2720174.3702 | 1275590.5678
103 | 2720126.4347 | 1275592.7974
104 | 2720154.0896 | 1275591.1837
105 | 2720326.5769 | 1275399.9794

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1