## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4951-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4951-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4951-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4951-17_0_3_node_111 | 0.4 | n |  | TRUE
4 | bus_LV_4951-17_0_3_node_110 | 0.4 | n |  | TRUE
5 | bus_LV_4951-17_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4951-17_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4951-17_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4951-17_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4951-17_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4951-17_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4951-17_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_4951-17_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_4951-17_0_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_4951-17_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_4951-17_0_3_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_4951-17_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_4951-17_0_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_4951-17_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_4951-17_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4951-17_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4951-17_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_4951-17_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4951-17_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4951-17_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4951-17_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4951-17_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4951-17_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_4951-17_0_3_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_4951-17_0_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_4951-17_0_3_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_4951-17_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_4951-17_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_4951-17_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_4951-17_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4951-17_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_4951-17_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_4951-17_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_4951-17_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_4951-17_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4951-17_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4951-17_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_4951-17_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4951-17_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_4951-17_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_4951-17_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4951-17_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_4951-17_0_3_node_106 | 0.4 | n |  | TRUE
48 | bus_LV_4951-17_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4951-17_0_3_node_108 | 0.4 | n |  | TRUE
50 | bus_LV_4951-17_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_4951-17_0_3_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_4951-17_0_3_node_94 | 0.4 | n |  | TRUE
53 | bus_LV_4951-17_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4951-17_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_4951-17_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_4951-17_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_4951-17_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4951-17_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4951-17_0_3_node_109 | 0.4 | n |  | TRUE
60 | bus_LV_4951-17_0_3_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_4951-17_0_3_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_4951-17_0_3_node_93 | 0.4 | n |  | TRUE
63 | bus_LV_4951-17_0_3_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_4951-17_0_3_node_89 | 0.4 | n |  | TRUE
65 | bus_LV_4951-17_0_3_node_101 | 0.4 | n |  | TRUE
66 | bus_LV_4951-17_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_4951-17_0_3_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_4951-17_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_4951-17_0_3_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_4951-17_0_3_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_4951-17_0_3_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_4951-17_0_3_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_4951-17_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_4951-17_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_4951-17_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_4951-17_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_4951-17_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_4951-17_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_4951-17_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_4951-17_0_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_4951-17_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_4951-17_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_4951-17_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_4951-17_0_3_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_4951-17_0_3_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_4951-17_0_3_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_4951-17_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_4951-17_0_3_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_4951-17_0_3_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_4951-17_0_3_node_99 | 0.4 | n |  | TRUE
91 | bus_LV_4951-17_0_3_node_100 | 0.4 | n |  | TRUE
92 | bus_LV_4951-17_0_3_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_4951-17_0_3_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_4951-17_0_3_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_4951-17_0_3_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_4951-17_0_3_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_4951-17_0_3_node_103 | 0.4 | n |  | TRUE
98 | bus_LV_4951-17_0_3_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_4951-17_0_3_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_4951-17_0_3_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_4951-17_0_3_node_104 | 0.4 | n |  | TRUE
102 | bus_LV_4951-17_0_3_node_102 | 0.4 | n |  | TRUE
103 | bus_LV_4951-17_0_3_node_107 | 0.4 | n |  | TRUE
104 | bus_MV_439_0_node_268 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4951-17_0_3_load_0 | 0 | 0.0010153 | 0.00025447 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4951-17_0_3_load_1 | 1 | 0.0012594 | 0.00031565 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4951-17_0_3_load_111 | 3 | 0.00043705 | 0.00010954 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4951-17_0_3_load_4 | 5 | 0.000784 | 0.00019649 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4951-17_0_3_load_5 | 6 | 7.389e-05 | 1.8519e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4951-17_0_3_load_6 | 7 | 0.00014203 | 3.5597e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4951-17_0_3_load_8 | 9 | 0.00015417 | 3.8638e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4951-17_0_3_load_27 | 12 | 0.00010075 | 2.525e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4951-17_0_3_load_26 | 16 | 0.00010386 | 2.6031e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4951-17_0_3_load_10 | 19 | 0.00085001 | 0.00021303 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4951-17_0_3_load_16 | 21 | 0.00023061 | 5.7796e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4951-17_0_3_load_23 | 23 | 0.00018947 | 4.7487e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4951-17_0_3_load_18 | 24 | 0.00058535 | 0.0001467 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4951-17_0_3_load_17 | 25 | 0.00052983 | 0.00013279 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4951-17_0_3_load_20 | 26 | 0.00035857 | 8.9867e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4951-17_0_3_load_28 | 27 | 9.4156e-05 | 2.3598e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4951-17_0_3_load_59 | 28 | 5.4607e-05 | 1.3686e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4951-17_0_3_load_60 | 29 | 3.4206e-05 | 8.5728e-06 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4951-17_0_3_load_56 | 30 | 6.0793e-05 | 1.5236e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4951-17_0_3_load_29 | 31 | 0.00090376 | 0.0002265 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4951-17_0_3_load_30 | 32 | 0.0024494 | 0.00061387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4951-17_0_3_load_33 | 35 | 0.0018958 | 0.00047513 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4951-17_0_3_load_34 | 36 | 0.0022566 | 0.00056555 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4951-17_0_3_load_43 | 39 | 0.0036906 | 0.00092496 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4951-17_0_3_load_45 | 41 | 0.0025079 | 0.00062853 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4951-17_0_3_load_49 | 43 | 0.00068442 | 0.00017153 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4951-17_0_3_load_51 | 44 | 0.0040732 | 0.0010208 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4951-17_0_3_load_106 | 47 | 0.0015467 | 0.00038764 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4951-17_0_3_load_108 | 49 | 0.00056103 | 0.00014061 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4951-17_0_3_load_46 | 50 | 0.0008909 | 0.00022328 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4951-17_0_3_load_94 | 52 | 0.0010995 | 0.00027556 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4951-17_0_3_load_53 | 55 | 0.00096112 | 0.00024088 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4951-17_0_3_load_44 | 57 | 0.00080754 | 0.00020239 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4951-17_0_3_load_48 | 58 | 0.0042262 | 0.0010592 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4951-17_0_3_load_109 | 59 | 0.0028002 | 0.00070179 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4951-17_0_3_load_98 | 60 | 0.0018947 | 0.00047485 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4951-17_0_3_load_87 | 61 | 0.002139 | 0.00053609 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4951-17_0_3_load_93 | 62 | 0.00071532 | 0.00017928 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4951-17_0_3_load_91 | 63 | 0.002656 | 0.00066565 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4951-17_0_3_load_89 | 64 | 0.0024258 | 0.00060797 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4951-17_0_3_load_101 | 65 | 0.00049236 | 0.0001234 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4951-17_0_3_load_92 | 67 | 0.00016978 | 4.255e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4951-17_0_3_load_65 | 68 | 4.4553e-05 | 1.1166e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4951-17_0_3_load_90 | 69 | 0.055625 | 0.013941 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4951-17_0_3_load_54 | 70 | 0.00029394 | 7.3668e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4951-17_0_3_load_55 | 71 | 0.00042752 | 0.00010715 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4951-17_0_3_load_57 | 72 | 0.00011571 | 2.9e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4951-17_0_3_load_61 | 75 | 7.8344e-05 | 1.9635e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4951-17_0_3_load_62 | 76 | 6.2511e-05 | 1.5667e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4951-17_0_3_load_63 | 77 | 5.1766e-05 | 1.2974e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4951-17_0_3_load_64 | 78 | 0.00032382 | 8.1156e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4951-17_0_3_load_66 | 79 | 0.00011281 | 2.8273e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4951-17_0_3_load_68 | 80 | 0.00022862 | 5.7298e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4951-17_0_3_load_69 | 81 | 7.8423e-05 | 1.9655e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4951-17_0_3_load_75 | 82 | 0.00015061 | 3.7746e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4951-17_0_3_load_70 | 84 | 0.0018934 | 0.00047454 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4951-17_0_3_load_73 | 85 | 0.0048239 | 0.001209 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4951-17_0_3_load_76 | 86 | 0.024447 | 0.0061271 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4951-17_0_3_load_77 | 87 | 0.01375 | 0.003446 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4951-17_0_3_load_78 | 88 | 0.028109 | 0.0070448 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4951-17_0_3_load_99 | 90 | 0.0098682 | 0.0024732 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4951-17_0_3_load_82 | 92 | 0.00053802 | 0.00013484 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4951-17_0_3_load_83 | 93 | 0.0049185 | 0.0012327 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4951-17_0_3_load_85 | 95 | 0.00052761 | 0.00013223 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4951-17_0_3_load_86 | 96 | 0.0018023 | 0.0004517 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4951-17_0_3_load_103 | 97 | 0.0044805 | 0.0011229 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4951-17_0_3_load_95 | 98 | 0.0013274 | 0.00033267 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4951-17_0_3_load_96 | 99 | 0.0028927 | 0.00072497 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4951-17_0_3_load_97 | 100 | 0.0011828 | 0.00029643 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4951-17_0_3_load_107 | 103 | 0.0018805 | 0.00047131 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4951-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4951-17_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.11732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4951-17_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.10692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4951-17_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.066109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4951-17_0_3_line_4 | NAYY 4x150 SE | 4 | 59 | 0.020693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4951-17_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0089071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4951-17_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0063247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4951-17_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.018304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4951-17_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.046262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4951-17_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.054252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4951-17_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.064787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4951-17_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.23296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4951-17_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.077307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4951-17_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.015946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4951-17_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.054154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4951-17_0_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.009732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4951-17_0_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.07493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4951-17_0_3_line_17 | NAYY 4x150 SE | 13 | 18 | 0.028229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4951-17_0_3_line_18 | NAYY 4x150 SE | 14 | 25 | 0.048965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4951-17_0_3_line_19 | NAYY 4x150 SE | 15 | 28 | 0.072865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4951-17_0_3_line_20 | NAYY 4x150 SE | 15 | 29 | 0.072185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4951-17_0_3_line_21 | NAYY 4x150 SE | 15 | 30 | 0.016937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4951-17_0_3_line_22 | NAYY 4x150 SE | 17 | 22 | 0.036939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4951-17_0_3_line_23 | NAYY 4x150 SE | 17 | 26 | 0.0080854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4951-17_0_3_line_24 | NAYY 4x150 SE | 18 | 24 | 0.030657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4951-17_0_3_line_25 | NAYY 4x150 SE | 19 | 20 | 0.025809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4951-17_0_3_line_26 | NAYY 4x150 SE | 20 | 21 | 0.027785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4951-17_0_3_line_27 | NAYY 4x150 SE | 21 | 24 | 0.029065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4951-17_0_3_line_28 | NAYY 4x150 SE | 22 | 23 | 0.0047023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4951-17_0_3_line_29 | NAYY 4x150 SE | 23 | 27 | 0.022378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4951-17_0_3_line_30 | NAYY 4x150 SE | 28 | 73 | 0.0071007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4951-17_0_3_line_31 | NAYY 4x150 SE | 30 | 70 | 0.018413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4951-17_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.008187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4951-17_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.011118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4951-17_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.036356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4951-17_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.032858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4951-17_0_3_line_36 | NAYY 4x150 SE | 33 | 36 | 0.012828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4951-17_0_3_line_37 | NAYY 4x150 SE | 34 | 37 | 0.022756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4951-17_0_3_line_38 | NAYY 4x150 SE | 35 | 38 | 0.012279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4951-17_0_3_line_39 | NAYY 4x150 SE | 36 | 39 | 0.020672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4951-17_0_3_line_40 | NAYY 4x150 SE | 37 | 50 | 0.01688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4951-17_0_3_line_41 | NAYY 4x150 SE | 38 | 45 | 0.024932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4951-17_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.043101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4951-17_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.01376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4951-17_0_3_line_44 | NAYY 4x150 SE | 41 | 57 | 0.013556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4951-17_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.033006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4951-17_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.014493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4951-17_0_3_line_47 | NAYY 4x150 SE | 43 | 56 | 0.022458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4951-17_0_3_line_48 | NAYY 4x150 SE | 44 | 58 | 0.0050272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4951-17_0_3_line_49 | NAYY 4x150 SE | 45 | 48 | 0.037742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4951-17_0_3_line_50 | NAYY 4x150 SE | 45 | 49 | 0.18101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4951-17_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.034392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4951-17_0_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.015534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4951-17_0_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.022636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4951-17_0_3_line_54 | NAYY 4x150 SE | 48 | 52 | 0.020507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4951-17_0_3_line_55 | NAYY 4x150 SE | 49 | 59 | 0.014044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4951-17_0_3_line_56 | NAYY 4x150 SE | 50 | 56 | 0.025695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4951-17_0_3_line_57 | NAYY 4x150 SE | 51 | 60 | 0.0085867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4951-17_0_3_line_58 | NAYY 4x150 SE | 51 | 61 | 0.011542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4951-17_0_3_line_59 | NAYY 4x150 SE | 52 | 62 | 0.011538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4951-17_0_3_line_60 | NAYY 4x150 SE | 53 | 54 | 0.056936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_4951-17_0_3_line_61 | NAYY 4x150 SE | 53 | 55 | 0.019287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4951-17_0_3_line_62 | NAYY 4x150 SE | 53 | 56 | 0.007662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4951-17_0_3_line_63 | NAYY 4x150 SE | 54 | 63 | 0.032724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4951-17_0_3_line_64 | NAYY 4x150 SE | 54 | 64 | 0.020926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_4951-17_0_3_line_65 | NAYY 4x150 SE | 55 | 65 | 0.0024208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4951-17_0_3_line_66 | NAYY 4x150 SE | 60 | 97 | 0.0084336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4951-17_0_3_line_67 | NAYY 4x150 SE | 61 | 94 | 0.0042945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4951-17_0_3_line_68 | NAYY 4x150 SE | 62 | 98 | 0.030616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4951-17_0_3_line_69 | NAYY 4x150 SE | 64 | 69 | 0.031563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_4951-17_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.020994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4951-17_0_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.0056956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4951-17_0_3_line_72 | NAYY 4x150 SE | 68 | 77 | 0.013096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4951-17_0_3_line_73 | NAYY 4x150 SE | 69 | 88 | 0.0042748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_4951-17_0_3_line_74 | NAYY 4x150 SE | 70 | 71 | 0.0055761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4951-17_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.029859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4951-17_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4951-17_0_3_line_77 | NAYY 4x150 SE | 74 | 85 | 0.035989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4951-17_0_3_line_78 | NAYY 4x150 SE | 74 | 84 | 0.031094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4951-17_0_3_line_79 | NAYY 4x150 SE | 75 | 76 | 0.017474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4951-17_0_3_line_80 | NAYY 4x150 SE | 75 | 77 | 0.014585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4951-17_0_3_line_81 | NAYY 4x150 SE | 76 | 78 | 0.00035086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4951-17_0_3_line_82 | NAYY 4x150 SE | 78 | 79 | 0.019036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4951-17_0_3_line_83 | NAYY 4x150 SE | 79 | 80 | 0.012689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4951-17_0_3_line_84 | NAYY 4x150 SE | 80 | 81 | 0.0046674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4951-17_0_3_line_85 | NAYY 4x150 SE | 81 | 82 | 0.015965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4951-17_0_3_line_86 | NAYY 4x150 SE | 82 | 83 | 0.027232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4951-17_0_3_line_87 | NAYY 4x150 SE | 83 | 86 | 0.022102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4951-17_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.01402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4951-17_0_3_line_89 | NAYY 4x150 SE | 86 | 88 | 0.022682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_4951-17_0_3_line_90 | NAYY 4x150 SE | 86 | 89 | 0.047785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_4951-17_0_3_line_91 | NAYY 4x150 SE | 87 | 90 | 0.022738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4951-17_0_3_line_92 | NAYY 4x150 SE | 89 | 91 | 0.029117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4951-17_0_3_line_93 | NAYY 4x150 SE | 90 | 91 | 0.014274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4951-17_0_3_line_94 | NAYY 4x150 SE | 92 | 93 | 0.006603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4951-17_0_3_line_95 | NAYY 4x150 SE | 93 | 94 | 0.015172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4951-17_0_3_line_96 | NAYY 4x150 SE | 94 | 95 | 0.014312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4951-17_0_3_line_97 | NAYY 4x150 SE | 94 | 96 | 0.014754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4951-17_0_3_line_98 | NAYY 4x150 SE | 97 | 101 | 0.012897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4951-17_0_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.012213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4951-17_0_3_line_100 | NAYY 4x150 SE | 99 | 100 | 0.010986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4951-17_0_3_line_101 | NAYY 4x150 SE | 101 | 102 | 0.021408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4951-17_0_3_line_102 | NAYY 4x150 SE | 102 | 103 | 0.010227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4951-17_0_3_trafo_79 | 0.25 MVA 20/0.4 kV | 104 | 89 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2720416.9629 | 1271320.6147 | 2720410.4703 | 1271325.993 | 2720404.3969 | 1271328.4675
1 | 2720449.8878 | 1271395.8942 | 2720451.2308 | 1271327.5256 | 2720449.2962 | 1271319.0784 | 2720441.7425 | 1271309.8047 | 2720433.664 | 1271309.2839 | 2720421.2014 | 1271317.1037 | 2720416.9629 | 1271320.6147
2 | 2720539.8176 | 1271453.7185 | 2720449.8878 | 1271395.8942
3 | 2720571.6179 | 1271417.4645 | 2720570.9048 | 1271425.8465 | 2720555.2098 | 1271423.9355 | 2720547.9 | 1271423.3636 | 2720543.0075 | 1271425.2766 | 2720540.7016 | 1271428.3879 | 2720539.805 | 1271432.4956 | 2720539.8176 | 1271453.7185
4 | 2720571.6179 | 1271417.4645 | 2720592.1689 | 1271419.8819
5 | 2721197.9421 | 1272061.4824 | 2721189.225 | 1272063.3121
6 | 2721204.1318 | 1272060.1831 | 2721197.9421 | 1272061.4824
7 | 2721222.0459 | 1272056.4228 | 2721204.1318 | 1272060.1831
8 | 2721222.0459 | 1272056.4228 | 2721232.0417 | 1272099.0673 | 2721232.914 | 1272101.3689
9 | 2721222.0459 | 1272056.4228 | 2721221.9402 | 1272036.3021 | 2721225.2885 | 1272027.1402 | 2721240.3546 | 1272007.9429
10 | 2721272.0214 | 1272151.8703 | 2721256.3339 | 1272138.3468 | 2721236.8805 | 1272111.834 | 2721232.914 | 1272101.3689
11 | 2721240.3546 | 1272007.9429 | 2721231.9955 | 1271999.519 | 2721176.9575 | 1271955.9382 | 2721162.7239 | 1271938.9972 | 2721151.3919 | 1271922.5495 | 2721104.7066 | 1271824.2865
12 | 2721311.4434 | 1272035.9953 | 2721265.1418 | 1272023.5217 | 2721253.9744 | 1272018.8548 | 2721240.3546 | 1272007.9429
13 | 2721272.0214 | 1272151.8703 | 2721267.754 | 1272164.0161 | 2721266.7388 | 1272166.9201
14 | 2721082.9243 | 1271774.7314 | 2721093.2737 | 1271800.2226 | 2721104.7066 | 1271824.2865
15 | 2721319.5091 | 1272041.4772 | 2721311.4434 | 1272035.9953
16 | 2721311.4434 | 1272035.9953 | 2721320.8805 | 1272025.2793 | 2721331.0615 | 1272016.447 | 2721342.9589 | 1272008.662 | 2721354.7755 | 1272003.3444 | 2721356.8946 | 1272023.2285
17 | 2721298.0958 | 1272060.8885 | 2721305.2066 | 1272047.678 | 2721311.4434 | 1272035.9953
18 | 2721266.7388 | 1272166.9201 | 2721277.5362 | 1272165.0513 | 2721289.9329 | 1272164.8056 | 2721310.0526 | 1272165.4751 | 2721315.5221 | 1272165.7734
19 | 2721082.9243 | 1271774.7314 | 2721077.0589 | 1271759.5305 | 2721063.2238 | 1271739.9955 | 2721049.718 | 1271722.3803 | 2721043.3956 | 1271714.0769
20 | 2721082.9243 | 1271774.7314 | 2721061.3742 | 1271744.6953 | 2721044.0384 | 1271739.1904 | 2721027.2802 | 1271742.2121
21 | 2721082.9243 | 1271774.7314 | 2721069.8866 | 1271777.9449 | 2721066.6173 | 1271779.2194
22 | 2721356.8946 | 1272023.2285 | 2721349.6424 | 1272032.3323 | 2721353.3935 | 1272057.3658
23 | 2721356.8946 | 1272023.2285 | 2721364.422 | 1272025.9857 | 2721364.4902 | 1272025.9758
24 | 2721298.0958 | 1272060.8885 | 2721314.3902 | 1272068.686 | 2721317.0591 | 1272080.993
25 | 2721349.7025 | 1272105.134 | 2721375.1783 | 1272101.0001
26 | 2721349.7025 | 1272105.134 | 2721322.2769 | 1272109.5857
27 | 2721317.0591 | 1272080.993 | 2721317.0841 | 1272081.1083 | 2721322.2769 | 1272109.5857
28 | 2721353.3935 | 1272057.3658 | 2721348.7684 | 1272058.2144
29 | 2721331.9597 | 1272053.9889 | 2721340.9801 | 1272052.5618 | 2721342.6012 | 1272059.3459 | 2721348.7684 | 1272058.2144
30 | 2721039.094 | 1271708.4275 | 2721043.3956 | 1271714.0769
31 | 2721049.4619 | 1271785.9073 | 2721066.6173 | 1271779.2194
32 | 2720819.0622 | 1271405.1403 | 2720822.8808 | 1271412.3822
33 | 2720813.8767 | 1271395.3059 | 2720819.0622 | 1271405.1403
34 | 2720842.9684 | 1271442.6446 | 2720825.4662 | 1271417.2854 | 2720822.8808 | 1271412.3822
35 | 2720813.8767 | 1271395.3059 | 2720786.3194 | 1271413.2003
36 | 2720813.8767 | 1271395.3059 | 2720826.1999 | 1271391.7436 | 2720826.1999 | 1271391.7436
37 | 2720865.6662 | 1271445.0446 | 2720842.9684 | 1271442.6446
38 | 2720776.0209 | 1271419.8876 | 2720786.3194 | 1271413.2003
39 | 2720839.9348 | 1271400.0529 | 2720830.5954 | 1271401.9763 | 2720826.1999 | 1271391.7436
40 | 2720865.6662 | 1271445.0446 | 2720882.4532 | 1271446.8171
41 | 2720776.0209 | 1271419.8876 | 2720779.7979 | 1271426.5265 | 2720783.6752 | 1271436.3481 | 2720785.8851 | 1271442.7103
42 | 2720758.9063 | 1271388.0751 | 2720762.4928 | 1271384.901 | 2720764.9851 | 1271402.1011 | 2720776.0209 | 1271419.8876
43 | 2720758.9063 | 1271388.0751 | 2720751.079 | 1271376.7581
44 | 2720743.368 | 1271365.6091 | 2720751.079 | 1271376.7581
45 | 2720887.947 | 1271404.2631 | 2720889.8064 | 1271406.4254 | 2720903.1055 | 1271411.4244 | 2720905.1404 | 1271427.241
46 | 2720887.947 | 1271404.2631 | 2720874.5068 | 1271409.6863
47 | 2720908.0061 | 1271449.5153 | 2720905.1404 | 1271427.241
48 | 2720874.5068 | 1271409.6863 | 2720869.8448 | 1271411.5675
49 | 2720795.6663 | 1271472.5266 | 2720794.8982 | 1271443.8846 | 2720785.8851 | 1271442.7103
50 | 2720785.8851 | 1271442.7103 | 2720716.4731 | 1271434.4836 | 2720704.1772 | 1271433.042 | 2720664.8799 | 1271428.4348 | 2720606.1166 | 1271421.5226
51 | 2720772.1251 | 1271452.8827 | 2720777.2328 | 1271453.3208 | 2720781.8872 | 1271452.0148 | 2720794.8982 | 1271443.8846 | 2720785.8851 | 1271442.7103
52 | 2720772.1251 | 1271452.8827 | 2720773.9075 | 1271461.7495 | 2720774.5633 | 1271468.2065
53 | 2720795.6663 | 1271472.5266 | 2720796.2094 | 1271492.6784 | 2720795.9708 | 1271495.1425
54 | 2720795.6663 | 1271472.5266 | 2720815.7974 | 1271468.6198
55 | 2720606.1166 | 1271421.5226 | 2720592.1689 | 1271419.8819
56 | 2720908.0061 | 1271449.5153 | 2720882.4532 | 1271446.8171
57 | 2720795.9708 | 1271495.1425 | 2720795.1501 | 1271503.6898
58 | 2720795.9708 | 1271495.1425 | 2720807.5115 | 1271495.2977
59 | 2720827.1768 | 1271466.7489 | 2720821.8959 | 1271467.4362 | 2720815.7974 | 1271468.6198
60 | 2720964.1407 | 1271463.789 | 2720907.4207 | 1271457.1548
61 | 2720907.4207 | 1271457.1548 | 2720907.693 | 1271476.4402
62 | 2720908.0061 | 1271449.5153 | 2720907.4207 | 1271457.1548
63 | 2720964.1407 | 1271463.789 | 2720996.6424 | 1271467.5958
64 | 2720964.1407 | 1271463.789 | 2720962.1104 | 1271484.616
65 | 2720907.7272 | 1271478.8608 | 2720907.693 | 1271476.4402
66 | 2720794.344 | 1271512.0848 | 2720795.1501 | 1271503.6898
67 | 2720811.8057 | 1271495.3555 | 2720807.5115 | 1271495.2977
68 | 2720827.1768 | 1271466.7489 | 2720831.5683 | 1271466.1774 | 2720836.4098 | 1271468.2228 | 2720839.5441 | 1271470.2332 | 2720839.6552 | 1271476.9305 | 2720840.6436 | 1271482.3112 | 2720843.6076 | 1271486.3867
69 | 2720962.1104 | 1271484.616 | 2720959.048 | 1271516.0299
70 | 2721067.2562 | 1271487.7239 | 2721077.3524 | 1271506.1478
71 | 2721067.2562 | 1271487.7239 | 2721064.6848 | 1271492.8059
72 | 2721064.6848 | 1271492.8059 | 2721060.1665 | 1271501.7359 | 2721057.7134 | 1271503.6113
73 | 2720958.6332 | 1271520.2845 | 2720959.048 | 1271516.0299
74 | 2721049.4619 | 1271785.9073 | 2721044.3028 | 1271787.9185 | 2721044.2656 | 1271787.9297
75 | 2721025.9244 | 1271772.2038 | 2721035.5278 | 1271790.5744 | 2721044.2656 | 1271787.9297
76 | 2720960.9311 | 1271626.5952 | 2720993.6603 | 1271660.4523 | 2721039.094 | 1271708.4275
77 | 2720960.9311 | 1271626.5952 | 2720935.4777 | 1271601.1527
78 | 2720960.9311 | 1271626.5952 | 2720969.0444 | 1271596.5783
79 | 2721052.2433 | 1271516.031 | 2721052.2433 | 1271516.031 | 2721034.7863 | 1271516.7947
80 | 2721052.2433 | 1271516.031 | 2721053.5082 | 1271506.8263 | 2721057.7134 | 1271503.6113
81 | 2721034.4358 | 1271516.81 | 2721034.7863 | 1271516.7947
82 | 2721034.4358 | 1271516.81 | 2721025.9364 | 1271517.1819 | 2721015.5068 | 1271515.7446 | 2721015.5068 | 1271515.7446
83 | 2721015.5068 | 1271515.7446 | 2721013.9349 | 1271528.3354
84 | 2721013.3567 | 1271532.9668 | 2721013.9349 | 1271528.3354
85 | 2721013.3567 | 1271532.9668 | 2721012.3105 | 1271541.3471 | 2721004.8011 | 1271540.9568
86 | 2720978.4671 | 1271545.2907 | 2720992.1662 | 1271540.3001 | 2721004.8011 | 1271540.9568
87 | 2720956.4324 | 1271542.8594 | 2720978.4671 | 1271545.2907
88 | 2720935.4777 | 1271601.1527 | 2720925.5621 | 1271591.2414
89 | 2720956.4324 | 1271542.8594 | 2720958.6332 | 1271520.2845
90 | 2720908.5904 | 1271539.9771 | 2720956.4324 | 1271542.8594
91 | 2720925.5621 | 1271591.2414 | 2720916.9489 | 1271582.6319 | 2720909.7317 | 1271574.9237
92 | 2720908.5904 | 1271539.9771 | 2720908.6717 | 1271554.0028 | 2720898.9538 | 1271565.57
93 | 2720898.9538 | 1271565.57 | 2720909.2837 | 1271574.4452 | 2720909.7317 | 1271574.9237
94 | 2720831.9887 | 1271499.2942 | 2720825.3934 | 1271499.6145
95 | 2720811.8057 | 1271495.3555 | 2720817.8133 | 1271499.9826 | 2720825.3934 | 1271499.6145
96 | 2720811.8057 | 1271495.3555 | 2720817.8133 | 1271499.9826 | 2720824.5342 | 1271499.6562
97 | 2720811.8057 | 1271495.3555 | 2720816.7717 | 1271491.32 | 2720824.9826 | 1271489.7755
98 | 2720793.1113 | 1271524.9225 | 2720794.344 | 1271512.0848
99 | 2720843.6076 | 1271486.3867 | 2720843.6076 | 1271486.3867 | 2720855.8205 | 1271486.3793
100 | 2720866.8062 | 1271486.3725 | 2720855.8205 | 1271486.3793
101 | 2720810.0753 | 1271537.9703 | 2720802.983 | 1271533.3988 | 2720793.1113 | 1271524.9225
102 | 2720810.0753 | 1271537.9703 | 2720809.1098 | 1271545.0682 | 2720809.1849 | 1271548.1314

## bus_geodata
| x | y | coords
0 | 2720416.9629 | 1271320.6147
1 | 2720404.3969 | 1271328.4675
2 | 2720449.8878 | 1271395.8942
3 | 2720539.8176 | 1271453.7185
4 | 2720571.6179 | 1271417.4645
5 | 2721197.9421 | 1272061.4824
6 | 2721189.225 | 1272063.3121
7 | 2721204.1318 | 1272060.1831
8 | 2721222.0459 | 1272056.4228
9 | 2721232.914 | 1272101.3689
10 | 2721240.3546 | 1272007.9429
11 | 2721272.0214 | 1272151.8703
12 | 2721104.7066 | 1271824.2865
13 | 2721311.4434 | 1272035.9953
14 | 2721266.7388 | 1272166.9201
15 | 2721082.9243 | 1271774.7314
16 | 2721319.5092 | 1272041.4772
17 | 2721356.8946 | 1272023.2285
18 | 2721298.0958 | 1272060.8885
19 | 2721375.1783 | 1272101.0001
20 | 2721349.7024 | 1272105.134
21 | 2721322.2769 | 1272109.5857
22 | 2721353.3935 | 1272057.3658
23 | 2721348.7684 | 1272058.2144
24 | 2721317.0591 | 1272080.993
25 | 2721315.5221 | 1272165.7734
26 | 2721364.4902 | 1272025.9758
27 | 2721331.9597 | 1272053.9889
28 | 2721043.3956 | 1271714.0769
29 | 2721027.2802 | 1271742.2121
30 | 2721066.6173 | 1271779.2194
31 | 2720819.0622 | 1271405.1403
32 | 2720822.8808 | 1271412.3822
33 | 2720813.8767 | 1271395.3059
34 | 2720842.9684 | 1271442.6446
35 | 2720786.3194 | 1271413.2003
36 | 2720826.1999 | 1271391.7436
37 | 2720865.6662 | 1271445.0446
38 | 2720776.0209 | 1271419.8876
39 | 2720839.9349 | 1271400.0529
40 | 2720758.9063 | 1271388.0751
41 | 2720751.079 | 1271376.7581
42 | 2720887.947 | 1271404.2631
43 | 2720905.1404 | 1271427.241
44 | 2720874.5068 | 1271409.6863
45 | 2720785.8851 | 1271442.7103
46 | 2720772.1251 | 1271452.8827
47 | 2720774.5633 | 1271468.2065
48 | 2720795.6663 | 1271472.5266
49 | 2720606.1166 | 1271421.5226
50 | 2720882.4532 | 1271446.8171
51 | 2720795.9708 | 1271495.1425
52 | 2720815.7974 | 1271468.6198
53 | 2720907.4206 | 1271457.1548
54 | 2720964.1407 | 1271463.789
55 | 2720907.693 | 1271476.4402
56 | 2720908.0061 | 1271449.5153
57 | 2720743.368 | 1271365.6091
58 | 2720869.8448 | 1271411.5675
59 | 2720592.1689 | 1271419.8819
60 | 2720795.1501 | 1271503.6898
61 | 2720807.5115 | 1271495.2977
62 | 2720827.1768 | 1271466.7489
63 | 2720996.6424 | 1271467.5958
64 | 2720962.1104 | 1271484.616
65 | 2720907.7272 | 1271478.8608
66 | 2721067.2562 | 1271487.7239
67 | 2721077.3524 | 1271506.1478
68 | 2721064.6848 | 1271492.8059
69 | 2720959.048 | 1271516.0299
70 | 2721049.4619 | 1271785.9073
71 | 2721044.2656 | 1271787.9297
72 | 2721025.9244 | 1271772.2038
73 | 2721039.094 | 1271708.4275
74 | 2720960.9311 | 1271626.5952
75 | 2721052.2433 | 1271516.031
76 | 2721034.7863 | 1271516.7947
77 | 2721057.7134 | 1271503.6113
78 | 2721034.4358 | 1271516.81
79 | 2721015.5068 | 1271515.7446
80 | 2721013.9349 | 1271528.3354
81 | 2721013.3567 | 1271532.9668
82 | 2721004.8011 | 1271540.9568
83 | 2720978.4671 | 1271545.2907
84 | 2720969.0444 | 1271596.5783
85 | 2720935.4777 | 1271601.1527
86 | 2720956.4324 | 1271542.8594
87 | 2720925.5621 | 1271591.2414
88 | 2720958.6332 | 1271520.2845
89 | 2720908.5904 | 1271539.9771
90 | 2720909.7317 | 1271574.9237
91 | 2720898.9538 | 1271565.57
92 | 2720831.9887 | 1271499.2942
93 | 2720825.3934 | 1271499.6145
94 | 2720811.8057 | 1271495.3555
95 | 2720824.5342 | 1271499.6562
96 | 2720824.9826 | 1271489.7755
97 | 2720794.344 | 1271512.0848
98 | 2720843.6076 | 1271486.3867
99 | 2720855.8205 | 1271486.3793
100 | 2720866.8062 | 1271486.3725
101 | 2720793.1113 | 1271524.9225
102 | 2720810.0753 | 1271537.9703
103 | 2720809.1849 | 1271548.1314
104 | 2720898.9538 | 1271565.57

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1