## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_496-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_496-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_496-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_496-13_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_496-13_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_496-13_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_496-13_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_496-13_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_496-13_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_496-13_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_496-13_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_496-13_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_496-13_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_496-13_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_496-13_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_496-13_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_496-13_0_4_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_496-13_0_4_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_496-13_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_496-13_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_496-13_0_4_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_496-13_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_496-13_0_4_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_496-13_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_496-13_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_496-13_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_496-13_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_496-13_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_496-13_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_496-13_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_496-13_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_496-13_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_496-13_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_496-13_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_496-13_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_496-13_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_496-13_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_496-13_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_496-13_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_496-13_0_4_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_496-13_0_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_496-13_0_4_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_496-13_0_4_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_496-13_0_4_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_496-13_0_4_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_496-13_0_4_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_496-13_0_4_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_496-13_0_4_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_496-13_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_496-13_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_496-13_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_496-13_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_496-13_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_496-13_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_496-13_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_496-13_0_4_node_78 | 0.4 | n |  | TRUE
56 | bus_LV_496-13_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_496-13_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_496-13_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_496-13_0_4_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_496-13_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_496-13_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_496-13_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_496-13_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_496-13_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_496-13_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_496-13_0_4_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_496-13_0_4_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_496-13_0_4_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_496-13_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_496-13_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_496-13_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_496-13_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_496-13_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_496-13_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_496-13_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_496-13_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_496-13_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_496-13_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_496-13_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_496-13_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_496-13_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_496-13_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_496-13_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_496-13_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_496-13_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_496-13_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_496-13_0_4_node_74 | 0.4 | n |  | TRUE
88 | bus_MV_324_1_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_496-13_0_4_load_0 | 0 | 0.0019801 | 0.00049627 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_496-13_0_4_load_1 | 1 | 0.00056873 | 0.00014254 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_496-13_0_4_load_8 | 3 | 0.0029243 | 0.0007329 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_496-13_0_4_load_4 | 5 | 0.0016486 | 0.00041318 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_496-13_0_4_load_5 | 6 | 0.0013479 | 0.00033782 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_496-13_0_4_load_7 | 7 | 0.0017589 | 0.00044082 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_496-13_0_4_load_27 | 11 | 0.00085476 | 0.00021422 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_496-13_0_4_load_54 | 13 | 0.00037023 | 9.2788e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_496-13_0_4_load_31 | 14 | 0.00051972 | 0.00013025 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_496-13_0_4_load_13 | 15 | 0.0013392 | 0.00033563 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_496-13_0_4_load_36 | 18 | 0.0014173 | 0.00035521 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_496-13_0_4_load_53 | 20 | 0.00018175 | 4.555e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_496-13_0_4_load_29 | 21 | 0.0022516 | 0.0005643 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_496-13_0_4_load_14 | 23 | 0.00068073 | 0.00017061 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_496-13_0_4_load_15 | 24 | 0.00093914 | 0.00023537 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_496-13_0_4_load_16 | 25 | 0.0020013 | 0.00050158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_496-13_0_4_load_17 | 26 | 0.0014315 | 0.00035876 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_496-13_0_4_load_18 | 27 | 0.0013615 | 0.00034123 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_496-13_0_4_load_19 | 28 | 0.0019368 | 0.00048542 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_496-13_0_4_load_28 | 31 | 0.0032545 | 0.00081565 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_496-13_0_4_load_22 | 32 | 0.0027446 | 0.00068785 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_496-13_0_4_load_23 | 33 | 0.00084654 | 0.00021216 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_496-13_0_4_load_25 | 34 | 0.0020135 | 0.00050464 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_496-13_0_4_load_35 | 36 | 0.0027689 | 0.00069394 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_496-13_0_4_load_33 | 37 | 0.010459 | 0.0026212 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_496-13_0_4_load_34 | 38 | 0.0010356 | 0.00025954 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_496-13_0_4_load_79 | 39 | 0.00060512 | 0.00015166 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_496-13_0_4_load_80 | 40 | 0.00060861 | 0.00015253 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_496-13_0_4_load_87 | 42 | 0.0039447 | 0.00098862 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_496-13_0_4_load_82 | 43 | 0.00097356 | 0.000244 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_496-13_0_4_load_83 | 44 | 0.00047049 | 0.00011792 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_496-13_0_4_load_85 | 46 | 0.0015556 | 0.00038987 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_496-13_0_4_load_37 | 48 | 0.0024791 | 0.00062131 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_496-13_0_4_load_38 | 49 | 0.00066898 | 0.00016766 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_496-13_0_4_load_40 | 51 | 0.0035205 | 0.00088231 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_496-13_0_4_load_41 | 52 | 0.0024677 | 0.00061845 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_496-13_0_4_load_42 | 53 | 0.0028908 | 0.00072451 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_496-13_0_4_load_43 | 54 | 0.0028517 | 0.00071469 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_496-13_0_4_load_78 | 55 | 0.0017281 | 0.00043311 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_496-13_0_4_load_44 | 56 | 0.0024349 | 0.00061025 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_496-13_0_4_load_45 | 57 | 0.0034774 | 0.00087152 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_496-13_0_4_load_46 | 58 | 0.0056338 | 0.001412 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_496-13_0_4_load_67 | 59 | 0.0029128 | 0.00073001 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_496-13_0_4_load_52 | 60 | 0.0088704 | 0.0022231 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_496-13_0_4_load_59 | 61 | 0.0026016 | 0.00065202 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_496-13_0_4_load_48 | 62 | 0.0025594 | 0.00064145 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_496-13_0_4_load_49 | 63 | 0.0068217 | 0.0017097 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_496-13_0_4_load_50 | 64 | 0.0043218 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_496-13_0_4_load_90 | 67 | 0.01907 | 0.0047794 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_496-13_0_4_load_55 | 69 | 0.0046865 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_496-13_0_4_load_56 | 70 | 0.0015446 | 0.00038711 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_496-13_0_4_load_57 | 71 | 0.0018215 | 0.00045651 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_496-13_0_4_load_58 | 72 | 0.002142 | 0.00053684 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_496-13_0_4_load_65 | 73 | 0.0067797 | 0.0016992 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_496-13_0_4_load_66 | 74 | 0.0016987 | 0.00042575 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_496-13_0_4_load_60 | 75 | 0.0028188 | 0.00070645 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_496-13_0_4_load_61 | 76 | 0.0025734 | 0.00064494 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_496-13_0_4_load_62 | 77 | 0.0059591 | 0.0014935 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_496-13_0_4_load_63 | 78 | 0.002901 | 0.00072705 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_496-13_0_4_load_64 | 79 | 0.0031746 | 0.00079562 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_496-13_0_4_load_89 | 80 | 0.0060527 | 0.001517 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_496-13_0_4_load_75 | 82 | 0.0036503 | 0.00091486 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_496-13_0_4_load_68 | 83 | 0.00035439 | 8.8818e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_496-13_0_4_load_69 | 84 | 0.0036153 | 0.00090608 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_496-13_0_4_load_70 | 85 | 0.0026289 | 0.00065887 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_496-13_0_4_load_71 | 86 | 0.0044084 | 0.0011048 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_496-13_0_4_load_74 | 87 | 0.0021412 | 0.00053664 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_496-13_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0081323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_496-13_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.081409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_496-13_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.16367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_496-13_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.028978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_496-13_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.010692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_496-13_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.020261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_496-13_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0039894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_496-13_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.15409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_496-13_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.038847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_496-13_0_4_line_9 | NAYY 4x150 SE | 9 | 13 | 0.066909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_496-13_0_4_line_10 | NAYY 4x150 SE | 9 | 14 | 0.024887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_496-13_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.1319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_496-13_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.061831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_496-13_0_4_line_13 | NAYY 4x150 SE | 11 | 17 | 0.039466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_496-13_0_4_line_14 | NAYY 4x150 SE | 12 | 18 | 0.026906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_496-13_0_4_line_15 | NAYY 4x150 SE | 12 | 19 | 0.030319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_496-13_0_4_line_16 | NAYY 4x150 SE | 13 | 20 | 0.0077767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_496-13_0_4_line_17 | NAYY 4x150 SE | 14 | 21 | 0.082165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_496-13_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.021156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_496-13_0_4_line_19 | NAYY 4x150 SE | 16 | 22 | 0.08361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_496-13_0_4_line_20 | NAYY 4x150 SE | 17 | 35 | 0.12079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_496-13_0_4_line_21 | NAYY 4x150 SE | 17 | 32 | 0.053339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_496-13_0_4_line_22 | NAYY 4x150 SE | 18 | 30 | 0.014126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_496-13_0_4_line_23 | NAYY 4x150 SE | 19 | 31 | 0.015562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_496-13_0_4_line_24 | NAYY 4x150 SE | 20 | 51 | 0.0072588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_496-13_0_4_line_25 | NAYY 4x150 SE | 21 | 31 | 0.019277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_496-13_0_4_line_26 | NAYY 4x150 SE | 22 | 87 | 0.0094385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_496-13_0_4_line_27 | NAYY 4x150 SE | 22 | 85 | 0.035736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_496-13_0_4_line_28 | NAYY 4x150 SE | 23 | 24 | 0.018511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_496-13_0_4_line_29 | NAYY 4x150 SE | 23 | 25 | 0.013389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_496-13_0_4_line_30 | NAYY 4x150 SE | 24 | 26 | 0.0092045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_496-13_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.014971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_496-13_0_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.022394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_496-13_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.017309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_496-13_0_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.009471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_496-13_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.041646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_496-13_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.060123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_496-13_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0055414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_496-13_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.074256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_496-13_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.016825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_496-13_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.64701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_496-13_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.021706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_496-13_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0084024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_496-13_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.025364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_496-13_0_4_line_44 | NAYY 4x150 SE | 42 | 47 | 0.19874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_496-13_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.024516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_496-13_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.02485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_496-13_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.02979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_496-13_0_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.019602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_496-13_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.018761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_496-13_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0097805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_496-13_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.016568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_496-13_0_4_line_52 | NAYY 4x150 SE | 50 | 52 | 0.015793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_496-13_0_4_line_53 | NAYY 4x150 SE | 50 | 53 | 0.041502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_496-13_0_4_line_54 | NAYY 4x150 SE | 52 | 54 | 0.030667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_496-13_0_4_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0010705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_496-13_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.026908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_496-13_0_4_line_57 | NAYY 4x150 SE | 54 | 57 | 0.015216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_496-13_0_4_line_58 | NAYY 4x150 SE | 56 | 58 | 0.031589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_496-13_0_4_line_59 | NAYY 4x150 SE | 57 | 59 | 0.0034019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_496-13_0_4_line_60 | NAYY 4x150 SE | 58 | 60 | 0.04599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_496-13_0_4_line_61 | NAYY 4x150 SE | 59 | 61 | 0.022097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_496-13_0_4_line_62 | NAYY 4x150 SE | 60 | 64 | 0.008257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_496-13_0_4_line_63 | NAYY 4x150 SE | 61 | 71 | 0.0017088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_496-13_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.027758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_496-13_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.0075109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_496-13_0_4_line_66 | NAYY 4x150 SE | 63 | 65 | 0.053382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_496-13_0_4_line_67 | NAYY 4x150 SE | 65 | 66 | 0.051803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_496-13_0_4_line_68 | NAYY 4x150 SE | 66 | 67 | 0.073053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_496-13_0_4_line_69 | NAYY 4x150 SE | 66 | 68 | 0.057572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_496-13_0_4_line_70 | NAYY 4x150 SE | 68 | 80 | 0.075337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_496-13_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.012453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_496-13_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0038793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_496-13_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.018031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_496-13_0_4_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0025069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_496-13_0_4_line_75 | NAYY 4x150 SE | 73 | 74 | 0.014757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_496-13_0_4_line_76 | NAYY 4x150 SE | 74 | 78 | 0.010089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_496-13_0_4_line_77 | NAYY 4x150 SE | 75 | 76 | 0.0031651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_496-13_0_4_line_78 | NAYY 4x150 SE | 75 | 77 | 0.025327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_496-13_0_4_line_79 | NAYY 4x150 SE | 76 | 78 | 0.024903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_496-13_0_4_line_80 | NAYY 4x150 SE | 77 | 79 | 0.025603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_496-13_0_4_line_81 | NAYY 4x150 SE | 79 | 81 | 0.023573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_496-13_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.025975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_496-13_0_4_line_83 | NAYY 4x150 SE | 82 | 87 | 0.031454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_496-13_0_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.023872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_496-13_0_4_line_85 | NAYY 4x150 SE | 83 | 85 | 0.01494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_496-13_0_4_line_86 | NAYY 4x150 SE | 84 | 86 | 0.024837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_496-13_0_4_trafo_40 | 0.25 MVA 20/0.4 kV | 88 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2574871.6224 | 1207133.0092 | 2574866.1896 | 1207126.9579
1 | 2574946.3449 | 1207102.7105 | 2574933.0589 | 1207112.9722 | 2574871.6224 | 1207133.0092
2 | 2574985.3192 | 1206943.7456 | 2574946.3449 | 1207102.7105
3 | 2574969.7414 | 1206920.3326 | 2574977.8547 | 1206938.3752 | 2574985.3192 | 1206943.7456
4 | 2574969.7414 | 1206920.3326 | 2574968.2415 | 1206909.7468
5 | 2574968.2415 | 1206909.7468 | 2574965.3991 | 1206889.6859
6 | 2574964.8395 | 1206885.7359 | 2574965.3991 | 1206889.6859
7 | 2574913.7475 | 1206740.435 | 2574964.3653 | 1206882.3897 | 2574964.8395 | 1206885.7359
8 | 2574913.7475 | 1206740.435 | 2574900.3015 | 1206703.9826
9 | 2574900.3015 | 1206703.9826 | 2574890.8667 | 1206675.6511 | 2574888.0727 | 1206664.0675 | 2574885.7349 | 1206647.0791 | 2574885.1126 | 1206639.1203
10 | 2574900.3015 | 1206703.9826 | 2574892.0724 | 1206703.6393 | 2574881.2432 | 1206701.6617 | 2574875.6443 | 1206700.9612
11 | 2574815.3864 | 1206790.3229 | 2574743.0383 | 1206830.7855 | 2574700.5119 | 1206855.1434
12 | 2574815.3864 | 1206790.3229 | 2574803.7506 | 1206773.7963 | 2574794.7781 | 1206759.5375 | 2574785.9978 | 1206745.7671 | 2574782.8315 | 1206737.8983
13 | 2574666.2653 | 1206874.7587 | 2574700.5119 | 1206855.1434
14 | 2574782.8315 | 1206737.8983 | 2574764.4586 | 1206718.2426
15 | 2574782.8315 | 1206737.8983 | 2574783.1998 | 1206720.7428 | 2574782.9615 | 1206707.592
16 | 2574885.1126 | 1206639.1203 | 2574884.5064 | 1206631.3673
17 | 2574798.8673 | 1206676.5962 | 2574817.6614 | 1206690.1242 | 2574852.0552 | 1206697.3049 | 2574870.8428 | 1206700.3605 | 2574875.6443 | 1206700.9612
18 | 2575026.8855 | 1206685.206 | 2575007.8739 | 1206694.4866
19 | 2575060.9741 | 1206608.8316 | 2575026.8855 | 1206685.206
20 | 2574555.2874 | 1206923.1817 | 2574666.2653 | 1206874.7587
21 | 2574666.2653 | 1206874.7587 | 2574645.7118 | 1206825.539
22 | 2574754.8122 | 1206707.9227 | 2574764.4586 | 1206718.2426
23 | 2574782.9615 | 1206707.592 | 2574790.0662 | 1206693.747
24 | 2574884.1026 | 1206624.1242 | 2574884.103 | 1206626.2077 | 2574884.5064 | 1206631.3673
25 | 2574790.0662 | 1206693.747 | 2574798.8673 | 1206676.5962 | 2574798.8673 | 1206676.5962
26 | 2575060.9741 | 1206608.8316 | 2575064.6537 | 1206600.1399
27 | 2575060.9741 | 1206608.8316 | 2575056.3031 | 1206608.3509 | 2575042.1502 | 1206611.6788 | 2575027.1927 | 1206618.6491
28 | 2574705.7927 | 1206742.3331 | 2574690.2426 | 1206732.2901
29 | 2574716.6593 | 1206747.7478 | 2574715.9085 | 1206748.8663 | 2574705.7927 | 1206742.3331
30 | 2574682.5105 | 1206727.2964 | 2574690.2426 | 1206732.2901
31 | 2574716.6593 | 1206747.7478 | 2574725.0032 | 1206735.3174
32 | 2574737.4841 | 1206716.724 | 2574725.0032 | 1206735.3174
33 | 2574747.1311 | 1206702.3522 | 2574737.4841 | 1206716.724
34 | 2574747.1311 | 1206702.3522 | 2574754.8122 | 1206707.9227
35 | 2574645.7118 | 1206825.539 | 2574638.3166 | 1206807.8295 | 2574628.0556 | 1206787.8566
36 | 2574600.5814 | 1206734.3778 | 2574628.0556 | 1206787.8566
37 | 2574598.0492 | 1206729.4488 | 2574600.5814 | 1206734.3778
38 | 2574555.2874 | 1206923.1817 | 2574506.5426 | 1206867.1651
39 | 2574506.5426 | 1206867.1651 | 2574495.4982 | 1206854.4731
40 | 2574506.5426 | 1206867.1651 | 2574041.0166 | 1207316.5089
41 | 2574041.0166 | 1207316.5089 | 2574040.6885 | 1207317.4807 | 2574032.1688 | 1207336.3249
42 | 2574028.7073 | 1207343.9812 | 2574032.1688 | 1207336.3249
43 | 2574028.7073 | 1207343.9812 | 2574015.5543 | 1207365.6678
44 | 2573889.8503 | 1207519.6094 | 2574015.5543 | 1207365.6678
45 | 2573874.6825 | 1207557.261 | 2573857.9241 | 1207575.1543
46 | 2573891.6695 | 1207539.1234 | 2573874.6825 | 1207557.261
47 | 2573857.9241 | 1207575.1543 | 2573837.56 | 1207596.8977
48 | 2573891.6695 | 1207539.1234 | 2573889.8503 | 1207519.6094
49 | 2574884.0957 | 1206588.7953 | 2574884.0993 | 1206607.5563
50 | 2574884.0937 | 1206579.0148 | 2574884.0957 | 1206588.7953
51 | 2574884.1026 | 1206624.1242 | 2574884.0993 | 1206607.5563
52 | 2574884.0937 | 1206579.0148 | 2574883.6522 | 1206563.2275
53 | 2574884.0937 | 1206579.0148 | 2574925.4935 | 1206581.9288
54 | 2574882.7949 | 1206532.5722 | 2574883.6522 | 1206563.2275
55 | 2574926.5614 | 1206582.004 | 2574925.4935 | 1206581.9288
56 | 2574882.7949 | 1206532.5722 | 2574881.486 | 1206516.1464 | 2574880.5422 | 1206505.7588
57 | 2574882.7949 | 1206532.5722 | 2574897.8312 | 1206530.24
58 | 2574872.1273 | 1206475.9404 | 2574873.5205 | 1206477.5141 | 2574877.1771 | 1206484.4359 | 2574879.3565 | 1206492.709 | 2574880.5422 | 1206505.7588
59 | 2574897.8312 | 1206530.24 | 2574901.1929 | 1206529.7186
60 | 2574872.1273 | 1206475.9404 | 2574906.6323 | 1206445.5343
61 | 2574923.029 | 1206526.3317 | 2574901.1929 | 1206529.7186
62 | 2574906.6323 | 1206445.5343 | 2574907.5236 | 1206437.3255
63 | 2574923.029 | 1206526.3317 | 2574924.7176 | 1206526.0698
64 | 2574908.3343 | 1206429.8585 | 2574911.3305 | 1206402.2628
65 | 2574908.3343 | 1206429.8585 | 2574907.5236 | 1206437.3255
66 | 2574917.0927 | 1206349.1922 | 2574911.3305 | 1206402.2628
67 | 2574968.4192 | 1206357.1026 | 2574959.8302 | 1206356.2939 | 2574917.0927 | 1206349.1922
68 | 2574968.4192 | 1206357.1026 | 2574952.8567 | 1206428.4745
69 | 2574968.4192 | 1206357.1026 | 2574972.5368 | 1206357.9302 | 2574990.5923 | 1206360.2444 | 2575013.4553 | 1206368.3195 | 2575021.6134 | 1206371.5315 | 2575023.6167 | 1206372.3235
70 | 2575005.7799 | 1206445.5169 | 2575023.6167 | 1206372.3235
71 | 2574928.5511 | 1206525.4752 | 2574941.0017 | 1206525.6988
72 | 2574928.5511 | 1206525.4752 | 2574928.5511 | 1206525.4752 | 2574924.7176 | 1206526.0698
73 | 2574941.0017 | 1206525.6988 | 2574954.6286 | 1206525.9434 | 2574959.0069 | 1206526.3995
74 | 2574961.5003 | 1206526.6592 | 2574959.0069 | 1206526.3995
75 | 2574961.5003 | 1206526.6592 | 2574976.1775 | 1206528.1881
76 | 2574986.2123 | 1206529.2334 | 2574976.1775 | 1206528.1881
77 | 2575014.1293 | 1206532.1415 | 2575010.9813 | 1206531.8136
78 | 2575014.1293 | 1206532.1415 | 2575021.2039 | 1206532.8784 | 2575038.9988 | 1206536.7641
79 | 2575010.9813 | 1206531.8136 | 2574986.2123 | 1206529.2334
80 | 2575038.9988 | 1206536.7641 | 2575064.0122 | 1206542.226
81 | 2575087.0422 | 1206547.2547 | 2575064.0122 | 1206542.226
82 | 2575087.0422 | 1206547.2547 | 2575076.9159 | 1206571.1746
83 | 2575064.6537 | 1206600.1399 | 2575076.9159 | 1206571.1746
84 | 2575013.6385 | 1206624.9319 | 2574991.7984 | 1206634.5698
85 | 2575013.6385 | 1206624.9319 | 2575014.9952 | 1206624.3332 | 2575027.1927 | 1206618.6491
86 | 2574970.6613 | 1206647.5769 | 2574990.0691 | 1206635.3329 | 2574991.7984 | 1206634.5698

## bus_geodata
| x | y | coords
0 | 2574871.6224 | 1207133.0092
1 | 2574866.1896 | 1207126.9579
2 | 2574946.3449 | 1207102.7105
3 | 2574985.3192 | 1206943.7456
4 | 2574969.7414 | 1206920.3326
5 | 2574968.2415 | 1206909.7468
6 | 2574965.3991 | 1206889.6859
7 | 2574964.8395 | 1206885.7359
8 | 2574913.7475 | 1206740.435
9 | 2574900.3015 | 1206703.9826
10 | 2574815.3864 | 1206790.3229
11 | 2574700.5119 | 1206855.1434
12 | 2574782.8315 | 1206737.8983
13 | 2574885.1126 | 1206639.1203
14 | 2574875.6443 | 1206700.9612
15 | 2575007.8739 | 1206694.4866
16 | 2575026.8855 | 1206685.206
17 | 2574666.2653 | 1206874.7587
18 | 2574764.4586 | 1206718.2426
19 | 2574782.9615 | 1206707.592
20 | 2574884.5064 | 1206631.3673
21 | 2574798.8673 | 1206676.5962
22 | 2575060.9741 | 1206608.8316
23 | 2574705.7927 | 1206742.3331
24 | 2574690.2426 | 1206732.2901
25 | 2574716.6593 | 1206747.7478
26 | 2574682.5105 | 1206727.2964
27 | 2574725.0032 | 1206735.3174
28 | 2574737.4841 | 1206716.724
29 | 2574747.1311 | 1206702.3522
30 | 2574754.8122 | 1206707.9227
31 | 2574790.0662 | 1206693.747
32 | 2574645.7118 | 1206825.539
33 | 2574628.0556 | 1206787.8566
34 | 2574600.5814 | 1206734.3778
35 | 2574555.2874 | 1206923.1817
36 | 2574598.0492 | 1206729.4488
37 | 2574506.5426 | 1206867.1651
38 | 2574495.4982 | 1206854.4731
39 | 2574041.0166 | 1207316.5089
40 | 2574032.1688 | 1207336.3249
41 | 2574028.7073 | 1207343.9812
42 | 2574015.5543 | 1207365.6678
43 | 2573874.6825 | 1207557.261
44 | 2573857.9241 | 1207575.1543
45 | 2573891.6695 | 1207539.1234
46 | 2573837.56 | 1207596.8977
47 | 2573889.8503 | 1207519.6094
48 | 2574884.0957 | 1206588.7953
49 | 2574884.0993 | 1206607.5563
50 | 2574884.0937 | 1206579.0148
51 | 2574884.1026 | 1206624.1242
52 | 2574883.6522 | 1206563.2275
53 | 2574925.4935 | 1206581.9288
54 | 2574882.7949 | 1206532.5722
55 | 2574926.5614 | 1206582.004
56 | 2574880.5422 | 1206505.7588
57 | 2574897.8312 | 1206530.24
58 | 2574872.1273 | 1206475.9404
59 | 2574901.1929 | 1206529.7186
60 | 2574906.6323 | 1206445.5343
61 | 2574923.029 | 1206526.3317
62 | 2574908.3343 | 1206429.8585
63 | 2574911.3305 | 1206402.2628
64 | 2574907.5236 | 1206437.3255
65 | 2574917.0927 | 1206349.1922
66 | 2574968.4192 | 1206357.1026
67 | 2574952.8567 | 1206428.4745
68 | 2575023.6167 | 1206372.3235
69 | 2574928.5511 | 1206525.4752
70 | 2574941.0017 | 1206525.6988
71 | 2574924.7176 | 1206526.0698
72 | 2574959.0069 | 1206526.3995
73 | 2574961.5003 | 1206526.6592
74 | 2574976.1775 | 1206528.1881
75 | 2575014.1293 | 1206532.1415
76 | 2575010.9813 | 1206531.8136
77 | 2575038.9988 | 1206536.7641
78 | 2574986.2123 | 1206529.2334
79 | 2575064.0122 | 1206542.226
80 | 2575005.7799 | 1206445.5169
81 | 2575087.0422 | 1206547.2547
82 | 2575076.9159 | 1206571.1746
83 | 2575013.6385 | 1206624.9319
84 | 2574991.7984 | 1206634.5698
85 | 2575027.1927 | 1206618.6491
86 | 2574970.6613 | 1206647.5769
87 | 2575064.6537 | 1206600.1399
88 | 2574884.0937 | 1206579.0148

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1