## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_496-20_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_496-20_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_496-20_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_496-20_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_496-20_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_496-20_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_496-20_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_496-20_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_496-20_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_496-20_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_496-20_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_496-20_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_496-20_0_3_node_110 | 0.4 | n |  | TRUE
13 | bus_LV_496-20_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_496-20_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_496-20_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_496-20_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_496-20_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_496-20_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_496-20_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_496-20_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_496-20_0_3_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_496-20_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_496-20_0_3_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_496-20_0_3_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_496-20_0_3_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_496-20_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_496-20_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_496-20_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_496-20_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_496-20_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_496-20_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_496-20_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_496-20_0_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_496-20_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_496-20_0_3_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_496-20_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_496-20_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_496-20_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_496-20_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_496-20_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_496-20_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_496-20_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_496-20_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_496-20_0_3_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_496-20_0_3_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_496-20_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_496-20_0_3_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_496-20_0_3_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_496-20_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_496-20_0_3_node_106 | 0.4 | n |  | TRUE
51 | bus_LV_496-20_0_3_node_105 | 0.4 | n |  | TRUE
52 | bus_LV_496-20_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_496-20_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_496-20_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_496-20_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_496-20_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_496-20_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_496-20_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_496-20_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_496-20_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_496-20_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_496-20_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_496-20_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_496-20_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_496-20_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_496-20_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_496-20_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_496-20_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_496-20_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_496-20_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_496-20_0_3_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_496-20_0_3_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_496-20_0_3_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_496-20_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_496-20_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_496-20_0_3_node_107 | 0.4 | n |  | TRUE
77 | bus_LV_496-20_0_3_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_496-20_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_496-20_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_496-20_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_496-20_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_496-20_0_3_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_496-20_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_496-20_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_496-20_0_3_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_496-20_0_3_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_496-20_0_3_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_496-20_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_496-20_0_3_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_496-20_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_496-20_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_496-20_0_3_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_496-20_0_3_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_496-20_0_3_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_496-20_0_3_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_496-20_0_3_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_496-20_0_3_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_496-20_0_3_node_104 | 0.4 | n |  | TRUE
99 | bus_LV_496-20_0_3_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_496-20_0_3_node_95 | 0.4 | n |  | TRUE
101 | bus_LV_496-20_0_3_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_496-20_0_3_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_496-20_0_3_node_99 | 0.4 | n |  | TRUE
104 | bus_MV_324_1_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_496-20_0_3_load_0 | 0 | 0.0016563 | 0.0004151 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_496-20_0_3_load_1 | 1 | 0.0012266 | 0.00030742 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_496-20_0_3_load_3 | 2 | 0.0019718 | 0.00049418 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_496-20_0_3_load_4 | 3 | 0.0023642 | 0.00059253 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_496-20_0_3_load_14 | 4 | 0.0038522 | 0.00096546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_496-20_0_3_load_13 | 5 | 0.0010853 | 0.00027201 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_496-20_0_3_load_6 | 6 | 0.0046319 | 0.0011609 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_496-20_0_3_load_19 | 7 | 0.0010105 | 0.00025326 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_496-20_0_3_load_7 | 9 | 0.0014014 | 0.00035122 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_496-20_0_3_load_8 | 10 | 0.00080467 | 0.00020167 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_496-20_0_3_load_110 | 12 | 0.0016813 | 0.00042137 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_496-20_0_3_load_10 | 13 | 0.0018712 | 0.00046898 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_496-20_0_3_load_11 | 14 | 0.00030671 | 7.6869e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_496-20_0_3_load_12 | 15 | 0.0024547 | 0.00061521 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_496-20_0_3_load_17 | 16 | 0.0025985 | 0.00065124 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_496-20_0_3_load_16 | 18 | 0.00085903 | 0.00021529 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_496-20_0_3_load_21 | 20 | 0.0027815 | 0.0006971 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_496-20_0_3_load_68 | 21 | 0.0022995 | 0.00057631 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_496-20_0_3_load_22 | 22 | 0.0016501 | 0.00041356 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_496-20_0_3_load_90 | 23 | 0.0019817 | 0.00049667 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_496-20_0_3_load_88 | 25 | 0.0022987 | 0.00057612 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_496-20_0_3_load_23 | 26 | 0.0033299 | 0.00083456 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_496-20_0_3_load_26 | 28 | 0.0030818 | 0.00077237 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_496-20_0_3_load_27 | 29 | 0.0022169 | 0.0005556 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_496-20_0_3_load_29 | 30 | 0.0016944 | 0.00042465 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_496-20_0_3_load_39 | 32 | 0.0047192 | 0.0011828 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_496-20_0_3_load_56 | 33 | 0.0019061 | 0.00047772 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_496-20_0_3_load_37 | 34 | 0.0036394 | 0.00091212 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_496-20_0_3_load_30 | 36 | 0.0041258 | 0.001034 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_496-20_0_3_load_31 | 37 | 0.0038842 | 0.00097347 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_496-20_0_3_load_32 | 38 | 0.0015773 | 0.00039531 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_496-20_0_3_load_33 | 39 | 0.0020762 | 0.00052036 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_496-20_0_3_load_34 | 40 | 0.012991 | 0.0032558 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_496-20_0_3_load_38 | 43 | 0.0026032 | 0.00065242 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_496-20_0_3_load_60 | 45 | 0.0018886 | 0.00047334 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_496-20_0_3_load_40 | 46 | 0.0012843 | 0.00032189 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_496-20_0_3_load_64 | 47 | 0.0012939 | 0.00032428 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_496-20_0_3_load_71 | 48 | 0.0019017 | 0.00047661 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_496-20_0_3_load_58 | 49 | 0.0020804 | 0.0005214 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_496-20_0_3_load_106 | 50 | 0.0018473 | 0.00046298 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_496-20_0_3_load_105 | 51 | 0.002333 | 0.00058469 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_496-20_0_3_load_41 | 52 | 0.0011772 | 0.00029502 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_496-20_0_3_load_43 | 55 | 0.0066914 | 0.001677 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_496-20_0_3_load_44 | 56 | 0.0014115 | 0.00035377 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_496-20_0_3_load_45 | 57 | 0.0056732 | 0.0014218 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_496-20_0_3_load_47 | 58 | 0.0013825 | 0.0003465 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_496-20_0_3_load_48 | 59 | 0.0011473 | 0.00028753 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_496-20_0_3_load_63 | 60 | 0.0019518 | 0.00048916 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_496-20_0_3_load_49 | 61 | 0.0034384 | 0.00086174 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_496-20_0_3_load_55 | 63 | 0.0042006 | 0.0010528 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_496-20_0_3_load_54 | 64 | 0.0033727 | 0.00084529 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_496-20_0_3_load_59 | 66 | 0.0020807 | 0.00052147 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_496-20_0_3_load_65 | 67 | 0.0017995 | 0.00045101 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_496-20_0_3_load_70 | 68 | 0.0010718 | 0.00026863 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_496-20_0_3_load_67 | 69 | 0.0022788 | 0.00057111 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_496-20_0_3_load_69 | 70 | 0.0042697 | 0.0010701 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_496-20_0_3_load_102 | 71 | 0.0021747 | 0.00054504 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_496-20_0_3_load_101 | 72 | 0.0018374 | 0.0004605 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_496-20_0_3_load_72 | 73 | 0.0011301 | 0.00028323 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_496-20_0_3_load_73 | 74 | 0.0018042 | 0.00045218 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_496-20_0_3_load_74 | 75 | 0.0018778 | 0.00047062 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_496-20_0_3_load_107 | 76 | 0.0035357 | 0.00088614 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_496-20_0_3_load_108 | 77 | 0.00065973 | 0.00016534 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_496-20_0_3_load_75 | 78 | 0.0040086 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_496-20_0_3_load_76 | 79 | 0.0018097 | 0.00045356 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_496-20_0_3_load_78 | 81 | 0.0038335 | 0.00096078 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_496-20_0_3_load_87 | 82 | 0.0045138 | 0.0011313 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_496-20_0_3_load_79 | 83 | 0.0021086 | 0.00052846 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_496-20_0_3_load_82 | 84 | 0.0015155 | 0.00037982 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_496-20_0_3_load_80 | 86 | 0.0012946 | 0.00032447 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_496-20_0_3_load_81 | 87 | 0.0014496 | 0.0003633 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_496-20_0_3_load_83 | 88 | 0.0028018 | 0.00070219 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_496-20_0_3_load_84 | 89 | 0.0016409 | 0.00041124 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_496-20_0_3_load_85 | 90 | 0.0025422 | 0.00063714 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_496-20_0_3_load_97 | 92 | 0.0024893 | 0.00062388 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_496-20_0_3_load_93 | 93 | 0.0017643 | 0.00044218 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_496-20_0_3_load_100 | 94 | 0.0025232 | 0.00063238 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_496-20_0_3_load_92 | 96 | 0.0029378 | 0.00073629 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_496-20_0_3_load_89 | 97 | 0.004393 | 0.001101 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_496-20_0_3_load_104 | 98 | 0.0022323 | 0.00055946 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_496-20_0_3_load_103 | 99 | 0.0035137 | 0.0008806 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_496-20_0_3_load_95 | 100 | 0.0023333 | 0.00058479 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_496-20_0_3_load_96 | 101 | 0.0027804 | 0.00069684 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_496-20_0_3_load_98 | 102 | 0.0023677 | 0.00059339 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_496-20_0_3_load_99 | 103 | 0.0020486 | 0.00051344 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 93 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_496-20_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0019685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_496-20_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_496-20_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.017709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_496-20_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.023129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_496-20_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.00048324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_496-20_0_3_line_5 | NAYY 4x150 SE | 5 | 17 | 0.024583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_496-20_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.010007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_496-20_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0090762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_496-20_0_3_line_8 | NAYY 4x150 SE | 8 | 19 | 0.003235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_496-20_0_3_line_9 | NAYY 4x150 SE | 8 | 18 | 0.0093929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_496-20_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.027024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_496-20_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.011803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_496-20_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.11355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_496-20_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.016972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_496-20_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.01673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_496-20_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.037166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_496-20_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0095885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_496-20_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.019623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_496-20_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.034828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_496-20_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.027408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_496-20_0_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.035108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_496-20_0_3_line_21 | NAYY 4x150 SE | 21 | 24 | 0.01779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_496-20_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.014564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_496-20_0_3_line_23 | NAYY 4x150 SE | 23 | 25 | 0.01216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_496-20_0_3_line_24 | NAYY 4x150 SE | 24 | 69 | 0.011256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_496-20_0_3_line_25 | NAYY 4x150 SE | 25 | 97 | 0.0079385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_496-20_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.014153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_496-20_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.021035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_496-20_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.00034329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_496-20_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.00035769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_496-20_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.03584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_496-20_0_3_line_31 | NAYY 4x150 SE | 30 | 33 | 0.020724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_496-20_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0070371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_496-20_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.037237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_496-20_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.025782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_496-20_0_3_line_35 | NAYY 4x150 SE | 34 | 41 | 0.006793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_496-20_0_3_line_36 | NAYY 4x150 SE | 35 | 67 | 0.017138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_496-20_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.013573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_496-20_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0055879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_496-20_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.010199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_496-20_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.046762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_496-20_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.017273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_496-20_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.04746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_496-20_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.01506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_496-20_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.011106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_496-20_0_3_line_45 | NAYY 4x150 SE | 42 | 45 | 0.021615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_496-20_0_3_line_46 | NAYY 4x150 SE | 43 | 46 | 0.027012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_496-20_0_3_line_47 | NAYY 4x150 SE | 44 | 47 | 0.006869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_496-20_0_3_line_48 | NAYY 4x150 SE | 44 | 48 | 0.040622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_496-20_0_3_line_49 | NAYY 4x150 SE | 45 | 49 | 0.024122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_496-20_0_3_line_50 | NAYY 4x150 SE | 46 | 50 | 0.0031559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_496-20_0_3_line_51 | NAYY 4x150 SE | 47 | 60 | 0.019415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_496-20_0_3_line_52 | NAYY 4x150 SE | 48 | 68 | 0.0034261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_496-20_0_3_line_53 | NAYY 4x150 SE | 49 | 66 | 0.028043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_496-20_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.021766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_496-20_0_3_line_55 | NAYY 4x150 SE | 51 | 94 | 0.0070692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_496-20_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.01504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_496-20_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.10998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_496-20_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.033415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_496-20_0_3_line_59 | NAYY 4x150 SE | 53 | 56 | 0.08537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_496-20_0_3_line_60 | NAYY 4x150 SE | 53 | 57 | 0.046851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_496-20_0_3_line_61 | NAYY 4x150 SE | 54 | 58 | 0.018686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_496-20_0_3_line_62 | NAYY 4x150 SE | 55 | 59 | 0.0085391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_496-20_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.011091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_496-20_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.009497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_496-20_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.080095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_496-20_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.027723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_496-20_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.027457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_496-20_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.0007061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_496-20_0_3_line_69 | NAYY 4x150 SE | 68 | 73 | 0.020209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_496-20_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.023488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_496-20_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0045821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_496-20_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.027194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_496-20_0_3_line_73 | NAYY 4x150 SE | 72 | 102 | 0.0019934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_496-20_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0041815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_496-20_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.0052242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_496-20_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0041809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_496-20_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.021585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_496-20_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.019103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_496-20_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.010869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_496-20_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.022831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_496-20_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.011356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_496-20_0_3_line_82 | NAYY 4x150 SE | 82 | 85 | 0.035119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_496-20_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.0093214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_496-20_0_3_line_84 | NAYY 4x150 SE | 84 | 86 | 0.01294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_496-20_0_3_line_85 | NAYY 4x150 SE | 85 | 96 | 0.01821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_496-20_0_3_line_86 | NAYY 4x150 SE | 85 | 97 | 0.015676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_496-20_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.00050765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_496-20_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.010191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_496-20_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0087179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_496-20_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0088722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_496-20_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.013051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_496-20_0_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.016137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_496-20_0_3_line_93 | NAYY 4x150 SE | 91 | 93 | 0.020067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_496-20_0_3_line_94 | NAYY 4x150 SE | 92 | 94 | 0.009358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
95 | LV_496-20_0_3_line_95 | NAYY 4x150 SE | 93 | 95 | 0.041864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_496-20_0_3_line_96 | NAYY 4x150 SE | 95 | 100 | 0.0047433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_496-20_0_3_line_97 | NAYY 4x150 SE | 95 | 101 | 0.023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_496-20_0_3_line_98 | NAYY 4x150 SE | 96 | 98 | 0.019992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_496-20_0_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.0052314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_496-20_0_3_line_100 | NAYY 4x150 SE | 99 | 103 | 0.012436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_496-20_0_3_line_101 | NAYY 4x150 SE | 100 | 102 | 0.022473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_496-20_0_3_line_102 | NAYY 4x150 SE | 101 | 103 | 0.02026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_496-20_0_3_trafo_93 | 0.25 MVA 20/0.4 kV | 104 | 93 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2574237.4272 | 1206240.4614 | 2574235.4915 | 1206240.1035
1 | 2574235.4915 | 1206240.1035 | 2574234.0644 | 1206239.8396 | 2574224.5495 | 1206230.7758 | 2574220.904 | 1206225.8267
2 | 2574220.904 | 1206225.8267 | 2574217.9783 | 1206221.8548 | 2574210.1803 | 1206211.7349
3 | 2574197.5559 | 1206192.4185 | 2574201.4407 | 1206199.7253 | 2574209.5428 | 1206210.9075 | 2574210.1803 | 1206211.7349
4 | 2574197.5559 | 1206192.4185 | 2574197.329 | 1206191.9918
5 | 2574185.0177 | 1206170.7249 | 2574193.1139 | 1206184.0639 | 2574197.329 | 1206191.9918
6 | 2574246.2852 | 1206155.7141 | 2574236.3404 | 1206156.8317
7 | 2574227.321 | 1206157.8454 | 2574236.3404 | 1206156.8317
8 | 2574227.321 | 1206157.8454 | 2574225.2947 | 1206155.3195
9 | 2574227.321 | 1206157.8454 | 2574218.3353 | 1206160.5812
10 | 2574109.7273 | 1206213.8872 | 2574109.7273 | 1206213.8872 | 2574097.3393 | 1206237.9042
11 | 2574108.2542 | 1206202.176 | 2574109.7273 | 1206213.8872
12 | 2574097.3393 | 1206237.9042 | 2574163.6711 | 1206330.0617
13 | 2574108.2542 | 1206202.176 | 2574122.7177 | 1206193.2957
14 | 2574108.2542 | 1206202.176 | 2574091.5238 | 1206202.2489
15 | 2574122.7177 | 1206193.2957 | 2574123.1351 | 1206193.0395 | 2574125.949 | 1206191.3152 | 2574138.1704 | 1206186.1814 | 2574157.2771 | 1206179.8775
16 | 2574157.2771 | 1206179.8775 | 2574166.3828 | 1206176.8732
17 | 2574185.0177 | 1206170.7249 | 2574166.3828 | 1206176.8732
18 | 2574185.0177 | 1206170.7249 | 2574218.3353 | 1206160.5812
19 | 2574225.2947 | 1206155.3195 | 2574237.8034 | 1206130.9325
20 | 2574253.8261 | 1206099.6945 | 2574237.8034 | 1206130.9325
21 | 2574261.9452 | 1206083.8655 | 2574253.8261 | 1206099.6945
22 | 2574181.3681 | 1206124.7461 | 2574169.4145 | 1206116.4263
23 | 2574159.4343 | 1206109.48 | 2574169.4145 | 1206116.4263
24 | 2574261.9452 | 1206083.8655 | 2574253.5874 | 1206076.326
25 | 2574159.4343 | 1206109.48 | 2574152.9186 | 1206104.945
26 | 2574265.0155 | 1205974.447 | 2574277.0881 | 1205967.0607
27 | 2574265.0155 | 1205974.447 | 2574274.5222 | 1205993.2111
28 | 2574264.8604 | 1205974.1407 | 2574265.0155 | 1205974.447
29 | 2574274.5222 | 1205993.2111 | 2574274.6839 | 1205993.5302
30 | 2574248.6692 | 1205942.1664 | 2574264.8604 | 1205974.1407
31 | 2574284.4248 | 1206011.816 | 2574280.1113 | 1206004.2427 | 2574274.6839 | 1205993.5302
32 | 2574248.6692 | 1205942.1664 | 2574245.4899 | 1205935.8885
33 | 2574228.4399 | 1205902.7848 | 2574241.0291 | 1205927.08 | 2574245.4899 | 1205935.8885
34 | 2574297.185 | 1206034.2189 | 2574284.4248 | 1206011.816
35 | 2574225.3146 | 1205896.7535 | 2574228.4399 | 1205902.7848
36 | 2574297.185 | 1206034.2189 | 2574287.5454 | 1206048.3885
37 | 2574207.2216 | 1205876.0818 | 2574204.2502 | 1205872.6869 | 2574198.1909 | 1205865.9492
38 | 2574194.4544 | 1205861.7943 | 2574198.1909 | 1205865.9492
39 | 2574213.9386 | 1205883.7561 | 2574207.2216 | 1205876.0818
40 | 2574163.1858 | 1205827.0246 | 2574194.4544 | 1205861.7943
41 | 2574225.3146 | 1205896.7535 | 2574213.9386 | 1205883.7561
42 | 2574131.4504 | 1205791.7358 | 2574163.1858 | 1205827.0246
43 | 2574225.3146 | 1205896.7535 | 2574214.2876 | 1205907.0099
44 | 2574131.4504 | 1205791.7358 | 2574123.7889 | 1205799.7959
45 | 2574131.4504 | 1205791.7358 | 2574133.9733 | 1205770.2685
46 | 2574214.2876 | 1205907.0099 | 2574208.923 | 1205911.9996 | 2574195.0732 | 1205925.9886
47 | 2574123.7889 | 1205799.7959 | 2574116.92 | 1205799.8345
48 | 2574123.7889 | 1205799.7959 | 2574118.9116 | 1205834.2362 | 2574116.8072 | 1205839.6821
49 | 2574141.8827 | 1205747.4805 | 2574133.9733 | 1205770.2685
50 | 2574195.0732 | 1205925.9886 | 2574194.5968 | 1205926.4698 | 2574192.8834 | 1205928.261
51 | 2574097.5054 | 1205799.9437 | 2574116.92 | 1205799.8345
52 | 2574115.5723 | 1205842.878 | 2574116.8072 | 1205839.6821
53 | 2574141.8827 | 1205747.4805 | 2574151.0778 | 1205720.988
54 | 2574177.8379 | 1205943.9895 | 2574192.8834 | 1205928.261
55 | 2574177.8379 | 1205943.9895 | 2574172.9513 | 1205949.0979
56 | 2574047.0336 | 1205783.6212 | 2574036.0733 | 1205773.3221
57 | 2574036.0733 | 1205773.3221 | 2573955.9265 | 1205698.0051
58 | 2574047.0336 | 1205783.6212 | 2574078.8273 | 1205793.9032
59 | 2574047.0336 | 1205783.6212 | 2573998.3417 | 1205853.743
60 | 2574047.0336 | 1205783.6212 | 2574073.9991 | 1205745.3087
61 | 2573955.9265 | 1205698.0051 | 2573941.9487 | 1205685.6042
62 | 2574086.9521 | 1205796.5308 | 2574078.8273 | 1205793.9032
63 | 2574086.9521 | 1205796.5308 | 2574097.5054 | 1205799.9437 | 2574097.5054 | 1205799.9437
64 | 2574236.5563 | 1205732.0355 | 2574234.8676 | 1205722.6899
65 | 2574159.984 | 1205694.2703 | 2574234.8676 | 1205722.6899
66 | 2574235.8093 | 1205759.743 | 2574236.5563 | 1205732.0355
67 | 2574151.3093 | 1205720.321 | 2574159.984 | 1205694.2703
68 | 2574151.0778 | 1205720.988 | 2574151.3093 | 1205720.321
69 | 2574115.5723 | 1205842.878 | 2574108.2882 | 1205861.7282
70 | 2574236.8491 | 1206059.8954 | 2574242.9345 | 1206066.716 | 2574253.5874 | 1206076.326
71 | 2574233.7986 | 1206056.4763 | 2574236.8491 | 1206059.8954
72 | 2574215.6947 | 1206036.1851 | 2574233.7986 | 1206056.4763
73 | 2574215.6947 | 1206036.1851 | 2574214.3676 | 1206034.6977
74 | 2574108.2882 | 1205861.7282 | 2574106.781 | 1205865.6287 | 2574106.781 | 1205865.6287
75 | 2574106.781 | 1205865.6287 | 2574103.7324 | 1205869.8711
76 | 2574101.2926 | 1205873.2663 | 2574103.7324 | 1205869.8711
77 | 2574088.6967 | 1205890.7948 | 2574101.2926 | 1205873.2663
78 | 2574061.7217 | 1206063.767 | 2574074.6146 | 1206049.671 | 2574074.6146 | 1206049.671
79 | 2574083.343 | 1206056.1477 | 2574074.6146 | 1206049.671
80 | 2574083.343 | 1206056.1477 | 2574102.0243 | 1206069.2726
81 | 2574111.3163 | 1206075.8009 | 2574102.0243 | 1206069.2726
82 | 2574140.052 | 1206095.9897 | 2574111.3163 | 1206075.8009
83 | 2574113.2596 | 1206015.1375 | 2574118.7531 | 1206007.6069
84 | 2574127.3471 | 1205997.9534 | 2574120.2959 | 1206005.492 | 2574118.7531 | 1206007.6069
85 | 2574140.052 | 1206095.9897 | 2574150.0971 | 1206080.801
86 | 2574140.052 | 1206095.9897 | 2574152.9186 | 1206104.945
87 | 2574127.3471 | 1205997.9534 | 2574127.6939 | 1205997.5827
88 | 2574127.6939 | 1205997.5827 | 2574134.6555 | 1205990.14
89 | 2574134.6555 | 1205990.14 | 2574140.6107 | 1205983.7731
90 | 2574146.6714 | 1205977.2936 | 2574140.6107 | 1205983.7731
91 | 2574155.5868 | 1205967.7621 | 2574146.6714 | 1205977.2936
92 | 2574155.5868 | 1205967.7621 | 2574165.4114 | 1205956.9801 | 2574166.4826 | 1205955.8602
93 | 2574155.5868 | 1205967.7621 | 2574167.8125 | 1205983.6748
94 | 2574166.4826 | 1205955.8602 | 2574172.9513 | 1205949.0979
95 | 2574196.2484 | 1206014.3893 | 2574168.8414 | 1205985.0141 | 2574167.8125 | 1205983.6748
96 | 2574196.2484 | 1206014.3893 | 2574199.4062 | 1206017.9286
97 | 2574196.2484 | 1206014.3893 | 2574182.2101 | 1206032.6082
98 | 2574150.0971 | 1206080.801 | 2574161.125 | 1206064.1262
99 | 2574161.125 | 1206064.1262 | 2574164.0108 | 1206059.7627
100 | 2574170.8708 | 1206049.3898 | 2574164.0108 | 1206059.7627
101 | 2574214.3676 | 1206034.6977 | 2574199.4062 | 1206017.9286
102 | 2574182.2101 | 1206032.6082 | 2574180.511 | 1206034.8133 | 2574170.8708 | 1206049.3898

## bus_geodata
| x | y | coords
0 | 2574237.4272 | 1206240.4614
1 | 2574235.4915 | 1206240.1035
2 | 2574220.904 | 1206225.8267
3 | 2574210.1803 | 1206211.7349
4 | 2574197.5559 | 1206192.4185
5 | 2574197.329 | 1206191.9918
6 | 2574246.2852 | 1206155.7141
7 | 2574236.3404 | 1206156.8317
8 | 2574227.321 | 1206157.8454
9 | 2574109.7273 | 1206213.8872
10 | 2574097.3393 | 1206237.9042
11 | 2574108.2542 | 1206202.176
12 | 2574163.6711 | 1206330.0617
13 | 2574122.7177 | 1206193.2957
14 | 2574091.5238 | 1206202.2489
15 | 2574157.2771 | 1206179.8775
16 | 2574166.3828 | 1206176.8732
17 | 2574185.0177 | 1206170.7249
18 | 2574218.3353 | 1206160.5812
19 | 2574225.2947 | 1206155.3195
20 | 2574237.8034 | 1206130.9325
21 | 2574253.8261 | 1206099.6945
22 | 2574181.3681 | 1206124.7461
23 | 2574169.4145 | 1206116.4263
24 | 2574261.9452 | 1206083.8655
25 | 2574159.4343 | 1206109.48
26 | 2574277.0881 | 1205967.0607
27 | 2574265.0155 | 1205974.447
28 | 2574274.5222 | 1205993.2111
29 | 2574264.8604 | 1205974.1407
30 | 2574274.6839 | 1205993.5302
31 | 2574248.6692 | 1205942.1664
32 | 2574245.4899 | 1205935.8885
33 | 2574284.4248 | 1206011.816
34 | 2574228.4399 | 1205902.7848
35 | 2574297.185 | 1206034.2189
36 | 2574198.1909 | 1205865.9492
37 | 2574207.2216 | 1205876.0818
38 | 2574194.4544 | 1205861.7943
39 | 2574213.9386 | 1205883.7561
40 | 2574163.1858 | 1205827.0246
41 | 2574225.3146 | 1205896.7535
42 | 2574131.4504 | 1205791.7358
43 | 2574214.2876 | 1205907.0099
44 | 2574123.7889 | 1205799.7959
45 | 2574133.9733 | 1205770.2685
46 | 2574195.0732 | 1205925.9886
47 | 2574116.92 | 1205799.8345
48 | 2574116.8072 | 1205839.6821
49 | 2574141.8827 | 1205747.4805
50 | 2574192.8834 | 1205928.261
51 | 2574177.8379 | 1205943.9895
52 | 2574036.0733 | 1205773.3221
53 | 2574047.0336 | 1205783.6212
54 | 2573955.9265 | 1205698.0051
55 | 2574078.8273 | 1205793.9032
56 | 2573998.3417 | 1205853.743
57 | 2574073.9991 | 1205745.3087
58 | 2573941.9487 | 1205685.6042
59 | 2574086.9521 | 1205796.5308
60 | 2574097.5054 | 1205799.9437
61 | 2574234.8676 | 1205722.6899
62 | 2574236.5563 | 1205732.0355
63 | 2574159.984 | 1205694.2703
64 | 2574235.8093 | 1205759.743
65 | 2574151.3093 | 1205720.321
66 | 2574151.0778 | 1205720.988
67 | 2574287.5454 | 1206048.3885
68 | 2574115.5723 | 1205842.878
69 | 2574253.5874 | 1206076.326
70 | 2574236.8491 | 1206059.8954
71 | 2574233.7986 | 1206056.4763
72 | 2574215.6947 | 1206036.1851
73 | 2574108.2882 | 1205861.7282
74 | 2574106.781 | 1205865.6287
75 | 2574103.7324 | 1205869.8711
76 | 2574101.2926 | 1205873.2663
77 | 2574088.6967 | 1205890.7948
78 | 2574061.7217 | 1206063.767
79 | 2574074.6147 | 1206049.671
80 | 2574083.343 | 1206056.1477
81 | 2574102.0243 | 1206069.2726
82 | 2574111.3163 | 1206075.8009
83 | 2574113.2596 | 1206015.1375
84 | 2574118.7531 | 1206007.6069
85 | 2574140.052 | 1206095.9897
86 | 2574127.3471 | 1205997.9534
87 | 2574127.6939 | 1205997.5827
88 | 2574134.6555 | 1205990.14
89 | 2574140.6107 | 1205983.7731
90 | 2574146.6714 | 1205977.2936
91 | 2574155.5868 | 1205967.7621
92 | 2574166.4826 | 1205955.8602
93 | 2574167.8124 | 1205983.6748
94 | 2574172.9513 | 1205949.0979
95 | 2574196.2484 | 1206014.3893
96 | 2574150.0971 | 1206080.801
97 | 2574152.9186 | 1206104.945
98 | 2574161.125 | 1206064.1262
99 | 2574164.0108 | 1206059.7627
100 | 2574199.4062 | 1206017.9286
101 | 2574182.2101 | 1206032.6082
102 | 2574214.3676 | 1206034.6977
103 | 2574170.8708 | 1206049.3898
104 | 2574155.5868 | 1205967.7621

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1