## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_496-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_496-24_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_496-24_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_496-24_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_496-24_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_496-24_0_5_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_496-24_0_5_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_496-24_0_5_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_496-24_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_496-24_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_496-24_0_5_node_86 | 0.4 | n |  | TRUE
11 | bus_LV_496-24_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_496-24_0_5_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_496-24_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_496-24_0_5_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_496-24_0_5_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_496-24_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_496-24_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_496-24_0_5_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_496-24_0_5_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_496-24_0_5_node_88 | 0.4 | n |  | TRUE
21 | bus_LV_496-24_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_496-24_0_5_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_496-24_0_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_496-24_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_496-24_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_496-24_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_496-24_0_5_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_496-24_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_496-24_0_5_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_496-24_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_496-24_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_496-24_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_496-24_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_496-24_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_496-24_0_5_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_496-24_0_5_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_496-24_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_496-24_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_496-24_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_496-24_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_496-24_0_5_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_496-24_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_496-24_0_5_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_496-24_0_5_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_496-24_0_5_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_496-24_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_496-24_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_496-24_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_496-24_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_496-24_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_496-24_0_5_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_496-24_0_5_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_496-24_0_5_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_496-24_0_5_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_496-24_0_5_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_496-24_0_5_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_496-24_0_5_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_496-24_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_496-24_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_496-24_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_496-24_0_5_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_496-24_0_5_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_496-24_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_496-24_0_5_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_496-24_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_496-24_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_496-24_0_5_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_496-24_0_5_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_496-24_0_5_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_496-24_0_5_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_496-24_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_496-24_0_5_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_496-24_0_5_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_496-24_0_5_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_496-24_0_5_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_496-24_0_5_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_496-24_0_5_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_496-24_0_5_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_496-24_0_5_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_496-24_0_5_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_496-24_0_5_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_496-24_0_5_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_496-24_0_5_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_496-24_0_5_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_496-24_0_5_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_496-24_0_5_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_496-24_0_5_node_76 | 0.4 | n |  | TRUE
88 | bus_MV_324_1_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_496-24_0_5_load_0 | 0 | 0.0046156 | 0.0011568 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_496-24_0_5_load_1 | 1 | 0.0014855 | 0.0003723 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_496-24_0_5_load_4 | 4 | 0.000801 | 0.00020075 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_496-24_0_5_load_80 | 6 | 0.0017674 | 0.00044296 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_496-24_0_5_load_29 | 7 | 0.0016169 | 0.00040523 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_496-24_0_5_load_86 | 10 | 0.0066559 | 0.0016681 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_496-24_0_5_load_5 | 11 | 0.0039839 | 0.00099845 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_496-24_0_5_load_15 | 12 | 0.0043881 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_496-24_0_5_load_11 | 13 | 0.002404 | 0.00060251 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_496-24_0_5_load_87 | 14 | 0.00085442 | 0.00021414 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_496-24_0_5_load_6 | 15 | 0.00067303 | 0.00016868 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_496-24_0_5_load_10 | 16 | 0.0033127 | 0.00083023 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_496-24_0_5_load_9 | 17 | 0.0043327 | 0.0010859 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_496-24_0_5_load_7 | 18 | 0.0036919 | 0.00092528 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_496-24_0_5_load_8 | 19 | 0.0021716 | 0.00054425 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_496-24_0_5_load_88 | 20 | 0.0039229 | 0.00098318 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_496-24_0_5_load_27 | 21 | 0.0037617 | 0.00094277 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_496-24_0_5_load_26 | 23 | 0.00081346 | 0.00020387 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_496-24_0_5_load_12 | 24 | 0.0059252 | 0.001485 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_496-24_0_5_load_14 | 25 | 0.001841 | 0.00046141 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_496-24_0_5_load_85 | 27 | 0.0044167 | 0.0011069 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_496-24_0_5_load_84 | 29 | 0.0012042 | 0.00030179 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_496-24_0_5_load_16 | 30 | 0.0019021 | 0.00047671 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_496-24_0_5_load_18 | 32 | 0.0040591 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_496-24_0_5_load_19 | 33 | 0.0018946 | 0.00047483 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_496-24_0_5_load_28 | 34 | 0.0012792 | 0.00032059 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_496-24_0_5_load_83 | 35 | 0.0050016 | 0.0012535 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_496-24_0_5_load_82 | 36 | 0.0011583 | 0.0002903 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_496-24_0_5_load_22 | 37 | 0.0024623 | 0.00061711 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_496-24_0_5_load_25 | 39 | 0.0032938 | 0.00082549 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_496-24_0_5_load_36 | 40 | 0.002537 | 0.00063584 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_496-24_0_5_load_72 | 41 | 0.0019277 | 0.00048312 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_496-24_0_5_load_37 | 42 | 0.019152 | 0.0047999 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_496-24_0_5_load_57 | 44 | 0.0024711 | 0.00061932 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_496-24_0_5_load_81 | 45 | 0.001877 | 0.00047041 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_496-24_0_5_load_31 | 46 | 0.0016266 | 0.00040766 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_496-24_0_5_load_32 | 47 | 0.0010453 | 0.00026198 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_496-24_0_5_load_33 | 48 | 0.0023655 | 0.00059284 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_496-24_0_5_load_34 | 49 | 0.0010456 | 0.00026206 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_496-24_0_5_load_35 | 50 | 0.0023663 | 0.00059304 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_496-24_0_5_load_60 | 51 | 0.00168 | 0.00042104 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_496-24_0_5_load_51 | 52 | 0.0016289 | 0.00040825 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_496-24_0_5_load_58 | 53 | 0.0024642 | 0.0006176 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_496-24_0_5_load_50 | 54 | 0.0016096 | 0.0004034 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_496-24_0_5_load_71 | 56 | 0.0022114 | 0.00055422 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_496-24_0_5_load_67 | 57 | 0.0035459 | 0.00088868 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_496-24_0_5_load_38 | 58 | 0.0033551 | 0.00084087 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_496-24_0_5_load_39 | 59 | 0.0034131 | 0.00085541 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_496-24_0_5_load_40 | 60 | 0.004393 | 0.001101 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_496-24_0_5_load_41 | 61 | 0.0064848 | 0.0016252 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_496-24_0_5_load_47 | 62 | 0.0067255 | 0.0016856 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_496-24_0_5_load_48 | 63 | 0.0033519 | 0.00084007 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_496-24_0_5_load_42 | 64 | 0.0047155 | 0.0011818 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_496-24_0_5_load_43 | 65 | 0.0021068 | 0.00052801 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_496-24_0_5_load_44 | 66 | 0.0020888 | 0.00052351 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_496-24_0_5_load_46 | 68 | 0.0034244 | 0.00085823 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_496-24_0_5_load_78 | 69 | 0.0023699 | 0.00059395 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_496-24_0_5_load_75 | 70 | 0.0038129 | 0.00095561 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_496-24_0_5_load_63 | 71 | 0.001639 | 0.00041078 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_496-24_0_5_load_77 | 72 | 0.00229 | 0.00057394 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_496-24_0_5_load_68 | 73 | 0.0016408 | 0.00041122 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_496-24_0_5_load_70 | 74 | 0.0013384 | 0.00033544 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_496-24_0_5_load_62 | 75 | 0.003848 | 0.00096441 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_496-24_0_5_load_49 | 76 | 0.0014377 | 0.00036032 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_496-24_0_5_load_66 | 77 | 0.0034095 | 0.00085449 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_496-24_0_5_load_55 | 78 | 0.0033595 | 0.00084198 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_496-24_0_5_load_53 | 79 | 0.012164 | 0.0030485 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_496-24_0_5_load_59 | 81 | 0.001273 | 0.00031903 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_496-24_0_5_load_61 | 82 | 0.0009595 | 0.00024047 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_496-24_0_5_load_74 | 83 | 0.001069 | 0.00026792 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_496-24_0_5_load_79 | 84 | 0.00119 | 0.00029825 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_496-24_0_5_load_64 | 85 | 0.0030434 | 0.00076275 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_496-24_0_5_load_65 | 86 | 0.00073771 | 0.00018489 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_496-24_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_496-24_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_496-24_0_5_line_2 | NAYY 4x150 SE | 2 | 3 | 0.007743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_496-24_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_496-24_0_5_line_4 | NAYY 4x150 SE | 3 | 9 | 0.015919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_496-24_0_5_line_5 | NAYY 4x150 SE | 3 | 10 | 0.03439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_496-24_0_5_line_6 | NAYY 4x150 SE | 4 | 11 | 0.017765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_496-24_0_5_line_7 | NAYY 4x150 SE | 5 | 6 | 0.13733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_496-24_0_5_line_8 | NAYY 4x150 SE | 5 | 7 | 0.018292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_496-24_0_5_line_9 | NAYY 4x150 SE | 5 | 8 | 0.065023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_496-24_0_5_line_10 | NAYY 4x150 SE | 6 | 45 | 0.011382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_496-24_0_5_line_11 | NAYY 4x150 SE | 6 | 36 | 0.011186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_496-24_0_5_line_12 | NAYY 4x150 SE | 7 | 21 | 0.0087431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_496-24_0_5_line_13 | NAYY 4x150 SE | 8 | 40 | 0.023533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_496-24_0_5_line_14 | NAYY 4x150 SE | 8 | 38 | 0.009148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_496-24_0_5_line_15 | NAYY 4x150 SE | 9 | 12 | 0.021978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_496-24_0_5_line_16 | NAYY 4x150 SE | 9 | 13 | 0.032392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_496-24_0_5_line_17 | NAYY 4x150 SE | 10 | 14 | 0.014597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_496-24_0_5_line_18 | NAYY 4x150 SE | 11 | 15 | 0.0042087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_496-24_0_5_line_19 | NAYY 4x150 SE | 12 | 27 | 0.021565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_496-24_0_5_line_20 | NAYY 4x150 SE | 13 | 24 | 0.015555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_496-24_0_5_line_21 | NAYY 4x150 SE | 15 | 16 | 0.030913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_496-24_0_5_line_22 | NAYY 4x150 SE | 16 | 17 | 0.0012862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_496-24_0_5_line_23 | NAYY 4x150 SE | 17 | 18 | 0.011055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_496-24_0_5_line_24 | NAYY 4x150 SE | 18 | 19 | 0.025882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_496-24_0_5_line_25 | NAYY 4x150 SE | 19 | 20 | 0.058071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_496-24_0_5_line_26 | NAYY 4x150 SE | 20 | 22 | 0.015196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_496-24_0_5_line_27 | NAYY 4x150 SE | 21 | 23 | 0.016215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_496-24_0_5_line_28 | NAYY 4x150 SE | 22 | 33 | 0.06956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_496-24_0_5_line_29 | NAYY 4x150 SE | 23 | 34 | 0.024298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_496-24_0_5_line_30 | NAYY 4x150 SE | 24 | 25 | 0.015879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_496-24_0_5_line_31 | NAYY 4x150 SE | 25 | 26 | 0.013596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_496-24_0_5_line_32 | NAYY 4x150 SE | 26 | 28 | 0.018083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_496-24_0_5_line_33 | NAYY 4x150 SE | 27 | 29 | 0.018444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_496-24_0_5_line_34 | NAYY 4x150 SE | 28 | 35 | 0.030135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_496-24_0_5_line_35 | NAYY 4x150 SE | 30 | 31 | 0.024799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_496-24_0_5_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0026367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_496-24_0_5_line_37 | NAYY 4x150 SE | 31 | 33 | 0.027201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_496-24_0_5_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0096537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_496-24_0_5_line_39 | NAYY 4x150 SE | 37 | 38 | 0.023518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_496-24_0_5_line_40 | NAYY 4x150 SE | 38 | 39 | 0.029256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_496-24_0_5_line_41 | NAYY 4x150 SE | 39 | 41 | 0.026081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_496-24_0_5_line_42 | NAYY 4x150 SE | 40 | 42 | 0.022667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_496-24_0_5_line_43 | NAYY 4x150 SE | 41 | 43 | 0.044195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_496-24_0_5_line_44 | NAYY 4x150 SE | 42 | 58 | 0.0006415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_496-24_0_5_line_45 | NAYY 4x150 SE | 43 | 87 | 0.015689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_496-24_0_5_line_46 | NAYY 4x150 SE | 43 | 84 | 0.016527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_496-24_0_5_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0043246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_496-24_0_5_line_48 | NAYY 4x150 SE | 46 | 47 | 0.021247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_496-24_0_5_line_49 | NAYY 4x150 SE | 46 | 48 | 0.024406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_496-24_0_5_line_50 | NAYY 4x150 SE | 47 | 49 | 0.016508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_496-24_0_5_line_51 | NAYY 4x150 SE | 48 | 50 | 0.015955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_496-24_0_5_line_52 | NAYY 4x150 SE | 49 | 51 | 0.010693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_496-24_0_5_line_53 | NAYY 4x150 SE | 50 | 52 | 0.035258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_496-24_0_5_line_54 | NAYY 4x150 SE | 51 | 53 | 0.012498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_496-24_0_5_line_55 | NAYY 4x150 SE | 52 | 54 | 0.014731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_496-24_0_5_line_56 | NAYY 4x150 SE | 53 | 81 | 0.015258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_496-24_0_5_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0086925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_496-24_0_5_line_58 | NAYY 4x150 SE | 55 | 57 | 0.019083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_496-24_0_5_line_59 | NAYY 4x150 SE | 57 | 73 | 0.0017528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_496-24_0_5_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0065282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_496-24_0_5_line_61 | NAYY 4x150 SE | 59 | 60 | 0.006694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_496-24_0_5_line_62 | NAYY 4x150 SE | 60 | 61 | 0.013169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_496-24_0_5_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0048265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_496-24_0_5_line_64 | NAYY 4x150 SE | 62 | 63 | 0.00834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_496-24_0_5_line_65 | NAYY 4x150 SE | 63 | 76 | 0.0044373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_496-24_0_5_line_66 | NAYY 4x150 SE | 64 | 65 | 0.00048839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_496-24_0_5_line_67 | NAYY 4x150 SE | 64 | 66 | 0.019394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_496-24_0_5_line_68 | NAYY 4x150 SE | 65 | 67 | 0.021879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_496-24_0_5_line_69 | NAYY 4x150 SE | 66 | 68 | 0.0045818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_496-24_0_5_line_70 | NAYY 4x150 SE | 67 | 69 | 0.043029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_496-24_0_5_line_71 | NAYY 4x150 SE | 67 | 70 | 0.06019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_496-24_0_5_line_72 | NAYY 4x150 SE | 68 | 71 | 0.019697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_496-24_0_5_line_73 | NAYY 4x150 SE | 69 | 72 | 0.010633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_496-24_0_5_line_74 | NAYY 4x150 SE | 70 | 74 | 0.04697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_496-24_0_5_line_75 | NAYY 4x150 SE | 71 | 75 | 0.0034241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_496-24_0_5_line_76 | NAYY 4x150 SE | 72 | 87 | 0.014568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_496-24_0_5_line_77 | NAYY 4x150 SE | 73 | 74 | 0.015846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_496-24_0_5_line_78 | NAYY 4x150 SE | 75 | 85 | 0.043013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_496-24_0_5_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0020856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_496-24_0_5_line_80 | NAYY 4x150 SE | 77 | 78 | 0.0064983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_496-24_0_5_line_81 | NAYY 4x150 SE | 78 | 80 | 0.012311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_496-24_0_5_line_82 | NAYY 4x150 SE | 79 | 80 | 0.021431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_496-24_0_5_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0033544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_496-24_0_5_line_84 | NAYY 4x150 SE | 82 | 83 | 0.01384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_496-24_0_5_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0070179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_496-24_0_5_line_86 | NAYY 4x150 SE | 85 | 86 | 0.037611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_496-24_0_5_trafo_30 | 0.25 MVA 20/0.4 kV | 88 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2574759.9957 | 1205943.5354 | 2574755.9198 | 1205968.7781
1 | 2574763.0808 | 1205922.1508 | 2574763.0087 | 1205924.8749 | 2574759.9957 | 1205943.5354
2 | 2574763.0808 | 1205922.1508 | 2574763.2837 | 1205914.4123
3 | 2574763.0808 | 1205922.1508 | 2574748.1484 | 1205916.6472
4 | 2574763.2837 | 1205914.4123 | 2574763.7029 | 1205898.5017
5 | 2574763.2837 | 1205914.4123 | 2574780.4148 | 1205920.7766 | 2574796.038 | 1205924.7271
6 | 2574731.079 | 1205911.8273 | 2574742.4156 | 1205914.5343 | 2574748.1484 | 1205916.6472
7 | 2574774.8813 | 1205668.749 | 2574797.595 | 1205804.1835
8 | 2574774.8813 | 1205668.749 | 2574757.3604 | 1205663.4948
9 | 2574774.8813 | 1205668.749 | 2574784.1955 | 1205635.858 | 2574789.2684 | 1205617.9265 | 2574792.5955 | 1205606.1837
10 | 2574797.595 | 1205804.1835 | 2574808.6779 | 1205806.7749
11 | 2574797.595 | 1205804.1835 | 2574797.595 | 1205804.1835 | 2574788.8231 | 1205807.0667 | 2574786.875 | 1205806.9439
12 | 2574757.3604 | 1205663.4948 | 2574748.9858 | 1205660.9835
13 | 2574792.5955 | 1205606.1837 | 2574814.7181 | 1205614.2083
14 | 2574794.5046 | 1205597.2373 | 2574792.5955 | 1205606.1837
15 | 2574763.7029 | 1205898.5017 | 2574785.5019 | 1205901.298
16 | 2574763.7029 | 1205898.5017 | 2574758.0946 | 1205866.599
17 | 2574796.038 | 1205924.7271 | 2574798.23 | 1205925.2813 | 2574809.506 | 1205930.2831
18 | 2574731.079 | 1205911.8273 | 2574726.9854 | 1205910.8498
19 | 2574806.8914 | 1205904.0418 | 2574785.5019 | 1205901.298
20 | 2574758.0946 | 1205866.599 | 2574755.4014 | 1205851.2791
21 | 2574726.9854 | 1205910.8498 | 2574716.2957 | 1205908.2974 | 2574698.8266 | 1205898.7185
22 | 2574697.6989 | 1205898.1001 | 2574698.8266 | 1205898.7185
23 | 2574697.6989 | 1205898.1001 | 2574688.0059 | 1205892.7851
24 | 2574688.0059 | 1205892.7851 | 2574672.1356 | 1205884.0829 | 2574664.362 | 1205884.4476
25 | 2574664.362 | 1205884.4476 | 2574606.4299 | 1205888.4543
26 | 2574594.6766 | 1205878.8214 | 2574606.4299 | 1205888.4543
27 | 2574734.1345 | 1205654.5376 | 2574746.1492 | 1205660.1328 | 2574748.9858 | 1205660.9835
28 | 2574654.8297 | 1205843.8898 | 2574594.6766 | 1205878.8214
29 | 2574712.1079 | 1205644.2797 | 2574734.1345 | 1205654.5376
30 | 2574755.4014 | 1205851.2791 | 2574752.6522 | 1205835.6404
31 | 2574750.2981 | 1205822.2496 | 2574752.6522 | 1205835.6404
32 | 2574747.1652 | 1205804.4419 | 2574750.2981 | 1205822.2496
33 | 2574825.1858 | 1205906.3886 | 2574806.8914 | 1205904.0418
34 | 2574747.1652 | 1205804.4419 | 2574777.2405 | 1205806.3369
35 | 2574669.1964 | 1205820.7714 | 2574689.994 | 1205834.2789
36 | 2574692.2053 | 1205835.7151 | 2574689.994 | 1205834.2789
37 | 2574669.1964 | 1205820.7714 | 2574654.8297 | 1205843.8898
38 | 2574777.2405 | 1205806.3369 | 2574786.875 | 1205806.9439
39 | 2574794.5046 | 1205597.2373 | 2574772.0875 | 1205590.1274
40 | 2574794.5046 | 1205597.2373 | 2574802.6216 | 1205569.1301
41 | 2574802.6216 | 1205569.1301 | 2574806.1828 | 1205556.7987 | 2574810.9653 | 1205544.447
42 | 2574814.7181 | 1205614.2083 | 2574836.0266 | 1205621.9375
43 | 2574829.752 | 1205504.5478 | 2574818.333 | 1205525.4188 | 2574810.9653 | 1205544.447
44 | 2574836.6296 | 1205622.1563 | 2574836.0266 | 1205621.9375
45 | 2574829.752 | 1205504.5478 | 2574838.9544 | 1205491.824
46 | 2574829.752 | 1205504.5478 | 2574839.9148 | 1205506.706 | 2574846 | 1205505.9036
47 | 2574812.8889 | 1205807.7595 | 2574808.6779 | 1205806.7749
48 | 2574945.562 | 1205492.8407 | 2574939.7299 | 1205493.5441 | 2574924.4889 | 1205495.5538
49 | 2574945.562 | 1205492.8407 | 2574969.7923 | 1205489.9186
50 | 2574924.4889 | 1205495.5538 | 2574908.1231 | 1205497.7118
51 | 2574985.6323 | 1205488.0083 | 2574969.7923 | 1205489.9186
52 | 2574897.5219 | 1205499.1097 | 2574908.1231 | 1205497.7118
53 | 2574985.6323 | 1205488.0083 | 2574992.4565 | 1205487.1853 | 2575020.1032 | 1205480.7547
54 | 2574885.1314 | 1205500.7436 | 2574897.5219 | 1205499.1097
55 | 2575034.4516 | 1205477.4173 | 2575020.1032 | 1205480.7547
56 | 2574885.1314 | 1205500.7436 | 2574870.0047 | 1205502.7382
57 | 2574963.806 | 1205355.3883 | 2574970.5623 | 1205355.938 | 2574972.1016 | 1205354.8007
58 | 2574963.806 | 1205355.3883 | 2574950.9244 | 1205369.4682
59 | 2574950.9244 | 1205369.4682 | 2574949.7412 | 1205370.7614
60 | 2574842.7666 | 1205624.3823 | 2574836.6296 | 1205622.1563
61 | 2574842.7666 | 1205624.3823 | 2574849.0594 | 1205626.6649
62 | 2574861.4389 | 1205631.1553 | 2574849.0594 | 1205626.6649
63 | 2574865.9761 | 1205632.8011 | 2574861.4389 | 1205631.1553
64 | 2574865.9761 | 1205632.8011 | 2574873.8162 | 1205635.645
65 | 2574877.9875 | 1205637.1581 | 2574873.8162 | 1205635.645
66 | 2574825.9337 | 1205424.6867 | 2574826.4175 | 1205424.7534
67 | 2574825.9337 | 1205424.6867 | 2574806.7208 | 1205422.0403
68 | 2574848.0916 | 1205427.7388 | 2574826.4175 | 1205424.7534
69 | 2574802.1819 | 1205421.4151 | 2574806.7208 | 1205422.0403
70 | 2574848.0916 | 1205427.7388 | 2574836.9848 | 1205469.3093
71 | 2574848.0916 | 1205427.7388 | 2574907.3338 | 1205417.1019
72 | 2574782.6693 | 1205418.7275 | 2574802.1819 | 1205421.4151
73 | 2574836.9848 | 1205469.3093 | 2574834.2402 | 1205479.5816 | 2574834.2402 | 1205479.5816
74 | 2574939.0442 | 1205382.4516 | 2574907.3338 | 1205417.1019
75 | 2574779.2772 | 1205418.2602 | 2574782.6693 | 1205418.7275
76 | 2574838.9544 | 1205491.824 | 2574833.6858 | 1205486.9547 | 2574834.2402 | 1205479.5816
77 | 2574939.0442 | 1205382.4516 | 2574944.8859 | 1205376.0683 | 2574949.7412 | 1205370.7614
78 | 2574779.2772 | 1205418.2602 | 2574767.126 | 1205416.5865 | 2574736.4394 | 1205418.507
79 | 2574877.9875 | 1205637.1581 | 2574879.9482 | 1205637.8692
80 | 2574879.9482 | 1205637.8692 | 2574886.057 | 1205640.0851
81 | 2574897.6297 | 1205644.2829 | 2574886.057 | 1205640.0851
82 | 2574897.6297 | 1205644.2829 | 2574896.5534 | 1205665.6867
83 | 2574870.0047 | 1205502.7382 | 2574866.6791 | 1205503.1768
84 | 2574852.9577 | 1205504.9861 | 2574866.6791 | 1205503.1768
85 | 2574852.9577 | 1205504.9861 | 2574846 | 1205505.9036
86 | 2574700.2596 | 1205428.2548 | 2574730.5365 | 1205418.8764 | 2574736.4394 | 1205418.507

## bus_geodata
| x | y | coords
0 | 2574759.9957 | 1205943.5354
1 | 2574755.9198 | 1205968.7781
2 | 2574763.0808 | 1205922.1508
3 | 2574763.2837 | 1205914.4123
4 | 2574748.1484 | 1205916.6472
5 | 2574774.8813 | 1205668.749
6 | 2574797.595 | 1205804.1835
7 | 2574757.3604 | 1205663.4948
8 | 2574792.5955 | 1205606.1837
9 | 2574763.7029 | 1205898.5017
10 | 2574796.038 | 1205924.7271
11 | 2574731.079 | 1205911.8273
12 | 2574785.5019 | 1205901.298
13 | 2574758.0946 | 1205866.599
14 | 2574809.506 | 1205930.2831
15 | 2574726.9854 | 1205910.8498
16 | 2574698.8266 | 1205898.7185
17 | 2574697.6989 | 1205898.1001
18 | 2574688.0059 | 1205892.7851
19 | 2574664.362 | 1205884.4476
20 | 2574606.4299 | 1205888.4543
21 | 2574748.9858 | 1205660.9835
22 | 2574594.6766 | 1205878.8214
23 | 2574734.1345 | 1205654.5376
24 | 2574755.4014 | 1205851.2791
25 | 2574752.6522 | 1205835.6404
26 | 2574750.2981 | 1205822.2496
27 | 2574806.8914 | 1205904.0418
28 | 2574747.1652 | 1205804.4419
29 | 2574825.1858 | 1205906.3886
30 | 2574689.994 | 1205834.2789
31 | 2574669.1964 | 1205820.7713
32 | 2574692.2053 | 1205835.7151
33 | 2574654.8297 | 1205843.8898
34 | 2574712.1079 | 1205644.2797
35 | 2574777.2405 | 1205806.3369
36 | 2574786.875 | 1205806.9439
37 | 2574772.0875 | 1205590.1274
38 | 2574794.5046 | 1205597.2373
39 | 2574802.6216 | 1205569.1301
40 | 2574814.7181 | 1205614.2083
41 | 2574810.9653 | 1205544.447
42 | 2574836.0266 | 1205621.9375
43 | 2574829.752 | 1205504.5478
44 | 2574812.8889 | 1205807.7595
45 | 2574808.6779 | 1205806.7749
46 | 2574945.562 | 1205492.8407
47 | 2574924.4889 | 1205495.5538
48 | 2574969.7923 | 1205489.9186
49 | 2574908.1231 | 1205497.7118
50 | 2574985.6323 | 1205488.0083
51 | 2574897.5219 | 1205499.1097
52 | 2575020.1032 | 1205480.7547
53 | 2574885.1314 | 1205500.7436
54 | 2575034.4516 | 1205477.4173
55 | 2574963.806 | 1205355.3883
56 | 2574972.1016 | 1205354.8007
57 | 2574950.9244 | 1205369.4682
58 | 2574836.6296 | 1205622.1563
59 | 2574842.7666 | 1205624.3823
60 | 2574849.0594 | 1205626.6649
61 | 2574861.4389 | 1205631.1553
62 | 2574865.9761 | 1205632.8011
63 | 2574873.8162 | 1205635.645
64 | 2574825.9337 | 1205424.6867
65 | 2574826.4175 | 1205424.7534
66 | 2574806.7208 | 1205422.0403
67 | 2574848.0916 | 1205427.7388
68 | 2574802.1819 | 1205421.4151
69 | 2574836.9848 | 1205469.3093
70 | 2574907.3338 | 1205417.1019
71 | 2574782.6693 | 1205418.7275
72 | 2574834.2402 | 1205479.5816
73 | 2574949.7412 | 1205370.7614
74 | 2574939.0442 | 1205382.4516
75 | 2574779.2772 | 1205418.2602
76 | 2574877.9875 | 1205637.1581
77 | 2574879.9482 | 1205637.8692
78 | 2574886.057 | 1205640.0851
79 | 2574896.5534 | 1205665.6867
80 | 2574897.6297 | 1205644.2829
81 | 2574870.0047 | 1205502.7382
82 | 2574866.6791 | 1205503.1768
83 | 2574852.9577 | 1205504.9861
84 | 2574846 | 1205505.9036
85 | 2574736.4394 | 1205418.507
86 | 2574700.2596 | 1205428.2548
87 | 2574838.9544 | 1205491.824
88 | 2574792.5955 | 1205606.1837

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1