## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_498-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_498-2_0_4_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_498-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_498-2_0_4_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_498-2_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_498-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_498-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_498-2_0_4_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_498-2_0_4_node_92 | 0.4 | n |  | TRUE
9 | bus_LV_498-2_0_4_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_498-2_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_498-2_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_498-2_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_498-2_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_498-2_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_498-2_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_498-2_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_498-2_0_4_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_498-2_0_4_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_498-2_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_498-2_0_4_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_498-2_0_4_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_498-2_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_498-2_0_4_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_498-2_0_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_498-2_0_4_node_101 | 0.4 | n |  | TRUE
26 | bus_LV_498-2_0_4_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_498-2_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_498-2_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_498-2_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_498-2_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_498-2_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_498-2_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_498-2_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_498-2_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_498-2_0_4_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_498-2_0_4_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_498-2_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_498-2_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_498-2_0_4_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_498-2_0_4_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_498-2_0_4_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_498-2_0_4_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_498-2_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_498-2_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_498-2_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_498-2_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_498-2_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_498-2_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_498-2_0_4_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_498-2_0_4_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_498-2_0_4_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_498-2_0_4_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_498-2_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_498-2_0_4_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_498-2_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_498-2_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_498-2_0_4_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_498-2_0_4_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_498-2_0_4_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_498-2_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_498-2_0_4_node_106 | 0.4 | n |  | TRUE
62 | bus_LV_498-2_0_4_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_498-2_0_4_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_498-2_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_498-2_0_4_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_498-2_0_4_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_498-2_0_4_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_498-2_0_4_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_498-2_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_498-2_0_4_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_498-2_0_4_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_498-2_0_4_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_498-2_0_4_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_498-2_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_498-2_0_4_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_498-2_0_4_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_498-2_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_498-2_0_4_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_498-2_0_4_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_498-2_0_4_node_50 | 0.4 | n |  | TRUE
81 | bus_LV_498-2_0_4_node_52 | 0.4 | n |  | TRUE
82 | bus_LV_498-2_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_498-2_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_498-2_0_4_node_54 | 0.4 | n |  | TRUE
85 | bus_LV_498-2_0_4_node_56 | 0.4 | n |  | TRUE
86 | bus_LV_498-2_0_4_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_498-2_0_4_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_498-2_0_4_node_60 | 0.4 | n |  | TRUE
89 | bus_LV_498-2_0_4_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_498-2_0_4_node_99 | 0.4 | n |  | TRUE
91 | bus_LV_498-2_0_4_node_104 | 0.4 | n |  | TRUE
92 | bus_LV_498-2_0_4_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_498-2_0_4_node_103 | 0.4 | n |  | TRUE
94 | bus_LV_498-2_0_4_node_64 | 0.4 | n |  | TRUE
95 | bus_LV_498-2_0_4_node_65 | 0.4 | n |  | TRUE
96 | bus_LV_498-2_0_4_node_66 | 0.4 | n |  | TRUE
97 | bus_LV_498-2_0_4_node_67 | 0.4 | n |  | TRUE
98 | bus_LV_498-2_0_4_node_71 | 0.4 | n |  | TRUE
99 | bus_LV_498-2_0_4_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_498-2_0_4_node_80 | 0.4 | n |  | TRUE
101 | bus_LV_498-2_0_4_node_83 | 0.4 | n |  | TRUE
102 | bus_LV_498-2_0_4_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_498-2_0_4_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_498-2_0_4_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_498-2_0_4_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_498-2_0_4_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_498-2_0_4_node_107 | 0.4 | n |  | TRUE
108 | bus_MV_324_1_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_498-2_0_4_load_0 | 0 | 0.0042517 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_498-2_0_4_load_4 | 1 | 0.0042621 | 0.0010682 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_498-2_0_4_load_2 | 2 | 0.00088727 | 0.00022237 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_498-2_0_4_load_1 | 3 | 0.0045436 | 0.0011387 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_498-2_0_4_load_5 | 5 | 0.0045668 | 0.0011445 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_498-2_0_4_load_6 | 6 | 0.0032334 | 0.00081036 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_498-2_0_4_load_36 | 7 | 0.00094789 | 0.00023756 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_498-2_0_4_load_92 | 8 | 0.002051 | 0.00051403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_498-2_0_4_load_37 | 9 | 0.00037485 | 9.3947e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_498-2_0_4_load_7 | 10 | 0.00054857 | 0.00013748 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_498-2_0_4_load_8 | 11 | 0.0013025 | 0.00032643 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_498-2_0_4_load_9 | 12 | 0.0035253 | 0.00088352 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_498-2_0_4_load_57 | 16 | 0.00038191 | 9.5715e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_498-2_0_4_load_58 | 17 | 0.00092172 | 0.00023101 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_498-2_0_4_load_73 | 18 | 0.0011019 | 0.00027615 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_498-2_0_4_load_46 | 21 | 0.0014477 | 0.00036283 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_498-2_0_4_load_81 | 23 | 0.00029984 | 7.5146e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_498-2_0_4_load_84 | 26 | 0.00040583 | 0.00010171 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_498-2_0_4_load_45 | 27 | 0.0020427 | 0.00051196 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_498-2_0_4_load_14 | 28 | 0.0089613 | 0.0022459 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_498-2_0_4_load_18 | 32 | 0.0023775 | 0.00059587 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_498-2_0_4_load_19 | 33 | 0.0028207 | 0.00070692 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_498-2_0_4_load_20 | 34 | 0.0011606 | 0.00029086 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_498-2_0_4_load_91 | 35 | 0.0027436 | 0.0006876 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_498-2_0_4_load_89 | 36 | 0.0058084 | 0.0014557 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_498-2_0_4_load_51 | 37 | 0.0013914 | 0.00034873 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_498-2_0_4_load_55 | 38 | 0.00091416 | 0.00022911 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_498-2_0_4_load_98 | 39 | 0.0056199 | 0.0014085 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_498-2_0_4_load_90 | 40 | 0.049458 | 0.012395 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_498-2_0_4_load_49 | 41 | 0.0030926 | 0.00077507 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_498-2_0_4_load_53 | 42 | 0.0044733 | 0.0011211 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_498-2_0_4_load_21 | 43 | 0.00086723 | 0.00021735 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_498-2_0_4_load_22 | 44 | 0.0094534 | 0.0023693 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_498-2_0_4_load_24 | 46 | 0.0066544 | 0.0016677 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_498-2_0_4_load_26 | 48 | 0.0018456 | 0.00046255 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_498-2_0_4_load_93 | 49 | 0.0038406 | 0.00096255 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_498-2_0_4_load_97 | 50 | 0.0090356 | 0.0022645 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_498-2_0_4_load_68 | 51 | 0.00037579 | 9.4182e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_498-2_0_4_load_27 | 52 | 0.0005417 | 0.00013576 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_498-2_0_4_load_28 | 53 | 0.0011294 | 0.00028306 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_498-2_0_4_load_29 | 54 | 0.005411 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_498-2_0_4_load_30 | 55 | 0.00044823 | 0.00011234 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_498-2_0_4_load_31 | 56 | 0.00088955 | 0.00022294 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_498-2_0_4_load_69 | 57 | 0.0004817 | 0.00012073 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_498-2_0_4_load_70 | 58 | 0.00082505 | 0.00020678 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_498-2_0_4_load_32 | 59 | 0.00040116 | 0.00010054 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_498-2_0_4_load_33 | 60 | 0.0022812 | 0.00057172 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_498-2_0_4_load_106 | 61 | 0.0014543 | 0.00036449 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_498-2_0_4_load_102 | 62 | 0.0015153 | 0.00037977 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_498-2_0_4_load_34 | 63 | 0.00055712 | 0.00013963 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_498-2_0_4_load_47 | 64 | 0.00083923 | 0.00021033 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_498-2_0_4_load_39 | 65 | 0.00026683 | 6.6874e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_498-2_0_4_load_40 | 66 | 0.0011593 | 0.00029054 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_498-2_0_4_load_44 | 69 | 0.0033298 | 0.00083454 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_498-2_0_4_load_76 | 70 | 0.0013367 | 0.00033502 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_498-2_0_4_load_74 | 71 | 0.001963 | 0.00049198 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_498-2_0_4_load_75 | 73 | 0.0027918 | 0.00069968 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_498-2_0_4_load_88 | 76 | 0.00061772 | 0.00015482 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_498-2_0_4_load_59 | 78 | 0.0014236 | 0.0003568 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_498-2_0_4_load_48 | 79 | 0.0013406 | 0.00033599 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_498-2_0_4_load_50 | 80 | 0.0016902 | 0.00042361 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_498-2_0_4_load_52 | 81 | 0.0033989 | 0.00085184 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_498-2_0_4_load_77 | 83 | 0.00066583 | 0.00016687 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_498-2_0_4_load_54 | 84 | 0.00056569 | 0.00014177 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_498-2_0_4_load_56 | 85 | 0.0042779 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_498-2_0_4_load_94 | 86 | 0.0048442 | 0.0012141 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_498-2_0_4_load_60 | 88 | 0.0011485 | 0.00028785 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_498-2_0_4_load_62 | 89 | 0.00031668 | 7.9367e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_498-2_0_4_load_99 | 90 | 0.0038643 | 0.00096849 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_498-2_0_4_load_82 | 92 | 0.00084105 | 0.00021079 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_498-2_0_4_load_103 | 93 | 0.002778 | 0.00069623 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_498-2_0_4_load_64 | 94 | 0.0038012 | 0.00095268 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_498-2_0_4_load_65 | 95 | 0.0016714 | 0.0004189 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_498-2_0_4_load_66 | 96 | 0.0010951 | 0.00027446 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_498-2_0_4_load_71 | 98 | 0.00041635 | 0.00010435 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_498-2_0_4_load_87 | 99 | 0.0029139 | 0.0007303 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_498-2_0_4_load_80 | 100 | 0.000915 | 0.00022932 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_498-2_0_4_load_83 | 101 | 0.0017191 | 0.00043086 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_498-2_0_4_load_78 | 102 | 0.0029511 | 0.00073962 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_498-2_0_4_load_108 | 103 | 0.0020348 | 0.00050997 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_498-2_0_4_load_96 | 105 | 0.0013937 | 0.00034929 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_498-2_0_4_load_105 | 106 | 0.0027809 | 0.00069695 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_498-2_0_4_load_107 | 107 | 0.0068949 | 0.001728 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 106 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_498-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_498-2_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.015601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_498-2_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.031126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_498-2_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0081492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_498-2_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.046063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_498-2_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.026373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_498-2_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.028398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_498-2_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0072182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_498-2_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.017473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_498-2_0_4_line_9 | NAYY 4x150 SE | 9 | 22 | 0.011921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_498-2_0_4_line_10 | NAYY 4x150 SE | 10 | 11 | 0.022078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_498-2_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0089375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_498-2_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.030911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_498-2_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.018506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_498-2_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.019123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_498-2_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.03012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_498-2_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.016367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_498-2_0_4_line_17 | NAYY 4x150 SE | 15 | 18 | 0.024955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_498-2_0_4_line_18 | NAYY 4x150 SE | 16 | 22 | 0.047969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_498-2_0_4_line_19 | NAYY 4x150 SE | 17 | 23 | 0.038872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_498-2_0_4_line_20 | NAYY 4x150 SE | 18 | 24 | 0.010351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_498-2_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.011171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_498-2_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.025228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_498-2_0_4_line_23 | NAYY 4x150 SE | 20 | 25 | 0.025496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_498-2_0_4_line_24 | NAYY 4x150 SE | 20 | 26 | 0.027253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_498-2_0_4_line_25 | NAYY 4x150 SE | 21 | 27 | 0.012737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_498-2_0_4_line_26 | NAYY 4x150 SE | 24 | 64 | 0.0051921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_498-2_0_4_line_27 | NAYY 4x150 SE | 24 | 63 | 0.039592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_498-2_0_4_line_28 | NAYY 4x150 SE | 25 | 103 | 0.04502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_498-2_0_4_line_29 | NAYY 4x150 SE | 25 | 104 | 0.019553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_498-2_0_4_line_30 | NAYY 4x150 SE | 26 | 101 | 0.018486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_498-2_0_4_line_31 | NAYY 4x150 SE | 27 | 64 | 0.017077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_498-2_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.026379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_498-2_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.030132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_498-2_0_4_line_34 | NAYY 4x150 SE | 29 | 31 | 0.023582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_498-2_0_4_line_35 | NAYY 4x150 SE | 29 | 32 | 0.01595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_498-2_0_4_line_36 | NAYY 4x150 SE | 30 | 33 | 0.036321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_498-2_0_4_line_37 | NAYY 4x150 SE | 30 | 34 | 0.019427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_498-2_0_4_line_38 | NAYY 4x150 SE | 31 | 35 | 0.0096175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_498-2_0_4_line_39 | NAYY 4x150 SE | 31 | 36 | 0.0137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_498-2_0_4_line_40 | NAYY 4x150 SE | 32 | 37 | 0.022421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_498-2_0_4_line_41 | NAYY 4x150 SE | 33 | 38 | 0.0021706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_498-2_0_4_line_42 | NAYY 4x150 SE | 35 | 39 | 0.023618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_498-2_0_4_line_43 | NAYY 4x150 SE | 36 | 40 | 0.023675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_498-2_0_4_line_44 | NAYY 4x150 SE | 37 | 41 | 0.010241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_498-2_0_4_line_45 | NAYY 4x150 SE | 38 | 42 | 0.01911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_498-2_0_4_line_46 | NAYY 4x150 SE | 41 | 79 | 0.0097996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_498-2_0_4_line_47 | NAYY 4x150 SE | 42 | 84 | 0.0023391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_498-2_0_4_line_48 | NAYY 4x150 SE | 43 | 44 | 0.020518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_498-2_0_4_line_49 | NAYY 4x150 SE | 43 | 45 | 0.013019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_498-2_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.028269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_498-2_0_4_line_51 | NAYY 4x150 SE | 45 | 47 | 0.006649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_498-2_0_4_line_52 | NAYY 4x150 SE | 45 | 48 | 0.025242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_498-2_0_4_line_53 | NAYY 4x150 SE | 47 | 49 | 0.020881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_498-2_0_4_line_54 | NAYY 4x150 SE | 48 | 50 | 0.012826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_498-2_0_4_line_55 | NAYY 4x150 SE | 49 | 51 | 0.005415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_498-2_0_4_line_56 | NAYY 4x150 SE | 51 | 96 | 0.010105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_498-2_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.012091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_498-2_0_4_line_58 | NAYY 4x150 SE | 52 | 54 | 0.0073392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_498-2_0_4_line_59 | NAYY 4x150 SE | 53 | 55 | 0.011691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_498-2_0_4_line_60 | NAYY 4x150 SE | 54 | 56 | 0.024397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_498-2_0_4_line_61 | NAYY 4x150 SE | 55 | 57 | 0.012542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_498-2_0_4_line_62 | NAYY 4x150 SE | 57 | 58 | 0.00054752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_498-2_0_4_line_63 | NAYY 4x150 SE | 58 | 98 | 0.026974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_498-2_0_4_line_64 | NAYY 4x150 SE | 59 | 60 | 0.0088374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_498-2_0_4_line_65 | NAYY 4x150 SE | 60 | 61 | 0.040314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_498-2_0_4_line_66 | NAYY 4x150 SE | 61 | 62 | 0.0080375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_498-2_0_4_line_67 | NAYY 4x150 SE | 62 | 104 | 0.026788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_498-2_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.0084741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_498-2_0_4_line_69 | NAYY 4x150 SE | 65 | 67 | 0.0040942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_498-2_0_4_line_70 | NAYY 4x150 SE | 66 | 68 | 0.014603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_498-2_0_4_line_71 | NAYY 4x150 SE | 67 | 69 | 0.011052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_498-2_0_4_line_72 | NAYY 4x150 SE | 68 | 70 | 0.017207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_498-2_0_4_line_73 | NAYY 4x150 SE | 68 | 71 | 0.010901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_498-2_0_4_line_74 | NAYY 4x150 SE | 69 | 74 | 0.017063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_498-2_0_4_line_75 | NAYY 4x150 SE | 70 | 75 | 0.019869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_498-2_0_4_line_76 | NAYY 4x150 SE | 71 | 72 | 0.013279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_498-2_0_4_line_77 | NAYY 4x150 SE | 72 | 73 | 0.007379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_498-2_0_4_line_78 | NAYY 4x150 SE | 73 | 76 | 0.015933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_498-2_0_4_line_79 | NAYY 4x150 SE | 74 | 77 | 0.005851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_498-2_0_4_line_80 | NAYY 4x150 SE | 74 | 78 | 0.032122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_498-2_0_4_line_81 | NAYY 4x150 SE | 75 | 101 | 0.0044024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_498-2_0_4_line_82 | NAYY 4x150 SE | 75 | 99 | 0.025517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_498-2_0_4_line_83 | NAYY 4x150 SE | 76 | 100 | 0.0083122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_498-2_0_4_line_84 | NAYY 4x150 SE | 77 | 91 | 0.025611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_498-2_0_4_line_85 | NAYY 4x150 SE | 78 | 88 | 0.0096098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_498-2_0_4_line_86 | NAYY 4x150 SE | 79 | 80 | 0.022663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_498-2_0_4_line_87 | NAYY 4x150 SE | 80 | 81 | 0.0059959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_498-2_0_4_line_88 | NAYY 4x150 SE | 81 | 82 | 0.037842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_498-2_0_4_line_89 | NAYY 4x150 SE | 82 | 83 | 0.026096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_498-2_0_4_line_90 | NAYY 4x150 SE | 83 | 102 | 0.0029462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_498-2_0_4_line_91 | NAYY 4x150 SE | 84 | 85 | 0.0046905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_498-2_0_4_line_92 | NAYY 4x150 SE | 85 | 86 | 0.018122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_498-2_0_4_line_93 | NAYY 4x150 SE | 86 | 87 | 0.017413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_498-2_0_4_line_94 | NAYY 4x150 SE | 87 | 105 | 0.020336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_498-2_0_4_line_95 | NAYY 4x150 SE | 88 | 89 | 0.0037075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_498-2_0_4_line_96 | NAYY 4x150 SE | 89 | 90 | 0.0041536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_498-2_0_4_line_97 | NAYY 4x150 SE | 90 | 92 | 0.018642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_498-2_0_4_line_98 | NAYY 4x150 SE | 91 | 93 | 0.01514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_498-2_0_4_line_99 | NAYY 4x150 SE | 92 | 97 | 0.011718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_498-2_0_4_line_100 | NAYY 4x150 SE | 93 | 106 | 0.037545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_498-2_0_4_line_101 | NAYY 4x150 SE | 94 | 95 | 0.03911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_498-2_0_4_line_102 | NAYY 4x150 SE | 94 | 96 | 0.032718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_498-2_0_4_line_103 | NAYY 4x150 SE | 95 | 97 | 0.025149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_498-2_0_4_line_104 | NAYY 4x150 SE | 98 | 99 | 0.00032685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_498-2_0_4_line_105 | NAYY 4x150 SE | 100 | 102 | 0.012322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
106 | LV_498-2_0_4_line_106 | NAYY 4x150 SE | 106 | 107 | 0.023229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_498-2_0_4_trafo_105 | 0.25 MVA 20/0.4 kV | 108 | 106 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2577954.9911 | 1204749.6209 | 2577910.6413 | 1204658.9117
1 | 2577969.3635 | 1204755.5799 | 2577962.472 | 1204752.1009 | 2577954.9911 | 1204749.6209
2 | 2577997.1501 | 1204769.6071 | 2577969.3635 | 1204755.5799
3 | 2578004.4249 | 1204773.2795 | 2577997.1501 | 1204769.6071
4 | 2578004.4249 | 1204773.2795 | 2578041.4159 | 1204800.7293
5 | 2578004.4249 | 1204773.2795 | 2577983.1843 | 1204788.9112
6 | 2578041.4159 | 1204800.7293 | 2578064.2209 | 1204817.6522
7 | 2577976.0904 | 1204790.2449 | 2577983.1843 | 1204788.9112
8 | 2578078.2524 | 1204828.0645 | 2578064.2209 | 1204817.6522
9 | 2578087.8465 | 1204835.139 | 2578086.1763 | 1204833.9445 | 2578078.2524 | 1204828.0645
10 | 2578129.0881 | 1204905.2547 | 2578129.3169 | 1204905.325 | 2578148.4515 | 1204915.8501
11 | 2578120.5446 | 1204902.6302 | 2578129.0881 | 1204905.2547
12 | 2578173.7279 | 1204933.4996 | 2578166.9998 | 1204928.2437 | 2578157.0833 | 1204920.5981 | 2578148.4515 | 1204915.8501
13 | 2578102.8546 | 1204897.1957 | 2578120.5446 | 1204902.6302
14 | 2578173.7279 | 1204933.4996 | 2578180.6551 | 1204941.1785 | 2578185.1479 | 1204948.7439
15 | 2578102.8546 | 1204897.1957 | 2578113.9087 | 1204869.1777
16 | 2578102.8546 | 1204897.1957 | 2578086.6441 | 1204894.9402
17 | 2578185.1479 | 1204948.7439 | 2578171.2942 | 1204969.5
18 | 2578087.8465 | 1204835.139 | 2578112.1146 | 1204852.5481 | 2578115.5601 | 1204856.6043 | 2578115.4973 | 1204862.2966 | 2578114.5431 | 1204867.5697 | 2578113.9087 | 1204869.1777
19 | 2578086.6441 | 1204894.9402 | 2578079.2701 | 1204893.9141 | 2578049.022 | 1204885.3863
20 | 2578165.5476 | 1204978.1098 | 2578171.2942 | 1204969.5
21 | 2578121.7484 | 1204938.3489 | 2578110.5533 | 1204938.7792
22 | 2578121.7484 | 1204938.3489 | 2578123.5054 | 1204944.5347 | 2578138.1938 | 1204956.2649
23 | 2578111.9402 | 1204964.2326 | 2578110.5533 | 1204938.7792
24 | 2578110.5533 | 1204938.7792 | 2578083.3208 | 1204939.8403
25 | 2578148.1466 | 1204964.2133 | 2578138.1938 | 1204956.2649
26 | 2578165.5476 | 1204978.1098 | 2578161.4904 | 1204974.8698
27 | 2578165.5476 | 1204978.1098 | 2578167.2804 | 1204981.8611 | 2578177.92 | 1205002.1221 | 2578178.1602 | 1205009.5364 | 2578174.9533 | 1205013.5754
28 | 2578089.3222 | 1204996.1112 | 2578104.7174 | 1204991.9744 | 2578108.8294 | 1204968.4352 | 2578111.9402 | 1204964.2326
29 | 2578122.7783 | 1204980.5239 | 2578111.9402 | 1204964.2326
30 | 2578064.8486 | 1204940.5601 | 2578083.3208 | 1204939.8403
31 | 2578148.1466 | 1204964.2133 | 2578161.4904 | 1204974.8698
32 | 2577895.9784 | 1204822.631 | 2577888.3995 | 1204840.2911 | 2577886.7369 | 1204847.2567
33 | 2577879.7413 | 1204876.5655 | 2577886.7369 | 1204847.2567
34 | 2577873.196 | 1204816.3011 | 2577895.9784 | 1204822.631
35 | 2577895.9784 | 1204822.631 | 2577911.5653 | 1204826.0142
36 | 2577879.7413 | 1204876.5655 | 2577871.8339 | 1204875.4054 | 2577854.8634 | 1204871.2107 | 2577844.0333 | 1204870.5854
37 | 2577899.019 | 1204879.3843 | 2577879.7413 | 1204876.5655
38 | 2577873.196 | 1204816.3011 | 2577863.807 | 1204814.2173
39 | 2577873.196 | 1204816.3011 | 2577883.2821 | 1204810.1046 | 2577885.0831 | 1204809.631
40 | 2577911.5653 | 1204826.0142 | 2577919.8974 | 1204827.8228 | 2577933.1445 | 1204832.0146
41 | 2577844.0333 | 1204870.5854 | 2577841.8663 | 1204870.4603
42 | 2577840.6232 | 1204809.7632 | 2577840.6232 | 1204809.7632 | 2577851.7658 | 1204811.5449 | 2577863.807 | 1204814.2173
43 | 2577885.0831 | 1204809.631 | 2577907.9799 | 1204803.6093
44 | 2577933.1445 | 1204832.0146 | 2577942.9087 | 1204835.1043
45 | 2577822.7867 | 1204870.1009 | 2577829.3609 | 1204869.7383 | 2577841.8663 | 1204870.4603
46 | 2577952.2517 | 1204838.0607 | 2577942.9087 | 1204835.1043
47 | 2577822.7867 | 1204870.1009 | 2577820.4511 | 1204870.2297
48 | 2577838.615 | 1204990.9013 | 2577842.3203 | 1204991.6016 | 2577857.8549 | 1204992.2775 | 2577859.0487 | 1204992.1774
49 | 2577872.0211 | 1204991.0796 | 2577865.0711 | 1204991.6725 | 2577859.0487 | 1204992.1774
50 | 2577838.615 | 1204990.9013 | 2577810.8373 | 1204985.6515
51 | 2577872.0211 | 1204991.0796 | 2577878.6511 | 1204990.3657
52 | 2577872.0211 | 1204991.0796 | 2577874.3838 | 1204965.9484
53 | 2577878.6511 | 1204990.3657 | 2577879.8021 | 1205011.2148
54 | 2577875.5843 | 1204953.1788 | 2577874.3838 | 1204965.9484
55 | 2577880.1006 | 1205016.6216 | 2577879.8021 | 1205011.2148
56 | 2577880.6576 | 1205026.7116 | 2577880.6576 | 1205026.7116 | 2577880.1006 | 1205016.6216
57 | 2578069.1473 | 1205029.9841 | 2578067.6996 | 1205017.9798
58 | 2578069.1473 | 1205029.9841 | 2578070.026 | 1205037.2705
59 | 2578066.2998 | 1205006.3727 | 2578067.6996 | 1205017.9798
60 | 2578073.1013 | 1205061.473 | 2578070.6681 | 1205042.5945 | 2578070.026 | 1205037.2705
61 | 2578065.0219 | 1204993.8993 | 2578065.4188 | 1204999.0676 | 2578066.2998 | 1205006.3727
62 | 2578065.0219 | 1204993.8993 | 2578064.9799 | 1204993.3534
63 | 2578064.9799 | 1204993.3534 | 2578063.3094 | 1204971.6047 | 2578062.8334 | 1204966.4654
64 | 2578123.6487 | 1205031.717 | 2578130.5943 | 1205037.1813
65 | 2578150.4799 | 1205001.6291 | 2578123.6487 | 1205031.717
66 | 2578144.0865 | 1204996.7581 | 2578150.4799 | 1205001.6291
67 | 2578122.7783 | 1204980.5239 | 2578144.0865 | 1204996.7581
68 | 2578001.8916 | 1204954.2625 | 2578010.0364 | 1204951.9232
69 | 2577997.9564 | 1204955.3927 | 2578001.8916 | 1204954.2625
70 | 2578024.0718 | 1204947.892 | 2578010.0364 | 1204951.9232
71 | 2577997.9564 | 1204955.3927 | 2577987.4291 | 1204958.7574
72 | 2578024.0718 | 1204947.892 | 2578040.9548 | 1204944.5688
73 | 2578024.0718 | 1204947.892 | 2578022.2263 | 1204940.4281 | 2578019.2629 | 1204939.1881
74 | 2577971.1756 | 1204963.9521 | 2577987.4291 | 1204958.7574
75 | 2578060.4496 | 1204940.7316 | 2578040.9548 | 1204944.5688
76 | 2578006.3041 | 1204937.8411 | 2578015.4842 | 1204937.607 | 2578019.2629 | 1204939.1881
77 | 2578006.3041 | 1204937.8411 | 2578006.7441 | 1204930.4752
78 | 2578005.5226 | 1204914.8326 | 2578005.6105 | 1204916.8987 | 2578007.2639 | 1204921.7731 | 2578006.7441 | 1204930.4752
79 | 2577971.1756 | 1204963.9521 | 2577965.6531 | 1204965.9292
80 | 2577971.1756 | 1204963.9521 | 2577971.4977 | 1204974.9125 | 2577970.4003 | 1204996.0413
81 | 2578060.4496 | 1204940.7316 | 2578064.8486 | 1204940.5601
82 | 2578060.4496 | 1204940.7316 | 2578062.8032 | 1204966.14
83 | 2578005.5226 | 1204914.8326 | 2578005.169 | 1204906.528
84 | 2577965.6531 | 1204965.9292 | 2577940.8969 | 1204972.7581
85 | 2577970.4003 | 1204996.0413 | 2577969.9019 | 1205005.6381
86 | 2577952.2517 | 1204838.0607 | 2577957.2971 | 1204839.6573 | 2577973.2982 | 1204846.4181
87 | 2577978.8213 | 1204848.7518 | 2577973.2982 | 1204846.4181
88 | 2578012.2387 | 1204866.3019 | 2577993.4999 | 1204854.9538 | 2577978.8213 | 1204848.7518
89 | 2578012.2387 | 1204866.3019 | 2578010.1749 | 1204882.096 | 2578010.2111 | 1204891.8679 | 2578010.1435 | 1204892.2582
90 | 2578010.1435 | 1204892.2582 | 2578009.6404 | 1204895.1612
91 | 2577820.4511 | 1204870.2297 | 2577815.7678 | 1204870.488
92 | 2577797.6729 | 1204871.4861 | 2577815.7678 | 1204870.488
93 | 2577780.2864 | 1204872.4451 | 2577797.6729 | 1204871.4861
94 | 2577780.2864 | 1204872.4451 | 2577790.0687 | 1204864.4153 | 2577793.4719 | 1204857.5303
95 | 2577969.9019 | 1205005.6381 | 2577969.7096 | 1205009.3406
96 | 2577969.4942 | 1205013.4887 | 2577969.7096 | 1205009.3406
97 | 2577969.4942 | 1205013.4887 | 2577968.5272 | 1205032.1059
98 | 2577940.8969 | 1204972.7581 | 2577940.3768 | 1204965.8229 | 2577941.55 | 1204957.7223
99 | 2577967.9195 | 1205043.8082 | 2577968.5272 | 1205032.1059
100 | 2577943.1982 | 1204920.5875 | 2577940.8132 | 1204933.7925 | 2577940.6425 | 1204947.2339 | 2577942.0974 | 1204953.9433 | 2577941.55 | 1204957.7223
101 | 2577903.6672 | 1205042.9391 | 2577934.9376 | 1205043.5304 | 2577942.7716 | 1205043.5964
102 | 2577903.6672 | 1205042.9391 | 2577889.236 | 1205042.6663 | 2577884.3591 | 1205036.2031 | 2577880.6576 | 1205026.7116
103 | 2577967.9195 | 1205043.8082 | 2577942.7716 | 1205043.5964
104 | 2578062.8334 | 1204966.4654 | 2578062.8032 | 1204966.14
105 | 2578005.169 | 1204906.528 | 2578005.169 | 1204906.528 | 2578009.012 | 1204898.7873 | 2578009.6404 | 1204895.1612
106 | 2577943.1982 | 1204920.5875 | 2577964.9989 | 1204912.5689

## bus_geodata
| x | y | coords
0 | 2577910.6413 | 1204658.9117
1 | 2577954.9911 | 1204749.6209
2 | 2577969.3635 | 1204755.5799
3 | 2577997.1501 | 1204769.6071
4 | 2578004.4249 | 1204773.2795
5 | 2578041.4159 | 1204800.7293
6 | 2577983.1843 | 1204788.9112
7 | 2578064.2209 | 1204817.6522
8 | 2577976.0904 | 1204790.2449
9 | 2578078.2524 | 1204828.0645
10 | 2578129.0881 | 1204905.2547
11 | 2578148.4515 | 1204915.8501
12 | 2578120.5446 | 1204902.6302
13 | 2578173.7279 | 1204933.4996
14 | 2578102.8546 | 1204897.1957
15 | 2578185.1479 | 1204948.7439
16 | 2578113.9087 | 1204869.1777
17 | 2578086.6441 | 1204894.9402
18 | 2578171.2942 | 1204969.5
19 | 2578121.7484 | 1204938.3489
20 | 2578110.5533 | 1204938.7792
21 | 2578138.1938 | 1204956.2649
22 | 2578087.8465 | 1204835.139
23 | 2578049.022 | 1204885.3863
24 | 2578165.5476 | 1204978.1098
25 | 2578111.9402 | 1204964.2326
26 | 2578083.3208 | 1204939.8403
27 | 2578148.1466 | 1204964.2133
28 | 2577886.7369 | 1204847.2567
29 | 2577895.9784 | 1204822.631
30 | 2577879.7413 | 1204876.5655
31 | 2577873.196 | 1204816.3011
32 | 2577911.5653 | 1204826.0142
33 | 2577844.0333 | 1204870.5854
34 | 2577899.019 | 1204879.3843
35 | 2577863.807 | 1204814.2173
36 | 2577885.0831 | 1204809.631
37 | 2577933.1445 | 1204832.0146
38 | 2577841.8663 | 1204870.4603
39 | 2577840.6232 | 1204809.7632
40 | 2577907.9799 | 1204803.6093
41 | 2577942.9087 | 1204835.1043
42 | 2577822.7867 | 1204870.1009
43 | 2577859.0487 | 1204992.1774
44 | 2577838.615 | 1204990.9013
45 | 2577872.0211 | 1204991.0796
46 | 2577810.8373 | 1204985.6515
47 | 2577878.6511 | 1204990.3657
48 | 2577874.3838 | 1204965.9484
49 | 2577879.8021 | 1205011.2148
50 | 2577875.5843 | 1204953.1788
51 | 2577880.1006 | 1205016.6216
52 | 2578069.1473 | 1205029.9841
53 | 2578067.6996 | 1205017.9798
54 | 2578070.026 | 1205037.2705
55 | 2578066.2998 | 1205006.3727
56 | 2578073.1013 | 1205061.473
57 | 2578065.0219 | 1204993.8993
58 | 2578064.9799 | 1204993.3534
59 | 2578130.5943 | 1205037.1813
60 | 2578123.6487 | 1205031.717
61 | 2578150.4799 | 1205001.6291
62 | 2578144.0865 | 1204996.7581
63 | 2578174.9533 | 1205013.5754
64 | 2578161.4904 | 1204974.8698
65 | 2578001.8916 | 1204954.2625
66 | 2578010.0364 | 1204951.9232
67 | 2577997.9564 | 1204955.3927
68 | 2578024.0718 | 1204947.892
69 | 2577987.4291 | 1204958.7574
70 | 2578040.9548 | 1204944.5688
71 | 2578019.2629 | 1204939.1881
72 | 2578006.3041 | 1204937.8411
73 | 2578006.7441 | 1204930.4752
74 | 2577971.1756 | 1204963.9521
75 | 2578060.4496 | 1204940.7316
76 | 2578005.5226 | 1204914.8326
77 | 2577965.6531 | 1204965.9292
78 | 2577970.4003 | 1204996.0413
79 | 2577952.2517 | 1204838.0607
80 | 2577973.2982 | 1204846.4181
81 | 2577978.8213 | 1204848.7518
82 | 2578012.2387 | 1204866.3019
83 | 2578010.1435 | 1204892.2582
84 | 2577820.4511 | 1204870.2297
85 | 2577815.7678 | 1204870.488
86 | 2577797.6729 | 1204871.4861
87 | 2577780.2864 | 1204872.4451
88 | 2577969.9019 | 1205005.6381
89 | 2577969.7096 | 1205009.3406
90 | 2577969.4942 | 1205013.4887
91 | 2577940.8969 | 1204972.7581
92 | 2577968.5272 | 1205032.1059
93 | 2577941.55 | 1204957.7223
94 | 2577903.6672 | 1205042.9391
95 | 2577942.7716 | 1205043.5964
96 | 2577880.6576 | 1205026.7116
97 | 2577967.9195 | 1205043.8082
98 | 2578062.8334 | 1204966.4654
99 | 2578062.8032 | 1204966.14
100 | 2578005.169 | 1204906.528
101 | 2578064.8486 | 1204940.5601
102 | 2578009.6404 | 1204895.1612
103 | 2578089.3222 | 1204996.1112
104 | 2578122.7784 | 1204980.5239
105 | 2577793.4719 | 1204857.5303
106 | 2577943.1982 | 1204920.5875
107 | 2577964.9989 | 1204912.5689
108 | 2577940.8969 | 1204972.7581

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1