## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_498-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_498-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_498-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_498-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_498-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_498-7_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_498-7_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_498-7_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_498-7_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_498-7_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_498-7_0_3_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_498-7_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_498-7_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_498-7_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_498-7_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_498-7_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_498-7_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_498-7_0_3_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_498-7_0_3_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_498-7_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_498-7_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_498-7_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_498-7_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_498-7_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_498-7_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_498-7_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_498-7_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_498-7_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_498-7_0_3_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_498-7_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_498-7_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_498-7_0_3_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_498-7_0_3_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_498-7_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_498-7_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_498-7_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_498-7_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_498-7_0_3_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_498-7_0_3_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_498-7_0_3_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_498-7_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_498-7_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_498-7_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_498-7_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_498-7_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_498-7_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_498-7_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_498-7_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_498-7_0_3_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_498-7_0_3_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_498-7_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_498-7_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_498-7_0_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_498-7_0_3_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_498-7_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_498-7_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_498-7_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_498-7_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_498-7_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_498-7_0_3_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_498-7_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_498-7_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_498-7_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_498-7_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_498-7_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_498-7_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_498-7_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_498-7_0_3_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_498-7_0_3_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_498-7_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_498-7_0_3_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_498-7_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_498-7_0_3_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_498-7_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_498-7_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_498-7_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_498-7_0_3_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_498-7_0_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_498-7_0_3_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_498-7_0_3_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_498-7_0_3_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_498-7_0_3_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_498-7_0_3_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_498-7_0_3_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_498-7_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_498-7_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_498-7_0_3_node_85 | 0.4 | n |  | TRUE
87 | bus_MV_324_1_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_498-7_0_3_load_0 | 0 | 0.00086932 | 0.00021787 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_498-7_0_3_load_1 | 1 | 0.0022183 | 0.00055597 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_498-7_0_3_load_2 | 2 | 0.00077592 | 0.00019446 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_498-7_0_3_load_3 | 3 | 0.0024999 | 0.00062654 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_498-7_0_3_load_4 | 4 | 0.0015823 | 0.00039656 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_498-7_0_3_load_5 | 5 | 0.0049262 | 0.0012346 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_498-7_0_3_load_9 | 8 | 0.0037519 | 0.00094031 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_498-7_0_3_load_30 | 9 | 0.0017312 | 0.00043388 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_498-7_0_3_load_31 | 10 | 0.0033179 | 0.00083154 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_498-7_0_3_load_7 | 11 | 0.0047011 | 0.0011782 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_498-7_0_3_load_8 | 12 | 0.0019228 | 0.00048189 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_498-7_0_3_load_10 | 13 | 0.0011404 | 0.0002858 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_498-7_0_3_load_11 | 14 | 0.0044146 | 0.0011064 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_498-7_0_3_load_21 | 15 | 0.0018089 | 0.00045334 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_498-7_0_3_load_29 | 17 | 0.00083983 | 0.00021048 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_498-7_0_3_load_65 | 18 | 0.004257 | 0.0010669 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_498-7_0_3_load_13 | 19 | 0.0061147 | 0.0015325 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_498-7_0_3_load_14 | 20 | 0.003142 | 0.00078745 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_498-7_0_3_load_16 | 22 | 0.0041707 | 0.0010453 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_498-7_0_3_load_18 | 24 | 0.0065849 | 0.0016503 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_498-7_0_3_load_20 | 26 | 0.0016887 | 0.00042322 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_498-7_0_3_load_27 | 27 | 0.004483 | 0.0011235 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_498-7_0_3_load_67 | 28 | 0.0041691 | 0.0010449 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_498-7_0_3_load_40 | 29 | 0.0049821 | 0.0012486 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_498-7_0_3_load_28 | 30 | 0.0012677 | 0.00031773 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_498-7_0_3_load_73 | 31 | 0.002106 | 0.00052781 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_498-7_0_3_load_24 | 34 | 0.0064544 | 0.0016176 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_498-7_0_3_load_25 | 35 | 0.00055849 | 0.00013997 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_498-7_0_3_load_26 | 36 | 0.0020515 | 0.00051415 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_498-7_0_3_load_88 | 37 | 0.00085976 | 0.00021548 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_498-7_0_3_load_87 | 38 | 0.0054663 | 0.00137 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_498-7_0_3_load_63 | 39 | 0.00077513 | 0.00019427 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_498-7_0_3_load_32 | 40 | 0.0033417 | 0.00083752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_498-7_0_3_load_33 | 41 | 0.00087344 | 0.00021891 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_498-7_0_3_load_35 | 44 | 0.0077094 | 0.0019321 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_498-7_0_3_load_39 | 47 | 0.001744 | 0.00043708 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_498-7_0_3_load_68 | 48 | 0.0021093 | 0.00052864 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_498-7_0_3_load_46 | 50 | 0.0012187 | 0.00030544 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_498-7_0_3_load_48 | 51 | 0.0021383 | 0.00053592 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_498-7_0_3_load_70 | 52 | 0.00069726 | 0.00017475 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_498-7_0_3_load_71 | 53 | 0.0015123 | 0.00037901 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_498-7_0_3_load_45 | 54 | 0.00059559 | 0.00014927 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_498-7_0_3_load_42 | 56 | 0.0014292 | 0.00035819 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_498-7_0_3_load_44 | 57 | 0.0010088 | 0.00025282 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_498-7_0_3_load_56 | 59 | 0.0016318 | 0.00040898 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_498-7_0_3_load_57 | 60 | 0.0016872 | 0.00042286 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_498-7_0_3_load_51 | 61 | 0.0018606 | 0.0004663 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_498-7_0_3_load_52 | 63 | 0.001638 | 0.00041052 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_498-7_0_3_load_74 | 67 | 0.0052828 | 0.001324 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_498-7_0_3_load_75 | 68 | 0.0042848 | 0.0010739 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_498-7_0_3_load_66 | 69 | 0.0035259 | 0.00088366 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_498-7_0_3_load_72 | 70 | 0.00073951 | 0.00018534 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_498-7_0_3_load_62 | 71 | 0.0099818 | 0.0025017 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_498-7_0_3_load_76 | 72 | 0.0017317 | 0.000434 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_498-7_0_3_load_59 | 73 | 0.0029281 | 0.00073385 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_498-7_0_3_load_58 | 74 | 0.0057469 | 0.0014403 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_498-7_0_3_load_60 | 75 | 0.0061491 | 0.0015411 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_498-7_0_3_load_61 | 76 | 0.0083289 | 0.0020874 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_498-7_0_3_load_77 | 77 | 0.00052101 | 0.00013058 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_498-7_0_3_load_89 | 79 | 0.0012153 | 0.00030457 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_498-7_0_3_load_83 | 80 | 0.0047166 | 0.0011821 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_498-7_0_3_load_79 | 82 | 0.002113 | 0.00052957 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_498-7_0_3_load_80 | 83 | 0.0032316 | 0.00080992 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_498-7_0_3_load_84 | 85 | 0.0021033 | 0.00052713 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_498-7_0_3_load_85 | 86 | 0.0029466 | 0.00073849 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_498-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_498-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_498-7_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0048558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_498-7_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.015177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_498-7_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.023904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_498-7_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0092063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_498-7_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.009097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_498-7_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.01839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_498-7_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.032632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_498-7_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.019344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_498-7_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.011208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_498-7_0_3_line_11 | NAYY 4x150 SE | 9 | 17 | 0.002709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_498-7_0_3_line_12 | NAYY 4x150 SE | 10 | 18 | 0.013022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_498-7_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0075796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_498-7_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.01165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_498-7_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0074656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_498-7_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.014247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_498-7_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0094635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_498-7_0_3_line_18 | NAYY 4x150 SE | 16 | 33 | 0.024331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_498-7_0_3_line_19 | NAYY 4x150 SE | 16 | 34 | 0.023744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_498-7_0_3_line_20 | NAYY 4x150 SE | 17 | 30 | 0.0064531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_498-7_0_3_line_21 | NAYY 4x150 SE | 18 | 39 | 0.0089712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_498-7_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.018621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_498-7_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.016163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_498-7_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.016766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_498-7_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.011978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_498-7_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.013895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_498-7_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.045888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_498-7_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.016268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_498-7_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.013091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_498-7_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.020169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_498-7_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.0059386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_498-7_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.015376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_498-7_0_3_line_33 | NAYY 4x150 SE | 28 | 31 | 0.039425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_498-7_0_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.017945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_498-7_0_3_line_35 | NAYY 4x150 SE | 32 | 56 | 0.007966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_498-7_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0049894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_498-7_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.021509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_498-7_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0050193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_498-7_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.02099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_498-7_0_3_line_40 | NAYY 4x150 SE | 38 | 86 | 0.0086483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_498-7_0_3_line_41 | NAYY 4x150 SE | 39 | 76 | 0.0094521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_498-7_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.01485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_498-7_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.01185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_498-7_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.031047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_498-7_0_3_line_45 | NAYY 4x150 SE | 43 | 46 | 0.018791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_498-7_0_3_line_46 | NAYY 4x150 SE | 43 | 47 | 0.041768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_498-7_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.013331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_498-7_0_3_line_48 | NAYY 4x150 SE | 45 | 48 | 0.0049344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_498-7_0_3_line_49 | NAYY 4x150 SE | 45 | 49 | 0.028684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_498-7_0_3_line_50 | NAYY 4x150 SE | 46 | 50 | 0.016212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_498-7_0_3_line_51 | NAYY 4x150 SE | 47 | 51 | 0.010137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_498-7_0_3_line_52 | NAYY 4x150 SE | 48 | 52 | 0.018127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_498-7_0_3_line_53 | NAYY 4x150 SE | 49 | 53 | 0.046734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_498-7_0_3_line_54 | NAYY 4x150 SE | 50 | 54 | 0.031373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_498-7_0_3_line_55 | NAYY 4x150 SE | 51 | 55 | 0.0031328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_498-7_0_3_line_56 | NAYY 4x150 SE | 52 | 67 | 0.023922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_498-7_0_3_line_57 | NAYY 4x150 SE | 55 | 61 | 0.01767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_498-7_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0050728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_498-7_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.0089408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_498-7_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.010589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_498-7_0_3_line_61 | NAYY 4x150 SE | 59 | 74 | 0.0056881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_498-7_0_3_line_62 | NAYY 4x150 SE | 60 | 73 | 0.013292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_498-7_0_3_line_63 | NAYY 4x150 SE | 61 | 65 | 0.01261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_498-7_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.020076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_498-7_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.006449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_498-7_0_3_line_66 | NAYY 4x150 SE | 63 | 66 | 0.0014291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_498-7_0_3_line_67 | NAYY 4x150 SE | 64 | 67 | 0.02957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_498-7_0_3_line_68 | NAYY 4x150 SE | 64 | 68 | 0.021404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_498-7_0_3_line_69 | NAYY 4x150 SE | 65 | 69 | 0.033319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_498-7_0_3_line_70 | NAYY 4x150 SE | 65 | 70 | 0.0061313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_498-7_0_3_line_71 | NAYY 4x150 SE | 66 | 69 | 0.014948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_498-7_0_3_line_72 | NAYY 4x150 SE | 66 | 71 | 0.014681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_498-7_0_3_line_73 | NAYY 4x150 SE | 68 | 72 | 0.009554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_498-7_0_3_line_74 | NAYY 4x150 SE | 70 | 73 | 0.0012233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_498-7_0_3_line_75 | NAYY 4x150 SE | 71 | 75 | 0.019793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_498-7_0_3_line_76 | NAYY 4x150 SE | 72 | 77 | 0.0013329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_498-7_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.017812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_498-7_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.015018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_498-7_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.028498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_498-7_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.0038536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_498-7_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.039148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_498-7_0_3_line_82 | NAYY 4x150 SE | 81 | 85 | 0.013401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_498-7_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.0074153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_498-7_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0039613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_498-7_0_3_line_85 | NAYY 4x150 SE | 84 | 86 | 0.010825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_498-7_0_3_trafo_61 | 0.25 MVA 20/0.4 kV | 87 | 76 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2577820.4113 | 1204987.4609 | 2577839.1084 | 1204990.9946
1 | 2577820.4113 | 1204987.4609 | 2577810.3565 | 1204985.5606
2 | 2577805.5852 | 1204984.6588 | 2577810.3565 | 1204985.5606
3 | 2577805.5852 | 1204984.6588 | 2577790.6724 | 1204981.8404
4 | 2577767.0963 | 1204978.0809 | 2577772.9851 | 1204978.4976 | 2577790.6724 | 1204981.8404
5 | 2577757.913 | 1204977.4311 | 2577767.0963 | 1204978.0809
6 | 2577748.7921 | 1204977.1984 | 2577757.913 | 1204977.4311
7 | 2577757.913 | 1204977.4311 | 2577758.5331 | 1204966.3004 | 2577759.5512 | 1204959.1304
8 | 2577748.7921 | 1204977.1984 | 2577748.2307 | 1204985.7274 | 2577747.3553 | 1205009.7958
9 | 2577748.7921 | 1204977.1984 | 2577729.448 | 1204977.2973
10 | 2577761.127 | 1204948.0335 | 2577759.5512 | 1204959.1304
11 | 2577747.3553 | 1205009.7958 | 2577747.2568 | 1205012.503
12 | 2577716.4266 | 1204977.438 | 2577724.3837 | 1204977.3232 | 2577729.448 | 1204977.2973
13 | 2577761.127 | 1204948.0335 | 2577762.1926 | 1204940.5292
14 | 2577762.1926 | 1204940.5292 | 2577763.2021 | 1204933.4204 | 2577763.8752 | 1204929.0013
15 | 2577764.9994 | 1204921.6208 | 2577763.8752 | 1204929.0013
16 | 2577767.1447 | 1204907.5365 | 2577764.9994 | 1204921.6208
17 | 2577768.5697 | 1204898.1809 | 2577767.1447 | 1204907.5365
18 | 2577768.5697 | 1204898.1809 | 2577771.0426 | 1204873.9805
19 | 2577768.5697 | 1204898.1809 | 2577754.1153 | 1204899.6246 | 2577744.9696 | 1204900.7766
20 | 2577747.0222 | 1205018.9518 | 2577747.2568 | 1205012.503
21 | 2577716.4266 | 1204977.438 | 2577707.4564 | 1204977.5673
22 | 2577778.7566 | 1205071.6162 | 2577760.4544 | 1205075.0472
23 | 2577744.5677 | 1205078.0254 | 2577760.4544 | 1205075.0472
24 | 2577744.5677 | 1205078.0254 | 2577745.4952 | 1205061.2855
25 | 2577744.5677 | 1205078.0254 | 2577743.3947 | 1205085.7007 | 2577742.9921 | 1205089.8934
26 | 2577746.0258 | 1205047.4012 | 2577745.7148 | 1205057.3208 | 2577745.4952 | 1205061.2855
27 | 2577738.5613 | 1205135.5574 | 2577739.6842 | 1205122.6127 | 2577741.521 | 1205105.3185 | 2577742.9921 | 1205089.8934
28 | 2577742.9921 | 1205089.8934 | 2577726.8159 | 1205088.1704
29 | 2577746.0258 | 1205047.4012 | 2577746.2652 | 1205039.7646 | 2577746.4633 | 1205034.318
30 | 2577738.5613 | 1205135.5574 | 2577718.5526 | 1205133.0213
31 | 2577720.9107 | 1205087.5414 | 2577726.8159 | 1205088.1704
32 | 2577747.0222 | 1205018.9518 | 2577746.4633 | 1205034.318
33 | 2577679.441 | 1205128.0637 | 2577718.5526 | 1205133.0213
34 | 2577703.0663 | 1205085.6406 | 2577720.9107 | 1205087.5414
35 | 2577703.0663 | 1205085.6406 | 2577702.6017 | 1205093.5912
36 | 2577771.0426 | 1204873.9805 | 2577771.2281 | 1204868.9946
37 | 2577723.6288 | 1204903.4649 | 2577744.9696 | 1204900.7766
38 | 2577723.6288 | 1204903.4649 | 2577718.6488 | 1204904.0922
39 | 2577697.6811 | 1204904.0765 | 2577716.1846 | 1204904.4026 | 2577718.6488 | 1204904.0922
40 | 2577697.6811 | 1204904.0765 | 2577689.0342 | 1204903.9242
41 | 2577698.0053 | 1204977.7037 | 2577707.4564 | 1204977.5673
42 | 2577587.8829 | 1205058.479 | 2577588.3811 | 1205043.6374
43 | 2577587.4853 | 1205070.3221 | 2577587.8829 | 1205058.479
44 | 2577618.3664 | 1205074.2969 | 2577587.4853 | 1205070.3221
45 | 2577618.3664 | 1205074.2969 | 2577637.0563 | 1205076.7057
46 | 2577618.3664 | 1205074.2969 | 2577619.8166 | 1205061.5066 | 2577627.5827 | 1205033.6737
47 | 2577547.2631 | 1205011.8082 | 2577549.9335 | 1205024.869
48 | 2577547.2631 | 1205011.8082 | 2577551.6893 | 1205009.6272
49 | 2577521.4725 | 1205024.5127 | 2577530.5755 | 1205020.0313 | 2577547.2631 | 1205011.8082
50 | 2577637.0563 | 1205076.7057 | 2577635.3433 | 1205092.827
51 | 2577628.3908 | 1205023.6201 | 2577628.3908 | 1205023.6201 | 2577628.1697 | 1205031.5698 | 2577627.5827 | 1205033.6737
52 | 2577551.6893 | 1205009.6272 | 2577555.6524 | 1205007.6743 | 2577567.8964 | 1205001.5092
53 | 2577521.4725 | 1205024.5127 | 2577516.4335 | 1205001.4412 | 2577515.6655 | 1204978.3354
54 | 2577632.0281 | 1205124.0248 | 2577635.3433 | 1205092.827
55 | 2577630.3669 | 1205021.1891 | 2577628.3908 | 1205023.6201
56 | 2577589.7759 | 1204991.8971 | 2577588.75 | 1204992.1965 | 2577575.4065 | 1204997.7276 | 2577567.8964 | 1205001.5092
57 | 2577630.3669 | 1205021.1891 | 2577643.703 | 1205023.8182 | 2577647.7792 | 1205023.917
58 | 2577681.493 | 1205042.5422 | 2577681.468 | 1205047.6149
59 | 2577681.493 | 1205042.5422 | 2577690.3983 | 1205043.3377
60 | 2577681.493 | 1205042.5422 | 2577679.2232 | 1205033.6124 | 2577678.356 | 1205032.5456
61 | 2577696.0639 | 1205043.8438 | 2577690.3983 | 1205043.3377
62 | 2577667.5032 | 1205026.0727 | 2577674.5924 | 1205027.9156 | 2577678.356 | 1205032.5456
63 | 2577660.3852 | 1205024.2224 | 2577647.7792 | 1205023.917
64 | 2577624.4775 | 1204982.2231 | 2577628.7034 | 1204981.3734 | 2577644.3676 | 1204979.5918
65 | 2577624.4775 | 1204982.2231 | 2577618.1618 | 1204983.6143
66 | 2577645.7876 | 1204979.4303 | 2577644.3676 | 1204979.5918
67 | 2577618.1618 | 1204983.6143 | 2577589.7759 | 1204991.8971
68 | 2577618.1618 | 1204983.6143 | 2577614.8995 | 1204973.7323 | 2577613.4786 | 1204962.8272
69 | 2577660.3852 | 1205024.2224 | 2577651.6328 | 1205012.7379 | 2577648.0681 | 1204994.1976
70 | 2577660.3852 | 1205024.2224 | 2577666.3192 | 1205025.765
71 | 2577645.7876 | 1204979.4303 | 2577647.0555 | 1204988.9308 | 2577648.0681 | 1204994.1976
72 | 2577645.7876 | 1204979.4303 | 2577655.6184 | 1204978.315 | 2577660.4047 | 1204978.246
73 | 2577613.4786 | 1204962.8272 | 2577612.2442 | 1204953.3532
74 | 2577666.3192 | 1205025.765 | 2577667.5032 | 1205026.0727
75 | 2577680.1952 | 1204977.9605 | 2577660.4047 | 1204978.246
76 | 2577612.2442 | 1204953.3532 | 2577612.2442 | 1204953.3532 | 2577612.935 | 1204952.2133
77 | 2577680.1952 | 1204977.9605 | 2577698.0053 | 1204977.7037
78 | 2577620.7183 | 1204939.3692 | 2577612.935 | 1204952.2133
79 | 2577620.7183 | 1204939.3692 | 2577632.9379 | 1204932.2638 | 2577646.7276 | 1204928.0096
80 | 2577620.7183 | 1204939.3692 | 2577621.0025 | 1204935.5261
81 | 2577622.3523 | 1204896.5728 | 2577623.4543 | 1204902.3718 | 2577621.0025 | 1204935.5261
82 | 2577622.3523 | 1204896.5728 | 2577609.062 | 1204894.8549
83 | 2577666.9264 | 1204902.2869 | 2577674.2815 | 1204903.2298
84 | 2577678.2107 | 1204903.7335 | 2577674.2815 | 1204903.2298
85 | 2577678.2107 | 1204903.7335 | 2577689.0342 | 1204903.9242

## bus_geodata
| x | y | coords
0 | 2577820.4113 | 1204987.4609
1 | 2577839.1084 | 1204990.9946
2 | 2577810.3565 | 1204985.5606
3 | 2577805.5852 | 1204984.6588
4 | 2577790.6724 | 1204981.8404
5 | 2577767.0963 | 1204978.0809
6 | 2577757.913 | 1204977.4311
7 | 2577748.7921 | 1204977.1984
8 | 2577759.5512 | 1204959.1304
9 | 2577747.3553 | 1205009.7958
10 | 2577729.448 | 1204977.2973
11 | 2577761.127 | 1204948.0335
12 | 2577762.1926 | 1204940.5292
13 | 2577763.8752 | 1204929.0013
14 | 2577764.9994 | 1204921.6208
15 | 2577767.1447 | 1204907.5365
16 | 2577768.5697 | 1204898.1809
17 | 2577747.2568 | 1205012.503
18 | 2577716.4266 | 1204977.438
19 | 2577760.4544 | 1205075.0472
20 | 2577778.7566 | 1205071.6162
21 | 2577744.5677 | 1205078.0254
22 | 2577745.4952 | 1205061.2855
23 | 2577742.9921 | 1205089.8934
24 | 2577746.0258 | 1205047.4012
25 | 2577738.5613 | 1205135.5574
26 | 2577726.8159 | 1205088.1704
27 | 2577746.4633 | 1205034.318
28 | 2577718.5526 | 1205133.0213
29 | 2577720.9107 | 1205087.5414
30 | 2577747.0222 | 1205018.9518
31 | 2577679.441 | 1205128.0637
32 | 2577703.0663 | 1205085.6406
33 | 2577771.0426 | 1204873.9805
34 | 2577744.9696 | 1204900.7766
35 | 2577771.2281 | 1204868.9946
36 | 2577723.6288 | 1204903.4648
37 | 2577718.6488 | 1204904.0922
38 | 2577697.6811 | 1204904.0765
39 | 2577707.4564 | 1204977.5673
40 | 2577587.8829 | 1205058.479
41 | 2577588.3811 | 1205043.6374
42 | 2577587.4853 | 1205070.3221
43 | 2577618.3664 | 1205074.2969
44 | 2577549.9335 | 1205024.869
45 | 2577547.2631 | 1205011.8082
46 | 2577637.0563 | 1205076.7057
47 | 2577627.5827 | 1205033.6737
48 | 2577551.6893 | 1205009.6272
49 | 2577521.4725 | 1205024.5127
50 | 2577635.3433 | 1205092.827
51 | 2577628.3908 | 1205023.6201
52 | 2577567.8964 | 1205001.5092
53 | 2577515.6655 | 1204978.3354
54 | 2577632.0281 | 1205124.0248
55 | 2577630.3669 | 1205021.1891
56 | 2577702.6017 | 1205093.5912
57 | 2577681.468 | 1205047.6149
58 | 2577681.493 | 1205042.5422
59 | 2577690.3983 | 1205043.3377
60 | 2577678.356 | 1205032.5456
61 | 2577647.7792 | 1205023.917
62 | 2577624.4775 | 1204982.2231
63 | 2577644.3676 | 1204979.5919
64 | 2577618.1618 | 1204983.6143
65 | 2577660.3852 | 1205024.2224
66 | 2577645.7876 | 1204979.4303
67 | 2577589.7759 | 1204991.8971
68 | 2577613.4786 | 1204962.8272
69 | 2577648.0681 | 1204994.1976
70 | 2577666.3192 | 1205025.765
71 | 2577660.4047 | 1204978.246
72 | 2577612.2442 | 1204953.3532
73 | 2577667.5032 | 1205026.0727
74 | 2577696.0639 | 1205043.8438
75 | 2577680.1952 | 1204977.9605
76 | 2577698.0053 | 1204977.7037
77 | 2577612.935 | 1204952.2133
78 | 2577620.7183 | 1204939.3692
79 | 2577646.7276 | 1204928.0096
80 | 2577621.0025 | 1204935.5261
81 | 2577622.3523 | 1204896.5728
82 | 2577666.9264 | 1204902.2869
83 | 2577674.2815 | 1204903.2298
84 | 2577678.2107 | 1204903.7335
85 | 2577609.062 | 1204894.8549
86 | 2577689.0342 | 1204903.9242
87 | 2577748.7921 | 1204977.1984

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1