## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_502-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_502-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_502-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_502-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_502-4_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_502-4_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_502-4_0_2_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_502-4_0_2_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_502-4_0_2_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_502-4_0_2_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_502-4_0_2_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_502-4_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_502-4_0_2_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_502-4_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_502-4_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_502-4_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_502-4_0_2_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_502-4_0_2_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_502-4_0_2_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_502-4_0_2_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_502-4_0_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_502-4_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_502-4_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_502-4_0_2_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_502-4_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_502-4_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_502-4_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_502-4_0_2_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_502-4_0_2_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_502-4_0_2_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_502-4_0_2_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_502-4_0_2_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_502-4_0_2_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_502-4_0_2_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_502-4_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_502-4_0_2_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_502-4_0_2_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_502-4_0_2_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_502-4_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_502-4_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_502-4_0_2_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_502-4_0_2_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_502-4_0_2_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_502-4_0_2_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_502-4_0_2_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_502-4_0_2_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_502-4_0_2_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_502-4_0_2_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_502-4_0_2_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_502-4_0_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_502-4_0_2_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_502-4_0_2_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_502-4_0_2_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_502-4_0_2_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_502-4_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_502-4_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_502-4_0_2_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_502-4_0_2_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_502-4_0_2_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_502-4_0_2_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_502-4_0_2_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_502-4_0_2_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_502-4_0_2_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_502-4_0_2_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_502-4_0_2_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_502-4_0_2_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_502-4_0_2_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_502-4_0_2_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_502-4_0_2_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_502-4_0_2_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_502-4_0_2_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_502-4_0_2_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_502-4_0_2_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_502-4_0_2_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_502-4_0_2_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_502-4_0_2_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_502-4_0_2_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_502-4_0_2_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_502-4_0_2_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_502-4_0_2_node_63 | 0.4 | n |  | TRUE
80 | bus_MV_324_1_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_502-4_0_2_load_0 | 0 | 0.0049262 | 0.0012346 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_502-4_0_2_load_1 | 1 | 0.00055853 | 0.00013998 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_502-4_0_2_load_3 | 3 | 0.0037162 | 0.00093136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_502-4_0_2_load_4 | 4 | 0.0056175 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_502-4_0_2_load_5 | 5 | 0.002416 | 0.00060552 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_502-4_0_2_load_50 | 6 | 0.001182 | 0.00029624 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_502-4_0_2_load_29 | 7 | 0.0016757 | 0.00041996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_502-4_0_2_load_51 | 9 | 0.0040204 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_502-4_0_2_load_23 | 10 | 0.006531 | 0.0016368 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_502-4_0_2_load_9 | 11 | 0.0032761 | 0.00082106 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_502-4_0_2_load_6 | 13 | 0.0058792 | 0.0014735 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_502-4_0_2_load_7 | 14 | 0.0025231 | 0.00063235 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_502-4_0_2_load_11 | 15 | 0.0050954 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_502-4_0_2_load_43 | 17 | 0.0026702 | 0.00066923 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_502-4_0_2_load_41 | 18 | 0.0029723 | 0.00074492 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_502-4_0_2_load_24 | 21 | 0.0069636 | 0.0017452 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_502-4_0_2_load_12 | 22 | 0.0034745 | 0.0008708 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_502-4_0_2_load_13 | 23 | 0.0024922 | 0.00062461 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_502-4_0_2_load_15 | 25 | 0.0017589 | 0.00044081 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_502-4_0_2_load_16 | 26 | 0.0068607 | 0.0017194 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_502-4_0_2_load_40 | 27 | 0.0042595 | 0.0010675 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_502-4_0_2_load_69 | 28 | 0.013754 | 0.003447 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_502-4_0_2_load_65 | 31 | 0.0013588 | 0.00034054 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_502-4_0_2_load_81 | 32 | 0.0012453 | 0.0003121 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_502-4_0_2_load_33 | 34 | 0.0042631 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_502-4_0_2_load_19 | 36 | 0.0015121 | 0.00037896 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_502-4_0_2_load_20 | 37 | 0.0006965 | 0.00017456 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_502-4_0_2_load_21 | 38 | 0.00065452 | 0.00016404 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_502-4_0_2_load_53 | 40 | 0.0009504 | 0.00023819 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_502-4_0_2_load_60 | 41 | 0.00092666 | 0.00023224 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_502-4_0_2_load_25 | 42 | 0.0046655 | 0.0011693 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_502-4_0_2_load_74 | 44 | 0.001863 | 0.00046691 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_502-4_0_2_load_71 | 45 | 0.00096309 | 0.00024137 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_502-4_0_2_load_78 | 47 | 0.0035209 | 0.00088241 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_502-4_0_2_load_58 | 48 | 0.0044007 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_502-4_0_2_load_54 | 49 | 0.0024988 | 0.00062626 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_502-4_0_2_load_30 | 50 | 0.00083911 | 0.0002103 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_502-4_0_2_load_31 | 51 | 0.0011915 | 0.00029863 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_502-4_0_2_load_32 | 52 | 0.0011537 | 0.00028914 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_502-4_0_2_load_34 | 53 | 0.0024279 | 0.00060849 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_502-4_0_2_load_48 | 54 | 0.0010196 | 0.00025553 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_502-4_0_2_load_49 | 55 | 0.0011334 | 0.00028405 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_502-4_0_2_load_35 | 56 | 0.0015997 | 0.00040093 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_502-4_0_2_load_36 | 57 | 0.0071065 | 0.0017811 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_502-4_0_2_load_39 | 59 | 0.0016653 | 0.00041736 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_502-4_0_2_load_80 | 60 | 0.0091283 | 0.0022878 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_502-4_0_2_load_64 | 61 | 0.0032689 | 0.00081928 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_502-4_0_2_load_62 | 62 | 0.0020851 | 0.00052257 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_502-4_0_2_load_44 | 63 | 0.0020126 | 0.0005044 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_502-4_0_2_load_45 | 64 | 0.001721 | 0.00043132 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_502-4_0_2_load_66 | 65 | 0.004264 | 0.0010686 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_502-4_0_2_load_46 | 66 | 0.0036034 | 0.00090309 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_502-4_0_2_load_47 | 67 | 0.0010053 | 0.00025196 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_502-4_0_2_load_75 | 68 | 0.00028845 | 7.2292e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_502-4_0_2_load_76 | 69 | 0.00045999 | 0.00011528 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_502-4_0_2_load_52 | 70 | 0.00066538 | 0.00016676 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_502-4_0_2_load_70 | 71 | 0.0051505 | 0.0012908 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_502-4_0_2_load_79 | 72 | 0.00061596 | 0.00015437 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_502-4_0_2_load_59 | 73 | 0.0019148 | 0.00047988 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_502-4_0_2_load_55 | 74 | 0.0080436 | 0.0020159 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_502-4_0_2_load_57 | 75 | 0.0036423 | 0.00091284 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_502-4_0_2_load_83 | 76 | 0.001362 | 0.00034134 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_502-4_0_2_load_82 | 77 | 0.003894 | 0.00097593 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_502-4_0_2_load_61 | 78 | 0.0031636 | 0.00079287 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_502-4_0_2_load_63 | 79 | 0.0028463 | 0.00071335 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_502-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_502-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_502-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0047161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_502-4_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0015981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_502-4_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.018387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_502-4_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.014007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_502-4_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0054669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_502-4_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.020578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_502-4_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.014609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_502-4_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.022755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_502-4_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0086847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_502-4_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.012108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_502-4_0_2_line_12 | NAYY 4x150 SE | 9 | 70 | 0.019095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_502-4_0_2_line_13 | NAYY 4x150 SE | 10 | 38 | 0.0056271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_502-4_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.016891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_502-4_0_2_line_15 | NAYY 4x150 SE | 12 | 65 | 0.018434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_502-4_0_2_line_16 | NAYY 4x150 SE | 12 | 17 | 0.01902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_502-4_0_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.013711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_502-4_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.017284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_502-4_0_2_line_19 | NAYY 4x150 SE | 16 | 20 | 0.003369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_502-4_0_2_line_20 | NAYY 4x150 SE | 16 | 21 | 0.012141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_502-4_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.010926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_502-4_0_2_line_22 | NAYY 4x150 SE | 19 | 63 | 0.021169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_502-4_0_2_line_23 | NAYY 4x150 SE | 19 | 64 | 0.013752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_502-4_0_2_line_24 | NAYY 4x150 SE | 20 | 46 | 0.012956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_502-4_0_2_line_25 | NAYY 4x150 SE | 20 | 28 | 0.018642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_502-4_0_2_line_26 | NAYY 4x150 SE | 21 | 42 | 0.027556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_502-4_0_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.011632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_502-4_0_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.0058702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_502-4_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.009403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_502-4_0_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.015121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_502-4_0_2_line_31 | NAYY 4x150 SE | 25 | 27 | 0.010574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_502-4_0_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.029773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_502-4_0_2_line_33 | NAYY 4x150 SE | 27 | 33 | 0.024975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_502-4_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.02719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_502-4_0_2_line_35 | NAYY 4x150 SE | 29 | 31 | 0.011906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_502-4_0_2_line_36 | NAYY 4x150 SE | 30 | 32 | 0.010364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_502-4_0_2_line_37 | NAYY 4x150 SE | 31 | 34 | 0.013399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_502-4_0_2_line_38 | NAYY 4x150 SE | 32 | 35 | 0.015026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_502-4_0_2_line_39 | NAYY 4x150 SE | 33 | 59 | 0.013403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_502-4_0_2_line_40 | NAYY 4x150 SE | 33 | 56 | 0.017122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_502-4_0_2_line_41 | NAYY 4x150 SE | 34 | 51 | 0.0020764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_502-4_0_2_line_42 | NAYY 4x150 SE | 35 | 43 | 0.022176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_502-4_0_2_line_43 | NAYY 4x150 SE | 36 | 37 | 0.0016119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_502-4_0_2_line_44 | NAYY 4x150 SE | 36 | 38 | 0.009884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_502-4_0_2_line_45 | NAYY 4x150 SE | 37 | 39 | 0.006995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_502-4_0_2_line_46 | NAYY 4x150 SE | 39 | 40 | 0.0033872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_502-4_0_2_line_47 | NAYY 4x150 SE | 40 | 41 | 0.0086341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_502-4_0_2_line_48 | NAYY 4x150 SE | 41 | 73 | 0.028309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_502-4_0_2_line_49 | NAYY 4x150 SE | 42 | 43 | 0.029654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_502-4_0_2_line_50 | NAYY 4x150 SE | 43 | 44 | 0.02385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_502-4_0_2_line_51 | NAYY 4x150 SE | 43 | 45 | 0.019344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_502-4_0_2_line_52 | NAYY 4x150 SE | 44 | 47 | 0.017104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_502-4_0_2_line_53 | NAYY 4x150 SE | 46 | 48 | 0.02069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_502-4_0_2_line_54 | NAYY 4x150 SE | 46 | 49 | 0.045073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_502-4_0_2_line_55 | NAYY 4x150 SE | 47 | 72 | 0.0022164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_502-4_0_2_line_56 | NAYY 4x150 SE | 49 | 74 | 0.00046869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_502-4_0_2_line_57 | NAYY 4x150 SE | 50 | 51 | 0.016451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_502-4_0_2_line_58 | NAYY 4x150 SE | 50 | 52 | 0.015611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_502-4_0_2_line_59 | NAYY 4x150 SE | 52 | 53 | 0.0054692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_502-4_0_2_line_60 | NAYY 4x150 SE | 53 | 54 | 0.023167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_502-4_0_2_line_61 | NAYY 4x150 SE | 54 | 55 | 0.00106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_502-4_0_2_line_62 | NAYY 4x150 SE | 56 | 57 | 0.012639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_502-4_0_2_line_63 | NAYY 4x150 SE | 57 | 58 | 0.0219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_502-4_0_2_line_64 | NAYY 4x150 SE | 58 | 60 | 0.0094502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_502-4_0_2_line_65 | NAYY 4x150 SE | 59 | 61 | 0.01892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_502-4_0_2_line_66 | NAYY 4x150 SE | 61 | 62 | 0.0061612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_502-4_0_2_line_67 | NAYY 4x150 SE | 62 | 78 | 0.011686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_502-4_0_2_line_68 | NAYY 4x150 SE | 64 | 65 | 0.01391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_502-4_0_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.018687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_502-4_0_2_line_70 | NAYY 4x150 SE | 67 | 68 | 0.047275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_502-4_0_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.021273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_502-4_0_2_line_72 | NAYY 4x150 SE | 69 | 75 | 0.058949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_502-4_0_2_line_73 | NAYY 4x150 SE | 70 | 71 | 0.011275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_502-4_0_2_line_74 | NAYY 4x150 SE | 71 | 72 | 0.028483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_502-4_0_2_line_75 | NAYY 4x150 SE | 73 | 76 | 0.20224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_502-4_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.026065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_502-4_0_2_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0025022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_502-4_0_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.00073667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_502-4_0_2_trafo_11 | 0.25 MVA 20/0.4 kV | 80 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2575178.5341 | 1209237.5463 | 2575188.0721 | 1209218.346
1 | 2575169.5825 | 1209255.5663 | 2575178.5341 | 1209237.5463
2 | 2575188.0721 | 1209218.346 | 2575188.0721 | 1209218.346 | 2575189.6013 | 1209213.8847
3 | 2575169.5825 | 1209255.5663 | 2575171.0392 | 1209256.2237
4 | 2575169.5825 | 1209255.5663 | 2575152.783 | 1209248.0926
5 | 2575192.5432 | 1209200.7267 | 2575193.4564 | 1209202.637 | 2575189.6013 | 1209213.8847
6 | 2575176.0222 | 1209258.4723 | 2575171.0392 | 1209256.2237
7 | 2575133.9819 | 1209239.7285 | 2575152.783 | 1209248.0926
8 | 2575192.5432 | 1209200.7267 | 2575186.2419 | 1209187.5463
9 | 2575176.0222 | 1209258.4723 | 2575196.7632 | 1209267.8315
10 | 2575133.9819 | 1209239.7285 | 2575130.0065 | 1209237.8996 | 2575126.0914 | 1209236.1001
11 | 2575133.9819 | 1209239.7285 | 2575128.4022 | 1209250.4801
12 | 2575186.2419 | 1209187.5463 | 2575183.097 | 1209180.9681 | 2575176.6866 | 1209171.0566
13 | 2575201.8923 | 1209270.146 | 2575196.7632 | 1209267.8315
14 | 2575126.0914 | 1209236.1001 | 2575110.7444 | 1209229.0461
15 | 2575128.4022 | 1209250.4801 | 2575119.9196 | 1209266.8469
16 | 2575128.4022 | 1209250.4801 | 2575126.2546 | 1209249.4885 | 2575123.4574 | 1209247.6658 | 2575120.2094 | 1209247.1013 | 2575117.1557 | 1209245.7244 | 2575114.8596 | 1209243.7663 | 2575113.649 | 1209243.2711 | 2575111.577 | 1209242.1746
17 | 2575098.2864 | 1209223.3198 | 2575110.7444 | 1209229.0461
18 | 2575069.6714 | 1209171.1593 | 2575068.2593 | 1209177.0019 | 2575068.5676 | 1209185.2496 | 2575069.5321 | 1209188.1109
19 | 2575066.3547 | 1209170.5173 | 2575069.6714 | 1209171.1593
20 | 2575069.6714 | 1209171.1593 | 2575074.6028 | 1209165.3243 | 2575077.5824 | 1209161.9508
21 | 2575095.2783 | 1209254.3431 | 2575093.3957 | 1209249.4927 | 2575091.1553 | 1209244.2265
22 | 2575095.2783 | 1209254.3431 | 2575079.4938 | 1209268.4486
23 | 2575095.2783 | 1209254.3431 | 2575106.4023 | 1209260.7112 | 2575107.2532 | 1209261.0974
24 | 2575064.5386 | 1209183.3432 | 2575066.3547 | 1209170.5173
25 | 2575066.3547 | 1209170.5173 | 2575055.0403 | 1209155.701
26 | 2575077.5824 | 1209161.9508 | 2575095.824 | 1209141.2976
27 | 2575042.4758 | 1209115.8377 | 2575033.3235 | 1209123.0174
28 | 2575046.7865 | 1209111.8665 | 2575044.0086 | 1209114.6353 | 2575042.4758 | 1209115.8377
29 | 2575025.9253 | 1209128.821 | 2575033.3235 | 1209123.0174
30 | 2575046.7865 | 1209111.8665 | 2575048.2562 | 1209126.9156
31 | 2575025.9253 | 1209128.821 | 2575017.6061 | 1209135.3472
32 | 2575048.2562 | 1209126.9156 | 2575049.1058 | 1209135.6146 | 2575054.2786 | 1209154.7036 | 2575055.0403 | 1209155.701
33 | 2575000.3808 | 1209153.1847 | 2575009.1433 | 1209141.986 | 2575017.6061 | 1209135.3472
34 | 2575059.0594 | 1209078.563 | 2575063.3651 | 1209079.401 | 2575069.802 | 1209084.5213 | 2575072.0004 | 1209088.5366 | 2575072.1532 | 1209092.3603 | 2575072.506 | 1209098.5512
35 | 2575059.0594 | 1209078.563 | 2575053.395 | 1209068.0907
36 | 2575072.506 | 1209098.5512 | 2575082.013 | 1209102.6768
37 | 2575047.0202 | 1209056.3049 | 2575053.395 | 1209068.0907
38 | 2575095.4385 | 1209109.4056 | 2575085.7256 | 1209104.2879 | 2575082.013 | 1209102.6768
39 | 2575000.3808 | 1209153.1847 | 2574987.0357 | 1209151.9352
40 | 2575000.3808 | 1209153.1847 | 2574997.5682 | 1209165.7813 | 2574998.2602 | 1209169.9389
41 | 2575046.0324 | 1209054.4786 | 2575047.0202 | 1209056.3049
42 | 2575115.4547 | 1209119.0717 | 2575095.4385 | 1209109.4056
43 | 2575212.3707 | 1209274.8743 | 2575210.9015 | 1209274.2113
44 | 2575201.8923 | 1209270.146 | 2575210.9015 | 1209274.2113
45 | 2575218.7466 | 1209277.7514 | 2575212.3707 | 1209274.8743
46 | 2575218.7466 | 1209277.7514 | 2575221.7641 | 1209279.29
47 | 2575221.7641 | 1209279.29 | 2575229.456 | 1209283.212
48 | 2575254.6762 | 1209296.0713 | 2575229.456 | 1209283.212
49 | 2575115.4547 | 1209119.0717 | 2575095.824 | 1209141.2976
50 | 2575115.4547 | 1209119.0717 | 2575124.6497 | 1209120.3228 | 2575136.5255 | 1209128.764
51 | 2575115.4547 | 1209119.0717 | 2575129.3717 | 1209105.6367
52 | 2575136.5255 | 1209128.764 | 2575143.8997 | 1209134.0055 | 2575150.0721 | 1209139.1839
53 | 2575064.5386 | 1209183.3432 | 2575045.0162 | 1209190.1955
54 | 2575064.5386 | 1209183.3432 | 2575064.2839 | 1209186.0458 | 2575063.5446 | 1209201.8689 | 2575050.4089 | 1209214.2643 | 2575047.6142 | 1209222.2466
55 | 2575150.0721 | 1209139.1839 | 2575151.7702 | 1209140.6084
56 | 2575047.4593 | 1209222.6889 | 2575047.6142 | 1209222.2466
57 | 2575046.0324 | 1209054.4786 | 2575042.3745 | 1209047.7158 | 2575038.035 | 1209040.1031
58 | 2575029.9232 | 1209026.7773 | 2575033.2389 | 1209031.6896 | 2575038.035 | 1209040.1031
59 | 2575029.9232 | 1209026.7773 | 2575026.8633 | 1209022.2441
60 | 2575013.5726 | 1209003.2852 | 2575016.6868 | 1209007.1676 | 2575026.8633 | 1209022.2441
61 | 2575013.5726 | 1209003.2852 | 2575012.9093 | 1209002.4584
62 | 2575000.3355 | 1209182.4067 | 2574998.2602 | 1209169.9389
63 | 2575003.9314 | 1209204.0093 | 2575000.3355 | 1209182.4067
64 | 2575003.9314 | 1209204.0093 | 2575003.927 | 1209213.4595
65 | 2574968.3487 | 1209151.6676 | 2574972.0861 | 1209150.5355 | 2574987.0357 | 1209151.9352
66 | 2574968.3487 | 1209151.6676 | 2574962.452 | 1209153.4537
67 | 2574951.2674 | 1209156.8416 | 2574962.452 | 1209153.4537
68 | 2575119.9196 | 1209266.8469 | 2575119.9196 | 1209266.8469 | 2575107.2532 | 1209261.0974
69 | 2575069.3146 | 1209326.142 | 2575069.1334 | 1209330.9846 | 2575065.455 | 1209338.3263 | 2575062.2878 | 1209342.9799
70 | 2575062.2878 | 1209342.9799 | 2575021.9116 | 1209318.3888
71 | 2575021.9116 | 1209318.3888 | 2575016.7925 | 1209303.4889 | 2575015.0758 | 1209298.244
72 | 2575029.8093 | 1209241.1659 | 2575015.0758 | 1209298.244
73 | 2575170.5634 | 1209161.5892 | 2575176.6866 | 1209171.0566
74 | 2575170.5634 | 1209161.5892 | 2575163.1905 | 1209150.1895 | 2575151.7702 | 1209140.6084
75 | 2575254.6762 | 1209296.0713 | 2575241.7666 | 1209497.8972
76 | 2575029.8093 | 1209241.1659 | 2575045.8949 | 1209227.1572 | 2575047.4593 | 1209222.6889
77 | 2575239.2645 | 1209497.9294 | 2575241.7666 | 1209497.8972
78 | 2574950.5624 | 1209157.0551 | 2574951.2674 | 1209156.8416

## bus_geodata
| x | y | coords
0 | 2575178.5341 | 1209237.5463
1 | 2575188.0721 | 1209218.346
2 | 2575169.5825 | 1209255.5663
3 | 2575189.6013 | 1209213.8847
4 | 2575171.0392 | 1209256.2237
5 | 2575152.783 | 1209248.0926
6 | 2575192.5432 | 1209200.7267
7 | 2575176.0222 | 1209258.4723
8 | 2575133.9819 | 1209239.7285
9 | 2575186.2419 | 1209187.5463
10 | 2575196.7632 | 1209267.8315
11 | 2575126.0914 | 1209236.1001
12 | 2575128.4022 | 1209250.4801
13 | 2575098.2863 | 1209223.3198
14 | 2575110.7444 | 1209229.0461
15 | 2575069.5321 | 1209188.1109
16 | 2575069.6714 | 1209171.1593
17 | 2575111.577 | 1209242.1746
18 | 2575091.1553 | 1209244.2265
19 | 2575095.2783 | 1209254.3431
20 | 2575066.3547 | 1209170.5173
21 | 2575077.5824 | 1209161.9508
22 | 2575042.4758 | 1209115.8377
23 | 2575033.3235 | 1209123.0174
24 | 2575046.7865 | 1209111.8665
25 | 2575025.9253 | 1209128.821
26 | 2575048.2562 | 1209126.9156
27 | 2575017.6061 | 1209135.3472
28 | 2575055.0403 | 1209155.701
29 | 2575059.0594 | 1209078.563
30 | 2575072.506 | 1209098.5512
31 | 2575053.395 | 1209068.0907
32 | 2575082.013 | 1209102.6768
33 | 2575000.3808 | 1209153.1847
34 | 2575047.0202 | 1209056.3049
35 | 2575095.4385 | 1209109.4056
36 | 2575210.9015 | 1209274.2113
37 | 2575212.3707 | 1209274.8743
38 | 2575201.8923 | 1209270.146
39 | 2575218.7466 | 1209277.7514
40 | 2575221.7641 | 1209279.29
41 | 2575229.456 | 1209283.212
42 | 2575095.824 | 1209141.2976
43 | 2575115.4547 | 1209119.0717
44 | 2575136.5255 | 1209128.764
45 | 2575129.3717 | 1209105.6367
46 | 2575064.5386 | 1209183.3432
47 | 2575150.0721 | 1209139.1839
48 | 2575045.0162 | 1209190.1955
49 | 2575047.6142 | 1209222.2466
50 | 2575038.035 | 1209040.1031
51 | 2575046.0324 | 1209054.4786
52 | 2575029.9232 | 1209026.7773
53 | 2575026.8633 | 1209022.2441
54 | 2575013.5726 | 1209003.2852
55 | 2575012.9093 | 1209002.4584
56 | 2574998.2602 | 1209169.9389
57 | 2575000.3355 | 1209182.4067
58 | 2575003.9314 | 1209204.0093
59 | 2574987.0357 | 1209151.9352
60 | 2575003.927 | 1209213.4595
61 | 2574968.3487 | 1209151.6676
62 | 2574962.452 | 1209153.4537
63 | 2575079.4938 | 1209268.4486
64 | 2575107.2532 | 1209261.0974
65 | 2575119.9196 | 1209266.8469
66 | 2575069.3146 | 1209326.142
67 | 2575062.2878 | 1209342.9799
68 | 2575021.9116 | 1209318.3888
69 | 2575015.0758 | 1209298.244
70 | 2575176.6866 | 1209171.0566
71 | 2575170.5634 | 1209161.5892
72 | 2575151.7702 | 1209140.6084
73 | 2575254.6762 | 1209296.0713
74 | 2575047.4593 | 1209222.6889
75 | 2575029.8093 | 1209241.1659
76 | 2575241.7666 | 1209497.8972
77 | 2575239.2645 | 1209497.9294
78 | 2574951.2674 | 1209156.8416
79 | 2574950.5624 | 1209157.0551
80 | 2575069.6714 | 1209171.1593

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1