## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5451-4_1_3_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_5451-4_1_3_node_116 | 0.4 | n |  | TRUE
2 | bus_LV_5451-4_1_3_node_114 | 0.4 | n |  | TRUE
3 | bus_LV_5451-4_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_5451-4_1_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_5451-4_1_3_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_5451-4_1_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_5451-4_1_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5451-4_1_3_node_115 | 0.4 | n |  | TRUE
9 | bus_LV_5451-4_1_3_node_118 | 0.4 | n |  | TRUE
10 | bus_LV_5451-4_1_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_5451-4_1_3_node_88 | 0.4 | n |  | TRUE
12 | bus_LV_5451-4_1_3_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_5451-4_1_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_5451-4_1_3_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_5451-4_1_3_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_5451-4_1_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_5451-4_1_3_node_103 | 0.4 | n |  | TRUE
18 | bus_LV_5451-4_1_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_5451-4_1_3_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_5451-4_1_3_node_128 | 0.4 | n |  | TRUE
21 | bus_LV_5451-4_1_3_node_117 | 0.4 | n |  | TRUE
22 | bus_LV_5451-4_1_3_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_5451-4_1_3_node_107 | 0.4 | n |  | TRUE
24 | bus_LV_5451-4_1_3_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_5451-4_1_3_node_131 | 0.4 | n |  | TRUE
26 | bus_LV_5451-4_1_3_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_5451-4_1_3_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_5451-4_1_3_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_5451-4_1_3_node_104 | 0.4 | n |  | TRUE
30 | bus_LV_5451-4_1_3_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_5451-4_1_3_node_127 | 0.4 | n |  | TRUE
32 | bus_LV_5451-4_1_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_5451-4_1_3_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_5451-4_1_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_5451-4_1_3_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_5451-4_1_3_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_5451-4_1_3_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_5451-4_1_3_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_5451-4_1_3_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_5451-4_1_3_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_5451-4_1_3_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_5451-4_1_3_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_5451-4_1_3_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_5451-4_1_3_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_5451-4_1_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_5451-4_1_3_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_5451-4_1_3_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_5451-4_1_3_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_5451-4_1_3_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_5451-4_1_3_node_100 | 0.4 | n |  | TRUE
51 | bus_LV_5451-4_1_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_5451-4_1_3_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_5451-4_1_3_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_5451-4_1_3_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_5451-4_1_3_node_121 | 0.4 | n |  | TRUE
56 | bus_LV_5451-4_1_3_node_119 | 0.4 | n |  | TRUE
57 | bus_LV_5451-4_1_3_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_5451-4_1_3_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_5451-4_1_3_node_101 | 0.4 | n |  | TRUE
60 | bus_LV_5451-4_1_3_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_5451-4_1_3_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_5451-4_1_3_node_105 | 0.4 | n |  | TRUE
63 | bus_MV_377_1_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5451-4_1_3_load_114 | 2 | 0.004626 | 0.0011594 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5451-4_1_3_load_115 | 8 | 0.0021202 | 0.00053138 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5451-4_1_3_load_118 | 9 | 0.0014449 | 0.00036212 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5451-4_1_3_load_87 | 12 | 0.0022846 | 0.00057258 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5451-4_1_3_load_80 | 15 | 0.0036684 | 0.00091939 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5451-4_1_3_load_103 | 17 | 0.00024151 | 6.0529e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5451-4_1_3_load_117 | 21 | 0.0012823 | 0.00032137 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5451-4_1_3_load_107 | 23 | 0.00096322 | 0.00024141 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5451-4_1_3_load_71 | 24 | 0.0033338 | 0.00083553 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5451-4_1_3_load_131 | 25 | 0.00077161 | 0.00019338 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5451-4_1_3_load_85 | 26 | 0.0018639 | 0.00046713 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5451-4_1_3_load_86 | 27 | 0.0014674 | 0.00036775 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5451-4_1_3_load_81 | 28 | 0.0043426 | 0.0010884 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5451-4_1_3_load_104 | 29 | 0.0017057 | 0.00042748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5451-4_1_3_load_127 | 31 | 0.027421 | 0.0068724 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5451-4_1_3_load_62 | 32 | 0.010927 | 0.0027386 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5451-4_1_3_load_65 | 35 | 0.00049397 | 0.0001238 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5451-4_1_3_load_69 | 36 | 0.0044044 | 0.0011038 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5451-4_1_3_load_70 | 39 | 0.00015688 | 3.9317e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5451-4_1_3_load_73 | 41 | 0.0052673 | 0.0013201 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5451-4_1_3_load_72 | 42 | 0.0041347 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5451-4_1_3_load_94 | 44 | 0.00082919 | 0.00020781 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5451-4_1_3_load_89 | 46 | 0.010585 | 0.0026527 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5451-4_1_3_load_79 | 47 | 0.0015385 | 0.00038559 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5451-4_1_3_load_99 | 48 | 0.0057749 | 0.0014473 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5451-4_1_3_load_82 | 51 | 0.0026905 | 0.00067431 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5451-4_1_3_load_95 | 53 | 0.0022445 | 0.00056253 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5451-4_1_3_load_96 | 54 | 0.0013508 | 0.00033855 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5451-4_1_3_load_121 | 55 | 0.0035322 | 0.00088525 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5451-4_1_3_load_119 | 56 | 0.0040884 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5451-4_1_3_load_123 | 57 | 0.00026808 | 6.7186e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5451-4_1_3_load_98 | 58 | 0.0035022 | 0.00087773 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5451-4_1_3_load_101 | 59 | 0.0010049 | 0.00025186 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5451-4_1_3_load_102 | 61 | 0.00061506 | 0.00015415 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5451-4_1_3_load_105 | 62 | 0.0023212 | 0.00058175 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5451-4_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5451-4_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5451-4_1_3_line_2 | NAYY 4x150 SE | 1 | 21 | 0.034168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5451-4_1_3_line_3 | NAYY 4x150 SE | 2 | 8 | 0.011128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5451-4_1_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.068526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5451-4_1_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.032331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5451-4_1_3_line_6 | NAYY 4x150 SE | 4 | 13 | 0.03092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5451-4_1_3_line_7 | NAYY 4x150 SE | 4 | 12 | 0.023799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5451-4_1_3_line_8 | NAYY 4x150 SE | 5 | 22 | 0.063505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5451-4_1_3_line_9 | NAYY 4x150 SE | 5 | 23 | 0.016337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5451-4_1_3_line_10 | NAYY 4x150 SE | 6 | 7 | 0.22278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5451-4_1_3_line_11 | NAYY 4x150 SE | 6 | 8 | 0.074848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5451-4_1_3_line_12 | NAYY 4x150 SE | 7 | 9 | 0.013811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5451-4_1_3_line_13 | NAYY 4x150 SE | 9 | 24 | 0.028684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5451-4_1_3_line_14 | NAYY 4x150 SE | 10 | 11 | 0.050026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5451-4_1_3_line_15 | NAYY 4x150 SE | 10 | 12 | 0.0022914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5451-4_1_3_line_16 | NAYY 4x150 SE | 11 | 25 | 0.043539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5451-4_1_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.020976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5451-4_1_3_line_18 | NAYY 4x150 SE | 13 | 15 | 0.034673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5451-4_1_3_line_19 | NAYY 4x150 SE | 14 | 26 | 0.00949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5451-4_1_3_line_20 | NAYY 4x150 SE | 14 | 27 | 0.057476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5451-4_1_3_line_21 | NAYY 4x150 SE | 15 | 28 | 0.016396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5451-4_1_3_line_22 | NAYY 4x150 SE | 16 | 17 | 0.075571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5451-4_1_3_line_23 | NAYY 4x150 SE | 16 | 18 | 0.33261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5451-4_1_3_line_24 | NAYY 4x150 SE | 16 | 19 | 0.068662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5451-4_1_3_line_25 | NAYY 4x150 SE | 17 | 29 | 0.019224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5451-4_1_3_line_26 | NAYY 4x150 SE | 18 | 20 | 0.11728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5451-4_1_3_line_27 | NAYY 4x150 SE | 19 | 30 | 0.043179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5451-4_1_3_line_28 | NAYY 4x150 SE | 20 | 31 | 0.23016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5451-4_1_3_line_29 | NAYY 4x150 SE | 22 | 55 | 0.030246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5451-4_1_3_line_30 | NAYY 4x150 SE | 22 | 56 | 0.057507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5451-4_1_3_line_31 | NAYY 4x150 SE | 24 | 38 | 0.064766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5451-4_1_3_line_32 | NAYY 4x150 SE | 28 | 51 | 0.020261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5451-4_1_3_line_33 | NAYY 4x150 SE | 29 | 62 | 0.026755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5451-4_1_3_line_34 | NAYY 4x150 SE | 30 | 43 | 0.12391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5451-4_1_3_line_35 | NAYY 4x150 SE | 30 | 42 | 0.070043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5451-4_1_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.015249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5451-4_1_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.089502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5451-4_1_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0034889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5451-4_1_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.058283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5451-4_1_3_line_40 | NAYY 4x150 SE | 36 | 40 | 0.067539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5451-4_1_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.12339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5451-4_1_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.011622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5451-4_1_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.061082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5451-4_1_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.19136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5451-4_1_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.06479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_5451-4_1_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.031293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5451-4_1_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.027837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5451-4_1_3_line_48 | NAYY 4x150 SE | 44 | 49 | 0.051636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5451-4_1_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.054296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5451-4_1_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0043862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5451-4_1_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.094694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5451-4_1_3_line_52 | NAYY 4x150 SE | 49 | 58 | 0.031538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5451-4_1_3_line_53 | NAYY 4x150 SE | 49 | 54 | 0.019397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5451-4_1_3_line_54 | NAYY 4x150 SE | 50 | 59 | 0.025317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5451-4_1_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.046123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5451-4_1_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.026593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5451-4_1_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.035113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5451-4_1_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.11057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5451-4_1_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.039888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5451-4_1_3_line_60 | NAYY 4x150 SE | 60 | 62 | 0.076109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5451-4_1_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.049827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5451-4_1_3_trafo_73 | 0.25 MVA 20/0.4 kV | 63 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2570763.0666 | 1193355.0513 | 2570775.0682 | 1193359.3392
1 | 2570763.0666 | 1193355.0513 | 2570750.9034 | 1193344.3719
2 | 2570775.0682 | 1193359.3392 | 2570781.1686 | 1193370.9044 | 2570781.8633 | 1193375.8148 | 2570780.3267 | 1193381.0696 | 2570773.8751 | 1193389.5724
3 | 2570750.9034 | 1193344.3719 | 2570742.5413 | 1193337.0298
4 | 2570309.6441 | 1192987.171 | 2570306.6409 | 1192980.9937 | 2570307.2994 | 1192972.4303 | 2570322.1763 | 1192956.959 | 2570335.0498 | 1192946.3004 | 2570324.5098 | 1192935.7805
5 | 2570324.5098 | 1192935.7805 | 2570301.5915 | 1192912.9156
6 | 2570291.911 | 1192973.9411 | 2570307.2994 | 1192972.4303 | 2570306.6409 | 1192980.9937 | 2570309.6441 | 1192987.171
7 | 2570309.6441 | 1192987.171 | 2570318.714 | 1192988.7045 | 2570329.5929 | 1192998.4419
8 | 2570301.5915 | 1192912.9156 | 2570299.6382 | 1192910.9687 | 2570346.7102 | 1192872.5694
9 | 2570301.5915 | 1192912.9156 | 2570293.4992 | 1192927.108
10 | 2570497.3402 | 1193343.5426 | 2570517.9757 | 1193350.6666 | 2570536.6661 | 1193354.3651 | 2570556.1861 | 1193354.7689 | 2570563.3351 | 1193365.6061 | 2570634.9098 | 1193323.0304 | 2570688.9097 | 1193284.8997
11 | 2570688.9097 | 1193284.8997 | 2570711.6385 | 1193308.5564 | 2570722.3842 | 1193319.3316 | 2570742.5413 | 1193337.0298
12 | 2570497.3402 | 1193343.5426 | 2570484.7532 | 1193337.8584
13 | 2570484.7532 | 1193337.8584 | 2570458.611 | 1193326.0528
14 | 2570294.35 | 1193033.5944 | 2570324.8295 | 1193004.5826 | 2570331.3002 | 1192999.9701
15 | 2570331.3002 | 1192999.9701 | 2570329.5929 | 1192998.4419
16 | 2570294.35 | 1193033.5944 | 2570311.9903 | 1193054.2288 | 2570299.8502 | 1193065.2438
17 | 2570291.911 | 1192973.9411 | 2570276.8309 | 1192959.3194
18 | 2570291.911 | 1192973.9411 | 2570266.5069 | 1192997.538
19 | 2570269.5368 | 1192965.4146 | 2570276.8309 | 1192959.3194
20 | 2570299.3514 | 1192939.0741 | 2570300.5685 | 1192938.59 | 2570309.1483 | 1192947.2965 | 2570298.3555 | 1192957.9337 | 2570292.8806 | 1192957.4385 | 2570286.273 | 1192949.8895 | 2570276.8309 | 1192959.3194
21 | 2570266.5069 | 1192997.538 | 2570254.4941 | 1193008.6963
22 | 2569950.3647 | 1193063.0556 | 2570002.07 | 1193118.1697
23 | 2569751.8755 | 1193064.8044 | 2569763.8792 | 1193078.2396 | 2569851.4461 | 1193176.6049 | 2569857.0498 | 1193183.0245 | 2569860.7506 | 1193188.4087 | 2569863.8141 | 1193192.8623 | 2569866.1275 | 1193190.6605 | 2569868.986 | 1193189.2342 | 2569872.1386 | 1193188.6958 | 2569875.3112 | 1193189.1133 | 2569878.2292 | 1193190.4215 | 2569881.6565 | 1193183.9229 | 2569886.3666 | 1193174.872 | 2569890.931 | 1193167.1559 | 2569935.545 | 1193092.6463 | 2569950.3647 | 1193063.0556
24 | 2569984.8361 | 1193003.7724 | 2569967.9199 | 1193028.771 | 2569950.3647 | 1193063.0556
25 | 2570015.2233 | 1193132.1902 | 2570002.07 | 1193118.1697
26 | 2569673.6588 | 1192977.2321 | 2569751.8755 | 1193064.8044
27 | 2570009.382 | 1192968.2075 | 2570002.451 | 1192978.2478 | 2569994.7936 | 1192989.3367 | 2569992.2437 | 1192993.0404 | 2569984.8361 | 1193003.7724
28 | 2569673.6588 | 1192977.2321 | 2569641.081 | 1193026.1353 | 2569618.689 | 1193062.1354 | 2569595.9101 | 1193065.5533 | 2569550.2827 | 1193136.3465 | 2569547.384 | 1193143.3206 | 2569547.3403 | 1193151.1695 | 2569548.5382 | 1193157.4001
29 | 2570346.7102 | 1192872.5694 | 2570364.802 | 1192896.8076
30 | 2570346.7102 | 1192872.5694 | 2570363.4941 | 1192858.8786 | 2570371.4883 | 1192847.9218 | 2570388.5465 | 1192833.5829
31 | 2570399.9458 | 1193298.6121 | 2570453.4119 | 1193323.7049 | 2570458.611 | 1193326.0528
32 | 2570239.6494 | 1193022.4849 | 2570254.4941 | 1193008.6963
33 | 2570015.2233 | 1193132.1902 | 2570033.529 | 1193151.7027
34 | 2570009.382 | 1192968.2075 | 2570026.61 | 1192947.5431 | 2570029.8905 | 1192943.6134 | 2570056.5848 | 1192918.388 | 2570078.3327 | 1192900.7249 | 2570099.4051 | 1192883.61
35 | 2570009.382 | 1192968.2075 | 2570030.6868 | 1193009.5338 | 2570046.7423 | 1193026.7601
36 | 2570338.6705 | 1193185.3111 | 2570352.4152 | 1193191.9148
37 | 2570257.3131 | 1193147.507 | 2570338.6705 | 1193185.3111
38 | 2570257.3131 | 1193147.507 | 2570255.8157 | 1193150.6582
39 | 2570257.3131 | 1193147.507 | 2570268.9431 | 1193122.9691 | 2570271.4333 | 1193119.4993 | 2570275.3175 | 1193117.4121 | 2570279.6432 | 1193116.7346 | 2570284.2057 | 1193117.7013 | 2570296.3288 | 1193123.423
40 | 2570224.7863 | 1193210.4476 | 2570229.9433 | 1193203.7961 | 2570234.2874 | 1193196.1369 | 2570235.5243 | 1193193.5405 | 2570237.2808 | 1193189.663 | 2570255.8157 | 1193150.6582
41 | 2570287.9781 | 1193246.085 | 2570399.9458 | 1193298.6121
42 | 2570287.9781 | 1193246.085 | 2570277.51 | 1193241.037
43 | 2570224.7863 | 1193210.4476 | 2570237.4982 | 1193219.4779 | 2570249.6612 | 1193226.9324 | 2570262.2855 | 1193233.6953 | 2570277.51 | 1193241.037
44 | 2570224.7863 | 1193210.4476 | 2570210.7866 | 1193199.9452 | 2570200.4839 | 1193191.103 | 2570190.7649 | 1193181.6465 | 2570181.6255 | 1193172.2427 | 2570165.7293 | 1193154.4237 | 2570090.9167 | 1193074.1557
45 | 2570046.7423 | 1193026.7601 | 2570090.9167 | 1193074.1557
46 | 2570099.4051 | 1192883.61 | 2570119.6915 | 1192907.4365
47 | 2570120.7785 | 1192865.7043 | 2570099.4051 | 1192883.61
48 | 2570153.1658 | 1192946.7525 | 2570119.6915 | 1192907.4365
49 | 2570120.7785 | 1192865.7043 | 2570164.0132 | 1192832.8589
50 | 2570051.0652 | 1193076.9242 | 2570054.009 | 1193080.1757
51 | 2570117.5639 | 1193150.3737 | 2570054.009 | 1193080.1757
52 | 2570153.1658 | 1192946.7525 | 2570176.9773 | 1192926.0721
53 | 2570153.1658 | 1192946.7525 | 2570166.2829 | 1192961.0416
54 | 2570117.5639 | 1193150.3737 | 2570105.1542 | 1193172.4412
55 | 2570207.9376 | 1193006.5664 | 2570212.0461 | 1193011.215 | 2570230.2172 | 1193031.2462 | 2570239.6494 | 1193022.4849
56 | 2570207.9376 | 1193006.5664 | 2570189.9934 | 1192986.9402
57 | 2570189.9934 | 1192986.9402 | 2570174.1026 | 1192969.56 | 2570166.2829 | 1192961.0416
58 | 2570364.802 | 1192896.8076 | 2570409.4592 | 1192956.6363 | 2570432.7509 | 1192983.9733
59 | 2570085.6024 | 1193207.209 | 2570105.1542 | 1193172.4412
60 | 2570085.6024 | 1193207.209 | 2570033.529 | 1193151.7027
61 | 2570085.6024 | 1193207.209 | 2570117.3602 | 1193245.6038

## bus_geodata
| x | y | coords
0 | 2570763.0666 | 1193355.0513
1 | 2570775.0682 | 1193359.3392
2 | 2570750.9034 | 1193344.3719
3 | 2570324.5098 | 1192935.7805
4 | 2570309.6441 | 1192987.171
5 | 2570301.5915 | 1192912.9156
6 | 2570688.9097 | 1193284.8997
7 | 2570497.3402 | 1193343.5426
8 | 2570742.5413 | 1193337.0298
9 | 2570484.7532 | 1193337.8584
10 | 2570331.3002 | 1192999.9701
11 | 2570294.35 | 1193033.5944
12 | 2570329.5929 | 1192998.4419
13 | 2570291.911 | 1192973.9411
14 | 2570276.8309 | 1192959.3194
15 | 2570266.5069 | 1192997.538
16 | 2569950.3647 | 1193063.0556
17 | 2570002.07 | 1193118.1697
18 | 2569751.8755 | 1193064.8044
19 | 2569984.8361 | 1193003.7724
20 | 2569673.6588 | 1192977.2321
21 | 2570773.8751 | 1193389.5724
22 | 2570346.7102 | 1192872.5694
23 | 2570293.4992 | 1192927.108
24 | 2570458.611 | 1193326.0528
25 | 2570299.8502 | 1193065.2438
26 | 2570269.5368 | 1192965.4146
27 | 2570299.3514 | 1192939.0741
28 | 2570254.4941 | 1193008.6963
29 | 2570015.2233 | 1193132.1902
30 | 2570009.382 | 1192968.2075
31 | 2569548.5382 | 1193157.4001
32 | 2570352.4152 | 1193191.9148
33 | 2570338.6705 | 1193185.3111
34 | 2570257.3131 | 1193147.507
35 | 2570296.3288 | 1193123.423
36 | 2570255.8157 | 1193150.6582
37 | 2570287.9781 | 1193246.085
38 | 2570399.9458 | 1193298.6121
39 | 2570277.51 | 1193241.037
40 | 2570224.7863 | 1193210.4476
41 | 2570090.9167 | 1193074.1557
42 | 2570046.7423 | 1193026.7601
43 | 2570099.4051 | 1192883.61
44 | 2570119.6915 | 1192907.4365
45 | 2570120.7785 | 1192865.7043
46 | 2570164.0132 | 1192832.8589
47 | 2570051.0652 | 1193076.9242
48 | 2570054.009 | 1193080.1757
49 | 2570153.1658 | 1192946.7525
50 | 2570117.5638 | 1193150.3737
51 | 2570239.6494 | 1193022.4849
52 | 2570207.9376 | 1193006.5664
53 | 2570189.9934 | 1192986.9402
54 | 2570166.2829 | 1192961.0416
55 | 2570364.802 | 1192896.8076
56 | 2570388.5465 | 1192833.5829
57 | 2570432.7509 | 1192983.9733
58 | 2570176.9773 | 1192926.0721
59 | 2570105.1542 | 1193172.4412
60 | 2570085.6024 | 1193207.209
61 | 2570117.3602 | 1193245.6038
62 | 2570033.529 | 1193151.7027
63 | 2570090.9167 | 1193074.1557

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1