## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5451-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5451-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5451-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5451-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5451-5_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5451-5_0_2_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_5451-5_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5451-5_0_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5451-5_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5451-5_0_2_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_5451-5_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5451-5_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5451-5_0_2_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_5451-5_0_2_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_5451-5_0_2_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_5451-5_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5451-5_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5451-5_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5451-5_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5451-5_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5451-5_0_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_5451-5_0_2_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_5451-5_0_2_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_5451-5_0_2_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_5451-5_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5451-5_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5451-5_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5451-5_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5451-5_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5451-5_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5451-5_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5451-5_0_2_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_5451-5_0_2_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_5451-5_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_5451-5_0_2_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_5451-5_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_5451-5_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_5451-5_0_2_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_5451-5_0_2_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_5451-5_0_2_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_5451-5_0_2_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_5451-5_0_2_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_5451-5_0_2_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_5451-5_0_2_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_5451-5_0_2_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_5451-5_0_2_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_5451-5_0_2_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_5451-5_0_2_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_5451-5_0_2_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_5451-5_0_2_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_5451-5_0_2_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_5451-5_0_2_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_5451-5_0_2_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_5451-5_0_2_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_5451-5_0_2_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5451-5_0_2_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_5451-5_0_2_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_5451-5_0_2_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_5451-5_0_2_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_5451-5_0_2_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_5451-5_0_2_node_73 | 0.4 | n |  | TRUE
61 | bus_MV_377_1_node_155 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5451-5_0_2_load_0 | 0 | 0.061348 | 0.015375 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5451-5_0_2_load_3 | 3 | 0.0012495 | 0.00031315 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5451-5_0_2_load_15 | 7 | 0.0037415 | 0.00093772 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5451-5_0_2_load_48 | 9 | 0.0017297 | 0.00043349 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5451-5_0_2_load_20 | 12 | 0.002347 | 0.00058821 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5451-5_0_2_load_51 | 13 | 0.0052187 | 0.0013079 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5451-5_0_2_load_49 | 14 | 0.007859 | 0.0019696 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5451-5_0_2_load_11 | 15 | 0.0020134 | 0.0005046 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5451-5_0_2_load_14 | 17 | 0.0019193 | 0.00048103 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5451-5_0_2_load_12 | 18 | 0.0068318 | 0.0017122 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5451-5_0_2_load_54 | 20 | 0.0022295 | 0.00055876 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5451-5_0_2_load_16 | 25 | 0.028129 | 0.0070497 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5451-5_0_2_load_17 | 26 | 0.020527 | 0.0051444 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5451-5_0_2_load_24 | 27 | 0.0075868 | 0.0019014 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5451-5_0_2_load_23 | 28 | 0.0034153 | 0.00085597 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5451-5_0_2_load_21 | 29 | 0.01905 | 0.0047745 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5451-5_0_2_load_37 | 31 | 0.00054619 | 0.00013689 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5451-5_0_2_load_38 | 32 | 0.00092783 | 0.00023254 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5451-5_0_2_load_39 | 34 | 0.00050916 | 0.00012761 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5451-5_0_2_load_42 | 36 | 0.00024996 | 6.2647e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5451-5_0_2_load_44 | 37 | 0.001713 | 0.00042932 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5451-5_0_2_load_45 | 40 | 0.00053618 | 0.00013438 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5451-5_0_2_load_47 | 41 | 0.0006455 | 0.00016178 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5451-5_0_2_load_52 | 44 | 0.0014065 | 0.0003525 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5451-5_0_2_load_60 | 46 | 0.002403 | 0.00060225 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5451-5_0_2_load_68 | 47 | 0.0037513 | 0.00094017 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5451-5_0_2_load_58 | 49 | 0.0023566 | 0.00059062 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5451-5_0_2_load_56 | 50 | 0.0024016 | 0.0006019 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5451-5_0_2_load_55 | 51 | 0.00050209 | 0.00012584 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5451-5_0_2_load_69 | 52 | 0.0019871 | 0.000498 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5451-5_0_2_load_63 | 53 | 0.00088057 | 0.00022069 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5451-5_0_2_load_61 | 54 | 0.019822 | 0.0049679 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5451-5_0_2_load_71 | 57 | 0.00036765 | 9.2142e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5451-5_0_2_load_70 | 58 | 0.00090222 | 0.00022612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5451-5_0_2_load_73 | 60 | 0.0015923 | 0.00039907 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5451-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5451-5_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5451-5_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.001957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5451-5_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.10132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5451-5_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.036972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5451-5_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.18382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5451-5_0_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.026311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5451-5_0_2_line_7 | NAYY 4x150 SE | 5 | 15 | 0.10463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5451-5_0_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.027806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5451-5_0_2_line_9 | NAYY 4x150 SE | 7 | 16 | 0.0028153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5451-5_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.062381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5451-5_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.084853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5451-5_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.081602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5451-5_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.030791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5451-5_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.0019828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5451-5_0_2_line_15 | NAYY 4x150 SE | 12 | 19 | 0.013906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5451-5_0_2_line_16 | NAYY 4x150 SE | 13 | 20 | 0.017861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5451-5_0_2_line_17 | NAYY 4x150 SE | 14 | 21 | 0.031935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5451-5_0_2_line_18 | NAYY 4x150 SE | 15 | 22 | 0.039298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_5451-5_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.022781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5451-5_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.033707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5451-5_0_2_line_21 | NAYY 4x150 SE | 19 | 24 | 0.016829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5451-5_0_2_line_22 | NAYY 4x150 SE | 19 | 26 | 0.04273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5451-5_0_2_line_23 | NAYY 4x150 SE | 20 | 47 | 0.040967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5451-5_0_2_line_24 | NAYY 4x150 SE | 21 | 44 | 0.037241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5451-5_0_2_line_25 | NAYY 4x150 SE | 21 | 45 | 0.042454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5451-5_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.026694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5451-5_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.031038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5451-5_0_2_line_28 | NAYY 4x150 SE | 23 | 52 | 0.019738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5451-5_0_2_line_29 | NAYY 4x150 SE | 23 | 53 | 0.014934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5451-5_0_2_line_30 | NAYY 4x150 SE | 24 | 27 | 0.022769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5451-5_0_2_line_31 | NAYY 4x150 SE | 25 | 26 | 0.012401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5451-5_0_2_line_32 | NAYY 4x150 SE | 27 | 28 | 0.0043832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_5451-5_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.024384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_5451-5_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.016042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5451-5_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.012252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5451-5_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.019526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5451-5_0_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.015763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5451-5_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.008095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5451-5_0_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.013237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5451-5_0_2_line_40 | NAYY 4x150 SE | 35 | 36 | 0.050002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5451-5_0_2_line_41 | NAYY 4x150 SE | 37 | 40 | 0.018041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5451-5_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.093304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5451-5_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.03381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5451-5_0_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.039761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5451-5_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.094906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5451-5_0_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.19695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5451-5_0_2_line_47 | NAYY 4x150 SE | 43 | 60 | 0.093781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5451-5_0_2_line_48 | NAYY 4x150 SE | 43 | 59 | 0.008257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5451-5_0_2_line_49 | NAYY 4x150 SE | 45 | 46 | 0.032972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5451-5_0_2_line_50 | NAYY 4x150 SE | 46 | 49 | 0.018334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5451-5_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.036957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5451-5_0_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.038758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5451-5_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.023476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5451-5_0_2_line_54 | NAYY 4x150 SE | 52 | 58 | 0.017635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5451-5_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.036812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5451-5_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.055346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5451-5_0_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.015083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5451-5_0_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.0084533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5451-5_0_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.035317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5451-5_0_2_trafo_21 | 0.25 MVA 20/0.4 kV | 61 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2568972.4741 | 1191877.5571 | 2568981.4897 | 1191882.9242 | 2568978.9881 | 1191887.0727 | 2568982.9395 | 1191889.6465
1 | 2569003.7939 | 1191903.2303 | 2568982.9395 | 1191889.6465
2 | 2568971.4384 | 1191879.2189 | 2568972.4741 | 1191877.5571
3 | 2568972.4741 | 1191877.5571 | 2568976.2483 | 1191871.8343 | 2568985.2033 | 1191858.2249 | 2568997.1125 | 1191839.4974 | 2569016.3711 | 1191807.6691 | 2569024.0039 | 1191812.4431 | 2569025.9621 | 1191809.3313 | 2569029.1751 | 1191804.1452
4 | 2569003.7939 | 1191903.2303 | 2569034.8941 | 1191923.3574
5 | 2568930.2379 | 1191693.9337 | 2568966.8868 | 1191715.0654 | 2568969.8842 | 1191716.7952 | 2568990.2998 | 1191728.562 | 2568988.6942 | 1191732.05 | 2568988.1727 | 1191735.8659 | 2568988.7794 | 1191739.6537 | 2568990.4593 | 1191743.1135 | 2568993.066 | 1191745.9459 | 2568996.5604 | 1191747.9732 | 2569000.5138 | 1191748.8421 | 2569004.5447 | 1191748.4876 | 2569004.8235 | 1191762.527 | 2569004.3101 | 1191788.4103 | 2569004.7183 | 1191796.5459 | 2569008.6184 | 1191801.8396 | 2569016.3711 | 1191807.6691 | 2569024.0039 | 1191812.4431 | 2569025.9621 | 1191809.3313 | 2569029.1751 | 1191804.1452
6 | 2569029.1751 | 1191804.1452 | 2569051.7345 | 1191817.791
7 | 2569034.8941 | 1191923.3574 | 2569012.6347 | 1191960.0371 | 2569015.7676 | 1191968.8034 | 2569062.235 | 1191993.0551
8 | 2569051.7345 | 1191817.791 | 2569057.1487 | 1191821.0647 | 2569062.6089 | 1191824.3715 | 2569070.9669 | 1191811.8008
9 | 2569072.5256 | 1191809.4565 | 2569070.9669 | 1191811.8008
10 | 2568930.2379 | 1191693.9337 | 2568882.4632 | 1191666.39 | 2568876.0643 | 1191663.0141
11 | 2569184.5257 | 1191897.8356 | 2569196.1031 | 1191878.243 | 2569196.6674 | 1191875.3163 | 2569202.7907 | 1191866.8246 | 2569205.9958 | 1191867.4861 | 2569209.2493 | 1191867.1692 | 2569215.3635 | 1191867.2599 | 2569224.0384 | 1191868.6715 | 2569243.655 | 1191875.0182 | 2569249.4948 | 1191878.0563
12 | 2569184.5257 | 1191897.8356 | 2569174.1966 | 1191914.1088 | 2569164.4043 | 1191929.501 | 2569136.7658 | 1191963.846
13 | 2569249.4948 | 1191878.0563 | 2569240.2974 | 1191897.9923 | 2569238.4068 | 1191906.623
14 | 2569249.4948 | 1191878.0563 | 2569251.3114 | 1191878.8509
15 | 2569128.0474 | 1191974.68 | 2569136.7658 | 1191963.846
16 | 2569238.4068 | 1191906.623 | 2569234.585 | 1191924.0699
17 | 2569280.8165 | 1191891.0131 | 2569273.1341 | 1191888.3957 | 2569251.3114 | 1191878.8509
18 | 2569097.0739 | 1192011.2378 | 2569062.235 | 1191993.0551
19 | 2569072.5256 | 1191809.4565 | 2569084.1588 | 1191816.8446 | 2569080.8615 | 1191821.9311 | 2569079.2618 | 1191824.3962
20 | 2569072.5256 | 1191809.4565 | 2569076.7843 | 1191803.0532 | 2569054.6953 | 1191789.3077
21 | 2569128.0474 | 1191974.68 | 2569123.2526 | 1191980.5858 | 2569117.1213 | 1191987.499
22 | 2569128.0474 | 1191974.68 | 2569150.3318 | 1191992.8078 | 2569144.5328 | 1192005.554
23 | 2569224.7048 | 1191963.8192 | 2569231.6059 | 1191937.6695 | 2569234.585 | 1191924.0699
24 | 2569280.8165 | 1191891.0131 | 2569273.4431 | 1191902.4905 | 2569269.21 | 1191925.7137
25 | 2569280.8165 | 1191891.0131 | 2569301.2518 | 1191897.9672 | 2569311.6656 | 1191911.4097 | 2569314.954 | 1191913.4383
26 | 2569097.0739 | 1192011.2378 | 2569093.5915 | 1192015.9139 | 2569082.5998 | 1192033.6693
27 | 2569117.1213 | 1191987.499 | 2569097.0739 | 1192011.2378
28 | 2569082.5998 | 1192033.6693 | 2569074.8379 | 1192051.8168
29 | 2569082.5998 | 1192033.6693 | 2569096.6315 | 1192038.7814
30 | 2569117.1213 | 1191987.499 | 2569098.6529 | 1191977.6115 | 2569097.0453 | 1191976.7578
31 | 2569139.3972 | 1192016.8419 | 2569144.5328 | 1192005.554
32 | 2569093.1741 | 1191974.7021 | 2569097.0453 | 1191976.7578
33 | 2569071.6387 | 1191963.266 | 2569093.1741 | 1191974.7021
34 | 2569071.6387 | 1191963.266 | 2569079.3746 | 1191949.2122
35 | 2568721.7556 | 1192433.3155 | 2568729.2726 | 1192442.9911
36 | 2568741.2519 | 1192458.4102 | 2568729.2726 | 1192442.9911
37 | 2568741.2519 | 1192458.4102 | 2568753.295 | 1192448.2394
38 | 2568800.7346 | 1192438.9661 | 2568793.7945 | 1192434.799
39 | 2568800.7346 | 1192438.9661 | 2568812.0835 | 1192445.7799
40 | 2568800.7346 | 1192438.9661 | 2568778.2028 | 1192438.9951 | 2568760.8159 | 1192441.8877 | 2568753.295 | 1192448.2394
41 | 2568812.0835 | 1192445.7799 | 2568827.5512 | 1192455.0666
42 | 2568924.8994 | 1192408.7684 | 2568856.5383 | 1192472.4704
43 | 2568856.5383 | 1192472.4704 | 2568827.5512 | 1192455.0666
44 | 2568924.8994 | 1192408.7684 | 2568935.6626 | 1192397.1061 | 2568945.9532 | 1192383.9899 | 2568949.991 | 1192378.0047
45 | 2568991.9552 | 1192293.1239 | 2568972.3764 | 1192339.2505 | 2568967.131 | 1192349.3055 | 2568956.5203 | 1192368.3265 | 2568949.991 | 1192378.0047
46 | 2569055.3766 | 1192106.8165 | 2569024.3591 | 1192209.5216 | 2568991.9552 | 1192293.1239
47 | 2569055.3766 | 1192106.8165 | 2569028.0464 | 1192078.5098 | 2568987.6667 | 1192042.0056
48 | 2569055.3766 | 1192106.8165 | 2569061.981 | 1192111.796
49 | 2569314.954 | 1191913.4383 | 2569299.1231 | 1191942.3613
50 | 2569299.1231 | 1191942.3613 | 2569292.2299 | 1191954.9554 | 2569295.6133 | 1191957.0451
51 | 2569327.0559 | 1191976.4655 | 2569295.6133 | 1191957.0451
52 | 2569327.0559 | 1191976.4655 | 2569306.9252 | 1192009.5859
53 | 2569316.5041 | 1192024.3738 | 2569302.9729 | 1192016.0885 | 2569306.9252 | 1192009.5859
54 | 2569069.2688 | 1192068.4517 | 2569070.5718 | 1192061.7912 | 2569074.8379 | 1192051.8168
55 | 2569131.2193 | 1192051.3826 | 2569096.6315 | 1192038.7814
56 | 2569131.2193 | 1192051.3826 | 2569135.5967 | 1192044.3896 | 2569141.9723 | 1192041.9886 | 2569158.5784 | 1192048.5174 | 2569161.8815 | 1192046.0212 | 2569179.0122 | 1192052.4572
57 | 2569067.6459 | 1192076.7478 | 2569063.7121 | 1192078.1467 | 2569056.2061 | 1192086.061
58 | 2569067.6459 | 1192076.7478 | 2569069.2688 | 1192068.4517
59 | 2569061.981 | 1192111.796 | 2569062.4789 | 1192107.858 | 2569048.0862 | 1192094.5032 | 2569053.9852 | 1192088.4027 | 2569056.2061 | 1192086.061

## bus_geodata
| x | y | coords
0 | 2568982.9395 | 1191889.6465
1 | 2568972.4741 | 1191877.5571
2 | 2569003.7939 | 1191903.2303
3 | 2568971.4384 | 1191879.2189
4 | 2569029.1751 | 1191804.1452
5 | 2569034.8941 | 1191923.3574
6 | 2569051.7345 | 1191817.791
7 | 2569070.9669 | 1191811.8008
8 | 2568930.2379 | 1191693.9337
9 | 2568876.0643 | 1191663.0141
10 | 2569184.5257 | 1191897.8356
11 | 2569249.4948 | 1191878.0564
12 | 2569136.7658 | 1191963.846
13 | 2569238.4068 | 1191906.623
14 | 2569251.3114 | 1191878.8509
15 | 2569062.235 | 1191993.0551
16 | 2569072.5256 | 1191809.4565
17 | 2569079.2618 | 1191824.3962
18 | 2569054.6953 | 1191789.3077
19 | 2569128.0474 | 1191974.68
20 | 2569234.585 | 1191924.0699
21 | 2569280.8165 | 1191891.0131
22 | 2569097.0739 | 1192011.2378
23 | 2569082.5998 | 1192033.6693
24 | 2569117.1213 | 1191987.499
25 | 2569139.3972 | 1192016.8419
26 | 2569144.5328 | 1192005.554
27 | 2569097.0453 | 1191976.7578
28 | 2569093.1741 | 1191974.7021
29 | 2569079.3746 | 1191949.2122
30 | 2569071.6387 | 1191963.266
31 | 2568721.7556 | 1192433.3155
32 | 2568729.2726 | 1192442.9911
33 | 2568741.2519 | 1192458.4102
34 | 2568793.7945 | 1192434.799
35 | 2568800.7346 | 1192438.9661
36 | 2568753.295 | 1192448.2394
37 | 2568812.0835 | 1192445.7799
38 | 2568856.5383 | 1192472.4704
39 | 2568924.8994 | 1192408.7684
40 | 2568827.5512 | 1192455.0666
41 | 2568949.991 | 1192378.0047
42 | 2568991.9552 | 1192293.1239
43 | 2569055.3766 | 1192106.8165
44 | 2569269.21 | 1191925.7137
45 | 2569314.954 | 1191913.4383
46 | 2569299.1231 | 1191942.3613
47 | 2569224.7048 | 1191963.8192
48 | 2569327.0559 | 1191976.4655
49 | 2569295.6133 | 1191957.0451
50 | 2569306.9252 | 1192009.5859
51 | 2569316.5041 | 1192024.3738
52 | 2569074.8379 | 1192051.8168
53 | 2569096.6315 | 1192038.7814
54 | 2569179.0122 | 1192052.4572
55 | 2569131.2193 | 1192051.3826
56 | 2569067.6459 | 1192076.7478
57 | 2569056.2061 | 1192086.061
58 | 2569069.2688 | 1192068.4517
59 | 2569061.981 | 1192111.796
60 | 2568987.6667 | 1192042.0056
61 | 2569071.6387 | 1191963.266

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1