## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5458-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5458-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5458-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5458-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5458-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5458-2_0_2_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_5458-2_0_2_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_5458-2_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5458-2_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5458-2_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5458-2_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5458-2_0_2_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_5458-2_0_2_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_5458-2_0_2_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_5458-2_0_2_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_5458-2_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5458-2_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5458-2_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5458-2_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5458-2_0_2_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_5458-2_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5458-2_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5458-2_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5458-2_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5458-2_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5458-2_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5458-2_0_2_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_5458-2_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_5458-2_0_2_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_5458-2_0_2_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_5458-2_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5458-2_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5458-2_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5458-2_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5458-2_0_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_5458-2_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5458-2_0_2_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_5458-2_0_2_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_5458-2_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5458-2_0_2_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5458-2_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5458-2_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5458-2_0_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5458-2_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5458-2_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5458-2_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5458-2_0_2_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_5458-2_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5458-2_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_5458-2_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_5458-2_0_2_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_5458-2_0_2_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5458-2_0_2_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_5458-2_0_2_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_5458-2_0_2_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_5458-2_0_2_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5458-2_0_2_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5458-2_0_2_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_5458-2_0_2_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_5458-2_0_2_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_5458-2_0_2_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5458-2_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5458-2_0_2_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5458-2_0_2_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5458-2_0_2_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_5458-2_0_2_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_5458-2_0_2_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5458-2_0_2_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5458-2_0_2_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_5458-2_0_2_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5458-2_0_2_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_5458-2_0_2_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_5458-2_0_2_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_5458-2_0_2_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5458-2_0_2_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5458-2_0_2_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_5458-2_0_2_node_74 | 0.4 | n |  | TRUE
77 | bus_MV_379_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5458-2_0_2_load_0 | 0 | 0.0041307 | 0.0010353 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5458-2_0_2_load_1 | 1 | 0.0064997 | 0.001629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5458-2_0_2_load_3 | 3 | 0.0020331 | 0.00050955 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5458-2_0_2_load_48 | 6 | 0.0036643 | 0.00091835 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5458-2_0_2_load_11 | 8 | 0.0033323 | 0.00083514 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5458-2_0_2_load_7 | 10 | 0.0032585 | 0.00081665 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5458-2_0_2_load_49 | 12 | 0.006762 | 0.0016947 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5458-2_0_2_load_76 | 14 | 0.0018214 | 0.00045647 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5458-2_0_2_load_6 | 15 | 0.0041303 | 0.0010352 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5458-2_0_2_load_8 | 16 | 0.0034642 | 0.0008682 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5458-2_0_2_load_9 | 17 | 0.0057994 | 0.0014535 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5458-2_0_2_load_10 | 18 | 0.0028828 | 0.00072249 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5458-2_0_2_load_13 | 20 | 0.0072888 | 0.0018267 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5458-2_0_2_load_14 | 21 | 0.0061774 | 0.0015482 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5458-2_0_2_load_16 | 23 | 0.0055737 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5458-2_0_2_load_17 | 24 | 0.009299 | 0.0023306 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5458-2_0_2_load_18 | 25 | 0.0046096 | 0.0011553 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5458-2_0_2_load_30 | 26 | 0.0022967 | 0.0005756 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5458-2_0_2_load_40 | 28 | 0.0061351 | 0.0015376 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5458-2_0_2_load_19 | 30 | 0.0019681 | 0.00049325 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5458-2_0_2_load_20 | 31 | 0.0035556 | 0.00089111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5458-2_0_2_load_22 | 32 | 0.0014885 | 0.00037306 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5458-2_0_2_load_68 | 36 | 0.0023026 | 0.00057709 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5458-2_0_2_load_43 | 37 | 0.0018772 | 0.00047048 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5458-2_0_2_load_28 | 38 | 0.0003609 | 9.0451e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5458-2_0_2_load_25 | 39 | 0.0049083 | 0.0012301 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5458-2_0_2_load_29 | 40 | 0.0012695 | 0.00031817 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5458-2_0_2_load_31 | 41 | 0.0023908 | 0.00059918 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5458-2_0_2_load_32 | 42 | 0.0027182 | 0.00068125 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5458-2_0_2_load_33 | 43 | 0.0017709 | 0.00044383 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5458-2_0_2_load_34 | 44 | 0.0017779 | 0.00044559 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5458-2_0_2_load_35 | 45 | 0.0024754 | 0.00062039 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5458-2_0_2_load_37 | 46 | 0.0017624 | 0.0004417 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5458-2_0_2_load_46 | 47 | 0.0021427 | 0.00053702 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5458-2_0_2_load_36 | 48 | 0.0046107 | 0.0011555 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5458-2_0_2_load_47 | 49 | 0.0041107 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5458-2_0_2_load_38 | 50 | 0.0027364 | 0.00068581 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5458-2_0_2_load_39 | 51 | 0.0034452 | 0.00086344 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5458-2_0_2_load_67 | 52 | 0.0019516 | 0.00048912 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5458-2_0_2_load_75 | 53 | 0.011985 | 0.0030038 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5458-2_0_2_load_66 | 54 | 0.0017825 | 0.00044674 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5458-2_0_2_load_42 | 55 | 0.0055021 | 0.001379 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5458-2_0_2_load_44 | 56 | 0.0064153 | 0.0016078 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5458-2_0_2_load_69 | 58 | 0.0019722 | 0.00049427 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5458-2_0_2_load_71 | 59 | 0.0024663 | 0.00061811 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5458-2_0_2_load_58 | 61 | 0.0015804 | 0.00039608 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5458-2_0_2_load_52 | 63 | 0.0014463 | 0.00036248 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5458-2_0_2_load_53 | 64 | 0.0020161 | 0.00050527 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5458-2_0_2_load_55 | 65 | 0.0018189 | 0.00045585 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5458-2_0_2_load_57 | 66 | 0.0019199 | 0.00048118 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5458-2_0_2_load_65 | 67 | 0.0015175 | 0.00038032 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5458-2_0_2_load_70 | 68 | 0.0029379 | 0.0007363 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5458-2_0_2_load_59 | 70 | 0.0016285 | 0.00040813 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5458-2_0_2_load_72 | 72 | 0.0014556 | 0.00036482 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5458-2_0_2_load_61 | 73 | 0.001498 | 0.00037544 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5458-2_0_2_load_73 | 74 | 0.0014993 | 0.00037576 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5458-2_0_2_load_62 | 75 | 0.0017756 | 0.000445 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5458-2_0_2_load_74 | 76 | 0.00081954 | 0.0002054 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5458-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0052148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5458-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5458-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5458-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.074908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5458-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.045929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5458-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.054356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5458-2_0_2_line_6 | NAYY 4x150 SE | 5 | 11 | 0.03499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5458-2_0_2_line_7 | NAYY 4x150 SE | 6 | 12 | 0.036959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5458-2_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.027043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5458-2_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.071211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5458-2_0_2_line_10 | NAYY 4x150 SE | 7 | 10 | 0.032201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5458-2_0_2_line_11 | NAYY 4x150 SE | 8 | 13 | 0.06083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5458-2_0_2_line_12 | NAYY 4x150 SE | 9 | 14 | 0.053008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5458-2_0_2_line_13 | NAYY 4x150 SE | 10 | 15 | 0.0025846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5458-2_0_2_line_14 | NAYY 4x150 SE | 11 | 30 | 0.030802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5458-2_0_2_line_15 | NAYY 4x150 SE | 13 | 19 | 0.012813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5458-2_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.023629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5458-2_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.00092292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5458-2_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0086484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5458-2_0_2_line_19 | NAYY 4x150 SE | 19 | 60 | 0.028873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5458-2_0_2_line_20 | NAYY 4x150 SE | 19 | 61 | 0.035014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5458-2_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.026453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5458-2_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.052263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5458-2_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.035035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5458-2_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.033104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5458-2_0_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.054083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5458-2_0_2_line_26 | NAYY 4x150 SE | 24 | 28 | 0.036834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5458-2_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.03174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5458-2_0_2_line_28 | NAYY 4x150 SE | 27 | 40 | 0.01776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5458-2_0_2_line_29 | NAYY 4x150 SE | 27 | 39 | 0.0078146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5458-2_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.039198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5458-2_0_2_line_31 | NAYY 4x150 SE | 29 | 53 | 0.047768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5458-2_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.030538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5458-2_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.047259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5458-2_0_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.044894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5458-2_0_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.036634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5458-2_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.012954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5458-2_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.007295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5458-2_0_2_line_38 | NAYY 4x150 SE | 34 | 37 | 0.023194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5458-2_0_2_line_39 | NAYY 4x150 SE | 35 | 38 | 0.021542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5458-2_0_2_line_40 | NAYY 4x150 SE | 35 | 39 | 0.022022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5458-2_0_2_line_41 | NAYY 4x150 SE | 36 | 57 | 0.020272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5458-2_0_2_line_42 | NAYY 4x150 SE | 37 | 55 | 0.00051991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5458-2_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.003399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5458-2_0_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.020536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5458-2_0_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0062748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5458-2_0_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.00024186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5458-2_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.017897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5458-2_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.010398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5458-2_0_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0017519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5458-2_0_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.0099015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5458-2_0_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.020129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5458-2_0_2_line_52 | NAYY 4x150 SE | 49 | 58 | 0.0016147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5458-2_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0029578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5458-2_0_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.024789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5458-2_0_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.14729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5458-2_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.021011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5458-2_0_2_line_57 | NAYY 4x150 SE | 54 | 57 | 0.033952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5458-2_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.03871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5458-2_0_2_line_59 | NAYY 4x150 SE | 57 | 75 | 0.0074337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5458-2_0_2_line_60 | NAYY 4x150 SE | 58 | 59 | 0.066596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5458-2_0_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.016679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5458-2_0_2_line_62 | NAYY 4x150 SE | 62 | 66 | 0.01885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5458-2_0_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.018152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5458-2_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.02463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5458-2_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.022742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5458-2_0_2_line_66 | NAYY 4x150 SE | 65 | 67 | 0.013061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5458-2_0_2_line_67 | NAYY 4x150 SE | 66 | 68 | 0.031905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5458-2_0_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.0038194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5458-2_0_2_line_69 | NAYY 4x150 SE | 69 | 73 | 0.016191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5458-2_0_2_line_70 | NAYY 4x150 SE | 69 | 71 | 0.027471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5458-2_0_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.006072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5458-2_0_2_line_72 | NAYY 4x150 SE | 71 | 72 | 0.018554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5458-2_0_2_line_73 | NAYY 4x150 SE | 72 | 74 | 0.00028565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5458-2_0_2_line_74 | NAYY 4x150 SE | 73 | 75 | 0.027062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5458-2_0_2_line_75 | NAYY 4x150 SE | 74 | 76 | 0.006537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5458-2_0_2_trafo_66 | 0.25 MVA 20/0.4 kV | 77 | 54 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2572291.1649 | 1194980.697 | 2572291.1649 | 1194980.697 | 2572291.4314 | 1194985.905
1 | 2572299.3998 | 1194972.1875 | 2572291.1649 | 1194980.697
2 | 2572291.4314 | 1194985.905 | 2572292.355 | 1195003.9596
3 | 2572299.3998 | 1194972.1875 | 2572309.216 | 1195031.7852 | 2572312.474 | 1195045.911
4 | 2572299.2101 | 1195049.3745 | 2572292.355 | 1195003.9596
5 | 2572312.474 | 1195045.911 | 2572321.4075 | 1195036.9202 | 2572344.2695 | 1195002.068
6 | 2572299.2101 | 1195049.3745 | 2572295.0366 | 1195048.1154 | 2572290.5668 | 1195045.4014 | 2572288.152 | 1195045.5016 | 2572286.2002 | 1195046.8447 | 2572280.1345 | 1195058.1123 | 2572273.4951 | 1195062.3455
7 | 2572344.2695 | 1195002.068 | 2572364.541 | 1194971.1649
8 | 2572279.6198 | 1194898.373 | 2572267.6455 | 1194874.1256
9 | 2572317.5269 | 1194896.9961 | 2572289.6043 | 1194926.9086 | 2572282.3811 | 1194903.952 | 2572279.6198 | 1194898.373
10 | 2572279.6198 | 1194898.373 | 2572253.8576 | 1194917.6921
11 | 2572233.5801 | 1194823.9248 | 2572236.9644 | 1194827.4665 | 2572263.3517 | 1194865.4309 | 2572267.6455 | 1194874.1256
12 | 2572317.5269 | 1194896.9961 | 2572365.7386 | 1194919.3289
13 | 2572252.0561 | 1194919.5454 | 2572253.8576 | 1194917.6921
14 | 2572273.4951 | 1195062.3455 | 2572245.7449 | 1195048.9779
15 | 2572224.7289 | 1194814.6388 | 2572233.5801 | 1194823.9248
16 | 2572252.0561 | 1194919.5454 | 2572246.8662 | 1194924.8841 | 2572239.1003 | 1194931.0125 | 2572233.2306 | 1194933.2751
17 | 2572233.2306 | 1194933.2751 | 2572232.3694 | 1194933.6071
18 | 2572224.2998 | 1194936.7178 | 2572232.3694 | 1194933.6071
19 | 2572224.7289 | 1194814.6388 | 2572204.7752 | 1194793.7206
20 | 2572224.7289 | 1194814.6388 | 2572212.4677 | 1194847.4354
21 | 2571882.2404 | 1195005.4096 | 2571900.219 | 1195024.8142
22 | 2571846.7202 | 1194967.0721 | 2571882.2404 | 1195005.4096
23 | 2571925.7697 | 1195048.714 | 2571923.946 | 1195047.4179 | 2571906.8674 | 1195031.99 | 2571900.219 | 1195024.8142
24 | 2571846.7202 | 1194967.0721 | 2571865.9257 | 1194940.1088
25 | 2571846.7202 | 1194967.0721 | 2571812.3314 | 1194925.3309
26 | 2571865.9257 | 1194940.1088 | 2571887.2949 | 1194910.1077
27 | 2572103.9929 | 1195000.3139 | 2572073.3691 | 1194991.6526
28 | 2572103.9929 | 1195000.3139 | 2572098.3417 | 1195017.151
29 | 2572103.9929 | 1195000.3139 | 2572111.5122 | 1195002.4421
30 | 2571910.0357 | 1194878.181 | 2571887.2949 | 1194910.1077
31 | 2571910.0357 | 1194878.181 | 2571947.4573 | 1194907.9986
32 | 2572218.233 | 1195035.7252 | 2572245.7449 | 1195048.9779
33 | 2572218.233 | 1195035.7252 | 2572175.656 | 1195015.2154
34 | 2572135.21 | 1194995.7321 | 2572175.656 | 1195015.2154
35 | 2572135.21 | 1194995.7321 | 2572143.9657 | 1194960.1609
36 | 2572135.21 | 1194995.7321 | 2572132.7018 | 1195008.4396
37 | 2572143.9657 | 1194960.1609 | 2572145.8664 | 1194953.1179
38 | 2572143.9657 | 1194960.1609 | 2572165.2369 | 1194969.4079
39 | 2572132.7018 | 1195008.4396 | 2572133.4662 | 1195023.6331 | 2572134.4666 | 1195029.8825
40 | 2572132.7018 | 1195008.4396 | 2572111.5122 | 1195002.4421
41 | 2572151.1481 | 1194933.5463 | 2572145.8664 | 1194953.1179
42 | 2572165.7137 | 1194969.6152 | 2572165.2369 | 1194969.4079
43 | 2572110.6093 | 1194845.5046 | 2572109.5506 | 1194848.7346
44 | 2572110.6093 | 1194845.5046 | 2572114.1513 | 1194834.6992 | 2572117.2017 | 1194826.0566
45 | 2572109.5506 | 1194848.7346 | 2572107.5961 | 1194854.6972
46 | 2572117.2822 | 1194825.8286 | 2572117.2017 | 1194826.0566
47 | 2572102.0215 | 1194871.7038 | 2572107.5961 | 1194854.6972
48 | 2572117.2822 | 1194825.8286 | 2572120.7428 | 1194816.0238
49 | 2572101.4758 | 1194873.3686 | 2572102.0215 | 1194871.7038
50 | 2572120.7428 | 1194816.0238 | 2572124.0383 | 1194806.6868
51 | 2572101.4758 | 1194873.3686 | 2572097.775 | 1194884.6584 | 2572095.1379 | 1194892.4732
52 | 2572124.5757 | 1194805.1641 | 2572124.0383 | 1194806.6868
53 | 2572094.1922 | 1194895.2757 | 2572095.1379 | 1194892.4732
54 | 2572099.0952 | 1194915.8976 | 2572094.7754 | 1194914.4329 | 2572092.0617 | 1194909.2984 | 2572091.8006 | 1194902.3625 | 2572094.1922 | 1194895.2757
55 | 2572094.1922 | 1194895.2757 | 2571947.4573 | 1194907.9986
56 | 2572118.9936 | 1194922.6442 | 2572099.0952 | 1194915.8976
57 | 2572151.1481 | 1194933.5463 | 2572118.9936 | 1194922.6442
58 | 2572201.2709 | 1194984.9178 | 2572170.0764 | 1194971.5117 | 2572165.7137 | 1194969.6152
59 | 2572151.1481 | 1194933.5463 | 2572153.5643 | 1194926.5162
60 | 2572124.5757 | 1194805.1641 | 2572094.8881 | 1194745.5512
61 | 2572198.6988 | 1194809.2573 | 2572204.7752 | 1194793.7206
62 | 2572198.6988 | 1194809.2573 | 2572184.723 | 1194803.9529 | 2572181.3988 | 1194801.9107
63 | 2572198.6988 | 1194809.2573 | 2572192.0893 | 1194826.1635
64 | 2572192.0893 | 1194826.1635 | 2572183.1212 | 1194849.1027
65 | 2572183.1212 | 1194849.1027 | 2572174.8404 | 1194870.2839
66 | 2572170.0847 | 1194882.4482 | 2572174.8404 | 1194870.2839
67 | 2572181.3988 | 1194801.9107 | 2572180.1076 | 1194801.1174 | 2572171.0081 | 1194789.2757 | 2572157.4519 | 1194781.8518
68 | 2572168.6941 | 1194886.0053 | 2572170.0847 | 1194882.4482
69 | 2572168.6941 | 1194886.0053 | 2572162.7996 | 1194901.085
70 | 2572168.6941 | 1194886.0053 | 2572195.0184 | 1194894.1091
71 | 2572195.0184 | 1194894.1091 | 2572197.1447 | 1194888.4216
72 | 2572195.0184 | 1194894.1091 | 2572188.6656 | 1194911.5411
73 | 2572188.5678 | 1194911.8095 | 2572188.6656 | 1194911.5411
74 | 2572162.7996 | 1194901.085 | 2572158.7027 | 1194911.5658 | 2572153.5643 | 1194926.5162
75 | 2572186.3295 | 1194917.9514 | 2572188.5678 | 1194911.8095

## bus_geodata
| x | y | coords
0 | 2572291.1649 | 1194980.697
1 | 2572291.4314 | 1194985.905
2 | 2572299.3998 | 1194972.1875
3 | 2572292.355 | 1195003.9596
4 | 2572312.474 | 1195045.911
5 | 2572299.2101 | 1195049.3745
6 | 2572344.2695 | 1195002.068
7 | 2572279.6198 | 1194898.373
8 | 2572267.6455 | 1194874.1256
9 | 2572317.5269 | 1194896.9961
10 | 2572253.8576 | 1194917.6921
11 | 2572273.4951 | 1195062.3455
12 | 2572364.541 | 1194971.1649
13 | 2572233.5801 | 1194823.9248
14 | 2572365.7386 | 1194919.3289
15 | 2572252.0561 | 1194919.5454
16 | 2572233.2306 | 1194933.2751
17 | 2572232.3694 | 1194933.6071
18 | 2572224.2998 | 1194936.7178
19 | 2572224.7289 | 1194814.6388
20 | 2571882.2404 | 1195005.4096
21 | 2571900.219 | 1195024.8142
22 | 2571846.7202 | 1194967.0721
23 | 2571925.7697 | 1195048.714
24 | 2571865.9257 | 1194940.1088
25 | 2571812.3314 | 1194925.3309
26 | 2572073.3691 | 1194991.6526
27 | 2572103.9929 | 1195000.3139
28 | 2571887.2949 | 1194910.1077
29 | 2571910.0357 | 1194878.181
30 | 2572245.7449 | 1195048.9779
31 | 2572218.233 | 1195035.7252
32 | 2572175.656 | 1195015.2154
33 | 2572135.21 | 1194995.7321
34 | 2572143.9657 | 1194960.1609
35 | 2572132.7018 | 1195008.4396
36 | 2572145.8664 | 1194953.1179
37 | 2572165.2369 | 1194969.4079
38 | 2572134.4666 | 1195029.8825
39 | 2572111.5122 | 1195002.4421
40 | 2572098.3417 | 1195017.151
41 | 2572110.6093 | 1194845.5046
42 | 2572109.5506 | 1194848.7346
43 | 2572117.2017 | 1194826.0566
44 | 2572107.5961 | 1194854.6972
45 | 2572117.2822 | 1194825.8286
46 | 2572102.0215 | 1194871.7038
47 | 2572120.7428 | 1194816.0238
48 | 2572101.4758 | 1194873.3686
49 | 2572124.0383 | 1194806.6868
50 | 2572095.1379 | 1194892.4732
51 | 2572094.1922 | 1194895.2757
52 | 2572099.0952 | 1194915.8976
53 | 2571947.4573 | 1194907.9986
54 | 2572118.9936 | 1194922.6442
55 | 2572165.7137 | 1194969.6152
56 | 2572201.2709 | 1194984.9178
57 | 2572151.1481 | 1194933.5463
58 | 2572124.5757 | 1194805.1641
59 | 2572094.8881 | 1194745.5512
60 | 2572204.7752 | 1194793.7206
61 | 2572212.4677 | 1194847.4354
62 | 2572198.6988 | 1194809.2573
63 | 2572192.0893 | 1194826.1635
64 | 2572183.1212 | 1194849.1027
65 | 2572174.8404 | 1194870.2839
66 | 2572181.3988 | 1194801.9107
67 | 2572170.0847 | 1194882.4482
68 | 2572157.4519 | 1194781.8518
69 | 2572168.6941 | 1194886.0053
70 | 2572197.1447 | 1194888.4216
71 | 2572195.0184 | 1194894.1091
72 | 2572188.6656 | 1194911.5411
73 | 2572162.7996 | 1194901.085
74 | 2572188.5678 | 1194911.8095
75 | 2572153.5643 | 1194926.5162
76 | 2572186.3295 | 1194917.9514
77 | 2572151.1481 | 1194933.5463

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1