## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5464-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5464-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5464-10_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_5464-10_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5464-10_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5464-10_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5464-10_0_3_node_81 | 0.4 | n |  | TRUE
7 | bus_LV_5464-10_0_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_5464-10_0_3_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_5464-10_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_5464-10_0_3_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_5464-10_0_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_5464-10_0_3_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_5464-10_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5464-10_0_3_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_5464-10_0_3_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_5464-10_0_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_5464-10_0_3_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_5464-10_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_5464-10_0_3_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_5464-10_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_5464-10_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_5464-10_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_5464-10_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5464-10_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_5464-10_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_5464-10_0_3_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_5464-10_0_3_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_5464-10_0_3_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_5464-10_0_3_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_5464-10_0_3_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_5464-10_0_3_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_5464-10_0_3_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_5464-10_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_5464-10_0_3_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5464-10_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5464-10_0_3_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_5464-10_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_5464-10_0_3_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_5464-10_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5464-10_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_5464-10_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_5464-10_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5464-10_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5464-10_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5464-10_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5464-10_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_5464-10_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5464-10_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5464-10_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5464-10_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5464-10_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5464-10_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5464-10_0_3_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_5464-10_0_3_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_5464-10_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_5464-10_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_5464-10_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_5464-10_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_5464-10_0_3_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_5464-10_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_5464-10_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_5464-10_0_3_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_5464-10_0_3_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_5464-10_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_5464-10_0_3_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_5464-10_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_5464-10_0_3_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_5464-10_0_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_5464-10_0_3_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_5464-10_0_3_node_29 | 0.4 | n |  | TRUE
71 | bus_LV_5464-10_0_3_node_30 | 0.4 | n |  | TRUE
72 | bus_LV_5464-10_0_3_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_5464-10_0_3_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_5464-10_0_3_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_5464-10_0_3_node_31 | 0.4 | n |  | TRUE
76 | bus_LV_5464-10_0_3_node_32 | 0.4 | n |  | TRUE
77 | bus_LV_5464-10_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_5464-10_0_3_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_5464-10_0_3_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_5464-10_0_3_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_5464-10_0_3_node_47 | 0.4 | n |  | TRUE
82 | bus_LV_5464-10_0_3_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_5464-10_0_3_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_5464-10_0_3_node_50 | 0.4 | n |  | TRUE
85 | bus_MV_377_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5464-10_0_3_load_0 | 0 | 0.00077312 | 0.00019376 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5464-10_0_3_load_2 | 3 | 0.0018787 | 0.00047085 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5464-10_0_3_load_3 | 4 | 0.0014167 | 0.00035505 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5464-10_0_3_load_4 | 5 | 0.00053844 | 0.00013494 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5464-10_0_3_load_81 | 6 | 0.00074187 | 0.00018593 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5464-10_0_3_load_37 | 7 | 0.0072027 | 0.0018052 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5464-10_0_3_load_51 | 8 | 0.0008637 | 0.00021646 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5464-10_0_3_load_82 | 10 | 0.0010201 | 0.00025567 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5464-10_0_3_load_34 | 11 | 0.00047378 | 0.00011874 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5464-10_0_3_load_6 | 13 | 0.0064333 | 0.0016123 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5464-10_0_3_load_76 | 14 | 0.0020123 | 0.00050432 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5464-10_0_3_load_75 | 15 | 0.0012439 | 0.00031176 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5464-10_0_3_load_24 | 16 | 0.0042524 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5464-10_0_3_load_71 | 17 | 0.0046298 | 0.0011603 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5464-10_0_3_load_23 | 18 | 0.0017214 | 0.00043142 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5464-10_0_3_load_7 | 19 | 0.001993 | 0.00049948 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5464-10_0_3_load_8 | 20 | 0.0035233 | 0.00088302 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5464-10_0_3_load_9 | 21 | 0.001367 | 0.00034259 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5464-10_0_3_load_10 | 22 | 0.0027164 | 0.00068079 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5464-10_0_3_load_11 | 23 | 0.0040448 | 0.0010137 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5464-10_0_3_load_36 | 24 | 0.0023723 | 0.00059455 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5464-10_0_3_load_46 | 25 | 0.0053556 | 0.0013422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5464-10_0_3_load_65 | 26 | 0.0057345 | 0.0014372 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5464-10_0_3_load_84 | 27 | 0.0034163 | 0.00085619 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5464-10_0_3_load_45 | 28 | 0.0026112 | 0.00065442 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5464-10_0_3_load_55 | 29 | 0.0024463 | 0.00061311 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5464-10_0_3_load_12 | 30 | 0.0017386 | 0.00043573 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5464-10_0_3_load_13 | 31 | 0.0015947 | 0.00039966 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5464-10_0_3_load_14 | 32 | 0.0018036 | 0.00045202 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5464-10_0_3_load_15 | 33 | 0.0019227 | 0.00048188 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5464-10_0_3_load_16 | 34 | 0.001357 | 0.00034009 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5464-10_0_3_load_20 | 35 | 0.0016648 | 0.00041724 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5464-10_0_3_load_85 | 36 | 0.0019538 | 0.00048966 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5464-10_0_3_load_18 | 37 | 0.00060641 | 0.00015198 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5464-10_0_3_load_17 | 38 | 0.0017322 | 0.00043413 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5464-10_0_3_load_22 | 41 | 0.0031321 | 0.00078498 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5464-10_0_3_load_25 | 42 | 0.0019968 | 0.00050045 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5464-10_0_3_load_26 | 43 | 0.0031355 | 0.00078583 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5464-10_0_3_load_27 | 44 | 0.0017842 | 0.00044716 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5464-10_0_3_load_38 | 45 | 0.00082022 | 0.00020557 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5464-10_0_3_load_28 | 46 | 0.0029301 | 0.00073435 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5464-10_0_3_load_39 | 47 | 0.0015155 | 0.00037983 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5464-10_0_3_load_40 | 48 | 0.00093978 | 0.00023553 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5464-10_0_3_load_41 | 49 | 0.0026845 | 0.0006728 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5464-10_0_3_load_42 | 50 | 0.0019468 | 0.00048791 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5464-10_0_3_load_44 | 52 | 0.0027619 | 0.00069219 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5464-10_0_3_load_74 | 53 | 0.0020613 | 0.00051662 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5464-10_0_3_load_77 | 54 | 0.0011009 | 0.0002759 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5464-10_0_3_load_57 | 55 | 0.0039779 | 0.00099696 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5464-10_0_3_load_58 | 56 | 0.0024133 | 0.00060483 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5464-10_0_3_load_59 | 57 | 0.0032622 | 0.00081758 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5464-10_0_3_load_60 | 58 | 0.0035292 | 0.00088451 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5464-10_0_3_load_63 | 60 | 0.001836 | 0.00046014 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5464-10_0_3_load_64 | 61 | 0.0027897 | 0.00069916 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5464-10_0_3_load_66 | 62 | 0.0034553 | 0.00086599 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5464-10_0_3_load_68 | 63 | 0.0011109 | 0.00027841 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5464-10_0_3_load_67 | 64 | 0.0018298 | 0.00045859 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5464-10_0_3_load_70 | 65 | 0.0033 | 0.00082705 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5464-10_0_3_load_69 | 66 | 0.0010937 | 0.00027412 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5464-10_0_3_load_73 | 67 | 0.0027235 | 0.00068256 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5464-10_0_3_load_72 | 68 | 0.00096803 | 0.00024261 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5464-10_0_3_load_78 | 69 | 0.00068362 | 0.00017133 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5464-10_0_3_load_29 | 70 | 0.0015471 | 0.00038773 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5464-10_0_3_load_30 | 71 | 0.0016298 | 0.00040846 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5464-10_0_3_load_52 | 72 | 0.001697 | 0.00042531 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5464-10_0_3_load_53 | 73 | 0.0034376 | 0.00086156 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5464-10_0_3_load_54 | 74 | 0.0039005 | 0.00097755 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5464-10_0_3_load_31 | 75 | 0.00067926 | 0.00017024 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5464-10_0_3_load_32 | 76 | 0.0013005 | 0.00032593 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5464-10_0_3_load_79 | 77 | 0.0021766 | 0.00054551 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5464-10_0_3_load_80 | 78 | 0.00044427 | 0.00011134 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5464-10_0_3_load_56 | 79 | 0.0032944 | 0.00082566 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5464-10_0_3_load_62 | 80 | 0.004456 | 0.0011168 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5464-10_0_3_load_47 | 81 | 0.0013712 | 0.00034366 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5464-10_0_3_load_48 | 82 | 0.0012463 | 0.00031236 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5464-10_0_3_load_49 | 83 | 0.00050623 | 0.00012687 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5464-10_0_3_load_50 | 84 | 0.00075798 | 0.00018997 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5464-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.063769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5464-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.12193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5464-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.07631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5464-10_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.061789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5464-10_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.03346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5464-10_0_3_line_5 | NAYY 4x150 SE | 3 | 9 | 0.01408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5464-10_0_3_line_6 | NAYY 4x150 SE | 4 | 10 | 0.017835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5464-10_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.081362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5464-10_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.031971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5464-10_0_3_line_9 | NAYY 4x150 SE | 7 | 24 | 0.0023138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5464-10_0_3_line_10 | NAYY 4x150 SE | 8 | 83 | 0.0081965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5464-10_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.019937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5464-10_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.038378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5464-10_0_3_line_13 | NAYY 4x150 SE | 12 | 36 | 0.090698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5464-10_0_3_line_14 | NAYY 4x150 SE | 12 | 33 | 0.12234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5464-10_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.28972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5464-10_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.02178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5464-10_0_3_line_17 | NAYY 4x150 SE | 15 | 67 | 0.03845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5464-10_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.088181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_5464-10_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.029038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5464-10_0_3_line_20 | NAYY 4x150 SE | 17 | 68 | 0.011588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5464-10_0_3_line_21 | NAYY 4x150 SE | 17 | 66 | 0.037611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5464-10_0_3_line_22 | NAYY 4x150 SE | 18 | 40 | 0.028511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5464-10_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.0065216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5464-10_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.0027405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5464-10_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.025808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5464-10_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.0065929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5464-10_0_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.030361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5464-10_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.022355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5464-10_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.040221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5464-10_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.031553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5464-10_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.0014175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5464-10_0_3_line_32 | NAYY 4x150 SE | 29 | 73 | 0.011249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5464-10_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.025536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5464-10_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.030369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5464-10_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.0086055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5464-10_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.023373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5464-10_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.010397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5464-10_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.023171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5464-10_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0093635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5464-10_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.00621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5464-10_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.074426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5464-10_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.038234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5464-10_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.018914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5464-10_0_3_line_44 | NAYY 4x150 SE | 40 | 43 | 0.014085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5464-10_0_3_line_45 | NAYY 4x150 SE | 41 | 44 | 0.00038445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5464-10_0_3_line_46 | NAYY 4x150 SE | 42 | 45 | 0.074195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5464-10_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.022249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5464-10_0_3_line_48 | NAYY 4x150 SE | 46 | 70 | 0.010106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5464-10_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.016139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5464-10_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.024142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5464-10_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.010744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5464-10_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.046243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5464-10_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.011542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5464-10_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0045223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5464-10_0_3_line_55 | NAYY 4x150 SE | 51 | 54 | 0.029106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5464-10_0_3_line_56 | NAYY 4x150 SE | 53 | 68 | 0.033327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5464-10_0_3_line_57 | NAYY 4x150 SE | 54 | 69 | 0.018491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5464-10_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.0025467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5464-10_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0078536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_5464-10_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.013993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5464-10_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.01813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_5464-10_0_3_line_62 | NAYY 4x150 SE | 58 | 80 | 0.024281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5464-10_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.020993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5464-10_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.0051343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_5464-10_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.024597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5464-10_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 0.030122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_5464-10_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.034095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5464-10_0_3_line_68 | NAYY 4x150 SE | 63 | 66 | 0.0047498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_5464-10_0_3_line_69 | NAYY 4x150 SE | 64 | 65 | 0.040288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5464-10_0_3_line_70 | NAYY 4x150 SE | 65 | 67 | 0.032985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5464-10_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0033179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5464-10_0_3_line_72 | NAYY 4x150 SE | 71 | 75 | 0.014405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5464-10_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.011023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5464-10_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.0059236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5464-10_0_3_line_75 | NAYY 4x150 SE | 74 | 79 | 0.018639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5464-10_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0097302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5464-10_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.010344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5464-10_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0072967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5464-10_0_3_line_79 | NAYY 4x150 SE | 78 | 84 | 0.0155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5464-10_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0080955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5464-10_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.015752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5464-10_0_3_line_82 | NAYY 4x150 SE | 81 | 83 | 0.010336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5464-10_0_3_line_83 | NAYY 4x150 SE | 82 | 84 | 0.0080207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5464-10_0_3_trafo_57 | 0.25 MVA 20/0.4 kV | 85 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2568882.986 | 1196897.0084 | 2568869.1179 | 1196901.7723 | 2568820.8597 | 1196892.6899
1 | 2568820.8597 | 1196892.6899 | 2568713.1121 | 1196949.7708
2 | 2568882.986 | 1196897.0084 | 2568892.9187 | 1196904.3939 | 2568943.5101 | 1196943.4818
3 | 2568882.986 | 1196897.0084 | 2568833.0222 | 1196861.0387 | 2568832.8414 | 1196860.9052
4 | 2568713.1121 | 1196949.7708 | 2568694.222 | 1196932.2382 | 2568688.1567 | 1196927.5144
5 | 2568954.3696 | 1196952.4331 | 2568949.0594 | 1196947.7693 | 2568943.5101 | 1196943.4818
6 | 2568832.8414 | 1196860.9052 | 2568818.4928 | 1196850.3126
7 | 2568829.676 | 1197040.2777 | 2568772.9062 | 1197098.5607
8 | 2568848.7898 | 1197065.1734 | 2568843.7622 | 1197060.6248 | 2568834.7664 | 1197051.767 | 2568829.676 | 1197040.2777
9 | 2568772.9062 | 1197098.5607 | 2568770.9087 | 1197097.393
10 | 2568848.7898 | 1197065.1734 | 2568854.8679 | 1197070.6725
11 | 2568954.3696 | 1196952.4331 | 2568940.1844 | 1196966.4813
12 | 2568983.2395 | 1196977.8078 | 2568954.3696 | 1196952.4331
13 | 2568983.2395 | 1196977.8078 | 2569036.6168 | 1196904.4792
14 | 2568950.5844 | 1197095.7087 | 2568983.2395 | 1196977.8078
15 | 2568998.9849 | 1197450.884 | 2569108.2756 | 1197719.2001
16 | 2568998.9849 | 1197450.884 | 2568982.9139 | 1197436.1845
17 | 2568954.6293 | 1197410.1387 | 2568968.0457 | 1197422.5851 | 2568982.9139 | 1197436.1845
18 | 2569015.4216 | 1197268.0876 | 2568973.3657 | 1197345.5939
19 | 2569015.4216 | 1197268.0876 | 2569033.6594 | 1197245.4916
20 | 2568973.3657 | 1197345.5939 | 2568981.6999 | 1197353.645
21 | 2568944.6457 | 1197321.4744 | 2568958.7592 | 1197331.4837 | 2568973.3657 | 1197345.5939
22 | 2569042.3119 | 1197219.1768 | 2569041.2874 | 1197233.0897 | 2569033.6594 | 1197245.4916
23 | 2568771.6826 | 1197226.0422 | 2568777.9912 | 1197227.6955
24 | 2568780.6421 | 1197228.3903 | 2568777.9912 | 1197227.6955
25 | 2568746.7177 | 1197219.4996 | 2568771.6826 | 1197226.0422
26 | 2568780.6421 | 1197228.3903 | 2568785.2613 | 1197229.6008 | 2568786.7767 | 1197230.6046
27 | 2568718.38 | 1197209.065 | 2568730.9887 | 1197215.3775 | 2568746.7177 | 1197219.4996
28 | 2568805.4141 | 1197242.9489 | 2568786.7767 | 1197230.6046
29 | 2568718.38 | 1197209.065 | 2568717.5715 | 1197249.2775
30 | 2568690.1653 | 1197194.9393 | 2568718.38 | 1197209.065
31 | 2568805.4141 | 1197242.9489 | 2568806.5959 | 1197243.7317
32 | 2568815.9743 | 1197249.9434 | 2568806.5959 | 1197243.7317
33 | 2568971.8997 | 1197122.3785 | 2568955.9571 | 1197102.431
34 | 2568992.0218 | 1197144.9164 | 2568986.5707 | 1197140.7348 | 2568971.8997 | 1197122.3785
35 | 2568950.5844 | 1197095.7087 | 2568955.9571 | 1197102.431
36 | 2569010.5669 | 1197159.1423 | 2568992.0218 | 1197144.9164
37 | 2569010.5669 | 1197159.1423 | 2569010.5669 | 1197159.1423 | 2569015.8688 | 1197168.0863 | 2569015.8688 | 1197168.0863
38 | 2568997.2499 | 1197176.0151 | 2569003.923 | 1197177.7092 | 2569010.9568 | 1197175.5381 | 2569015.8688 | 1197168.0863
39 | 2568997.2499 | 1197176.0151 | 2568988.1743 | 1197173.7112
40 | 2568982.1344 | 1197175.1545 | 2568988.1743 | 1197173.7112 | 2568988.1743 | 1197173.7112
41 | 2569042.3119 | 1197219.1768 | 2568982.1344 | 1197175.1545
42 | 2568982.1344 | 1197175.1545 | 2568958.0542 | 1197164.0293 | 2568949.372 | 1197156.1742
43 | 2569042.3119 | 1197219.1768 | 2569035.2802 | 1197223.2377 | 2569029.3204 | 1197221.0342 | 2569025.8907 | 1197218.2153
44 | 2569042.3119 | 1197219.1768 | 2569053.6795 | 1197227.494
45 | 2568949.372 | 1197156.1742 | 2568949.0869 | 1197155.9162
46 | 2568963.864 | 1197178.3513 | 2568972.5543 | 1197181.2744 | 2568991.965 | 1197192.3016 | 2569015.8657 | 1197209.9758 | 2569025.8907 | 1197218.2153
47 | 2568949.0869 | 1197155.9162 | 2568932.5883 | 1197140.9893
48 | 2568932.5883 | 1197140.9893 | 2568925.0945 | 1197134.2093
49 | 2569075.9117 | 1197387.2068 | 2569087.8508 | 1197398.0663
50 | 2569075.9117 | 1197387.2068 | 2569061.5329 | 1197374.1282 | 2569057.212 | 1197372.2656
51 | 2569095.7985 | 1197405.2955 | 2569087.8508 | 1197398.0663
52 | 2569012.2661 | 1197374.5288 | 2569019.6333 | 1197370.5883 | 2569028.0973 | 1197369.5994 | 2569054.9836 | 1197371.3051 | 2569057.212 | 1197372.2656
53 | 2569096.8808 | 1197415.4896 | 2569098.478 | 1197407.7327 | 2569095.7985 | 1197405.2955
54 | 2569012.2661 | 1197374.5288 | 2569008.0009 | 1197373.026
55 | 2569012.2661 | 1197374.5288 | 2569037.2235 | 1197389.5048
56 | 2569008.0009 | 1197373.026 | 2568998.1809 | 1197369.566 | 2568981.6999 | 1197353.645
57 | 2569053.0788 | 1197399.019 | 2569037.2235 | 1197389.5048
58 | 2568891.6271 | 1197282.796 | 2568889.1043 | 1197282.448
59 | 2568891.6271 | 1197282.796 | 2568891.6271 | 1197282.796 | 2568898.4042 | 1197286.7646
60 | 2568889.1043 | 1197282.448 | 2568877.9612 | 1197280.9108 | 2568875.2172 | 1197280.9097
61 | 2568912.0131 | 1197298.3315 | 2568906.1347 | 1197291.2916 | 2568898.4042 | 1197286.7646
62 | 2568852.5435 | 1197273.8301 | 2568856.9254 | 1197276.6072 | 2568868.0601 | 1197280.9069 | 2568875.2172 | 1197280.9097
63 | 2568912.0131 | 1197298.3315 | 2568900.4716 | 1197315.8665
64 | 2568912.0131 | 1197298.3315 | 2568916.2012 | 1197301.3016
65 | 2568900.4716 | 1197315.8665 | 2568886.9483 | 1197336.4124
66 | 2568916.2012 | 1197301.3016 | 2568940.7713 | 1197318.7267
67 | 2568886.9483 | 1197336.4124 | 2568882.4227 | 1197343.2882 | 2568886.6312 | 1197351.4151 | 2568897.8824 | 1197362.0288 | 2568898.8877 | 1197362.7623
68 | 2568944.6457 | 1197321.4744 | 2568940.7713 | 1197318.7267
69 | 2568898.8877 | 1197362.7623 | 2568920.7723 | 1197378.7297 | 2568930.4478 | 1197387.7056
70 | 2568930.4478 | 1197387.7056 | 2568954.6293 | 1197410.1387
71 | 2568922.6341 | 1197131.9833 | 2568925.0945 | 1197134.2093
72 | 2568922.6341 | 1197131.9833 | 2568911.9522 | 1197122.3189
73 | 2568825.1642 | 1197256.0303 | 2568815.9743 | 1197249.9434
74 | 2568825.1642 | 1197256.0303 | 2568830.1028 | 1197259.3013
75 | 2568845.7056 | 1197269.4965 | 2568840.8322 | 1197266.4079 | 2568830.1028 | 1197259.3013
76 | 2568911.9522 | 1197122.3189 | 2568904.7368 | 1197115.7909
77 | 2568904.7368 | 1197115.7909 | 2568897.0659 | 1197108.8508
78 | 2568891.6551 | 1197103.9554 | 2568897.0659 | 1197108.8508
79 | 2568891.6551 | 1197103.9554 | 2568880.1611 | 1197093.5563
80 | 2568845.7056 | 1197269.4965 | 2568852.5435 | 1197273.8301
81 | 2568862.5327 | 1197077.6072 | 2568874.2134 | 1197088.1751
82 | 2568862.5327 | 1197077.6072 | 2568854.8679 | 1197070.6725
83 | 2568874.2134 | 1197088.1751 | 2568880.1611 | 1197093.5563

## bus_geodata
| x | y | coords
0 | 2568820.8597 | 1196892.6899
1 | 2568882.986 | 1196897.0084
2 | 2568713.1121 | 1196949.7708
3 | 2568943.5101 | 1196943.4818
4 | 2568832.8414 | 1196860.9052
5 | 2568688.1567 | 1196927.5144
6 | 2568829.676 | 1197040.2777
7 | 2568772.9062 | 1197098.5607
8 | 2568848.7898 | 1197065.1734
9 | 2568954.3696 | 1196952.4331
10 | 2568818.4928 | 1196850.3126
11 | 2568940.1844 | 1196966.4813
12 | 2568983.2395 | 1196977.8078
13 | 2569108.2756 | 1197719.2001
14 | 2568998.9849 | 1197450.884
15 | 2568982.9139 | 1197436.1845
16 | 2569015.4216 | 1197268.0876
17 | 2568973.3657 | 1197345.5939
18 | 2569033.6594 | 1197245.4916
19 | 2568777.9912 | 1197227.6955
20 | 2568771.6826 | 1197226.0422
21 | 2568780.6421 | 1197228.3903
22 | 2568746.7177 | 1197219.4996
23 | 2568786.7767 | 1197230.6046
24 | 2568770.9087 | 1197097.393
25 | 2568718.3801 | 1197209.065
26 | 2568805.4141 | 1197242.9489
27 | 2568717.5715 | 1197249.2775
28 | 2568690.1653 | 1197194.9393
29 | 2568806.5959 | 1197243.7317
30 | 2568971.8997 | 1197122.3785
31 | 2568955.9571 | 1197102.431
32 | 2568992.0218 | 1197144.9164
33 | 2568950.5844 | 1197095.7087
34 | 2569010.5669 | 1197159.1423
35 | 2569015.8688 | 1197168.0863
36 | 2569036.6168 | 1196904.4792
37 | 2568997.2499 | 1197176.0151
38 | 2568988.1743 | 1197173.7112
39 | 2568982.1344 | 1197175.1545
40 | 2569042.3119 | 1197219.1768
41 | 2568949.372 | 1197156.1742
42 | 2569025.8907 | 1197218.2153
43 | 2569053.6795 | 1197227.494
44 | 2568949.0869 | 1197155.9162
45 | 2568963.864 | 1197178.3513
46 | 2568932.5883 | 1197140.9893
47 | 2569075.9117 | 1197387.2068
48 | 2569087.8508 | 1197398.0663
49 | 2569057.212 | 1197372.2657
50 | 2569095.7985 | 1197405.2955
51 | 2569012.2661 | 1197374.5288
52 | 2569096.8808 | 1197415.4896
53 | 2569008.0009 | 1197373.026
54 | 2569037.2235 | 1197389.5048
55 | 2568891.6271 | 1197282.796
56 | 2568889.1043 | 1197282.448
57 | 2568898.4042 | 1197286.7646
58 | 2568875.2172 | 1197280.9097
59 | 2568912.0131 | 1197298.3315
60 | 2568900.4716 | 1197315.8665
61 | 2568916.2012 | 1197301.3016
62 | 2568886.9483 | 1197336.4124
63 | 2568940.7713 | 1197318.7267
64 | 2568898.8877 | 1197362.7623
65 | 2568930.4478 | 1197387.7056
66 | 2568944.6457 | 1197321.4744
67 | 2568954.6293 | 1197410.1387
68 | 2568981.6999 | 1197353.645
69 | 2569053.0788 | 1197399.019
70 | 2568925.0945 | 1197134.2093
71 | 2568922.6341 | 1197131.9833
72 | 2568825.1642 | 1197256.0303
73 | 2568815.9743 | 1197249.9434
74 | 2568830.1028 | 1197259.3013
75 | 2568911.9522 | 1197122.3189
76 | 2568904.7368 | 1197115.7909
77 | 2568897.0659 | 1197108.8508
78 | 2568891.6551 | 1197103.9554
79 | 2568845.7056 | 1197269.4965
80 | 2568852.5435 | 1197273.8301
81 | 2568862.5327 | 1197077.6072
82 | 2568874.2134 | 1197088.1751
83 | 2568854.8679 | 1197070.6725
84 | 2568880.1611 | 1197093.5563
85 | 2568912.0131 | 1197298.3315

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1