## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5464-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5464-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5464-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5464-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5464-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5464-15_0_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_5464-15_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_5464-15_0_3_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_5464-15_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_5464-15_0_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_5464-15_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5464-15_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_5464-15_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_5464-15_0_3_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5464-15_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5464-15_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5464-15_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5464-15_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5464-15_0_3_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_5464-15_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5464-15_0_3_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_5464-15_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5464-15_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5464-15_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_5464-15_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5464-15_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5464-15_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_5464-15_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_5464-15_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5464-15_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5464-15_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5464-15_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5464-15_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_5464-15_0_3_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_5464-15_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_5464-15_0_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_5464-15_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5464-15_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_5464-15_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_5464-15_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_5464-15_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5464-15_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_5464-15_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5464-15_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5464-15_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5464-15_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5464-15_0_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_5464-15_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5464-15_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_5464-15_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_5464-15_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_5464-15_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_5464-15_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_5464-15_0_3_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_5464-15_0_3_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_5464-15_0_3_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_5464-15_0_3_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_5464-15_0_3_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_5464-15_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_5464-15_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_5464-15_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_5464-15_0_3_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_5464-15_0_3_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_5464-15_0_3_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_5464-15_0_3_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_5464-15_0_3_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_5464-15_0_3_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_5464-15_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_5464-15_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_5464-15_0_3_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_5464-15_0_3_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_5464-15_0_3_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_5464-15_0_3_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_5464-15_0_3_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_5464-15_0_3_node_51 | 0.4 | n |  | TRUE
75 | bus_MV_377_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5464-15_0_3_load_0 | 0 | 0.0053383 | 0.0013379 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5464-15_0_3_load_1 | 1 | 0.0095322 | 0.002389 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5464-15_0_3_load_3 | 3 | 0.0063528 | 0.0015922 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5464-15_0_3_load_30 | 7 | 0.0010598 | 0.0002656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5464-15_0_3_load_20 | 8 | 0.0036344 | 0.00091086 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5464-15_0_3_load_21 | 9 | 0.0035467 | 0.00088889 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5464-15_0_3_load_12 | 11 | 0.0032787 | 0.00082172 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5464-15_0_3_load_31 | 12 | 0.00064362 | 0.00016131 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5464-15_0_3_load_5 | 13 | 0.0020158 | 0.00050521 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5464-15_0_3_load_6 | 14 | 0.0019549 | 0.00048994 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5464-15_0_3_load_7 | 15 | 0.0010828 | 0.00027138 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5464-15_0_3_load_8 | 16 | 0.0041359 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5464-15_0_3_load_17 | 17 | 0.00069247 | 0.00017355 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5464-15_0_3_load_55 | 18 | 0.0023944 | 0.00060008 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5464-15_0_3_load_56 | 20 | 0.010945 | 0.0027431 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5464-15_0_3_load_15 | 21 | 0.0015037 | 0.00037687 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5464-15_0_3_load_18 | 22 | 0.002457 | 0.00061578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5464-15_0_3_load_10 | 23 | 0.0023366 | 0.0005856 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5464-15_0_3_load_11 | 24 | 0.0025556 | 0.0006405 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5464-15_0_3_load_13 | 25 | 0.0050869 | 0.0012749 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5464-15_0_3_load_29 | 26 | 0.0036519 | 0.00091526 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5464-15_0_3_load_25 | 27 | 0.0019944 | 0.00049985 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5464-15_0_3_load_27 | 28 | 0.0027275 | 0.00068357 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5464-15_0_3_load_24 | 29 | 0.0020132 | 0.00050456 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5464-15_0_3_load_26 | 30 | 0.0010868 | 0.00027239 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5464-15_0_3_load_22 | 31 | 0.00099847 | 0.00025024 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5464-15_0_3_load_28 | 32 | 0.0017731 | 0.00044437 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5464-15_0_3_load_50 | 33 | 0.0019972 | 0.00050056 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5464-15_0_3_load_54 | 34 | 0.0068806 | 0.0017245 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5464-15_0_3_load_49 | 35 | 0.0039441 | 0.00098847 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5464-15_0_3_load_23 | 36 | 0.002063 | 0.00051704 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5464-15_0_3_load_41 | 37 | 0.00057866 | 0.00014503 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5464-15_0_3_load_42 | 38 | 0.0018948 | 0.00047488 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5464-15_0_3_load_32 | 39 | 0.0042341 | 0.0010612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5464-15_0_3_load_33 | 40 | 0.0041786 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5464-15_0_3_load_34 | 41 | 0.0048765 | 0.0012222 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5464-15_0_3_load_35 | 42 | 0.0016928 | 0.00042425 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5464-15_0_3_load_36 | 43 | 0.0015942 | 0.00039956 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5464-15_0_3_load_37 | 44 | 0.0017942 | 0.00044967 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5464-15_0_3_load_38 | 45 | 0.0018349 | 0.00045987 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5464-15_0_3_load_62 | 46 | 0.001188 | 0.00029774 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5464-15_0_3_load_39 | 47 | 0.0014981 | 0.00037547 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5464-15_0_3_load_57 | 48 | 0.0014138 | 0.00035433 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5464-15_0_3_load_58 | 49 | 0.002355 | 0.00059021 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5464-15_0_3_load_59 | 50 | 0.00072529 | 0.00018177 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5464-15_0_3_load_70 | 53 | 0.0020379 | 0.00051074 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5464-15_0_3_load_63 | 54 | 0.0015812 | 0.00039629 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5464-15_0_3_load_64 | 55 | 0.00095435 | 0.00023918 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5464-15_0_3_load_69 | 56 | 0.0010187 | 0.00025532 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5464-15_0_3_load_65 | 57 | 0.0010267 | 0.00025731 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5464-15_0_3_load_66 | 58 | 0.001386 | 0.00034735 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5464-15_0_3_load_67 | 59 | 0.001056 | 0.00026466 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5464-15_0_3_load_68 | 60 | 0.0026446 | 0.00066281 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5464-15_0_3_load_72 | 61 | 0.001306 | 0.0003273 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5464-15_0_3_load_74 | 62 | 0.003208 | 0.000804 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5464-15_0_3_load_71 | 63 | 0.0013147 | 0.0003295 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5464-15_0_3_load_73 | 64 | 0.0020397 | 0.00051119 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5464-15_0_3_load_40 | 65 | 0.0014059 | 0.00035236 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5464-15_0_3_load_45 | 66 | 0.0058917 | 0.0014766 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5464-15_0_3_load_46 | 67 | 0.0029765 | 0.00074597 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5464-15_0_3_load_43 | 68 | 0.00087338 | 0.00021889 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5464-15_0_3_load_47 | 70 | 0.0030646 | 0.00076805 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5464-15_0_3_load_48 | 71 | 0.0040368 | 0.0010117 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5464-15_0_3_load_53 | 72 | 0.0020799 | 0.00052127 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5464-15_0_3_load_52 | 73 | 0.0028145 | 0.00070539 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5464-15_0_3_load_51 | 74 | 0.0041463 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5464-15_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5464-15_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.008277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5464-15_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0088853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5464-15_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5464-15_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.028841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5464-15_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.006053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5464-15_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.029969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5464-15_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.019455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5464-15_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.027515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5464-15_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.016998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5464-15_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.017879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5464-15_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.06026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5464-15_0_3_line_12 | NAYY 4x150 SE | 8 | 33 | 0.00087661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5464-15_0_3_line_13 | NAYY 4x150 SE | 9 | 34 | 0.038048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5464-15_0_3_line_14 | NAYY 4x150 SE | 10 | 21 | 0.066556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5464-15_0_3_line_15 | NAYY 4x150 SE | 10 | 15 | 0.020603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5464-15_0_3_line_16 | NAYY 4x150 SE | 11 | 23 | 0.011886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5464-15_0_3_line_17 | NAYY 4x150 SE | 12 | 39 | 0.017226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5464-15_0_3_line_18 | NAYY 4x150 SE | 13 | 14 | 0.02877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5464-15_0_3_line_19 | NAYY 4x150 SE | 13 | 15 | 0.00252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5464-15_0_3_line_20 | NAYY 4x150 SE | 14 | 16 | 0.001925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5464-15_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.0075075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5464-15_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.028629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5464-15_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.049775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5464-15_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.01894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5464-15_0_3_line_25 | NAYY 4x150 SE | 19 | 22 | 0.047514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5464-15_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.025627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5464-15_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.0067936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5464-15_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.11981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5464-15_0_3_line_29 | NAYY 4x150 SE | 26 | 32 | 0.012902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5464-15_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.014712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5464-15_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.058296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5464-15_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.020677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5464-15_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.032247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5464-15_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.08256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5464-15_0_3_line_35 | NAYY 4x150 SE | 31 | 36 | 0.014881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5464-15_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.010553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5464-15_0_3_line_37 | NAYY 4x150 SE | 35 | 74 | 0.0017531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_5464-15_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.029442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5464-15_0_3_line_39 | NAYY 4x150 SE | 38 | 68 | 0.02059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5464-15_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.033743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5464-15_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.026564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5464-15_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.02412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5464-15_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0023045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5464-15_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0015645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5464-15_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.050523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5464-15_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.017611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5464-15_0_3_line_47 | NAYY 4x150 SE | 46 | 54 | 0.013088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5464-15_0_3_line_48 | NAYY 4x150 SE | 47 | 65 | 0.016025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5464-15_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.014986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5464-15_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.023844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5464-15_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.065168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5464-15_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.022559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5464-15_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.028894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5464-15_0_3_line_54 | NAYY 4x150 SE | 53 | 63 | 0.011828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5464-15_0_3_line_55 | NAYY 4x150 SE | 53 | 56 | 0.016325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5464-15_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.012051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5464-15_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.01947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5464-15_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.049093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5464-15_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.037611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5464-15_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.026301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5464-15_0_3_line_61 | NAYY 4x150 SE | 58 | 61 | 0.043452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5464-15_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.03099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5464-15_0_3_line_63 | NAYY 4x150 SE | 61 | 64 | 0.02097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5464-15_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.021036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5464-15_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.0082291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5464-15_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.013101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5464-15_0_3_line_67 | NAYY 4x150 SE | 67 | 71 | 0.010562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5464-15_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.023592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5464-15_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0087258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5464-15_0_3_line_70 | NAYY 4x150 SE | 69 | 71 | 0.014003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5464-15_0_3_line_71 | NAYY 4x150 SE | 70 | 72 | 0.0054018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5464-15_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.0050821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5464-15_0_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.010007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5464-15_0_3_trafo_51 | 0.25 MVA 20/0.4 kV | 75 | 74 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2569221.5406 | 1197138.6888 | 2569238.5564 | 1197145.4421
1 | 2569213.8271 | 1197135.6873 | 2569218.5663 | 1197137.5083 | 2569221.5406 | 1197138.6888
2 | 2569238.5564 | 1197145.4421 | 2569246.815 | 1197148.7198
3 | 2569213.8271 | 1197135.6873 | 2569195.0534 | 1197128.4915
4 | 2569272.7807 | 1197161.2193 | 2569253.4068 | 1197151.336 | 2569246.815 | 1197148.7198
5 | 2569195.0534 | 1197128.4915 | 2569189.3832 | 1197126.3308
6 | 2569195.0534 | 1197128.4915 | 2569209.604 | 1197102.2915
7 | 2569272.7807 | 1197161.2193 | 2569281.8249 | 1197166.3421 | 2569289.6573 | 1197170.8979
8 | 2569272.7807 | 1197161.2193 | 2569287.3142 | 1197137.8559
9 | 2569173.4713 | 1197120.2319 | 2569189.3832 | 1197126.3308
10 | 2569189.3832 | 1197126.3308 | 2569177.848 | 1197139.9907
11 | 2569209.604 | 1197102.2915 | 2569231.9321 | 1197062.0871 | 2569238.5065 | 1197049.4201
12 | 2569290.4151 | 1197171.3386 | 2569289.6573 | 1197170.8979
13 | 2569307.6826 | 1197105.7203 | 2569294.8152 | 1197125.7975 | 2569287.3142 | 1197137.8559
14 | 2569173.4713 | 1197120.2319 | 2569116.1668 | 1197086.3816
15 | 2569173.4713 | 1197120.2319 | 2569182.4436 | 1197101.6848
16 | 2569177.848 | 1197139.9907 | 2569170.1793 | 1197149.0719
17 | 2569246.4421 | 1197034.1303 | 2569238.5065 | 1197049.4201
18 | 2569183.541 | 1197099.4163 | 2569196.0698 | 1197073.5172
19 | 2569182.4436 | 1197101.6848 | 2569183.541 | 1197099.4163
20 | 2569196.9081 | 1197071.7843 | 2569196.0698 | 1197073.5172
21 | 2569110.8215 | 1197047.9333 | 2569112.9407 | 1197040.7311
22 | 2569101.2292 | 1197074.7367 | 2569104.5819 | 1197069.1385 | 2569110.8215 | 1197047.9333
23 | 2569126.9912 | 1196992.9809 | 2569112.9407 | 1197040.7311
24 | 2569101.2292 | 1197074.7367 | 2569116.1668 | 1197086.3816
25 | 2569101.2292 | 1197074.7367 | 2569063.7549 | 1197045.5264
26 | 2569153.6451 | 1197168.6515 | 2569170.1793 | 1197149.0719
27 | 2569149.262 | 1197173.842 | 2569153.6451 | 1197168.6515
28 | 2569149.262 | 1197173.842 | 2569131.2125 | 1197292.2805
29 | 2569141.0065 | 1197300.6671 | 2569135.9494 | 1197296.0331 | 2569131.2125 | 1197292.2805
30 | 2569167.0987 | 1197324.5761 | 2569156.2516 | 1197314.6366
31 | 2569187.8523 | 1197374.5239 | 2569189.392 | 1197369.5301 | 2569189.5563 | 1197357.1336 | 2569186.3329 | 1197344.9992 | 2569176.4849 | 1197333.177 | 2569167.0987 | 1197324.5761
32 | 2569141.0065 | 1197300.6671 | 2569156.2516 | 1197314.6366
33 | 2569187.8523 | 1197374.5239 | 2569179.5495 | 1197401.4539 | 2569179.7654 | 1197405.5144
34 | 2569179.7654 | 1197405.5144 | 2569097.5 | 1197412.4824
35 | 2569179.7654 | 1197405.5144 | 2569180.0051 | 1197410.0229 | 2569184.0073 | 1197419.5852
36 | 2569299.4388 | 1197176.7962 | 2569297.8904 | 1197175.6867 | 2569290.4151 | 1197171.3386
37 | 2569299.4388 | 1197176.7962 | 2569300.8639 | 1197177.8173
38 | 2569315.4942 | 1197274.0135 | 2569316.5988 | 1197244.5923
39 | 2569316.5988 | 1197244.5923 | 2569317.3713 | 1197224.0163
40 | 2569433.8802 | 1197268.3453 | 2569422.1726 | 1197252.4008 | 2569416.4042 | 1197245.9157 | 2569412.5602 | 1197242.2921
41 | 2569433.8802 | 1197268.3453 | 2569449.6025 | 1197289.7574
42 | 2569412.5602 | 1197242.2921 | 2569411.1846 | 1197240.9954 | 2569402.5542 | 1197234.8474 | 2569392.6301 | 1197228.7781
43 | 2569449.6025 | 1197289.7574 | 2569450.9664 | 1197291.615
44 | 2569391.2953 | 1197227.9618 | 2569392.6301 | 1197228.7781
45 | 2569450.9664 | 1197291.615 | 2569430.2413 | 1197337.6912
46 | 2569376.2714 | 1197218.7736 | 2569391.2953 | 1197227.9618
47 | 2569430.2413 | 1197337.6912 | 2569440.8681 | 1197345.3312
48 | 2569376.2714 | 1197218.7736 | 2569361.9868 | 1197211.5114
49 | 2569586.6685 | 1197317.4763 | 2569575.6777 | 1197307.2896 | 2569575.6777 | 1197307.2896
50 | 2569575.6777 | 1197307.2896 | 2569570.7146 | 1197306.3255 | 2569557.6718 | 1197319.8491
51 | 2569512.4322 | 1197366.7563 | 2569557.6718 | 1197319.8491
52 | 2569512.4322 | 1197366.7563 | 2569504.9533 | 1197359.3461 | 2569497.1302 | 1197350.17
53 | 2569479.7161 | 1197373.2606 | 2569497.1302 | 1197350.17
54 | 2569479.7161 | 1197373.2606 | 2569472.6359 | 1197382.7354
55 | 2569479.7161 | 1197373.2606 | 2569466.4609 | 1197363.731
56 | 2569450.6528 | 1197352.3659 | 2569440.8681 | 1197345.3312
57 | 2569450.6528 | 1197352.3659 | 2569466.4609 | 1197363.731
58 | 2569415.9288 | 1197395.3789 | 2569448.8987 | 1197417.3426 | 2569454.3832 | 1197425.071
59 | 2569384.6273 | 1197374.5268 | 2569415.9288 | 1197395.3789
60 | 2569454.3832 | 1197425.071 | 2569469.6044 | 1197446.5196
61 | 2569487.4431 | 1197396.8731 | 2569454.3832 | 1197425.071
62 | 2569469.6044 | 1197446.5196 | 2569485.8445 | 1197469.4039 | 2569487.6132 | 1197471.7378
63 | 2569504.6068 | 1197408.9215 | 2569487.4431 | 1197396.8731
64 | 2569472.6359 | 1197382.7354 | 2569475.3916 | 1197388.4133 | 2569487.4431 | 1197396.8731
65 | 2569361.9868 | 1197211.5114 | 2569355.6839 | 1197208.3071 | 2569354.6008 | 1197207.8963
66 | 2569342.1712 | 1197203.8761 | 2569346.0533 | 1197204.6546 | 2569354.6008 | 1197207.8963
67 | 2569331.748 | 1197202.2081 | 2569337.5675 | 1197202.9529 | 2569342.1712 | 1197203.8761
68 | 2569317.8586 | 1197200.4307 | 2569317.5851 | 1197218.3196 | 2569317.3713 | 1197224.0163
69 | 2569317.8586 | 1197200.4307 | 2569316.054 | 1197194.6035 | 2569314.9958 | 1197192.2006
70 | 2569317.8586 | 1197200.4307 | 2569331.748 | 1197202.2081
71 | 2569312.2491 | 1197187.5957 | 2569313.9193 | 1197189.7563 | 2569314.9958 | 1197192.2006
72 | 2569308.7964 | 1197183.9086 | 2569310.4612 | 1197185.2827 | 2569312.2491 | 1197187.5957
73 | 2569308.7964 | 1197183.9086 | 2569305.0534 | 1197180.8193 | 2569300.8639 | 1197177.8173

## bus_geodata
| x | y | coords
0 | 2569221.5406 | 1197138.6888
1 | 2569238.5564 | 1197145.4421
2 | 2569213.8271 | 1197135.6873
3 | 2569246.815 | 1197148.7198
4 | 2569195.0534 | 1197128.4915
5 | 2569272.7807 | 1197161.2193
6 | 2569189.3832 | 1197126.3308
7 | 2569209.604 | 1197102.2915
8 | 2569289.6573 | 1197170.8979
9 | 2569287.3142 | 1197137.8559
10 | 2569173.4713 | 1197120.2319
11 | 2569177.848 | 1197139.9907
12 | 2569238.5065 | 1197049.4201
13 | 2569183.541 | 1197099.4163
14 | 2569196.0698 | 1197073.5172
15 | 2569182.4436 | 1197101.6848
16 | 2569196.9081 | 1197071.7843
17 | 2569110.8215 | 1197047.9333
18 | 2569112.9407 | 1197040.7311
19 | 2569101.2292 | 1197074.7367
20 | 2569126.9912 | 1196992.9809
21 | 2569116.1668 | 1197086.3816
22 | 2569063.7549 | 1197045.5264
23 | 2569170.1793 | 1197149.0719
24 | 2569153.6451 | 1197168.6515
25 | 2569149.262 | 1197173.842
26 | 2569131.2125 | 1197292.2805
27 | 2569167.0987 | 1197324.5761
28 | 2569156.2516 | 1197314.6366
29 | 2569187.8523 | 1197374.5239
30 | 2569097.5 | 1197412.4824
31 | 2569179.7654 | 1197405.5144
32 | 2569141.0065 | 1197300.6671
33 | 2569290.4151 | 1197171.3386
34 | 2569307.6826 | 1197105.7203
35 | 2569299.4388 | 1197176.7962
36 | 2569184.0073 | 1197419.5852
37 | 2569315.4942 | 1197274.0135
38 | 2569316.5988 | 1197244.5923
39 | 2569246.4421 | 1197034.1303
40 | 2569433.8802 | 1197268.3453
41 | 2569412.5602 | 1197242.2921
42 | 2569449.6025 | 1197289.7574
43 | 2569392.6301 | 1197228.7781
44 | 2569450.9664 | 1197291.615
45 | 2569391.2953 | 1197227.9618
46 | 2569430.2413 | 1197337.6912
47 | 2569376.2714 | 1197218.7736
48 | 2569586.6685 | 1197317.4763
49 | 2569575.6777 | 1197307.2896
50 | 2569557.6718 | 1197319.8491
51 | 2569512.4322 | 1197366.7563
52 | 2569497.1302 | 1197350.17
53 | 2569479.7161 | 1197373.2606
54 | 2569440.8681 | 1197345.3312
55 | 2569450.6528 | 1197352.3659
56 | 2569466.4609 | 1197363.731
57 | 2569415.9288 | 1197395.3789
58 | 2569454.3832 | 1197425.071
59 | 2569384.6273 | 1197374.5268
60 | 2569469.6044 | 1197446.5196
61 | 2569487.4431 | 1197396.8731
62 | 2569487.6132 | 1197471.7378
63 | 2569472.6359 | 1197382.7354
64 | 2569504.6068 | 1197408.9215
65 | 2569361.9868 | 1197211.5114
66 | 2569354.6008 | 1197207.8963
67 | 2569342.1712 | 1197203.8761
68 | 2569317.3713 | 1197224.0163
69 | 2569317.8586 | 1197200.4307
70 | 2569314.9958 | 1197192.2006
71 | 2569331.748 | 1197202.2081
72 | 2569312.2491 | 1197187.5957
73 | 2569308.7964 | 1197183.9086
74 | 2569300.8639 | 1197177.8173
75 | 2569300.8639 | 1197177.8173

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1