## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5464-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5464-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5464-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5464-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5464-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5464-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5464-4_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_5464-4_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_5464-4_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5464-4_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_5464-4_0_3_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_5464-4_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_5464-4_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_5464-4_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5464-4_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_5464-4_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5464-4_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5464-4_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5464-4_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5464-4_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5464-4_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_5464-4_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5464-4_0_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_5464-4_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5464-4_0_3_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_5464-4_0_3_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_5464-4_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_5464-4_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_5464-4_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_5464-4_0_3_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_5464-4_0_3_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_5464-4_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_5464-4_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_5464-4_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5464-4_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5464-4_0_3_node_113 | 0.4 | n |  | TRUE
36 | bus_LV_5464-4_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5464-4_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5464-4_0_3_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_5464-4_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5464-4_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5464-4_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5464-4_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5464-4_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5464-4_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5464-4_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_5464-4_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_5464-4_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5464-4_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_5464-4_0_3_node_114 | 0.4 | n |  | TRUE
50 | bus_LV_5464-4_0_3_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_5464-4_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_5464-4_0_3_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_5464-4_0_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_5464-4_0_3_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_5464-4_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_5464-4_0_3_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5464-4_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_5464-4_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5464-4_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5464-4_0_3_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_5464-4_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_5464-4_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5464-4_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5464-4_0_3_node_188 | 0.4 | n |  | TRUE
65 | bus_LV_5464-4_0_3_node_179 | 0.4 | n |  | TRUE
66 | bus_LV_5464-4_0_3_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_5464-4_0_3_node_94 | 0.4 | n |  | TRUE
68 | bus_LV_5464-4_0_3_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_5464-4_0_3_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_5464-4_0_3_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_5464-4_0_3_node_138 | 0.4 | n |  | TRUE
72 | bus_LV_5464-4_0_3_node_129 | 0.4 | n |  | TRUE
73 | bus_LV_5464-4_0_3_node_139 | 0.4 | n |  | TRUE
74 | bus_LV_5464-4_0_3_node_99 | 0.4 | n |  | TRUE
75 | bus_LV_5464-4_0_3_node_104 | 0.4 | n |  | TRUE
76 | bus_LV_5464-4_0_3_node_131 | 0.4 | n |  | TRUE
77 | bus_LV_5464-4_0_3_node_127 | 0.4 | n |  | TRUE
78 | bus_LV_5464-4_0_3_node_105 | 0.4 | n |  | TRUE
79 | bus_LV_5464-4_0_3_node_106 | 0.4 | n |  | TRUE
80 | bus_LV_5464-4_0_3_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_5464-4_0_3_node_100 | 0.4 | n |  | TRUE
82 | bus_LV_5464-4_0_3_node_101 | 0.4 | n |  | TRUE
83 | bus_LV_5464-4_0_3_node_103 | 0.4 | n |  | TRUE
84 | bus_LV_5464-4_0_3_node_130 | 0.4 | n |  | TRUE
85 | bus_LV_5464-4_0_3_node_128 | 0.4 | n |  | TRUE
86 | bus_LV_5464-4_0_3_node_118 | 0.4 | n |  | TRUE
87 | bus_LV_5464-4_0_3_node_120 | 0.4 | n |  | TRUE
88 | bus_LV_5464-4_0_3_node_117 | 0.4 | n |  | TRUE
89 | bus_LV_5464-4_0_3_node_121 | 0.4 | n |  | TRUE
90 | bus_LV_5464-4_0_3_node_107 | 0.4 | n |  | TRUE
91 | bus_LV_5464-4_0_3_node_108 | 0.4 | n |  | TRUE
92 | bus_LV_5464-4_0_3_node_109 | 0.4 | n |  | TRUE
93 | bus_LV_5464-4_0_3_node_110 | 0.4 | n |  | TRUE
94 | bus_LV_5464-4_0_3_node_111 | 0.4 | n |  | TRUE
95 | bus_LV_5464-4_0_3_node_112 | 0.4 | n |  | TRUE
96 | bus_LV_5464-4_0_3_node_145 | 0.4 | n |  | TRUE
97 | bus_LV_5464-4_0_3_node_116 | 0.4 | n |  | TRUE
98 | bus_LV_5464-4_0_3_node_148 | 0.4 | n |  | TRUE
99 | bus_LV_5464-4_0_3_node_144 | 0.4 | n |  | TRUE
100 | bus_LV_5464-4_0_3_node_154 | 0.4 | n |  | TRUE
101 | bus_LV_5464-4_0_3_node_147 | 0.4 | n |  | TRUE
102 | bus_LV_5464-4_0_3_node_153 | 0.4 | n |  | TRUE
103 | bus_LV_5464-4_0_3_node_122 | 0.4 | n |  | TRUE
104 | bus_LV_5464-4_0_3_node_123 | 0.4 | n |  | TRUE
105 | bus_LV_5464-4_0_3_node_173 | 0.4 | n |  | TRUE
106 | bus_LV_5464-4_0_3_node_124 | 0.4 | n |  | TRUE
107 | bus_LV_5464-4_0_3_node_175 | 0.4 | n |  | TRUE
108 | bus_LV_5464-4_0_3_node_171 | 0.4 | n |  | TRUE
109 | bus_LV_5464-4_0_3_node_172 | 0.4 | n |  | TRUE
110 | bus_LV_5464-4_0_3_node_125 | 0.4 | n |  | TRUE
111 | bus_LV_5464-4_0_3_node_126 | 0.4 | n |  | TRUE
112 | bus_LV_5464-4_0_3_node_156 | 0.4 | n |  | TRUE
113 | bus_LV_5464-4_0_3_node_155 | 0.4 | n |  | TRUE
114 | bus_LV_5464-4_0_3_node_137 | 0.4 | n |  | TRUE
115 | bus_LV_5464-4_0_3_node_135 | 0.4 | n |  | TRUE
116 | bus_LV_5464-4_0_3_node_132 | 0.4 | n |  | TRUE
117 | bus_LV_5464-4_0_3_node_133 | 0.4 | n |  | TRUE
118 | bus_LV_5464-4_0_3_node_134 | 0.4 | n |  | TRUE
119 | bus_LV_5464-4_0_3_node_149 | 0.4 | n |  | TRUE
120 | bus_LV_5464-4_0_3_node_146 | 0.4 | n |  | TRUE
121 | bus_LV_5464-4_0_3_node_177 | 0.4 | n |  | TRUE
122 | bus_LV_5464-4_0_3_node_150 | 0.4 | n |  | TRUE
123 | bus_LV_5464-4_0_3_node_174 | 0.4 | n |  | TRUE
124 | bus_LV_5464-4_0_3_node_164 | 0.4 | n |  | TRUE
125 | bus_LV_5464-4_0_3_node_136 | 0.4 | n |  | TRUE
126 | bus_LV_5464-4_0_3_node_140 | 0.4 | n |  | TRUE
127 | bus_LV_5464-4_0_3_node_141 | 0.4 | n |  | TRUE
128 | bus_LV_5464-4_0_3_node_142 | 0.4 | n |  | TRUE
129 | bus_LV_5464-4_0_3_node_143 | 0.4 | n |  | TRUE
130 | bus_LV_5464-4_0_3_node_151 | 0.4 | n |  | TRUE
131 | bus_LV_5464-4_0_3_node_152 | 0.4 | n |  | TRUE
132 | bus_LV_5464-4_0_3_node_157 | 0.4 | n |  | TRUE
133 | bus_LV_5464-4_0_3_node_159 | 0.4 | n |  | TRUE
134 | bus_LV_5464-4_0_3_node_160 | 0.4 | n |  | TRUE
135 | bus_LV_5464-4_0_3_node_161 | 0.4 | n |  | TRUE
136 | bus_LV_5464-4_0_3_node_162 | 0.4 | n |  | TRUE
137 | bus_LV_5464-4_0_3_node_163 | 0.4 | n |  | TRUE
138 | bus_LV_5464-4_0_3_node_166 | 0.4 | n |  | TRUE
139 | bus_LV_5464-4_0_3_node_185 | 0.4 | n |  | TRUE
140 | bus_LV_5464-4_0_3_node_165 | 0.4 | n |  | TRUE
141 | bus_LV_5464-4_0_3_node_170 | 0.4 | n |  | TRUE
142 | bus_LV_5464-4_0_3_node_167 | 0.4 | n |  | TRUE
143 | bus_LV_5464-4_0_3_node_183 | 0.4 | n |  | TRUE
144 | bus_LV_5464-4_0_3_node_168 | 0.4 | n |  | TRUE
145 | bus_LV_5464-4_0_3_node_176 | 0.4 | n |  | TRUE
146 | bus_LV_5464-4_0_3_node_169 | 0.4 | n |  | TRUE
147 | bus_LV_5464-4_0_3_node_182 | 0.4 | n |  | TRUE
148 | bus_LV_5464-4_0_3_node_178 | 0.4 | n |  | TRUE
149 | bus_LV_5464-4_0_3_node_184 | 0.4 | n |  | TRUE
150 | bus_MV_377_0_node_192 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5464-4_0_3_load_0 | 0 | 0.001466 | 0.0003674 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5464-4_0_3_load_1 | 1 | 0.00034254 | 8.5848e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5464-4_0_3_load_4 | 4 | 0.00096943 | 0.00024296 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5464-4_0_3_load_5 | 5 | 0.00076532 | 0.00019181 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5464-4_0_3_load_14 | 7 | 0.00034147 | 8.558e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5464-4_0_3_load_11 | 8 | 0.00097445 | 0.00024422 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5464-4_0_3_load_15 | 9 | 0.0044962 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5464-4_0_3_load_57 | 10 | 0.00069061 | 0.00017308 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5464-4_0_3_load_55 | 11 | 0.00025269 | 6.3331e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5464-4_0_3_load_6 | 15 | 0.0031006 | 0.00077709 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5464-4_0_3_load_8 | 17 | 0.00095358 | 0.00023899 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5464-4_0_3_load_9 | 18 | 0.00053955 | 0.00013522 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5464-4_0_3_load_10 | 19 | 0.00048571 | 0.00012173 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5464-4_0_3_load_40 | 20 | 0.001809 | 0.00045339 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5464-4_0_3_load_20 | 21 | 0.001197 | 0.00029999 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5464-4_0_3_load_18 | 23 | 0.0015289 | 0.00038317 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5464-4_0_3_load_48 | 24 | 0.00085461 | 0.00021419 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5464-4_0_3_load_53 | 25 | 0.0010627 | 0.00026634 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5464-4_0_3_load_47 | 26 | 0.00074191 | 0.00018594 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5464-4_0_3_load_45 | 27 | 0.0019155 | 0.00048006 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5464-4_0_3_load_54 | 28 | 0.00020674 | 5.1813e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5464-4_0_3_load_56 | 29 | 0.00020682 | 5.1833e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5464-4_0_3_load_58 | 30 | 0.0006718 | 0.00016837 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5464-4_0_3_load_28 | 32 | 0.0018757 | 0.0004701 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5464-4_0_3_load_21 | 33 | 0.0034904 | 0.00087479 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5464-4_0_3_load_25 | 34 | 0.0013715 | 0.00034372 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5464-4_0_3_load_19 | 36 | 0.001594 | 0.00039949 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5464-4_0_3_load_26 | 37 | 0.000929 | 0.00023283 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5464-4_0_3_load_17 | 38 | 0.0014614 | 0.00036626 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5464-4_0_3_load_22 | 39 | 0.00053332 | 0.00013366 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5464-4_0_3_load_23 | 40 | 0.00034124 | 8.5522e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5464-4_0_3_load_30 | 41 | 0.00077273 | 0.00019366 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5464-4_0_3_load_32 | 42 | 0.00016152 | 4.0481e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5464-4_0_3_load_29 | 43 | 0.00077494 | 0.00019422 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5464-4_0_3_load_41 | 45 | 0.004322 | 0.0010832 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5464-4_0_3_load_42 | 46 | 0.00034385 | 8.6177e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5464-4_0_3_load_43 | 47 | 0.0006437 | 0.00016133 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5464-4_0_3_load_49 | 48 | 0.0010776 | 0.00027007 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5464-4_0_3_load_115 | 50 | 0.00097998 | 0.00024561 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5464-4_0_3_load_59 | 53 | 0.00034259 | 8.5861e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5464-4_0_3_load_91 | 54 | 0.000951 | 0.00023834 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5464-4_0_3_load_35 | 55 | 0.00039581 | 9.9199e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5464-4_0_3_load_36 | 56 | 0.00070042 | 0.00017554 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5464-4_0_3_load_39 | 57 | 0.00092505 | 0.00023184 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5464-4_0_3_load_46 | 59 | 0.00050444 | 0.00012642 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5464-4_0_3_load_119 | 60 | 0.001132 | 0.00028372 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5464-4_0_3_load_50 | 61 | 0.00012019 | 3.0121e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5464-4_0_3_load_51 | 62 | 0.00047801 | 0.0001198 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5464-4_0_3_load_188 | 64 | 0.0019079 | 0.00047817 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5464-4_0_3_load_93 | 66 | 0.0006677 | 0.00016734 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5464-4_0_3_load_94 | 67 | 0.00096765 | 0.00024252 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5464-4_0_3_load_95 | 68 | 0.0013599 | 0.00034083 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5464-4_0_3_load_98 | 70 | 0.0014698 | 0.00036837 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5464-4_0_3_load_138 | 71 | 0.0020287 | 0.00050844 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5464-4_0_3_load_99 | 74 | 0.00066293 | 0.00016615 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5464-4_0_3_load_131 | 76 | 0.0026116 | 0.00065453 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5464-4_0_3_load_127 | 77 | 0.00081613 | 0.00020454 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5464-4_0_3_load_105 | 78 | 0.00074091 | 0.00018569 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5464-4_0_3_load_106 | 79 | 0.0003682 | 9.2279e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5464-4_0_3_load_102 | 80 | 0.0017788 | 0.00044581 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5464-4_0_3_load_100 | 81 | 0.00099947 | 0.00025049 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5464-4_0_3_load_101 | 82 | 0.0013344 | 0.00033444 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5464-4_0_3_load_103 | 83 | 0.0010578 | 0.00026511 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5464-4_0_3_load_130 | 84 | 0.0010005 | 0.00025074 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5464-4_0_3_load_128 | 85 | 0.0010458 | 0.00026209 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5464-4_0_3_load_118 | 86 | 0.00075822 | 0.00019003 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5464-4_0_3_load_120 | 87 | 0.00090974 | 0.000228 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5464-4_0_3_load_117 | 88 | 0.0015594 | 0.00039082 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5464-4_0_3_load_121 | 89 | 0.0005918 | 0.00014832 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5464-4_0_3_load_107 | 90 | 0.00065388 | 0.00016388 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5464-4_0_3_load_108 | 91 | 0.00096848 | 0.00024272 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5464-4_0_3_load_109 | 92 | 0.00089151 | 0.00022343 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5464-4_0_3_load_110 | 93 | 0.00049384 | 0.00012377 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5464-4_0_3_load_112 | 95 | 0.00087515 | 0.00021933 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5464-4_0_3_load_145 | 96 | 0.00084035 | 0.00021061 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5464-4_0_3_load_116 | 97 | 0.0028556 | 0.00071567 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5464-4_0_3_load_148 | 98 | 0.0050256 | 0.0012595 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5464-4_0_3_load_144 | 99 | 0.0020938 | 0.00052475 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5464-4_0_3_load_154 | 100 | 0.0038243 | 0.00095846 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5464-4_0_3_load_147 | 101 | 0.00094908 | 0.00023786 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5464-4_0_3_load_153 | 102 | 0.0014992 | 0.00037574 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5464-4_0_3_load_122 | 103 | 0.00086527 | 0.00021686 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5464-4_0_3_load_123 | 104 | 0.00066181 | 0.00016587 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5464-4_0_3_load_124 | 106 | 0.00053681 | 0.00013454 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5464-4_0_3_load_175 | 107 | 0.0016551 | 0.00041481 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5464-4_0_3_load_171 | 108 | 0.00046935 | 0.00011763 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5464-4_0_3_load_126 | 111 | 0.00043251 | 0.0001084 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5464-4_0_3_load_156 | 112 | 0.00093072 | 0.00023326 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5464-4_0_3_load_155 | 113 | 0.00095267 | 0.00023876 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5464-4_0_3_load_137 | 114 | 0.002058 | 0.00051579 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5464-4_0_3_load_135 | 115 | 0.0014899 | 0.0003734 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5464-4_0_3_load_149 | 119 | 0.0015915 | 0.00039886 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5464-4_0_3_load_146 | 120 | 0.0017935 | 0.00044949 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5464-4_0_3_load_177 | 121 | 0.0019549 | 0.00048993 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5464-4_0_3_load_150 | 122 | 0.00059619 | 0.00014942 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5464-4_0_3_load_174 | 123 | 0.0016626 | 0.0004167 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5464-4_0_3_load_136 | 125 | 0.00053762 | 0.00013474 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5464-4_0_3_load_140 | 126 | 0.00058139 | 0.00014571 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5464-4_0_3_load_141 | 127 | 0.00092012 | 0.0002306 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5464-4_0_3_load_142 | 128 | 0.0038279 | 0.00095935 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5464-4_0_3_load_143 | 129 | 0.00076148 | 0.00019085 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5464-4_0_3_load_151 | 130 | 0.0015658 | 0.00039243 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5464-4_0_3_load_152 | 131 | 0.0033272 | 0.00083387 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5464-4_0_3_load_157 | 132 | 0.00055696 | 0.00013959 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5464-4_0_3_load_159 | 133 | 0.00071019 | 0.00017799 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5464-4_0_3_load_160 | 134 | 0.002227 | 0.00055814 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5464-4_0_3_load_162 | 136 | 0.00050718 | 0.00012711 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5464-4_0_3_load_185 | 139 | 0.00065292 | 0.00016364 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5464-4_0_3_load_170 | 141 | 0.0014427 | 0.00036158 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5464-4_0_3_load_167 | 142 | 0.0021694 | 0.00054369 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5464-4_0_3_load_183 | 143 | 0.0013398 | 0.00033579 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5464-4_0_3_load_168 | 144 | 0.0059701 | 0.0014962 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5464-4_0_3_load_176 | 145 | 0.001756 | 0.00044009 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5464-4_0_3_load_169 | 146 | 0.0028076 | 0.00070365 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5464-4_0_3_load_182 | 147 | 0.0016512 | 0.00041382 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5464-4_0_3_load_178 | 148 | 0.00082158 | 0.00020591 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5464-4_0_3_load_184 | 149 | 0.0012736 | 0.00031919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 96 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5464-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5464-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5464-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5464-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5464-4_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.032216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5464-4_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.004304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5464-4_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.023373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5464-4_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.021789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5464-4_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.020244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5464-4_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.018353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5464-4_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.028328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5464-4_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.067131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5464-4_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.014736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5464-4_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.023079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5464-4_0_3_line_14 | NAYY 4x150 SE | 10 | 28 | 0.011276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5464-4_0_3_line_15 | NAYY 4x150 SE | 11 | 29 | 0.0058113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5464-4_0_3_line_16 | NAYY 4x150 SE | 12 | 30 | 0.02687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5464-4_0_3_line_17 | NAYY 4x150 SE | 12 | 31 | 0.048025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5464-4_0_3_line_18 | NAYY 4x150 SE | 13 | 24 | 0.029815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5464-4_0_3_line_19 | NAYY 4x150 SE | 14 | 32 | 0.016496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5464-4_0_3_line_20 | NAYY 4x150 SE | 14 | 33 | 0.027285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5464-4_0_3_line_21 | NAYY 4x150 SE | 14 | 34 | 0.010804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5464-4_0_3_line_22 | NAYY 4x150 SE | 15 | 16 | 0.028909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5464-4_0_3_line_23 | NAYY 4x150 SE | 15 | 17 | 0.032241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5464-4_0_3_line_24 | NAYY 4x150 SE | 16 | 18 | 0.0087538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5464-4_0_3_line_25 | NAYY 4x150 SE | 16 | 19 | 0.020593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5464-4_0_3_line_26 | NAYY 4x150 SE | 18 | 20 | 0.016861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5464-4_0_3_line_27 | NAYY 4x150 SE | 19 | 21 | 0.012052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5464-4_0_3_line_28 | NAYY 4x150 SE | 20 | 22 | 0.024761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5464-4_0_3_line_29 | NAYY 4x150 SE | 21 | 23 | 0.0051316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5464-4_0_3_line_30 | NAYY 4x150 SE | 22 | 57 | 0.015019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5464-4_0_3_line_31 | NAYY 4x150 SE | 22 | 55 | 0.0032706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5464-4_0_3_line_32 | NAYY 4x150 SE | 23 | 38 | 0.011143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5464-4_0_3_line_33 | NAYY 4x150 SE | 24 | 25 | 0.011685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5464-4_0_3_line_34 | NAYY 4x150 SE | 26 | 27 | 0.017506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5464-4_0_3_line_35 | NAYY 4x150 SE | 27 | 58 | 0.017451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5464-4_0_3_line_36 | NAYY 4x150 SE | 28 | 63 | 0.014088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5464-4_0_3_line_37 | NAYY 4x150 SE | 30 | 53 | 0.011674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5464-4_0_3_line_38 | NAYY 4x150 SE | 31 | 51 | 0.046647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5464-4_0_3_line_39 | NAYY 4x150 SE | 31 | 43 | 0.023677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5464-4_0_3_line_40 | NAYY 4x150 SE | 32 | 35 | 0.0053988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5464-4_0_3_line_41 | NAYY 4x150 SE | 33 | 36 | 0.016249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5464-4_0_3_line_42 | NAYY 4x150 SE | 34 | 37 | 0.0027573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5464-4_0_3_line_43 | NAYY 4x150 SE | 35 | 49 | 0.02299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5464-4_0_3_line_44 | NAYY 4x150 SE | 35 | 50 | 0.01217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5464-4_0_3_line_45 | NAYY 4x150 SE | 36 | 38 | 0.0014669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5464-4_0_3_line_46 | NAYY 4x150 SE | 37 | 44 | 0.023037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5464-4_0_3_line_47 | NAYY 4x150 SE | 39 | 40 | 0.036593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5464-4_0_3_line_48 | NAYY 4x150 SE | 39 | 41 | 0.10674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5464-4_0_3_line_49 | NAYY 4x150 SE | 41 | 42 | 0.0074667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5464-4_0_3_line_50 | NAYY 4x150 SE | 41 | 43 | 0.016437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5464-4_0_3_line_51 | NAYY 4x150 SE | 44 | 45 | 0.0062133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5464-4_0_3_line_52 | NAYY 4x150 SE | 44 | 46 | 0.02212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5464-4_0_3_line_53 | NAYY 4x150 SE | 45 | 47 | 0.018103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5464-4_0_3_line_54 | NAYY 4x150 SE | 46 | 48 | 0.0097225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5464-4_0_3_line_55 | NAYY 4x150 SE | 47 | 58 | 0.013105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5464-4_0_3_line_56 | NAYY 4x150 SE | 49 | 98 | 0.029183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5464-4_0_3_line_57 | NAYY 4x150 SE | 49 | 94 | 0.031257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5464-4_0_3_line_58 | NAYY 4x150 SE | 50 | 100 | 0.0090073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5464-4_0_3_line_59 | NAYY 4x150 SE | 51 | 52 | 0.055688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5464-4_0_3_line_60 | NAYY 4x150 SE | 52 | 54 | 0.2386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5464-4_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.057429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5464-4_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.019201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5464-4_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.033924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5464-4_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.012379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5464-4_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.0067261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5464-4_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.086555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5464-4_0_3_line_67 | NAYY 4x150 SE | 65 | 139 | 0.12756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5464-4_0_3_line_68 | NAYY 4x150 SE | 65 | 148 | 0.062361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5464-4_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.014635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5464-4_0_3_line_70 | NAYY 4x150 SE | 66 | 68 | 0.02064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5464-4_0_3_line_71 | NAYY 4x150 SE | 67 | 69 | 0.014649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5464-4_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.049585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5464-4_0_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.2038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5464-4_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.019125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5464-4_0_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.037373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5464-4_0_3_line_76 | NAYY 4x150 SE | 72 | 76 | 0.0143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5464-4_0_3_line_77 | NAYY 4x150 SE | 72 | 77 | 0.031252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5464-4_0_3_line_78 | NAYY 4x150 SE | 73 | 110 | 0.23586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5464-4_0_3_line_79 | NAYY 4x150 SE | 74 | 75 | 0.051777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5464-4_0_3_line_80 | NAYY 4x150 SE | 75 | 78 | 0.020511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5464-4_0_3_line_81 | NAYY 4x150 SE | 75 | 79 | 0.018146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5464-4_0_3_line_82 | NAYY 4x150 SE | 75 | 80 | 0.027955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5464-4_0_3_line_83 | NAYY 4x150 SE | 76 | 114 | 0.030695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5464-4_0_3_line_84 | NAYY 4x150 SE | 77 | 85 | 0.019158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5464-4_0_3_line_85 | NAYY 4x150 SE | 78 | 86 | 0.010024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5464-4_0_3_line_86 | NAYY 4x150 SE | 79 | 87 | 0.030023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5464-4_0_3_line_87 | NAYY 4x150 SE | 80 | 81 | 0.0013563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5464-4_0_3_line_88 | NAYY 4x150 SE | 81 | 82 | 0.026147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5464-4_0_3_line_89 | NAYY 4x150 SE | 82 | 83 | 0.034596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5464-4_0_3_line_90 | NAYY 4x150 SE | 83 | 84 | 0.018633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5464-4_0_3_line_91 | NAYY 4x150 SE | 84 | 85 | 0.0016861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5464-4_0_3_line_92 | NAYY 4x150 SE | 86 | 88 | 0.035117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5464-4_0_3_line_93 | NAYY 4x150 SE | 87 | 89 | 0.014886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5464-4_0_3_line_94 | NAYY 4x150 SE | 88 | 97 | 0.0035921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5464-4_0_3_line_95 | NAYY 4x150 SE | 90 | 91 | 0.013557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5464-4_0_3_line_96 | NAYY 4x150 SE | 90 | 92 | 0.0036526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5464-4_0_3_line_97 | NAYY 4x150 SE | 91 | 93 | 0.0021631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5464-4_0_3_line_98 | NAYY 4x150 SE | 92 | 94 | 0.011415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5464-4_0_3_line_99 | NAYY 4x150 SE | 93 | 95 | 0.026705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5464-4_0_3_line_100 | NAYY 4x150 SE | 94 | 96 | 0.036563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
101 | LV_5464-4_0_3_line_101 | NAYY 4x150 SE | 95 | 97 | 0.0037939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5464-4_0_3_line_102 | NAYY 4x150 SE | 96 | 99 | 0.0066557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5464-4_0_3_line_103 | NAYY 4x150 SE | 98 | 101 | 0.012055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5464-4_0_3_line_104 | NAYY 4x150 SE | 99 | 128 | 0.026791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5464-4_0_3_line_105 | NAYY 4x150 SE | 100 | 102 | 0.0095686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5464-4_0_3_line_106 | NAYY 4x150 SE | 101 | 120 | 0.016937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5464-4_0_3_line_107 | NAYY 4x150 SE | 103 | 104 | 0.053273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5464-4_0_3_line_108 | NAYY 4x150 SE | 103 | 105 | 0.064452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5464-4_0_3_line_109 | NAYY 4x150 SE | 104 | 106 | 0.027824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5464-4_0_3_line_110 | NAYY 4x150 SE | 105 | 107 | 0.030166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5464-4_0_3_line_111 | NAYY 4x150 SE | 106 | 108 | 0.042567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5464-4_0_3_line_112 | NAYY 4x150 SE | 107 | 147 | 0.0098868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5464-4_0_3_line_113 | NAYY 4x150 SE | 108 | 109 | 0.02456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5464-4_0_3_line_114 | NAYY 4x150 SE | 109 | 123 | 0.040424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5464-4_0_3_line_115 | NAYY 4x150 SE | 110 | 111 | 0.053636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5464-4_0_3_line_116 | NAYY 4x150 SE | 111 | 112 | 0.0087853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_5464-4_0_3_line_117 | NAYY 4x150 SE | 112 | 113 | 0.013121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_5464-4_0_3_line_118 | NAYY 4x150 SE | 113 | 132 | 0.0053888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5464-4_0_3_line_119 | NAYY 4x150 SE | 114 | 115 | 0.037404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5464-4_0_3_line_120 | NAYY 4x150 SE | 115 | 125 | 0.0016966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5464-4_0_3_line_121 | NAYY 4x150 SE | 116 | 117 | 0.063394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5464-4_0_3_line_122 | NAYY 4x150 SE | 116 | 118 | 0.012811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5464-4_0_3_line_123 | NAYY 4x150 SE | 117 | 119 | 0.036325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5464-4_0_3_line_124 | NAYY 4x150 SE | 117 | 120 | 0.011868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5464-4_0_3_line_125 | NAYY 4x150 SE | 118 | 121 | 0.067368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5464-4_0_3_line_126 | NAYY 4x150 SE | 119 | 122 | 0.023789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5464-4_0_3_line_127 | NAYY 4x150 SE | 121 | 124 | 0.023936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5464-4_0_3_line_128 | NAYY 4x150 SE | 122 | 130 | 0.0031738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5464-4_0_3_line_129 | NAYY 4x150 SE | 123 | 140 | 0.053081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5464-4_0_3_line_130 | NAYY 4x150 SE | 124 | 140 | 0.014961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5464-4_0_3_line_131 | NAYY 4x150 SE | 124 | 141 | 0.015551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5464-4_0_3_line_132 | NAYY 4x150 SE | 124 | 135 | 0.020094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5464-4_0_3_line_133 | NAYY 4x150 SE | 126 | 127 | 0.0077442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5464-4_0_3_line_134 | NAYY 4x150 SE | 126 | 128 | 0.046057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_5464-4_0_3_line_135 | NAYY 4x150 SE | 127 | 129 | 0.032489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_5464-4_0_3_line_136 | NAYY 4x150 SE | 130 | 131 | 0.0184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_5464-4_0_3_line_137 | NAYY 4x150 SE | 133 | 134 | 0.029243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_5464-4_0_3_line_138 | NAYY 4x150 SE | 133 | 135 | 0.011103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_5464-4_0_3_line_139 | NAYY 4x150 SE | 134 | 136 | 0.0010245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_5464-4_0_3_line_140 | NAYY 4x150 SE | 135 | 137 | 0.034393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_5464-4_0_3_line_141 | NAYY 4x150 SE | 136 | 138 | 0.019802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_5464-4_0_3_line_142 | NAYY 4x150 SE | 137 | 139 | 0.056204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_5464-4_0_3_line_143 | NAYY 4x150 SE | 138 | 142 | 0.044513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_5464-4_0_3_line_144 | NAYY 4x150 SE | 139 | 143 | 0.025758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_5464-4_0_3_line_145 | NAYY 4x150 SE | 141 | 144 | 0.025586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_5464-4_0_3_line_146 | NAYY 4x150 SE | 142 | 145 | 0.016456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_5464-4_0_3_line_147 | NAYY 4x150 SE | 143 | 149 | 0.012019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_5464-4_0_3_line_148 | NAYY 4x150 SE | 144 | 146 | 0.065844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5464-4_0_3_trafo_145 | 0.25 MVA 20/0.4 kV | 150 | 96 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2567490.7433 | 1197442.2746 | 2567511.7799 | 1197463.3135
1 | 2567477.8477 | 1197429.3775 | 2567490.7433 | 1197442.2746
2 | 2567532.4405 | 1197483.9765 | 2567511.7799 | 1197463.3135
3 | 2567477.8477 | 1197429.3775 | 2567466.6901 | 1197441.3459
4 | 2567477.8477 | 1197429.3775 | 2567461.7562 | 1197412.8785 | 2567456.3495 | 1197405.4727
5 | 2567532.4405 | 1197483.9765 | 2567529.3418 | 1197486.9728
6 | 2567532.4405 | 1197483.9765 | 2567549.578 | 1197499.8703
7 | 2567451.8323 | 1197457.2833 | 2567466.6901 | 1197441.3459
8 | 2567446.7289 | 1197387.6903 | 2567449.2957 | 1197393.2803 | 2567455.7094 | 1197404.5959 | 2567456.3495 | 1197405.4727
9 | 2567529.3418 | 1197486.9728 | 2567517.2714 | 1197498.3225 | 2567515.972 | 1197499.5455
10 | 2567529.3418 | 1197486.9728 | 2567550.1953 | 1197506.1465
11 | 2567599.2225 | 1197545.0577 | 2567560.2193 | 1197509.7393 | 2567549.578 | 1197499.8703
12 | 2567441.7836 | 1197468.0622 | 2567451.8323 | 1197457.2833
13 | 2567438.4621 | 1197366.169 | 2567443.3838 | 1197380.4055 | 2567446.7289 | 1197387.6903
14 | 2567507.761 | 1197507.2739 | 2567515.972 | 1197499.5455
15 | 2567554.4732 | 1197510.0798 | 2567550.1953 | 1197506.1465
16 | 2567599.2225 | 1197545.0577 | 2567617.217 | 1197525.06
17 | 2567599.2225 | 1197545.0577 | 2567629.9511 | 1197572.7614 | 2567635.259 | 1197576.8904
18 | 2567441.7836 | 1197468.0622 | 2567464.1994 | 1197487.7215
19 | 2567438.4621 | 1197366.169 | 2567431.8952 | 1197351.036
20 | 2567438.4621 | 1197366.169 | 2567451.6303 | 1197367.5312 | 2567461.7878 | 1197372.6452 | 2567463.9127 | 1197374.2686
21 | 2567438.4621 | 1197366.169 | 2567430.0506 | 1197372.95
22 | 2567523.121 | 1197374.0671 | 2567539.8394 | 1197378.434 | 2567549.5099 | 1197384.894
23 | 2567566.1969 | 1197408.8294 | 2567567.7216 | 1197403.507 | 2567565.0211 | 1197397.1071 | 2567552.9794 | 1197387.2117 | 2567549.5099 | 1197384.894
24 | 2567523.121 | 1197374.0671 | 2567527.2296 | 1197371.9213 | 2567531.2652 | 1197371.0987
25 | 2567523.121 | 1197374.0671 | 2567506.9643 | 1197383.338 | 2567505.1075 | 1197383.9816
26 | 2567547.9667 | 1197372.7795 | 2567537.7809 | 1197371.0411 | 2567531.8247 | 1197370.9847 | 2567531.2652 | 1197371.0987
27 | 2567493.656 | 1197387.6598 | 2567495.0371 | 1197387.4719 | 2567505.1075 | 1197383.9816
28 | 2567572.3752 | 1197376.945 | 2567547.9667 | 1197372.7795
29 | 2567493.656 | 1197387.6598 | 2567489.588 | 1197388.2132 | 2567488.5678 | 1197388.1026
30 | 2567572.3752 | 1197376.945 | 2567578.9833 | 1197390.4386
31 | 2567572.3752 | 1197376.945 | 2567575.5774 | 1197377.61
32 | 2567488.5678 | 1197388.1026 | 2567484.2154 | 1197387.631 | 2567478.3611 | 1197385.3062 | 2567477.9904 | 1197385.023
33 | 2567464.1994 | 1197487.7215 | 2567472.9842 | 1197495.426
34 | 2567416.8534 | 1197446.0017 | 2567409.2197 | 1197439.2466 | 2567403.9718 | 1197434.154
35 | 2567391.4483 | 1197422.001 | 2567403.9718 | 1197434.154
36 | 2567497.5027 | 1197516.9294 | 2567507.761 | 1197507.2739
37 | 2567608.3032 | 1197517.4932 | 2567617.217 | 1197525.06
38 | 2567635.259 | 1197576.8904 | 2567640.2563 | 1197579.9316 | 2567644.4466 | 1197581.6209 | 2567648.3893 | 1197582.5889 | 2567653.9506 | 1197582.9034 | 2567656.4054 | 1197591.7727 | 2567657.8728 | 1197595.5334 | 2567666.0491 | 1197606.1616
39 | 2567635.259 | 1197576.8904 | 2567645.2025 | 1197567.9538 | 2567651.5466 | 1197559.8302
40 | 2567429.746 | 1197346.0834 | 2567431.8952 | 1197351.036
41 | 2567476.8247 | 1197384.1324 | 2567463.9127 | 1197374.2686
42 | 2567427.904 | 1197374.6805 | 2567430.0506 | 1197372.95
43 | 2567415.4903 | 1197328.3072 | 2567419.239 | 1197331.3773 | 2567424.012 | 1197336.5207 | 2567429.746 | 1197346.0834
44 | 2567429.746 | 1197346.0834 | 2567438.4997 | 1197340.9884 | 2567440.1607 | 1197339.8008
45 | 2567476.8247 | 1197384.1324 | 2567477.9904 | 1197385.023
46 | 2567410.6251 | 1197389.8675 | 2567417.0105 | 1197383.4624 | 2567427.904 | 1197374.6805
47 | 2567779.8085 | 1197511.7672 | 2567750.717 | 1197489.5688
48 | 2567659.9559 | 1197545.7393 | 2567750.717 | 1197489.5688
49 | 2567655.3626 | 1197539.8526 | 2567659.9559 | 1197545.7393
50 | 2567659.9559 | 1197545.7393 | 2567659.9559 | 1197545.7393 | 2567653.3634 | 1197557.5038 | 2567651.5466 | 1197559.8302
51 | 2567410.6251 | 1197389.8675 | 2567407.441 | 1197395.2029
52 | 2567410.6251 | 1197389.8675 | 2567395.3954 | 1197373.8257
53 | 2567398.1641 | 1197410.7478 | 2567407.441 | 1197395.2029
54 | 2567388.7013 | 1197366.7747 | 2567395.3954 | 1197373.8257
55 | 2567391.4483 | 1197422.001 | 2567398.1641 | 1197410.7478
56 | 2567415.4903 | 1197328.3072 | 2567417.2137 | 1197323.1394 | 2567417.5497 | 1197319.1131 | 2567417.238 | 1197315.0348 | 2567416.1725 | 1197309.6043 | 2567414.0043 | 1197303.0904 | 2567412.5753 | 1197300.2211
57 | 2567387.4027 | 1197314.5977 | 2567393.8426 | 1197316.7526 | 2567415.4903 | 1197328.3072
58 | 2567447.133 | 1197334.1126 | 2567442.5737 | 1197338.0757 | 2567440.1607 | 1197339.8008
59 | 2567699.0329 | 1197651.0073 | 2567678.2956 | 1197621.637 | 2567666.0491 | 1197606.1616
60 | 2567699.0329 | 1197651.0073 | 2567883.6985 | 1197802.0933
61 | 2567575.5774 | 1197377.61 | 2567579.6264 | 1197378.4508 | 2567587.1221 | 1197378.7213 | 2567592.3057 | 1197378.1595 | 2567598.1156 | 1197376.527 | 2567602.2425 | 1197374.937 | 2567606.8007 | 1197372.8111 | 2567610.9299 | 1197370.2428 | 2567616.0788 | 1197366.1015 | 2567621.7673 | 1197360.3563 | 2567625.1625 | 1197355.983
62 | 2567391.4483 | 1197422.001 | 2567379.5036 | 1197437.0346
63 | 2567358.4002 | 1197463.5952 | 2567379.5036 | 1197437.0346
64 | 2567492.6102 | 1197521.5449 | 2567483.6058 | 1197530.0398
65 | 2567497.5027 | 1197516.9294 | 2567492.6102 | 1197521.5449
66 | 2567391.4789 | 1196904.3288 | 2567449.327 | 1196839.9442
67 | 2567393.7992 | 1197031.8636 | 2567391.4789 | 1196904.3288
68 | 2567391.4789 | 1196904.3288 | 2567387.8639 | 1196903.4815 | 2567330.7367 | 1196890.2135
69 | 2567133.5733 | 1197354.3119 | 2567121.119 | 1197346.6254
70 | 2567133.5733 | 1197354.3119 | 2567138.5033 | 1197357.3546 | 2567149.9728 | 1197362.7944 | 2567151.9563 | 1197363.6315
71 | 2567108.6527 | 1197338.9314 | 2567121.119 | 1197346.6254
72 | 2567108.6527 | 1197338.9314 | 2567109.9106 | 1197336.4009 | 2567130.7121 | 1197294.5237
73 | 2567108.6527 | 1197338.9314 | 2566922.8853 | 1197255.1095
74 | 2567139.2199 | 1197277.3958 | 2567130.7121 | 1197294.5237
75 | 2566888.2512 | 1197241.0646 | 2566922.8853 | 1197255.1095
76 | 2567139.2199 | 1197277.3958 | 2567145.3615 | 1197264.4818
77 | 2567139.2199 | 1197277.3958 | 2567165.1431 | 1197294.8506
78 | 2566901.8713 | 1197005.5934 | 2566888.2512 | 1197241.0646
79 | 2567271.142 | 1197368.9202 | 2567244.4304 | 1197376.9379 | 2567227.6686 | 1197379.9539 | 2567220.8176 | 1197380.2442
80 | 2567271.142 | 1197368.9202 | 2567291.04 | 1197363.9421
81 | 2567271.142 | 1197368.9202 | 2567280.0197 | 1197378.1209 | 2567284.1627 | 1197381.5219
82 | 2567271.142 | 1197368.9202 | 2567263.7502 | 1197361.2455 | 2567249.4002 | 1197351.5832
83 | 2567158.5442 | 1197236.7619 | 2567145.3615 | 1197264.4818
84 | 2567165.1431 | 1197294.8506 | 2567181.0348 | 1197305.5509
85 | 2567300.7644 | 1197361.5092 | 2567291.04 | 1197363.9421
86 | 2567284.1627 | 1197381.5219 | 2567307.3683 | 1197400.5714
87 | 2567248.2751 | 1197350.8257 | 2567249.4002 | 1197351.5832
88 | 2567248.2751 | 1197350.8257 | 2567226.5863 | 1197336.222
89 | 2567197.8896 | 1197316.8997 | 2567226.5863 | 1197336.222
90 | 2567197.8896 | 1197316.8997 | 2567182.4334 | 1197306.4926
91 | 2567181.0348 | 1197305.5509 | 2567182.4334 | 1197306.4926
92 | 2567300.7644 | 1197361.5092 | 2567319.2559 | 1197356.883 | 2567328.2646 | 1197353.8653 | 2567334.2371 | 1197351.1652
93 | 2567318.8741 | 1197410.0165 | 2567307.3683 | 1197400.5714
94 | 2567337.4424 | 1197349.552 | 2567336.0063 | 1197350.3654 | 2567334.2371 | 1197351.1652
95 | 2567374.3056 | 1197321.7699 | 2567363.6416 | 1197330.1411
96 | 2567374.3056 | 1197321.7699 | 2567377.1787 | 1197319.5146
97 | 2567363.6416 | 1197330.1411 | 2567361.9402 | 1197331.4767
98 | 2567387.4027 | 1197314.5977 | 2567379.0362 | 1197318.0565 | 2567377.1787 | 1197319.5146
99 | 2567340.7437 | 1197347.6824 | 2567342.7258 | 1197346.5598 | 2567361.9402 | 1197331.4767
100 | 2567387.4027 | 1197314.5977 | 2567383.4604 | 1197302.6016 | 2567381.6894 | 1197299.0983 | 2567379.4552 | 1197295.8309 | 2567375.5425 | 1197292.028 | 2567366.5256 | 1197286.4635
101 | 2567337.4424 | 1197349.552 | 2567340.7437 | 1197347.6824
102 | 2567366.5256 | 1197286.4635 | 2567360.8616 | 1197282.968
103 | 2567412.5753 | 1197300.2211 | 2567408.7754 | 1197292.591 | 2567406.773 | 1197289.6829
104 | 2567337.6527 | 1197290.4732 | 2567341.053 | 1197285.9247 | 2567344.6793 | 1197283.3145 | 2567349.3167 | 1197281.766 | 2567354.9131 | 1197281.4685 | 2567360.5792 | 1197282.7938 | 2567360.8616 | 1197282.968
105 | 2567447.133 | 1197334.1126 | 2567454.3547 | 1197327.8354
106 | 2567396.3974 | 1197276.3583 | 2567400.7526 | 1197280.9396 | 2567406.773 | 1197289.6829
107 | 2567157.0988 | 1197135.6864 | 2567165.8066 | 1197140.2298 | 2567187.9962 | 1197151.8029 | 2567204.3706 | 1197160.2497
108 | 2567164.812 | 1197071.6978 | 2567157.0988 | 1197135.6864
109 | 2567204.3706 | 1197160.2497 | 2567229.0987 | 1197173.0058
110 | 2567164.812 | 1197071.6978 | 2567165.5501 | 1197068.8144 | 2567168.5098 | 1197055.7909 | 2567171.0393 | 1197042.1897
111 | 2567236.0865 | 1197131.0159 | 2567229.0987 | 1197173.0058
112 | 2567172.8471 | 1197032.4695 | 2567171.0393 | 1197042.1897
113 | 2567258.3366 | 1197139.7651 | 2567254.4187 | 1197139.2085 | 2567250.7675 | 1197138.6838 | 2567247.0006 | 1197137.893 | 2567243.8338 | 1197136.7987 | 2567240.3037 | 1197134.7503 | 2567236.0865 | 1197131.0159
114 | 2567258.3366 | 1197139.7651 | 2567260.1883 | 1197134.3742 | 2567263.5008 | 1197130.1092 | 2567267.2617 | 1197127.0313 | 2567272.5667 | 1197124.9677 | 2567278.7086 | 1197124.1225 | 2567291.2589 | 1197124.8585
115 | 2566901.8713 | 1197005.5934 | 2566904.3252 | 1197004.4569 | 2566907.5342 | 1197002.149 | 2566927.3522 | 1196982.8507 | 2566932.6023 | 1196977.7521 | 2566941.2 | 1196969.3823
116 | 2566947.495 | 1196963.2542 | 2566941.2 | 1196969.3823
117 | 2566956.8967 | 1196954.1017 | 2566947.495 | 1196963.2542
118 | 2566956.8967 | 1196954.1017 | 2566960.758 | 1196950.3428
119 | 2567174.6081 | 1197202.9835 | 2567158.5442 | 1197236.7619
120 | 2567174.6081 | 1197202.9835 | 2567175.3368 | 1197201.4514
121 | 2567388.2202 | 1197267.7565 | 2567354.2732 | 1197236.981 | 2567347.8229 | 1197231.5578 | 2567340.7452 | 1197225.6156
122 | 2567330.9281 | 1197217.3537 | 2567340.7452 | 1197225.6156
123 | 2567388.2202 | 1197267.7565 | 2567423.8739 | 1197274.709
124 | 2567388.2202 | 1197267.7565 | 2567396.3974 | 1197276.3583
125 | 2567330.9281 | 1197217.3537 | 2567330.7722 | 1197197.2547 | 2567331.1882 | 1197192.5498 | 2567332.5584 | 1197188.2511 | 2567347.2124 | 1197153.1547
126 | 2567423.8739 | 1197274.709 | 2567439.7385 | 1197277.8026 | 2567445.7523 | 1197280.0154 | 2567446.78 | 1197280.6693
127 | 2567356.4349 | 1197131.0668 | 2567347.2124 | 1197153.1547
128 | 2567446.78 | 1197280.6693 | 2567449.4577 | 1197282.3731
129 | 2567344.2739 | 1197127.3758 | 2567325.1613 | 1197126.8469 | 2567291.2589 | 1197124.8585
130 | 2567344.2739 | 1197127.3758 | 2567348.9794 | 1197127.0943 | 2567352.5525 | 1197125.8852 | 2567356.4349 | 1197131.0668
131 | 2567356.4349 | 1197131.0668 | 2567359.6917 | 1197134.6954 | 2567368.9691 | 1197139.9766
132 | 2567356.4349 | 1197131.0668 | 2567352.5525 | 1197125.8852 | 2567356.4179 | 1197123.7962 | 2567359.6685 | 1197120.7212 | 2567362.3738 | 1197116.8154
133 | 2567302.8497 | 1197297.029 | 2567302.8497 | 1197297.029 | 2567297.786 | 1197302.8884
134 | 2567302.8497 | 1197297.029 | 2567309.5262 | 1197290.9335 | 2567328.9027 | 1197302.1779 | 2567337.6527 | 1197290.4732
135 | 2567269.5326 | 1197294.9997 | 2567280.6647 | 1197300.0302 | 2567292.2483 | 1197306.8259 | 2567296.8935 | 1197303.921 | 2567297.786 | 1197302.8884
136 | 2567449.4577 | 1197282.3731 | 2567451.4691 | 1197283.6529 | 2567458.1205 | 1197288.2746 | 2567464.2566 | 1197293.2764
137 | 2567351.7229 | 1197113.6778 | 2567338.3659 | 1197109.743 | 2567336.0019 | 1197107.8216 | 2567334.2486 | 1197104.7739 | 2567333.8265 | 1197101.4189 | 2567335.4122 | 1197096.2839
138 | 2567362.3738 | 1197116.8154 | 2567351.7229 | 1197113.6778
139 | 2567335.7145 | 1197095.305 | 2567335.4122 | 1197096.2839
140 | 2567362.3738 | 1197116.8154 | 2567375.2538 | 1197084.9163
141 | 2567341.5572 | 1197076.385 | 2567335.7145 | 1197095.305
142 | 2567393.7992 | 1197031.8636 | 2567386.7813 | 1197053.5806 | 2567375.2538 | 1197084.9163
143 | 2567341.5572 | 1197076.385 | 2567311.5845 | 1197069.1565 | 2567308.5227 | 1197069.1733 | 2567305.3616 | 1197070.5136 | 2567302.3155 | 1197073.3874 | 2567300.9922 | 1197076.0775
144 | 2567393.7992 | 1197031.8636 | 2567409.4688 | 1197036.4471 | 2567417.8307 | 1197040.8101
145 | 2567391.2045 | 1197152.6344 | 2567368.9691 | 1197139.9766
146 | 2567300.9922 | 1197076.0775 | 2567293.7284 | 1197090.844
147 | 2567417.8307 | 1197040.8101 | 2567419.5057 | 1197041.684 | 2567429.2849 | 1197044.3251
148 | 2567391.2045 | 1197152.6344 | 2567427.3157 | 1197173.191 | 2567446.1467 | 1197184.9279 | 2567447.8131 | 1197186.2093

## bus_geodata
| x | y | coords
0 | 2567490.7433 | 1197442.2746
1 | 2567511.7799 | 1197463.3135
2 | 2567477.8477 | 1197429.3775
3 | 2567532.4405 | 1197483.9765
4 | 2567466.6901 | 1197441.3459
5 | 2567456.3495 | 1197405.4727
6 | 2567529.3418 | 1197486.9728
7 | 2567549.578 | 1197499.8703
8 | 2567451.8323 | 1197457.2833
9 | 2567446.7289 | 1197387.6903
10 | 2567515.972 | 1197499.5455
11 | 2567550.1953 | 1197506.1465
12 | 2567599.2225 | 1197545.0577
13 | 2567441.7836 | 1197468.0622
14 | 2567438.4621 | 1197366.169
15 | 2567549.5099 | 1197384.894
16 | 2567523.121 | 1197374.0671
17 | 2567566.1969 | 1197408.8294
18 | 2567531.2652 | 1197371.0987
19 | 2567505.1075 | 1197383.9816
20 | 2567547.9667 | 1197372.7795
21 | 2567493.656 | 1197387.6598
22 | 2567572.3752 | 1197376.945
23 | 2567488.5678 | 1197388.1026
24 | 2567464.1994 | 1197487.7215
25 | 2567472.9842 | 1197495.426
26 | 2567416.8534 | 1197446.0017
27 | 2567403.9718 | 1197434.154
28 | 2567507.761 | 1197507.2739
29 | 2567554.4732 | 1197510.0798
30 | 2567617.217 | 1197525.06
31 | 2567635.259 | 1197576.8904
32 | 2567431.8952 | 1197351.036
33 | 2567463.9127 | 1197374.2686
34 | 2567430.0506 | 1197372.95
35 | 2567429.746 | 1197346.0834
36 | 2567476.8247 | 1197384.1324
37 | 2567427.904 | 1197374.6805
38 | 2567477.9904 | 1197385.023
39 | 2567750.717 | 1197489.5688
40 | 2567779.8085 | 1197511.7672
41 | 2567659.9559 | 1197545.7393
42 | 2567655.3626 | 1197539.8526
43 | 2567651.5466 | 1197559.8302
44 | 2567410.6251 | 1197389.8675
45 | 2567407.441 | 1197395.2029
46 | 2567395.3954 | 1197373.8257
47 | 2567398.1641 | 1197410.7478
48 | 2567388.7013 | 1197366.7747
49 | 2567415.4903 | 1197328.3072
50 | 2567440.1607 | 1197339.8008
51 | 2567666.0491 | 1197606.1616
52 | 2567699.0329 | 1197651.0073
53 | 2567608.3032 | 1197517.4932
54 | 2567883.6985 | 1197802.0933
55 | 2567575.5774 | 1197377.61
56 | 2567625.1625 | 1197355.983
57 | 2567578.9833 | 1197390.4386
58 | 2567391.4483 | 1197422.001
59 | 2567379.5036 | 1197437.0346
60 | 2567358.4002 | 1197463.5952
61 | 2567492.6102 | 1197521.5449
62 | 2567483.6058 | 1197530.0398
63 | 2567497.5027 | 1197516.9294
64 | 2567449.327 | 1196839.9442
65 | 2567391.4789 | 1196904.3288
66 | 2567133.5733 | 1197354.3119
67 | 2567121.119 | 1197346.6254
68 | 2567151.9563 | 1197363.6315
69 | 2567108.6527 | 1197338.9314
70 | 2567130.7121 | 1197294.5237
71 | 2566922.8853 | 1197255.1095
72 | 2567139.2199 | 1197277.3958
73 | 2566888.2512 | 1197241.0646
74 | 2567220.8176 | 1197380.2442
75 | 2567271.142 | 1197368.9202
76 | 2567145.3615 | 1197264.4818
77 | 2567165.1431 | 1197294.8506
78 | 2567291.04 | 1197363.9421
79 | 2567284.1627 | 1197381.5219
80 | 2567249.4002 | 1197351.5832
81 | 2567248.2751 | 1197350.8257
82 | 2567226.5863 | 1197336.222
83 | 2567197.8896 | 1197316.8997
84 | 2567182.4334 | 1197306.4926
85 | 2567181.0348 | 1197305.5509
86 | 2567300.7644 | 1197361.5092
87 | 2567307.3683 | 1197400.5714
88 | 2567334.2371 | 1197351.1652
89 | 2567318.8741 | 1197410.0165
90 | 2567374.3056 | 1197321.7699
91 | 2567363.6416 | 1197330.1411
92 | 2567377.1787 | 1197319.5146
93 | 2567361.9402 | 1197331.4767
94 | 2567387.4027 | 1197314.5977
95 | 2567340.7437 | 1197347.6824
96 | 2567366.5256 | 1197286.4635
97 | 2567337.4424 | 1197349.552
98 | 2567412.5753 | 1197300.2211
99 | 2567360.8616 | 1197282.968
100 | 2567447.133 | 1197334.1126
101 | 2567406.773 | 1197289.6829
102 | 2567454.3547 | 1197327.8354
103 | 2567157.0988 | 1197135.6864
104 | 2567204.3706 | 1197160.2497
105 | 2567164.812 | 1197071.6978
106 | 2567229.0987 | 1197173.0058
107 | 2567171.0393 | 1197042.1897
108 | 2567236.0865 | 1197131.0159
109 | 2567258.3366 | 1197139.7651
110 | 2566901.8713 | 1197005.5934
111 | 2566941.2 | 1196969.3823
112 | 2566947.495 | 1196963.2542
113 | 2566956.8967 | 1196954.1017
114 | 2567158.5442 | 1197236.7619
115 | 2567174.6081 | 1197202.9835
116 | 2567340.7452 | 1197225.6156
117 | 2567388.2202 | 1197267.7565
118 | 2567330.9281 | 1197217.3537
119 | 2567423.8739 | 1197274.709
120 | 2567396.3974 | 1197276.3583
121 | 2567347.2124 | 1197153.1547
122 | 2567446.78 | 1197280.6693
123 | 2567291.2589 | 1197124.8585
124 | 2567356.4349 | 1197131.0668
125 | 2567175.3368 | 1197201.4514
126 | 2567302.8497 | 1197297.029
127 | 2567297.786 | 1197302.8884
128 | 2567337.6527 | 1197290.4732
129 | 2567269.5326 | 1197294.9997
130 | 2567449.4577 | 1197282.3731
131 | 2567464.2566 | 1197293.2764
132 | 2566960.758 | 1196950.3428
133 | 2567351.7229 | 1197113.6778
134 | 2567335.4122 | 1197096.2839
135 | 2567362.3738 | 1197116.8154
136 | 2567335.7145 | 1197095.305
137 | 2567375.2538 | 1197084.9163
138 | 2567341.5572 | 1197076.385
139 | 2567393.7992 | 1197031.8636
140 | 2567344.2739 | 1197127.3758
141 | 2567368.9691 | 1197139.9766
142 | 2567300.9922 | 1197076.0775
143 | 2567417.8307 | 1197040.8101
144 | 2567391.2045 | 1197152.6344
145 | 2567293.7284 | 1197090.844
146 | 2567447.8131 | 1197186.2093
147 | 2567172.8471 | 1197032.4695
148 | 2567330.7367 | 1196890.2135
149 | 2567429.2849 | 1197044.3251
150 | 2567387.4027 | 1197314.5977

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1