## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5464-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5464-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5464-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5464-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5464-5_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5464-5_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5464-5_0_3_node_102 | 0.4 | n |  | TRUE
7 | bus_LV_5464-5_0_3_node_99 | 0.4 | n |  | TRUE
8 | bus_LV_5464-5_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5464-5_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5464-5_0_3_node_90 | 0.4 | n |  | TRUE
11 | bus_LV_5464-5_0_3_node_91 | 0.4 | n |  | TRUE
12 | bus_LV_5464-5_0_3_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_5464-5_0_3_node_133 | 0.4 | n |  | TRUE
14 | bus_LV_5464-5_0_3_node_134 | 0.4 | n |  | TRUE
15 | bus_LV_5464-5_0_3_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_5464-5_0_3_node_119 | 0.4 | n |  | TRUE
17 | bus_LV_5464-5_0_3_node_116 | 0.4 | n |  | TRUE
18 | bus_LV_5464-5_0_3_node_100 | 0.4 | n |  | TRUE
19 | bus_LV_5464-5_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_5464-5_0_3_node_130 | 0.4 | n |  | TRUE
21 | bus_LV_5464-5_0_3_node_129 | 0.4 | n |  | TRUE
22 | bus_LV_5464-5_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5464-5_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_5464-5_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5464-5_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5464-5_0_3_node_137 | 0.4 | n |  | TRUE
27 | bus_LV_5464-5_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5464-5_0_3_node_136 | 0.4 | n |  | TRUE
29 | bus_LV_5464-5_0_3_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_5464-5_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_5464-5_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_5464-5_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_5464-5_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_5464-5_0_3_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_5464-5_0_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_5464-5_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_5464-5_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5464-5_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5464-5_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_5464-5_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_5464-5_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5464-5_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5464-5_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_5464-5_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_5464-5_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_5464-5_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5464-5_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_5464-5_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_5464-5_0_3_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_5464-5_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_5464-5_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5464-5_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5464-5_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_5464-5_0_3_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_5464-5_0_3_node_135 | 0.4 | n |  | TRUE
56 | bus_LV_5464-5_0_3_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_5464-5_0_3_node_125 | 0.4 | n |  | TRUE
58 | bus_LV_5464-5_0_3_node_126 | 0.4 | n |  | TRUE
59 | bus_LV_5464-5_0_3_node_124 | 0.4 | n |  | TRUE
60 | bus_LV_5464-5_0_3_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_5464-5_0_3_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_5464-5_0_3_node_143 | 0.4 | n |  | TRUE
63 | bus_LV_5464-5_0_3_node_144 | 0.4 | n |  | TRUE
64 | bus_LV_5464-5_0_3_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_5464-5_0_3_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_5464-5_0_3_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_5464-5_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_5464-5_0_3_node_120 | 0.4 | n |  | TRUE
69 | bus_LV_5464-5_0_3_node_122 | 0.4 | n |  | TRUE
70 | bus_LV_5464-5_0_3_node_121 | 0.4 | n |  | TRUE
71 | bus_LV_5464-5_0_3_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_5464-5_0_3_node_39 | 0.4 | n |  | TRUE
73 | bus_LV_5464-5_0_3_node_40 | 0.4 | n |  | TRUE
74 | bus_LV_5464-5_0_3_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_5464-5_0_3_node_41 | 0.4 | n |  | TRUE
76 | bus_LV_5464-5_0_3_node_98 | 0.4 | n |  | TRUE
77 | bus_LV_5464-5_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5464-5_0_3_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_5464-5_0_3_node_145 | 0.4 | n |  | TRUE
80 | bus_LV_5464-5_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_5464-5_0_3_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_5464-5_0_3_node_47 | 0.4 | n |  | TRUE
83 | bus_LV_5464-5_0_3_node_60 | 0.4 | n |  | TRUE
84 | bus_LV_5464-5_0_3_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_5464-5_0_3_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_5464-5_0_3_node_51 | 0.4 | n |  | TRUE
87 | bus_LV_5464-5_0_3_node_52 | 0.4 | n |  | TRUE
88 | bus_LV_5464-5_0_3_node_53 | 0.4 | n |  | TRUE
89 | bus_LV_5464-5_0_3_node_54 | 0.4 | n |  | TRUE
90 | bus_LV_5464-5_0_3_node_55 | 0.4 | n |  | TRUE
91 | bus_LV_5464-5_0_3_node_57 | 0.4 | n |  | TRUE
92 | bus_LV_5464-5_0_3_node_62 | 0.4 | n |  | TRUE
93 | bus_LV_5464-5_0_3_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_5464-5_0_3_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_5464-5_0_3_node_63 | 0.4 | n |  | TRUE
96 | bus_LV_5464-5_0_3_node_64 | 0.4 | n |  | TRUE
97 | bus_LV_5464-5_0_3_node_66 | 0.4 | n |  | TRUE
98 | bus_LV_5464-5_0_3_node_68 | 0.4 | n |  | TRUE
99 | bus_LV_5464-5_0_3_node_142 | 0.4 | n |  | TRUE
100 | bus_LV_5464-5_0_3_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_5464-5_0_3_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_5464-5_0_3_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_5464-5_0_3_node_74 | 0.4 | n |  | TRUE
104 | bus_LV_5464-5_0_3_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_5464-5_0_3_node_76 | 0.4 | n |  | TRUE
106 | bus_LV_5464-5_0_3_node_77 | 0.4 | n |  | TRUE
107 | bus_LV_5464-5_0_3_node_78 | 0.4 | n |  | TRUE
108 | bus_LV_5464-5_0_3_node_79 | 0.4 | n |  | TRUE
109 | bus_LV_5464-5_0_3_node_81 | 0.4 | n |  | TRUE
110 | bus_LV_5464-5_0_3_node_82 | 0.4 | n |  | TRUE
111 | bus_LV_5464-5_0_3_node_84 | 0.4 | n |  | TRUE
112 | bus_LV_5464-5_0_3_node_86 | 0.4 | n |  | TRUE
113 | bus_LV_5464-5_0_3_node_83 | 0.4 | n |  | TRUE
114 | bus_LV_5464-5_0_3_node_114 | 0.4 | n |  | TRUE
115 | bus_LV_5464-5_0_3_node_113 | 0.4 | n |  | TRUE
116 | bus_LV_5464-5_0_3_node_95 | 0.4 | n |  | TRUE
117 | bus_LV_5464-5_0_3_node_96 | 0.4 | n |  | TRUE
118 | bus_LV_5464-5_0_3_node_132 | 0.4 | n |  | TRUE
119 | bus_LV_5464-5_0_3_node_94 | 0.4 | n |  | TRUE
120 | bus_LV_5464-5_0_3_node_97 | 0.4 | n |  | TRUE
121 | bus_LV_5464-5_0_3_node_101 | 0.4 | n |  | TRUE
122 | bus_LV_5464-5_0_3_node_103 | 0.4 | n |  | TRUE
123 | bus_LV_5464-5_0_3_node_104 | 0.4 | n |  | TRUE
124 | bus_LV_5464-5_0_3_node_117 | 0.4 | n |  | TRUE
125 | bus_LV_5464-5_0_3_node_110 | 0.4 | n |  | TRUE
126 | bus_LV_5464-5_0_3_node_109 | 0.4 | n |  | TRUE
127 | bus_LV_5464-5_0_3_node_105 | 0.4 | n |  | TRUE
128 | bus_LV_5464-5_0_3_node_106 | 0.4 | n |  | TRUE
129 | bus_LV_5464-5_0_3_node_107 | 0.4 | n |  | TRUE
130 | bus_LV_5464-5_0_3_node_108 | 0.4 | n |  | TRUE
131 | bus_LV_5464-5_0_3_node_111 | 0.4 | n |  | TRUE
132 | bus_LV_5464-5_0_3_node_112 | 0.4 | n |  | TRUE
133 | bus_LV_5464-5_0_3_node_118 | 0.4 | n |  | TRUE
134 | bus_LV_5464-5_0_3_node_141 | 0.4 | n |  | TRUE
135 | bus_LV_5464-5_0_3_node_140 | 0.4 | n |  | TRUE
136 | bus_LV_5464-5_0_3_node_127 | 0.4 | n |  | TRUE
137 | bus_LV_5464-5_0_3_node_128 | 0.4 | n |  | TRUE
138 | bus_LV_5464-5_0_3_node_131 | 0.4 | n |  | TRUE
139 | bus_LV_5464-5_0_3_node_138 | 0.4 | n |  | TRUE
140 | bus_LV_5464-5_0_3_node_139 | 0.4 | n |  | TRUE
141 | bus_MV_377_0_node_194 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5464-5_0_3_load_0 | 0 | 0.004143 | 0.0010383 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5464-5_0_3_load_1 | 1 | 0.0021891 | 0.00054865 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5464-5_0_3_load_2 | 2 | 0.0076153 | 0.0019086 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5464-5_0_3_load_4 | 5 | 0.0019479 | 0.00048819 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5464-5_0_3_load_99 | 7 | 0.00029596 | 7.4176e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5464-5_0_3_load_5 | 8 | 0.0015329 | 0.00038418 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5464-5_0_3_load_90 | 10 | 0.00059574 | 0.00014931 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5464-5_0_3_load_91 | 11 | 0.0053415 | 0.0013387 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5464-5_0_3_load_70 | 12 | 0.0042365 | 0.0010618 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5464-5_0_3_load_133 | 13 | 0.0046498 | 0.0011653 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5464-5_0_3_load_134 | 14 | 0.00096411 | 0.00024163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5464-5_0_3_load_69 | 15 | 0.0037782 | 0.0009469 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5464-5_0_3_load_116 | 17 | 0.0010862 | 0.00027224 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5464-5_0_3_load_100 | 18 | 0.001452 | 0.00036391 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5464-5_0_3_load_8 | 19 | 0.0022422 | 0.00056194 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5464-5_0_3_load_130 | 20 | 0.00085149 | 0.0002134 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5464-5_0_3_load_129 | 21 | 0.0031154 | 0.00078079 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5464-5_0_3_load_9 | 22 | 0.0007703 | 0.00019305 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5464-5_0_3_load_10 | 23 | 0.00018752 | 4.6996e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5464-5_0_3_load_11 | 24 | 0.00025105 | 6.292e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5464-5_0_3_load_21 | 25 | 0.00013593 | 3.4068e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5464-5_0_3_load_137 | 26 | 0.00022223 | 5.5695e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5464-5_0_3_load_19 | 27 | 0.00018137 | 4.5457e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5464-5_0_3_load_136 | 28 | 0.00017174 | 4.3041e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5464-5_0_3_load_12 | 29 | 0.0031695 | 0.00079436 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5464-5_0_3_load_13 | 30 | 0.00064541 | 0.00016175 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5464-5_0_3_load_14 | 31 | 0.0017296 | 0.00043347 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5464-5_0_3_load_16 | 33 | 0.0010071 | 0.00025239 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5464-5_0_3_load_48 | 34 | 0.00025518 | 6.3955e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5464-5_0_3_load_49 | 35 | 0.00133 | 0.00033333 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5464-5_0_3_load_18 | 36 | 0.00035938 | 9.007e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5464-5_0_3_load_23 | 38 | 0.00012506 | 3.1344e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5464-5_0_3_load_37 | 40 | 0.00023684 | 5.9359e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5464-5_0_3_load_38 | 41 | 0.00048942 | 0.00012266 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5464-5_0_3_load_24 | 42 | 0.0064307 | 0.0016117 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5464-5_0_3_load_25 | 43 | 0.0048503 | 0.0012156 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5464-5_0_3_load_27 | 46 | 0.0021549 | 0.00054007 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5464-5_0_3_load_44 | 47 | 0.0012022 | 0.0003013 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5464-5_0_3_load_58 | 48 | 0.010047 | 0.0025181 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5464-5_0_3_load_56 | 50 | 0.00057126 | 0.00014317 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5464-5_0_3_load_29 | 51 | 0.00076649 | 0.0001921 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5464-5_0_3_load_32 | 54 | 0.0033425 | 0.0008377 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5464-5_0_3_load_135 | 55 | 0.0026937 | 0.00067512 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5464-5_0_3_load_93 | 56 | 0.001163 | 0.00029147 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5464-5_0_3_load_126 | 58 | 0.0024778 | 0.00062099 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5464-5_0_3_load_124 | 59 | 0.0024306 | 0.00060916 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5464-5_0_3_load_92 | 60 | 0.0021535 | 0.00053971 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5464-5_0_3_load_33 | 61 | 0.0011281 | 0.00028273 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5464-5_0_3_load_143 | 62 | 0.0012592 | 0.00031558 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5464-5_0_3_load_144 | 63 | 0.001276 | 0.00031979 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5464-5_0_3_load_34 | 64 | 0.0044428 | 0.0011135 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5464-5_0_3_load_35 | 65 | 0.004535 | 0.0011366 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5464-5_0_3_load_45 | 66 | 0.0010536 | 0.00026405 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5464-5_0_3_load_46 | 67 | 0.0012038 | 0.0003017 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5464-5_0_3_load_120 | 68 | 0.00018133 | 4.5445e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5464-5_0_3_load_122 | 69 | 0.0011599 | 0.0002907 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5464-5_0_3_load_121 | 70 | 0.00083453 | 0.00020915 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5464-5_0_3_load_123 | 71 | 0.001141 | 0.00028597 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5464-5_0_3_load_39 | 72 | 0.0019287 | 0.00048337 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5464-5_0_3_load_42 | 74 | 0.0016419 | 0.00041151 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5464-5_0_3_load_73 | 77 | 0.0038703 | 0.00096999 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5464-5_0_3_load_71 | 78 | 0.0012965 | 0.00032493 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5464-5_0_3_load_145 | 79 | 0.004047 | 0.0010143 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5464-5_0_3_load_72 | 80 | 0.0051612 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5464-5_0_3_load_47 | 82 | 0.0013894 | 0.00034822 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5464-5_0_3_load_61 | 84 | 0.0023874 | 0.00059834 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5464-5_0_3_load_59 | 85 | 0.001202 | 0.00030125 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5464-5_0_3_load_52 | 87 | 0.00089826 | 0.00022513 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5464-5_0_3_load_53 | 88 | 0.0010487 | 0.00026284 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5464-5_0_3_load_54 | 89 | 0.0010101 | 0.00025315 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5464-5_0_3_load_55 | 90 | 0.0023436 | 0.00058737 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5464-5_0_3_load_62 | 92 | 0.0024263 | 0.0006081 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5464-5_0_3_load_85 | 93 | 0.0028289 | 0.000709 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5464-5_0_3_load_63 | 95 | 0.00063453 | 0.00015903 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5464-5_0_3_load_64 | 96 | 0.0024349 | 0.00061023 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5464-5_0_3_load_66 | 97 | 0.00226 | 0.0005664 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5464-5_0_3_load_142 | 99 | 0.0030943 | 0.00077549 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5464-5_0_3_load_89 | 101 | 0.0014118 | 0.00035383 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5464-5_0_3_load_87 | 102 | 0.0055469 | 0.0013902 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5464-5_0_3_load_74 | 103 | 0.0023478 | 0.00058842 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5464-5_0_3_load_75 | 104 | 0.0051208 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5464-5_0_3_load_76 | 105 | 0.0019001 | 0.00047621 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5464-5_0_3_load_77 | 106 | 0.0028908 | 0.00072451 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5464-5_0_3_load_78 | 107 | 0.00090342 | 0.00022642 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5464-5_0_3_load_79 | 108 | 0.0021252 | 0.00053261 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5464-5_0_3_load_81 | 109 | 0.0030829 | 0.00077264 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5464-5_0_3_load_82 | 110 | 0.00075453 | 0.0001891 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5464-5_0_3_load_84 | 111 | 0.0019446 | 0.00048737 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5464-5_0_3_load_86 | 112 | 0.0031668 | 0.00079367 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5464-5_0_3_load_83 | 113 | 0.0012176 | 0.00030517 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5464-5_0_3_load_114 | 114 | 0.00076926 | 0.0001928 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5464-5_0_3_load_113 | 115 | 0.0010631 | 0.00026645 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5464-5_0_3_load_95 | 116 | 0.0030822 | 0.00077248 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5464-5_0_3_load_96 | 117 | 0.001774 | 0.0004446 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5464-5_0_3_load_132 | 118 | 0.00045828 | 0.00011486 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5464-5_0_3_load_94 | 119 | 0.0080985 | 0.0020297 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5464-5_0_3_load_97 | 120 | 0.004622 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5464-5_0_3_load_101 | 121 | 0.0014996 | 0.00037583 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5464-5_0_3_load_103 | 122 | 0.001779 | 0.00044585 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5464-5_0_3_load_104 | 123 | 0.0046387 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5464-5_0_3_load_117 | 124 | 0.00070069 | 0.00017561 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5464-5_0_3_load_110 | 125 | 0.0019418 | 0.00048667 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5464-5_0_3_load_105 | 127 | 0.0017802 | 0.00044616 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5464-5_0_3_load_106 | 128 | 0.0014444 | 0.000362 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5464-5_0_3_load_107 | 129 | 0.0015843 | 0.00039707 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5464-5_0_3_load_108 | 130 | 0.0010888 | 0.00027289 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5464-5_0_3_load_111 | 131 | 0.0012985 | 0.00032543 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5464-5_0_3_load_112 | 132 | 0.0018127 | 0.00045431 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5464-5_0_3_load_118 | 133 | 0.0024087 | 0.00060367 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5464-5_0_3_load_141 | 134 | 0.00098501 | 0.00024687 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5464-5_0_3_load_131 | 138 | 0.0007638 | 0.00019143 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5464-5_0_3_load_138 | 139 | 0.0072812 | 0.0018248 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5464-5_0_3_load_139 | 140 | 0.0013865 | 0.00034749 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 96 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5464-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5464-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5464-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.026948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5464-5_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.07042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5464-5_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5464-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.009462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5464-5_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.026672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5464-5_0_3_line_7 | NAYY 4x150 SE | 6 | 16 | 0.006155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5464-5_0_3_line_8 | NAYY 4x150 SE | 6 | 17 | 0.03161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5464-5_0_3_line_9 | NAYY 4x150 SE | 7 | 18 | 0.00026337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5464-5_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.040703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5464-5_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.033289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5464-5_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.020709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5464-5_0_3_line_13 | NAYY 4x150 SE | 9 | 12 | 0.018854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5464-5_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.0066742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5464-5_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.034728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5464-5_0_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.010961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5464-5_0_3_line_17 | NAYY 4x150 SE | 13 | 118 | 0.006129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5464-5_0_3_line_18 | NAYY 4x150 SE | 14 | 55 | 0.00029409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5464-5_0_3_line_19 | NAYY 4x150 SE | 15 | 97 | 0.022043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5464-5_0_3_line_20 | NAYY 4x150 SE | 16 | 63 | 0.086369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5464-5_0_3_line_21 | NAYY 4x150 SE | 17 | 124 | 0.035351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5464-5_0_3_line_22 | NAYY 4x150 SE | 18 | 121 | 0.018787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5464-5_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.28985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5464-5_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.049664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5464-5_0_3_line_25 | NAYY 4x150 SE | 21 | 137 | 0.039247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5464-5_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.013843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5464-5_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.023684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5464-5_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.081004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5464-5_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.050971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5464-5_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.04468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5464-5_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.04317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5464-5_0_3_line_32 | NAYY 4x150 SE | 27 | 36 | 0.10636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5464-5_0_3_line_33 | NAYY 4x150 SE | 28 | 87 | 0.027823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5464-5_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.039229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5464-5_0_3_line_35 | NAYY 4x150 SE | 29 | 31 | 0.03714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5464-5_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.051937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5464-5_0_3_line_37 | NAYY 4x150 SE | 31 | 33 | 0.029505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5464-5_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.21176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5464-5_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.034009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5464-5_0_3_line_40 | NAYY 4x150 SE | 35 | 86 | 0.066063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5464-5_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.0025658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5464-5_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.057867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5464-5_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.020465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5464-5_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.014837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5464-5_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.015041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5464-5_0_3_line_46 | NAYY 4x150 SE | 40 | 68 | 0.010338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5464-5_0_3_line_47 | NAYY 4x150 SE | 41 | 69 | 0.010996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5464-5_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.0036584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5464-5_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.011711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5464-5_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.021783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5464-5_0_3_line_51 | NAYY 4x150 SE | 45 | 48 | 0.033703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5464-5_0_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.046468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5464-5_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.015774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5464-5_0_3_line_54 | NAYY 4x150 SE | 48 | 50 | 0.0087156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5464-5_0_3_line_55 | NAYY 4x150 SE | 49 | 81 | 0.037711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5464-5_0_3_line_56 | NAYY 4x150 SE | 49 | 76 | 0.021158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5464-5_0_3_line_57 | NAYY 4x150 SE | 50 | 89 | 0.0072425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5464-5_0_3_line_58 | NAYY 4x150 SE | 51 | 52 | 0.019377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5464-5_0_3_line_59 | NAYY 4x150 SE | 52 | 53 | 0.00753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5464-5_0_3_line_60 | NAYY 4x150 SE | 52 | 54 | 0.030542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5464-5_0_3_line_61 | NAYY 4x150 SE | 53 | 55 | 0.013577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5464-5_0_3_line_62 | NAYY 4x150 SE | 54 | 56 | 0.0047408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5464-5_0_3_line_63 | NAYY 4x150 SE | 56 | 60 | 0.0097955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5464-5_0_3_line_64 | NAYY 4x150 SE | 57 | 58 | 0.035401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5464-5_0_3_line_65 | NAYY 4x150 SE | 57 | 59 | 0.015922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5464-5_0_3_line_66 | NAYY 4x150 SE | 58 | 136 | 0.018447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5464-5_0_3_line_67 | NAYY 4x150 SE | 60 | 119 | 0.0039936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5464-5_0_3_line_68 | NAYY 4x150 SE | 61 | 62 | 0.060029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5464-5_0_3_line_69 | NAYY 4x150 SE | 62 | 63 | 0.15686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5464-5_0_3_line_70 | NAYY 4x150 SE | 64 | 65 | 0.029462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5464-5_0_3_line_71 | NAYY 4x150 SE | 65 | 66 | 0.047334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5464-5_0_3_line_72 | NAYY 4x150 SE | 66 | 67 | 0.017825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5464-5_0_3_line_73 | NAYY 4x150 SE | 67 | 82 | 0.012475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5464-5_0_3_line_74 | NAYY 4x150 SE | 68 | 70 | 0.016865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5464-5_0_3_line_75 | NAYY 4x150 SE | 69 | 71 | 0.02158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5464-5_0_3_line_76 | NAYY 4x150 SE | 71 | 136 | 0.0062778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5464-5_0_3_line_77 | NAYY 4x150 SE | 72 | 73 | 0.014184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5464-5_0_3_line_78 | NAYY 4x150 SE | 73 | 74 | 0.010658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5464-5_0_3_line_79 | NAYY 4x150 SE | 74 | 78 | 0.009581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5464-5_0_3_line_80 | NAYY 4x150 SE | 75 | 76 | 0.008726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5464-5_0_3_line_81 | NAYY 4x150 SE | 75 | 77 | 0.01691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5464-5_0_3_line_82 | NAYY 4x150 SE | 76 | 79 | 0.10199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5464-5_0_3_line_83 | NAYY 4x150 SE | 77 | 80 | 0.0082453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5464-5_0_3_line_84 | NAYY 4x150 SE | 78 | 80 | 0.0084147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5464-5_0_3_line_85 | NAYY 4x150 SE | 81 | 98 | 0.008144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_5464-5_0_3_line_86 | NAYY 4x150 SE | 81 | 95 | 0.017179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_5464-5_0_3_line_87 | NAYY 4x150 SE | 82 | 83 | 0.012475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5464-5_0_3_line_88 | NAYY 4x150 SE | 83 | 84 | 0.013545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5464-5_0_3_line_89 | NAYY 4x150 SE | 83 | 85 | 0.0098927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5464-5_0_3_line_90 | NAYY 4x150 SE | 84 | 93 | 0.018515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5464-5_0_3_line_91 | NAYY 4x150 SE | 85 | 91 | 0.0137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5464-5_0_3_line_92 | NAYY 4x150 SE | 86 | 87 | 0.03924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5464-5_0_3_line_93 | NAYY 4x150 SE | 88 | 89 | 0.0094231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5464-5_0_3_line_94 | NAYY 4x150 SE | 88 | 90 | 0.0073401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5464-5_0_3_line_95 | NAYY 4x150 SE | 90 | 91 | 0.014118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5464-5_0_3_line_96 | NAYY 4x150 SE | 91 | 92 | 0.020444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5464-5_0_3_line_97 | NAYY 4x150 SE | 93 | 94 | 0.012294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5464-5_0_3_line_98 | NAYY 4x150 SE | 94 | 111 | 0.0042318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
99 | LV_5464-5_0_3_line_99 | NAYY 4x150 SE | 94 | 108 | 0.010849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5464-5_0_3_line_100 | NAYY 4x150 SE | 95 | 96 | 0.015973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
101 | LV_5464-5_0_3_line_101 | NAYY 4x150 SE | 96 | 97 | 8.2856e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5464-5_0_3_line_102 | NAYY 4x150 SE | 98 | 99 | 0.028807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5464-5_0_3_line_103 | NAYY 4x150 SE | 98 | 100 | 0.010055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
104 | LV_5464-5_0_3_line_104 | NAYY 4x150 SE | 100 | 101 | 0.01707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5464-5_0_3_line_105 | NAYY 4x150 SE | 100 | 102 | 0.012777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
106 | LV_5464-5_0_3_line_106 | NAYY 4x150 SE | 101 | 116 | 0.0082791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5464-5_0_3_line_107 | NAYY 4x150 SE | 102 | 112 | 0.0090499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
108 | LV_5464-5_0_3_line_108 | NAYY 4x150 SE | 103 | 104 | 0.0054407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5464-5_0_3_line_109 | NAYY 4x150 SE | 103 | 105 | 0.012404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5464-5_0_3_line_110 | NAYY 4x150 SE | 104 | 106 | 0.010782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5464-5_0_3_line_111 | NAYY 4x150 SE | 105 | 107 | 0.0091966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5464-5_0_3_line_112 | NAYY 4x150 SE | 106 | 108 | 0.0081203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5464-5_0_3_line_113 | NAYY 4x150 SE | 107 | 109 | 0.0056785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5464-5_0_3_line_114 | NAYY 4x150 SE | 109 | 110 | 0.0062563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5464-5_0_3_line_115 | NAYY 4x150 SE | 110 | 113 | 0.0094482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5464-5_0_3_line_116 | NAYY 4x150 SE | 111 | 112 | 0.018702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
117 | LV_5464-5_0_3_line_117 | NAYY 4x150 SE | 113 | 114 | 0.0070402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_5464-5_0_3_line_118 | NAYY 4x150 SE | 114 | 115 | 0.0068892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5464-5_0_3_line_119 | NAYY 4x150 SE | 115 | 132 | 0.0080844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5464-5_0_3_line_120 | NAYY 4x150 SE | 116 | 117 | 0.013938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5464-5_0_3_line_121 | NAYY 4x150 SE | 117 | 120 | 0.014236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5464-5_0_3_line_122 | NAYY 4x150 SE | 118 | 138 | 0.00014453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5464-5_0_3_line_123 | NAYY 4x150 SE | 121 | 122 | 0.0069044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5464-5_0_3_line_124 | NAYY 4x150 SE | 122 | 123 | 0.031392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5464-5_0_3_line_125 | NAYY 4x150 SE | 123 | 125 | 0.0085768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5464-5_0_3_line_126 | NAYY 4x150 SE | 124 | 133 | 0.0051636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5464-5_0_3_line_127 | NAYY 4x150 SE | 125 | 126 | 0.0031716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5464-5_0_3_line_128 | NAYY 4x150 SE | 126 | 131 | 0.0030721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5464-5_0_3_line_129 | NAYY 4x150 SE | 126 | 129 | 0.013394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5464-5_0_3_line_130 | NAYY 4x150 SE | 127 | 128 | 0.020124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5464-5_0_3_line_131 | NAYY 4x150 SE | 127 | 129 | 0.0042751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5464-5_0_3_line_132 | NAYY 4x150 SE | 128 | 130 | 0.0031419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5464-5_0_3_line_133 | NAYY 4x150 SE | 131 | 132 | 0.010706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5464-5_0_3_line_134 | NAYY 4x150 SE | 133 | 134 | 0.021804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_5464-5_0_3_line_135 | NAYY 4x150 SE | 134 | 135 | 0.02254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_5464-5_0_3_line_136 | NAYY 4x150 SE | 135 | 140 | 0.088666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_5464-5_0_3_line_137 | NAYY 4x150 SE | 136 | 137 | 0.045765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_5464-5_0_3_line_138 | NAYY 4x150 SE | 137 | 138 | 0.0021585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_5464-5_0_3_line_139 | NAYY 4x150 SE | 139 | 140 | 0.012663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5464-5_0_3_trafo_64 | 0.25 MVA 20/0.4 kV | 141 | 96 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2569372.2138 | 1197920.7274 | 2569381.5994 | 1197911.6712
1 | 2569356.9873 | 1197935.4195 | 2569372.2138 | 1197920.7274
2 | 2569400.992 | 1197892.9591 | 2569381.5994 | 1197911.6712
3 | 2569363.4766 | 1197833.4415 | 2569384.1423 | 1197862.5068 | 2569400.992 | 1197892.9591
4 | 2569400.992 | 1197892.9591 | 2569407.7489 | 1197905.8178
5 | 2569363.4766 | 1197833.4415 | 2569354.0578 | 1197832.2893
6 | 2569363.4766 | 1197833.4415 | 2569379.1381 | 1197832.7162 | 2569383.8462 | 1197831.5581 | 2569389.3307 | 1197828.7858
7 | 2569353.7597 | 1197826.1431 | 2569354.0578 | 1197832.2893
8 | 2569354.0578 | 1197832.2893 | 2569322.7448 | 1197827.9671
9 | 2569389.5657 | 1197828.667 | 2569389.3307 | 1197828.7858
10 | 2569503.332 | 1197978.3479 | 2569475.6305 | 1197956.7001 | 2569471.0612 | 1197953.5566
11 | 2569503.332 | 1197978.3479 | 2569479.3175 | 1198001.4017
12 | 2569503.332 | 1197978.3479 | 2569518.3522 | 1197992.6044
13 | 2569503.332 | 1197978.3479 | 2569516.2167 | 1197964.5837
14 | 2569479.3175 | 1198001.4017 | 2569474.5028 | 1198006.0238
15 | 2569518.3522 | 1197992.6044 | 2569543.5407 | 1198016.5122
16 | 2569523.7072 | 1197956.582 | 2569516.2167 | 1197964.5837
17 | 2569470.2034 | 1198010.3817 | 2569471.1403 | 1198009.2518 | 2569474.5028 | 1198006.0238
18 | 2569543.754 | 1198016.7147 | 2569543.5407 | 1198016.5122
19 | 2569523.7072 | 1197956.582 | 2569538.7717 | 1197940.4892
20 | 2569353.7597 | 1197826.1431 | 2569346.9968 | 1197818.696 | 2569328.0486 | 1197800.8282 | 2569326.9613 | 1197799.6776 | 2569326.2914 | 1197798.258 | 2569326.1006 | 1197796.6915 | 2569326.4048 | 1197795.1446 | 2569327.1897 | 1197793.7621 | 2569331.8475 | 1197785.7893 | 2569332.809 | 1197783.194 | 2569332.9547 | 1197780.4362 | 2569332.2784 | 1197777.7605 | 2569330.8421 | 1197775.411 | 2569312.2357 | 1197763.3113
21 | 2569287.7257 | 1197823.1333 | 2569322.7448 | 1197827.9671
22 | 2569406.0338 | 1197819.7211 | 2569403.7549 | 1197821.4948 | 2569389.5657 | 1197828.667
23 | 2569411.9831 | 1198057.9484 | 2569233.0979 | 1198286.0162
24 | 2569411.9831 | 1198057.9484 | 2569411.1312 | 1198050.7266 | 2569408.1339 | 1198043.9272 | 2569407.4073 | 1198041.8409 | 2569407.3047 | 1198039.6402 | 2569407.8115 | 1198037.492 | 2569408.9058 | 1198035.5742 | 2569421.618 | 1198025.6257 | 2569431.4396 | 1198023.7906
25 | 2569468.7335 | 1198012.1546 | 2569446.8234 | 1198020.9161 | 2569431.4396 | 1198023.7906
26 | 2569555.9583 | 1198340.468 | 2569545.0834 | 1198331.9024
27 | 2569574.5642 | 1198355.1231 | 2569555.9583 | 1198340.468
28 | 2569651.2993 | 1198329.173 | 2569574.5642 | 1198355.1231
29 | 2569651.2993 | 1198329.173 | 2569646.6025 | 1198306.0844 | 2569641.9598 | 1198290.1216 | 2569636.6767 | 1198280.7193
30 | 2569636.6767 | 1198280.7193 | 2569629.3338 | 1198267.6514 | 2569613.2795 | 1198247.8891 | 2569610.2123 | 1198244.978
31 | 2569657.8004 | 1198371.8479 | 2569651.7263 | 1198331.2721 | 2569651.2993 | 1198329.173
32 | 2569610.2123 | 1198244.978 | 2569591.3639 | 1198227.0895 | 2569571.0531 | 1198202.9578 | 2569562.5073 | 1198189.2273 | 2569544.2447 | 1198162.1502
33 | 2569657.8004 | 1198371.8479 | 2569661.9196 | 1198399.3641
34 | 2569925.9327 | 1198248.7338 | 2569903.3549 | 1198280.8141
35 | 2569925.9327 | 1198248.7338 | 2569947.3084 | 1198218.3614
36 | 2569873.4629 | 1198323.2871 | 2569903.3549 | 1198280.8141
37 | 2569947.3084 | 1198218.3614 | 2569964.2895 | 1198194.2333
38 | 2569749.601 | 1198495.0463 | 2569873.4629 | 1198323.2871
39 | 2569749.601 | 1198495.0463 | 2569742.1706 | 1198487.5199 | 2569728.4158 | 1198476.517 | 2569723.5829 | 1198473.2775
40 | 2569667.729 | 1198438.1713 | 2569681.6693 | 1198445.182 | 2569723.5829 | 1198473.2775
41 | 2569542.81 | 1198160.023 | 2569544.2447 | 1198162.1502
42 | 2569542.81 | 1198160.023 | 2569536.0724 | 1198151.4417 | 2569504.1694 | 1198116.9873
43 | 2569490.2652 | 1198101.9712 | 2569504.1694 | 1198116.9873
44 | 2569490.2652 | 1198101.9712 | 2569486.7263 | 1198105.3689 | 2569485.8142 | 1198107.2079 | 2569485.5174 | 1198108.7325 | 2569485.5812 | 1198110.7666 | 2569486.9271 | 1198114.8398
45 | 2569490.2652 | 1198101.9712 | 2569480.0488 | 1198090.9328
46 | 2569491.9672 | 1198123.7959 | 2569488.07 | 1198117.9356 | 2569486.9271 | 1198114.8398 | 2569486.9271 | 1198114.8398
47 | 2569480.0488 | 1198090.9328 | 2569479.154 | 1198089.966 | 2569473.6031 | 1198082.0378
48 | 2569660.1467 | 1197838.4617 | 2569662.9811 | 1197840.7747
49 | 2569651.0737 | 1197831.0577 | 2569660.1467 | 1197838.4617
50 | 2569634.173 | 1197817.2584 | 2569651.0737 | 1197831.0577
51 | 2569634.173 | 1197817.2584 | 2569609.5582 | 1197840.2807
52 | 2569640.095 | 1197904.2428 | 2569637.1256 | 1197907.9596 | 2569614.9804 | 1197931.9411 | 2569608.3877 | 1197938.1675
53 | 2569596.9198 | 1197948.9981 | 2569608.3877 | 1197938.1675
54 | 2569602.7924 | 1197838.5231 | 2569607.5693 | 1197842.141 | 2569609.5582 | 1197840.2807
55 | 2569568.1091 | 1197926.3105 | 2569569.2701 | 1197929.9844 | 2569571.5325 | 1197933.0856 | 2569574.654 | 1197935.8935 | 2569590.9431 | 1197946.2715 | 2569596.9198 | 1197948.9981
56 | 2569616.246 | 1197957.6042 | 2569610.713 | 1197955.2979 | 2569596.9198 | 1197948.9981
57 | 2569597.0189 | 1197834.1504 | 2569602.7924 | 1197838.5231
58 | 2569558.8893 | 1198020.687 | 2569573.852 | 1198017.4199 | 2569576.0922 | 1198016.1855 | 2569577.0985 | 1198015.0674
59 | 2569553.6013 | 1198026.0613 | 2569558.8893 | 1198020.687
60 | 2569558.8893 | 1198020.687 | 2569573.7913 | 1198005.5359 | 2569576.6783 | 1198001.2188 | 2569577.8456 | 1197998.667 | 2569578.0629 | 1197997.3939
61 | 2569553.6013 | 1198026.0613 | 2569543.754 | 1198016.7147
62 | 2569577.1157 | 1197992.9232 | 2569577.1157 | 1197992.9232 | 2569578.0916 | 1197994.6525 | 2569578.1931 | 1197996.6308 | 2569578.0629 | 1197997.3939
63 | 2569577.1157 | 1197992.9232 | 2569570.1613 | 1197986.0247
64 | 2569511.0921 | 1198079.5301 | 2569483.8114 | 1198062.6049 | 2569480.6469 | 1198061.6824
65 | 2569511.0921 | 1198079.5301 | 2569515.3752 | 1198086.134 | 2569521.0212 | 1198091.8731
66 | 2569462.9372 | 1198056.5196 | 2569480.6469 | 1198061.6824
67 | 2569567.326 | 1197983.2123 | 2569570.1613 | 1197986.0247
68 | 2569367.5388 | 1197602.0936 | 2569307.6733 | 1197606.5158
69 | 2569312.2357 | 1197763.3113 | 2569307.6733 | 1197606.5158
70 | 2569496.3477 | 1197733.2577 | 2569503.2107 | 1197744.921 | 2569505.7087 | 1197750.9003 | 2569509.415 | 1197759.5918
71 | 2569530.5035 | 1197801.3381 | 2569524.4392 | 1197794.7618 | 2569521.7301 | 1197790.6957 | 2569519.1998 | 1197785.8504 | 2569517.0888 | 1197781.1031 | 2569509.7247 | 1197760.3183 | 2569509.415 | 1197759.5918
72 | 2569530.5035 | 1197801.3381 | 2569542.5875 | 1197814.4424
73 | 2569550.7949 | 1197823.8132 | 2569549.5194 | 1197821.9596 | 2569542.5875 | 1197814.4424
74 | 2569491.9672 | 1198123.7959 | 2569494.3476 | 1198127.3753 | 2569502.7534 | 1198136.7164
75 | 2569464.6792 | 1198062.5509 | 2569466.2942 | 1198068.1421 | 2569470.6924 | 1198077.8805 | 2569473.6031 | 1198082.0378
76 | 2569462.9372 | 1198056.5196 | 2569464.6792 | 1198062.5509
77 | 2569643.0975 | 1197967.9953 | 2569648.8776 | 1197969.4889 | 2569654.1812 | 1197970.1289 | 2569657.0532 | 1197970.0864
78 | 2569643.0975 | 1197967.9953 | 2569637.2416 | 1197976.8999
79 | 2569637.2416 | 1197976.8999 | 2569633.8253 | 1197982.0947 | 2569632.4979 | 1197983.1242 | 2569630.9323 | 1197983.7437 | 2569630.9323 | 1197983.7437
80 | 2569616.246 | 1197957.6042 | 2569624.4029 | 1197960.7644
81 | 2569624.4029 | 1197960.7644 | 2569617.7367 | 1197970.6704 | 2569617.1177 | 1197971.752 | 2569616.8269 | 1197972.9541 | 2569616.9018 | 1197974.1988 | 2569617.3266 | 1197975.364
82 | 2569616.246 | 1197957.6042 | 2569678.7746 | 1197895.9966 | 2569689.9164 | 1197905.0448
83 | 2569617.3266 | 1197975.364 | 2569617.3266 | 1197975.364 | 2569618.0704 | 1197976.3719 | 2569621.8672 | 1197980.2213 | 2569623.2389 | 1197981.0171
84 | 2569630.9323 | 1197983.7437 | 2569629.2576 | 1197983.8856 | 2569627.6034 | 1197983.5494 | 2569623.2389 | 1197981.0171
85 | 2569568.1091 | 1197926.3105 | 2569567.3425 | 1197922.3567 | 2569567.2149 | 1197918.244
86 | 2569568.1091 | 1197926.3105 | 2569558.2817 | 1197928.6175 | 2569552.1715 | 1197931.0945 | 2569551.7263 | 1197931.3033
87 | 2569557.8671 | 1197834.0902 | 2569550.7949 | 1197823.8132
88 | 2569557.8671 | 1197834.0902 | 2569550.8298 | 1197845.6631
89 | 2569557.8671 | 1197834.0902 | 2569563.9615 | 1197826.2977
90 | 2569542.8191 | 1197862.2899 | 2569546.9695 | 1197852.0113 | 2569550.8298 | 1197845.6631
91 | 2569572.4017 | 1197815.5059 | 2569563.9615 | 1197826.2977
92 | 2569667.729 | 1198438.1713 | 2569661.9196 | 1198399.3641
93 | 2569589.5071 | 1197828.4611 | 2569597.0189 | 1197834.1504
94 | 2569589.5071 | 1197828.4611 | 2569583.6558 | 1197824.0295
95 | 2569572.4017 | 1197815.5059 | 2569583.6558 | 1197824.0295
96 | 2569572.4017 | 1197815.5059 | 2569584.7877 | 1197799.241
97 | 2569538.2159 | 1197873.6901 | 2569542.8191 | 1197862.2899
98 | 2569538.2159 | 1197873.6901 | 2569541.42 | 1197876.4545
99 | 2569538.2159 | 1197873.6901 | 2569529.5931 | 1197867.1066
100 | 2569551.7263 | 1197931.3033 | 2569546.466 | 1197933.7696 | 2569541.3535 | 1197937.7312 | 2569538.8283 | 1197940.4288
101 | 2569538.8283 | 1197940.4288 | 2569538.7717 | 1197940.4892
102 | 2569592.287 | 1197917.1488 | 2569585.0598 | 1197912.6499 | 2569583.9393 | 1197912.4555 | 2569582.6615 | 1197912.7622 | 2569577.3282 | 1197918.2368 | 2569576.1581 | 1197918.7542 | 2569574.7272 | 1197918.9171 | 2569567.2149 | 1197918.244
103 | 2569567.2149 | 1197918.244 | 2569567.0695 | 1197913.6422 | 2569565.7403 | 1197908.3573
104 | 2569565.7403 | 1197908.3573 | 2569575.0907 | 1197905.1077 | 2569580.2299 | 1197900.1072
105 | 2569565.7403 | 1197908.3573 | 2569560.9691 | 1197898.643 | 2569559.8644 | 1197897.0313
106 | 2569580.2299 | 1197900.1072 | 2569581.6834 | 1197898.6928 | 2569586.7283 | 1197902.3839
107 | 2569559.8644 | 1197897.0313 | 2569555.8437 | 1197891.1651 | 2569554.5486 | 1197889.7232
108 | 2569510.2446 | 1197852.3339 | 2569514.569 | 1197855.6356
109 | 2569510.2446 | 1197852.3339 | 2569508.2612 | 1197850.8196 | 2569500.8078 | 1197844.2911
110 | 2569523.139 | 1197862.1788 | 2569514.569 | 1197855.6356
111 | 2569500.8078 | 1197844.2911 | 2569493.8897 | 1197838.2315
112 | 2569523.139 | 1197862.1788 | 2569529.5931 | 1197867.1066
113 | 2569489.6181 | 1197834.49 | 2569493.8897 | 1197838.2315
114 | 2569489.6181 | 1197834.49 | 2569484.9119 | 1197830.3678
115 | 2569477.8046 | 1197824.1425 | 2569484.9119 | 1197830.3678
116 | 2569541.42 | 1197876.4545 | 2569546.7983 | 1197881.0947 | 2569554.5486 | 1197889.7232
117 | 2569472.5087 | 1197819.5038 | 2569477.8046 | 1197824.1425
118 | 2569467.3264 | 1197814.9646 | 2569472.5087 | 1197819.5038
119 | 2569461.245 | 1197809.6379 | 2569461.245 | 1197809.6379 | 2569467.3264 | 1197814.9646
120 | 2569586.7283 | 1197902.3839 | 2569597.977 | 1197910.6141
121 | 2569597.977 | 1197910.6141 | 2569609.466 | 1197919.0201
122 | 2569470.1112 | 1198010.493 | 2569470.2034 | 1198010.3817
123 | 2569406.0338 | 1197819.7211 | 2569411.4825 | 1197815.4805
124 | 2569411.4825 | 1197815.4805 | 2569426.9051 | 1197803.4772 | 2569432.6193 | 1197800.9799 | 2569438.1667 | 1197800.1288
125 | 2569438.1667 | 1197800.1288 | 2569438.1667 | 1197800.1288 | 2569443.5452 | 1197800.5125 | 2569446.621 | 1197801.3378
126 | 2569287.7257 | 1197823.1333 | 2569282.6106 | 1197822.4273
127 | 2569449.6843 | 1197802.1597 | 2569446.621 | 1197801.3378
128 | 2569449.6843 | 1197802.1597 | 2569452.3277 | 1197803.7249
129 | 2569449.6843 | 1197802.1597 | 2569444.4672 | 1197814.4964
130 | 2569442.8021 | 1197818.4339 | 2569434.964 | 1197836.9682
131 | 2569442.8021 | 1197818.4339 | 2569444.4672 | 1197814.4964
132 | 2569433.7403 | 1197839.862 | 2569434.964 | 1197836.9682
133 | 2569452.3277 | 1197803.7249 | 2569455.1384 | 1197805.3891 | 2569461.245 | 1197809.6379
134 | 2569282.6106 | 1197822.4273 | 2569261.0115 | 1197819.4459
135 | 2569238.6836 | 1197816.3639 | 2569261.0115 | 1197819.4459
136 | 2569238.6836 | 1197816.3639 | 2569216.7489 | 1197864.6591 | 2569216.524 | 1197872.7202 | 2569222.4119 | 1197883.2511 | 2569232.1261 | 1197895.3219
137 | 2569462.9372 | 1198056.5196 | 2569461.8675 | 1198046.9088 | 2569461.6237 | 1198039.4726 | 2569461.9233 | 1198032.5562 | 2569463.3202 | 1198024.2778 | 2569465.4958 | 1198017.8743 | 2569468.7335 | 1198012.1546
138 | 2569468.7335 | 1198012.1546 | 2569470.1112 | 1198010.493
139 | 2569240.0649 | 1197905.1868 | 2569232.1261 | 1197895.3219

## bus_geodata
| x | y | coords
0 | 2569372.2138 | 1197920.7274
1 | 2569381.5994 | 1197911.6712
2 | 2569356.9873 | 1197935.4195
3 | 2569400.992 | 1197892.9591
4 | 2569363.4766 | 1197833.4415
5 | 2569407.7489 | 1197905.8178
6 | 2569354.0578 | 1197832.2893
7 | 2569389.3307 | 1197828.7858
8 | 2569471.0612 | 1197953.5566
9 | 2569503.332 | 1197978.3479
10 | 2569479.3175 | 1198001.4017
11 | 2569518.3522 | 1197992.6044
12 | 2569516.2167 | 1197964.5837
13 | 2569474.5028 | 1198006.0238
14 | 2569543.5407 | 1198016.5122
15 | 2569523.7072 | 1197956.582
16 | 2569353.7597 | 1197826.1431
17 | 2569322.7448 | 1197827.9671
18 | 2569389.5657 | 1197828.667
19 | 2569233.0979 | 1198286.0162
20 | 2569411.9831 | 1198057.9484
21 | 2569431.4396 | 1198023.7906
22 | 2569545.0834 | 1198331.9024
23 | 2569555.9583 | 1198340.468
24 | 2569574.5642 | 1198355.1231
25 | 2569636.6767 | 1198280.7193
26 | 2569651.2993 | 1198329.173
27 | 2569610.2123 | 1198244.978
28 | 2569657.8004 | 1198371.8479
29 | 2569925.9327 | 1198248.7338
30 | 2569903.3549 | 1198280.8141
31 | 2569947.3084 | 1198218.3614
32 | 2569873.4629 | 1198323.2871
33 | 2569964.2895 | 1198194.2333
34 | 2569749.601 | 1198495.0463
35 | 2569723.5829 | 1198473.2775
36 | 2569544.2447 | 1198162.1502
37 | 2569542.81 | 1198160.023
38 | 2569504.1694 | 1198116.9873
39 | 2569490.2652 | 1198101.9712
40 | 2569486.9271 | 1198114.8398
41 | 2569480.0488 | 1198090.9328
42 | 2569660.1467 | 1197838.4617
43 | 2569662.9811 | 1197840.7747
44 | 2569651.0737 | 1197831.0577
45 | 2569634.173 | 1197817.2584
46 | 2569640.095 | 1197904.2428
47 | 2569608.3877 | 1197938.1675
48 | 2569609.5582 | 1197840.2807
49 | 2569596.9198 | 1197948.9981
50 | 2569602.7924 | 1197838.5231
51 | 2569577.0985 | 1198015.0674
52 | 2569558.8893 | 1198020.687
53 | 2569553.6013 | 1198026.0613
54 | 2569578.0629 | 1197997.3939
55 | 2569543.754 | 1198016.7147
56 | 2569577.1157 | 1197992.9232
57 | 2569511.0921 | 1198079.5301
58 | 2569480.6469 | 1198061.6824
59 | 2569521.0212 | 1198091.8731
60 | 2569570.1613 | 1197986.0247
61 | 2569367.5388 | 1197602.0936
62 | 2569307.6733 | 1197606.5158
63 | 2569312.2357 | 1197763.3113
64 | 2569496.3477 | 1197733.2577
65 | 2569509.415 | 1197759.5918
66 | 2569530.5035 | 1197801.3381
67 | 2569542.5875 | 1197814.4424
68 | 2569491.9672 | 1198123.7959
69 | 2569473.6031 | 1198082.0378
70 | 2569502.7534 | 1198136.7164
71 | 2569464.6792 | 1198062.5509
72 | 2569657.0532 | 1197970.0864
73 | 2569643.0975 | 1197967.9953
74 | 2569637.2416 | 1197976.8999
75 | 2569624.4029 | 1197960.7644
76 | 2569616.246 | 1197957.6042
77 | 2569617.3266 | 1197975.364
78 | 2569630.9323 | 1197983.7437
79 | 2569689.9164 | 1197905.0448
80 | 2569623.2389 | 1197981.0171
81 | 2569568.1091 | 1197926.3105
82 | 2569550.7949 | 1197823.8132
83 | 2569557.8671 | 1197834.0902
84 | 2569550.8298 | 1197845.6631
85 | 2569563.9615 | 1197826.2977
86 | 2569667.729 | 1198438.1713
87 | 2569661.9196 | 1198399.3641
88 | 2569589.5071 | 1197828.4611
89 | 2569597.0189 | 1197834.1504
90 | 2569583.6558 | 1197824.0295
91 | 2569572.4017 | 1197815.5059
92 | 2569584.7877 | 1197799.241
93 | 2569542.8191 | 1197862.2899
94 | 2569538.2159 | 1197873.6901
95 | 2569551.7263 | 1197931.3033
96 | 2569538.8283 | 1197940.4288
97 | 2569538.7717 | 1197940.4892
98 | 2569567.2149 | 1197918.244
99 | 2569592.287 | 1197917.1488
100 | 2569565.7403 | 1197908.3573
101 | 2569580.2299 | 1197900.1072
102 | 2569559.8644 | 1197897.0313
103 | 2569510.2446 | 1197852.3339
104 | 2569514.569 | 1197855.6356
105 | 2569500.8078 | 1197844.2911
106 | 2569523.1389 | 1197862.1788
107 | 2569493.8897 | 1197838.2315
108 | 2569529.5931 | 1197867.1066
109 | 2569489.6181 | 1197834.49
110 | 2569484.9119 | 1197830.3678
111 | 2569541.42 | 1197876.4545
112 | 2569554.5486 | 1197889.7232
113 | 2569477.8046 | 1197824.1425
114 | 2569472.5087 | 1197819.5038
115 | 2569467.3264 | 1197814.9646
116 | 2569586.7283 | 1197902.3839
117 | 2569597.977 | 1197910.6141
118 | 2569470.2034 | 1198010.3817
119 | 2569567.326 | 1197983.2123
120 | 2569609.466 | 1197919.0201
121 | 2569406.0338 | 1197819.7211
122 | 2569411.4825 | 1197815.4805
123 | 2569438.1667 | 1197800.1288
124 | 2569287.7257 | 1197823.1333
125 | 2569446.621 | 1197801.3378
126 | 2569449.6843 | 1197802.1597
127 | 2569442.8021 | 1197818.4339
128 | 2569434.964 | 1197836.9682
129 | 2569444.4672 | 1197814.4964
130 | 2569433.7403 | 1197839.862
131 | 2569452.3277 | 1197803.7249
132 | 2569461.245 | 1197809.6379
133 | 2569282.6106 | 1197822.4273
134 | 2569261.0115 | 1197819.4459
135 | 2569238.6836 | 1197816.3639
136 | 2569462.9372 | 1198056.5196
137 | 2569468.7335 | 1198012.1546
138 | 2569470.1112 | 1198010.493
139 | 2569240.0649 | 1197905.1868
140 | 2569232.1261 | 1197895.3219
141 | 2569568.1091 | 1197926.3105

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1