## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5497-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5497-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5497-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5497-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5497-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5497-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5497-4_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_5497-4_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5497-4_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5497-4_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_5497-4_0_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_5497-4_0_3_node_58 | 0.4 | n |  | TRUE
12 | bus_LV_5497-4_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5497-4_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5497-4_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5497-4_0_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_5497-4_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5497-4_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5497-4_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5497-4_0_3_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_5497-4_0_3_node_100 | 0.4 | n |  | TRUE
21 | bus_LV_5497-4_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_5497-4_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_5497-4_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5497-4_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_5497-4_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_5497-4_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_5497-4_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5497-4_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5497-4_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5497-4_0_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_5497-4_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_5497-4_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5497-4_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_5497-4_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5497-4_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5497-4_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_5497-4_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_5497-4_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_5497-4_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5497-4_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_5497-4_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5497-4_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_5497-4_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_5497-4_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5497-4_0_3_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_5497-4_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_5497-4_0_3_node_101 | 0.4 | n |  | TRUE
48 | bus_LV_5497-4_0_3_node_102 | 0.4 | n |  | TRUE
49 | bus_LV_5497-4_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_5497-4_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5497-4_0_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_5497-4_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_5497-4_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_5497-4_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_5497-4_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_5497-4_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5497-4_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_5497-4_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5497-4_0_3_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_5497-4_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_5497-4_0_3_node_106 | 0.4 | n |  | TRUE
62 | bus_LV_5497-4_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5497-4_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_5497-4_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5497-4_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_5497-4_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5497-4_0_3_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_5497-4_0_3_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_5497-4_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_5497-4_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5497-4_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5497-4_0_3_node_107 | 0.4 | n |  | TRUE
73 | bus_LV_5497-4_0_3_node_108 | 0.4 | n |  | TRUE
74 | bus_LV_5497-4_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_5497-4_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_5497-4_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_5497-4_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_5497-4_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_5497-4_0_3_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_5497-4_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_5497-4_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5497-4_0_3_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_5497-4_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_5497-4_0_3_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_5497-4_0_3_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_5497-4_0_3_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_5497-4_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_5497-4_0_3_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_5497-4_0_3_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_5497-4_0_3_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_5497-4_0_3_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_5497-4_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_5497-4_0_3_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_5497-4_0_3_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_5497-4_0_3_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_5497-4_0_3_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_5497-4_0_3_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_5497-4_0_3_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_5497-4_0_3_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_5497-4_0_3_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_5497-4_0_3_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_5497-4_0_3_node_104 | 0.4 | n |  | TRUE
103 | bus_LV_5497-4_0_3_node_94 | 0.4 | n |  | TRUE
104 | bus_LV_5497-4_0_3_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_5497-4_0_3_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_5497-4_0_3_node_92 | 0.4 | n |  | TRUE
107 | bus_MV_315_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5497-4_0_3_load_0 | 0 | 0.0064841 | 0.0016251 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5497-4_0_3_load_1 | 1 | 0.0047697 | 0.0011954 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5497-4_0_3_load_4 | 4 | 0.0048008 | 0.0012032 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5497-4_0_3_load_5 | 5 | 0.0026413 | 0.00066197 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5497-4_0_3_load_12 | 6 | 0.010428 | 0.0026134 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5497-4_0_3_load_13 | 7 | 0.0016301 | 0.00040854 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5497-4_0_3_load_14 | 9 | 0.0097835 | 0.002452 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5497-4_0_3_load_17 | 10 | 0.0022828 | 0.00057211 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5497-4_0_3_load_58 | 11 | 0.0041521 | 0.0010406 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5497-4_0_3_load_9 | 12 | 0.014047 | 0.0035206 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5497-4_0_3_load_6 | 13 | 0.0035196 | 0.00088209 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5497-4_0_3_load_15 | 14 | 0.0021983 | 0.00055094 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5497-4_0_3_load_11 | 17 | 0.0033921 | 0.00085015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5497-4_0_3_load_31 | 19 | 0.006569 | 0.0016463 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5497-4_0_3_load_16 | 23 | 0.0014603 | 0.000366 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5497-4_0_3_load_36 | 24 | 0.0019939 | 0.00049972 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5497-4_0_3_load_20 | 25 | 0.0051076 | 0.0012801 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5497-4_0_3_load_37 | 26 | 0.0015541 | 0.00038948 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5497-4_0_3_load_19 | 27 | 0.0040977 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5497-4_0_3_load_38 | 30 | 0.0018433 | 0.00046196 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5497-4_0_3_load_23 | 32 | 0.0086155 | 0.0021592 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5497-4_0_3_load_27 | 35 | 0.0025756 | 0.00064552 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5497-4_0_3_load_29 | 36 | 0.0013454 | 0.0003372 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5497-4_0_3_load_40 | 38 | 0.003478 | 0.00087166 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5497-4_0_3_load_28 | 39 | 0.0015138 | 0.00037939 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5497-4_0_3_load_41 | 40 | 0.0029846 | 0.00074801 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5497-4_0_3_load_48 | 41 | 0.0046358 | 0.0011618 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5497-4_0_3_load_45 | 42 | 0.0053673 | 0.0013452 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5497-4_0_3_load_39 | 43 | 0.0018291 | 0.00045842 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5497-4_0_3_load_99 | 45 | 0.004843 | 0.0012138 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5497-4_0_3_load_101 | 47 | 0.0017992 | 0.00045092 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5497-4_0_3_load_56 | 49 | 0.00082214 | 0.00020605 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5497-4_0_3_load_35 | 50 | 0.0045575 | 0.0011422 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5497-4_0_3_load_34 | 52 | 0.00092796 | 0.00023257 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5497-4_0_3_load_43 | 53 | 0.0011568 | 0.00028991 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5497-4_0_3_load_44 | 54 | 0.0048555 | 0.0012169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5497-4_0_3_load_47 | 55 | 0.0046334 | 0.0011612 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5497-4_0_3_load_49 | 56 | 0.0013954 | 0.00034971 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5497-4_0_3_load_50 | 57 | 0.0040856 | 0.0010239 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5497-4_0_3_load_105 | 59 | 0.001636 | 0.00041003 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5497-4_0_3_load_106 | 61 | 0.0022486 | 0.00056356 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5497-4_0_3_load_69 | 63 | 0.0012213 | 0.0003061 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5497-4_0_3_load_59 | 64 | 0.00082536 | 0.00020685 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5497-4_0_3_load_53 | 65 | 0.0019808 | 0.00049645 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5497-4_0_3_load_57 | 66 | 0.0038848 | 0.00097364 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5497-4_0_3_load_97 | 67 | 0.0085243 | 0.0021364 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5497-4_0_3_load_98 | 68 | 0.0046446 | 0.0011641 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5497-4_0_3_load_63 | 70 | 0.0018268 | 0.00045783 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5497-4_0_3_load_107 | 72 | 0.0019855 | 0.00049761 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5497-4_0_3_load_108 | 73 | 0.0014779 | 0.0003704 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5497-4_0_3_load_65 | 75 | 0.0013297 | 0.00033326 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5497-4_0_3_load_70 | 78 | 0.0017022 | 0.0004266 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5497-4_0_3_load_81 | 79 | 0.0011023 | 0.00027627 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5497-4_0_3_load_79 | 80 | 0.0017598 | 0.00044104 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5497-4_0_3_load_71 | 82 | 0.0039959 | 0.0010015 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5497-4_0_3_load_74 | 85 | 0.0036585 | 0.00091692 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5497-4_0_3_load_76 | 87 | 0.0019465 | 0.00048783 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5497-4_0_3_load_77 | 88 | 0.0022679 | 0.0005684 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5497-4_0_3_load_93 | 90 | 0.0087989 | 0.0022052 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5497-4_0_3_load_90 | 91 | 0.0029532 | 0.00074013 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5497-4_0_3_load_80 | 93 | 0.0023375 | 0.00058583 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5497-4_0_3_load_82 | 94 | 0.0027737 | 0.00069516 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5497-4_0_3_load_83 | 95 | 0.0010953 | 0.00027451 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5497-4_0_3_load_86 | 98 | 0.0024945 | 0.00062519 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5497-4_0_3_load_103 | 101 | 0.0036664 | 0.0009189 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5497-4_0_3_load_104 | 102 | 0.0041275 | 0.0010345 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5497-4_0_3_load_94 | 103 | 0.0019309 | 0.00048393 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5497-4_0_3_load_95 | 104 | 0.0025863 | 0.00064819 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5497-4_0_3_load_96 | 105 | 0.0011234 | 0.00028155 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5497-4_0_3_load_92 | 106 | 0.0011445 | 0.00028685 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5497-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0044461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5497-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5497-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5497-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0036979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5497-4_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.027155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5497-4_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.016584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5497-4_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.0092277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5497-4_0_3_line_7 | NAYY 4x150 SE | 3 | 8 | 0.006885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_5497-4_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.015696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5497-4_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.0052266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5497-4_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.048528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5497-4_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.042959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5497-4_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.010175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5497-4_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 5.3975e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5497-4_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.0044671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5497-4_0_3_line_15 | NAYY 4x150 SE | 12 | 18 | 0.0031275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_5497-4_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.020165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5497-4_0_3_line_17 | NAYY 4x150 SE | 14 | 23 | 0.01217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5497-4_0_3_line_18 | NAYY 4x150 SE | 15 | 24 | 0.010601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5497-4_0_3_line_19 | NAYY 4x150 SE | 15 | 25 | 0.027042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5497-4_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.013781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5497-4_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.03133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_5497-4_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.013945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_5497-4_0_3_line_23 | NAYY 4x150 SE | 20 | 47 | 0.007616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5497-4_0_3_line_24 | NAYY 4x150 SE | 20 | 48 | 0.020606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_5497-4_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.011196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5497-4_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.0099916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5497-4_0_3_line_27 | NAYY 4x150 SE | 22 | 49 | 0.020824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5497-4_0_3_line_28 | NAYY 4x150 SE | 22 | 50 | 0.019961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5497-4_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.010744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5497-4_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.0053039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5497-4_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.010197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5497-4_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.029677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5497-4_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.012309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5497-4_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.00096411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5497-4_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.010161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5497-4_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.019211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5497-4_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.033119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5497-4_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.039427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5497-4_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.027778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5497-4_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.021191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5497-4_0_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.042545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5497-4_0_3_line_42 | NAYY 4x150 SE | 37 | 41 | 0.044131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5497-4_0_3_line_43 | NAYY 4x150 SE | 37 | 42 | 0.034926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5497-4_0_3_line_44 | NAYY 4x150 SE | 38 | 43 | 0.032771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5497-4_0_3_line_45 | NAYY 4x150 SE | 39 | 40 | 0.026712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5497-4_0_3_line_46 | NAYY 4x150 SE | 40 | 44 | 0.014016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5497-4_0_3_line_47 | NAYY 4x150 SE | 40 | 43 | 0.035859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5497-4_0_3_line_48 | NAYY 4x150 SE | 41 | 45 | 0.068083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5497-4_0_3_line_49 | NAYY 4x150 SE | 42 | 46 | 0.033897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5497-4_0_3_line_50 | NAYY 4x150 SE | 44 | 53 | 0.007148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5497-4_0_3_line_51 | NAYY 4x150 SE | 44 | 54 | 0.019795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5497-4_0_3_line_52 | NAYY 4x150 SE | 46 | 55 | 0.039872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5497-4_0_3_line_53 | NAYY 4x150 SE | 48 | 61 | 0.00996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5497-4_0_3_line_54 | NAYY 4x150 SE | 48 | 58 | 0.006987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5497-4_0_3_line_55 | NAYY 4x150 SE | 49 | 51 | 0.0020155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5497-4_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.0046271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5497-4_0_3_line_57 | NAYY 4x150 SE | 51 | 66 | 0.019453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5497-4_0_3_line_58 | NAYY 4x150 SE | 51 | 65 | 0.0084517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5497-4_0_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.0084809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5497-4_0_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0041088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5497-4_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.029508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5497-4_0_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.028329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5497-4_0_3_line_63 | NAYY 4x150 SE | 60 | 64 | 0.027479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5497-4_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.020526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5497-4_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.01749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5497-4_0_3_line_66 | NAYY 4x150 SE | 63 | 73 | 0.014219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5497-4_0_3_line_67 | NAYY 4x150 SE | 63 | 74 | 0.016717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5497-4_0_3_line_68 | NAYY 4x150 SE | 64 | 69 | 0.014909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5497-4_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.013275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5497-4_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.01086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5497-4_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.020384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5497-4_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.019712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5497-4_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.012124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5497-4_0_3_line_74 | NAYY 4x150 SE | 74 | 78 | 0.01422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5497-4_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.0046967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5497-4_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.02952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5497-4_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.015667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5497-4_0_3_line_78 | NAYY 4x150 SE | 77 | 79 | 0.018259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5497-4_0_3_line_79 | NAYY 4x150 SE | 77 | 80 | 0.0025063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5497-4_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.018738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5497-4_0_3_line_81 | NAYY 4x150 SE | 81 | 93 | 0.015366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5497-4_0_3_line_82 | NAYY 4x150 SE | 81 | 87 | 0.013809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5497-4_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.0067662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5497-4_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.019214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5497-4_0_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.009904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5497-4_0_3_line_86 | NAYY 4x150 SE | 83 | 86 | 0.071681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5497-4_0_3_line_87 | NAYY 4x150 SE | 84 | 87 | 0.017662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5497-4_0_3_line_88 | NAYY 4x150 SE | 84 | 88 | 0.014251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5497-4_0_3_line_89 | NAYY 4x150 SE | 86 | 89 | 0.075113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5497-4_0_3_line_90 | NAYY 4x150 SE | 86 | 90 | 0.040868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5497-4_0_3_line_91 | NAYY 4x150 SE | 89 | 91 | 0.014785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5497-4_0_3_line_92 | NAYY 4x150 SE | 90 | 92 | 0.021835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5497-4_0_3_line_93 | NAYY 4x150 SE | 91 | 106 | 0.030865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5497-4_0_3_line_94 | NAYY 4x150 SE | 92 | 103 | 0.031602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5497-4_0_3_line_95 | NAYY 4x150 SE | 92 | 97 | 0.01814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5497-4_0_3_line_96 | NAYY 4x150 SE | 94 | 95 | 0.018934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5497-4_0_3_line_97 | NAYY 4x150 SE | 94 | 96 | 0.0053296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5497-4_0_3_line_98 | NAYY 4x150 SE | 95 | 97 | 0.020161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5497-4_0_3_line_99 | NAYY 4x150 SE | 96 | 98 | 0.032107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5497-4_0_3_line_100 | NAYY 4x150 SE | 96 | 99 | 0.035831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5497-4_0_3_line_101 | NAYY 4x150 SE | 97 | 100 | 0.02265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5497-4_0_3_line_102 | NAYY 4x150 SE | 99 | 101 | 0.019748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5497-4_0_3_line_103 | NAYY 4x150 SE | 99 | 102 | 0.018287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5497-4_0_3_line_104 | NAYY 4x150 SE | 100 | 104 | 0.050024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5497-4_0_3_line_105 | NAYY 4x150 SE | 104 | 105 | 0.003181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5497-4_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 107 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2528970.7582 | 1168829.3821 | 2528967.2598 | 1168832.1259
1 | 2528986.4171 | 1168817.1008 | 2528970.7582 | 1168829.3821
2 | 2528953.9434 | 1168842.2664 | 2528967.0881 | 1168832.2605 | 2528967.2598 | 1168832.1259
3 | 2528986.4171 | 1168817.1008 | 2528988.4213 | 1168820.2085
4 | 2528986.4171 | 1168817.1008 | 2528983.7475 | 1168808.8277 | 2528983.2305 | 1168800.0732 | 2528983.7355 | 1168794.8977 | 2528984.9602 | 1168790.5756
5 | 2528953.9434 | 1168842.2664 | 2528948.7103 | 1168842.4285 | 2528938.0756 | 1168846.3893
6 | 2528953.9434 | 1168842.2664 | 2528951.8563 | 1168833.2778
7 | 2528953.9434 | 1168842.2664 | 2528948.3895 | 1168846.3567
8 | 2528988.4213 | 1168820.2085 | 2528991.3836 | 1168824.8019 | 2528996.6831 | 1168831.543 | 2528997.8929 | 1168832.6732
9 | 2528986.7973 | 1168785.6994 | 2528985.6162 | 1168788.2605 | 2528984.9602 | 1168790.5756
10 | 2528918.9527 | 1168822.3252 | 2528936.707 | 1168817.6677 | 2528947.5719 | 1168814.8262 | 2528951.8563 | 1168833.2778
11 | 2528948.3895 | 1168846.3567 | 2528934.3987 | 1168856.6506 | 2528929.272 | 1168862.548 | 2528926.5909 | 1168866.86 | 2528923.5618 | 1168870.2312 | 2528916.3016 | 1168873.9667
12 | 2528948.3895 | 1168846.3567 | 2528952.1283 | 1168855.8194
13 | 2528997.9323 | 1168832.71 | 2528997.8929 | 1168832.6732
14 | 2528988.6681 | 1168781.6428 | 2528986.7973 | 1168785.6994
15 | 2528913.5207 | 1168875.3976 | 2528916.3016 | 1168873.9667
16 | 2528959.5383 | 1168874.574 | 2528952.1283 | 1168855.8194
17 | 2528997.9323 | 1168832.71 | 2529003.0523 | 1168837.4932 | 2529006.6067 | 1168841.2391
18 | 2528988.6681 | 1168781.6428 | 2528995.2366 | 1168773.322
19 | 2528988.6681 | 1168781.6428 | 2528984.0668 | 1168772.4699 | 2528979.2118 | 1168756.4074
20 | 2528959.5383 | 1168874.574 | 2528961.5354 | 1168874.5392 | 2528973.3173 | 1168874.3287
21 | 2528913.5207 | 1168875.3976 | 2528900.1089 | 1168880.3038 | 2528888.7612 | 1168884.3629 | 2528883.902 | 1168885.5286
22 | 2528870.2732 | 1168888.44 | 2528874.9632 | 1168887.6728 | 2528883.902 | 1168885.5286
23 | 2528870.2732 | 1168888.44 | 2528864.3989 | 1168883.5736
24 | 2528849.8532 | 1168891.5952 | 2528854.5608 | 1168891.0167 | 2528870.2732 | 1168888.44
25 | 2529013.484 | 1168848.487 | 2529021.7929 | 1168856.0152
26 | 2529013.484 | 1168848.487 | 2529006.6067 | 1168841.2391
27 | 2529021.7929 | 1168856.0152 | 2529029.6311 | 1168863.2154 | 2529037.8351 | 1168869.2432
28 | 2529021.7929 | 1168856.0152 | 2529026.1064 | 1168849.2937 | 2529034.926 | 1168841.1949
29 | 2528995.2366 | 1168773.322 | 2528999.2547 | 1168768.2321 | 2529002.3333 | 1168765.2882
30 | 2528979.2118 | 1168756.4074 | 2528977.9092 | 1168752.0979 | 2528977.6181 | 1168751.3508
31 | 2528973.9151 | 1168741.8504 | 2528977.6181 | 1168751.3508
32 | 2528955.4075 | 1168719.7793 | 2528961.8838 | 1168723.1267 | 2528969.0226 | 1168732.0028 | 2528973.9151 | 1168741.8504
33 | 2528955.4075 | 1168719.7793 | 2528948.5891 | 1168718.5705 | 2528943.2109 | 1168718.8229
34 | 2528943.2109 | 1168718.8229 | 2528942.2478 | 1168718.868
35 | 2528942.2478 | 1168718.868 | 2528932.398 | 1168721.4751
36 | 2528932.398 | 1168721.4751 | 2528914.5044 | 1168728.4665
37 | 2528883.6564 | 1168740.5193 | 2528914.5044 | 1168728.4665
38 | 2528932.398 | 1168721.4751 | 2528922.6605 | 1168713.5527 | 2528912.108 | 1168709.8312 | 2528901.7193 | 1168698.0804
39 | 2528883.6564 | 1168740.5193 | 2528893.7707 | 1168759.5658 | 2528899.878 | 1168760.8385
40 | 2528883.6564 | 1168740.5193 | 2528863.872 | 1168748.2584
41 | 2528901.7193 | 1168698.0804 | 2528862.6704 | 1168681.19
42 | 2528863.872 | 1168748.2584 | 2528879.9149 | 1168779.308 | 2528885.0185 | 1168786.9407
43 | 2528863.872 | 1168748.2584 | 2528857.8613 | 1168750.6088 | 2528831.341 | 1168760.9695
44 | 2528862.6704 | 1168681.19 | 2528866.5801 | 1168690.1154 | 2528854.7223 | 1168688.6219 | 2528844.964 | 1168691.2058 | 2528844.0475 | 1168691.555
45 | 2528855.2141 | 1168725.6315 | 2528874.8845 | 1168723.6693 | 2528881.5758 | 1168721.813
46 | 2528841.6249 | 1168728.4221 | 2528846.0417 | 1168726.5464 | 2528855.2141 | 1168725.6315
47 | 2528855.2141 | 1168725.6315 | 2528844.0475 | 1168691.555
48 | 2528949.874 | 1168774.0202 | 2528925.1781 | 1168784.5077 | 2528913.3946 | 1168787.9826 | 2528899.5534 | 1168788.9584 | 2528895.2264 | 1168789.3655 | 2528889.3537 | 1168789.1572 | 2528885.0185 | 1168786.9407
49 | 2528799.2497 | 1168771.8053 | 2528814.0003 | 1168766.8385 | 2528821.6444 | 1168764.7577 | 2528831.341 | 1168760.9695
50 | 2528841.6249 | 1168728.4221 | 2528838.5104 | 1168728.4591 | 2528835.064 | 1168726.3321
51 | 2528841.6249 | 1168728.4221 | 2528824.6565 | 1168738.696
52 | 2528799.2497 | 1168771.8053 | 2528800.4537 | 1168782.9529 | 2528801.7352 | 1168796.7678 | 2528800.3947 | 1168811.4921
53 | 2528849.8532 | 1168891.5952 | 2528841.5675 | 1168886.0347
54 | 2528849.8532 | 1168891.5952 | 2528842.8989 | 1168892.4559
55 | 2529039.4593 | 1168870.4366 | 2529037.8351 | 1168869.2432
56 | 2529038.3115 | 1168838.0417 | 2529037.7583 | 1168838.5941 | 2529034.926 | 1168841.1949
57 | 2529039.4593 | 1168870.4366 | 2529028.589 | 1168880.5598 | 2529025.3963 | 1168883.8696
58 | 2529039.4593 | 1168870.4366 | 2529046.4716 | 1168875.1545
59 | 2528796.2978 | 1168818.9178 | 2528800.3947 | 1168811.4921
60 | 2528796.2978 | 1168818.9178 | 2528794.3129 | 1168822.5154
61 | 2528859.9004 | 1168916.6013 | 2528842.8989 | 1168892.4559
62 | 2528815.0221 | 1168897.334 | 2528819.9609 | 1168896.2525 | 2528830.656 | 1168893.9576 | 2528842.8989 | 1168892.4559
63 | 2528815.0221 | 1168897.334 | 2528788.189 | 1168903.2581
64 | 2528815.0221 | 1168897.334 | 2528819.9609 | 1168896.2525 | 2528822.2481 | 1168908.399 | 2528823.2474 | 1168911.3443
65 | 2528831.1089 | 1168926.9377 | 2528828.8041 | 1168922.9739 | 2528824.0484 | 1168913.7028 | 2528823.2474 | 1168911.3443
66 | 2528817.6489 | 1168931.6334 | 2528831.1089 | 1168926.9377
67 | 2528831.1089 | 1168926.9377 | 2528839.5079 | 1168941.4018
68 | 2528773.9625 | 1168907.6941 | 2528786.4963 | 1168903.6318 | 2528788.189 | 1168903.2581
69 | 2529016.1796 | 1168893.424 | 2529025.3963 | 1168883.8696
70 | 2529016.1796 | 1168893.424 | 2529015.7663 | 1168893.8525 | 2529023.0541 | 1168901.0807
71 | 2528788.7718 | 1168921.2259 | 2528777.2948 | 1168913.102 | 2528773.9625 | 1168907.6941
72 | 2528755.1618 | 1168913.7875 | 2528773.9625 | 1168907.6941
73 | 2528755.1618 | 1168913.7875 | 2528758.1203 | 1168920.5896 | 2528758.6734 | 1168925.2635
74 | 2528853.105 | 1168941.1626 | 2528843.2954 | 1168939.3891 | 2528839.5079 | 1168941.4018
75 | 2528839.5079 | 1168941.4018 | 2528841.8681 | 1168945.4624
76 | 2528856.4378 | 1168971.129 | 2528853.9929 | 1168966.3219 | 2528841.8681 | 1168945.4624
77 | 2528863.5451 | 1168985.0971 | 2528856.4378 | 1168971.129
78 | 2528863.5451 | 1168985.0971 | 2528845.2473 | 1168985.8368
79 | 2528863.5451 | 1168985.0971 | 2528864.6815 | 1168987.3309
80 | 2528872.9853 | 1169004.1181 | 2528872.2196 | 1169002.1483 | 2528864.6815 | 1168987.3309
81 | 2528858.8144 | 1169010.1563 | 2528872.9853 | 1169004.1181
82 | 2528872.9853 | 1169004.1181 | 2528877.9705 | 1169016.996
83 | 2528893.7335 | 1169057.6915 | 2528891.2888 | 1169051.3824
84 | 2528884.3465 | 1169033.4668 | 2528891.2888 | 1169051.3824
85 | 2528884.2718 | 1169060.7054 | 2528893.7335 | 1169057.6915
86 | 2528893.7335 | 1169057.6915 | 2528901.4311 | 1169077.5671 | 2528910.2722 | 1169075.1275 | 2528921.5947 | 1169059.2954 | 2528934.2424 | 1169041.6244
87 | 2528884.3465 | 1169033.4668 | 2528877.9705 | 1169016.996
88 | 2528870.9275 | 1169038.3732 | 2528884.3465 | 1169033.4668
89 | 2528903.5724 | 1169009.0471 | 2528905.251 | 1169013.7744 | 2528921.5947 | 1169059.2954 | 2528934.2424 | 1169041.6244
90 | 2528934.2424 | 1169041.6244 | 2528952.4311 | 1169016.2055 | 2528958.3925 | 1169008.6656
91 | 2528903.5724 | 1169009.0471 | 2528898.638 | 1168995.1095
92 | 2528973.4461 | 1168992.8988 | 2528971.7658 | 1168994.4752 | 2528962.0674 | 1169004.0177 | 2528958.3925 | 1169008.6656
93 | 2528888.3371 | 1168966.0144 | 2528898.638 | 1168995.1095
94 | 2528973.4461 | 1168992.8988 | 2528953.0984 | 1168980.1771 | 2528947.1635 | 1168985.0279
95 | 2528986.7152 | 1168980.4902 | 2528973.4461 | 1168992.8988
96 | 2528957.2494 | 1168956.0264 | 2528963.3981 | 1168957.4421 | 2528972.3765 | 1168966.3169
97 | 2528952.0556 | 1168954.8306 | 2528957.2494 | 1168956.0264
98 | 2528986.7152 | 1168980.4902 | 2528972.3765 | 1168966.3169
99 | 2528952.0556 | 1168954.8306 | 2528934.8535 | 1168965.3626 | 2528930.0224 | 1168976.2785
100 | 2528926.3953 | 1168929.7537 | 2528952.0556 | 1168954.8306
101 | 2529003.4164 | 1168965.1393 | 2528986.7152 | 1168980.4902
102 | 2528926.3953 | 1168929.7537 | 2528919.6928 | 1168924.7414 | 2528915.0874 | 1168923.6064 | 2528908.6171 | 1168925.273
103 | 2528926.3953 | 1168929.7537 | 2528924.077 | 1168924.0001 | 2528924.7515 | 1168921.5018 | 2528932.6714 | 1168916.2272
104 | 2529003.4164 | 1168965.1393 | 2528977.9179 | 1168930.4437 | 2528983.7307 | 1168926.6044
105 | 2528986.385 | 1168924.8513 | 2528983.7307 | 1168926.6044

## bus_geodata
| x | y | coords
0 | 2528970.7582 | 1168829.3821
1 | 2528967.2598 | 1168832.1259
2 | 2528986.4171 | 1168817.1008
3 | 2528953.9434 | 1168842.2664
4 | 2528988.4213 | 1168820.2085
5 | 2528984.9602 | 1168790.5756
6 | 2528938.0756 | 1168846.3893
7 | 2528951.8563 | 1168833.2778
8 | 2528948.3895 | 1168846.3567
9 | 2528997.8929 | 1168832.6732
10 | 2528986.7973 | 1168785.6994
11 | 2528918.9527 | 1168822.3252
12 | 2528916.3016 | 1168873.9667
13 | 2528952.1283 | 1168855.8194
14 | 2528997.9323 | 1168832.71
15 | 2528988.6681 | 1168781.6428
16 | 2528959.5383 | 1168874.574
17 | 2528973.3173 | 1168874.3287
18 | 2528913.5207 | 1168875.3976
19 | 2528883.902 | 1168885.5286
20 | 2528870.2732 | 1168888.44
21 | 2529013.484 | 1168848.487
22 | 2529021.7929 | 1168856.0152
23 | 2529006.6067 | 1168841.2391
24 | 2528995.2366 | 1168773.322
25 | 2528979.2118 | 1168756.4074
26 | 2529002.3333 | 1168765.2882
27 | 2528977.6181 | 1168751.3508
28 | 2528973.9151 | 1168741.8504
29 | 2528955.4075 | 1168719.7793
30 | 2528943.2109 | 1168718.8229
31 | 2528942.2478 | 1168718.868
32 | 2528914.5044 | 1168728.4665
33 | 2528932.398 | 1168721.4751
34 | 2528883.6564 | 1168740.5193
35 | 2528901.7193 | 1168698.0804
36 | 2528899.878 | 1168760.8385
37 | 2528863.872 | 1168748.2584
38 | 2528862.6704 | 1168681.19
39 | 2528881.5758 | 1168721.813
40 | 2528855.2141 | 1168725.6315
41 | 2528885.0185 | 1168786.9407
42 | 2528831.341 | 1168760.9695
43 | 2528844.0475 | 1168691.555
44 | 2528841.6249 | 1168728.4221
45 | 2528949.874 | 1168774.0202
46 | 2528799.2497 | 1168771.8053
47 | 2528864.3989 | 1168883.5736
48 | 2528849.8532 | 1168891.5952
49 | 2529037.8351 | 1168869.2432
50 | 2529034.926 | 1168841.1949
51 | 2529039.4593 | 1168870.4366
52 | 2529038.3115 | 1168838.0417
53 | 2528835.064 | 1168726.3321
54 | 2528824.6565 | 1168738.696
55 | 2528800.3947 | 1168811.4921
56 | 2528796.2978 | 1168818.9178
57 | 2528794.3129 | 1168822.5154
58 | 2528842.8989 | 1168892.4559
59 | 2528859.9004 | 1168916.6013
60 | 2528815.0221 | 1168897.334
61 | 2528841.5675 | 1168886.0347
62 | 2528823.2474 | 1168911.3443
63 | 2528831.1089 | 1168926.9377
64 | 2528788.189 | 1168903.2581
65 | 2529046.4716 | 1168875.1545
66 | 2529025.3963 | 1168883.8696
67 | 2529016.1796 | 1168893.424
68 | 2529023.0541 | 1168901.0807
69 | 2528773.9625 | 1168907.6941
70 | 2528788.7718 | 1168921.2259
71 | 2528755.1618 | 1168913.7875
72 | 2528758.6734 | 1168925.2635
73 | 2528817.6489 | 1168931.6334
74 | 2528839.5079 | 1168941.4018
75 | 2528841.8681 | 1168945.4624
76 | 2528856.4378 | 1168971.129
77 | 2528863.5451 | 1168985.0971
78 | 2528853.105 | 1168941.1626
79 | 2528845.2473 | 1168985.8368
80 | 2528864.6815 | 1168987.3309
81 | 2528872.9853 | 1169004.1181
82 | 2528891.2888 | 1169051.3824
83 | 2528893.7335 | 1169057.6915
84 | 2528884.3465 | 1169033.4668
85 | 2528884.2718 | 1169060.7054
86 | 2528934.2424 | 1169041.6244
87 | 2528877.9705 | 1169016.996
88 | 2528870.9275 | 1169038.3732
89 | 2528903.5724 | 1169009.0471
90 | 2528958.3925 | 1169008.6656
91 | 2528898.638 | 1168995.1095
92 | 2528973.4461 | 1168992.8988
93 | 2528858.8144 | 1169010.1563
94 | 2528957.2494 | 1168956.0264
95 | 2528972.3765 | 1168966.3169
96 | 2528952.0556 | 1168954.8306
97 | 2528986.7152 | 1168980.4902
98 | 2528930.0224 | 1168976.2785
99 | 2528926.3953 | 1168929.7537
100 | 2529003.4164 | 1168965.1393
101 | 2528908.6171 | 1168925.273
102 | 2528932.6714 | 1168916.2272
103 | 2528947.1635 | 1168985.0279
104 | 2528983.7307 | 1168926.6044
105 | 2528986.385 | 1168924.8513
106 | 2528888.3371 | 1168966.0144
107 | 2528932.7088 | 1168848.3881

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1