## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_552-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_552-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_552-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_552-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_552-10_0_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_552-10_0_3_node_134 | 0.4 | n |  | TRUE
6 | bus_LV_552-10_0_3_node_200 | 0.4 | n |  | TRUE
7 | bus_LV_552-10_0_3_node_133 | 0.4 | n |  | TRUE
8 | bus_LV_552-10_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_552-10_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_552-10_0_3_node_198 | 0.4 | n |  | TRUE
11 | bus_LV_552-10_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_552-10_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_552-10_0_3_node_196 | 0.4 | n |  | TRUE
14 | bus_LV_552-10_0_3_node_197 | 0.4 | n |  | TRUE
15 | bus_LV_552-10_0_3_node_199 | 0.4 | n |  | TRUE
16 | bus_LV_552-10_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_552-10_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_552-10_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_552-10_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_552-10_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_552-10_0_3_node_129 | 0.4 | n |  | TRUE
22 | bus_LV_552-10_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_552-10_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_552-10_0_3_node_128 | 0.4 | n |  | TRUE
25 | bus_LV_552-10_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_552-10_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_552-10_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_552-10_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_552-10_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_552-10_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_552-10_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_552-10_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_552-10_0_3_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_552-10_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_552-10_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_552-10_0_3_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_552-10_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_552-10_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_552-10_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_552-10_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_552-10_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_552-10_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_552-10_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_552-10_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_552-10_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_552-10_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_552-10_0_3_node_185 | 0.4 | n |  | TRUE
48 | bus_LV_552-10_0_3_node_184 | 0.4 | n |  | TRUE
49 | bus_LV_552-10_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_552-10_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_552-10_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_552-10_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_552-10_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_552-10_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_552-10_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_552-10_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_552-10_0_3_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_552-10_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_552-10_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_552-10_0_3_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_552-10_0_3_node_186 | 0.4 | n |  | TRUE
62 | bus_LV_552-10_0_3_node_182 | 0.4 | n |  | TRUE
63 | bus_LV_552-10_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_552-10_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_552-10_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_552-10_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_552-10_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_552-10_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_552-10_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_552-10_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_552-10_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_552-10_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_552-10_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_552-10_0_3_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_552-10_0_3_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_552-10_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_552-10_0_3_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_552-10_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_552-10_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_552-10_0_3_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_552-10_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_552-10_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_552-10_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_552-10_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_552-10_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_552-10_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_552-10_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_552-10_0_3_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_552-10_0_3_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_552-10_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_552-10_0_3_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_552-10_0_3_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_552-10_0_3_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_552-10_0_3_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_552-10_0_3_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_552-10_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_552-10_0_3_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_552-10_0_3_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_552-10_0_3_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_552-10_0_3_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_552-10_0_3_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_552-10_0_3_node_190 | 0.4 | n |  | TRUE
103 | bus_LV_552-10_0_3_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_552-10_0_3_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_552-10_0_3_node_189 | 0.4 | n |  | TRUE
106 | bus_LV_552-10_0_3_node_188 | 0.4 | n |  | TRUE
107 | bus_LV_552-10_0_3_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_552-10_0_3_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_552-10_0_3_node_116 | 0.4 | n |  | TRUE
110 | bus_LV_552-10_0_3_node_99 | 0.4 | n |  | TRUE
111 | bus_LV_552-10_0_3_node_117 | 0.4 | n |  | TRUE
112 | bus_LV_552-10_0_3_node_118 | 0.4 | n |  | TRUE
113 | bus_LV_552-10_0_3_node_100 | 0.4 | n |  | TRUE
114 | bus_LV_552-10_0_3_node_101 | 0.4 | n |  | TRUE
115 | bus_LV_552-10_0_3_node_102 | 0.4 | n |  | TRUE
116 | bus_LV_552-10_0_3_node_103 | 0.4 | n |  | TRUE
117 | bus_LV_552-10_0_3_node_110 | 0.4 | n |  | TRUE
118 | bus_LV_552-10_0_3_node_104 | 0.4 | n |  | TRUE
119 | bus_LV_552-10_0_3_node_111 | 0.4 | n |  | TRUE
120 | bus_LV_552-10_0_3_node_105 | 0.4 | n |  | TRUE
121 | bus_LV_552-10_0_3_node_106 | 0.4 | n |  | TRUE
122 | bus_LV_552-10_0_3_node_107 | 0.4 | n |  | TRUE
123 | bus_LV_552-10_0_3_node_108 | 0.4 | n |  | TRUE
124 | bus_LV_552-10_0_3_node_130 | 0.4 | n |  | TRUE
125 | bus_LV_552-10_0_3_node_109 | 0.4 | n |  | TRUE
126 | bus_LV_552-10_0_3_node_131 | 0.4 | n |  | TRUE
127 | bus_LV_552-10_0_3_node_112 | 0.4 | n |  | TRUE
128 | bus_LV_552-10_0_3_node_113 | 0.4 | n |  | TRUE
129 | bus_LV_552-10_0_3_node_114 | 0.4 | n |  | TRUE
130 | bus_LV_552-10_0_3_node_115 | 0.4 | n |  | TRUE
131 | bus_LV_552-10_0_3_node_119 | 0.4 | n |  | TRUE
132 | bus_LV_552-10_0_3_node_120 | 0.4 | n |  | TRUE
133 | bus_LV_552-10_0_3_node_121 | 0.4 | n |  | TRUE
134 | bus_LV_552-10_0_3_node_122 | 0.4 | n |  | TRUE
135 | bus_LV_552-10_0_3_node_123 | 0.4 | n |  | TRUE
136 | bus_LV_552-10_0_3_node_124 | 0.4 | n |  | TRUE
137 | bus_LV_552-10_0_3_node_126 | 0.4 | n |  | TRUE
138 | bus_LV_552-10_0_3_node_125 | 0.4 | n |  | TRUE
139 | bus_LV_552-10_0_3_node_127 | 0.4 | n |  | TRUE
140 | bus_LV_552-10_0_3_node_132 | 0.4 | n |  | TRUE
141 | bus_LV_552-10_0_3_node_139 | 0.4 | n |  | TRUE
142 | bus_LV_552-10_0_3_node_135 | 0.4 | n |  | TRUE
143 | bus_LV_552-10_0_3_node_136 | 0.4 | n |  | TRUE
144 | bus_LV_552-10_0_3_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_552-10_0_3_node_138 | 0.4 | n |  | TRUE
146 | bus_LV_552-10_0_3_node_140 | 0.4 | n |  | TRUE
147 | bus_LV_552-10_0_3_node_178 | 0.4 | n |  | TRUE
148 | bus_LV_552-10_0_3_node_179 | 0.4 | n |  | TRUE
149 | bus_LV_552-10_0_3_node_180 | 0.4 | n |  | TRUE
150 | bus_LV_552-10_0_3_node_181 | 0.4 | n |  | TRUE
151 | bus_LV_552-10_0_3_node_183 | 0.4 | n |  | TRUE
152 | bus_LV_552-10_0_3_node_187 | 0.4 | n |  | TRUE
153 | bus_MV_386_1_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_552-10_0_3_load_0 | 0 | 0.00044874 | 0.00011246 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_552-10_0_3_load_1 | 1 | 0.00064485 | 0.00016161 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_552-10_0_3_load_3 | 3 | 0.00066579 | 0.00016686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_552-10_0_3_load_19 | 4 | 0.0011297 | 0.00028312 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_552-10_0_3_load_134 | 5 | 0.00044007 | 0.00011029 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_552-10_0_3_load_200 | 6 | 0.00039276 | 9.8435e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_552-10_0_3_load_133 | 7 | 0.0026558 | 0.00066562 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_552-10_0_3_load_4 | 8 | 0.0004533 | 0.00011361 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_552-10_0_3_load_5 | 11 | 0.0003862 | 9.679e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_552-10_0_3_load_6 | 12 | 0.00034942 | 8.7574e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_552-10_0_3_load_196 | 13 | 0.00039562 | 9.9151e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_552-10_0_3_load_197 | 14 | 0.00035693 | 8.9456e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_552-10_0_3_load_199 | 15 | 0.002346 | 0.00058797 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_552-10_0_3_load_8 | 16 | 0.0005362 | 0.00013438 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_552-10_0_3_load_9 | 17 | 0.00046796 | 0.00011728 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_552-10_0_3_load_10 | 18 | 0.00030839 | 7.729e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_552-10_0_3_load_11 | 19 | 0.0004 | 0.00010025 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_552-10_0_3_load_129 | 21 | 0.0022719 | 0.0005694 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_552-10_0_3_load_14 | 22 | 0.00016501 | 4.1355e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_552-10_0_3_load_16 | 23 | 0.0002187 | 5.4811e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_552-10_0_3_load_128 | 24 | 0.00024206 | 6.0666e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_552-10_0_3_load_13 | 25 | 0.0013432 | 0.00033664 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_552-10_0_3_load_21 | 27 | 0.0038433 | 0.00096323 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_552-10_0_3_load_22 | 28 | 0.00088596 | 0.00022204 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_552-10_0_3_load_23 | 29 | 0.0006239 | 0.00015636 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_552-10_0_3_load_24 | 30 | 0.0012462 | 0.00031234 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_552-10_0_3_load_25 | 31 | 0.0020782 | 0.00052086 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_552-10_0_3_load_26 | 32 | 0.00035732 | 8.9553e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_552-10_0_3_load_47 | 33 | 0.00088896 | 0.00022279 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_552-10_0_3_load_27 | 34 | 0.00081101 | 0.00020326 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_552-10_0_3_load_28 | 35 | 0.00069655 | 0.00017457 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_552-10_0_3_load_46 | 36 | 0.0026136 | 0.00065502 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_552-10_0_3_load_29 | 37 | 0.00078594 | 0.00019697 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_552-10_0_3_load_30 | 38 | 0.0018075 | 0.000453 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_552-10_0_3_load_31 | 39 | 0.0012906 | 0.00032346 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_552-10_0_3_load_32 | 40 | 0.0019716 | 0.00049412 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_552-10_0_3_load_33 | 41 | 0.0024553 | 0.00061536 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_552-10_0_3_load_34 | 42 | 0.0011645 | 0.00029186 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_552-10_0_3_load_35 | 43 | 0.0050618 | 0.0012686 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_552-10_0_3_load_44 | 46 | 0.002195 | 0.00055011 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_552-10_0_3_load_185 | 47 | 0.00071814 | 0.00017998 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_552-10_0_3_load_184 | 48 | 0.00094404 | 0.0002366 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_552-10_0_3_load_37 | 49 | 0.0014297 | 0.00035831 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_552-10_0_3_load_38 | 50 | 0.0023314 | 0.0005843 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_552-10_0_3_load_39 | 51 | 0.001611 | 0.00040375 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_552-10_0_3_load_41 | 53 | 0.0011422 | 0.00028627 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_552-10_0_3_load_74 | 57 | 0.0015287 | 0.00038313 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_552-10_0_3_load_53 | 58 | 0.00085567 | 0.00021445 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_552-10_0_3_load_50 | 59 | 0.0045081 | 0.0011298 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_552-10_0_3_load_75 | 60 | 0.001388 | 0.00034786 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_552-10_0_3_load_186 | 61 | 0.0011091 | 0.00027797 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_552-10_0_3_load_182 | 62 | 0.0036481 | 0.0009143 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_552-10_0_3_load_49 | 63 | 0.0068725 | 0.0017224 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_552-10_0_3_load_51 | 64 | 0.0010109 | 0.00025335 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_552-10_0_3_load_52 | 65 | 0.0013193 | 0.00033066 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_552-10_0_3_load_62 | 67 | 0.0015815 | 0.00039635 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_552-10_0_3_load_63 | 68 | 0.0011866 | 0.00029738 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_552-10_0_3_load_60 | 69 | 0.0022929 | 0.00057464 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_552-10_0_3_load_64 | 70 | 0.0010252 | 0.00025695 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_552-10_0_3_load_67 | 71 | 0.00069195 | 0.00017342 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_552-10_0_3_load_55 | 73 | 0.0016644 | 0.00041713 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_552-10_0_3_load_56 | 74 | 0.0026435 | 0.00066253 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_552-10_0_3_load_57 | 75 | 0.0015948 | 0.00039969 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_552-10_0_3_load_59 | 76 | 0.001761 | 0.00044135 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_552-10_0_3_load_61 | 77 | 0.0016493 | 0.00041335 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_552-10_0_3_load_72 | 78 | 0.0033754 | 0.00084595 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_552-10_0_3_load_66 | 79 | 0.0015397 | 0.00038589 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_552-10_0_3_load_65 | 80 | 0.0024329 | 0.00060975 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_552-10_0_3_load_68 | 81 | 0.0012113 | 0.00030359 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_552-10_0_3_load_69 | 82 | 0.0013613 | 0.00034118 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_552-10_0_3_load_76 | 83 | 0.00071188 | 0.00017841 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_552-10_0_3_load_77 | 84 | 0.0017148 | 0.00042978 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_552-10_0_3_load_78 | 85 | 0.001605 | 0.00040225 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_552-10_0_3_load_79 | 86 | 0.001565 | 0.00039223 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_552-10_0_3_load_80 | 87 | 0.0026164 | 0.00065573 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_552-10_0_3_load_92 | 88 | 0.0011444 | 0.00028682 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_552-10_0_3_load_93 | 89 | 0.0017324 | 0.00043418 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_552-10_0_3_load_81 | 90 | 0.0015632 | 0.00039178 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_552-10_0_3_load_82 | 91 | 0.0011748 | 0.00029444 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_552-10_0_3_load_83 | 92 | 0.00084742 | 0.00021238 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_552-10_0_3_load_84 | 93 | 0.0013971 | 0.00035014 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_552-10_0_3_load_85 | 94 | 0.0010138 | 0.00025407 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_552-10_0_3_load_90 | 95 | 0.00081023 | 0.00020306 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_552-10_0_3_load_86 | 97 | 0.0010737 | 0.0002691 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_552-10_0_3_load_87 | 98 | 0.00090356 | 0.00022645 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_552-10_0_3_load_88 | 99 | 0.0011004 | 0.0002758 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_552-10_0_3_load_190 | 102 | 0.0015901 | 0.00039852 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_552-10_0_3_load_98 | 103 | 0.00085246 | 0.00021365 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_552-10_0_3_load_94 | 104 | 0.001023 | 0.00025639 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_552-10_0_3_load_188 | 106 | 0.010983 | 0.0027527 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_552-10_0_3_load_95 | 107 | 0.0015499 | 0.00038844 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_552-10_0_3_load_97 | 108 | 0.004971 | 0.0012459 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_552-10_0_3_load_99 | 110 | 0.003188 | 0.00079899 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_552-10_0_3_load_117 | 111 | 0.0017924 | 0.00044923 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_552-10_0_3_load_118 | 112 | 0.0006726 | 0.00016857 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_552-10_0_3_load_101 | 114 | 0.0036925 | 0.00092542 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_552-10_0_3_load_102 | 115 | 0.001717 | 0.00043032 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_552-10_0_3_load_103 | 116 | 0.00048343 | 0.00012116 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_552-10_0_3_load_110 | 117 | 0.00083528 | 0.00020934 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_552-10_0_3_load_104 | 118 | 0.0018608 | 0.00046636 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_552-10_0_3_load_111 | 119 | 0.00065881 | 0.00016511 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_552-10_0_3_load_106 | 121 | 0.0039685 | 0.0009946 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_552-10_0_3_load_107 | 122 | 0.0016565 | 0.00041517 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_552-10_0_3_load_108 | 123 | 0.00082864 | 0.00020768 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_552-10_0_3_load_130 | 124 | 0.00064946 | 0.00016277 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_552-10_0_3_load_109 | 125 | 0.00090708 | 0.00022733 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_552-10_0_3_load_131 | 126 | 0.00037744 | 9.4596e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_552-10_0_3_load_112 | 127 | 0.00026949 | 6.754e-05 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_552-10_0_3_load_113 | 128 | 0.0008725 | 0.00021867 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_552-10_0_3_load_114 | 129 | 0.0033964 | 0.00085123 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_552-10_0_3_load_115 | 130 | 0.0054485 | 0.0013655 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_552-10_0_3_load_119 | 131 | 0.0014157 | 0.00035481 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_552-10_0_3_load_121 | 133 | 0.0059907 | 0.0015014 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_552-10_0_3_load_122 | 134 | 0.0012046 | 0.00030191 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_552-10_0_3_load_124 | 136 | 0.00082225 | 0.00020608 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_552-10_0_3_load_126 | 137 | 0.00033383 | 8.3665e-05 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_552-10_0_3_load_125 | 138 | 0.0020311 | 0.00050904 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_552-10_0_3_load_127 | 139 | 0.0017904 | 0.00044871 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_552-10_0_3_load_132 | 140 | 0.0003314 | 8.3057e-05 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_552-10_0_3_load_135 | 142 | 0.00035306 | 8.8485e-05 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_552-10_0_3_load_136 | 143 | 0.00037634 | 9.4319e-05 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_552-10_0_3_load_137 | 144 | 0.00037791 | 9.4713e-05 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_552-10_0_3_load_138 | 145 | 0.00048624 | 0.00012186 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_552-10_0_3_load_140 | 146 | 0.00053665 | 0.0001345 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_552-10_0_3_load_178 | 147 | 0.0037952 | 0.00095116 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_552-10_0_3_load_179 | 148 | 0.0015431 | 0.00038673 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_552-10_0_3_load_180 | 149 | 0.00067507 | 0.00016919 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_552-10_0_3_load_181 | 150 | 0.001499 | 0.00037568 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_552-10_0_3_load_183 | 151 | 0.0013392 | 0.00033563 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_552-10_0_3_load_187 | 152 | 0.0022751 | 0.00057018 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 95 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_552-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_552-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.099337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_552-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_552-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.093962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_552-10_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.024366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_552-10_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.026605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_552-10_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.25258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_552-10_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0061597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_552-10_0_3_line_8 | NAYY 4x150 SE | 6 | 15 | 0.0048493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_552-10_0_3_line_9 | NAYY 4x150 SE | 7 | 26 | 0.22913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_552-10_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.027829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_552-10_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.13929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_552-10_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.063909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_552-10_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.033249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_552-10_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.040635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_552-10_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0026098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_552-10_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.044203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_552-10_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0033069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_552-10_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.055934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_552-10_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0047612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_552-10_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.017478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_552-10_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.01433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_552-10_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.20297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_552-10_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.0098452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_552-10_0_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.032186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_552-10_0_3_line_25 | NAYY 4x150 SE | 24 | 139 | 0.0030085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_552-10_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.07732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_552-10_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.054362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_552-10_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.023641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_552-10_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.021748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_552-10_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.047851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_552-10_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.0066419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_552-10_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.037338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_552-10_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.01648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_552-10_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.02741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_552-10_0_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.0092197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_552-10_0_3_line_36 | NAYY 4x150 SE | 36 | 54 | 0.0081434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_552-10_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.016507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_552-10_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0064044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_552-10_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.028506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_552-10_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.017454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_552-10_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.026009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_552-10_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0085118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_552-10_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.025822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_552-10_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.035729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_552-10_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.019912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_552-10_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.0091818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_552-10_0_3_line_47 | NAYY 4x150 SE | 45 | 48 | 0.015024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_552-10_0_3_line_48 | NAYY 4x150 SE | 47 | 61 | 0.01064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_552-10_0_3_line_49 | NAYY 4x150 SE | 48 | 62 | 0.0024852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_552-10_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.029056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_552-10_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.0021083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_552-10_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.020844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_552-10_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.022761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_552-10_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.042501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_552-10_0_3_line_55 | NAYY 4x150 SE | 52 | 55 | 0.005355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_552-10_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.009997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_552-10_0_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.01396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_552-10_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.0095818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_552-10_0_3_line_59 | NAYY 4x150 SE | 56 | 59 | 0.0095718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_552-10_0_3_line_60 | NAYY 4x150 SE | 57 | 60 | 0.015347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_552-10_0_3_line_61 | NAYY 4x150 SE | 59 | 63 | 0.0092527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_552-10_0_3_line_62 | NAYY 4x150 SE | 60 | 83 | 0.0048499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_552-10_0_3_line_63 | NAYY 4x150 SE | 61 | 152 | 0.027758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_552-10_0_3_line_64 | NAYY 4x150 SE | 62 | 149 | 0.010029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_552-10_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.0090109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_552-10_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.040929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_552-10_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.012797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_552-10_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.018406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_552-10_0_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.029468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_552-10_0_3_line_70 | NAYY 4x150 SE | 66 | 69 | 0.028547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_552-10_0_3_line_71 | NAYY 4x150 SE | 67 | 70 | 0.0014304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_552-10_0_3_line_72 | NAYY 4x150 SE | 68 | 71 | 0.019149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_552-10_0_3_line_73 | NAYY 4x150 SE | 69 | 72 | 0.012867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_552-10_0_3_line_74 | NAYY 4x150 SE | 70 | 80 | 0.016055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_552-10_0_3_line_75 | NAYY 4x150 SE | 71 | 81 | 0.029116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_552-10_0_3_line_76 | NAYY 4x150 SE | 72 | 77 | 0.021716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_552-10_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.014062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_552-10_0_3_line_78 | NAYY 4x150 SE | 73 | 74 | 0.009241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_552-10_0_3_line_79 | NAYY 4x150 SE | 73 | 75 | 0.015384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_552-10_0_3_line_80 | NAYY 4x150 SE | 75 | 76 | 0.031375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_552-10_0_3_line_81 | NAYY 4x150 SE | 76 | 78 | 0.030239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_552-10_0_3_line_82 | NAYY 4x150 SE | 77 | 79 | 0.022314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_552-10_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.029643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_552-10_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0059536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_552-10_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.010166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_552-10_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.01155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_552-10_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.0094851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_552-10_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.012782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_552-10_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0006046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_552-10_0_3_line_90 | NAYY 4x150 SE | 89 | 105 | 0.038938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_552-10_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.022823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_552-10_0_3_line_92 | NAYY 4x150 SE | 90 | 92 | 0.011978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_552-10_0_3_line_93 | NAYY 4x150 SE | 91 | 93 | 0.024664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_552-10_0_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.010091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_552-10_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.0098337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_552-10_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.019192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
97 | LV_552-10_0_3_line_97 | NAYY 4x150 SE | 96 | 100 | 0.005738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
98 | LV_552-10_0_3_line_98 | NAYY 4x150 SE | 96 | 98 | 0.03673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_552-10_0_3_line_99 | NAYY 4x150 SE | 97 | 98 | 0.025638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_552-10_0_3_line_100 | NAYY 4x150 SE | 97 | 99 | 0.00039178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_552-10_0_3_line_101 | NAYY 4x150 SE | 100 | 101 | 0.007705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_552-10_0_3_line_102 | NAYY 4x150 SE | 100 | 102 | 0.010958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
103 | LV_552-10_0_3_line_103 | NAYY 4x150 SE | 101 | 103 | 0.059559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_552-10_0_3_line_104 | NAYY 4x150 SE | 101 | 104 | 0.018021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_552-10_0_3_line_105 | NAYY 4x150 SE | 102 | 105 | 0.015796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
106 | LV_552-10_0_3_line_106 | NAYY 4x150 SE | 103 | 110 | 0.0039189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_552-10_0_3_line_107 | NAYY 4x150 SE | 104 | 107 | 0.011165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_552-10_0_3_line_108 | NAYY 4x150 SE | 105 | 106 | 0.004744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_552-10_0_3_line_109 | NAYY 4x150 SE | 106 | 152 | 0.0051212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_552-10_0_3_line_110 | NAYY 4x150 SE | 107 | 108 | 0.010527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_552-10_0_3_line_111 | NAYY 4x150 SE | 108 | 109 | 0.024874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_552-10_0_3_line_112 | NAYY 4x150 SE | 109 | 111 | 0.027326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_552-10_0_3_line_113 | NAYY 4x150 SE | 109 | 112 | 0.033145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_552-10_0_3_line_114 | NAYY 4x150 SE | 110 | 113 | 0.033411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_552-10_0_3_line_115 | NAYY 4x150 SE | 112 | 131 | 0.011245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_552-10_0_3_line_116 | NAYY 4x150 SE | 113 | 114 | 0.0032613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_552-10_0_3_line_117 | NAYY 4x150 SE | 113 | 115 | 0.033352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_552-10_0_3_line_118 | NAYY 4x150 SE | 114 | 116 | 0.041132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_552-10_0_3_line_119 | NAYY 4x150 SE | 115 | 117 | 0.013411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_552-10_0_3_line_120 | NAYY 4x150 SE | 116 | 118 | 0.010096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_552-10_0_3_line_121 | NAYY 4x150 SE | 117 | 119 | 0.0020251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_552-10_0_3_line_122 | NAYY 4x150 SE | 118 | 120 | 0.020991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_552-10_0_3_line_123 | NAYY 4x150 SE | 119 | 127 | 0.011592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_552-10_0_3_line_124 | NAYY 4x150 SE | 120 | 121 | 0.045155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_552-10_0_3_line_125 | NAYY 4x150 SE | 120 | 122 | 0.049137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_552-10_0_3_line_126 | NAYY 4x150 SE | 121 | 123 | 0.0029796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_552-10_0_3_line_127 | NAYY 4x150 SE | 122 | 124 | 0.033124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_552-10_0_3_line_128 | NAYY 4x150 SE | 123 | 125 | 0.0006302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_552-10_0_3_line_129 | NAYY 4x150 SE | 124 | 126 | 0.15597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_552-10_0_3_line_130 | NAYY 4x150 SE | 126 | 140 | 0.035819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_552-10_0_3_line_131 | NAYY 4x150 SE | 127 | 128 | 0.0082955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_552-10_0_3_line_132 | NAYY 4x150 SE | 128 | 129 | 0.00083256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_552-10_0_3_line_133 | NAYY 4x150 SE | 129 | 130 | 0.019258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_552-10_0_3_line_134 | NAYY 4x150 SE | 131 | 132 | 0.017863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_552-10_0_3_line_135 | NAYY 4x150 SE | 132 | 133 | 0.036585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_552-10_0_3_line_136 | NAYY 4x150 SE | 132 | 134 | 0.054898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_552-10_0_3_line_137 | NAYY 4x150 SE | 134 | 135 | 0.041743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_552-10_0_3_line_138 | NAYY 4x150 SE | 135 | 136 | 0.019081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_552-10_0_3_line_139 | NAYY 4x150 SE | 136 | 137 | 0.023676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_552-10_0_3_line_140 | NAYY 4x150 SE | 137 | 138 | 0.00043842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_552-10_0_3_line_141 | NAYY 4x150 SE | 138 | 139 | 0.0038018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_552-10_0_3_line_142 | NAYY 4x150 SE | 140 | 141 | 0.036707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_552-10_0_3_line_143 | NAYY 4x150 SE | 141 | 146 | 0.024369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_552-10_0_3_line_144 | NAYY 4x150 SE | 141 | 145 | 0.012338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_552-10_0_3_line_145 | NAYY 4x150 SE | 142 | 143 | 0.022627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_552-10_0_3_line_146 | NAYY 4x150 SE | 143 | 144 | 0.018745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_552-10_0_3_line_147 | NAYY 4x150 SE | 144 | 145 | 0.022915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_552-10_0_3_line_148 | NAYY 4x150 SE | 147 | 148 | 0.019179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_552-10_0_3_line_149 | NAYY 4x150 SE | 147 | 149 | 0.02945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_552-10_0_3_line_150 | NAYY 4x150 SE | 148 | 150 | 0.032444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_552-10_0_3_line_151 | NAYY 4x150 SE | 150 | 151 | 0.024583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_552-10_0_3_trafo_90 | 0.25 MVA 20/0.4 kV | 153 | 95 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2607698.0998 | 1218322.598 | 2607681.6941 | 1218347.2001
1 | 2607740.6471 | 1218233.5772 | 2607737.0625 | 1218241.2992 | 2607729.1889 | 1218267.5707 | 2607726.432 | 1218275.0714 | 2607722.4988 | 1218282.4928 | 2607717.0508 | 1218293.4254 | 2607710.7233 | 1218303.6676 | 2607698.0998 | 1218322.598
2 | 2607668.6058 | 1218366.8275 | 2607668.6058 | 1218366.8275 | 2607681.6941 | 1218347.2001
3 | 2607740.6471 | 1218233.5772 | 2607829.5035 | 1218264.1297
4 | 2607668.6058 | 1218366.8275 | 2607656.9576 | 1218388.2285
5 | 2607824.0113 | 1218289.7394 | 2607824.4365 | 1218277.8887 | 2607825.4664 | 1218273.8322 | 2607827.0517 | 1218268.6536 | 2607829.5035 | 1218264.1297
6 | 2608082.8857 | 1218595.6724 | 2607836.6351 | 1218539.496
7 | 2608082.6209 | 1218601.8265 | 2608082.8857 | 1218595.6724
8 | 2607835.6222 | 1218534.7773 | 2607835.9146 | 1218537.2628 | 2607836.6351 | 1218539.496
9 | 2608039.2148 | 1218826.8078 | 2608082.6209 | 1218601.8265
10 | 2607643.6535 | 1218412.6718 | 2607656.9576 | 1218388.2285
11 | 2607824.0113 | 1218289.7394 | 2607837.5518 | 1218428.3694
12 | 2607837.5518 | 1218428.3694 | 2607830.2778 | 1218489.3614 | 2607830.5682 | 1218491.8292
13 | 2607630.0944 | 1218442.9127 | 2607635.3482 | 1218427.9311 | 2607643.6535 | 1218412.6718
14 | 2607830.5682 | 1218491.8292 | 2607835.3171 | 1218532.1853
15 | 2607835.6222 | 1218534.7773 | 2607835.3171 | 1218532.1853
16 | 2608079.2101 | 1218951.6422 | 2608084.4818 | 1218966.9486 | 2608108.9765 | 1218980.5431
17 | 2608079.2101 | 1218951.6422 | 2608078.1332 | 1218948.5155
18 | 2608153.1097 | 1219014.7474 | 2608145.3526 | 1219008.6547 | 2608115.3132 | 1218984.0667 | 2608111.6507 | 1218982.0272 | 2608108.9765 | 1218980.5431
19 | 2608076.5828 | 1218944.0138 | 2608078.1332 | 1218948.5155
20 | 2608166.8549 | 1219025.5433 | 2608153.1097 | 1219014.7474
21 | 2608076.5828 | 1218944.0138 | 2608073.025 | 1218930.1322
22 | 2608076.5828 | 1218944.0138 | 2607882.7129 | 1219004.0923
23 | 2608166.8549 | 1219025.5433 | 2608174.5974 | 1219031.6245
24 | 2608065.0342 | 1218898.9539 | 2608073.025 | 1218930.1322
25 | 2608176.9634 | 1219033.4828 | 2608174.5974 | 1219031.6245
26 | 2608039.2148 | 1218826.8078 | 2608052.0789 | 1218848.4152 | 2608058.4805 | 1218873.3825 | 2608065.0342 | 1218898.9539
27 | 2608571.135 | 1219341.456 | 2608567.8878 | 1219317.1192 | 2608565.9967 | 1219291.6797 | 2608565.9493 | 1219287.3804
28 | 2608574.2617 | 1219364.889 | 2608571.135 | 1219341.456
29 | 2608565.9754 | 1219265.6335 | 2608565.8758 | 1219280.7177 | 2608565.9493 | 1219287.3804
30 | 2608574.2617 | 1219364.889 | 2608549.5508 | 1219368.1445 | 2608545.9387 | 1219368.3395 | 2608543.2455 | 1219367.9465 | 2608540.8874 | 1219366.7647 | 2608539.2428 | 1219365.3171 | 2608538.0019 | 1219362.8917 | 2608537.1307 | 1219353.8993
31 | 2608574.2617 | 1219364.889 | 2608575.2458 | 1219371.4576
32 | 2608566.2219 | 1219228.2965 | 2608565.9754 | 1219265.6335
33 | 2608535.5416 | 1219337.4959 | 2608537.1307 | 1219353.8993
34 | 2608575.2458 | 1219371.4576 | 2608576.8623 | 1219382.2471 | 2608578.2497 | 1219388.3637 | 2608580.6154 | 1219398.3146
35 | 2608566.2219 | 1219228.2965 | 2608566.2243 | 1219227.9325 | 2608566.6955 | 1219219.0893
36 | 2608567.1288 | 1219210.9574 | 2608566.6955 | 1219219.0893
37 | 2608452.922 | 1219244.0673 | 2608451.1508 | 1219249.5929 | 2608440.7949 | 1219246.8832
38 | 2608454.8769 | 1219237.9685 | 2608452.922 | 1219244.0673
39 | 2608426.6414 | 1219264.0991 | 2608432.8248 | 1219244.7977 | 2608440.7949 | 1219246.8832
40 | 2608454.8769 | 1219237.9685 | 2608460.2046 | 1219221.3478
41 | 2608418.7064 | 1219288.8683 | 2608426.6414 | 1219264.0991
42 | 2608462.8028 | 1219213.2422 | 2608460.2046 | 1219221.3478
43 | 2608470.685 | 1219188.6522 | 2608462.8028 | 1219213.2422
44 | 2608443.5653 | 1219166.8793 | 2608445.6689 | 1219171.1069 | 2608448.6454 | 1219175.1134 | 2608452.9726 | 1219179.0662 | 2608458.5748 | 1219182.9652 | 2608464.2238 | 1219185.9193 | 2608470.685 | 1219188.6522
45 | 2608470.685 | 1219188.6522 | 2608484.2759 | 1219193.6743 | 2608489.5441 | 1219194.9609
46 | 2608443.5653 | 1219166.8793 | 2608442.5003 | 1219163.3869 | 2608441.4134 | 1219157.9641
47 | 2608443.5653 | 1219166.8793 | 2608433.2305 | 1219177.7837
48 | 2608439.3223 | 1219147.5316 | 2608441.4134 | 1219157.9641
49 | 2608431.5209 | 1219179.5875 | 2608433.2305 | 1219177.7837
50 | 2608529.6528 | 1219242.1155 | 2608529.632 | 1219213.0591
51 | 2608529.6528 | 1219242.1155 | 2608529.6544 | 1219244.2237
52 | 2608529.617 | 1219192.2155 | 2608529.632 | 1219213.0591
53 | 2608512.3869 | 1219254.6601 | 2608522.1236 | 1219253.7956 | 2608527.4323 | 1219250.4901 | 2608529.6552 | 1219245.4237 | 2608529.6544 | 1219244.2237
54 | 2608529.617 | 1219192.2155 | 2608537.5516 | 1219194.0834 | 2608544.5067 | 1219196.3501 | 2608551.6957 | 1219199.5288 | 2608557.7079 | 1219203.1395 | 2608562.4227 | 1219206.6482 | 2608567.1288 | 1219210.9574
55 | 2608529.617 | 1219192.2155 | 2608526.6488 | 1219187.7531
56 | 2608567.1288 | 1219210.9574 | 2608576.1421 | 1219206.5788
57 | 2608526.6488 | 1219187.7531 | 2608518.9196 | 1219176.1285
58 | 2608576.1421 | 1219206.5788 | 2608572.9366 | 1219203.617 | 2608570.3946 | 1219203.6134 | 2608567.8259 | 1219202.8655
59 | 2608576.1421 | 1219206.5788 | 2608581.1308 | 1219204.3069 | 2608584.9875 | 1219202.945
60 | 2608518.9196 | 1219176.1285 | 2608513.3751 | 1219167.7895 | 2608509.0662 | 1219164.6477
61 | 2608594.1739 | 1219201.9183 | 2608589.9436 | 1219202.185 | 2608584.9875 | 1219202.945
62 | 2608509.0662 | 1219164.6477 | 2608505.1474 | 1219161.7903
63 | 2608439.3223 | 1219147.5316 | 2608433.867 | 1219120.3148
64 | 2608431.5209 | 1219179.5875 | 2608424.6223 | 1219186.8663
65 | 2608594.1739 | 1219201.9183 | 2608598.0485 | 1219201.674 | 2608603.1743 | 1219201.5065
66 | 2608603.1743 | 1219201.5065 | 2608634.2076 | 1219200.4919 | 2608643.6435 | 1219197.5655
67 | 2608655.8662 | 1219193.7748 | 2608643.6435 | 1219197.5655
68 | 2608655.8662 | 1219193.7748 | 2608660.962 | 1219196.0946 | 2608673.376 | 1219199.2429
69 | 2608655.8662 | 1219193.7748 | 2608669.2056 | 1219173.0934 | 2608670.2013 | 1219168.3388
70 | 2608655.8662 | 1219193.7748 | 2608655.6524 | 1219222.3208
71 | 2608673.376 | 1219199.2429 | 2608674.7625 | 1219199.5946
72 | 2608670.2013 | 1219168.3388 | 2608674.1264 | 1219149.5964
73 | 2608655.556 | 1219235.187 | 2608655.6524 | 1219222.3208
74 | 2608690.3249 | 1219203.5413 | 2608674.7625 | 1219199.5946
75 | 2608674.1264 | 1219149.5964 | 2608680.0945 | 1219121.0989
76 | 2608655.556 | 1219235.187 | 2608670.3178 | 1219238.399 | 2608676.8301 | 1219239.5259
77 | 2608655.556 | 1219235.187 | 2608655.4533 | 1219249.2482
78 | 2608655.3858 | 1219258.489 | 2608655.3858 | 1219258.489 | 2608655.4533 | 1219249.2482
79 | 2608655.3858 | 1219258.489 | 2608670.4969 | 1219261.3717
80 | 2608670.4969 | 1219261.3717 | 2608701.3161 | 1219267.2511
81 | 2608701.3161 | 1219267.2511 | 2608730.8368 | 1219273.8025
82 | 2608676.8301 | 1219239.5259 | 2608686.3853 | 1219241.1794 | 2608697.2719 | 1219242.7405 | 2608698.8891 | 1219242.824
83 | 2608680.0945 | 1219121.0989 | 2608686.1705 | 1219092.0856
84 | 2608500.3367 | 1219158.2827 | 2608505.1474 | 1219161.7903
85 | 2608500.3367 | 1219158.2827 | 2608492.1222 | 1219152.2931
86 | 2608482.7898 | 1219145.4885 | 2608492.1222 | 1219152.2931
87 | 2608482.7898 | 1219145.4885 | 2608475.1257 | 1219139.9002
88 | 2608464.7976 | 1219132.3696 | 2608475.1257 | 1219139.9002
89 | 2608464.7976 | 1219132.3696 | 2608464.3091 | 1219132.0134
90 | 2608431.9282 | 1219110.6419 | 2608436.0538 | 1219112.3376 | 2608440.5807 | 1219114.712 | 2608464.3091 | 1219132.0134
91 | 2608509.5078 | 1219121.5397 | 2608489.1175 | 1219111.2877
92 | 2608520.2094 | 1219126.9203 | 2608509.5078 | 1219121.5397
93 | 2608489.1175 | 1219111.2877 | 2608467.0824 | 1219100.2087
94 | 2608458.0673 | 1219095.676 | 2608467.0824 | 1219100.2087
95 | 2608449.2815 | 1219091.2586 | 2608458.0673 | 1219095.676
96 | 2608432.1345 | 1219082.6373 | 2608449.2815 | 1219091.2586
97 | 2608432.1345 | 1219082.6373 | 2608426.676 | 1219084.4529
98 | 2608432.1345 | 1219082.6373 | 2608449.2099 | 1219059.826 | 2608455.5027 | 1219054.5127
99 | 2608478.0276 | 1219043.3821 | 2608463.4853 | 1219047.7726 | 2608455.5027 | 1219054.5127
100 | 2608478.0276 | 1219043.3821 | 2608478.4027 | 1219043.2688
101 | 2608422.0329 | 1219078.3762 | 2608424.1547 | 1219080.4137 | 2608425.5483 | 1219082.3612 | 2608426.676 | 1219084.4529
102 | 2608426.676 | 1219084.4529 | 2608428.2476 | 1219089.2467 | 2608429.2502 | 1219095.0746
103 | 2608422.0329 | 1219078.3762 | 2608447.0477 | 1219037.9327 | 2608450.0318 | 1219031.1775 | 2608451.6077 | 1219026.8346
104 | 2608422.0329 | 1219078.3762 | 2608415.7254 | 1219074.1094 | 2608406.8704 | 1219068.6438
105 | 2608431.9282 | 1219110.6419 | 2608429.2502 | 1219095.0746
106 | 2608452.8244 | 1219023.1121 | 2608452.3705 | 1219024.7326 | 2608451.6077 | 1219026.8346
107 | 2608397.3695 | 1219062.7794 | 2608406.8704 | 1219068.6438
108 | 2608431.9282 | 1219110.6419 | 2608432.8605 | 1219115.2934
109 | 2608432.8605 | 1219115.2934 | 2608433.867 | 1219120.3148
110 | 2608397.3695 | 1219062.7794 | 2608388.4118 | 1219057.2504
111 | 2608366.8367 | 1219045.0467 | 2608370.9552 | 1219046.4755 | 2608388.4118 | 1219057.2504
112 | 2608366.8367 | 1219045.0467 | 2608375.7511 | 1219019.211
113 | 2608366.8367 | 1219045.0467 | 2608351.0151 | 1219039.5549 | 2608334.777 | 1219037.2725
114 | 2608457.655 | 1218990.287 | 2608457.9654 | 1218996.1686 | 2608457.4164 | 1219003.4387 | 2608456.0466 | 1219011.6081 | 2608452.8244 | 1219023.1121
115 | 2608334.777 | 1219037.2725 | 2608333.5198 | 1219037.0958 | 2608323.5659 | 1219036.4446
116 | 2608457.655 | 1218990.287 | 2608456.8102 | 1218987.1371
117 | 2608457.655 | 1218990.287 | 2608491.0037 | 1218990.7703
118 | 2608456.8102 | 1218987.1371 | 2608455.564 | 1218982.4908 | 2608452.8885 | 1218974.8048 | 2608441.103 | 1218949.2044
119 | 2608491.0037 | 1218990.7703 | 2608504.4137 | 1218990.9646
120 | 2608437.1298 | 1218939.9297 | 2608438.4615 | 1218943.4666 | 2608441.103 | 1218949.2044
121 | 2608505.4741 | 1218992.6899 | 2608504.4137 | 1218990.9646 | 2608504.4137 | 1218990.9646
122 | 2608433.5402 | 1218919.2903 | 2608434.6885 | 1218928.3971 | 2608435.7113 | 1218934.969 | 2608436.9873 | 1218939.5512 | 2608437.1298 | 1218939.9297
123 | 2608505.4741 | 1218992.6899 | 2608511.5437 | 1219002.5656
124 | 2608433.5402 | 1218919.2903 | 2608439.7241 | 1218919.7882 | 2608444.5645 | 1218920.5732 | 2608451.5056 | 1218922.2395 | 2608476.9925 | 1218930.8722
125 | 2608433.5402 | 1218919.2903 | 2608430.1439 | 1218884.499 | 2608428.3432 | 1218870.4338
126 | 2608476.9925 | 1218930.8722 | 2608479.8146 | 1218931.8281
127 | 2608428.3432 | 1218870.4338 | 2608424.1368 | 1218837.5776
128 | 2608479.8146 | 1218931.8281 | 2608480.4115 | 1218932.0303
129 | 2608424.1368 | 1218837.5776 | 2608406.7785 | 1218682.5796
130 | 2608401.5589 | 1218647.1588 | 2608402.9204 | 1218653.9513 | 2608404.4099 | 1218663.281 | 2608406.7785 | 1218682.5796
131 | 2608511.5437 | 1219002.5656 | 2608515.8873 | 1219009.633
132 | 2608516.3232 | 1219010.3423 | 2608515.8873 | 1219009.633
133 | 2608526.4071 | 1219026.7496 | 2608516.3232 | 1219010.3423
134 | 2608305.7415 | 1219035.2785 | 2608323.5659 | 1219036.4446
135 | 2608305.7415 | 1219035.2785 | 2608306.1791 | 1218998.7026
136 | 2608305.7415 | 1219035.2785 | 2608254.4414 | 1219054.8244
137 | 2608213.9233 | 1219062.5122 | 2608237.4183 | 1219061.3104 | 2608254.4414 | 1219054.8244
138 | 2608213.9233 | 1219062.5122 | 2608198.9174 | 1219050.7261
139 | 2608180.298 | 1219036.1019 | 2608198.9174 | 1219050.7261
140 | 2608180.298 | 1219036.1019 | 2608179.9533 | 1219035.8311
141 | 2608179.9533 | 1219035.8311 | 2608176.9634 | 1219033.4828
142 | 2608393.0308 | 1218611.4577 | 2608401.0212 | 1218644.4766 | 2608401.5589 | 1218647.1588
143 | 2608393.0308 | 1218611.4577 | 2608387.7295 | 1218587.6723
144 | 2608393.0308 | 1218611.4577 | 2608389.1196 | 1218619.0455 | 2608387.5493 | 1218622.5074
145 | 2608375.6274 | 1218685.057 | 2608376.2925 | 1218662.4399
146 | 2608380.1617 | 1218644.1909 | 2608378.2319 | 1218649.9812 | 2608376.957 | 1218655.427 | 2608376.3424 | 1218660.7403 | 2608376.2925 | 1218662.4399
147 | 2608380.1617 | 1218644.1909 | 2608386.9424 | 1218623.8452 | 2608387.5493 | 1218622.5074
148 | 2608419.6333 | 1219212.7945 | 2608414.427 | 1219231.2533
149 | 2608419.6333 | 1219212.7945 | 2608423.0907 | 1219200.5365 | 2608421.2457 | 1219195.9202 | 2608419.2472 | 1219192.5376 | 2608424.6223 | 1219186.8663
150 | 2608414.427 | 1219231.2533 | 2608410.6908 | 1219244.4998 | 2608404.2907 | 1219262.0498
151 | 2608395.0873 | 1219284.8243 | 2608399.5391 | 1219275.0795 | 2608404.2907 | 1219262.0498

## bus_geodata
| x | y | coords
0 | 2607698.0998 | 1218322.598
1 | 2607681.6941 | 1218347.2001
2 | 2607740.6471 | 1218233.5772
3 | 2607668.6058 | 1218366.8275
4 | 2607829.5035 | 1218264.1297
5 | 2608082.8857 | 1218595.6724
6 | 2607836.6351 | 1218539.496
7 | 2608082.6209 | 1218601.8265
8 | 2607656.9576 | 1218388.2285
9 | 2607824.0113 | 1218289.7394
10 | 2607837.5518 | 1218428.3694
11 | 2607643.6535 | 1218412.6718
12 | 2607630.0944 | 1218442.9127
13 | 2607830.5682 | 1218491.8292
14 | 2607835.3171 | 1218532.1853
15 | 2607835.6222 | 1218534.7773
16 | 2608079.2101 | 1218951.6422
17 | 2608108.9765 | 1218980.5431
18 | 2608078.1332 | 1218948.5155
19 | 2608153.1097 | 1219014.7474
20 | 2608076.5828 | 1218944.0138
21 | 2608166.8549 | 1219025.5433
22 | 2608073.025 | 1218930.1322
23 | 2607882.7129 | 1219004.0923
24 | 2608174.5974 | 1219031.6245
25 | 2608065.0342 | 1218898.9539
26 | 2608039.2148 | 1218826.8078
27 | 2608571.135 | 1219341.456
28 | 2608565.9493 | 1219287.3804
29 | 2608574.2617 | 1219364.889
30 | 2608565.9754 | 1219265.6334
31 | 2608537.1307 | 1219353.8993
32 | 2608575.2458 | 1219371.4576
33 | 2608566.2219 | 1219228.2965
34 | 2608535.5416 | 1219337.4959
35 | 2608580.6154 | 1219398.3146
36 | 2608566.6955 | 1219219.0893
37 | 2608452.922 | 1219244.0673
38 | 2608440.7949 | 1219246.8832
39 | 2608454.8769 | 1219237.9685
40 | 2608426.6414 | 1219264.0991
41 | 2608460.2046 | 1219221.3478
42 | 2608418.7064 | 1219288.8683
43 | 2608462.8028 | 1219213.2422
44 | 2608470.685 | 1219188.6522
45 | 2608443.5653 | 1219166.8793
46 | 2608489.5441 | 1219194.9609
47 | 2608441.4134 | 1219157.9641
48 | 2608433.2305 | 1219177.7837
49 | 2608529.6528 | 1219242.1155
50 | 2608529.632 | 1219213.0591
51 | 2608529.6544 | 1219244.2237
52 | 2608529.617 | 1219192.2155
53 | 2608512.3869 | 1219254.6601
54 | 2608567.1288 | 1219210.9574
55 | 2608526.6488 | 1219187.7531
56 | 2608576.1421 | 1219206.5788
57 | 2608518.9196 | 1219176.1285
58 | 2608567.8259 | 1219202.8655
59 | 2608584.9875 | 1219202.945
60 | 2608509.0662 | 1219164.6477
61 | 2608439.3223 | 1219147.5316
62 | 2608431.5209 | 1219179.5875
63 | 2608594.1739 | 1219201.9183
64 | 2608603.1743 | 1219201.5065
65 | 2608643.6435 | 1219197.5655
66 | 2608655.8662 | 1219193.7748
67 | 2608673.376 | 1219199.2429
68 | 2608670.2013 | 1219168.3388
69 | 2608655.6524 | 1219222.3208
70 | 2608674.7625 | 1219199.5946
71 | 2608674.1264 | 1219149.5964
72 | 2608655.556 | 1219235.187
73 | 2608655.3858 | 1219258.489
74 | 2608655.4533 | 1219249.2482
75 | 2608670.4969 | 1219261.3717
76 | 2608701.3161 | 1219267.2511
77 | 2608676.8301 | 1219239.5259
78 | 2608730.8368 | 1219273.8025
79 | 2608698.8891 | 1219242.824
80 | 2608690.3249 | 1219203.5413
81 | 2608680.0945 | 1219121.0989
82 | 2608686.1705 | 1219092.0856
83 | 2608505.1474 | 1219161.7903
84 | 2608500.3367 | 1219158.2827
85 | 2608492.1222 | 1219152.2931
86 | 2608482.7898 | 1219145.4885
87 | 2608475.1257 | 1219139.9002
88 | 2608464.7976 | 1219132.3696
89 | 2608464.3091 | 1219132.0134
90 | 2608509.5078 | 1219121.5397
91 | 2608489.1175 | 1219111.2877
92 | 2608520.2094 | 1219126.9203
93 | 2608467.0824 | 1219100.2087
94 | 2608458.0673 | 1219095.676
95 | 2608449.2815 | 1219091.2586
96 | 2608432.1345 | 1219082.6373
97 | 2608478.0276 | 1219043.3821
98 | 2608455.5027 | 1219054.5127
99 | 2608478.4027 | 1219043.2688
100 | 2608426.676 | 1219084.4529
101 | 2608422.0329 | 1219078.3762
102 | 2608429.2502 | 1219095.0746
103 | 2608451.6077 | 1219026.8346
104 | 2608406.8704 | 1219068.6438
105 | 2608431.9282 | 1219110.6419
106 | 2608432.8605 | 1219115.2934
107 | 2608397.3695 | 1219062.7794
108 | 2608388.4118 | 1219057.2504
109 | 2608366.8367 | 1219045.0467
110 | 2608452.8244 | 1219023.1121
111 | 2608375.7511 | 1219019.211
112 | 2608334.777 | 1219037.2725
113 | 2608457.655 | 1218990.287
114 | 2608456.8102 | 1218987.1371
115 | 2608491.0037 | 1218990.7703
116 | 2608441.103 | 1218949.2044
117 | 2608504.4137 | 1218990.9646
118 | 2608437.1298 | 1218939.9297
119 | 2608505.4741 | 1218992.6899
120 | 2608433.5402 | 1218919.2903
121 | 2608476.9925 | 1218930.8722
122 | 2608428.3432 | 1218870.4338
123 | 2608479.8146 | 1218931.8281
124 | 2608424.1368 | 1218837.5776
125 | 2608480.4114 | 1218932.0303
126 | 2608406.7785 | 1218682.5796
127 | 2608511.5437 | 1219002.5656
128 | 2608515.8873 | 1219009.633
129 | 2608516.3232 | 1219010.3423
130 | 2608526.4071 | 1219026.7496
131 | 2608323.5659 | 1219036.4446
132 | 2608305.7415 | 1219035.2785
133 | 2608306.1791 | 1218998.7026
134 | 2608254.4414 | 1219054.8244
135 | 2608213.9233 | 1219062.5122
136 | 2608198.9174 | 1219050.7261
137 | 2608180.298 | 1219036.1019
138 | 2608179.9533 | 1219035.8311
139 | 2608176.9634 | 1219033.4828
140 | 2608401.5589 | 1218647.1588
141 | 2608393.0308 | 1218611.4577
142 | 2608375.6274 | 1218685.057
143 | 2608376.2925 | 1218662.4399
144 | 2608380.1617 | 1218644.1909
145 | 2608387.5493 | 1218622.5074
146 | 2608387.7295 | 1218587.6723
147 | 2608419.6333 | 1219212.7945
148 | 2608414.427 | 1219231.2533
149 | 2608424.6223 | 1219186.8663
150 | 2608404.2907 | 1219262.0498
151 | 2608395.0873 | 1219284.8243
152 | 2608433.867 | 1219120.3148
153 | 2608432.1345 | 1219082.6373

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1