## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_552-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_552-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_552-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_552-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_552-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_552-11_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_552-11_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_552-11_0_3_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_552-11_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_552-11_0_3_node_79 | 0.4 | n |  | TRUE
10 | bus_LV_552-11_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_552-11_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_552-11_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_552-11_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_552-11_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_552-11_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_552-11_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_552-11_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_552-11_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_552-11_0_3_node_75 | 0.4 | n |  | TRUE
20 | bus_LV_552-11_0_3_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_552-11_0_3_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_552-11_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_552-11_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_552-11_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_552-11_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_552-11_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_552-11_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_552-11_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_552-11_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_552-11_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_552-11_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_552-11_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_552-11_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_552-11_0_3_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_552-11_0_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_552-11_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_552-11_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_552-11_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_552-11_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_552-11_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_552-11_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_552-11_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_552-11_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_552-11_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_552-11_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_552-11_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_552-11_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_552-11_0_3_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_552-11_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_552-11_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_552-11_0_3_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_552-11_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_552-11_0_3_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_552-11_0_3_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_552-11_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_552-11_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_552-11_0_3_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_552-11_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_552-11_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_552-11_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_552-11_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_552-11_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_552-11_0_3_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_552-11_0_3_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_552-11_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_552-11_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_552-11_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_552-11_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_552-11_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_552-11_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_552-11_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_552-11_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_552-11_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_552-11_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_552-11_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_552-11_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_552-11_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_552-11_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_552-11_0_3_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_552-11_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_552-11_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_552-11_0_3_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_552-11_0_3_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_552-11_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_552-11_0_3_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_552-11_0_3_node_87 | 0.4 | n |  | TRUE
87 | bus_MV_386_1_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_552-11_0_3_load_0 | 0 | 0.00036487 | 9.1446e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_552-11_0_3_load_1 | 1 | 0.00044127 | 0.00011059 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_552-11_0_3_load_4 | 4 | 0.00042265 | 0.00010593 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_552-11_0_3_load_5 | 5 | 0.00042503 | 0.00010652 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_552-11_0_3_load_14 | 6 | 0.000707 | 0.00017719 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_552-11_0_3_load_13 | 8 | 0.00073904 | 0.00018522 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_552-11_0_3_load_79 | 9 | 0.00041327 | 0.00010358 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_552-11_0_3_load_6 | 10 | 0.00062708 | 0.00015716 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_552-11_0_3_load_7 | 11 | 0.00072776 | 0.0001824 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_552-11_0_3_load_9 | 13 | 0.00052077 | 0.00013052 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_552-11_0_3_load_10 | 14 | 0.0024342 | 0.00061006 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_552-11_0_3_load_11 | 15 | 0.0024547 | 0.00061521 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_552-11_0_3_load_12 | 16 | 0.0027865 | 0.00069837 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_552-11_0_3_load_15 | 17 | 0.0061028 | 0.0015295 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_552-11_0_3_load_75 | 19 | 0.00088484 | 0.00022176 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_552-11_0_3_load_76 | 20 | 0.00048014 | 0.00012033 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_552-11_0_3_load_78 | 21 | 0.00098381 | 0.00024657 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_552-11_0_3_load_27 | 22 | 0.0025012 | 0.00062687 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_552-11_0_3_load_25 | 23 | 0.0034756 | 0.00087107 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_552-11_0_3_load_46 | 24 | 0.0012167 | 0.00030492 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_552-11_0_3_load_23 | 25 | 0.003702 | 0.00092782 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_552-11_0_3_load_17 | 26 | 0.0039643 | 0.00099355 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_552-11_0_3_load_18 | 27 | 0.0050788 | 0.0012729 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_552-11_0_3_load_20 | 29 | 0.0065234 | 0.0016349 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_552-11_0_3_load_22 | 31 | 0.001084 | 0.00027167 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_552-11_0_3_load_30 | 32 | 0.0019799 | 0.00049622 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_552-11_0_3_load_29 | 33 | 0.0041621 | 0.0010431 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_552-11_0_3_load_48 | 34 | 0.0024686 | 0.00061869 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_552-11_0_3_load_47 | 35 | 0.0033334 | 0.00083543 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_552-11_0_3_load_24 | 36 | 0.0024624 | 0.00061714 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_552-11_0_3_load_26 | 37 | 0.0024918 | 0.00062451 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_552-11_0_3_load_28 | 38 | 0.00509 | 0.0012757 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_552-11_0_3_load_31 | 40 | 0.0025024 | 0.00062716 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_552-11_0_3_load_35 | 44 | 0.0043818 | 0.0010982 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_552-11_0_3_load_36 | 45 | 0.0031046 | 0.00077809 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_552-11_0_3_load_37 | 46 | 0.0079395 | 0.0019898 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_552-11_0_3_load_50 | 47 | 0.0021594 | 0.0005412 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_552-11_0_3_load_67 | 48 | 0.0040473 | 0.0010143 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_552-11_0_3_load_38 | 50 | 0.0063772 | 0.0015983 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_552-11_0_3_load_80 | 51 | 0.0016921 | 0.00042409 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_552-11_0_3_load_49 | 52 | 0.0020657 | 0.00051772 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_552-11_0_3_load_59 | 54 | 0.0037898 | 0.00094982 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_552-11_0_3_load_56 | 55 | 0.0029358 | 0.00073579 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_552-11_0_3_load_39 | 56 | 0.0056164 | 0.0014076 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_552-11_0_3_load_81 | 57 | 0.0077949 | 0.0019536 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_552-11_0_3_load_40 | 58 | 0.0014786 | 0.00037058 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_552-11_0_3_load_41 | 59 | 0.0090456 | 0.002267 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_552-11_0_3_load_42 | 60 | 0.0038164 | 0.00095649 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_552-11_0_3_load_45 | 62 | 0.00064811 | 0.00016243 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_552-11_0_3_load_84 | 63 | 0.0047411 | 0.0011882 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_552-11_0_3_load_85 | 64 | 0.0034476 | 0.00086406 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_552-11_0_3_load_51 | 65 | 0.002043 | 0.00051203 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_552-11_0_3_load_52 | 66 | 0.0020068 | 0.00050295 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_552-11_0_3_load_53 | 67 | 0.0015746 | 0.00039463 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_552-11_0_3_load_54 | 68 | 0.0027618 | 0.00069218 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_552-11_0_3_load_55 | 69 | 0.0013127 | 0.00032898 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_552-11_0_3_load_66 | 70 | 0.0012694 | 0.00031814 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_552-11_0_3_load_57 | 71 | 0.0016437 | 0.00041194 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_552-11_0_3_load_72 | 72 | 0.0021606 | 0.00054151 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_552-11_0_3_load_73 | 73 | 0.001685 | 0.00042229 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_552-11_0_3_load_60 | 74 | 0.0013748 | 0.00034455 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_552-11_0_3_load_61 | 75 | 0.0020752 | 0.0005201 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_552-11_0_3_load_62 | 76 | 0.0011137 | 0.00027912 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_552-11_0_3_load_63 | 77 | 0.0018715 | 0.00046905 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_552-11_0_3_load_64 | 78 | 0.001931 | 0.00048396 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_552-11_0_3_load_68 | 79 | 0.00088966 | 0.00022297 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_552-11_0_3_load_69 | 80 | 0.0025378 | 0.00063604 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_552-11_0_3_load_70 | 81 | 0.0023128 | 0.00057965 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_552-11_0_3_load_71 | 82 | 0.0023843 | 0.00059756 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_552-11_0_3_load_82 | 83 | 0.0042868 | 0.0010744 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_552-11_0_3_load_83 | 84 | 0.00072542 | 0.00018181 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_552-11_0_3_load_86 | 85 | 0.0043555 | 0.0010916 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_552-11_0_3_load_87 | 86 | 0.0034284 | 0.00085925 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_552-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0048988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_552-11_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_552-11_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_552-11_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.044786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_552-11_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.060928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_552-11_0_3_line_5 | NAYY 4x150 SE | 3 | 9 | 0.011895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_552-11_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.13568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_552-11_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.020318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_552-11_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0077658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_552-11_0_3_line_9 | NAYY 4x150 SE | 7 | 19 | 0.019493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_552-11_0_3_line_10 | NAYY 4x150 SE | 8 | 13 | 0.020204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_552-11_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.021159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_552-11_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0032941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_552-11_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0059808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_552-11_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.020756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_552-11_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.021612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_552-11_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.020221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_552-11_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.025939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_552-11_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.025455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_552-11_0_3_line_19 | NAYY 4x150 SE | 18 | 22 | 0.017631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_552-11_0_3_line_20 | NAYY 4x150 SE | 18 | 23 | 0.02539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_552-11_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0071083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_552-11_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0070253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_552-11_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.045984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_552-11_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.01296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_552-11_0_3_line_25 | NAYY 4x150 SE | 24 | 39 | 0.0169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_552-11_0_3_line_26 | NAYY 4x150 SE | 25 | 36 | 0.014181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_552-11_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.035843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_552-11_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.022994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_552-11_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.011761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_552-11_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.001964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_552-11_0_3_line_31 | NAYY 4x150 SE | 28 | 31 | 0.046426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_552-11_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.019868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_552-11_0_3_line_33 | NAYY 4x150 SE | 30 | 33 | 0.017784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_552-11_0_3_line_34 | NAYY 4x150 SE | 31 | 34 | 0.022215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_552-11_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.0072781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_552-11_0_3_line_36 | NAYY 4x150 SE | 35 | 52 | 0.026672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_552-11_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.010399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_552-11_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0010768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_552-11_0_3_line_39 | NAYY 4x150 SE | 39 | 61 | 0.017407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_552-11_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.052492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_552-11_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.010554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_552-11_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.034433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_552-11_0_3_line_43 | NAYY 4x150 SE | 41 | 44 | 0.02984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_552-11_0_3_line_44 | NAYY 4x150 SE | 42 | 45 | 0.0018051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_552-11_0_3_line_45 | NAYY 4x150 SE | 42 | 46 | 0.025761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_552-11_0_3_line_46 | NAYY 4x150 SE | 43 | 47 | 0.011718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_552-11_0_3_line_47 | NAYY 4x150 SE | 43 | 48 | 0.0166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_552-11_0_3_line_48 | NAYY 4x150 SE | 44 | 49 | 0.0051775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_552-11_0_3_line_49 | NAYY 4x150 SE | 45 | 50 | 0.018679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_552-11_0_3_line_50 | NAYY 4x150 SE | 46 | 51 | 0.0030758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_552-11_0_3_line_51 | NAYY 4x150 SE | 47 | 52 | 0.0072516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_552-11_0_3_line_52 | NAYY 4x150 SE | 48 | 53 | 0.0041127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_552-11_0_3_line_53 | NAYY 4x150 SE | 49 | 54 | 0.019759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_552-11_0_3_line_54 | NAYY 4x150 SE | 49 | 55 | 0.0044075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_552-11_0_3_line_55 | NAYY 4x150 SE | 50 | 56 | 0.0058172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_552-11_0_3_line_56 | NAYY 4x150 SE | 51 | 57 | 0.021278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_552-11_0_3_line_57 | NAYY 4x150 SE | 53 | 70 | 0.033899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_552-11_0_3_line_58 | NAYY 4x150 SE | 53 | 77 | 0.019062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_552-11_0_3_line_59 | NAYY 4x150 SE | 54 | 72 | 0.0068679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_552-11_0_3_line_60 | NAYY 4x150 SE | 55 | 71 | 0.018039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_552-11_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.015579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_552-11_0_3_line_62 | NAYY 4x150 SE | 57 | 83 | 0.02668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_552-11_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.0098919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_552-11_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.0075421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_552-11_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.019562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_552-11_0_3_line_66 | NAYY 4x150 SE | 61 | 62 | 0.017996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_552-11_0_3_line_67 | NAYY 4x150 SE | 62 | 63 | 0.044521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_552-11_0_3_line_68 | NAYY 4x150 SE | 63 | 64 | 0.034973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_552-11_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.0093499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_552-11_0_3_line_70 | NAYY 4x150 SE | 65 | 67 | 0.01439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_552-11_0_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.021539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_552-11_0_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.017623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_552-11_0_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.021418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_552-11_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.017728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_552-11_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.01393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_552-11_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.018193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_552-11_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.0075707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_552-11_0_3_line_78 | NAYY 4x150 SE | 76 | 78 | 0.0021887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_552-11_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0083883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_552-11_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0079503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_552-11_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.029123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_552-11_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.032375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_552-11_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.002204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_552-11_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.0028449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_552-11_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.009241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_552-11_0_3_trafo_31 | 0.25 MVA 20/0.4 kV | 87 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2607788.6258 | 1219122.0631 | 2607790.5451 | 1219126.5703
1 | 2607784.2953 | 1219098.6608 | 2607785.4357 | 1219114.5714 | 2607788.6258 | 1219122.0631
2 | 2607806.788 | 1219144.5274 | 2607790.7692 | 1219127.0966 | 2607790.5451 | 1219126.5703
3 | 2607784.2953 | 1219098.6608 | 2607783.9802 | 1219090.0333 | 2607783.6723 | 1219081.6837 | 2607783.2472 | 1219070.1209 | 2607782.946 | 1219056.6017 | 2607782.1604 | 1219054.0141
4 | 2607784.2953 | 1219098.6608 | 2607790.8286 | 1219087.096 | 2607792.4165 | 1219085.6528 | 2607826.0573 | 1219055.0178
5 | 2607806.788 | 1219144.5274 | 2607798.4995 | 1219153.0588
6 | 2607835.6144 | 1219287.4705 | 2607793.0882 | 1219158.6288
7 | 2607847.4989 | 1219303.9505 | 2607835.6144 | 1219287.4705
8 | 2607793.0882 | 1219158.6288 | 2607798.4995 | 1219153.0588
9 | 2607793.0882 | 1219158.6288 | 2607786.8374 | 1219157.1754 | 2607778.7419 | 1219156.3311 | 2607773.8063 | 1219156.2927
10 | 2607847.4989 | 1219303.9505 | 2607859.3165 | 1219320.3377
11 | 2607875.1911 | 1219342.3509 | 2607862.8147 | 1219325.1887
12 | 2607877.1179 | 1219345.0228 | 2607875.1911 | 1219342.3509
13 | 2607862.8147 | 1219325.1887 | 2607859.3165 | 1219320.3377
14 | 2607877.1179 | 1219345.0228 | 2607889.2593 | 1219361.8574
15 | 2607889.2593 | 1219361.8574 | 2607901.9014 | 1219379.3865
16 | 2607901.9014 | 1219379.3865 | 2607913.7297 | 1219395.787
17 | 2607926.1192 | 1219418.543 | 2607915.617 | 1219398.4039 | 2607913.7297 | 1219395.787
18 | 2607938.0359 | 1219441.0357 | 2607930.4517 | 1219426.8509 | 2607926.1192 | 1219418.543
19 | 2607938.0359 | 1219441.0357 | 2607940.6792 | 1219450.4779 | 2607943.4144 | 1219457.8104
20 | 2607938.0359 | 1219441.0357 | 2607960.2982 | 1219428.8275
21 | 2607773.8063 | 1219156.2927 | 2607771.8747 | 1219156.2777 | 2607766.7303 | 1219156.855
22 | 2607766.7303 | 1219156.855 | 2607759.7489 | 1219157.6385
23 | 2607943.4144 | 1219457.8104 | 2607944.8906 | 1219461.7677 | 2607950.6028 | 1219474.2825 | 2607962.7755 | 1219499.5021
24 | 2607960.2982 | 1219428.8275 | 2607971.6621 | 1219422.5957
25 | 2607971.8116 | 1219513.6109 | 2607966.781 | 1219507.8009 | 2607962.7755 | 1219499.5021
26 | 2607984.0966 | 1219415.7769 | 2607971.6621 | 1219422.5957
27 | 2607960.8788 | 1219363.9551 | 2607968.6309 | 1219360.3078 | 2607971.5583 | 1219355.7868 | 2607961.4238 | 1219336.3845
28 | 2607979.8125 | 1219322.5788 | 2607961.4238 | 1219336.3845
29 | 2607965.531 | 1219374.7564 | 2607960.8788 | 1219363.9551
30 | 2607978.5853 | 1219321.0429 | 2607979.8125 | 1219322.5788
31 | 2607979.8125 | 1219322.5788 | 2607992.5391 | 1219338.5048 | 2608003.6638 | 1219349.3258 | 2608013.6903 | 1219352.5091
32 | 2607978.5853 | 1219321.0429 | 2607987.722 | 1219303.3894
33 | 2607978.5853 | 1219321.0429 | 2607967.486 | 1219307.1483
34 | 2608033.6258 | 1219361.6738 | 2608026.7668 | 1219356.6608 | 2608013.6903 | 1219352.5091
35 | 2608039.5019 | 1219365.9683 | 2608033.6258 | 1219361.6738
36 | 2608039.5019 | 1219365.9683 | 2608041.4882 | 1219367.42 | 2608055.6255 | 1219377.9005 | 2608060.2699 | 1219382.6084
37 | 2607993.2143 | 1219410.7769 | 2607984.0966 | 1219415.7769
38 | 2607994.1584 | 1219410.2592 | 2607993.2143 | 1219410.7769
39 | 2607986.9152 | 1219504.8815 | 2607971.8116 | 1219513.6109
40 | 2608097.2553 | 1219421.0145 | 2608090.1389 | 1219425.93 | 2608072.3497 | 1219434.0218 | 2608049.3253 | 1219441.7908
41 | 2608040.5317 | 1219447.031 | 2608043.6016 | 1219443.7221 | 2608049.3253 | 1219441.7908
42 | 2608073.5919 | 1219396.1129 | 2608089.4483 | 1219414.7337 | 2608097.2553 | 1219421.0145
43 | 2608097.2553 | 1219421.0145 | 2608114.1122 | 1219429.053 | 2608123.6843 | 1219434.8004
44 | 2608040.5317 | 1219447.031 | 2608039.3046 | 1219448.3549
45 | 2608040.5317 | 1219447.031 | 2608056.7062 | 1219467.0813
46 | 2608073.5919 | 1219396.1129 | 2608065.3626 | 1219387.7708
47 | 2608073.5919 | 1219396.1129 | 2608080.7942 | 1219389.4965 | 2608085.8177 | 1219384.8845
48 | 2608128.1231 | 1219437.4656 | 2608123.6843 | 1219434.8004
49 | 2608039.3046 | 1219448.3549 | 2608026.6078 | 1219462.0545
50 | 2608056.7062 | 1219467.0813 | 2608058.6374 | 1219469.4753
51 | 2608060.2699 | 1219382.6084 | 2608065.3626 | 1219387.7708
52 | 2608088.8473 | 1219382.1031 | 2608085.8177 | 1219384.8845
53 | 2608128.1231 | 1219437.4656 | 2608133.8013 | 1219446.8231 | 2608137.5553 | 1219454.7967
54 | 2608128.1231 | 1219437.4656 | 2608132.4762 | 1219438.1561
55 | 2608022.6534 | 1219466.321 | 2608026.6078 | 1219462.0545
56 | 2608069.6871 | 1219487.5577 | 2608062.977 | 1219474.8548 | 2608058.6374 | 1219469.4753
57 | 2608088.8473 | 1219382.1031 | 2608119.3048 | 1219367.22
58 | 2608088.8473 | 1219382.1031 | 2608089.6919 | 1219363.0598
59 | 2608140.4807 | 1219461.0103 | 2608137.5553 | 1219454.7967
60 | 2608132.4762 | 1219438.1561 | 2608150.2927 | 1219440.9818
61 | 2608022.6534 | 1219466.321 | 2608012.0632 | 1219477.7476
62 | 2608069.6871 | 1219487.5577 | 2608082.1488 | 1219511.1488
63 | 2608005.3391 | 1219485.0026 | 2608012.0632 | 1219477.7476
64 | 2608000.2123 | 1219490.5343 | 2608005.3391 | 1219485.0026
65 | 2607986.9152 | 1219504.8815 | 2608000.2123 | 1219490.5343
66 | 2607986.9152 | 1219504.8815 | 2608002.2097 | 1219514.3651
67 | 2608040.0475 | 1219537.827 | 2608002.2097 | 1219514.3651
68 | 2608040.0475 | 1219537.827 | 2608052.032 | 1219545.2582 | 2608070.3479 | 1219535.2514
69 | 2608166.7181 | 1219345.1528 | 2608158.1591 | 1219348.9164
70 | 2608166.7181 | 1219345.1528 | 2608174.4785 | 1219341.7404 | 2608178.7068 | 1219337.6083
71 | 2608158.1591 | 1219348.9164 | 2608144.2073 | 1219355.0513 | 2608138.5485 | 1219357.8165
72 | 2608178.7068 | 1219337.6083 | 2608187.4636 | 1219329.0508 | 2608189.9676 | 1219324.2902
73 | 2608119.3048 | 1219367.22 | 2608138.5485 | 1219357.8165
74 | 2608140.4807 | 1219461.0103 | 2608148.0322 | 1219477.0496
75 | 2608090.6446 | 1219341.5801 | 2608090.0273 | 1219355.4966
76 | 2608090.6446 | 1219341.5801 | 2608091.4507 | 1219323.4045
77 | 2608089.6919 | 1219363.0598 | 2608090.0273 | 1219355.4966
78 | 2608091.5477 | 1219321.218 | 2608091.4507 | 1219323.4045
79 | 2608091.5477 | 1219321.218 | 2608091.9193 | 1219312.8379
80 | 2608091.9193 | 1219312.8379 | 2608092.2716 | 1219304.8954
81 | 2608093.562 | 1219275.8013 | 2608092.2716 | 1219304.8954
82 | 2608093.562 | 1219275.8013 | 2608093.9262 | 1219267.5889 | 2608098.1217 | 1219256.8662 | 2608107.4282 | 1219248.3123
83 | 2608082.1488 | 1219511.1488 | 2608083.1783 | 1219513.0977
84 | 2608083.1783 | 1219513.0977 | 2608084.507 | 1219515.6132
85 | 2608088.8233 | 1219523.7842 | 2608084.507 | 1219515.6132

## bus_geodata
| x | y | coords
0 | 2607788.6258 | 1219122.0631
1 | 2607790.5451 | 1219126.5703
2 | 2607784.2953 | 1219098.6608
3 | 2607806.788 | 1219144.5274
4 | 2607782.1604 | 1219054.0141
5 | 2607826.0573 | 1219055.0178
6 | 2607835.6144 | 1219287.4705
7 | 2607793.0882 | 1219158.6288
8 | 2607847.4989 | 1219303.9505
9 | 2607798.4995 | 1219153.0588
10 | 2607875.1911 | 1219342.3509
11 | 2607862.8147 | 1219325.1887
12 | 2607877.1179 | 1219345.0228
13 | 2607859.3165 | 1219320.3377
14 | 2607889.2593 | 1219361.8574
15 | 2607901.9014 | 1219379.3865
16 | 2607913.7297 | 1219395.787
17 | 2607926.1192 | 1219418.543
18 | 2607938.0359 | 1219441.0357
19 | 2607773.8063 | 1219156.2927
20 | 2607766.7303 | 1219156.855
21 | 2607759.7489 | 1219157.6385
22 | 2607943.4144 | 1219457.8104
23 | 2607960.2982 | 1219428.8275
24 | 2607962.7755 | 1219499.5021
25 | 2607971.6621 | 1219422.5957
26 | 2607961.4238 | 1219336.3845
27 | 2607960.8788 | 1219363.9551
28 | 2607979.8125 | 1219322.5788
29 | 2607965.531 | 1219374.7564
30 | 2607978.5853 | 1219321.0429
31 | 2608013.6903 | 1219352.5091
32 | 2607987.722 | 1219303.3894
33 | 2607967.486 | 1219307.1483
34 | 2608033.6258 | 1219361.6738
35 | 2608039.5019 | 1219365.9683
36 | 2607984.0966 | 1219415.7769
37 | 2607993.2143 | 1219410.7769
38 | 2607994.1584 | 1219410.2592
39 | 2607971.8116 | 1219513.6109
40 | 2608049.3253 | 1219441.7908
41 | 2608097.2553 | 1219421.0145
42 | 2608040.5317 | 1219447.031
43 | 2608073.5919 | 1219396.1129
44 | 2608123.6843 | 1219434.8004
45 | 2608039.3046 | 1219448.3549
46 | 2608056.7062 | 1219467.0813
47 | 2608065.3626 | 1219387.7708
48 | 2608085.8177 | 1219384.8845
49 | 2608128.1231 | 1219437.4656
50 | 2608026.6078 | 1219462.0545
51 | 2608058.6374 | 1219469.4753
52 | 2608060.2699 | 1219382.6084
53 | 2608088.8473 | 1219382.1031
54 | 2608137.5553 | 1219454.7967
55 | 2608132.4762 | 1219438.1561
56 | 2608022.6534 | 1219466.321
57 | 2608069.6871 | 1219487.5577
58 | 2608012.0632 | 1219477.7476
59 | 2608005.3391 | 1219485.0026
60 | 2608000.2123 | 1219490.5343
61 | 2607986.9152 | 1219504.8815
62 | 2608002.2097 | 1219514.3651
63 | 2608040.0475 | 1219537.827
64 | 2608070.3479 | 1219535.2514
65 | 2608166.7181 | 1219345.1528
66 | 2608158.1591 | 1219348.9164
67 | 2608178.7068 | 1219337.6083
68 | 2608138.5485 | 1219357.8165
69 | 2608189.9676 | 1219324.2902
70 | 2608119.3048 | 1219367.22
71 | 2608150.2927 | 1219440.9818
72 | 2608140.4807 | 1219461.0103
73 | 2608148.0322 | 1219477.0496
74 | 2608090.6446 | 1219341.5801
75 | 2608090.0273 | 1219355.4966
76 | 2608091.4507 | 1219323.4045
77 | 2608089.6919 | 1219363.0598
78 | 2608091.5477 | 1219321.218
79 | 2608091.9193 | 1219312.8379
80 | 2608092.2716 | 1219304.8954
81 | 2608093.562 | 1219275.8013
82 | 2608107.4282 | 1219248.3123
83 | 2608082.1488 | 1219511.1488
84 | 2608083.1783 | 1219513.0977
85 | 2608084.507 | 1219515.6132
86 | 2608088.8233 | 1219523.7842
87 | 2608040.5317 | 1219447.031

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1