## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_552-25_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_552-25_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_552-25_0_4_node_95 | 0.4 | n |  | TRUE
3 | bus_LV_552-25_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_552-25_0_4_node_94 | 0.4 | n |  | TRUE
5 | bus_LV_552-25_0_4_node_93 | 0.4 | n |  | TRUE
6 | bus_LV_552-25_0_4_node_98 | 0.4 | n |  | TRUE
7 | bus_LV_552-25_0_4_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_552-25_0_4_node_92 | 0.4 | n |  | TRUE
9 | bus_LV_552-25_0_4_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_552-25_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_552-25_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_552-25_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_552-25_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_552-25_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_552-25_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_552-25_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_552-25_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_552-25_0_4_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_552-25_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_552-25_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_552-25_0_4_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_552-25_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_552-25_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_552-25_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_552-25_0_4_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_552-25_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_552-25_0_4_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_552-25_0_4_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_552-25_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_552-25_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_552-25_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_552-25_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_552-25_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_552-25_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_552-25_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_552-25_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_552-25_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_552-25_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_552-25_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_552-25_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_552-25_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_552-25_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_552-25_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_552-25_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_552-25_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_552-25_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_552-25_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_552-25_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_552-25_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_552-25_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_552-25_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_552-25_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_552-25_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_552-25_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_552-25_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_552-25_0_4_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_552-25_0_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_552-25_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_552-25_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_552-25_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_552-25_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_552-25_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_552-25_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_552-25_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_552-25_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_552-25_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_552-25_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_552-25_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_552-25_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_552-25_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_552-25_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_552-25_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_552-25_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_552-25_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_552-25_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_552-25_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_552-25_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_552-25_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_552-25_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_552-25_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_552-25_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_552-25_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_552-25_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_552-25_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_552-25_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_552-25_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_552-25_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_552-25_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_552-25_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_552-25_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_552-25_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_552-25_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_552-25_0_4_node_97 | 0.4 | n |  | TRUE
94 | bus_LV_552-25_0_4_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_552-25_0_4_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_552-25_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_MV_386_1_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_552-25_0_4_load_0 | 0 | 0.0056874 | 0.0014254 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_552-25_0_4_load_1 | 1 | 0.0034343 | 0.00086071 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_552-25_0_4_load_95 | 2 | 0.0071216 | 0.0017848 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_552-25_0_4_load_3 | 3 | 0.0005935 | 0.00014875 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_552-25_0_4_load_94 | 4 | 0.0007127 | 0.00017862 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_552-25_0_4_load_93 | 5 | 0.0078575 | 0.0019693 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_552-25_0_4_load_98 | 6 | 0.0020441 | 0.0005123 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_552-25_0_4_load_92 | 8 | 0.0016611 | 0.00041632 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_552-25_0_4_load_91 | 9 | 0.0056664 | 0.0014201 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_552-25_0_4_load_4 | 10 | 0.0024262 | 0.00060807 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_552-25_0_4_load_5 | 11 | 0.0014919 | 0.00037391 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_552-25_0_4_load_6 | 12 | 0.005761 | 0.0014438 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_552-25_0_4_load_8 | 14 | 0.001868 | 0.00046816 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_552-25_0_4_load_9 | 15 | 0.0030193 | 0.00075671 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_552-25_0_4_load_10 | 16 | 0.00099958 | 0.00025052 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_552-25_0_4_load_11 | 17 | 0.0023472 | 0.00058826 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_552-25_0_4_load_30 | 18 | 0.0038303 | 0.00095995 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_552-25_0_4_load_13 | 19 | 0.0011777 | 0.00029515 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_552-25_0_4_load_12 | 20 | 0.0020314 | 0.00050912 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_552-25_0_4_load_72 | 21 | 0.0015211 | 0.00038121 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_552-25_0_4_load_14 | 22 | 0.0035601 | 0.00089224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_552-25_0_4_load_15 | 23 | 0.0014989 | 0.00037567 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_552-25_0_4_load_28 | 26 | 0.001897 | 0.00047542 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_552-25_0_4_load_80 | 27 | 0.0016706 | 0.0004187 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_552-25_0_4_load_77 | 28 | 0.0011744 | 0.00029434 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_552-25_0_4_load_17 | 30 | 0.0046113 | 0.0011557 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_552-25_0_4_load_18 | 31 | 0.004702 | 0.0011784 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_552-25_0_4_load_21 | 33 | 0.0017485 | 0.00043821 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_552-25_0_4_load_29 | 34 | 0.0026522 | 0.00066471 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_552-25_0_4_load_27 | 35 | 0.00205 | 0.00051378 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_552-25_0_4_load_26 | 36 | 0.0022583 | 0.00056597 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_552-25_0_4_load_22 | 37 | 0.0026149 | 0.00065536 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_552-25_0_4_load_23 | 38 | 0.0066171 | 0.0016584 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_552-25_0_4_load_24 | 39 | 0.0018122 | 0.00045418 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_552-25_0_4_load_25 | 40 | 0.0049632 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_552-25_0_4_load_31 | 41 | 0.0025654 | 0.00064295 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_552-25_0_4_load_44 | 42 | 0.0013739 | 0.00034432 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_552-25_0_4_load_33 | 43 | 0.0025959 | 0.0006506 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_552-25_0_4_load_34 | 44 | 0.0024844 | 0.00062265 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_552-25_0_4_load_35 | 45 | 0.0057592 | 0.0014434 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_552-25_0_4_load_36 | 46 | 0.0028017 | 0.00070216 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_552-25_0_4_load_37 | 47 | 0.0038106 | 0.00095502 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_552-25_0_4_load_38 | 48 | 0.0022962 | 0.00057548 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_552-25_0_4_load_39 | 49 | 0.0018209 | 0.00045635 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_552-25_0_4_load_40 | 50 | 0.0027938 | 0.00070018 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_552-25_0_4_load_45 | 51 | 0.003625 | 0.00090852 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_552-25_0_4_load_41 | 52 | 0.0029147 | 0.0007305 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_552-25_0_4_load_46 | 53 | 0.0036797 | 0.00092223 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_552-25_0_4_load_43 | 55 | 0.0020156 | 0.00050516 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_552-25_0_4_load_70 | 56 | 0.0020842 | 0.00052234 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_552-25_0_4_load_71 | 57 | 0.0028498 | 0.00071422 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_552-25_0_4_load_47 | 58 | 0.0014673 | 0.00036773 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_552-25_0_4_load_48 | 59 | 0.0019637 | 0.00049215 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_552-25_0_4_load_49 | 60 | 0.0010782 | 0.00027021 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_552-25_0_4_load_50 | 61 | 0.001262 | 0.00031629 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_552-25_0_4_load_53 | 64 | 0.0011137 | 0.00027912 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_552-25_0_4_load_54 | 65 | 0.00054464 | 0.0001365 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_552-25_0_4_load_55 | 66 | 0.00067999 | 0.00017042 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_552-25_0_4_load_56 | 67 | 0.0008881 | 0.00022258 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_552-25_0_4_load_60 | 68 | 0.0015087 | 0.00037811 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_552-25_0_4_load_57 | 69 | 0.0013273 | 0.00033266 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_552-25_0_4_load_74 | 70 | 0.0073888 | 0.0018518 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_552-25_0_4_load_61 | 71 | 0.00098356 | 0.0002465 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_552-25_0_4_load_58 | 72 | 0.0026639 | 0.00066764 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_552-25_0_4_load_59 | 73 | 0.0058753 | 0.0014725 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_552-25_0_4_load_62 | 74 | 0.000755 | 0.00018922 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_552-25_0_4_load_64 | 76 | 0.00076851 | 0.00019261 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_552-25_0_4_load_65 | 77 | 0.0015173 | 0.00038028 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_552-25_0_4_load_68 | 78 | 0.0010656 | 0.00026708 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_552-25_0_4_load_67 | 80 | 0.00089214 | 0.00022359 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_552-25_0_4_load_69 | 81 | 0.0012848 | 0.00032199 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_552-25_0_4_load_75 | 82 | 0.00086107 | 0.0002158 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_552-25_0_4_load_76 | 84 | 0.0061494 | 0.0015412 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_552-25_0_4_load_78 | 85 | 0.0040626 | 0.0010182 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_552-25_0_4_load_79 | 86 | 0.0020528 | 0.00051449 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_552-25_0_4_load_82 | 87 | 0.0013079 | 0.0003278 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_552-25_0_4_load_83 | 88 | 0.00082295 | 0.00020625 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_552-25_0_4_load_84 | 89 | 0.0038895 | 0.00097481 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_552-25_0_4_load_85 | 90 | 0.00083954 | 0.00021041 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_552-25_0_4_load_86 | 91 | 0.00047371 | 0.00011872 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_552-25_0_4_load_87 | 92 | 0.0020677 | 0.00051821 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_552-25_0_4_load_97 | 93 | 0.001649 | 0.00041328 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_552-25_0_4_load_88 | 94 | 0.0017138 | 0.00042951 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_552-25_0_4_load_89 | 95 | 0.00047107 | 0.00011806 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_552-25_0_4_load_90 | 96 | 0.0012743 | 0.00031937 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 85 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_552-25_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_552-25_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.042274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_552-25_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0048861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_552-25_0_4_line_3 | NAYY 4x150 SE | 2 | 6 | 0.2696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_552-25_0_4_line_4 | NAYY 4x150 SE | 2 | 4 | 0.0039576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_552-25_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.023055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_552-25_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.007179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_552-25_0_4_line_7 | NAYY 4x150 SE | 7 | 93 | 0.024057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_552-25_0_4_line_8 | NAYY 4x150 SE | 7 | 90 | 0.051304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_552-25_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0072756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_552-25_0_4_line_10 | NAYY 4x150 SE | 9 | 96 | 0.0017814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_552-25_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.011778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_552-25_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.029613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_552-25_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0063099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_552-25_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.016775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_552-25_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.019406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_552-25_0_4_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0091071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_552-25_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.014583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_552-25_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.0080516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_552-25_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.016672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_552-25_0_4_line_20 | NAYY 4x150 SE | 17 | 20 | 0.011775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_552-25_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.011892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_552-25_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.0021435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_552-25_0_4_line_23 | NAYY 4x150 SE | 21 | 42 | 0.010562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_552-25_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.047124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_552-25_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.028717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_552-25_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.003564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_552-25_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.04297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_552-25_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.017377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_552-25_0_4_line_29 | NAYY 4x150 SE | 25 | 28 | 0.020031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_552-25_0_4_line_30 | NAYY 4x150 SE | 26 | 29 | 0.069519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_552-25_0_4_line_31 | NAYY 4x150 SE | 27 | 83 | 0.018465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_552-25_0_4_line_32 | NAYY 4x150 SE | 28 | 84 | 0.0050439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_552-25_0_4_line_33 | NAYY 4x150 SE | 29 | 34 | 0.024005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_552-25_0_4_line_34 | NAYY 4x150 SE | 29 | 32 | 0.0333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_552-25_0_4_line_35 | NAYY 4x150 SE | 30 | 31 | 3.3859e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_552-25_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.028172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_552-25_0_4_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0080817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_552-25_0_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.018694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_552-25_0_4_line_39 | NAYY 4x150 SE | 35 | 36 | 0.020175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_552-25_0_4_line_40 | NAYY 4x150 SE | 36 | 39 | 0.0094973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_552-25_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.022857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_552-25_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.011624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_552-25_0_4_line_43 | NAYY 4x150 SE | 38 | 40 | 0.00092862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_552-25_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.087344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_552-25_0_4_line_45 | NAYY 4x150 SE | 42 | 54 | 0.023043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_552-25_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.031445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_552-25_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 8.3148e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_552-25_0_4_line_48 | NAYY 4x150 SE | 45 | 46 | 0.021544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_552-25_0_4_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0061264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_552-25_0_4_line_50 | NAYY 4x150 SE | 47 | 48 | 0.017841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_552-25_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.025814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_552-25_0_4_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0081483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_552-25_0_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.0023882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_552-25_0_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.021843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_552-25_0_4_line_55 | NAYY 4x150 SE | 51 | 53 | 0.017681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_552-25_0_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.010501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_552-25_0_4_line_57 | NAYY 4x150 SE | 53 | 58 | 0.028832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_552-25_0_4_line_58 | NAYY 4x150 SE | 54 | 55 | 0.020998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_552-25_0_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.018789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_552-25_0_4_line_60 | NAYY 4x150 SE | 56 | 57 | 4.8201e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_552-25_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0041493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_552-25_0_4_line_62 | NAYY 4x150 SE | 59 | 60 | 0.014467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_552-25_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.010653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_552-25_0_4_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0063553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_552-25_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.026511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_552-25_0_4_line_66 | NAYY 4x150 SE | 62 | 64 | 0.066043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_552-25_0_4_line_67 | NAYY 4x150 SE | 63 | 65 | 0.0058213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_552-25_0_4_line_68 | NAYY 4x150 SE | 63 | 66 | 0.012894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_552-25_0_4_line_69 | NAYY 4x150 SE | 64 | 67 | 0.0095953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_552-25_0_4_line_70 | NAYY 4x150 SE | 65 | 68 | 0.0026245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_552-25_0_4_line_71 | NAYY 4x150 SE | 66 | 69 | 0.033913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_552-25_0_4_line_72 | NAYY 4x150 SE | 67 | 70 | 0.0045729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_552-25_0_4_line_73 | NAYY 4x150 SE | 68 | 71 | 0.0049006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_552-25_0_4_line_74 | NAYY 4x150 SE | 69 | 72 | 0.025121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_552-25_0_4_line_75 | NAYY 4x150 SE | 71 | 74 | 0.0098105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_552-25_0_4_line_76 | NAYY 4x150 SE | 72 | 73 | 0.019683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_552-25_0_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.025139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_552-25_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.01294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_552-25_0_4_line_79 | NAYY 4x150 SE | 75 | 77 | 0.0065441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_552-25_0_4_line_80 | NAYY 4x150 SE | 76 | 78 | 0.059842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_552-25_0_4_line_81 | NAYY 4x150 SE | 77 | 79 | 0.045564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_552-25_0_4_line_82 | NAYY 4x150 SE | 79 | 80 | 0.026121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_552-25_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.016496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_552-25_0_4_line_84 | NAYY 4x150 SE | 81 | 82 | 0.016792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_552-25_0_4_line_85 | NAYY 4x150 SE | 83 | 87 | 0.00888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_552-25_0_4_line_86 | NAYY 4x150 SE | 83 | 88 | 0.059098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_552-25_0_4_line_87 | NAYY 4x150 SE | 84 | 85 | 0.024973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_552-25_0_4_line_88 | NAYY 4x150 SE | 85 | 86 | 0.0045637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_552-25_0_4_line_89 | NAYY 4x150 SE | 87 | 89 | 0.022699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_552-25_0_4_line_90 | NAYY 4x150 SE | 88 | 90 | 0.020517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_552-25_0_4_line_91 | NAYY 4x150 SE | 89 | 91 | 0.00073243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_552-25_0_4_line_92 | NAYY 4x150 SE | 91 | 92 | 0.0036271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_552-25_0_4_line_93 | NAYY 4x150 SE | 92 | 94 | 0.018083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_552-25_0_4_line_94 | NAYY 4x150 SE | 94 | 95 | 0.0033803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_552-25_0_4_line_95 | NAYY 4x150 SE | 95 | 96 | 0.0064256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_552-25_0_4_trafo_78 | 0.25 MVA 20/0.4 kV | 97 | 85 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2608728.9328 | 1219622.2421 | 2608728.7916 | 1219603.1475
1 | 2608728.9328 | 1219622.2421 | 2608689.5978 | 1219637.7279
2 | 2608728.7554 | 1219598.2614 | 2608728.7916 | 1219603.1475
3 | 2608425.6575 | 1219582.7812 | 2608689.5978 | 1219637.7279
4 | 2608689.5978 | 1219637.7279 | 2608688.893 | 1219641.6222
5 | 2608684.7873 | 1219664.3087 | 2608688.893 | 1219641.6222
6 | 2608426.1836 | 1219575.6223 | 2608425.6575 | 1219582.7812
7 | 2608426.1836 | 1219575.6223 | 2608402.0712 | 1219574.7546
8 | 2608426.1836 | 1219575.6223 | 2608427.5293 | 1219557.5027 | 2608422.3766 | 1219525.4993 | 2608422.1282 | 1219524.8249
9 | 2608468.6165 | 1219444.8289 | 2608475.8837 | 1219444.4779
10 | 2608468.6165 | 1219444.8289 | 2608466.8372 | 1219444.9149
11 | 2608243.6774 | 1219454.9496 | 2608249.2522 | 1219456.0859 | 2608254.8977 | 1219458.3647
12 | 2608243.6774 | 1219454.9496 | 2608223.332 | 1219450.8029 | 2608214.5167 | 1219450.0229
13 | 2608260.7489 | 1219460.7266 | 2608254.8977 | 1219458.3647
14 | 2608197.81 | 1219448.5182 | 2608198.189 | 1219448.5783 | 2608214.5167 | 1219450.0229
15 | 2608260.7489 | 1219460.7266 | 2608245.7236 | 1219473.0082
16 | 2608260.7489 | 1219460.7266 | 2608269.8452 | 1219461.1717
17 | 2608197.81 | 1219448.5182 | 2608183.4068 | 1219446.2338
18 | 2608245.7236 | 1219473.0082 | 2608239.4896 | 1219478.1038
19 | 2608286.4819 | 1219461.4673 | 2608283.1921 | 1219461.8248 | 2608269.8452 | 1219461.1717
20 | 2608183.4068 | 1219446.2338 | 2608171.7774 | 1219444.3894
21 | 2608230.2825 | 1219485.6297 | 2608239.4896 | 1219478.1038
22 | 2608286.4819 | 1219461.4673 | 2608288.6129 | 1219461.2357
23 | 2608230.2825 | 1219485.6297 | 2608222.1045 | 1219492.3143
24 | 2608288.6129 | 1219461.2357 | 2608302.081 | 1219459.7719 | 2608307.9396 | 1219459.1463 | 2608313.5554 | 1219458.5538 | 2608335.3864 | 1219455.543
25 | 2608363.8342 | 1219451.6196 | 2608335.3864 | 1219455.543
26 | 2608363.8342 | 1219451.6196 | 2608367.3933 | 1219451.2911
27 | 2608363.8342 | 1219451.6196 | 2608371.3617 | 1219409.3146
28 | 2608367.3933 | 1219451.2911 | 2608384.6966 | 1219449.6928
29 | 2608367.3933 | 1219451.2911 | 2608370.1508 | 1219471.1312
30 | 2608381.9419 | 1219340.6925 | 2608381.1096 | 1219355.2997 | 2608377.409 | 1219375.3282 | 2608371.3617 | 1219409.3146
31 | 2608403.0834 | 1219447.9946 | 2608384.6966 | 1219449.6928
32 | 2608370.8452 | 1219476.1271 | 2608370.1508 | 1219471.1312
33 | 2608381.9419 | 1219340.6925 | 2608384.3441 | 1219332.102 | 2608386.7829 | 1219317.215
34 | 2608354.8241 | 1219323.2224 | 2608375.4439 | 1219331.7561 | 2608381.9419 | 1219340.6925
35 | 2608343.9649 | 1219349.2539 | 2608343.978 | 1219349.2227
36 | 2608354.8241 | 1219323.2224 | 2608343.978 | 1219349.2227
37 | 2608354.8241 | 1219323.2224 | 2608347.2969 | 1219320.2805
38 | 2608329.886 | 1219313.4756 | 2608347.2969 | 1219320.2805
39 | 2608329.886 | 1219313.4756 | 2608311.0948 | 1219306.1312
40 | 2608302.2491 | 1219302.6739 | 2608311.0948 | 1219306.1312
41 | 2608281.7555 | 1219319.1548 | 2608291.4229 | 1219298.4426 | 2608291.4229 | 1219298.4426
42 | 2608302.2491 | 1219302.6739 | 2608291.4229 | 1219298.4426
43 | 2608281.3627 | 1219319.9963 | 2608281.7555 | 1219319.1548
44 | 2608281.3627 | 1219319.9963 | 2608194.0903 | 1219316.4523
45 | 2608204.263 | 1219506.8978 | 2608222.1045 | 1219492.3143
46 | 2608156.7135 | 1219495.4887 | 2608143.3193 | 1219467.0394
47 | 2608156.7489 | 1219495.5639 | 2608156.7135 | 1219495.4887
48 | 2608166.0243 | 1219515.0083 | 2608163.4144 | 1219509.7215 | 2608156.7489 | 1219495.5639
49 | 2608166.0243 | 1219515.0083 | 2608168.7362 | 1219520.5017
50 | 2608176.6337 | 1219536.4993 | 2608168.7362 | 1219520.5017
51 | 2608176.6337 | 1219536.4993 | 2608187.0755 | 1219560.1073
52 | 2608176.6337 | 1219536.4993 | 2608182.1936 | 1219530.5426
53 | 2608187.0755 | 1219560.1073 | 2608188.0415 | 1219562.2913
54 | 2608182.1936 | 1219530.5426 | 2608197.0978 | 1219514.5745
55 | 2608188.0415 | 1219562.2913 | 2608195.1932 | 1219578.461
56 | 2608204.263 | 1219506.8978 | 2608197.0978 | 1219514.5745
57 | 2608195.1932 | 1219578.461 | 2608195.3403 | 1219578.7935 | 2608216.0917 | 1219598.2826
58 | 2608204.263 | 1219506.8978 | 2608220.968 | 1219519.6198
59 | 2608235.9159 | 1219531.0036 | 2608220.968 | 1219519.6198
60 | 2608235.9542 | 1219531.0328 | 2608235.9159 | 1219531.0036
61 | 2608219.1162 | 1219601.1232 | 2608216.0917 | 1219598.2826
62 | 2608219.1162 | 1219601.1232 | 2608229.6618 | 1219611.0274
63 | 2608237.4154 | 1219618.3323 | 2608234.8286 | 1219615.8799 | 2608229.6618 | 1219611.0274
64 | 2608242.0275 | 1219622.7048 | 2608237.4154 | 1219618.3323
65 | 2608266.3005 | 1219633.4776 | 2608248.2145 | 1219625.9373 | 2608242.0275 | 1219622.7048
66 | 2608242.0275 | 1219622.7048 | 2608208.1982 | 1219647.695 | 2608188.9723 | 1219662.0334
67 | 2608266.3005 | 1219633.4776 | 2608271.3017 | 1219636.4567
68 | 2608266.3005 | 1219633.4776 | 2608269.8262 | 1219621.0745
69 | 2608181.2805 | 1219667.7697 | 2608188.9723 | 1219662.0334
70 | 2608273.5565 | 1219637.7998 | 2608271.3017 | 1219636.4567
71 | 2608269.8262 | 1219621.0745 | 2608271.5919 | 1219614.8631 | 2608290.8538 | 1219611.5322 | 2608292.7014 | 1219603.8433
72 | 2608181.2805 | 1219667.7697 | 2608182.5113 | 1219672.1739
73 | 2608277.7668 | 1219640.3078 | 2608273.5565 | 1219637.7998
74 | 2608292.7014 | 1219603.8433 | 2608295.4633 | 1219592.3498 | 2608291.7848 | 1219579.568
75 | 2608277.7668 | 1219640.3078 | 2608286.1953 | 1219645.3284
76 | 2608286.3412 | 1219560.6524 | 2608291.7848 | 1219579.568
77 | 2608307.793 | 1219658.1935 | 2608286.1953 | 1219645.3284
78 | 2608307.793 | 1219658.1935 | 2608311.9219 | 1219651.7955 | 2608313.1575 | 1219646.6151
79 | 2608307.793 | 1219658.1935 | 2608309.8007 | 1219664.422
80 | 2608331.8704 | 1219591.1106 | 2608326.0286 | 1219596.0943 | 2608323.118 | 1219604.8508 | 2608313.1575 | 1219646.6151
81 | 2608323.7795 | 1219707.7885 | 2608309.8007 | 1219664.422
82 | 2608323.7795 | 1219707.7885 | 2608299.3885 | 1219717.1379
83 | 2608283.9849 | 1219723.0422 | 2608299.3885 | 1219717.1379
84 | 2608283.9849 | 1219723.0422 | 2608283.9849 | 1219723.0422 | 2608289.4896 | 1219738.9058
85 | 2608403.0834 | 1219447.9946 | 2608411.9531 | 1219447.5661
86 | 2608403.0834 | 1219447.9946 | 2608408.6798 | 1219488.3144 | 2608415.0367 | 1219505.5726
87 | 2608370.8452 | 1219476.1271 | 2608374.283 | 1219500.862
88 | 2608374.9112 | 1219505.3822 | 2608374.283 | 1219500.862
89 | 2608411.9531 | 1219447.5661 | 2608434.6258 | 1219446.4709
90 | 2608415.0367 | 1219505.5726 | 2608422.1282 | 1219524.8249
91 | 2608435.3574 | 1219446.4355 | 2608434.6258 | 1219446.4709
92 | 2608438.9803 | 1219446.2605 | 2608435.3574 | 1219446.4355
93 | 2608438.9803 | 1219446.2605 | 2608457.0428 | 1219445.388
94 | 2608457.0428 | 1219445.388 | 2608460.4191 | 1219445.2249
95 | 2608466.8372 | 1219444.9149 | 2608460.4191 | 1219445.2249

## bus_geodata
| x | y | coords
0 | 2608728.9328 | 1219622.2421
1 | 2608728.7916 | 1219603.1475
2 | 2608689.5978 | 1219637.7279
3 | 2608728.7554 | 1219598.2614
4 | 2608688.893 | 1219641.6222
5 | 2608684.7873 | 1219664.3087
6 | 2608425.6575 | 1219582.7812
7 | 2608426.1836 | 1219575.6223
8 | 2608475.8837 | 1219444.4779
9 | 2608468.6165 | 1219444.8289
10 | 2608243.6774 | 1219454.9496
11 | 2608254.8977 | 1219458.3647
12 | 2608214.5167 | 1219450.0229
13 | 2608260.7489 | 1219460.7266
14 | 2608197.81 | 1219448.5182
15 | 2608245.7236 | 1219473.0082
16 | 2608269.8452 | 1219461.1717
17 | 2608183.4068 | 1219446.2338
18 | 2608239.4896 | 1219478.1038
19 | 2608286.4819 | 1219461.4673
20 | 2608171.7774 | 1219444.3894
21 | 2608230.2825 | 1219485.6297
22 | 2608288.6129 | 1219461.2357
23 | 2608335.3864 | 1219455.543
24 | 2608363.8342 | 1219451.6196
25 | 2608367.3933 | 1219451.2911
26 | 2608371.3617 | 1219409.3146
27 | 2608384.6966 | 1219449.6928
28 | 2608370.1508 | 1219471.1312
29 | 2608381.9419 | 1219340.6925
30 | 2608343.9649 | 1219349.2539
31 | 2608343.978 | 1219349.2227
32 | 2608354.8241 | 1219323.2224
33 | 2608347.2969 | 1219320.2805
34 | 2608386.7829 | 1219317.215
35 | 2608329.886 | 1219313.4756
36 | 2608311.0948 | 1219306.1312
37 | 2608291.4229 | 1219298.4426
38 | 2608281.7555 | 1219319.1548
39 | 2608302.2491 | 1219302.6739
40 | 2608281.3627 | 1219319.9963
41 | 2608194.0903 | 1219316.4523
42 | 2608222.1045 | 1219492.3143
43 | 2608143.3193 | 1219467.0394
44 | 2608156.7135 | 1219495.4887
45 | 2608156.7489 | 1219495.5639
46 | 2608166.0243 | 1219515.0083
47 | 2608168.7362 | 1219520.5017
48 | 2608176.6337 | 1219536.4993
49 | 2608187.0755 | 1219560.1073
50 | 2608182.1936 | 1219530.5426
51 | 2608188.0415 | 1219562.2913
52 | 2608197.0978 | 1219514.5745
53 | 2608195.1932 | 1219578.461
54 | 2608204.263 | 1219506.8978
55 | 2608220.968 | 1219519.6198
56 | 2608235.9159 | 1219531.0036
57 | 2608235.9542 | 1219531.0328
58 | 2608216.0917 | 1219598.2826
59 | 2608219.1162 | 1219601.1232
60 | 2608229.6618 | 1219611.0274
61 | 2608237.4154 | 1219618.3323
62 | 2608242.0275 | 1219622.7048
63 | 2608266.3005 | 1219633.4776
64 | 2608188.9723 | 1219662.0334
65 | 2608271.3017 | 1219636.4567
66 | 2608269.8262 | 1219621.0745
67 | 2608181.2805 | 1219667.7697
68 | 2608273.5565 | 1219637.7998
69 | 2608292.7014 | 1219603.8433
70 | 2608182.5113 | 1219672.1739
71 | 2608277.7668 | 1219640.3078
72 | 2608291.7848 | 1219579.568
73 | 2608286.3412 | 1219560.6524
74 | 2608286.1953 | 1219645.3284
75 | 2608307.793 | 1219658.1935
76 | 2608313.1575 | 1219646.6151
77 | 2608309.8007 | 1219664.422
78 | 2608331.8704 | 1219591.1106
79 | 2608323.7795 | 1219707.7885
80 | 2608299.3885 | 1219717.1379
81 | 2608283.9849 | 1219723.0422
82 | 2608289.4896 | 1219738.9058
83 | 2608403.0834 | 1219447.9946
84 | 2608370.8452 | 1219476.1271
85 | 2608374.283 | 1219500.862
86 | 2608374.9112 | 1219505.3822
87 | 2608411.9531 | 1219447.5661
88 | 2608415.0367 | 1219505.5726
89 | 2608434.6258 | 1219446.4709
90 | 2608422.1282 | 1219524.8249
91 | 2608435.3574 | 1219446.4355
92 | 2608438.9803 | 1219446.2605
93 | 2608402.0712 | 1219574.7546
94 | 2608457.0428 | 1219445.388
95 | 2608460.4191 | 1219445.2249
96 | 2608466.8372 | 1219444.9149
97 | 2608376.303 | 1219515.3957

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1