## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5671-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5671-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5671-1_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5671-1_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5671-1_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5671-1_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5671-1_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5671-1_0_6_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_5671-1_0_6_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_5671-1_0_6_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_5671-1_0_6_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_5671-1_0_6_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_5671-1_0_6_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_5671-1_0_6_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_5671-1_0_6_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_5671-1_0_6_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_5671-1_0_6_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_5671-1_0_6_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_5671-1_0_6_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_5671-1_0_6_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_5671-1_0_6_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_5671-1_0_6_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_5671-1_0_6_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_5671-1_0_6_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_5671-1_0_6_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_5671-1_0_6_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_5671-1_0_6_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_5671-1_0_6_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_5671-1_0_6_node_97 | 0.4 | n |  | TRUE
29 | bus_LV_5671-1_0_6_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_5671-1_0_6_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_5671-1_0_6_node_92 | 0.4 | n |  | TRUE
32 | bus_LV_5671-1_0_6_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_5671-1_0_6_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_5671-1_0_6_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_5671-1_0_6_node_106 | 0.4 | n |  | TRUE
36 | bus_LV_5671-1_0_6_node_93 | 0.4 | n |  | TRUE
37 | bus_LV_5671-1_0_6_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_5671-1_0_6_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_5671-1_0_6_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_5671-1_0_6_node_105 | 0.4 | n |  | TRUE
41 | bus_LV_5671-1_0_6_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_5671-1_0_6_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_5671-1_0_6_node_101 | 0.4 | n |  | TRUE
44 | bus_LV_5671-1_0_6_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_5671-1_0_6_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_5671-1_0_6_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_5671-1_0_6_node_107 | 0.4 | n |  | TRUE
48 | bus_LV_5671-1_0_6_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_5671-1_0_6_node_109 | 0.4 | n |  | TRUE
50 | bus_LV_5671-1_0_6_node_110 | 0.4 | n |  | TRUE
51 | bus_LV_5671-1_0_6_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_5671-1_0_6_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_5671-1_0_6_node_113 | 0.4 | n |  | TRUE
54 | bus_LV_5671-1_0_6_node_114 | 0.4 | n |  | TRUE
55 | bus_LV_5671-1_0_6_node_7 | 0.4 | n |  | TRUE
56 | bus_LV_5671-1_0_6_node_8 | 0.4 | n |  | TRUE
57 | bus_LV_5671-1_0_6_node_9 | 0.4 | n |  | TRUE
58 | bus_LV_5671-1_0_6_node_10 | 0.4 | n |  | TRUE
59 | bus_LV_5671-1_0_6_node_13 | 0.4 | n |  | TRUE
60 | bus_LV_5671-1_0_6_node_14 | 0.4 | n |  | TRUE
61 | bus_LV_5671-1_0_6_node_12 | 0.4 | n |  | TRUE
62 | bus_LV_5671-1_0_6_node_11 | 0.4 | n |  | TRUE
63 | bus_LV_5671-1_0_6_node_20 | 0.4 | n |  | TRUE
64 | bus_LV_5671-1_0_6_node_21 | 0.4 | n |  | TRUE
65 | bus_LV_5671-1_0_6_node_18 | 0.4 | n |  | TRUE
66 | bus_LV_5671-1_0_6_node_16 | 0.4 | n |  | TRUE
67 | bus_LV_5671-1_0_6_node_15 | 0.4 | n |  | TRUE
68 | bus_LV_5671-1_0_6_node_17 | 0.4 | n |  | TRUE
69 | bus_LV_5671-1_0_6_node_19 | 0.4 | n |  | TRUE
70 | bus_LV_5671-1_0_6_node_22 | 0.4 | n |  | TRUE
71 | bus_LV_5671-1_0_6_node_27 | 0.4 | n |  | TRUE
72 | bus_LV_5671-1_0_6_node_26 | 0.4 | n |  | TRUE
73 | bus_LV_5671-1_0_6_node_23 | 0.4 | n |  | TRUE
74 | bus_LV_5671-1_0_6_node_29 | 0.4 | n |  | TRUE
75 | bus_LV_5671-1_0_6_node_31 | 0.4 | n |  | TRUE
76 | bus_LV_5671-1_0_6_node_28 | 0.4 | n |  | TRUE
77 | bus_LV_5671-1_0_6_node_24 | 0.4 | n |  | TRUE
78 | bus_LV_5671-1_0_6_node_25 | 0.4 | n |  | TRUE
79 | bus_LV_5671-1_0_6_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_5671-1_0_6_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_5671-1_0_6_node_30 | 0.4 | n |  | TRUE
82 | bus_LV_5671-1_0_6_node_32 | 0.4 | n |  | TRUE
83 | bus_LV_5671-1_0_6_node_33 | 0.4 | n |  | TRUE
84 | bus_LV_5671-1_0_6_node_34 | 0.4 | n |  | TRUE
85 | bus_LV_5671-1_0_6_node_45 | 0.4 | n |  | TRUE
86 | bus_LV_5671-1_0_6_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_5671-1_0_6_node_35 | 0.4 | n |  | TRUE
88 | bus_LV_5671-1_0_6_node_46 | 0.4 | n |  | TRUE
89 | bus_LV_5671-1_0_6_node_44 | 0.4 | n |  | TRUE
90 | bus_LV_5671-1_0_6_node_36 | 0.4 | n |  | TRUE
91 | bus_LV_5671-1_0_6_node_37 | 0.4 | n |  | TRUE
92 | bus_LV_5671-1_0_6_node_38 | 0.4 | n |  | TRUE
93 | bus_LV_5671-1_0_6_node_39 | 0.4 | n |  | TRUE
94 | bus_LV_5671-1_0_6_node_40 | 0.4 | n |  | TRUE
95 | bus_LV_5671-1_0_6_node_41 | 0.4 | n |  | TRUE
96 | bus_LV_5671-1_0_6_node_42 | 0.4 | n |  | TRUE
97 | bus_LV_5671-1_0_6_node_43 | 0.4 | n |  | TRUE
98 | bus_LV_5671-1_0_6_node_47 | 0.4 | n |  | TRUE
99 | bus_LV_5671-1_0_6_node_48 | 0.4 | n |  | TRUE
100 | bus_LV_5671-1_0_6_node_49 | 0.4 | n |  | TRUE
101 | bus_LV_5671-1_0_6_node_50 | 0.4 | n |  | TRUE
102 | bus_LV_5671-1_0_6_node_51 | 0.4 | n |  | TRUE
103 | bus_LV_5671-1_0_6_node_63 | 0.4 | n |  | TRUE
104 | bus_LV_5671-1_0_6_node_52 | 0.4 | n |  | TRUE
105 | bus_LV_5671-1_0_6_node_62 | 0.4 | n |  | TRUE
106 | bus_LV_5671-1_0_6_node_53 | 0.4 | n |  | TRUE
107 | bus_LV_5671-1_0_6_node_54 | 0.4 | n |  | TRUE
108 | bus_LV_5671-1_0_6_node_55 | 0.4 | n |  | TRUE
109 | bus_LV_5671-1_0_6_node_56 | 0.4 | n |  | TRUE
110 | bus_LV_5671-1_0_6_node_57 | 0.4 | n |  | TRUE
111 | bus_LV_5671-1_0_6_node_58 | 0.4 | n |  | TRUE
112 | bus_LV_5671-1_0_6_node_59 | 0.4 | n |  | TRUE
113 | bus_LV_5671-1_0_6_node_60 | 0.4 | n |  | TRUE
114 | bus_LV_5671-1_0_6_node_61 | 0.4 | n |  | TRUE
115 | bus_MV_33_0_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5671-1_0_6_load_0 | 0 | 0.00039043 | 9.7852e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5671-1_0_6_load_1 | 1 | 0.00098185 | 0.00024607 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5671-1_0_6_load_2 | 3 | 0.0024177 | 0.00060594 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5671-1_0_6_load_5 | 4 | 0.0014392 | 0.0003607 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5671-1_0_6_load_6 | 5 | 0.0016063 | 0.00040258 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5671-1_0_6_load_72 | 7 | 0.0017589 | 0.00044083 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5671-1_0_6_load_67 | 8 | 0.00025692 | 6.439e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5671-1_0_6_load_68 | 9 | 0.00075748 | 0.00018984 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5671-1_0_6_load_70 | 11 | 0.00011982 | 3.0029e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5671-1_0_6_load_71 | 12 | 0.00018535 | 4.6453e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5671-1_0_6_load_73 | 14 | 0.00093442 | 0.00023419 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5671-1_0_6_load_75 | 15 | 0.00025177 | 6.3099e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5671-1_0_6_load_76 | 16 | 0.0018442 | 0.00046221 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5671-1_0_6_load_77 | 17 | 0.0034239 | 0.00085811 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5671-1_0_6_load_78 | 18 | 0.00024875 | 6.2342e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5671-1_0_6_load_82 | 20 | 0.00025418 | 6.3704e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5671-1_0_6_load_80 | 21 | 0.00090125 | 0.00022587 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5671-1_0_6_load_81 | 22 | 0.00010809 | 2.7089e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5671-1_0_6_load_83 | 24 | 0.0011101 | 0.00027821 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5671-1_0_6_load_84 | 25 | 8.1804e-05 | 2.0502e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5671-1_0_6_load_87 | 27 | 0.00025377 | 6.3601e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5671-1_0_6_load_97 | 28 | 0.00073704 | 0.00018472 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5671-1_0_6_load_89 | 29 | 0.0014881 | 0.00037295 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5671-1_0_6_load_94 | 30 | 0.00075422 | 0.00018903 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5671-1_0_6_load_92 | 31 | 0.0012101 | 0.00030327 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5671-1_0_6_load_88 | 32 | 0.00084202 | 0.00021103 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5671-1_0_6_load_90 | 33 | 0.00097056 | 0.00024325 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5671-1_0_6_load_91 | 34 | 0.00028823 | 7.2238e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5671-1_0_6_load_106 | 35 | 0.00051949 | 0.0001302 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5671-1_0_6_load_93 | 36 | 0.0011029 | 0.0002764 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5671-1_0_6_load_95 | 37 | 0.00032949 | 8.2579e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5671-1_0_6_load_96 | 38 | 0.00044793 | 0.00011226 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5671-1_0_6_load_98 | 39 | 0.001023 | 0.0002564 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5671-1_0_6_load_105 | 40 | 0.00047334 | 0.00011863 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5671-1_0_6_load_99 | 41 | 0.0023547 | 0.00059014 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5671-1_0_6_load_100 | 42 | 0.002825 | 0.00070802 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5671-1_0_6_load_101 | 43 | 0.0026459 | 0.00066313 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5671-1_0_6_load_102 | 44 | 0.0035256 | 0.0008836 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5671-1_0_6_load_103 | 45 | 0.0012874 | 0.00032265 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5671-1_0_6_load_104 | 46 | 0.0016118 | 0.00040396 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5671-1_0_6_load_107 | 47 | 0.00033713 | 8.4493e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5671-1_0_6_load_108 | 48 | 0.00014131 | 3.5417e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5671-1_0_6_load_109 | 49 | 0.001251 | 0.00031353 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5671-1_0_6_load_110 | 50 | 0.00031691 | 7.9426e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5671-1_0_6_load_111 | 51 | 0.00059327 | 0.00014869 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5671-1_0_6_load_112 | 52 | 0.00086991 | 0.00021802 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5671-1_0_6_load_114 | 54 | 0.00042771 | 0.00010719 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5671-1_0_6_load_7 | 55 | 0.00039353 | 9.8628e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5671-1_0_6_load_8 | 56 | 0.0039429 | 0.00098819 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5671-1_0_6_load_9 | 57 | 0.00046255 | 0.00011593 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5671-1_0_6_load_10 | 58 | 0.002371 | 0.00059422 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5671-1_0_6_load_12 | 61 | 0.0020315 | 0.00050913 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5671-1_0_6_load_11 | 62 | 0.00099464 | 0.00024928 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5671-1_0_6_load_20 | 63 | 0.00042531 | 0.00010659 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5671-1_0_6_load_18 | 65 | 0.0012449 | 0.00031199 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5671-1_0_6_load_15 | 67 | 0.00044075 | 0.00011046 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5671-1_0_6_load_17 | 68 | 0.0042163 | 0.0010567 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5671-1_0_6_load_22 | 70 | 0.00045446 | 0.0001139 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5671-1_0_6_load_27 | 71 | 0.0005005 | 0.00012544 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5671-1_0_6_load_26 | 72 | 0.00073997 | 0.00018545 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5671-1_0_6_load_23 | 73 | 0.0020638 | 0.00051724 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5671-1_0_6_load_31 | 75 | 0.0050966 | 0.0012773 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5671-1_0_6_load_28 | 76 | 0.0044217 | 0.0011082 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5671-1_0_6_load_24 | 77 | 0.0032135 | 0.00080539 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5671-1_0_6_load_25 | 78 | 0.00023986 | 6.0115e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5671-1_0_6_load_66 | 79 | 0.0020919 | 0.00052428 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5671-1_0_6_load_32 | 82 | 0.0050975 | 0.0012776 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5671-1_0_6_load_33 | 83 | 0.0018516 | 0.00046405 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5671-1_0_6_load_34 | 84 | 0.00083603 | 0.00020953 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5671-1_0_6_load_64 | 86 | 0.0029171 | 0.00073108 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5671-1_0_6_load_35 | 87 | 0.0085158 | 0.0021343 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5671-1_0_6_load_46 | 88 | 0.003009 | 0.00075414 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5671-1_0_6_load_44 | 89 | 0.0041297 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5671-1_0_6_load_36 | 90 | 0.0016824 | 0.00042164 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5671-1_0_6_load_37 | 91 | 0.0024144 | 0.00060511 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5671-1_0_6_load_38 | 92 | 0.0021088 | 0.00052851 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5671-1_0_6_load_39 | 93 | 0.0011111 | 0.00027847 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5671-1_0_6_load_40 | 94 | 0.0044517 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5671-1_0_6_load_41 | 95 | 0.0049051 | 0.0012293 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5671-1_0_6_load_42 | 96 | 0.0018004 | 0.00045123 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5671-1_0_6_load_43 | 97 | 0.0031304 | 0.00078456 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5671-1_0_6_load_47 | 98 | 0.0016842 | 0.00042209 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5671-1_0_6_load_49 | 100 | 0.0035206 | 0.00088235 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5671-1_0_6_load_50 | 101 | 0.0026569 | 0.00066587 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5671-1_0_6_load_51 | 102 | 0.0011493 | 0.00028804 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5671-1_0_6_load_63 | 103 | 0.0060674 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5671-1_0_6_load_52 | 104 | 0.0023349 | 0.00058517 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5671-1_0_6_load_62 | 105 | 0.00080074 | 0.00020068 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5671-1_0_6_load_53 | 106 | 0.0021 | 0.00052631 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5671-1_0_6_load_54 | 107 | 0.0016401 | 0.00041104 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5671-1_0_6_load_55 | 108 | 0.0020219 | 0.00050675 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5671-1_0_6_load_56 | 109 | 0.0015895 | 0.00039837 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5671-1_0_6_load_57 | 110 | 0.0011706 | 0.00029339 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5671-1_0_6_load_58 | 111 | 0.0016356 | 0.00040992 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5671-1_0_6_load_59 | 112 | 0.0019116 | 0.00047909 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5671-1_0_6_load_61 | 114 | 0.0026077 | 0.00065355 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5671-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5671-1_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.18328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5671-1_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5671-1_0_6_line_3 | NAYY 4x150 SE | 2 | 6 | 0.026247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5671-1_0_6_line_4 | NAYY 4x150 SE | 3 | 4 | 0.094468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5671-1_0_6_line_5 | NAYY 4x150 SE | 4 | 5 | 0.030493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5671-1_0_6_line_6 | NAYY 4x150 SE | 5 | 55 | 0.008484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5671-1_0_6_line_7 | NAYY 4x150 SE | 6 | 7 | 0.050091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_5671-1_0_6_line_8 | NAYY 4x150 SE | 7 | 11 | 0.099129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5671-1_0_6_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0028749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5671-1_0_6_line_10 | NAYY 4x150 SE | 8 | 10 | 0.053262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5671-1_0_6_line_11 | NAYY 4x150 SE | 9 | 11 | 0.026047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5671-1_0_6_line_12 | NAYY 4x150 SE | 10 | 12 | 0.033477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5671-1_0_6_line_13 | NAYY 4x150 SE | 10 | 13 | 0.15814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_5671-1_0_6_line_14 | NAYY 4x150 SE | 13 | 15 | 0.053402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_5671-1_0_6_line_15 | NAYY 4x150 SE | 13 | 14 | 0.032372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5671-1_0_6_line_16 | NAYY 4x150 SE | 15 | 16 | 0.014328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5671-1_0_6_line_17 | NAYY 4x150 SE | 16 | 17 | 0.030865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_5671-1_0_6_line_18 | NAYY 4x150 SE | 17 | 18 | 0.078559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5671-1_0_6_line_19 | NAYY 4x150 SE | 18 | 19 | 0.041696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5671-1_0_6_line_20 | NAYY 4x150 SE | 19 | 20 | 0.0096458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5671-1_0_6_line_21 | NAYY 4x150 SE | 19 | 21 | 0.02167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5671-1_0_6_line_22 | NAYY 4x150 SE | 20 | 23 | 0.010994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5671-1_0_6_line_23 | NAYY 4x150 SE | 21 | 22 | 0.035131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5671-1_0_6_line_24 | NAYY 4x150 SE | 23 | 27 | 0.023031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5671-1_0_6_line_25 | NAYY 4x150 SE | 23 | 24 | 0.018887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5671-1_0_6_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0034418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5671-1_0_6_line_27 | NAYY 4x150 SE | 25 | 26 | 0.04944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5671-1_0_6_line_28 | NAYY 4x150 SE | 26 | 28 | 0.026684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5671-1_0_6_line_29 | NAYY 4x150 SE | 26 | 29 | 0.042041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5671-1_0_6_line_30 | NAYY 4x150 SE | 26 | 30 | 0.029794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5671-1_0_6_line_31 | NAYY 4x150 SE | 27 | 31 | 0.019486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5671-1_0_6_line_32 | NAYY 4x150 SE | 28 | 40 | 0.022108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5671-1_0_6_line_33 | NAYY 4x150 SE | 29 | 32 | 0.0015254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5671-1_0_6_line_34 | NAYY 4x150 SE | 30 | 36 | 0.00081541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5671-1_0_6_line_35 | NAYY 4x150 SE | 32 | 33 | 0.024113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5671-1_0_6_line_36 | NAYY 4x150 SE | 33 | 34 | 0.025211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5671-1_0_6_line_37 | NAYY 4x150 SE | 34 | 35 | 0.00017501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5671-1_0_6_line_38 | NAYY 4x150 SE | 35 | 47 | 0.012678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5671-1_0_6_line_39 | NAYY 4x150 SE | 36 | 37 | 0.02509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5671-1_0_6_line_40 | NAYY 4x150 SE | 37 | 38 | 0.018037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5671-1_0_6_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0011756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5671-1_0_6_line_42 | NAYY 4x150 SE | 39 | 41 | 0.017284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5671-1_0_6_line_43 | NAYY 4x150 SE | 40 | 46 | 0.020745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5671-1_0_6_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0029826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5671-1_0_6_line_45 | NAYY 4x150 SE | 42 | 43 | 0.02273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5671-1_0_6_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0078931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5671-1_0_6_line_47 | NAYY 4x150 SE | 44 | 45 | 0.022459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5671-1_0_6_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0097074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5671-1_0_6_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0041863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5671-1_0_6_line_50 | NAYY 4x150 SE | 49 | 50 | 0.020286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5671-1_0_6_line_51 | NAYY 4x150 SE | 50 | 51 | 0.004918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5671-1_0_6_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0093773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5671-1_0_6_line_53 | NAYY 4x150 SE | 52 | 53 | 0.014151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5671-1_0_6_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0065885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5671-1_0_6_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0047427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_5671-1_0_6_line_56 | NAYY 4x150 SE | 56 | 57 | 0.011148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_5671-1_0_6_line_57 | NAYY 4x150 SE | 57 | 58 | 0.021673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_5671-1_0_6_line_58 | NAYY 4x150 SE | 58 | 59 | 0.010445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_5671-1_0_6_line_59 | NAYY 4x150 SE | 59 | 60 | 0.006347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_5671-1_0_6_line_60 | NAYY 4x150 SE | 59 | 61 | 0.02225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5671-1_0_6_line_61 | NAYY 4x150 SE | 60 | 63 | 0.040466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_5671-1_0_6_line_62 | NAYY 4x150 SE | 61 | 62 | 0.019364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5671-1_0_6_line_63 | NAYY 4x150 SE | 63 | 64 | 0.015841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_5671-1_0_6_line_64 | NAYY 4x150 SE | 64 | 73 | 0.0086372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5671-1_0_6_line_65 | NAYY 4x150 SE | 64 | 70 | 0.017986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5671-1_0_6_line_66 | NAYY 4x150 SE | 65 | 66 | 0.015113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5671-1_0_6_line_67 | NAYY 4x150 SE | 66 | 69 | 0.035642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5671-1_0_6_line_68 | NAYY 4x150 SE | 66 | 67 | 0.016972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5671-1_0_6_line_69 | NAYY 4x150 SE | 67 | 68 | 0.010004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5671-1_0_6_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0068743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5671-1_0_6_line_71 | NAYY 4x150 SE | 69 | 71 | 0.017444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5671-1_0_6_line_72 | NAYY 4x150 SE | 71 | 72 | 0.021731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5671-1_0_6_line_73 | NAYY 4x150 SE | 72 | 78 | 0.0051182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5671-1_0_6_line_74 | NAYY 4x150 SE | 73 | 74 | 0.012551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5671-1_0_6_line_75 | NAYY 4x150 SE | 74 | 75 | 0.027504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5671-1_0_6_line_76 | NAYY 4x150 SE | 74 | 76 | 0.0038986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5671-1_0_6_line_77 | NAYY 4x150 SE | 75 | 84 | 0.012572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5671-1_0_6_line_78 | NAYY 4x150 SE | 76 | 81 | 0.028587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5671-1_0_6_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0030695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5671-1_0_6_line_80 | NAYY 4x150 SE | 79 | 80 | 0.058682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5671-1_0_6_line_81 | NAYY 4x150 SE | 80 | 86 | 0.070007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5671-1_0_6_line_82 | NAYY 4x150 SE | 81 | 82 | 0.014234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5671-1_0_6_line_83 | NAYY 4x150 SE | 81 | 83 | 0.026535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5671-1_0_6_line_84 | NAYY 4x150 SE | 82 | 85 | 0.035308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5671-1_0_6_line_85 | NAYY 4x150 SE | 83 | 86 | 0.029918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5671-1_0_6_line_86 | NAYY 4x150 SE | 84 | 87 | 0.0060759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5671-1_0_6_line_87 | NAYY 4x150 SE | 85 | 88 | 0.0066998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5671-1_0_6_line_88 | NAYY 4x150 SE | 85 | 89 | 0.018424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5671-1_0_6_line_89 | NAYY 4x150 SE | 87 | 90 | 0.023773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5671-1_0_6_line_90 | NAYY 4x150 SE | 88 | 98 | 0.013617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5671-1_0_6_line_91 | NAYY 4x150 SE | 89 | 97 | 0.016311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5671-1_0_6_line_92 | NAYY 4x150 SE | 90 | 91 | 0.0059554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5671-1_0_6_line_93 | NAYY 4x150 SE | 91 | 92 | 0.0075697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5671-1_0_6_line_94 | NAYY 4x150 SE | 92 | 93 | 0.036486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5671-1_0_6_line_95 | NAYY 4x150 SE | 93 | 94 | 0.0082608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5671-1_0_6_line_96 | NAYY 4x150 SE | 95 | 96 | 0.0065463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5671-1_0_6_line_97 | NAYY 4x150 SE | 95 | 97 | 0.049594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5671-1_0_6_line_98 | NAYY 4x150 SE | 98 | 99 | 0.042619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5671-1_0_6_line_99 | NAYY 4x150 SE | 99 | 100 | 0.02825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5671-1_0_6_line_100 | NAYY 4x150 SE | 99 | 101 | 0.020635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5671-1_0_6_line_101 | NAYY 4x150 SE | 100 | 102 | 0.020138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5671-1_0_6_line_102 | NAYY 4x150 SE | 101 | 103 | 0.0085594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5671-1_0_6_line_103 | NAYY 4x150 SE | 102 | 104 | 0.012757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5671-1_0_6_line_104 | NAYY 4x150 SE | 103 | 105 | 0.00048416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5671-1_0_6_line_105 | NAYY 4x150 SE | 104 | 106 | 0.014253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5671-1_0_6_line_106 | NAYY 4x150 SE | 105 | 114 | 0.030316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5671-1_0_6_line_107 | NAYY 4x150 SE | 107 | 108 | 0.013762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5671-1_0_6_line_108 | NAYY 4x150 SE | 108 | 109 | 0.013951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5671-1_0_6_line_109 | NAYY 4x150 SE | 109 | 110 | 0.0058109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5671-1_0_6_line_110 | NAYY 4x150 SE | 110 | 111 | 0.017417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5671-1_0_6_line_111 | NAYY 4x150 SE | 111 | 112 | 0.027959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5671-1_0_6_line_112 | NAYY 4x150 SE | 112 | 113 | 0.018156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5671-1_0_6_line_113 | NAYY 4x150 SE | 113 | 114 | 0.03998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5671-1_0_6_trafo_5 | 0.25 MVA 20/0.4 kV | 115 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2557323.7568 | 1173383.7476 | 2557331.564 | 1173375.614
1 | 2557323.7568 | 1173383.7476 | 2557154.4189 | 1173453.8716
2 | 2557331.564 | 1173375.614 | 2557350.2844 | 1173356.1106 | 2557352.5112 | 1173354.1826 | 2557352.7759 | 1173353.9538
3 | 2557132.6346 | 1173439.1419 | 2557154.4189 | 1173453.8716
4 | 2557425.2106 | 1173293.3124 | 2557352.7759 | 1173353.9538
5 | 2557425.2106 | 1173293.3124 | 2557449.1942 | 1173274.4809
6 | 2557455.8671 | 1173269.2414 | 2557449.1942 | 1173274.4809
7 | 2557132.6346 | 1173439.1419 | 2557121.6815 | 1173427.0251 | 2557109.3464 | 1173417.3194 | 2557094.2331 | 1173407.4286
8 | 2557041.3754 | 1173491.2892 | 2557094.2331 | 1173407.4286
9 | 2557029.7437 | 1173517.7689 | 2557030.8999 | 1173515.1368
10 | 2556993.4971 | 1173555.8235 | 2557020.8217 | 1173532.8041 | 2557027.7809 | 1173522.2374 | 2557029.7437 | 1173517.7689
11 | 2557030.8999 | 1173515.1368 | 2557041.3754 | 1173491.2892
12 | 2556993.4971 | 1173555.8235 | 2556990.3304 | 1173586.5514 | 2556991.1078 | 1173589.0185
13 | 2556993.4971 | 1173555.8235 | 2556850.4983 | 1173488.3054
14 | 2556850.4983 | 1173488.3054 | 2556832.0757 | 1173524.1461 | 2556823.9487 | 1173534.4253
15 | 2556850.4983 | 1173488.3054 | 2556859.2497 | 1173459.0714 | 2556859.5714 | 1173457.243
16 | 2556815.0623 | 1173545.665 | 2556823.9487 | 1173534.4253
17 | 2556815.0623 | 1173545.665 | 2556802.0381 | 1173562.1383 | 2556796.22 | 1173570.1048
18 | 2556797.0851 | 1173648.6593 | 2556796.22 | 1173570.1048
19 | 2556812.9884 | 1173687.2033 | 2556797.0851 | 1173648.6593
20 | 2556812.9884 | 1173687.2033 | 2556804.7087 | 1173692.1519
21 | 2556812.9884 | 1173687.2033 | 2556831.5901 | 1173676.0874
22 | 2556795.2713 | 1173697.7923 | 2556804.7087 | 1173692.1519
23 | 2556831.5901 | 1173676.0874 | 2556861.7469 | 1173658.0665
24 | 2556795.2713 | 1173697.7923 | 2556803.3367 | 1173704.9713 | 2556814.9539 | 1173708.8041
25 | 2556795.2713 | 1173697.7923 | 2556778.985 | 1173707.3572
26 | 2556778.985 | 1173707.3572 | 2556776.0172 | 1173709.1001
27 | 2556732.2401 | 1173731.532 | 2556743.9286 | 1173727.9456 | 2556776.0172 | 1173709.1001
28 | 2556732.2401 | 1173731.532 | 2556723.6791 | 1173744.6563 | 2556714.3038 | 1173750.4374
29 | 2556732.2401 | 1173731.532 | 2556719.035 | 1173728.4146 | 2556712.2773 | 1173719.1586 | 2556703.1724 | 1173704.7874
30 | 2556732.2401 | 1173731.532 | 2556734.2759 | 1173746.5919 | 2556742.8635 | 1173758.3962
31 | 2556831.0443 | 1173719.3346 | 2556820.1532 | 1173710.5196 | 2556814.9539 | 1173708.8041
32 | 2556695.279 | 1173761.6911 | 2556704.488 | 1173756.4902 | 2556714.3038 | 1173750.4374
33 | 2556702.356 | 1173703.4989 | 2556703.1724 | 1173704.7874
34 | 2556743.3432 | 1173759.0556 | 2556742.8635 | 1173758.3962
35 | 2556702.356 | 1173703.4989 | 2556689.4511 | 1173683.13
36 | 2556689.4511 | 1173683.13 | 2556685.4528 | 1173676.819 | 2556678.0147 | 1173660.7135
37 | 2556678.0147 | 1173660.7135 | 2556677.9413 | 1173660.5546
38 | 2556677.9413 | 1173660.5546 | 2556672.6257 | 1173649.0447
39 | 2556743.3432 | 1173759.0556 | 2556754.5338 | 1173774.4381 | 2556756.8778 | 1173780.0343
40 | 2556763.846 | 1173796.6709 | 2556756.8778 | 1173780.0343
41 | 2556763.846 | 1173796.6709 | 2556764.3002 | 1173797.7553
42 | 2556771.0147 | 1173813.6785 | 2556770.8653 | 1173813.4297 | 2556764.3002 | 1173797.7553
43 | 2556677.2152 | 1173771.8914 | 2556680.8195 | 1173769.8574 | 2556695.279 | 1173761.6911
44 | 2556772.5501 | 1173816.2355 | 2556771.0147 | 1173813.6785
45 | 2556772.5501 | 1173816.2355 | 2556784.2509 | 1173835.722
46 | 2556784.2509 | 1173835.722 | 2556788.3142 | 1173842.4889
47 | 2556799.9559 | 1173861.6905 | 2556799.2923 | 1173860.7718 | 2556788.3142 | 1173842.4889
48 | 2556672.6257 | 1173649.0447 | 2556668.5556 | 1173640.2318
49 | 2556668.5556 | 1173640.2318 | 2556666.8004 | 1173636.4312
50 | 2556666.8004 | 1173636.4312 | 2556661.8835 | 1173625.7848 | 2556656.3747 | 1173619.2346
51 | 2556653.2092 | 1173615.4707 | 2556656.3747 | 1173619.2346
52 | 2556653.2092 | 1173615.4707 | 2556647.1735 | 1173608.2941
53 | 2556638.0655 | 1173597.4644 | 2556647.1735 | 1173608.2941
54 | 2556638.0655 | 1173597.4644 | 2556632.6113 | 1173593.7685
55 | 2557459.5973 | 1173266.3125 | 2557455.8671 | 1173269.2414
56 | 2557459.5973 | 1173266.3125 | 2557468.3655 | 1173259.4279
57 | 2557485.0959 | 1173245.7171 | 2557483.6782 | 1173247.4046 | 2557468.3655 | 1173259.4279
58 | 2557491.8148 | 1173237.7195 | 2557485.0959 | 1173245.7171
59 | 2557491.8148 | 1173237.7195 | 2557494.0514 | 1173231.7782
60 | 2557491.8148 | 1173237.7195 | 2557503.245 | 1173256.8095
61 | 2557494.0514 | 1173231.7782 | 2557501.8727 | 1173211.0673 | 2557505.942 | 1173193.1971
62 | 2557513.1922 | 1173273.4227 | 2557503.245 | 1173256.8095
63 | 2557509.4592 | 1173177.7515 | 2557505.942 | 1173193.1971
64 | 2557509.4592 | 1173177.7515 | 2557510.4011 | 1173173.6315 | 2557512.3957 | 1173169.6972
65 | 2557509.4592 | 1173177.7515 | 2557492.0008 | 1173173.4277
66 | 2557455.994 | 1173190.1487 | 2557466.1916 | 1173201.3034
67 | 2557485.3281 | 1173171.7751 | 2557472.6325 | 1173174.8336 | 2557460.7974 | 1173184.9007 | 2557455.994 | 1173190.1487
68 | 2557455.994 | 1173190.1487 | 2557450.8568 | 1173195.766 | 2557441.8482 | 1173198.3073
69 | 2557432.2198 | 1173201.0234 | 2557441.8482 | 1173198.3073
70 | 2557485.3281 | 1173171.7751 | 2557492.0008 | 1173173.4277
71 | 2557485.3281 | 1173171.7751 | 2557473.5757 | 1173158.8844
72 | 2557473.5757 | 1173158.8844 | 2557458.9354 | 1173142.8259
73 | 2557458.9354 | 1173142.8259 | 2557455.4872 | 1173139.0436
74 | 2557518.071 | 1173158.5024 | 2557512.3957 | 1173169.6972
75 | 2557518.071 | 1173158.5024 | 2557543.9542 | 1173167.8043
76 | 2557518.071 | 1173158.5024 | 2557520.1031 | 1173155.1754
77 | 2557543.9542 | 1173167.8043 | 2557555.7852 | 1173172.056
78 | 2557535.004 | 1173130.7788 | 2557520.1031 | 1173155.1754
79 | 2557453.4192 | 1173136.7753 | 2557455.4872 | 1173139.0436
80 | 2557457.159 | 1173031.2899 | 2557409.0886 | 1173064.9464
81 | 2557500.1404 | 1173086.5495 | 2557457.159 | 1173031.2899
82 | 2557535.004 | 1173130.7788 | 2557544.5855 | 1173120.2526
83 | 2557535.004 | 1173130.7788 | 2557521.7295 | 1173116.9323 | 2557517.47 | 1173110.9378
84 | 2557571.5897 | 1173097.513 | 2557544.9141 | 1173119.8917 | 2557544.5855 | 1173120.2526
85 | 2557500.1404 | 1173086.5495 | 2557517.47 | 1173110.9378
86 | 2557555.7852 | 1173172.056 | 2557561.503 | 1173174.1109
87 | 2557571.5897 | 1173097.513 | 2557576.7699 | 1173093.2641
88 | 2557571.5897 | 1173097.513 | 2557586.2876 | 1173108.6227
89 | 2557582.6364 | 1173184.753 | 2557576.0765 | 1173180.2694 | 2557564.3322 | 1173175.1276 | 2557561.503 | 1173174.1109
90 | 2557587.2983 | 1173084.6285 | 2557576.7699 | 1173093.2641
91 | 2557586.2876 | 1173108.6227 | 2557599.2452 | 1173118.4171 | 2557599.2998 | 1173118.4576
92 | 2557587.5532 | 1173188.1135 | 2557582.6364 | 1173184.753
93 | 2557587.5532 | 1173188.1135 | 2557593.8026 | 1173192.3849
94 | 2557622.7784 | 1173214.3019 | 2557617.4492 | 1173208.5469 | 2557593.8026 | 1173192.3849
95 | 2557628.3911 | 1173220.363 | 2557622.7784 | 1173214.3019
96 | 2557639.1283 | 1173148.0079 | 2557644.3857 | 1173151.9085
97 | 2557639.1283 | 1173148.0079 | 2557599.2998 | 1173118.4576
98 | 2557610.9471 | 1173051.699 | 2557610.4361 | 1173060.5295 | 2557603.0895 | 1173071.6763 | 2557587.2983 | 1173084.6285
99 | 2557610.9471 | 1173051.699 | 2557637.1455 | 1173056.9052 | 2557638.6325 | 1173057.3032
100 | 2557610.9471 | 1173051.699 | 2557607.4487 | 1173041.485 | 2557603.4253 | 1173032.5073
101 | 2557638.6325 | 1173057.3032 | 2557658.0858 | 1173062.5095
102 | 2557599.9248 | 1173024.6964 | 2557603.4253 | 1173032.5073
103 | 2557658.0858 | 1173062.5095 | 2557670.4092 | 1173065.8076
104 | 2557599.9248 | 1173024.6964 | 2557599.7268 | 1173024.2546
105 | 2557684.2873 | 1173068.7929 | 2557680.933 | 1173068.624 | 2557670.4092 | 1173065.8076
106 | 2557590.0746 | 1172995.654 | 2557590.8896 | 1173001.1921 | 2557596.1353 | 1173016.2407 | 2557599.7268 | 1173024.2546
107 | 2557663.8039 | 1172912.9666 | 2557664.7415 | 1172926.6969
108 | 2557651.6751 | 1172931.586 | 2557664.7415 | 1172926.6969 | 2557664.7415 | 1172926.6969
109 | 2557651.6751 | 1172931.586 | 2557646.2327 | 1172933.6223
110 | 2557629.9201 | 1172939.726 | 2557646.2327 | 1172933.6223
111 | 2557629.9201 | 1172939.726 | 2557603.7338 | 1172949.5241
112 | 2557586.7296 | 1172955.8865 | 2557603.7338 | 1172949.5241
113 | 2557586.7296 | 1172955.8865 | 2557587.2581 | 1172976.5159 | 2557590.0746 | 1172995.654

## bus_geodata
| x | y | coords
0 | 2557323.7568 | 1173383.7476
1 | 2557331.564 | 1173375.614
2 | 2557154.4189 | 1173453.8716
3 | 2557352.7759 | 1173353.9538
4 | 2557425.2106 | 1173293.3124
5 | 2557449.1942 | 1173274.4809
6 | 2557132.6346 | 1173439.1419
7 | 2557094.2331 | 1173407.4286
8 | 2557029.7437 | 1173517.7689
9 | 2557030.8999 | 1173515.1368
10 | 2556993.4971 | 1173555.8235
11 | 2557041.3754 | 1173491.2892
12 | 2556991.1078 | 1173589.0185
13 | 2556850.4983 | 1173488.3054
14 | 2556859.5714 | 1173457.243
15 | 2556823.9487 | 1173534.4253
16 | 2556815.0623 | 1173545.665
17 | 2556796.22 | 1173570.1048
18 | 2556797.0851 | 1173648.6593
19 | 2556812.9884 | 1173687.2033
20 | 2556804.7087 | 1173692.1519
21 | 2556831.5901 | 1173676.0874
22 | 2556861.7469 | 1173658.0665
23 | 2556795.2713 | 1173697.7923
24 | 2556778.985 | 1173707.3572
25 | 2556776.0172 | 1173709.1001
26 | 2556732.2401 | 1173731.532
27 | 2556814.9539 | 1173708.8041
28 | 2556714.3038 | 1173750.4374
29 | 2556703.1724 | 1173704.7874
30 | 2556742.8635 | 1173758.3962
31 | 2556831.0443 | 1173719.3346
32 | 2556702.356 | 1173703.4989
33 | 2556689.4511 | 1173683.13
34 | 2556678.0147 | 1173660.7135
35 | 2556677.9413 | 1173660.5546
36 | 2556743.3432 | 1173759.0556
37 | 2556756.8778 | 1173780.0343
38 | 2556763.846 | 1173796.6709
39 | 2556764.3002 | 1173797.7553
40 | 2556695.279 | 1173761.6911
41 | 2556771.0147 | 1173813.6785
42 | 2556772.5501 | 1173816.2355
43 | 2556784.2509 | 1173835.722
44 | 2556788.3142 | 1173842.4889
45 | 2556799.9559 | 1173861.6905
46 | 2556677.2152 | 1173771.8914
47 | 2556672.6257 | 1173649.0447
48 | 2556668.5556 | 1173640.2318
49 | 2556666.8004 | 1173636.4312
50 | 2556656.3747 | 1173619.2346
51 | 2556653.2092 | 1173615.4707
52 | 2556647.1735 | 1173608.2941
53 | 2556638.0655 | 1173597.4644
54 | 2556632.6113 | 1173593.7685
55 | 2557455.8671 | 1173269.2414
56 | 2557459.5973 | 1173266.3125
57 | 2557468.3655 | 1173259.4279
58 | 2557485.0959 | 1173245.7171
59 | 2557491.8148 | 1173237.7195
60 | 2557494.0514 | 1173231.7782
61 | 2557503.245 | 1173256.8095
62 | 2557513.1922 | 1173273.4227
63 | 2557505.942 | 1173193.1971
64 | 2557509.4592 | 1173177.7515
65 | 2557466.1916 | 1173201.3034
66 | 2557455.994 | 1173190.1487
67 | 2557441.8482 | 1173198.3073
68 | 2557432.2198 | 1173201.0234
69 | 2557485.3281 | 1173171.7751
70 | 2557492.0008 | 1173173.4277
71 | 2557473.5757 | 1173158.8844
72 | 2557458.9354 | 1173142.8259
73 | 2557512.3957 | 1173169.6972
74 | 2557518.071 | 1173158.5024
75 | 2557543.9542 | 1173167.8043
76 | 2557520.1031 | 1173155.1754
77 | 2557453.4192 | 1173136.7753
78 | 2557455.4872 | 1173139.0436
79 | 2557409.0886 | 1173064.9464
80 | 2557457.159 | 1173031.2899
81 | 2557535.004 | 1173130.7788
82 | 2557544.5855 | 1173120.2526
83 | 2557517.47 | 1173110.9378
84 | 2557555.7852 | 1173172.056
85 | 2557571.5897 | 1173097.513
86 | 2557500.1404 | 1173086.5495
87 | 2557561.503 | 1173174.1109
88 | 2557576.7699 | 1173093.2641
89 | 2557586.2876 | 1173108.6227
90 | 2557582.6364 | 1173184.753
91 | 2557587.5532 | 1173188.1135
92 | 2557593.8026 | 1173192.3849
93 | 2557622.7784 | 1173214.3019
94 | 2557628.3911 | 1173220.363
95 | 2557639.1283 | 1173148.0079
96 | 2557644.3857 | 1173151.9085
97 | 2557599.2998 | 1173118.4576
98 | 2557587.2983 | 1173084.6285
99 | 2557610.9471 | 1173051.699
100 | 2557638.6325 | 1173057.3032
101 | 2557603.4253 | 1173032.5073
102 | 2557658.0858 | 1173062.5095
103 | 2557599.9248 | 1173024.6964
104 | 2557670.4092 | 1173065.8076
105 | 2557599.7268 | 1173024.2546
106 | 2557684.2873 | 1173068.7929
107 | 2557663.8039 | 1172912.9666
108 | 2557664.7415 | 1172926.6969
109 | 2557651.6751 | 1172931.586
110 | 2557646.2327 | 1172933.6223
111 | 2557629.9201 | 1172939.726
112 | 2557603.7338 | 1172949.5241
113 | 2557586.7296 | 1172955.8865
114 | 2557590.0746 | 1172995.654
115 | 2557425.2106 | 1173293.3124

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1