## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5675-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5675-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5675-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5675-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5675-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5675-19_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_5675-19_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_5675-19_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_5675-19_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_5675-19_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_5675-19_0_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_5675-19_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_5675-19_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5675-19_0_3_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5675-19_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5675-19_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5675-19_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5675-19_0_3_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_5675-19_0_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_5675-19_0_3_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_5675-19_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_5675-19_0_3_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_5675-19_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5675-19_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_5675-19_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5675-19_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5675-19_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_5675-19_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5675-19_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_5675-19_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_5675-19_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5675-19_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5675-19_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5675-19_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_5675-19_0_3_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_5675-19_0_3_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_5675-19_0_3_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_5675-19_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5675-19_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5675-19_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_5675-19_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5675-19_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_5675-19_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_5675-19_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5675-19_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5675-19_0_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_5675-19_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_5675-19_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_5675-19_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_5675-19_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5675-19_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5675-19_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5675-19_0_3_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_5675-19_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5675-19_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_5675-19_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5675-19_0_3_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_5675-19_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_5675-19_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5675-19_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_5675-19_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5675-19_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_5675-19_0_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_5675-19_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_5675-19_0_3_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_5675-19_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_5675-19_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_5675-19_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5675-19_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5675-19_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5675-19_0_3_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_5675-19_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_5675-19_0_3_node_71 | 0.4 | n |  | TRUE
73 | bus_MV_367_2_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5675-19_0_3_load_0 | 0 | 0.0044819 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5675-19_0_3_load_1 | 1 | 0.012651 | 0.0031707 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5675-19_0_3_load_2 | 2 | 0.0066386 | 0.0016638 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5675-19_0_3_load_3 | 3 | 0.0056532 | 0.0014168 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5675-19_0_3_load_20 | 5 | 0.0027998 | 0.00070169 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5675-19_0_3_load_21 | 6 | 0.0031322 | 0.00078501 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5675-19_0_3_load_22 | 7 | 0.0014008 | 0.00035107 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5675-19_0_3_load_18 | 8 | 0.006858 | 0.0017188 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5675-19_0_3_load_14 | 9 | 0.0032012 | 0.0008023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5675-19_0_3_load_5 | 13 | 0.0030874 | 0.00077377 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5675-19_0_3_load_6 | 14 | 0.0097313 | 0.0024389 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5675-19_0_3_load_7 | 15 | 0.0045472 | 0.0011396 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5675-19_0_3_load_31 | 18 | 0.0014408 | 0.00036111 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5675-19_0_3_load_63 | 19 | 0.0011178 | 0.00028015 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5675-19_0_3_load_9 | 22 | 0.0040634 | 0.0010184 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5675-19_0_3_load_10 | 23 | 0.00077696 | 0.00019473 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5675-19_0_3_load_13 | 25 | 0.0018099 | 0.0004536 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5675-19_0_3_load_28 | 26 | 0.0036104 | 0.00090486 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5675-19_0_3_load_15 | 27 | 0.0015041 | 0.00037697 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5675-19_0_3_load_29 | 28 | 0.0015008 | 0.00037615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5675-19_0_3_load_16 | 29 | 0.0021694 | 0.00054369 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5675-19_0_3_load_17 | 30 | 0.0025334 | 0.00063493 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5675-19_0_3_load_19 | 31 | 0.00066787 | 0.00016738 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5675-19_0_3_load_42 | 33 | 0.0026183 | 0.0006562 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5675-19_0_3_load_57 | 35 | 0.0029399 | 0.00073681 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5675-19_0_3_load_55 | 36 | 0.003314 | 0.00083056 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5675-19_0_3_load_24 | 37 | 0.0020708 | 0.00051898 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5675-19_0_3_load_25 | 38 | 0.0053849 | 0.0013496 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5675-19_0_3_load_43 | 39 | 0.0024601 | 0.00061657 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5675-19_0_3_load_33 | 40 | 0.0073704 | 0.0018472 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5675-19_0_3_load_44 | 42 | 0.0031666 | 0.00079362 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5675-19_0_3_load_35 | 44 | 0.0099391 | 0.002491 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5675-19_0_3_load_54 | 46 | 0.0013755 | 0.00034473 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5675-19_0_3_load_36 | 48 | 0.002595 | 0.00065036 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5675-19_0_3_load_37 | 49 | 0.0035464 | 0.0008888 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5675-19_0_3_load_39 | 50 | 0.0021429 | 0.00053706 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5675-19_0_3_load_41 | 51 | 0.0089539 | 0.0022441 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5675-19_0_3_load_62 | 52 | 0.002858 | 0.00071628 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5675-19_0_3_load_45 | 53 | 0.0023532 | 0.00058978 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5675-19_0_3_load_58 | 54 | 0.0048741 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5675-19_0_3_load_46 | 55 | 0.0030105 | 0.00075449 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5675-19_0_3_load_73 | 56 | 0.0023958 | 0.00060044 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5675-19_0_3_load_47 | 57 | 0.0037573 | 0.00094168 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5675-19_0_3_load_50 | 59 | 0.0028224 | 0.00070735 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5675-19_0_3_load_51 | 60 | 0.0031742 | 0.00079552 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5675-19_0_3_load_53 | 61 | 0.0023823 | 0.00059706 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5675-19_0_3_load_59 | 63 | 0.0022914 | 0.00057429 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5675-19_0_3_load_69 | 64 | 0.0031639 | 0.00079296 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5675-19_0_3_load_65 | 65 | 0.0027665 | 0.00069336 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5675-19_0_3_load_60 | 66 | 0.0030382 | 0.00076145 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5675-19_0_3_load_61 | 67 | 0.0063367 | 0.0015881 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5675-19_0_3_load_66 | 68 | 0.0014228 | 0.00035659 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5675-19_0_3_load_68 | 69 | 0.0013261 | 0.00033234 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5675-19_0_3_load_72 | 70 | 0.0023756 | 0.00059539 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5675-19_0_3_load_70 | 71 | 0.0032127 | 0.00080518 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5675-19_0_3_load_71 | 72 | 0.0031768 | 0.00079617 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5675-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0097092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5675-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5675-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5675-19_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5675-19_0_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.036178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5675-19_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.041671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5675-19_0_3_line_6 | NAYY 4x150 SE | 4 | 9 | 0.0073581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5675-19_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.023136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5675-19_0_3_line_8 | NAYY 4x150 SE | 6 | 33 | 0.028664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5675-19_0_3_line_9 | NAYY 4x150 SE | 6 | 34 | 0.059028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5675-19_0_3_line_10 | NAYY 4x150 SE | 7 | 10 | 0.012314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5675-19_0_3_line_11 | NAYY 4x150 SE | 8 | 11 | 0.025367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5675-19_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.043079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5675-19_0_3_line_13 | NAYY 4x150 SE | 10 | 37 | 0.030842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5675-19_0_3_line_14 | NAYY 4x150 SE | 11 | 32 | 0.010245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5675-19_0_3_line_15 | NAYY 4x150 SE | 12 | 25 | 0.029126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5675-19_0_3_line_16 | NAYY 4x150 SE | 12 | 22 | 0.015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5675-19_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.0019367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5675-19_0_3_line_18 | NAYY 4x150 SE | 13 | 15 | 0.023171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5675-19_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.040299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5675-19_0_3_line_20 | NAYY 4x150 SE | 16 | 20 | 0.061904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5675-19_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.091354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5675-19_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.033433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_5675-19_0_3_line_23 | NAYY 4x150 SE | 18 | 24 | 0.042659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5675-19_0_3_line_24 | NAYY 4x150 SE | 19 | 52 | 0.0099537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5675-19_0_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.031183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5675-19_0_3_line_26 | NAYY 4x150 SE | 21 | 28 | 0.01428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5675-19_0_3_line_27 | NAYY 4x150 SE | 22 | 23 | 0.014351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5675-19_0_3_line_28 | NAYY 4x150 SE | 23 | 24 | 0.035461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5675-19_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.023627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5675-19_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.0023519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5675-19_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.025946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5675-19_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.026686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5675-19_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.0085756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5675-19_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.029828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5675-19_0_3_line_35 | NAYY 4x150 SE | 32 | 38 | 0.022926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5675-19_0_3_line_36 | NAYY 4x150 SE | 33 | 39 | 0.025913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5675-19_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.042115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5675-19_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0053133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5675-19_0_3_line_39 | NAYY 4x150 SE | 35 | 54 | 0.016172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5675-19_0_3_line_40 | NAYY 4x150 SE | 36 | 59 | 0.03003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5675-19_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.044595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5675-19_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.021805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5675-19_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.056868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5675-19_0_3_line_44 | NAYY 4x150 SE | 42 | 53 | 0.0047083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5675-19_0_3_line_45 | NAYY 4x150 SE | 43 | 51 | 0.01518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_5675-19_0_3_line_46 | NAYY 4x150 SE | 43 | 48 | 0.010936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_5675-19_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.025218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5675-19_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.014217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5675-19_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.019236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5675-19_0_3_line_50 | NAYY 4x150 SE | 46 | 51 | 0.012122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_5675-19_0_3_line_51 | NAYY 4x150 SE | 47 | 61 | 0.012822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5675-19_0_3_line_52 | NAYY 4x150 SE | 47 | 57 | 0.02799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5675-19_0_3_line_53 | NAYY 4x150 SE | 48 | 49 | 0.012438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5675-19_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.02631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5675-19_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.025766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_5675-19_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.028245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5675-19_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.03131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5675-19_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.032557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5675-19_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.022846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5675-19_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.058957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5675-19_0_3_line_61 | NAYY 4x150 SE | 60 | 62 | 0.0088837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5675-19_0_3_line_62 | NAYY 4x150 SE | 61 | 63 | 0.026328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5675-19_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.0018482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5675-19_0_3_line_64 | NAYY 4x150 SE | 62 | 65 | 0.041607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5675-19_0_3_line_65 | NAYY 4x150 SE | 63 | 66 | 0.0076751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5675-19_0_3_line_66 | NAYY 4x150 SE | 64 | 71 | 0.011563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5675-19_0_3_line_67 | NAYY 4x150 SE | 65 | 68 | 0.0004019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5675-19_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.028239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5675-19_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0087438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5675-19_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0097216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5675-19_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.010799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5675-19_0_3_trafo_31 | 0.25 MVA 20/0.4 kV | 73 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2553892.2688 | 1173263.053 | 2553884.5841 | 1173268.9872
1 | 2553892.2688 | 1173263.053 | 2553905.5983 | 1173252.7599
2 | 2553884.5841 | 1173268.9872 | 2553880.9548 | 1173271.7897 | 2553870.3511 | 1173285.0673
3 | 2553926.8478 | 1173236.3509 | 2553905.5983 | 1173252.7599
4 | 2553870.3511 | 1173285.0673 | 2553870.3511 | 1173285.0673 | 2553872.5415 | 1173291.4427 | 2553893.0251 | 1173312.5845
5 | 2553926.8478 | 1173236.3509 | 2553950.3606 | 1173268.8541 | 2553951.3284 | 1173270.0711
6 | 2553926.8478 | 1173236.3509 | 2553922.3293 | 1173230.5437
7 | 2553708.265 | 1173111.8655 | 2553710.5807 | 1173112.1413 | 2553730.8026 | 1173117.0289
8 | 2553679.78 | 1173108.6796 | 2553689.2785 | 1173109.6046 | 2553708.265 | 1173111.8655
9 | 2553727.016 | 1173055.8954 | 2553708.265 | 1173111.8655
10 | 2553901.0779 | 1173321.8837 | 2553896.4683 | 1173316.1383 | 2553893.0251 | 1173312.5845
11 | 2553964.9492 | 1173291.4428 | 2553953.6115 | 1173272.9424 | 2553951.3284 | 1173270.0711
12 | 2553900.9987 | 1173193.4381 | 2553911.7404 | 1173216.9346 | 2553922.3293 | 1173230.5437
13 | 2553901.0779 | 1173321.8837 | 2553883.544 | 1173337.8716 | 2553878.3813 | 1173342.7658
14 | 2553955.0035 | 1173288.8735 | 2553964.9492 | 1173291.4428
15 | 2553900.9987 | 1173193.4381 | 2553893.2318 | 1173193.787 | 2553884.0567 | 1173186.0535 | 2553876.8026 | 1173180.1511
16 | 2553900.9987 | 1173193.4381 | 2553897.5974 | 1173183.7369 | 2553895.2831 | 1173178.6148
17 | 2554006.9297 | 1173197.4799 | 2554007.9287 | 1173199.1391
18 | 2554006.9297 | 1173197.4799 | 2553994.9788 | 1173177.629
19 | 2553974.1934 | 1173143.1039 | 2553994.9788 | 1173177.629
20 | 2553942.2708 | 1173090.0655 | 2553974.1934 | 1173143.1039
21 | 2553802.0909 | 1173030.1466 | 2553827.2564 | 1173117.966
22 | 2553802.0909 | 1173030.1466 | 2553800.3617 | 1173027.0694 | 2553799.0984 | 1173024.9002 | 2553793.7615 | 1173016.1145 | 2553785.0129 | 1173001.4062
23 | 2553862.6397 | 1173141.7949 | 2553827.2564 | 1173117.966
24 | 2553779.9244 | 1172992.8515 | 2553785.0129 | 1173001.4062
25 | 2553942.2708 | 1173090.0655 | 2553923.6118 | 1173101.0705 | 2553915.4526 | 1173106.1026
26 | 2553915.4526 | 1173106.1026 | 2553903.3025 | 1173113.6058
27 | 2553887.9805 | 1173166.3017 | 2553887.9805 | 1173166.3017 | 2553893.583 | 1173174.852 | 2553895.2831 | 1173178.6148
28 | 2553862.6397 | 1173141.7949 | 2553874.4027 | 1173150.9091 | 2553881.8463 | 1173158.2112 | 2553887.9805 | 1173166.3017
29 | 2553862.6397 | 1173141.7949 | 2553879.0485 | 1173128.5837 | 2553881.227 | 1173127.2383
30 | 2553876.8026 | 1173180.1511 | 2553875.9764 | 1173179.4789 | 2553874.9977 | 1173178.6435
31 | 2553903.3025 | 1173113.6058 | 2553881.227 | 1173127.2383
32 | 2553874.9977 | 1173178.6435 | 2553866.5542 | 1173171.4361 | 2553858.0387 | 1173166.9437 | 2553852.5553 | 1173164.6165
33 | 2553844.6612 | 1173161.2663 | 2553852.5553 | 1173164.6165
34 | 2553844.6612 | 1173161.2663 | 2553839.1033 | 1173158.9076 | 2553817.6708 | 1173148.5821
35 | 2553955.0035 | 1173288.8735 | 2553946.713 | 1173288.7372 | 2553940.5912 | 1173290.1961 | 2553935.3305 | 1173293.2382 | 2553933.3864 | 1173294.3981
36 | 2553679.78 | 1173108.6796 | 2553668.2325 | 1173107.5552 | 2553653.9688 | 1173106.3982
37 | 2553727.016 | 1173055.8954 | 2553713.3243 | 1173054.5449 | 2553688.2861 | 1173048.5353 | 2553685.6818 | 1173048.4002
38 | 2553727.016 | 1173055.8954 | 2553722.8192 | 1173052.6369
39 | 2553685.6818 | 1173048.4002 | 2553675.2343 | 1173047.8581 | 2553669.5328 | 1173047.5424
40 | 2553699.6028 | 1173033.6203 | 2553701.6792 | 1173035.0134 | 2553716.4681 | 1173047.7059 | 2553722.8192 | 1173052.6369
41 | 2553796.1641 | 1172910.2618 | 2553758.7306 | 1172886.0252
42 | 2553796.1641 | 1172910.2618 | 2553807.7092 | 1172928.7601
43 | 2553741.9851 | 1172927.6448 | 2553759.931 | 1172923.2928 | 2553780.4461 | 1172916.9088 | 2553796.1641 | 1172910.2618
44 | 2553807.7092 | 1172928.7601 | 2553810.2021 | 1172932.7543
45 | 2553741.9851 | 1172927.6448 | 2553741.2447 | 1172927.8284 | 2553727.7112 | 1172932.7975
46 | 2553741.9851 | 1172927.6448 | 2553747.3095 | 1172937.1969
47 | 2553704.9345 | 1172945.6851 | 2553698.7084 | 1172935.6724 | 2553693.3475 | 1172923.3617
48 | 2553704.9345 | 1172945.6851 | 2553714.5236 | 1172938.6406 | 2553716.609 | 1172937.6267
49 | 2553704.9345 | 1172945.6851 | 2553696.6573 | 1172955.2542 | 2553691.6741 | 1172959.5951
50 | 2553727.7112 | 1172932.7975 | 2553722.9349 | 1172934.5512 | 2553716.609 | 1172937.6267
51 | 2553691.6741 | 1172959.5951 | 2553700.3107 | 1172969.0721
52 | 2553691.6741 | 1172959.5951 | 2553689.0284 | 1172965.5631 | 2553686.539 | 1172968.0281 | 2553683.8415 | 1172973.2295 | 2553681.7162 | 1172981.228 | 2553681.1601 | 1172985.0105
53 | 2553747.3095 | 1172937.1969 | 2553753.3654 | 1172948.0615
54 | 2553766.6899 | 1172970.7447 | 2553757.2006 | 1172954.9419 | 2553753.3654 | 1172948.0615
55 | 2553779.9244 | 1172992.8515 | 2553775.6931 | 1172985.7377 | 2553766.6899 | 1172970.7447
56 | 2553810.2021 | 1172932.7543 | 2553825.1568 | 1172956.7156
57 | 2553825.1568 | 1172956.7156 | 2553856.4585 | 1172955.988
58 | 2553683.9753 | 1173017.2186 | 2553682.4955 | 1173011.7716 | 2553681.4254 | 1173005.9212 | 2553680.735 | 1172995.7656 | 2553680.7426 | 1172987.8502 | 2553681.1601 | 1172985.0105
59 | 2553683.9753 | 1173017.2186 | 2553689.8513 | 1173024.4882 | 2553694.6683 | 1173030.3096 | 2553699.6028 | 1173033.6203
60 | 2553683.9753 | 1173017.2186 | 2553675.2094 | 1173015.9857 | 2553668.2778 | 1173004.7223 | 2553666.7647 | 1173002.8885 | 2553665.2228 | 1172998.3314 | 2553663.064 | 1172993.1008 | 2553656.6981 | 1172975.8965 | 2553654.523 | 1172970.6409
61 | 2553651.1259 | 1172962.4324 | 2553654.523 | 1172970.6409
62 | 2553716.4848 | 1172989.7837 | 2553707.2775 | 1172976.7169 | 2553700.3107 | 1172969.0721
63 | 2553651.1259 | 1172962.4324 | 2553650.3658 | 1172960.7477
64 | 2553651.1259 | 1172962.4324 | 2553613.4455 | 1172980.078 | 2553613.4455 | 1172980.078
65 | 2553716.4848 | 1172989.7837 | 2553720.9056 | 1172996.0577
66 | 2553650.3658 | 1172960.7477 | 2553647.0174 | 1172953.326 | 2553645.7749 | 1172950.1385
67 | 2553613.0539 | 1172980.1684 | 2553613.4455 | 1172980.078
68 | 2553738.4592 | 1173017.9826 | 2553732.9721 | 1173013.1822 | 2553720.9056 | 1172996.0577
69 | 2553613.0539 | 1172980.1684 | 2553609.7583 | 1172980.9292 | 2553607.0863 | 1172980.5386 | 2553605.0306 | 1172979.743 | 2553604.8058 | 1172979.3453
70 | 2553604.8058 | 1172979.3453 | 2553603.9916 | 1172977.9056 | 2553600.704 | 1172970.5383
71 | 2553645.7749 | 1172950.1385 | 2553642.2735 | 1172941.1563 | 2553641.833 | 1172940.0843

## bus_geodata
| x | y | coords
0 | 2553892.2688 | 1173263.053
1 | 2553884.5841 | 1173268.9872
2 | 2553905.5983 | 1173252.7599
3 | 2553870.3511 | 1173285.0673
4 | 2553926.8478 | 1173236.3509
5 | 2553730.8026 | 1173117.0289
6 | 2553708.265 | 1173111.8655
7 | 2553893.0251 | 1173312.5845
8 | 2553951.3284 | 1173270.0711
9 | 2553922.3293 | 1173230.5437
10 | 2553901.0779 | 1173321.8837
11 | 2553964.9492 | 1173291.4428
12 | 2553900.9987 | 1173193.4381
13 | 2554006.9297 | 1173197.4799
14 | 2554007.9287 | 1173199.1391
15 | 2553994.9788 | 1173177.629
16 | 2553974.1934 | 1173143.1039
17 | 2553802.0909 | 1173030.1466
18 | 2553827.2564 | 1173117.966
19 | 2553785.0129 | 1173001.4062
20 | 2553942.2708 | 1173090.0655
21 | 2553915.4526 | 1173106.1026
22 | 2553895.2831 | 1173178.6148
23 | 2553887.9805 | 1173166.3017
24 | 2553862.6397 | 1173141.7949
25 | 2553876.8026 | 1173180.1511
26 | 2553881.227 | 1173127.2383
27 | 2553874.9977 | 1173178.6435
28 | 2553903.3025 | 1173113.6058
29 | 2553852.5553 | 1173164.6165
30 | 2553844.6612 | 1173161.2663
31 | 2553817.6708 | 1173148.5821
32 | 2553955.0035 | 1173288.8735
33 | 2553679.78 | 1173108.6796
34 | 2553727.016 | 1173055.8954
35 | 2553685.6818 | 1173048.4002
36 | 2553722.8192 | 1173052.6369
37 | 2553878.3813 | 1173342.7657
38 | 2553933.3864 | 1173294.3981
39 | 2553653.9688 | 1173106.3982
40 | 2553758.7306 | 1172886.0252
41 | 2553796.1641 | 1172910.2618
42 | 2553807.7092 | 1172928.7601
43 | 2553741.9851 | 1172927.6448
44 | 2553693.3475 | 1172923.3617
45 | 2553704.9345 | 1172945.6851
46 | 2553716.609 | 1172937.6267
47 | 2553691.6741 | 1172959.5951
48 | 2553747.3095 | 1172937.1969
49 | 2553753.3654 | 1172948.0615
50 | 2553766.6899 | 1172970.7447
51 | 2553727.7112 | 1172932.7975
52 | 2553779.9244 | 1172992.8515
53 | 2553810.2021 | 1172932.7543
54 | 2553669.5328 | 1173047.5424
55 | 2553825.1568 | 1172956.7156
56 | 2553856.4585 | 1172955.988
57 | 2553681.1601 | 1172985.0105
58 | 2553683.9753 | 1173017.2186
59 | 2553699.6028 | 1173033.6203
60 | 2553654.523 | 1172970.6409
61 | 2553700.3107 | 1172969.0721
62 | 2553651.1259 | 1172962.4324
63 | 2553716.4848 | 1172989.7837
64 | 2553650.3658 | 1172960.7477
65 | 2553613.4455 | 1172980.078
66 | 2553720.9056 | 1172996.0577
67 | 2553738.4592 | 1173017.9826
68 | 2553613.0539 | 1172980.1684
69 | 2553604.8058 | 1172979.3453
70 | 2553600.704 | 1172970.5383
71 | 2553645.7749 | 1172950.1385
72 | 2553641.833 | 1172940.0843
73 | 2553862.6397 | 1173141.7949

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1