## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5675-2_1_7_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_5675-2_1_7_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_5675-2_1_7_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_5675-2_1_7_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_5675-2_1_7_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_5675-2_1_7_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_5675-2_1_7_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_5675-2_1_7_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_5675-2_1_7_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_5675-2_1_7_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_5675-2_1_7_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_5675-2_1_7_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_5675-2_1_7_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_5675-2_1_7_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_5675-2_1_7_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_5675-2_1_7_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_5675-2_1_7_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_5675-2_1_7_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_5675-2_1_7_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_5675-2_1_7_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_5675-2_1_7_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5675-2_1_7_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5675-2_1_7_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5675-2_1_7_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5675-2_1_7_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_5675-2_1_7_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5675-2_1_7_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5675-2_1_7_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_5675-2_1_7_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_5675-2_1_7_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5675-2_1_7_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_5675-2_1_7_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5675-2_1_7_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_5675-2_1_7_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_5675-2_1_7_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_5675-2_1_7_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_5675-2_1_7_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5675-2_1_7_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5675-2_1_7_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_5675-2_1_7_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5675-2_1_7_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5675-2_1_7_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5675-2_1_7_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_5675-2_1_7_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_5675-2_1_7_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_5675-2_1_7_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5675-2_1_7_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_5675-2_1_7_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5675-2_1_7_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_5675-2_1_7_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_5675-2_1_7_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_5675-2_1_7_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_5675-2_1_7_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_5675-2_1_7_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_5675-2_1_7_node_205 | 0.4 | n |  | TRUE
55 | bus_LV_5675-2_1_7_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5675-2_1_7_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5675-2_1_7_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5675-2_1_7_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5675-2_1_7_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_5675-2_1_7_node_204 | 0.4 | n |  | TRUE
61 | bus_LV_5675-2_1_7_node_206 | 0.4 | n |  | TRUE
62 | bus_LV_5675-2_1_7_node_209 | 0.4 | n |  | TRUE
63 | bus_LV_5675-2_1_7_node_210 | 0.4 | n |  | TRUE
64 | bus_LV_5675-2_1_7_node_207 | 0.4 | n |  | TRUE
65 | bus_LV_5675-2_1_7_node_211 | 0.4 | n |  | TRUE
66 | bus_LV_5675-2_1_7_node_208 | 0.4 | n |  | TRUE
67 | bus_LV_5675-2_1_7_node_215 | 0.4 | n |  | TRUE
68 | bus_LV_5675-2_1_7_node_213 | 0.4 | n |  | TRUE
69 | bus_LV_5675-2_1_7_node_218 | 0.4 | n |  | TRUE
70 | bus_LV_5675-2_1_7_node_217 | 0.4 | n |  | TRUE
71 | bus_LV_5675-2_1_7_node_160 | 0.4 | n |  | TRUE
72 | bus_LV_5675-2_1_7_node_161 | 0.4 | n |  | TRUE
73 | bus_LV_5675-2_1_7_node_162 | 0.4 | n |  | TRUE
74 | bus_LV_5675-2_1_7_node_163 | 0.4 | n |  | TRUE
75 | bus_LV_5675-2_1_7_node_164 | 0.4 | n |  | TRUE
76 | bus_LV_5675-2_1_7_node_191 | 0.4 | n |  | TRUE
77 | bus_LV_5675-2_1_7_node_176 | 0.4 | n |  | TRUE
78 | bus_LV_5675-2_1_7_node_181 | 0.4 | n |  | TRUE
79 | bus_LV_5675-2_1_7_node_177 | 0.4 | n |  | TRUE
80 | bus_LV_5675-2_1_7_node_165 | 0.4 | n |  | TRUE
81 | bus_LV_5675-2_1_7_node_166 | 0.4 | n |  | TRUE
82 | bus_LV_5675-2_1_7_node_167 | 0.4 | n |  | TRUE
83 | bus_LV_5675-2_1_7_node_168 | 0.4 | n |  | TRUE
84 | bus_LV_5675-2_1_7_node_169 | 0.4 | n |  | TRUE
85 | bus_LV_5675-2_1_7_node_187 | 0.4 | n |  | TRUE
86 | bus_LV_5675-2_1_7_node_171 | 0.4 | n |  | TRUE
87 | bus_LV_5675-2_1_7_node_170 | 0.4 | n |  | TRUE
88 | bus_LV_5675-2_1_7_node_193 | 0.4 | n |  | TRUE
89 | bus_LV_5675-2_1_7_node_203 | 0.4 | n |  | TRUE
90 | bus_LV_5675-2_1_7_node_200 | 0.4 | n |  | TRUE
91 | bus_LV_5675-2_1_7_node_198 | 0.4 | n |  | TRUE
92 | bus_LV_5675-2_1_7_node_188 | 0.4 | n |  | TRUE
93 | bus_LV_5675-2_1_7_node_192 | 0.4 | n |  | TRUE
94 | bus_LV_5675-2_1_7_node_190 | 0.4 | n |  | TRUE
95 | bus_LV_5675-2_1_7_node_199 | 0.4 | n |  | TRUE
96 | bus_LV_5675-2_1_7_node_224 | 0.4 | n |  | TRUE
97 | bus_LV_5675-2_1_7_node_178 | 0.4 | n |  | TRUE
98 | bus_LV_5675-2_1_7_node_179 | 0.4 | n |  | TRUE
99 | bus_LV_5675-2_1_7_node_180 | 0.4 | n |  | TRUE
100 | bus_LV_5675-2_1_7_node_182 | 0.4 | n |  | TRUE
101 | bus_LV_5675-2_1_7_node_195 | 0.4 | n |  | TRUE
102 | bus_LV_5675-2_1_7_node_194 | 0.4 | n |  | TRUE
103 | bus_LV_5675-2_1_7_node_186 | 0.4 | n |  | TRUE
104 | bus_LV_5675-2_1_7_node_189 | 0.4 | n |  | TRUE
105 | bus_LV_5675-2_1_7_node_197 | 0.4 | n |  | TRUE
106 | bus_LV_5675-2_1_7_node_196 | 0.4 | n |  | TRUE
107 | bus_LV_5675-2_1_7_node_216 | 0.4 | n |  | TRUE
108 | bus_LV_5675-2_1_7_node_212 | 0.4 | n |  | TRUE
109 | bus_LV_5675-2_1_7_node_214 | 0.4 | n |  | TRUE
110 | bus_MV_367_2_node_235 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5675-2_1_7_load_7 | 0 | 0.0061602 | 0.0015439 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5675-2_1_7_load_8 | 1 | 0.0018113 | 0.00045394 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5675-2_1_7_load_11 | 3 | 0.001524 | 0.00038195 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5675-2_1_7_load_12 | 4 | 0.0059446 | 0.0014899 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5675-2_1_7_load_65 | 9 | 0.001472 | 0.00036892 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5675-2_1_7_load_40 | 11 | 0.0041752 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5675-2_1_7_load_39 | 12 | 0.0064839 | 0.001625 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5675-2_1_7_load_24 | 13 | 0.00043203 | 0.00010828 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5675-2_1_7_load_25 | 14 | 0.0026792 | 0.00067148 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5675-2_1_7_load_22 | 15 | 0.00029628 | 7.4255e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5675-2_1_7_load_68 | 16 | 0.0033039 | 0.00082805 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5675-2_1_7_load_63 | 18 | 0.0012208 | 0.00030596 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5675-2_1_7_load_61 | 19 | 0.0031844 | 0.00079808 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5675-2_1_7_load_16 | 20 | 0.00063775 | 0.00015984 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5675-2_1_7_load_18 | 22 | 0.00030345 | 7.6051e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5675-2_1_7_load_49 | 24 | 0.00064325 | 0.00016121 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5675-2_1_7_load_21 | 26 | 0.00087368 | 0.00021896 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5675-2_1_7_load_28 | 27 | 0.00012202 | 3.058e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5675-2_1_7_load_33 | 28 | 0.0011308 | 0.00028341 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5675-2_1_7_load_26 | 29 | 0.00082362 | 0.00020642 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5675-2_1_7_load_32 | 30 | 0.00055762 | 0.00013975 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5675-2_1_7_load_27 | 31 | 0.0017179 | 0.00043055 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5675-2_1_7_load_42 | 33 | 0.0015343 | 0.00038452 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5675-2_1_7_load_43 | 34 | 0.0035944 | 0.00090084 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5675-2_1_7_load_29 | 35 | 0.0025158 | 0.00063053 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5675-2_1_7_load_30 | 36 | 0.00056118 | 0.00014064 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5675-2_1_7_load_31 | 37 | 0.00057474 | 0.00014404 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5675-2_1_7_load_34 | 38 | 0.0029937 | 0.0007503 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5675-2_1_7_load_35 | 39 | 0.0021054 | 0.00052765 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5675-2_1_7_load_36 | 40 | 0.0018802 | 0.00047122 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5675-2_1_7_load_37 | 41 | 0.0012116 | 0.00030366 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5675-2_1_7_load_50 | 42 | 0.0013272 | 0.00033264 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5675-2_1_7_load_52 | 43 | 0.00032344 | 8.1061e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5675-2_1_7_load_51 | 44 | 0.00019712 | 4.9404e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5675-2_1_7_load_44 | 45 | 0.0053758 | 0.0013473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5675-2_1_7_load_45 | 46 | 0.0038609 | 0.00096764 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5675-2_1_7_load_46 | 47 | 0.0011422 | 0.00028627 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5675-2_1_7_load_47 | 48 | 0.00098553 | 0.000247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5675-2_1_7_load_48 | 49 | 0.00067705 | 0.00016969 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5675-2_1_7_load_66 | 51 | 0.0011876 | 0.00029764 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5675-2_1_7_load_62 | 52 | 0.00094443 | 0.0002367 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5675-2_1_7_load_58 | 53 | 0.0014956 | 0.00037484 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5675-2_1_7_load_53 | 55 | 0.00041113 | 0.00010304 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5675-2_1_7_load_54 | 56 | 0.0016797 | 0.00042097 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5675-2_1_7_load_55 | 57 | 0.0021452 | 0.00053765 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5675-2_1_7_load_56 | 58 | 0.00019011 | 4.7647e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5675-2_1_7_load_59 | 59 | 0.0015053 | 0.00037726 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5675-2_1_7_load_204 | 60 | 0.0009108 | 0.00022827 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5675-2_1_7_load_209 | 62 | 0.00085134 | 0.00021336 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5675-2_1_7_load_210 | 63 | 0.0010099 | 0.00025311 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5675-2_1_7_load_207 | 64 | 0.0030236 | 0.00075779 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5675-2_1_7_load_211 | 65 | 0.00063732 | 0.00015973 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5675-2_1_7_load_213 | 68 | 0.00086369 | 0.00021646 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5675-2_1_7_load_217 | 70 | 0.0035173 | 0.00088152 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5675-2_1_7_load_160 | 71 | 0.0019398 | 0.00048616 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5675-2_1_7_load_161 | 72 | 0.00012335 | 3.0915e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5675-2_1_7_load_163 | 74 | 0.00020914 | 5.2416e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5675-2_1_7_load_164 | 75 | 0.00059294 | 0.0001486 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5675-2_1_7_load_191 | 76 | 0.0011851 | 0.00029703 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5675-2_1_7_load_181 | 78 | 0.00085665 | 0.0002147 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5675-2_1_7_load_165 | 80 | 0.0027901 | 0.00069926 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5675-2_1_7_load_166 | 81 | 0.0024822 | 0.00062209 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5675-2_1_7_load_168 | 83 | 0.0034065 | 0.00085375 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5675-2_1_7_load_169 | 84 | 0.001117 | 0.00027995 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5675-2_1_7_load_187 | 85 | 0.00096606 | 0.00024212 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5675-2_1_7_load_203 | 89 | 0.00060379 | 0.00015132 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5675-2_1_7_load_200 | 90 | 0.00064697 | 0.00016215 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5675-2_1_7_load_198 | 91 | 0.0016041 | 0.00040202 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5675-2_1_7_load_192 | 93 | 0.00037997 | 9.523e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5675-2_1_7_load_224 | 96 | 0.0009603 | 0.00024067 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5675-2_1_7_load_178 | 97 | 0.0025312 | 0.00063438 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5675-2_1_7_load_179 | 98 | 0.00046257 | 0.00011593 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5675-2_1_7_load_180 | 99 | 0.00083075 | 0.0002082 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5675-2_1_7_load_182 | 100 | 0.0009162 | 0.00022962 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5675-2_1_7_load_195 | 101 | 0.0018574 | 0.0004655 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5675-2_1_7_load_194 | 102 | 0.00025305 | 6.3421e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5675-2_1_7_load_186 | 103 | 0.00016272 | 4.0782e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5675-2_1_7_load_189 | 104 | 0.0014026 | 0.00035153 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5675-2_1_7_load_197 | 105 | 0.0018458 | 0.00046261 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5675-2_1_7_load_216 | 107 | 0.0022275 | 0.00055826 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5675-2_1_7_load_212 | 108 | 0.0013573 | 0.00034018 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5675-2_1_7_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5675-2_1_7_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5675-2_1_7_line_2 | NAYY 4x150 SE | 2 | 3 | 0.020113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5675-2_1_7_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5675-2_1_7_line_4 | NAYY 4x150 SE | 3 | 5 | 0.036247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5675-2_1_7_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5675-2_1_7_line_6 | NAYY 4x150 SE | 5 | 12 | 0.018885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5675-2_1_7_line_7 | NAYY 4x150 SE | 5 | 11 | 0.0096116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_5675-2_1_7_line_8 | NAYY 4x150 SE | 6 | 13 | 0.026206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_5675-2_1_7_line_9 | NAYY 4x150 SE | 6 | 14 | 0.025721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5675-2_1_7_line_10 | NAYY 4x150 SE | 6 | 15 | 0.03546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5675-2_1_7_line_11 | NAYY 4x150 SE | 7 | 8 | 0.033787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5675-2_1_7_line_12 | NAYY 4x150 SE | 7 | 9 | 0.016317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5675-2_1_7_line_13 | NAYY 4x150 SE | 8 | 18 | 0.044832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5675-2_1_7_line_14 | NAYY 4x150 SE | 8 | 10 | 0.00403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_5675-2_1_7_line_15 | NAYY 4x150 SE | 9 | 19 | 0.024015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_5675-2_1_7_line_16 | NAYY 4x150 SE | 10 | 11 | 0.01116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5675-2_1_7_line_17 | NAYY 4x150 SE | 12 | 34 | 0.033012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5675-2_1_7_line_18 | NAYY 4x150 SE | 13 | 31 | 0.02715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5675-2_1_7_line_19 | NAYY 4x150 SE | 16 | 17 | 0.010564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5675-2_1_7_line_20 | NAYY 4x150 SE | 17 | 52 | 0.025447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5675-2_1_7_line_21 | NAYY 4x150 SE | 18 | 42 | 0.0079602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5675-2_1_7_line_22 | NAYY 4x150 SE | 19 | 59 | 0.0076028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_5675-2_1_7_line_23 | NAYY 4x150 SE | 20 | 21 | 0.038559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5675-2_1_7_line_24 | NAYY 4x150 SE | 21 | 22 | 0.042677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5675-2_1_7_line_25 | NAYY 4x150 SE | 21 | 23 | 0.021189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5675-2_1_7_line_26 | NAYY 4x150 SE | 22 | 24 | 0.034418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5675-2_1_7_line_27 | NAYY 4x150 SE | 23 | 27 | 0.023267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5675-2_1_7_line_28 | NAYY 4x150 SE | 23 | 28 | 0.022107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5675-2_1_7_line_29 | NAYY 4x150 SE | 23 | 25 | 0.060201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5675-2_1_7_line_30 | NAYY 4x150 SE | 25 | 26 | 0.097514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5675-2_1_7_line_31 | NAYY 4x150 SE | 27 | 29 | 0.014455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5675-2_1_7_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0011315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5675-2_1_7_line_33 | NAYY 4x150 SE | 29 | 31 | 0.019678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5675-2_1_7_line_34 | NAYY 4x150 SE | 30 | 36 | 0.057304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5675-2_1_7_line_35 | NAYY 4x150 SE | 32 | 33 | 0.019788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5675-2_1_7_line_36 | NAYY 4x150 SE | 32 | 34 | 0.018412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5675-2_1_7_line_37 | NAYY 4x150 SE | 33 | 43 | 0.02377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5675-2_1_7_line_38 | NAYY 4x150 SE | 35 | 36 | 0.015046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5675-2_1_7_line_39 | NAYY 4x150 SE | 35 | 37 | 0.032121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5675-2_1_7_line_40 | NAYY 4x150 SE | 38 | 39 | 0.028679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5675-2_1_7_line_41 | NAYY 4x150 SE | 38 | 40 | 0.015135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5675-2_1_7_line_42 | NAYY 4x150 SE | 40 | 41 | 0.032613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5675-2_1_7_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0083739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5675-2_1_7_line_44 | NAYY 4x150 SE | 43 | 44 | 0.010007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5675-2_1_7_line_45 | NAYY 4x150 SE | 44 | 55 | 0.024049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5675-2_1_7_line_46 | NAYY 4x150 SE | 45 | 46 | 0.066904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_5675-2_1_7_line_47 | NAYY 4x150 SE | 45 | 47 | 0.039342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_5675-2_1_7_line_48 | NAYY 4x150 SE | 46 | 48 | 0.019678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_5675-2_1_7_line_49 | NAYY 4x150 SE | 47 | 49 | 0.017644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_5675-2_1_7_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0027964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5675-2_1_7_line_51 | NAYY 4x150 SE | 49 | 51 | 0.05775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_5675-2_1_7_line_52 | NAYY 4x150 SE | 50 | 52 | 0.024741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5675-2_1_7_line_53 | NAYY 4x150 SE | 50 | 53 | 0.0061121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_5675-2_1_7_line_54 | NAYY 4x150 SE | 51 | 54 | 0.22451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_5675-2_1_7_line_55 | NAYY 4x150 SE | 53 | 59 | 0.0099718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_5675-2_1_7_line_56 | NAYY 4x150 SE | 54 | 60 | 0.044693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_5675-2_1_7_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0037914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5675-2_1_7_line_58 | NAYY 4x150 SE | 56 | 57 | 0.024773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5675-2_1_7_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0088953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5675-2_1_7_line_60 | NAYY 4x150 SE | 60 | 61 | 0.024195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_5675-2_1_7_line_61 | NAYY 4x150 SE | 61 | 62 | 0.025533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5675-2_1_7_line_62 | NAYY 4x150 SE | 61 | 63 | 0.02073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_5675-2_1_7_line_63 | NAYY 4x150 SE | 62 | 65 | 0.0075922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5675-2_1_7_line_64 | NAYY 4x150 SE | 63 | 66 | 0.040122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_5675-2_1_7_line_65 | NAYY 4x150 SE | 64 | 65 | 0.011481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5675-2_1_7_line_66 | NAYY 4x150 SE | 66 | 67 | 0.38841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_5675-2_1_7_line_67 | NAYY 4x150 SE | 67 | 69 | 0.056182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_5675-2_1_7_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0080014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5675-2_1_7_line_69 | NAYY 4x150 SE | 69 | 70 | 0.016148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_5675-2_1_7_line_70 | NAYY 4x150 SE | 70 | 107 | 0.024843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_5675-2_1_7_line_71 | NAYY 4x150 SE | 71 | 72 | 0.021784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5675-2_1_7_line_72 | NAYY 4x150 SE | 71 | 73 | 0.012533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5675-2_1_7_line_73 | NAYY 4x150 SE | 72 | 74 | 0.012253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5675-2_1_7_line_74 | NAYY 4x150 SE | 73 | 75 | 0.024194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5675-2_1_7_line_75 | NAYY 4x150 SE | 74 | 76 | 0.0074944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5675-2_1_7_line_76 | NAYY 4x150 SE | 75 | 77 | 0.0093552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5675-2_1_7_line_77 | NAYY 4x150 SE | 76 | 78 | 0.00087641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5675-2_1_7_line_78 | NAYY 4x150 SE | 77 | 79 | 0.094561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5675-2_1_7_line_79 | NAYY 4x150 SE | 78 | 98 | 0.032674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5675-2_1_7_line_80 | NAYY 4x150 SE | 79 | 96 | 0.035017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5675-2_1_7_line_81 | NAYY 4x150 SE | 80 | 81 | 0.029628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_5675-2_1_7_line_82 | NAYY 4x150 SE | 80 | 82 | 0.036618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_5675-2_1_7_line_83 | NAYY 4x150 SE | 81 | 83 | 0.017113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5675-2_1_7_line_84 | NAYY 4x150 SE | 82 | 84 | 0.020109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_5675-2_1_7_line_85 | NAYY 4x150 SE | 83 | 85 | 0.01248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5675-2_1_7_line_86 | NAYY 4x150 SE | 84 | 86 | 0.018314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_5675-2_1_7_line_87 | NAYY 4x150 SE | 85 | 92 | 0.0091666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5675-2_1_7_line_88 | NAYY 4x150 SE | 86 | 90 | 0.07023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5675-2_1_7_line_89 | NAYY 4x150 SE | 86 | 91 | 0.051581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_5675-2_1_7_line_90 | NAYY 4x150 SE | 87 | 88 | 0.005023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5675-2_1_7_line_91 | NAYY 4x150 SE | 87 | 89 | 0.069488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5675-2_1_7_line_92 | NAYY 4x150 SE | 88 | 93 | 0.11336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5675-2_1_7_line_93 | NAYY 4x150 SE | 89 | 94 | 0.015801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5675-2_1_7_line_94 | NAYY 4x150 SE | 91 | 95 | 0.14918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_5675-2_1_7_line_95 | NAYY 4x150 SE | 92 | 104 | 0.010681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5675-2_1_7_line_96 | NAYY 4x150 SE | 92 | 94 | 0.018011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5675-2_1_7_line_97 | NAYY 4x150 SE | 93 | 103 | 0.011233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5675-2_1_7_line_98 | NAYY 4x150 SE | 95 | 107 | 0.5563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_5675-2_1_7_line_99 | NAYY 4x150 SE | 97 | 98 | 0.0071917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5675-2_1_7_line_100 | NAYY 4x150 SE | 97 | 99 | 0.0047103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5675-2_1_7_line_101 | NAYY 4x150 SE | 99 | 100 | 0.0053184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5675-2_1_7_line_102 | NAYY 4x150 SE | 100 | 101 | 0.011763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5675-2_1_7_line_103 | NAYY 4x150 SE | 101 | 102 | 4.8121e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5675-2_1_7_line_104 | NAYY 4x150 SE | 102 | 106 | 0.021735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5675-2_1_7_line_105 | NAYY 4x150 SE | 104 | 105 | 0.010057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5675-2_1_7_line_106 | NAYY 4x150 SE | 105 | 106 | 0.012097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5675-2_1_7_line_107 | NAYY 4x150 SE | 107 | 109 | 0.046499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5675-2_1_7_line_108 | NAYY 4x150 SE | 108 | 109 | 0.013918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5675-2_1_7_trafo_208 | 0.25 MVA 20/0.4 kV | 110 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2554282.0946 | 1173453.22 | 2554277.3037 | 1173444.676 | 2554273.5124 | 1173437.9031
1 | 2554288.5138 | 1173464.6678 | 2554282.0946 | 1173453.22
2 | 2554288.5138 | 1173464.6678 | 2554271.4974 | 1173475.3905
3 | 2554288.5138 | 1173464.6678 | 2554300.2463 | 1173472.555
4 | 2554238.9669 | 1173491.3159 | 2554267.9585 | 1173477.6205 | 2554271.4974 | 1173475.3905
5 | 2554314.9701 | 1173482.4531 | 2554300.2463 | 1173472.555
6 | 2554238.9669 | 1173491.3159 | 2554241.791 | 1173494.6405 | 2554251.0982 | 1173505.7891
7 | 2554238.9669 | 1173491.3159 | 2554232.7856 | 1173483.9556
8 | 2554314.9701 | 1173482.4531 | 2554318.4415 | 1173484.4166 | 2554339.4903 | 1173491.5278
9 | 2554314.9701 | 1173482.4531 | 2554303.2846 | 1173505.3659
10 | 2554314.9701 | 1173482.4531 | 2554317.3745 | 1173471.8625 | 2554319.1749 | 1173447.329
11 | 2554192.7645 | 1173494.304 | 2554199.2581 | 1173490.4968 | 2554217.3265 | 1173480.3421 | 2554222.0598 | 1173477.3377
12 | 2554192.7645 | 1173494.304 | 2554201.7154 | 1173507.9467
13 | 2554222.0598 | 1173477.3377 | 2554233.0782 | 1173507.236 | 2554240.0875 | 1173518.147
14 | 2554225.6085 | 1173475.4095 | 2554222.0598 | 1173477.3377
15 | 2554201.7154 | 1173507.9467 | 2554214.8892 | 1173528.026
16 | 2554225.6085 | 1173475.4095 | 2554232.7856 | 1173483.9556
17 | 2554271.806 | 1173531.4505 | 2554270.1222 | 1173528.6089 | 2554259.6725 | 1173516.0598 | 2554251.0982 | 1173505.7891
18 | 2554365.1806 | 1173500.3086 | 2554358.7296 | 1173498.0278 | 2554339.4903 | 1173491.5278
19 | 2554179.879 | 1173543.1842 | 2554180.0735 | 1173532.6215
20 | 2554179.879 | 1173543.1842 | 2554186.9061 | 1173544.1421 | 2554196.1301 | 1173545.3944 | 2554204.5477 | 1173548.7067
21 | 2554244.3899 | 1173524.8443 | 2554240.0875 | 1173518.147
22 | 2554219.0598 | 1173534.3828 | 2554214.8892 | 1173528.026
23 | 2554426.0514 | 1173536.0687 | 2554448.0004 | 1173545.4622 | 2554458.1215 | 1173556.1014
24 | 2554426.0514 | 1173536.0687 | 2554423.3677 | 1173545.1495 | 2554415.5273 | 1173555.8704 | 2554401.8606 | 1173570.3706
25 | 2554426.0514 | 1173536.0687 | 2554427.616 | 1173524.6173 | 2554418.7476 | 1173520.8606
26 | 2554376.6801 | 1173593.7753 | 2554393.6281 | 1173579.1051 | 2554401.8606 | 1173570.3706
27 | 2554418.7476 | 1173520.8606 | 2554397.3194 | 1173511.7954
28 | 2554418.7476 | 1173520.8606 | 2554423.3679 | 1173505.0059 | 2554427.2484 | 1173500.9778
29 | 2554418.7476 | 1173520.8606 | 2554427.616 | 1173524.6173 | 2554457.12 | 1173540.0344 | 2554467.8027 | 1173547.0903 | 2554471.394 | 1173549.7644
30 | 2554471.394 | 1173549.7644 | 2554504.5788 | 1173527.3336 | 2554476.2199 | 1173491.5523 | 2554485.4584 | 1173484.2063
31 | 2554383.7332 | 1173506.8682 | 2554395.5412 | 1173511.0431 | 2554397.3194 | 1173511.7954
32 | 2554427.2484 | 1173500.9778 | 2554428.0334 | 1173500.1629
33 | 2554383.7332 | 1173506.8682 | 2554365.1806 | 1173500.3086
34 | 2554428.0334 | 1173500.1629 | 2554443.0787 | 1173484.545 | 2554427.2523 | 1173463.7988 | 2554425.8146 | 1173454.3831
35 | 2554281.1921 | 1173547.2899 | 2554289.3571 | 1173562.0799 | 2554291.1221 | 1173564.3726
36 | 2554281.1921 | 1173547.2899 | 2554271.806 | 1173531.4505
37 | 2554305.6215 | 1173583.2078 | 2554291.1221 | 1173564.3726
38 | 2554428.0771 | 1173441.3422 | 2554424.2664 | 1173444.2445 | 2554425.8146 | 1173454.3831
39 | 2554428.0771 | 1173441.3422 | 2554453.6304 | 1173421.8802
40 | 2554275.9678 | 1173571.2345 | 2554284.8504 | 1173584.7374 | 2554292.7889 | 1173594.4142
41 | 2554275.9678 | 1173571.2345 | 2554267.65 | 1173558.5902
42 | 2554267.65 | 1173558.5902 | 2554265.6404 | 1173555.5352 | 2554249.1347 | 1173531.7436
43 | 2554244.3899 | 1173524.8443 | 2554244.911 | 1173525.6554 | 2554249.1347 | 1173531.7436
44 | 2554311.726 | 1173591.1377 | 2554305.6215 | 1173583.2078
45 | 2554311.726 | 1173591.1377 | 2554326.3958 | 1173610.1943
46 | 2554278.4679 | 1173621.5146 | 2554257.8438 | 1173591.9697 | 2554240.5051 | 1173566.426
47 | 2554300.7041 | 1173653.9686 | 2554287.3929 | 1173634.3 | 2554278.4679 | 1173621.5146
48 | 2554229.4534 | 1173550.1444 | 2554240.5051 | 1173566.426
49 | 2554310.5935 | 1173668.5811 | 2554300.7041 | 1173653.9686
50 | 2554227.8829 | 1173547.8307 | 2554229.4534 | 1173550.1444
51 | 2554310.5935 | 1173668.5811 | 2554322.7522 | 1173686.5469 | 2554342.9619 | 1173716.4079
52 | 2554227.8829 | 1173547.8307 | 2554219.7092 | 1173551.9287 | 2554209.0999 | 1173550.4979 | 2554204.5477 | 1173548.7067
53 | 2554227.8829 | 1173547.8307 | 2554224.53 | 1173542.7203
54 | 2554342.9619 | 1173716.4079 | 2554176.9099 | 1173867.5019
55 | 2554224.53 | 1173542.7203 | 2554219.0598 | 1173534.3828
56 | 2554176.9099 | 1173867.5019 | 2554191.4491 | 1173891.9259 | 2554203.1127 | 1173903.2682
57 | 2554326.3958 | 1173610.1943 | 2554328.7085 | 1173613.1986
58 | 2554344.092 | 1173632.6088 | 2554339.52 | 1173627.243 | 2554328.7085 | 1173613.1986
59 | 2554344.092 | 1173632.6088 | 2554349.8611 | 1173639.3795
60 | 2554221.7718 | 1173918.5638 | 2554210.7544 | 1173910.6994 | 2554203.1127 | 1173903.2682
61 | 2554221.7718 | 1173918.5638 | 2554232.4798 | 1173917.9816 | 2554245.3693 | 1173910.6903
62 | 2554221.7718 | 1173918.5638 | 2554227.7944 | 1173924.2207 | 2554228.4193 | 1173924.9386 | 2554236.0267 | 1173933.5839
63 | 2554245.3693 | 1173910.6903 | 2554247.3268 | 1173905.7061 | 2554245.7299 | 1173904.1391
64 | 2554253.5602 | 1173968.9366 | 2554250.3547 | 1173955.7096 | 2554242.1104 | 1173940.4978 | 2554236.0267 | 1173933.5839
65 | 2554237.5349 | 1173896.098 | 2554237.5349 | 1173896.098 | 2554245.7299 | 1173904.1391
66 | 2554253.5602 | 1173968.9366 | 2554042.4428 | 1174294.9603
67 | 2554042.4428 | 1174294.9603 | 2554040.664 | 1174304.2678 | 2554039.4417 | 1174325.3106 | 2554039.9748 | 1174350.9202
68 | 2554042.4428 | 1174294.9603 | 2554036.5916 | 1174300.4179
69 | 2554039.9748 | 1174350.9202 | 2554032.4389 | 1174365.2022
70 | 2554016.8098 | 1174382.7504 | 2554018.7212 | 1174382.9782 | 2554026.2517 | 1174376.9283 | 2554032.4389 | 1174365.2022
71 | 2554586.3013 | 1175208.9188 | 2554576.6005 | 1175201.0675 | 2554569.3012 | 1175195.298
72 | 2554595.5069 | 1175217.3439 | 2554593.1073 | 1175214.4272 | 2554586.3013 | 1175208.9188
73 | 2554559.6883 | 1175187.6998 | 2554559.6883 | 1175187.6998 | 2554569.3012 | 1175195.298
74 | 2554595.5069 | 1175217.3439 | 2554600.1439 | 1175222.9562 | 2554609.2726 | 1175237.1946
75 | 2554559.6883 | 1175187.6998 | 2554553.0301 | 1175184.2597
76 | 2554617.7274 | 1175241.1993 | 2554609.2726 | 1175237.1946
77 | 2554553.0301 | 1175184.2597 | 2554552.2515 | 1175183.8574
78 | 2554617.7274 | 1175241.1993 | 2554617.9528 | 1175245.7222 | 2554617.9931 | 1175251.0358 | 2554616.3961 | 1175257.1734 | 2554611.1146 | 1175263.3501 | 2554605.8038 | 1175266.6588 | 2554598.4272 | 1175266.7148 | 2554586.5019 | 1175262.7142 | 2554575.4022 | 1175258.7185 | 2554563.0733 | 1175255.9439 | 2554554.0626 | 1175257.2463 | 2554548.3901 | 1175266.2831
79 | 2554552.2515 | 1175183.8574 | 2554537.8689 | 1175176.4261 | 2554522.5486 | 1175170.3398
80 | 2554548.3901 | 1175266.2831 | 2554550.3549 | 1175255.2289 | 2554548.6445 | 1175245.4256 | 2554545.3092 | 1175238.0914 | 2554541.1733 | 1175234.0429
81 | 2554396.8481 | 1175092.7233 | 2554402.3292 | 1175095.2802 | 2554423.0215 | 1175106.5866
82 | 2554363.1293 | 1175078.5922 | 2554374.7557 | 1175082.4168 | 2554396.8481 | 1175092.7233
83 | 2554435.8328 | 1175117.8706 | 2554433.235 | 1175115.0777 | 2554423.7396 | 1175106.979 | 2554423.0215 | 1175106.5866
84 | 2554363.1293 | 1175078.5922 | 2554349.4298 | 1175063.8721
85 | 2554443.8842 | 1175127.3623 | 2554441.9218 | 1175124.4166 | 2554435.8328 | 1175117.8706
86 | 2554336.9528 | 1175050.4657 | 2554349.4298 | 1175063.8721
87 | 2554448.9666 | 1175134.9909 | 2554443.8842 | 1175127.3623
88 | 2554336.9528 | 1175050.4657 | 2554330.0151 | 1175048.9622 | 2554292.7102 | 1175065.2445 | 2554281.3532 | 1175066.6653 | 2554271.2863 | 1175061.8507
89 | 2554336.9528 | 1175050.4657 | 2554322.0676 | 1175020.3298 | 2554308.579 | 1175008.4576
90 | 2554359.6785 | 1175165.3982 | 2554358.2428 | 1175160.5844
91 | 2554358.2428 | 1175160.5844 | 2554370.8051 | 1175156.8422 | 2554384.7265 | 1175153.8789 | 2554406.8689 | 1175153.2989 | 2554426.7593 | 1175151.2382
92 | 2554359.6785 | 1175165.3982 | 2554263.259 | 1175225.0053
93 | 2554442.5354 | 1175151.8043 | 2554428.1808 | 1175151.091 | 2554426.7593 | 1175151.2382
94 | 2554197.4895 | 1174908.8887 | 2554285.8163 | 1174988.4228 | 2554308.579 | 1175008.4576
95 | 2554448.9666 | 1175134.9909 | 2554457.9339 | 1175140.794
96 | 2554442.5354 | 1175151.8043 | 2554446.9647 | 1175141.1427 | 2554448.9666 | 1175134.9909
97 | 2554263.259 | 1175225.0053 | 2554253.7044 | 1175230.912
98 | 2554197.4895 | 1174908.8887 | 2554016.8098 | 1174382.7504
99 | 2554515.865 | 1175167.6847 | 2554522.5486 | 1175170.3398
100 | 2554515.865 | 1175167.6847 | 2554515.6551 | 1175167.6013 | 2554511.4151 | 1175166.1409
101 | 2554506.3867 | 1175164.4089 | 2554511.4151 | 1175166.1409
102 | 2554495.2485 | 1175160.6321 | 2554495.9182 | 1175160.8032 | 2554506.3867 | 1175164.4089
103 | 2554495.2485 | 1175160.6321 | 2554495.2018 | 1175160.6202
104 | 2554474.142 | 1175155.2435 | 2554479.6416 | 1175156.6469 | 2554495.2018 | 1175160.6202
105 | 2554466.3771 | 1175146.258 | 2554457.9339 | 1175140.794
106 | 2554474.142 | 1175155.2435 | 2554469.579 | 1175148.3301 | 2554466.3771 | 1175146.258
107 | 2553974.5779 | 1174367.4646 | 2553992.3994 | 1174380.3012 | 2554006.4539 | 1174381.5161 | 2554016.8098 | 1174382.7504
108 | 2553974.5779 | 1174367.4646 | 2553983.2975 | 1174356.6172

## bus_geodata
| x | y | coords
0 | 2554282.0946 | 1173453.22
1 | 2554273.5124 | 1173437.9031
2 | 2554288.5138 | 1173464.6678
3 | 2554271.4974 | 1173475.3905
4 | 2554300.2463 | 1173472.555
5 | 2554238.9669 | 1173491.3159
6 | 2554314.9701 | 1173482.4531
7 | 2554192.7645 | 1173494.304
8 | 2554222.0598 | 1173477.3377
9 | 2554201.7153 | 1173507.9467
10 | 2554225.6085 | 1173475.4095
11 | 2554232.7856 | 1173483.9556
12 | 2554251.0982 | 1173505.7891
13 | 2554339.4903 | 1173491.5278
14 | 2554303.2846 | 1173505.3659
15 | 2554319.1749 | 1173447.329
16 | 2554180.0735 | 1173532.6215
17 | 2554179.879 | 1173543.1842
18 | 2554240.0875 | 1173518.147
19 | 2554214.8892 | 1173528.026
20 | 2554458.1215 | 1173556.1014
21 | 2554426.0514 | 1173536.0687
22 | 2554401.8606 | 1173570.3706
23 | 2554418.7476 | 1173520.8606
24 | 2554376.6801 | 1173593.7753
25 | 2554471.394 | 1173549.7644
26 | 2554485.4584 | 1173484.2063
27 | 2554397.3194 | 1173511.7954
28 | 2554427.2484 | 1173500.9778
29 | 2554383.7332 | 1173506.8682
30 | 2554428.0334 | 1173500.1629
31 | 2554365.1806 | 1173500.3086
32 | 2554281.1921 | 1173547.2899
33 | 2554291.1221 | 1173564.3726
34 | 2554271.806 | 1173531.4505
35 | 2554428.0771 | 1173441.3422
36 | 2554425.8146 | 1173454.3831
37 | 2554453.6304 | 1173421.8802
38 | 2554275.9678 | 1173571.2345
39 | 2554292.7889 | 1173594.4142
40 | 2554267.65 | 1173558.5902
41 | 2554249.1347 | 1173531.7436
42 | 2554244.3899 | 1173524.8443
43 | 2554305.6215 | 1173583.2078
44 | 2554311.726 | 1173591.1377
45 | 2554278.4679 | 1173621.5146
46 | 2554240.5051 | 1173566.426
47 | 2554300.7041 | 1173653.9686
48 | 2554229.4534 | 1173550.1444
49 | 2554310.5935 | 1173668.5811
50 | 2554227.8829 | 1173547.8307
51 | 2554342.9619 | 1173716.4079
52 | 2554204.5477 | 1173548.7067
53 | 2554224.53 | 1173542.7203
54 | 2554176.9099 | 1173867.5019
55 | 2554326.3958 | 1173610.1943
56 | 2554328.7085 | 1173613.1986
57 | 2554344.092 | 1173632.6088
58 | 2554349.8611 | 1173639.3795
59 | 2554219.0598 | 1173534.3828
60 | 2554203.1127 | 1173903.2682
61 | 2554221.7718 | 1173918.5638
62 | 2554245.3693 | 1173910.6903
63 | 2554236.0267 | 1173933.5839
64 | 2554237.5349 | 1173896.098
65 | 2554245.7299 | 1173904.1391
66 | 2554253.5602 | 1173968.9366
67 | 2554042.4428 | 1174294.9603
68 | 2554036.5916 | 1174300.4179
69 | 2554039.9748 | 1174350.9202
70 | 2554032.4389 | 1174365.2022
71 | 2554586.3013 | 1175208.9188
72 | 2554569.3012 | 1175195.298
73 | 2554595.5069 | 1175217.3439
74 | 2554559.6883 | 1175187.6998
75 | 2554609.2726 | 1175237.1946
76 | 2554553.0301 | 1175184.2597
77 | 2554617.7274 | 1175241.1993
78 | 2554552.2515 | 1175183.8574
79 | 2554548.3901 | 1175266.2831
80 | 2554396.8481 | 1175092.7233
81 | 2554423.0215 | 1175106.5866
82 | 2554363.1293 | 1175078.5922
83 | 2554435.8328 | 1175117.8706
84 | 2554349.4298 | 1175063.8721
85 | 2554443.8842 | 1175127.3623
86 | 2554336.9528 | 1175050.4657
87 | 2554358.2428 | 1175160.5844
88 | 2554359.6785 | 1175165.3982
89 | 2554426.7593 | 1175151.2382
90 | 2554271.2863 | 1175061.8507
91 | 2554308.579 | 1175008.4576
92 | 2554448.9666 | 1175134.9909
93 | 2554263.259 | 1175225.0053
94 | 2554442.5354 | 1175151.8043
95 | 2554197.4895 | 1174908.8887
96 | 2554541.1733 | 1175234.0429
97 | 2554515.865 | 1175167.6847
98 | 2554522.5486 | 1175170.3398
99 | 2554511.4151 | 1175166.1409
100 | 2554506.3867 | 1175164.4089
101 | 2554495.2485 | 1175160.6321
102 | 2554495.2018 | 1175160.6202
103 | 2554253.7044 | 1175230.912
104 | 2554457.9339 | 1175140.794
105 | 2554466.3771 | 1175146.258
106 | 2554474.142 | 1175155.2435
107 | 2554016.8098 | 1174382.7504
108 | 2553983.2975 | 1174356.6172
109 | 2553974.5779 | 1174367.4646
110 | 2554221.7718 | 1173918.5638

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1