## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5678-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5678-18_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5678-18_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5678-18_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5678-18_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5678-18_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5678-18_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5678-18_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5678-18_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5678-18_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_5678-18_0_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_5678-18_0_3_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_5678-18_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_5678-18_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5678-18_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5678-18_0_3_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_5678-18_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5678-18_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5678-18_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5678-18_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5678-18_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5678-18_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5678-18_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_5678-18_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_5678-18_0_3_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_5678-18_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_5678-18_0_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_5678-18_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_5678-18_0_3_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_5678-18_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5678-18_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5678-18_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5678-18_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5678-18_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5678-18_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5678-18_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5678-18_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5678-18_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_5678-18_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5678-18_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_5678-18_0_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_5678-18_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_5678-18_0_3_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_5678-18_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_5678-18_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5678-18_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_5678-18_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_5678-18_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5678-18_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_5678-18_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_5678-18_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_5678-18_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5678-18_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5678-18_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5678-18_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_MV_367_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5678-18_0_3_load_0 | 0 | 0.022276 | 0.005583 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5678-18_0_3_load_3 | 3 | 0.002126 | 0.00053282 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5678-18_0_3_load_4 | 7 | 0.0020848 | 0.00052249 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5678-18_0_3_load_18 | 9 | 0.0038161 | 0.00095641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5678-18_0_3_load_56 | 10 | 0.021073 | 0.0052813 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5678-18_0_3_load_17 | 12 | 0.001912 | 0.00047918 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5678-18_0_3_load_15 | 13 | 0.00095141 | 0.00023845 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5678-18_0_3_load_13 | 14 | 0.0023222 | 0.000582 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5678-18_0_3_load_55 | 15 | 0.033359 | 0.0083604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5678-18_0_3_load_8 | 16 | 0.0073242 | 0.0018356 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5678-18_0_3_load_9 | 17 | 0.0022508 | 0.00056411 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5678-18_0_3_load_11 | 19 | 0.02424 | 0.0060752 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5678-18_0_3_load_29 | 22 | 0.0017906 | 0.00044876 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5678-18_0_3_load_40 | 24 | 0.008928 | 0.0022376 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5678-18_0_3_load_28 | 25 | 0.0054535 | 0.0013668 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5678-18_0_3_load_35 | 26 | 0.0013884 | 0.00034797 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5678-18_0_3_load_33 | 27 | 0.0051284 | 0.0012853 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5678-18_0_3_load_19 | 29 | 0.0069484 | 0.0017414 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5678-18_0_3_load_20 | 30 | 0.0017255 | 0.00043246 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5678-18_0_3_load_21 | 31 | 0.0016273 | 0.00040785 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5678-18_0_3_load_22 | 32 | 0.00035356 | 8.861e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5678-18_0_3_load_23 | 33 | 0.00074598 | 0.00018696 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5678-18_0_3_load_24 | 34 | 0.0022674 | 0.00056827 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5678-18_0_3_load_25 | 35 | 0.015439 | 0.0038694 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5678-18_0_3_load_26 | 36 | 0.0034887 | 0.00087435 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5678-18_0_3_load_30 | 37 | 0.0037148 | 0.00093102 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5678-18_0_3_load_31 | 38 | 0.0018427 | 0.00046182 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5678-18_0_3_load_32 | 39 | 0.0020863 | 0.00052287 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5678-18_0_3_load_50 | 40 | 0.00025351 | 6.3535e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5678-18_0_3_load_52 | 42 | 0.0011686 | 0.00029289 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5678-18_0_3_load_53 | 43 | 0.00037228 | 9.3302e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5678-18_0_3_load_36 | 44 | 0.0012153 | 0.00030459 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5678-18_0_3_load_37 | 45 | 0.00079243 | 0.0001986 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5678-18_0_3_load_38 | 47 | 0.00042134 | 0.0001056 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5678-18_0_3_load_47 | 48 | 0.00032002 | 8.0206e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5678-18_0_3_load_46 | 49 | 0.00081641 | 0.00020461 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5678-18_0_3_load_49 | 50 | 0.00062857 | 0.00015753 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5678-18_0_3_load_39 | 51 | 0.00035881 | 8.9927e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5678-18_0_3_load_44 | 52 | 0.00054835 | 0.00013743 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5678-18_0_3_load_45 | 53 | 7.8553e-05 | 1.9687e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5678-18_0_3_load_42 | 54 | 0.0092453 | 0.0023171 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5678-18_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.041867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5678-18_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.040511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5678-18_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.063267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5678-18_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.034659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5678-18_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.053371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5678-18_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.006459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5678-18_0_3_line_6 | NAYY 4x150 SE | 4 | 8 | 0.029234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5678-18_0_3_line_7 | NAYY 4x150 SE | 4 | 9 | 0.018597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5678-18_0_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.044556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5678-18_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5678-18_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.048656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5678-18_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5678-18_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.065565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5678-18_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.027366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5678-18_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.01451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5678-18_0_3_line_15 | NAYY 4x150 SE | 12 | 29 | 0.0043191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5678-18_0_3_line_16 | NAYY 4x150 SE | 14 | 18 | 0.008827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5678-18_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.012515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_5678-18_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.024629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_5678-18_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.05567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5678-18_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.057124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5678-18_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.027902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5678-18_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.022334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5678-18_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.085758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5678-18_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.026511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5678-18_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.074832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5678-18_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.004297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5678-18_0_3_line_27 | NAYY 4x150 SE | 23 | 27 | 0.042173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5678-18_0_3_line_28 | NAYY 4x150 SE | 24 | 28 | 0.020918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5678-18_0_3_line_29 | NAYY 4x150 SE | 25 | 36 | 0.050191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5678-18_0_3_line_30 | NAYY 4x150 SE | 26 | 44 | 0.012359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5678-18_0_3_line_31 | NAYY 4x150 SE | 27 | 40 | 0.053912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5678-18_0_3_line_32 | NAYY 4x150 SE | 27 | 39 | 0.071407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5678-18_0_3_line_33 | NAYY 4x150 SE | 28 | 54 | 0.031681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5678-18_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.032048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5678-18_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.010657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5678-18_0_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.010137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5678-18_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.016894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5678-18_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.026119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5678-18_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.050169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5678-18_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.031351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5678-18_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.03067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5678-18_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.018899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5678-18_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.014491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5678-18_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.010021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5678-18_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.036633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5678-18_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.082504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5678-18_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.025085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5678-18_0_3_line_48 | NAYY 4x150 SE | 46 | 50 | 0.039828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5678-18_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.01371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5678-18_0_3_line_50 | NAYY 4x150 SE | 47 | 51 | 0.016192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5678-18_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.013227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5678-18_0_3_line_52 | NAYY 4x150 SE | 49 | 53 | 0.0033987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5678-18_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.044584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5678-18_0_3_trafo_11 | 0.25 MVA 20/0.4 kV | 55 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2551380.0496 | 1169132.8256 | 2551377.3699 | 1169121.3523 | 2551367.3386 | 1169100.7561 | 2551364.4005 | 1169094.2098
1 | 2551333.0008 | 1169071.4303 | 2551341.6157 | 1169081.5657 | 2551345.4306 | 1169085.8148 | 2551347.8259 | 1169088.6524 | 2551350.2294 | 1169090.6117 | 2551352.8401 | 1169091.7023 | 2551356.768 | 1169092.9043 | 2551360.4703 | 1169093.6636 | 2551364.4005 | 1169094.2098
2 | 2551380.0496 | 1169132.8256 | 2551377.6114 | 1169136.0248 | 2551373.736 | 1169141.2813 | 2551368.7538 | 1169147.8252 | 2551360.364 | 1169158.7991 | 2551352.25 | 1169168.8592 | 2551346.3479 | 1169176.1443 | 2551340.9058 | 1169182.592
3 | 2551380.0496 | 1169132.8256 | 2551408.0103 | 1169153.4098
4 | 2551282.8244 | 1169058.4199 | 2551288.1984 | 1169055.8415 | 2551291.3616 | 1169056.1715 | 2551298.2301 | 1169058.5614 | 2551312.1859 | 1169063.9064 | 2551322.4331 | 1169067.7252 | 2551328.8619 | 1169069.6852 | 2551333.0008 | 1169071.4303
5 | 2551328.8592 | 1169066.528 | 2551330.2781 | 1169068.8066 | 2551333.0008 | 1169071.4303
6 | 2551408.0103 | 1169153.4098 | 2551408.4083 | 1169156.2525 | 2551409.1786 | 1169158.7587 | 2551411.6401 | 1169164.0972 | 2551414.4705 | 1169169.6327 | 2551416.7791 | 1169175.0058 | 2551418.332 | 1169180.5961
7 | 2551408.0103 | 1169153.4098 | 2551408.2718 | 1169150.7396 | 2551408.999 | 1169147.9433 | 2551410.2802 | 1169145.5094 | 2551411.9766 | 1169143.3167 | 2551413.8822 | 1169141.4447 | 2551417.6077 | 1169138.3696
8 | 2551282.8244 | 1169058.4199 | 2551298.4565 | 1169070.4103 | 2551318.0451 | 1169085.7085
9 | 2551330.0574 | 1169056.713 | 2551328.9711 | 1169057.689 | 2551328.8592 | 1169066.528
10 | 2551293.6492 | 1169036.3313 | 2551294.0898 | 1169039.7073 | 2551294.4181 | 1169042.4283 | 2551295.288 | 1169044.9448 | 2551297.358 | 1169046.362 | 2551301.2821 | 1169048.976 | 2551312.1798 | 1169055.6243 | 2551325.5917 | 1169064.6646 | 2551328.8592 | 1169066.528
11 | 2551418.332 | 1169180.5961 | 2551423.4209 | 1169179.6544 | 2551431.3057 | 1169179.0568 | 2551436.4271 | 1169179.3044 | 2551440.4593 | 1169180.161 | 2551444.3472 | 1169181.6625
12 | 2551418.332 | 1169180.5961 | 2551418.7801 | 1169185.8397 | 2551418.2182 | 1169190.1466 | 2551416.8185 | 1169194.0156 | 2551414.4853 | 1169197.881 | 2551412.1983 | 1169200.8455 | 2551408.7819 | 1169204.1972 | 2551402.1686 | 1169209.6538 | 2551388.3539 | 1169220.6939 | 2551378.6119 | 1169228.5923
13 | 2551417.6077 | 1169138.3696 | 2551438.7125 | 1169120.9491
14 | 2551296.701 | 1169023.8998 | 2551294.3043 | 1169024.6642 | 2551293.4322 | 1169025.6496 | 2551293.6492 | 1169036.3313
15 | 2551444.3472 | 1169181.6625 | 2551445.0267 | 1169181.925 | 2551448.1131 | 1169183.7598
16 | 2551445.52 | 1169115.33 | 2551438.7125 | 1169120.9491
17 | 2551427.5335 | 1169098.5049 | 2551418.786 | 1169090.3222 | 2551418.3939 | 1169089.9562
18 | 2551445.52 | 1169115.33 | 2551427.5335 | 1169098.5049
19 | 2551377.7017 | 1169051.9661 | 2551389.631 | 1169063.1108 | 2551418.3939 | 1169089.9562
20 | 2551445.52 | 1169115.33 | 2551477.8407 | 1169088.4539 | 2551480.3466 | 1169086.0435 | 2551482.5523 | 1169083.4353 | 2551484.4034 | 1169079.5516 | 2551485.114 | 1169075.6438
21 | 2551357.3823 | 1169032.8452 | 2551363.8067 | 1169038.9852 | 2551377.7017 | 1169051.9661
22 | 2551485.114 | 1169075.6438 | 2551484.4199 | 1169071.2026 | 2551483.0762 | 1169066.8667 | 2551479.5576 | 1169060.4362 | 2551475.4693 | 1169056.087
23 | 2551554.3384 | 1169026.3688 | 2551529.9072 | 1169044.7872 | 2551519.5274 | 1169053.8871 | 2551495.6449 | 1169072.9238 | 2551493.038 | 1169074.2011 | 2551490.2817 | 1169074.9683 | 2551485.114 | 1169075.6438
24 | 2551357.3823 | 1169032.8452 | 2551348.8677 | 1169024.7099 | 2551337.9081 | 1169014.8612
25 | 2551422.9444 | 1169002.7864 | 2551474.4861 | 1169055.0411 | 2551475.4693 | 1169056.087
26 | 2551554.3384 | 1169026.3688 | 2551557.0108 | 1169029.7336
27 | 2551554.3384 | 1169026.3688 | 2551528.243 | 1168993.2388
28 | 2551322.3491 | 1169000.8792 | 2551337.9081 | 1169014.8612
29 | 2551387.6989 | 1168967.0534 | 2551422.9444 | 1169002.7864
30 | 2551564.6971 | 1169039.4114 | 2551557.0108 | 1169029.7336
31 | 2551528.243 | 1168993.2388 | 2551560.0332 | 1168949.6966
32 | 2551483.5932 | 1168937.544 | 2551488.4454 | 1168942.7128 | 2551528.243 | 1168993.2388
33 | 2551322.3491 | 1169000.8792 | 2551309.0825 | 1168988.0802 | 2551299.2572 | 1168979.195
34 | 2551474.1127 | 1169202.4655 | 2551455.595 | 1169188.5651 | 2551450.0633 | 1169184.9191 | 2551448.1131 | 1169183.7598
35 | 2551474.1127 | 1169202.4655 | 2551482.6355 | 1169208.8632
36 | 2551482.6355 | 1169208.8632 | 2551490.7427 | 1169214.9489
37 | 2551504.2535 | 1169225.0908 | 2551490.7427 | 1169214.9489
38 | 2551504.2535 | 1169225.0908 | 2551522.8318 | 1169239.0367 | 2551525.1418 | 1169240.7715
39 | 2551352.546 | 1168931.2601 | 2551377.7884 | 1168957.0059 | 2551387.6989 | 1168967.0534
40 | 2551441.1437 | 1168892.3258 | 2551462.6013 | 1168915.1829
41 | 2551483.5932 | 1168937.544 | 2551462.6013 | 1168915.1829
42 | 2551547.14 | 1168935.8788 | 2551560.0332 | 1168949.6966
43 | 2551547.14 | 1168935.8788 | 2551558.155 | 1168926.4631
44 | 2551565.7721 | 1168919.9519 | 2551558.155 | 1168926.4631
45 | 2551564.6971 | 1169039.4114 | 2551581.3592 | 1169060.3908 | 2551585.1661 | 1169069.4669
46 | 2551564.6971 | 1169039.4114 | 2551634.4014 | 1168995.2723
47 | 2551585.1661 | 1169069.4669 | 2551592.4705 | 1169086.8818 | 2551594.809 | 1169092.6239
48 | 2551634.4014 | 1168995.2723 | 2551664.1205 | 1168968.7578
49 | 2551634.4014 | 1168995.2723 | 2551646.4074 | 1169001.8923
50 | 2551594.809 | 1169092.6239 | 2551600.9161 | 1169107.6197
51 | 2551646.4074 | 1169001.8923 | 2551657.9904 | 1169008.2791
52 | 2551657.9904 | 1169008.2791 | 2551660.9666 | 1169009.9202
53 | 2551700.0088 | 1169031.4477 | 2551660.9666 | 1169009.9202

## bus_geodata
| x | y | coords
0 | 2551364.4005 | 1169094.2098
1 | 2551380.0496 | 1169132.8256
2 | 2551333.0008 | 1169071.4303
3 | 2551340.9058 | 1169182.592
4 | 2551408.0103 | 1169153.4098
5 | 2551282.8244 | 1169058.4199
6 | 2551328.8592 | 1169066.528
7 | 2551318.0451 | 1169085.7085
8 | 2551418.332 | 1169180.5961
9 | 2551417.6077 | 1169138.3696
10 | 2551330.0574 | 1169056.713
11 | 2551293.6492 | 1169036.3313
12 | 2551444.3472 | 1169181.6625
13 | 2551378.6119 | 1169228.5923
14 | 2551438.7125 | 1169120.9491
15 | 2551296.701 | 1169023.8998
16 | 2551427.5335 | 1169098.5049
17 | 2551418.3939 | 1169089.9562
18 | 2551445.52 | 1169115.33
19 | 2551377.7017 | 1169051.9661
20 | 2551485.114 | 1169075.6438
21 | 2551357.3823 | 1169032.8452
22 | 2551475.4693 | 1169056.087
23 | 2551554.3384 | 1169026.3688
24 | 2551337.9081 | 1169014.8612
25 | 2551422.9444 | 1169002.7864
26 | 2551557.0108 | 1169029.7336
27 | 2551528.243 | 1168993.2388
28 | 2551322.3491 | 1169000.8792
29 | 2551448.1131 | 1169183.7598
30 | 2551474.1127 | 1169202.4655
31 | 2551482.6355 | 1169208.8632
32 | 2551490.7427 | 1169214.9489
33 | 2551504.2535 | 1169225.0908
34 | 2551525.1418 | 1169240.7715
35 | 2551352.546 | 1168931.2601
36 | 2551387.6989 | 1168967.0534
37 | 2551441.1437 | 1168892.3258
38 | 2551462.6013 | 1168915.1829
39 | 2551483.5932 | 1168937.544
40 | 2551560.0332 | 1168949.6966
41 | 2551547.14 | 1168935.8788
42 | 2551558.155 | 1168926.4631
43 | 2551565.7721 | 1168919.9519
44 | 2551564.6971 | 1169039.4114
45 | 2551585.1661 | 1169069.4669
46 | 2551634.4014 | 1168995.2723
47 | 2551594.809 | 1169092.6239
48 | 2551646.4074 | 1169001.8923
49 | 2551657.9904 | 1169008.2791
50 | 2551664.1205 | 1168968.7578
51 | 2551600.9161 | 1169107.6197
52 | 2551700.0088 | 1169031.4477
53 | 2551660.9666 | 1169009.9202
54 | 2551299.2572 | 1168979.195
55 | 2551357.3823 | 1169032.8452

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1