## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5678-27_1_3_node_68 | 0.4 | n |  | TRUE
1 | bus_LV_5678-27_1_3_node_69 | 0.4 | n |  | TRUE
2 | bus_LV_5678-27_1_3_node_70 | 0.4 | n |  | TRUE
3 | bus_LV_5678-27_1_3_node_79 | 0.4 | n |  | TRUE
4 | bus_LV_5678-27_1_3_node_71 | 0.4 | n |  | TRUE
5 | bus_LV_5678-27_1_3_node_163 | 0.4 | n |  | TRUE
6 | bus_LV_5678-27_1_3_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_5678-27_1_3_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_5678-27_1_3_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_5678-27_1_3_node_77 | 0.4 | n |  | TRUE
10 | bus_LV_5678-27_1_3_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_5678-27_1_3_node_164 | 0.4 | n |  | TRUE
12 | bus_LV_5678-27_1_3_node_166 | 0.4 | n |  | TRUE
13 | bus_LV_5678-27_1_3_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_5678-27_1_3_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_5678-27_1_3_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_5678-27_1_3_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_5678-27_1_3_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_5678-27_1_3_node_137 | 0.4 | n |  | TRUE
19 | bus_LV_5678-27_1_3_node_107 | 0.4 | n |  | TRUE
20 | bus_LV_5678-27_1_3_node_136 | 0.4 | n |  | TRUE
21 | bus_LV_5678-27_1_3_node_165 | 0.4 | n |  | TRUE
22 | bus_LV_5678-27_1_3_node_140 | 0.4 | n |  | TRUE
23 | bus_LV_5678-27_1_3_node_139 | 0.4 | n |  | TRUE
24 | bus_LV_5678-27_1_3_node_135 | 0.4 | n |  | TRUE
25 | bus_LV_5678-27_1_3_node_134 | 0.4 | n |  | TRUE
26 | bus_LV_5678-27_1_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_5678-27_1_3_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_5678-27_1_3_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_5678-27_1_3_node_148 | 0.4 | n |  | TRUE
30 | bus_LV_5678-27_1_3_node_155 | 0.4 | n |  | TRUE
31 | bus_LV_5678-27_1_3_node_147 | 0.4 | n |  | TRUE
32 | bus_LV_5678-27_1_3_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_5678-27_1_3_node_157 | 0.4 | n |  | TRUE
34 | bus_LV_5678-27_1_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_5678-27_1_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_5678-27_1_3_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_5678-27_1_3_node_156 | 0.4 | n |  | TRUE
38 | bus_LV_5678-27_1_3_node_158 | 0.4 | n |  | TRUE
39 | bus_LV_5678-27_1_3_node_159 | 0.4 | n |  | TRUE
40 | bus_LV_5678-27_1_3_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_5678-27_1_3_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_5678-27_1_3_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_5678-27_1_3_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_5678-27_1_3_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_5678-27_1_3_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_5678-27_1_3_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_5678-27_1_3_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_5678-27_1_3_node_102 | 0.4 | n |  | TRUE
49 | bus_LV_5678-27_1_3_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_5678-27_1_3_node_108 | 0.4 | n |  | TRUE
51 | bus_LV_5678-27_1_3_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_5678-27_1_3_node_94 | 0.4 | n |  | TRUE
53 | bus_LV_5678-27_1_3_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_5678-27_1_3_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_5678-27_1_3_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_5678-27_1_3_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_5678-27_1_3_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_5678-27_1_3_node_104 | 0.4 | n |  | TRUE
59 | bus_LV_5678-27_1_3_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_5678-27_1_3_node_141 | 0.4 | n |  | TRUE
61 | bus_LV_5678-27_1_3_node_160 | 0.4 | n |  | TRUE
62 | bus_LV_5678-27_1_3_node_103 | 0.4 | n |  | TRUE
63 | bus_LV_5678-27_1_3_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_5678-27_1_3_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_5678-27_1_3_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_5678-27_1_3_node_138 | 0.4 | n |  | TRUE
67 | bus_LV_5678-27_1_3_node_162 | 0.4 | n |  | TRUE
68 | bus_LV_5678-27_1_3_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_5678-27_1_3_node_118 | 0.4 | n |  | TRUE
70 | bus_LV_5678-27_1_3_node_120 | 0.4 | n |  | TRUE
71 | bus_LV_5678-27_1_3_node_111 | 0.4 | n |  | TRUE
72 | bus_LV_5678-27_1_3_node_112 | 0.4 | n |  | TRUE
73 | bus_LV_5678-27_1_3_node_113 | 0.4 | n |  | TRUE
74 | bus_LV_5678-27_1_3_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_5678-27_1_3_node_115 | 0.4 | n |  | TRUE
76 | bus_LV_5678-27_1_3_node_116 | 0.4 | n |  | TRUE
77 | bus_LV_5678-27_1_3_node_117 | 0.4 | n |  | TRUE
78 | bus_LV_5678-27_1_3_node_149 | 0.4 | n |  | TRUE
79 | bus_LV_5678-27_1_3_node_146 | 0.4 | n |  | TRUE
80 | bus_LV_5678-27_1_3_node_125 | 0.4 | n |  | TRUE
81 | bus_LV_5678-27_1_3_node_127 | 0.4 | n |  | TRUE
82 | bus_LV_5678-27_1_3_node_161 | 0.4 | n |  | TRUE
83 | bus_LV_5678-27_1_3_node_150 | 0.4 | n |  | TRUE
84 | bus_LV_5678-27_1_3_node_126 | 0.4 | n |  | TRUE
85 | bus_LV_5678-27_1_3_node_124 | 0.4 | n |  | TRUE
86 | bus_LV_5678-27_1_3_node_128 | 0.4 | n |  | TRUE
87 | bus_LV_5678-27_1_3_node_119 | 0.4 | n |  | TRUE
88 | bus_LV_5678-27_1_3_node_121 | 0.4 | n |  | TRUE
89 | bus_LV_5678-27_1_3_node_122 | 0.4 | n |  | TRUE
90 | bus_LV_5678-27_1_3_node_123 | 0.4 | n |  | TRUE
91 | bus_LV_5678-27_1_3_node_132 | 0.4 | n |  | TRUE
92 | bus_LV_5678-27_1_3_node_133 | 0.4 | n |  | TRUE
93 | bus_LV_5678-27_1_3_node_129 | 0.4 | n |  | TRUE
94 | bus_LV_5678-27_1_3_node_130 | 0.4 | n |  | TRUE
95 | bus_LV_5678-27_1_3_node_131 | 0.4 | n |  | TRUE
96 | bus_LV_5678-27_1_3_node_152 | 0.4 | n |  | TRUE
97 | bus_LV_5678-27_1_3_node_153 | 0.4 | n |  | TRUE
98 | bus_LV_5678-27_1_3_node_151 | 0.4 | n |  | TRUE
99 | bus_MV_367_0_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5678-27_1_3_load_68 | 0 | 0.0017632 | 0.0004419 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5678-27_1_3_load_69 | 1 | 0.0014823 | 0.00037151 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5678-27_1_3_load_71 | 4 | 0.00067806 | 0.00016994 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5678-27_1_3_load_163 | 5 | 0.00020004 | 5.0134e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5678-27_1_3_load_72 | 6 | 0.0011925 | 0.00029887 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5678-27_1_3_load_76 | 8 | 0.00035862 | 8.9877e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5678-27_1_3_load_78 | 10 | 0.00011114 | 2.7854e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5678-27_1_3_load_166 | 12 | 0.0003469 | 8.6941e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5678-27_1_3_load_55 | 13 | 0.0057725 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5678-27_1_3_load_56 | 14 | 0.0026418 | 0.00066209 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5678-27_1_3_load_58 | 16 | 0.0018049 | 0.00045235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5678-27_1_3_load_107 | 19 | 0.010202 | 0.0025568 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5678-27_1_3_load_136 | 20 | 0.0030755 | 0.00077078 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5678-27_1_3_load_165 | 21 | 0.0021737 | 0.00054477 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5678-27_1_3_load_140 | 22 | 0.0034729 | 0.00087039 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5678-27_1_3_load_139 | 23 | 0.0021387 | 0.00053601 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5678-27_1_3_load_135 | 24 | 0.00089328 | 0.00022388 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5678-27_1_3_load_134 | 25 | 0.001272 | 0.00031879 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5678-27_1_3_load_61 | 26 | 0.00028083 | 7.0382e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5678-27_1_3_load_62 | 27 | 0.00017062 | 4.2762e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5678-27_1_3_load_63 | 28 | 0.00047116 | 0.00011808 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5678-27_1_3_load_148 | 29 | 0.0011612 | 0.00029103 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5678-27_1_3_load_155 | 30 | 0.00047096 | 0.00011803 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5678-27_1_3_load_147 | 31 | 0.0012788 | 0.0003205 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5678-27_1_3_load_64 | 32 | 0.00015214 | 3.813e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5678-27_1_3_load_156 | 37 | 0.00089108 | 0.00022333 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5678-27_1_3_load_158 | 38 | 0.00020977 | 5.2572e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5678-27_1_3_load_159 | 39 | 0.0015584 | 0.00039057 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5678-27_1_3_load_80 | 40 | 0.0001891 | 4.7393e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5678-27_1_3_load_86 | 41 | 0.0012845 | 0.00032193 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5678-27_1_3_load_87 | 42 | 0.0031147 | 0.00078061 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5678-27_1_3_load_90 | 45 | 0.0004821 | 0.00012083 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5678-27_1_3_load_93 | 46 | 0.0011286 | 0.00028284 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5678-27_1_3_load_91 | 47 | 0.0013536 | 0.00033925 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5678-27_1_3_load_92 | 49 | 0.00039035 | 9.7831e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5678-27_1_3_load_108 | 50 | 0.00030779 | 7.714e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5678-27_1_3_load_101 | 51 | 0.0014986 | 0.00037559 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5678-27_1_3_load_94 | 52 | 0.0023492 | 0.00058875 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5678-27_1_3_load_95 | 53 | 0.00089334 | 0.00022389 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5678-27_1_3_load_97 | 55 | 0.0015371 | 0.00038524 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5678-27_1_3_load_104 | 58 | 0.00085778 | 0.00021498 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5678-27_1_3_load_141 | 60 | 0.0054057 | 0.0013548 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5678-27_1_3_load_160 | 61 | 0.0015334 | 0.0003843 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5678-27_1_3_load_103 | 62 | 0.0011771 | 0.000295 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5678-27_1_3_load_109 | 63 | 0.0023769 | 0.00059571 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5678-27_1_3_load_106 | 65 | 0.002339 | 0.0005862 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5678-27_1_3_load_138 | 66 | 0.0021721 | 0.00054439 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5678-27_1_3_load_162 | 67 | 0.00043222 | 0.00010832 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5678-27_1_3_load_110 | 68 | 0.0028084 | 0.00070385 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5678-27_1_3_load_118 | 69 | 0.0025404 | 0.00063668 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5678-27_1_3_load_120 | 70 | 0.0017822 | 0.00044667 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5678-27_1_3_load_111 | 71 | 0.0026005 | 0.00065174 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5678-27_1_3_load_112 | 72 | 0.0014378 | 0.00036034 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5678-27_1_3_load_116 | 76 | 0.0019176 | 0.00048059 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5678-27_1_3_load_117 | 77 | 0.001164 | 0.00029173 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5678-27_1_3_load_149 | 78 | 0.0012032 | 0.00030156 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5678-27_1_3_load_146 | 79 | 0.0014644 | 0.00036701 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5678-27_1_3_load_127 | 81 | 0.0014482 | 0.00036296 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5678-27_1_3_load_161 | 82 | 0.0015096 | 0.00037834 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5678-27_1_3_load_150 | 83 | 0.0024791 | 0.00062133 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5678-27_1_3_load_126 | 84 | 0.0056524 | 0.0014166 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5678-27_1_3_load_124 | 85 | 0.0045726 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5678-27_1_3_load_128 | 86 | 0.00077656 | 0.00019462 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5678-27_1_3_load_119 | 87 | 0.00075902 | 0.00019023 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5678-27_1_3_load_121 | 88 | 0.004579 | 0.0011476 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5678-27_1_3_load_122 | 89 | 0.001648 | 0.00041304 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5678-27_1_3_load_123 | 90 | 0.0015829 | 0.00039671 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5678-27_1_3_load_132 | 91 | 0.0031402 | 0.00078702 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5678-27_1_3_load_133 | 92 | 0.0020729 | 0.00051953 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5678-27_1_3_load_129 | 93 | 0.0019983 | 0.00050081 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5678-27_1_3_load_130 | 94 | 0.00091761 | 0.00022997 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5678-27_1_3_load_131 | 95 | 0.0016551 | 0.0004148 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5678-27_1_3_load_152 | 96 | 0.0028017 | 0.00070218 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5678-27_1_3_load_153 | 97 | 0.0013356 | 0.00033473 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5678-27_1_3_load_151 | 98 | 0.0012094 | 0.0003031 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5678-27_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5678-27_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.05461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5678-27_1_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.16509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5678-27_1_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.030861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5678-27_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.40416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5678-27_1_3_line_5 | NAYY 4x150 SE | 3 | 10 | 0.027469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5678-27_1_3_line_6 | NAYY 4x150 SE | 5 | 11 | 0.13296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5678-27_1_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.031881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5678-27_1_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.013122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5678-27_1_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.059015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5678-27_1_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.015139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5678-27_1_3_line_11 | NAYY 4x150 SE | 9 | 40 | 0.013341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5678-27_1_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.26421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5678-27_1_3_line_13 | NAYY 4x150 SE | 12 | 26 | 0.19221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5678-27_1_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0027819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5678-27_1_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.02024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5678-27_1_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.051144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5678-27_1_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.029175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5678-27_1_3_line_18 | NAYY 4x150 SE | 17 | 21 | 0.045055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5678-27_1_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.068454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5678-27_1_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5678-27_1_3_line_21 | NAYY 4x150 SE | 19 | 64 | 0.10346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5678-27_1_3_line_22 | NAYY 4x150 SE | 20 | 92 | 0.00091397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5678-27_1_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.24412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5678-27_1_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.066347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5678-27_1_3_line_25 | NAYY 4x150 SE | 23 | 66 | 0.03472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5678-27_1_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0092384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5678-27_1_3_line_27 | NAYY 4x150 SE | 25 | 95 | 0.029217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5678-27_1_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.12095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5678-27_1_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.013692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5678-27_1_3_line_30 | NAYY 4x150 SE | 28 | 32 | 0.055262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5678-27_1_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.12063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5678-27_1_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0096931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5678-27_1_3_line_33 | NAYY 4x150 SE | 30 | 39 | 0.02641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5678-27_1_3_line_34 | NAYY 4x150 SE | 30 | 97 | 0.015187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5678-27_1_3_line_35 | NAYY 4x150 SE | 31 | 79 | 0.0041048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5678-27_1_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.034709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5678-27_1_3_line_37 | NAYY 4x150 SE | 33 | 37 | 0.025631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5678-27_1_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.074273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5678-27_1_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.13844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5678-27_1_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.048845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5678-27_1_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.067345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5678-27_1_3_line_42 | NAYY 4x150 SE | 36 | 39 | 0.044372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5678-27_1_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0013406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5678-27_1_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.021915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5678-27_1_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.015507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5678-27_1_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.01939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5678-27_1_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.06368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5678-27_1_3_line_48 | NAYY 4x150 SE | 44 | 47 | 0.015882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5678-27_1_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.012603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5678-27_1_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.012422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5678-27_1_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.018226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5678-27_1_3_line_52 | NAYY 4x150 SE | 48 | 51 | 0.014058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5678-27_1_3_line_53 | NAYY 4x150 SE | 50 | 63 | 0.02002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5678-27_1_3_line_54 | NAYY 4x150 SE | 51 | 55 | 0.038239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5678-27_1_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.014451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5678-27_1_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.097384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5678-27_1_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.043846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5678-27_1_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.020341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5678-27_1_3_line_59 | NAYY 4x150 SE | 54 | 57 | 0.031278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5678-27_1_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.0080913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5678-27_1_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.088925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5678-27_1_3_line_62 | NAYY 4x150 SE | 57 | 60 | 0.088825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5678-27_1_3_line_63 | NAYY 4x150 SE | 58 | 62 | 0.1411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5678-27_1_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.013109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5678-27_1_3_line_65 | NAYY 4x150 SE | 63 | 68 | 0.0015459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5678-27_1_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.12343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5678-27_1_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.044492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5678-27_1_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.12183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5678-27_1_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.026293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5678-27_1_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.032236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5678-27_1_3_line_71 | NAYY 4x150 SE | 70 | 87 | 0.027438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5678-27_1_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.028509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5678-27_1_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.051786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5678-27_1_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.094943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5678-27_1_3_line_75 | NAYY 4x150 SE | 72 | 75 | 0.01434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5678-27_1_3_line_76 | NAYY 4x150 SE | 73 | 76 | 0.021793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5678-27_1_3_line_77 | NAYY 4x150 SE | 73 | 77 | 0.0072308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5678-27_1_3_line_78 | NAYY 4x150 SE | 74 | 78 | 0.012164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5678-27_1_3_line_79 | NAYY 4x150 SE | 74 | 79 | 0.040557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5678-27_1_3_line_80 | NAYY 4x150 SE | 75 | 80 | 0.089852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5678-27_1_3_line_81 | NAYY 4x150 SE | 75 | 81 | 0.04326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_5678-27_1_3_line_82 | NAYY 4x150 SE | 77 | 82 | 0.026694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5678-27_1_3_line_83 | NAYY 4x150 SE | 78 | 83 | 0.028885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5678-27_1_3_line_84 | NAYY 4x150 SE | 80 | 84 | 0.011223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5678-27_1_3_line_85 | NAYY 4x150 SE | 80 | 85 | 0.048566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5678-27_1_3_line_86 | NAYY 4x150 SE | 81 | 86 | 0.019281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5678-27_1_3_line_87 | NAYY 4x150 SE | 83 | 98 | 0.028588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5678-27_1_3_line_88 | NAYY 4x150 SE | 84 | 91 | 0.020914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5678-27_1_3_line_89 | NAYY 4x150 SE | 85 | 90 | 0.0065809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5678-27_1_3_line_90 | NAYY 4x150 SE | 86 | 93 | 0.01502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5678-27_1_3_line_91 | NAYY 4x150 SE | 87 | 88 | 0.0094753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5678-27_1_3_line_92 | NAYY 4x150 SE | 88 | 89 | 0.013572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5678-27_1_3_line_93 | NAYY 4x150 SE | 89 | 90 | 0.0045738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5678-27_1_3_line_94 | NAYY 4x150 SE | 91 | 92 | 0.022232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5678-27_1_3_line_95 | NAYY 4x150 SE | 93 | 94 | 0.02464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5678-27_1_3_line_96 | NAYY 4x150 SE | 94 | 95 | 0.0064035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5678-27_1_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.014419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5678-27_1_3_trafo_127 | 0.25 MVA 20/0.4 kV | 99 | 81 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2548914.2392 | 1168720.8932 | 2548912.205 | 1168722.8878 | 2548910.6238 | 1168734.0072 | 2548911.8144 | 1168742.6017 | 2548918.8333 | 1168749.6717
1 | 2548960.2391 | 1168693.663 | 2548943.8175 | 1168707.3546 | 2548920.4853 | 1168714.7684 | 2548914.2392 | 1168720.8932
2 | 2548807.9304 | 1168594.5864 | 2548914.2392 | 1168720.8932
3 | 2548918.8333 | 1168749.6717 | 2548921.9267 | 1168752.7876 | 2548937.652 | 1168768.7511 | 2548939.9846 | 1168772.0766
4 | 2548960.2391 | 1168693.663 | 2549358.8397 | 1168760.4653
5 | 2548807.9304 | 1168594.5864 | 2548794.2817 | 1168610.3559 | 2548788.181 | 1168612.9094 | 2548788.181 | 1168612.9094
6 | 2549417.9279 | 1168706.8461 | 2549394.9066 | 1168702.2046 | 2549368.1359 | 1168694.0151 | 2549360.515 | 1168692.3898 | 2549354.9975 | 1168699.6847 | 2549353.416 | 1168712.6717 | 2549358.809 | 1168730.4912 | 2549364.069 | 1168743.4537 | 2549363.7593 | 1168754.7957 | 2549358.8397 | 1168760.4653
7 | 2548761.0984 | 1168605.0922 | 2548751.9218 | 1168606.8382 | 2548737.6953 | 1168603.3469 | 2548730.31 | 1168600.5673
8 | 2548761.0984 | 1168605.0922 | 2548772.5542 | 1168609.4411 | 2548773.4013 | 1168609.633
9 | 2548761.0984 | 1168605.0922 | 2548762.3464 | 1168588.1502 | 2548760.8824 | 1168579.8361 | 2548742.3729 | 1168564.1637 | 2548742.7521 | 1168554.811
10 | 2548788.181 | 1168612.9094 | 2548782.4843 | 1168611.6907 | 2548773.4013 | 1168609.633
11 | 2548742.7521 | 1168554.811 | 2548731.1541 | 1168548.2183
12 | 2549622.0633 | 1168539.1152 | 2549417.9279 | 1168706.8461
13 | 2549718.2446 | 1168705.5344 | 2549622.0633 | 1168539.1152
14 | 2549897.4974 | 1168148.8193 | 2549900.0507 | 1168147.7151
15 | 2549880.3678 | 1168159.3251 | 2549889.7603 | 1168152.165 | 2549897.4974 | 1168148.8193
16 | 2549900.0507 | 1168147.7151 | 2549912.6465 | 1168142.2684 | 2549896.6384 | 1168108.4439
17 | 2549876.8782 | 1168187.7472 | 2549878.9754 | 1168185.0171 | 2549880.1985 | 1168165.6187 | 2549880.3678 | 1168159.3251
18 | 2549876.8782 | 1168187.7472 | 2549863.2625 | 1168224.3695 | 2549859.3667 | 1168228.9267
19 | 2550134.9822 | 1168232.5853 | 2550171.4505 | 1168290.5168
20 | 2550134.9822 | 1168232.5853 | 2550121.203 | 1168262.6048 | 2550118.6061 | 1168273.3544 | 2550122.3807 | 1168286.3966 | 2550124.1461 | 1168292.5185 | 2550129.3647 | 1168305.5759
21 | 2550235.1321 | 1168371.9607 | 2550178.2845 | 1168301.3731 | 2550171.4505 | 1168290.5168
22 | 2550129.7039 | 1168306.4246 | 2550129.3647 | 1168305.5759
23 | 2550074.1074 | 1168345.0429 | 2549859.3667 | 1168228.9267
24 | 2550174.7703 | 1168178.6518 | 2550170.9481 | 1168164.65 | 2550164.8436 | 1168113.1779
25 | 2550184.0868 | 1168212.0947 | 2550182.8052 | 1168208.0857 | 2550174.7703 | 1168178.6518
26 | 2550080.4815 | 1168351.7301 | 2550074.1074 | 1168345.0429
27 | 2550080.4815 | 1168351.7301 | 2550092.4613 | 1168364.2983 | 2550100.6247 | 1168372.8934
28 | 2549839.0967 | 1168700.7222 | 2549718.2446 | 1168705.5344
29 | 2549844.6391 | 1168713.2418 | 2549839.0967 | 1168700.7222
30 | 2549888.9225 | 1168745.0818 | 2549876.843 | 1168735.1841 | 2549854.1959 | 1168723.9898 | 2549844.6391 | 1168713.2418 | 2549844.6391 | 1168713.2418
31 | 2550147.9763 | 1168594.7704 | 2550131.6621 | 1168714.29
32 | 2550147.9763 | 1168594.7704 | 2550154.3403 | 1168587.4591
33 | 2550107.6397 | 1168724.8932 | 2550119.4123 | 1168718.5852 | 2550129.8699 | 1168714.4182 | 2550131.6621 | 1168714.29
34 | 2550133.5827 | 1168727.6203 | 2550134.3697 | 1168726.3538 | 2550135.2746 | 1168722.9 | 2550135.0095 | 1168718.6332 | 2550133.3336 | 1168714.9674 | 2550131.805 | 1168714.2798 | 2550131.6621 | 1168714.29
35 | 2550157.0353 | 1168584.3629 | 2550154.3403 | 1168587.4591
36 | 2549888.9225 | 1168745.0818 | 2549908.7537 | 1168716.5964
37 | 2549908.7537 | 1168716.5964 | 2549911.2364 | 1168713.3072 | 2549916.4803 | 1168706.1707 | 2549918.7503 | 1168703.9839 | 2549920.3752 | 1168703.37 | 2549923.3853 | 1168702.7445 | 2549926.5157 | 1168702.785 | 2549928.0572 | 1168703.0271
38 | 2549935.1792 | 1168751.3497 | 2549942.4741 | 1168757.9479 | 2549957.2426 | 1168758.6583 | 2549969.2435 | 1168762.449 | 2549987.2259 | 1168781.4535 | 2549995.6426 | 1168788.5982
39 | 2549935.1792 | 1168751.3497 | 2550000.2628 | 1168738.822 | 2550022.871 | 1168738.0553 | 2550044.8438 | 1168739.0949 | 2550060.6785 | 1168739.163 | 2550070.4591 | 1168745.6072
40 | 2549935.1792 | 1168751.3497 | 2549928.0572 | 1168703.0271
41 | 2549995.6426 | 1168788.5982 | 2550008.5114 | 1168794.6052 | 2550041.6492 | 1168802.9334 | 2550060.4727 | 1168805.325
42 | 2550070.4591 | 1168745.6072 | 2550074.2175 | 1168740.1841 | 2550080.9037 | 1168733.4582 | 2550083.5929 | 1168731.9794 | 2550086.9225 | 1168731.129 | 2550095.6505 | 1168729.7111 | 2550103.0142 | 1168727.1374 | 2550107.3361 | 1168725.0558 | 2550107.6397 | 1168724.8932
43 | 2550266.2395 | 1168601.0581 | 2550267.5801 | 1168601.0639
44 | 2550289.4399 | 1168600.5654 | 2550286.4293 | 1168601.1462 | 2550267.5801 | 1168601.0639
45 | 2550289.4399 | 1168600.5654 | 2550292.2286 | 1168599.0748 | 2550296.3002 | 1168594.483 | 2550298.1131 | 1168590.6771 | 2550298.5483 | 1168588.7169
46 | 2550289.4399 | 1168600.5654 | 2550288.2275 | 1168605.7226 | 2550286.7198 | 1168608.481 | 2550279.7619 | 1168616.9338
47 | 2550298.5483 | 1168588.7169 | 2550299.0056 | 1168586.6453 | 2550298.7332 | 1168583.3236 | 2550297.3206 | 1168580.0224 | 2550294.3697 | 1168576.7229 | 2550286.1294 | 1168569.6096 | 2550280.6946 | 1168563.9517 | 2550264.5198 | 1168543.2526 | 2550261.8652 | 1168538.7723
48 | 2550298.5483 | 1168588.7169 | 2550299.9739 | 1168592.6627 | 2550299.8829 | 1168600.1341 | 2550299.8148 | 1168604.3479
49 | 2550257.2982 | 1168527.0261 | 2550261.8652 | 1168538.7723
50 | 2550300.2497 | 1168616.6843 | 2550299.3523 | 1168609.9771 | 2550299.7817 | 1168606.3938 | 2550299.8148 | 1168604.3479
51 | 2550257.2982 | 1168527.0261 | 2550250.2995 | 1168510.1979
52 | 2550257.2982 | 1168527.0261 | 2550265.7757 | 1168535.0378 | 2550267.6531 | 1168536.5234
53 | 2550250.2995 | 1168510.1979 | 2550242.6117 | 1168491.7126
54 | 2550267.6531 | 1168536.5234 | 2550280.4438 | 1168546.6446 | 2550296.715 | 1168557.76 | 2550298.6245 | 1168558.8974
55 | 2550349.8407 | 1168586.6472 | 2550348.6863 | 1168586.1778 | 2550336.8459 | 1168580.3326
56 | 2550397.5572 | 1168661.6912 | 2550394.0552 | 1168660.2194 | 2550392.527 | 1168658.6646 | 2550391.67 | 1168656.8373 | 2550389.3507 | 1168641.0704 | 2550386.5183 | 1168627.1197 | 2550385.1101 | 1168622.4956 | 2550380.8014 | 1168612.3369 | 2550376.2398 | 1168602.1359 | 2550372.7721 | 1168596.4838 | 2550370.9321 | 1168594.2534 | 2550368.6909 | 1168592.5488 | 2550366.4553 | 1168591.5224 | 2550362.2205 | 1168590.279 | 2550358.7797 | 1168589.7405 | 2550354.9831 | 1168588.7381 | 2550349.8407 | 1168586.6472
57 | 2550336.8459 | 1168580.3326 | 2550327.469 | 1168575.7035 | 2550320.4962 | 1168571.926 | 2550298.6245 | 1168558.8974
58 | 2550397.5572 | 1168661.6912 | 2550397.0323 | 1168656.5261 | 2550394.7884 | 1168641.5478
59 | 2550397.5572 | 1168661.6912 | 2550399.9857 | 1168685.0947 | 2550407.2328 | 1168687.8362
60 | 2550394.7884 | 1168641.5478 | 2550393.3232 | 1168633.5903
61 | 2550332.4585 | 1168709.5113 | 2550334.6059 | 1168702.6788 | 2550352.2844 | 1168707.2903 | 2550357.6653 | 1168705.5448 | 2550361.5124 | 1168703.4118 | 2550369.2449 | 1168695.4547 | 2550376.5504 | 1168687.6789 | 2550379.3242 | 1168688.0895 | 2550381.7653 | 1168688.0582 | 2550387.3515 | 1168686.1443 | 2550394.3668 | 1168684.9078 | 2550396.8217 | 1168684.7096 | 2550399.9857 | 1168685.0947 | 2550407.2328 | 1168687.8362
62 | 2550407.2328 | 1168687.8362 | 2550405.2079 | 1168673.4231 | 2550405.9669 | 1168656.0186 | 2550409.3011 | 1168646.4637 | 2550411.898 | 1168637.5152 | 2550412.5182 | 1168625.537 | 2550413.2642 | 1168610.2561 | 2550415.9281 | 1168600.4952
63 | 2550393.3232 | 1168633.5903 | 2550390.429 | 1168617.8713 | 2550386.3647 | 1168601.1738 | 2550378.5677 | 1168573.6459 | 2550374.3482 | 1168563.1752 | 2550357.5826 | 1168541.3135 | 2550330.5007 | 1168511.2244
64 | 2550332.4585 | 1168709.5113 | 2550324.8007 | 1168706.173 | 2550320.2792 | 1168704.7013
65 | 2550242.0219 | 1168490.2836 | 2550242.0703 | 1168490.4107 | 2550242.6117 | 1168491.7126
66 | 2550235.1321 | 1168371.9607 | 2550227.0419 | 1168340.5778 | 2550213.6128 | 1168304.9926 | 2550200.1241 | 1168262.2596 | 2550197.6351 | 1168254.4739
67 | 2550197.6351 | 1168254.4739 | 2550184.0868 | 1168212.0947
68 | 2550197.6351 | 1168254.4739 | 2550318.6327 | 1168240.2765
69 | 2550232.6787 | 1168465.7062 | 2550242.0219 | 1168490.2836
70 | 2550232.6787 | 1168465.7062 | 2550228.3152 | 1168454.2279 | 2550219.3184 | 1168436.4142
71 | 2550203.8526 | 1168413.996 | 2550213.834 | 1168425.555 | 2550219.3184 | 1168436.4142
72 | 2550179.6736 | 1168456.4553 | 2550182.3525 | 1168467.5279 | 2550184.9861 | 1168479.5902 | 2550185.8591 | 1168484.2804
73 | 2550197.8952 | 1168534.59 | 2550191.4379 | 1168512.7431 | 2550187.077 | 1168490.8232 | 2550185.8591 | 1168484.2804
74 | 2550179.6736 | 1168456.4553 | 2550176.6899 | 1168458.4256 | 2550175.5823 | 1168460.5248 | 2550175.5448 | 1168462.4595 | 2550176.0935 | 1168467.7022 | 2550177.2062 | 1168479.099 | 2550176.7855 | 1168488.3297 | 2550175.3414 | 1168496.9018 | 2550175.0885 | 1168502.3846 | 2550175.8391 | 1168539.2647 | 2550174.4522 | 1168549.1815
75 | 2550174.267 | 1168443.171 | 2550179.6736 | 1168456.4553
76 | 2550197.8952 | 1168534.59 | 2550203.8935 | 1168555.5403
77 | 2550197.8952 | 1168534.59 | 2550202.6426 | 1168540.0441
78 | 2550174.4522 | 1168549.1815 | 2550167.9056 | 1168547.8908 | 2550163.1425 | 1168545.7181 | 2550162.9561 | 1168545.5423
79 | 2550174.4522 | 1168549.1815 | 2550172.8338 | 1168560.7234 | 2550172.0125 | 1168564.1098 | 2550170.7332 | 1168567.6445 | 2550168.7475 | 1168570.9072 | 2550157.0353 | 1168584.3629
80 | 2550174.267 | 1168443.171 | 2550158.4837 | 1168377.6005 | 2550150.0071 | 1168356.8599
81 | 2550174.267 | 1168443.171 | 2550167.0851 | 1168441.8855 | 2550157.6647 | 1168441.0745 | 2550144.1552 | 1168434.4833 | 2550137.4607 | 1168425.1607
82 | 2550220.9618 | 1168559.4228 | 2550212.2675 | 1168551.1017 | 2550202.6426 | 1168540.0441
83 | 2550152.4233 | 1168520.5031 | 2550151.9027 | 1168527.6575 | 2550152.7111 | 1168532.8424 | 2550157.0563 | 1168539.9768 | 2550162.9561 | 1168545.5423
84 | 2550150.0071 | 1168356.8599 | 2550145.7617 | 1168346.4711
85 | 2550150.0071 | 1168356.8599 | 2550164.6126 | 1168360.8629 | 2550177.7484 | 1168369.436 | 2550188.159 | 1168383.7947
86 | 2550137.4607 | 1168425.1607 | 2550135.5371 | 1168422.482 | 2550130.1371 | 1168407.4387
87 | 2550155.9162 | 1168492.1719 | 2550155.7845 | 1168495.6526 | 2550154.7269 | 1168502.843 | 2550153.0496 | 1168511.8951 | 2550152.4233 | 1168520.5031
88 | 2550145.7617 | 1168346.4711 | 2550143.3742 | 1168340.6287 | 2550137.9547 | 1168327.0686
89 | 2550188.159 | 1168383.7947 | 2550188.5566 | 1168384.3431 | 2550191.0502 | 1168389.6942
90 | 2550130.1371 | 1168407.4387 | 2550128.6579 | 1168403.3179 | 2550122.7363 | 1168394.4757
91 | 2550203.8526 | 1168413.996 | 2550200.6427 | 1168410.2787 | 2550198.715 | 1168406.142
92 | 2550198.715 | 1168406.142 | 2550192.9822 | 1168393.8399
93 | 2550192.9822 | 1168393.8399 | 2550191.0502 | 1168389.6942
94 | 2550137.9547 | 1168327.0686 | 2550129.7039 | 1168306.4246
95 | 2550122.7363 | 1168394.4757 | 2550120.0324 | 1168390.4383 | 2550105.0698 | 1168377.4994
96 | 2550105.0698 | 1168377.4994 | 2550104.6762 | 1168377.159 | 2550100.6247 | 1168372.8934
97 | 2550125.4975 | 1168739.5044 | 2550125.5687 | 1168739.2228 | 2550128.9324 | 1168735.1037 | 2550133.5827 | 1168727.6203

## bus_geodata
| x | y | coords
0 | 2548914.2392 | 1168720.8932
1 | 2548918.8333 | 1168749.6717
2 | 2548960.2391 | 1168693.663
3 | 2548807.9304 | 1168594.5864
4 | 2548939.9846 | 1168772.0766
5 | 2549358.8397 | 1168760.4653
6 | 2548730.31 | 1168600.5673
7 | 2548761.0984 | 1168605.0922
8 | 2548773.4013 | 1168609.633
9 | 2548742.7521 | 1168554.811
10 | 2548788.181 | 1168612.9094
11 | 2549417.9279 | 1168706.8461
12 | 2549622.0633 | 1168539.1152
13 | 2549897.4974 | 1168148.8193
14 | 2549900.0507 | 1168147.7151
15 | 2549880.3678 | 1168159.3251
16 | 2549896.6384 | 1168108.4439
17 | 2549876.8782 | 1168187.7472
18 | 2550134.9822 | 1168232.5853
19 | 2550171.4505 | 1168290.5168
20 | 2550129.3647 | 1168305.5759
21 | 2549859.3667 | 1168228.9267
22 | 2550164.8436 | 1168113.1779
23 | 2550174.7703 | 1168178.6518
24 | 2550074.1074 | 1168345.0429
25 | 2550080.4815 | 1168351.7301
26 | 2549718.2446 | 1168705.5344
27 | 2549839.0967 | 1168700.7222
28 | 2549844.6391 | 1168713.2418
29 | 2550147.9763 | 1168594.7704
30 | 2550131.6621 | 1168714.29
31 | 2550154.3403 | 1168587.4591
32 | 2549888.9225 | 1168745.0818
33 | 2549908.7537 | 1168716.5964
34 | 2549935.1792 | 1168751.3497
35 | 2549995.6426 | 1168788.5982
36 | 2550070.4591 | 1168745.6072
37 | 2549928.0572 | 1168703.0271
38 | 2550060.4727 | 1168805.325
39 | 2550107.6397 | 1168724.8932
40 | 2548731.1541 | 1168548.2183
41 | 2550267.5801 | 1168601.0639
42 | 2550266.2395 | 1168601.0581
43 | 2550289.4399 | 1168600.5654
44 | 2550298.5483 | 1168588.7169
45 | 2550279.7619 | 1168616.9338
46 | 2550261.8652 | 1168538.7723
47 | 2550299.8148 | 1168604.3479
48 | 2550257.2982 | 1168527.0261
49 | 2550300.2497 | 1168616.6843
50 | 2550250.2995 | 1168510.1979
51 | 2550267.6531 | 1168536.5234
52 | 2550349.8407 | 1168586.6472
53 | 2550336.8459 | 1168580.3326
54 | 2550397.5572 | 1168661.6912
55 | 2550298.6245 | 1168558.8974
56 | 2550394.7884 | 1168641.5478
57 | 2550407.2328 | 1168687.8362
58 | 2550393.3232 | 1168633.5903
59 | 2550332.4585 | 1168709.5113
60 | 2550415.9281 | 1168600.4952
61 | 2550320.2792 | 1168704.7013
62 | 2550330.5007 | 1168511.2244
63 | 2550242.6117 | 1168491.7126
64 | 2550235.1321 | 1168371.9607
65 | 2550197.6351 | 1168254.4739
66 | 2550184.0868 | 1168212.0947
67 | 2550318.6327 | 1168240.2765
68 | 2550242.0219 | 1168490.2836
69 | 2550232.6787 | 1168465.7062
70 | 2550219.3184 | 1168436.4142
71 | 2550185.8591 | 1168484.2804
72 | 2550179.6736 | 1168456.4553
73 | 2550197.8952 | 1168534.59
74 | 2550174.4522 | 1168549.1815
75 | 2550174.267 | 1168443.171
76 | 2550203.8935 | 1168555.5403
77 | 2550202.6426 | 1168540.0441
78 | 2550162.9561 | 1168545.5423
79 | 2550157.0353 | 1168584.3629
80 | 2550150.0071 | 1168356.8599
81 | 2550137.4607 | 1168425.1607
82 | 2550220.9618 | 1168559.4228
83 | 2550152.4233 | 1168520.5031
84 | 2550145.7617 | 1168346.4711
85 | 2550188.159 | 1168383.7947
86 | 2550130.1371 | 1168407.4387
87 | 2550203.8526 | 1168413.996
88 | 2550198.715 | 1168406.142
89 | 2550192.9822 | 1168393.8399
90 | 2550191.0502 | 1168389.6942
91 | 2550137.9547 | 1168327.0686
92 | 2550129.7039 | 1168306.4246
93 | 2550122.7363 | 1168394.4757
94 | 2550105.0698 | 1168377.4994
95 | 2550100.6247 | 1168372.8934
96 | 2550125.4975 | 1168739.5044
97 | 2550133.5827 | 1168727.6203
98 | 2550155.9162 | 1168492.1719
99 | 2550174.267 | 1168443.171

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1