## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5743-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5743-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5743-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5743-1_0_2_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_5743-1_0_2_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_5743-1_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5743-1_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5743-1_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5743-1_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5743-1_0_2_node_115 | 0.4 | n |  | TRUE
10 | bus_LV_5743-1_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_5743-1_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_5743-1_0_2_node_117 | 0.4 | n |  | TRUE
13 | bus_LV_5743-1_0_2_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_5743-1_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5743-1_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5743-1_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5743-1_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5743-1_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5743-1_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5743-1_0_2_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_5743-1_0_2_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_5743-1_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5743-1_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5743-1_0_2_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_5743-1_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_5743-1_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5743-1_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_5743-1_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5743-1_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5743-1_0_2_node_111 | 0.4 | n |  | TRUE
31 | bus_LV_5743-1_0_2_node_116 | 0.4 | n |  | TRUE
32 | bus_LV_5743-1_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5743-1_0_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_5743-1_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5743-1_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5743-1_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5743-1_0_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_5743-1_0_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_5743-1_0_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_5743-1_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5743-1_0_2_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5743-1_0_2_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5743-1_0_2_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5743-1_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5743-1_0_2_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_5743-1_0_2_node_107 | 0.4 | n |  | TRUE
47 | bus_LV_5743-1_0_2_node_106 | 0.4 | n |  | TRUE
48 | bus_LV_5743-1_0_2_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_5743-1_0_2_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_5743-1_0_2_node_108 | 0.4 | n |  | TRUE
51 | bus_LV_5743-1_0_2_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_5743-1_0_2_node_101 | 0.4 | n |  | TRUE
53 | bus_LV_5743-1_0_2_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_5743-1_0_2_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_5743-1_0_2_node_105 | 0.4 | n |  | TRUE
56 | bus_LV_5743-1_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5743-1_0_2_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_5743-1_0_2_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5743-1_0_2_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_5743-1_0_2_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_5743-1_0_2_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_5743-1_0_2_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5743-1_0_2_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_5743-1_0_2_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_5743-1_0_2_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_5743-1_0_2_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_5743-1_0_2_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_5743-1_0_2_node_100 | 0.4 | n |  | TRUE
69 | bus_LV_5743-1_0_2_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_5743-1_0_2_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_5743-1_0_2_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5743-1_0_2_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_5743-1_0_2_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_5743-1_0_2_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5743-1_0_2_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5743-1_0_2_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_5743-1_0_2_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_5743-1_0_2_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_5743-1_0_2_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_5743-1_0_2_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_5743-1_0_2_node_102 | 0.4 | n |  | TRUE
82 | bus_LV_5743-1_0_2_node_103 | 0.4 | n |  | TRUE
83 | bus_LV_5743-1_0_2_node_109 | 0.4 | n |  | TRUE
84 | bus_LV_5743-1_0_2_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_5743-1_0_2_node_114 | 0.4 | n |  | TRUE
86 | bus_LV_5743-1_0_2_node_118 | 0.4 | n |  | TRUE
87 | bus_LV_5743-1_0_2_node_119 | 0.4 | n |  | TRUE
88 | bus_MV_319_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5743-1_0_2_load_0 | 0 | 0.00054733 | 0.00013717 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5743-1_0_2_load_42 | 3 | 0.0013439 | 0.00033682 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5743-1_0_2_load_43 | 4 | 0.0026409 | 0.00066188 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5743-1_0_2_load_3 | 5 | 0.0020391 | 0.00051106 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5743-1_0_2_load_4 | 6 | 0.002923 | 0.00073257 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5743-1_0_2_load_6 | 8 | 0.00055885 | 0.00014006 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5743-1_0_2_load_115 | 9 | 0.00293 | 0.00073433 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5743-1_0_2_load_14 | 11 | 0.0018689 | 0.00046839 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5743-1_0_2_load_117 | 12 | 0.0055966 | 0.0014026 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5743-1_0_2_load_7 | 14 | 0.0013827 | 0.00034654 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5743-1_0_2_load_11 | 18 | 0.00062864 | 0.00015755 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5743-1_0_2_load_12 | 19 | 0.0010076 | 0.00025252 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5743-1_0_2_load_33 | 21 | 0.00084641 | 0.00021213 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5743-1_0_2_load_17 | 23 | 0.0048427 | 0.0012137 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5743-1_0_2_load_110 | 24 | 0.011183 | 0.0028028 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5743-1_0_2_load_21 | 26 | 0.0035587 | 0.0008919 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5743-1_0_2_load_22 | 27 | 0.00033582 | 8.4164e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5743-1_0_2_load_18 | 28 | 0.0020937 | 0.00052472 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5743-1_0_2_load_116 | 31 | 0.0048044 | 0.0012041 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5743-1_0_2_load_35 | 33 | 0.00080722 | 0.00020231 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5743-1_0_2_load_23 | 34 | 0.00075366 | 0.00018888 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5743-1_0_2_load_26 | 36 | 0.0017835 | 0.00044698 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5743-1_0_2_load_39 | 39 | 0.0026644 | 0.00066777 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5743-1_0_2_load_36 | 40 | 0.00081498 | 0.00020425 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5743-1_0_2_load_29 | 41 | 0.00056231 | 0.00014093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5743-1_0_2_load_30 | 42 | 0.00069825 | 0.000175 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5743-1_0_2_load_32 | 43 | 0.00089264 | 0.00022372 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5743-1_0_2_load_106 | 47 | 0.00067634 | 0.00016951 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5743-1_0_2_load_57 | 48 | 0.0056652 | 0.0014198 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5743-1_0_2_load_81 | 49 | 0.0021166 | 0.00053046 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5743-1_0_2_load_94 | 51 | 0.00054264 | 0.000136 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5743-1_0_2_load_98 | 53 | 0.0015355 | 0.00038484 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5743-1_0_2_load_93 | 54 | 0.0016459 | 0.00041251 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5743-1_0_2_load_105 | 55 | 0.0028414 | 0.00071213 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5743-1_0_2_load_99 | 57 | 0.0013432 | 0.00033665 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5743-1_0_2_load_44 | 58 | 0.00047439 | 0.00011889 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5743-1_0_2_load_69 | 59 | 0.00083311 | 0.0002088 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5743-1_0_2_load_70 | 60 | 0.0040814 | 0.0010229 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5743-1_0_2_load_46 | 62 | 0.0020948 | 0.00052502 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5743-1_0_2_load_49 | 65 | 0.00078811 | 0.00019752 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5743-1_0_2_load_51 | 66 | 0.0024758 | 0.00062048 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5743-1_0_2_load_59 | 67 | 0.0016365 | 0.00041015 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5743-1_0_2_load_100 | 68 | 0.004987 | 0.0012498 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5743-1_0_2_load_52 | 70 | 0.0012066 | 0.00030241 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5743-1_0_2_load_53 | 71 | 0.0017255 | 0.00043245 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5743-1_0_2_load_56 | 72 | 0.0030703 | 0.00076949 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5743-1_0_2_load_58 | 73 | 0.0013578 | 0.0003403 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5743-1_0_2_load_71 | 75 | 0.0027711 | 0.0006945 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5743-1_0_2_load_77 | 76 | 0.0033205 | 0.0008322 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5743-1_0_2_load_76 | 77 | 0.0011686 | 0.00029289 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5743-1_0_2_load_79 | 79 | 0.0033832 | 0.00084792 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5743-1_0_2_load_80 | 80 | 0.0017409 | 0.0004363 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5743-1_0_2_load_109 | 83 | 0.0026529 | 0.00066489 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5743-1_0_2_load_95 | 84 | 0.0032906 | 0.00082471 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5743-1_0_2_load_114 | 85 | 0.0022259 | 0.00055786 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5743-1_0_2_load_118 | 86 | 0.0071368 | 0.0017886 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5743-1_0_2_load_119 | 87 | 0.0083294 | 0.0020876 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5743-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0086099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5743-1_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.00964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5743-1_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5743-1_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.011478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5743-1_0_2_line_4 | NAYY 4x150 SE | 4 | 58 | 0.031088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5743-1_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.01134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5743-1_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.033074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5743-1_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.073774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5743-1_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.089673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5743-1_0_2_line_9 | NAYY 4x150 SE | 8 | 11 | 0.024371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5743-1_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.038556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5743-1_0_2_line_11 | NAYY 4x150 SE | 10 | 16 | 0.002922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5743-1_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.04468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5743-1_0_2_line_13 | NAYY 4x150 SE | 13 | 20 | 0.034788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5743-1_0_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.020627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5743-1_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.010173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5743-1_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.005499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5743-1_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.03957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5743-1_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.010049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5743-1_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.039878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5743-1_0_2_line_20 | NAYY 4x150 SE | 17 | 21 | 0.022115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5743-1_0_2_line_21 | NAYY 4x150 SE | 18 | 22 | 0.004937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5743-1_0_2_line_22 | NAYY 4x150 SE | 19 | 23 | 0.013038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5743-1_0_2_line_23 | NAYY 4x150 SE | 20 | 24 | 0.039064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5743-1_0_2_line_24 | NAYY 4x150 SE | 21 | 25 | 0.0058245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5743-1_0_2_line_25 | NAYY 4x150 SE | 22 | 26 | 0.026462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5743-1_0_2_line_26 | NAYY 4x150 SE | 22 | 27 | 0.011257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5743-1_0_2_line_27 | NAYY 4x150 SE | 23 | 28 | 0.00058701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5743-1_0_2_line_28 | NAYY 4x150 SE | 25 | 44 | 0.030996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5743-1_0_2_line_29 | NAYY 4x150 SE | 25 | 41 | 0.0097228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5743-1_0_2_line_30 | NAYY 4x150 SE | 26 | 32 | 0.0050454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5743-1_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.014648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5743-1_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.031167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5743-1_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.018529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5743-1_0_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.010603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5743-1_0_2_line_35 | NAYY 4x150 SE | 33 | 40 | 0.032106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5743-1_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.014433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5743-1_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.010883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5743-1_0_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.017662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5743-1_0_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.014409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5743-1_0_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.032121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5743-1_0_2_line_41 | NAYY 4x150 SE | 38 | 51 | 0.042948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5743-1_0_2_line_42 | NAYY 4x150 SE | 38 | 52 | 0.044691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5743-1_0_2_line_43 | NAYY 4x150 SE | 39 | 53 | 0.0092387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5743-1_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.018078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5743-1_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.025321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5743-1_0_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.01881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5743-1_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.021708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5743-1_0_2_line_48 | NAYY 4x150 SE | 44 | 47 | 0.019847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_5743-1_0_2_line_49 | NAYY 4x150 SE | 45 | 48 | 0.017756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5743-1_0_2_line_50 | NAYY 4x150 SE | 45 | 49 | 0.021899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5743-1_0_2_line_51 | NAYY 4x150 SE | 46 | 50 | 0.012887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5743-1_0_2_line_52 | NAYY 4x150 SE | 48 | 61 | 0.010717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5743-1_0_2_line_53 | NAYY 4x150 SE | 50 | 83 | 0.029251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5743-1_0_2_line_54 | NAYY 4x150 SE | 50 | 80 | 0.0046203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5743-1_0_2_line_55 | NAYY 4x150 SE | 51 | 54 | 0.01048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5743-1_0_2_line_56 | NAYY 4x150 SE | 52 | 55 | 0.035654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5743-1_0_2_line_57 | NAYY 4x150 SE | 52 | 56 | 0.017024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5743-1_0_2_line_58 | NAYY 4x150 SE | 53 | 57 | 0.0074643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5743-1_0_2_line_59 | NAYY 4x150 SE | 54 | 84 | 0.00052578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5743-1_0_2_line_60 | NAYY 4x150 SE | 56 | 68 | 0.028458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5743-1_0_2_line_61 | NAYY 4x150 SE | 56 | 64 | 0.008128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5743-1_0_2_line_62 | NAYY 4x150 SE | 57 | 85 | 0.007836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5743-1_0_2_line_63 | NAYY 4x150 SE | 58 | 59 | 0.078899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5743-1_0_2_line_64 | NAYY 4x150 SE | 59 | 60 | 0.02192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5743-1_0_2_line_65 | NAYY 4x150 SE | 60 | 76 | 0.016322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5743-1_0_2_line_66 | NAYY 4x150 SE | 61 | 72 | 0.0096113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5743-1_0_2_line_67 | NAYY 4x150 SE | 61 | 70 | 0.027233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5743-1_0_2_line_68 | NAYY 4x150 SE | 62 | 63 | 0.028661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5743-1_0_2_line_69 | NAYY 4x150 SE | 62 | 64 | 0.028566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5743-1_0_2_line_70 | NAYY 4x150 SE | 63 | 65 | 0.023696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5743-1_0_2_line_71 | NAYY 4x150 SE | 64 | 66 | 0.033584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5743-1_0_2_line_72 | NAYY 4x150 SE | 65 | 67 | 0.0025077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5743-1_0_2_line_73 | NAYY 4x150 SE | 67 | 69 | 0.04381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5743-1_0_2_line_74 | NAYY 4x150 SE | 69 | 73 | 0.032278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5743-1_0_2_line_75 | NAYY 4x150 SE | 69 | 71 | 0.019459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5743-1_0_2_line_76 | NAYY 4x150 SE | 70 | 71 | 0.020928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5743-1_0_2_line_77 | NAYY 4x150 SE | 72 | 74 | 0.018507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5743-1_0_2_line_78 | NAYY 4x150 SE | 74 | 75 | 0.0086474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5743-1_0_2_line_79 | NAYY 4x150 SE | 76 | 77 | 0.018589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5743-1_0_2_line_80 | NAYY 4x150 SE | 77 | 78 | 0.065512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5743-1_0_2_line_81 | NAYY 4x150 SE | 78 | 79 | 0.01678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5743-1_0_2_line_82 | NAYY 4x150 SE | 78 | 80 | 0.026112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5743-1_0_2_line_83 | NAYY 4x150 SE | 79 | 81 | 0.016878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5743-1_0_2_line_84 | NAYY 4x150 SE | 81 | 82 | 0.026721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5743-1_0_2_line_85 | NAYY 4x150 SE | 82 | 86 | 0.010994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5743-1_0_2_line_86 | NAYY 4x150 SE | 82 | 87 | 0.020056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5743-1_0_2_trafo_106 | 0.25 MVA 20/0.4 kV | 88 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2529669.9334 | 1172285.264 | 2529663.6502 | 1172279.3775
1 | 2529679.5999 | 1172285.1061 | 2529669.9334 | 1172285.264
2 | 2529679.5999 | 1172285.1061 | 2529670.08 | 1172263.7724
3 | 2529670.08 | 1172263.7724 | 2529668.9004 | 1172261.129 | 2529662.5309 | 1172255.375
4 | 2529639.462 | 1172234.5349 | 2529643.3879 | 1172238.082 | 2529662.5309 | 1172255.375
5 | 2529785.7837 | 1171954.213 | 2529793.8978 | 1171946.2907
6 | 2529762.1188 | 1171977.3185 | 2529785.7837 | 1171954.213
7 | 2529762.1188 | 1171977.3185 | 2529783.8725 | 1171997.4529 | 2529816.2543 | 1172027.4382
8 | 2529681.3207 | 1171938.4214 | 2529762.1188 | 1171977.3185
9 | 2529833.7634 | 1172044.3807 | 2529825.7713 | 1172036.251 | 2529816.2543 | 1172027.4382
10 | 2529648.2546 | 1171937.3311 | 2529653.3874 | 1171942.5405 | 2529656.8044 | 1171944.9573 | 2529660.5909 | 1171946.914 | 2529662.5817 | 1171947.0796 | 2529664.7212 | 1171946.8766 | 2529669.5506 | 1171945.1412 | 2529675.4391 | 1171942.4038 | 2529681.3207 | 1171938.4214
11 | 2529648.2546 | 1171937.3311 | 2529645.6465 | 1171938.6624
12 | 2529657.1278 | 1171980.9629 | 2529669.2285 | 1172008.2698 | 2529655.8804 | 1172014.7857
13 | 2529657.1278 | 1171980.9629 | 2529647.7551 | 1171985.9869 | 2529645.7604 | 1171983.5311 | 2529638.2547 | 1171985.9984 | 2529634.5255 | 1171986.309 | 2529634.4444 | 1171987.8776 | 2529633.7876 | 1171989.2638 | 2529632.6295 | 1171990.3114 | 2529631.1671 | 1171990.8399 | 2529629.6056 | 1171990.7582 | 2529628.1904 | 1171990.0967
14 | 2529618.2274 | 1171952.6923 | 2529636.5901 | 1171943.2964
15 | 2529645.6465 | 1171938.6624 | 2529636.5901 | 1171943.2964
16 | 2529618.2274 | 1171952.6923 | 2529613.3231 | 1171955.2069
17 | 2529618.2274 | 1171952.6923 | 2529594.7167 | 1171920.8646
18 | 2529645.6465 | 1171938.6624 | 2529641.9834 | 1171929.3047
19 | 2529613.3231 | 1171955.2069 | 2529615.3689 | 1171958.7516 | 2529628.518 | 1171983.478 | 2529627.3907 | 1171984.5362 | 2529626.6804 | 1171985.9343 | 2529626.6146 | 1171987.4915 | 2529627.1366 | 1171988.9529 | 2529628.1904 | 1171990.0967
20 | 2529613.3231 | 1171955.2069 | 2529598.8635 | 1171963.4815 | 2529594.6284 | 1171966.9207
21 | 2529591.7833 | 1171916.8936 | 2529594.7167 | 1171920.8646
22 | 2529637.2307 | 1171917.1632 | 2529641.9834 | 1171929.3047
23 | 2529628.1904 | 1171990.0967 | 2529622.56 | 1171995.2657 | 2529618.9179 | 1171999.7444 | 2529615.557 | 1172007.3104 | 2529613.787 | 1172010.3107 | 2529610.5083 | 1172017.7201 | 2529604.9932 | 1172015.9779
24 | 2529590.948 | 1171971.4345 | 2529594.6127 | 1171966.9333 | 2529594.6284 | 1171966.9207
25 | 2529591.7833 | 1171916.8936 | 2529576.0564 | 1171895.6123
26 | 2529591.7833 | 1171916.8936 | 2529600.6785 | 1171909.9954
27 | 2529637.0168 | 1171916.6166 | 2529637.2307 | 1171917.1632
28 | 2529577.7532 | 1171999.45 | 2529585.4871 | 1171981.2598 | 2529590.948 | 1171971.4345
29 | 2529590.948 | 1171971.4345 | 2529586.8211 | 1171971.7498 | 2529582.7022 | 1171972.7544 | 2529581.4746 | 1171973.3021
30 | 2529573.0579 | 1171891.5547 | 2529576.0564 | 1171895.6123
31 | 2529632.8548 | 1171902.6921 | 2529633.3048 | 1171907.1338 | 2529637.0168 | 1171916.6166
32 | 2529633.9169 | 1171873.2851 | 2529633.1404 | 1171876.2069 | 2529634.7391 | 1171885.9715 | 2529636.8209 | 1171894.5409 | 2529636.8511 | 1171897.1086 | 2529632.8548 | 1171902.6921
33 | 2529633.9169 | 1171873.2851 | 2529621.8552 | 1171877.329 | 2529616.5291 | 1171879.7596
34 | 2529573.0579 | 1171891.5547 | 2529570.4988 | 1171893.8083 | 2529565.1012 | 1171898.5628
35 | 2529565.1012 | 1171898.5628 | 2529541.0094 | 1171919.7845
36 | 2529533.3211 | 1171884.6066 | 2529527.1187 | 1171871.5738
37 | 2529533.3211 | 1171884.6066 | 2529526.5799 | 1171887.0428 | 2529523.0862 | 1171888.3071
38 | 2529506.4785 | 1171894.3167 | 2529523.0862 | 1171888.3071
39 | 2529506.4785 | 1171894.3167 | 2529495.171 | 1171903.2881
40 | 2529506.4785 | 1171894.3167 | 2529474.7626 | 1171899.4035
41 | 2529495.171 | 1171903.2881 | 2529506.0918 | 1171924.5163 | 2529509.6781 | 1171943.2514 | 2529509.6781 | 1171943.2514
42 | 2529495.171 | 1171903.2881 | 2529488.8124 | 1171908.3325 | 2529462.8949 | 1171934.23
43 | 2529474.7626 | 1171899.4035 | 2529466.9058 | 1171900.6636 | 2529465.6499 | 1171900.9184
44 | 2529581.4746 | 1171973.3021 | 2529564.9657 | 1171980.6686
45 | 2529564.9657 | 1171980.6686 | 2529541.8421 | 1171990.9866
46 | 2529524.6649 | 1171998.6513 | 2529541.8421 | 1171990.9866
47 | 2529577.7532 | 1171999.45 | 2529570.7509 | 1172019.9995
48 | 2529577.7532 | 1171999.45 | 2529558.8887 | 1172005.6179
49 | 2529524.6649 | 1171998.6513 | 2529523.6376 | 1171999.108 | 2529509.5579 | 1172007.9617
50 | 2529524.6649 | 1171998.6513 | 2529531.9509 | 1172019.3024
51 | 2529570.7509 | 1172019.9995 | 2529566.5954 | 1172032.1998
52 | 2529500.486 | 1172013.6664 | 2529509.5579 | 1172007.9617
53 | 2529566.5954 | 1172032.1998 | 2529539.0381 | 1172042.2294
54 | 2529566.5954 | 1172032.1998 | 2529565.1578 | 1172036.5907
55 | 2529501.4507 | 1171949.7424 | 2529509.6781 | 1171943.2514
56 | 2529462.8949 | 1171934.23 | 2529481.7419 | 1171964.4954
57 | 2529462.8949 | 1171934.23 | 2529450.836 | 1171946.2788
58 | 2529465.6499 | 1171900.9184 | 2529458.3346 | 1171902.4025
59 | 2529501.0379 | 1171950.068 | 2529501.4507 | 1171949.7424
60 | 2529450.836 | 1171946.2788 | 2529441.2559 | 1171931.094 | 2529431.875 | 1171926.3679
61 | 2529450.836 | 1171946.2788 | 2529445.0748 | 1171952.0277
62 | 2529458.3346 | 1171902.4025 | 2529450.6551 | 1171903.9605
63 | 2529639.462 | 1172234.5349 | 2529600.3641 | 1172199.2094 | 2529593.0736 | 1172192.6247 | 2529582.8249 | 1172179.8445
64 | 2529573.583 | 1172160.2656 | 2529575.2004 | 1172164.8855 | 2529578.5802 | 1172174.5513 | 2529582.8249 | 1172179.8445
65 | 2529573.583 | 1172160.2656 | 2529570.6809 | 1172151.9757 | 2529569.4697 | 1172144.5349
66 | 2529500.486 | 1172013.6664 | 2529503.9696 | 1172022.6242
67 | 2529500.486 | 1172013.6664 | 2529477.5822 | 1172028.3994
68 | 2529404.1396 | 1171992.0103 | 2529421.1008 | 1171975.9903 | 2529424.8707 | 1171972.2222
69 | 2529445.0748 | 1171952.0277 | 2529424.8707 | 1171972.2222
70 | 2529404.1396 | 1171992.0103 | 2529415.9191 | 1172012.5707
71 | 2529445.0748 | 1171952.0277 | 2529462.946 | 1171980.4617
72 | 2529417.1657 | 1172014.7466 | 2529415.9191 | 1172012.5707
73 | 2529443.2079 | 1172049.4052 | 2529442.2635 | 1172049.1051 | 2529440.7785 | 1172047.7217 | 2529433.8113 | 1172040.6886 | 2529429.4964 | 1172035.4364 | 2529424.8595 | 1172028.1758 | 2529417.1657 | 1172014.7466
74 | 2529443.2079 | 1172049.4052 | 2529457.9878 | 1172078.1143
75 | 2529443.2079 | 1172049.4052 | 2529444.2004 | 1172049.249 | 2529448.6034 | 1172047.0404 | 2529459.9813 | 1172039.7214
76 | 2529477.5822 | 1172028.3994 | 2529459.9813 | 1172039.7214
77 | 2529510.6773 | 1172039.8726 | 2529503.9696 | 1172022.6242
78 | 2529510.6773 | 1172039.8726 | 2529502.8728 | 1172043.5964
79 | 2529566.4831 | 1172126.187 | 2529569.4697 | 1172144.5349
80 | 2529557.033 | 1172061.4066 | 2529556.8809 | 1172062.7869 | 2529565.3218 | 1172119.0532 | 2529566.4831 | 1172126.187
81 | 2529557.033 | 1172061.4066 | 2529540.998 | 1172066.3507
82 | 2529557.033 | 1172061.4066 | 2529565.1578 | 1172036.5907
83 | 2529524.8696 | 1172071.3237 | 2529540.998 | 1172066.3507
84 | 2529524.8696 | 1172071.3237 | 2529502.329 | 1172085.7748
85 | 2529502.329 | 1172085.7748 | 2529506.3734 | 1172095.9997
86 | 2529499.0889 | 1172072.3941 | 2529497.0161 | 1172075.0089 | 2529495.6989 | 1172077.4813 | 2529495.2818 | 1172079.732 | 2529495.5641 | 1172082.2746 | 2529496.2157 | 1172084.3458 | 2529497.4563 | 1172085.7654 | 2529498.5712 | 1172086.2526 | 2529500.0328 | 1172086.3021 | 2529502.329 | 1172085.7748

## bus_geodata
| x | y | coords
0 | 2529663.6502 | 1172279.3775
1 | 2529669.9334 | 1172285.264
2 | 2529679.5999 | 1172285.1061
3 | 2529670.08 | 1172263.7724
4 | 2529662.5309 | 1172255.375
5 | 2529785.7837 | 1171954.213
6 | 2529793.8978 | 1171946.2907
7 | 2529762.1188 | 1171977.3185
8 | 2529816.2543 | 1172027.4382
9 | 2529681.3207 | 1171938.4214
10 | 2529648.2546 | 1171937.3311
11 | 2529833.7634 | 1172044.3807
12 | 2529655.8804 | 1172014.7857
13 | 2529657.1278 | 1171980.9629
14 | 2529636.5901 | 1171943.2964
15 | 2529618.2274 | 1171952.6923
16 | 2529645.6465 | 1171938.6624
17 | 2529613.3231 | 1171955.2069
18 | 2529594.7167 | 1171920.8646
19 | 2529641.9834 | 1171929.3047
20 | 2529628.1904 | 1171990.0967
21 | 2529594.6284 | 1171966.9207
22 | 2529591.7833 | 1171916.8936
23 | 2529637.2307 | 1171917.1632
24 | 2529604.9932 | 1172015.9779
25 | 2529590.948 | 1171971.4345
26 | 2529576.0564 | 1171895.6123
27 | 2529600.6785 | 1171909.9954
28 | 2529637.0168 | 1171916.6166
29 | 2529632.8548 | 1171902.6921
30 | 2529633.9169 | 1171873.2851
31 | 2529616.5291 | 1171879.7596
32 | 2529573.0579 | 1171891.5547
33 | 2529565.1012 | 1171898.5628
34 | 2529527.1187 | 1171871.5738
35 | 2529533.3211 | 1171884.6066
36 | 2529523.0862 | 1171888.3071
37 | 2529506.4785 | 1171894.3167
38 | 2529495.171 | 1171903.2881
39 | 2529474.7626 | 1171899.4035
40 | 2529541.0094 | 1171919.7845
41 | 2529581.4746 | 1171973.3021
42 | 2529564.9657 | 1171980.6686
43 | 2529541.8421 | 1171990.9866
44 | 2529577.7532 | 1171999.45
45 | 2529524.6649 | 1171998.6513
46 | 2529570.7509 | 1172019.9995
47 | 2529558.8887 | 1172005.6179
48 | 2529509.5579 | 1172007.9617
49 | 2529531.9509 | 1172019.3024
50 | 2529566.5954 | 1172032.1998
51 | 2529509.6781 | 1171943.2514
52 | 2529462.8949 | 1171934.23
53 | 2529465.6499 | 1171900.9184
54 | 2529501.4507 | 1171949.7424
55 | 2529481.7419 | 1171964.4954
56 | 2529450.836 | 1171946.2788
57 | 2529458.3346 | 1171902.4025
58 | 2529639.462 | 1172234.5349
59 | 2529582.8249 | 1172179.8445
60 | 2529573.583 | 1172160.2656
61 | 2529500.486 | 1172013.6664
62 | 2529424.8707 | 1171972.2222
63 | 2529404.1396 | 1171992.0103
64 | 2529445.0748 | 1171952.0277
65 | 2529415.9191 | 1172012.5707
66 | 2529462.946 | 1171980.4617
67 | 2529417.1657 | 1172014.7466
68 | 2529431.875 | 1171926.3679
69 | 2529443.2079 | 1172049.4052
70 | 2529477.5822 | 1172028.3994
71 | 2529459.9813 | 1172039.7214
72 | 2529503.9696 | 1172022.6242
73 | 2529457.9878 | 1172078.1143
74 | 2529510.6773 | 1172039.8726
75 | 2529502.8728 | 1172043.5964
76 | 2529569.4697 | 1172144.5349
77 | 2529566.4831 | 1172126.187
78 | 2529557.033 | 1172061.4066
79 | 2529540.998 | 1172066.3507
80 | 2529565.1578 | 1172036.5907
81 | 2529524.8696 | 1172071.3237
82 | 2529502.329 | 1172085.7748
83 | 2529539.0381 | 1172042.2294
84 | 2529501.0379 | 1171950.068
85 | 2529450.6551 | 1171903.9605
86 | 2529506.3734 | 1172095.9997
87 | 2529499.0889 | 1172072.3941
88 | 2529553.6281 | 1172007.338

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1