## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5743-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5743-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5743-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5743-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5743-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5743-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5743-3_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5743-3_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5743-3_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_5743-3_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5743-3_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_5743-3_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5743-3_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5743-3_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5743-3_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5743-3_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5743-3_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_5743-3_0_4_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_5743-3_0_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_5743-3_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_5743-3_0_4_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_5743-3_0_4_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_5743-3_0_4_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_5743-3_0_4_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_5743-3_0_4_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_5743-3_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5743-3_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5743-3_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5743-3_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5743-3_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5743-3_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5743-3_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_5743-3_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_5743-3_0_4_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_5743-3_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5743-3_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5743-3_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_5743-3_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5743-3_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5743-3_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5743-3_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5743-3_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5743-3_0_4_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_5743-3_0_4_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_5743-3_0_4_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_5743-3_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5743-3_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5743-3_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5743-3_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5743-3_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5743-3_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_5743-3_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_5743-3_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_5743-3_0_4_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_5743-3_0_4_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_5743-3_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5743-3_0_4_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_5743-3_0_4_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_5743-3_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5743-3_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_5743-3_0_4_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_5743-3_0_4_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_5743-3_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_5743-3_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_5743-3_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_5743-3_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_5743-3_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5743-3_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5743-3_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_5743-3_0_4_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_5743-3_0_4_node_90 | 0.4 | n |  | TRUE
71 | bus_LV_5743-3_0_4_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_5743-3_0_4_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_5743-3_0_4_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_5743-3_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5743-3_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_5743-3_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_5743-3_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_5743-3_0_4_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_5743-3_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_5743-3_0_4_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_5743-3_0_4_node_100 | 0.4 | n |  | TRUE
82 | bus_LV_5743-3_0_4_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_5743-3_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_5743-3_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_5743-3_0_4_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_5743-3_0_4_node_93 | 0.4 | n |  | TRUE
87 | bus_LV_5743-3_0_4_node_99 | 0.4 | n |  | TRUE
88 | bus_LV_5743-3_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_5743-3_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5743-3_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_5743-3_0_4_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_5743-3_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_5743-3_0_4_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_5743-3_0_4_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_5743-3_0_4_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_5743-3_0_4_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_5743-3_0_4_node_101 | 0.4 | n |  | TRUE
98 | bus_LV_5743-3_0_4_node_94 | 0.4 | n |  | TRUE
99 | bus_MV_449_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5743-3_0_4_load_0 | 0 | 0.0022215 | 0.00055676 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5743-3_0_4_load_1 | 1 | 0.0011643 | 0.0002918 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5743-3_0_4_load_4 | 4 | 0.0015553 | 0.00038981 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5743-3_0_4_load_5 | 5 | 0.00033251 | 8.3334e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5743-3_0_4_load_6 | 6 | 0.0020318 | 0.00050923 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5743-3_0_4_load_9 | 7 | 0.0027975 | 0.00070113 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5743-3_0_4_load_36 | 8 | 0.0034741 | 0.00087069 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5743-3_0_4_load_8 | 9 | 0.0010664 | 0.00026727 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5743-3_0_4_load_7 | 11 | 0.0015065 | 0.00037757 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5743-3_0_4_load_12 | 14 | 0.0072075 | 0.0018064 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5743-3_0_4_load_13 | 15 | 0.0029552 | 0.00074065 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5743-3_0_4_load_49 | 16 | 0.0061402 | 0.0015389 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5743-3_0_4_load_57 | 17 | 0.0023742 | 0.00059502 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5743-3_0_4_load_54 | 19 | 0.0010365 | 0.00025976 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5743-3_0_4_load_58 | 21 | 0.00082455 | 0.00020665 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5743-3_0_4_load_66 | 22 | 0.006865 | 0.0017205 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5743-3_0_4_load_67 | 23 | 0.0049047 | 0.0012292 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5743-3_0_4_load_52 | 24 | 0.0056486 | 0.0014157 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5743-3_0_4_load_14 | 25 | 0.00076063 | 0.00019063 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5743-3_0_4_load_15 | 26 | 0.0043675 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5743-3_0_4_load_16 | 27 | 0.0040658 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5743-3_0_4_load_17 | 28 | 0.00077022 | 0.00019303 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5743-3_0_4_load_18 | 29 | 0.005424 | 0.0013594 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5743-3_0_4_load_19 | 30 | 0.0032214 | 0.00080735 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5743-3_0_4_load_32 | 31 | 0.00075238 | 0.00018856 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5743-3_0_4_load_38 | 32 | 0.0012992 | 0.00032562 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5743-3_0_4_load_88 | 33 | 0.0010579 | 0.00026514 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5743-3_0_4_load_31 | 34 | 0.00074587 | 0.00018693 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5743-3_0_4_load_25 | 35 | 0.0038072 | 0.00095417 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5743-3_0_4_load_43 | 36 | 0.0017736 | 0.00044452 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5743-3_0_4_load_20 | 37 | 0.0036198 | 0.00090721 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5743-3_0_4_load_21 | 38 | 0.0022059 | 0.00055285 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5743-3_0_4_load_22 | 39 | 0.0025127 | 0.00062975 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5743-3_0_4_load_23 | 40 | 0.00078169 | 0.00019591 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5743-3_0_4_load_74 | 42 | 0.0026753 | 0.00067049 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5743-3_0_4_load_85 | 43 | 0.0033948 | 0.00085082 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5743-3_0_4_load_29 | 45 | 0.0040556 | 0.0010164 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5743-3_0_4_load_26 | 46 | 0.0019736 | 0.00049463 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5743-3_0_4_load_27 | 47 | 0.0014462 | 0.00036245 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5743-3_0_4_load_28 | 48 | 0.0027336 | 0.0006851 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5743-3_0_4_load_30 | 49 | 0.0012524 | 0.00031387 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5743-3_0_4_load_35 | 52 | 0.0065043 | 0.0016301 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5743-3_0_4_load_83 | 53 | 0.0012096 | 0.00030315 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5743-3_0_4_load_70 | 54 | 0.0017208 | 0.00043127 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5743-3_0_4_load_55 | 55 | 0.0027979 | 0.00070121 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5743-3_0_4_load_84 | 56 | 0.0025053 | 0.00062788 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5743-3_0_4_load_69 | 57 | 0.003487 | 0.00087391 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5743-3_0_4_load_46 | 58 | 0.0010457 | 0.00026209 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5743-3_0_4_load_39 | 59 | 0.0010563 | 0.00026472 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5743-3_0_4_load_40 | 60 | 0.0036673 | 0.00091912 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5743-3_0_4_load_41 | 61 | 0.0028818 | 0.00072225 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5743-3_0_4_load_42 | 62 | 0.0018792 | 0.00047098 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5743-3_0_4_load_44 | 63 | 0.0020839 | 0.00052229 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5743-3_0_4_load_45 | 64 | 0.0072318 | 0.0018125 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5743-3_0_4_load_47 | 65 | 0.00086537 | 0.00021688 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5743-3_0_4_load_50 | 66 | 0.001075 | 0.00026943 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5743-3_0_4_load_51 | 67 | 0.0039221 | 0.00098296 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5743-3_0_4_load_53 | 68 | 0.0072952 | 0.0018284 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5743-3_0_4_load_71 | 69 | 0.0048734 | 0.0012214 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5743-3_0_4_load_90 | 70 | 0.0016672 | 0.00041783 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5743-3_0_4_load_89 | 71 | 0.00048736 | 0.00012214 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5743-3_0_4_load_92 | 72 | 0.00053704 | 0.00013459 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5743-3_0_4_load_91 | 73 | 0.00076254 | 0.00019111 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5743-3_0_4_load_59 | 74 | 0.0027542 | 0.00069026 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5743-3_0_4_load_60 | 76 | 0.0053085 | 0.0013304 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5743-3_0_4_load_100 | 81 | 0.0028907 | 0.00072448 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5743-3_0_4_load_68 | 82 | 0.0065706 | 0.0016467 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5743-3_0_4_load_76 | 83 | 0.0062038 | 0.0015548 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5743-3_0_4_load_73 | 84 | 0.0039037 | 0.00097835 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5743-3_0_4_load_97 | 85 | 0.0023055 | 0.00057782 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5743-3_0_4_load_93 | 86 | 0.0016529 | 0.00041425 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5743-3_0_4_load_99 | 87 | 0.001682 | 0.00042155 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5743-3_0_4_load_87 | 88 | 0.0059631 | 0.0014945 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5743-3_0_4_load_86 | 89 | 0.0027039 | 0.00067767 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5743-3_0_4_load_77 | 90 | 0.0013076 | 0.00032772 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5743-3_0_4_load_78 | 91 | 0.0028157 | 0.00070568 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5743-3_0_4_load_79 | 92 | 0.003271 | 0.00081978 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5743-3_0_4_load_81 | 94 | 0.0012334 | 0.00030911 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5743-3_0_4_load_82 | 95 | 0.0021659 | 0.00054283 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5743-3_0_4_load_96 | 96 | 0.001298 | 0.00032531 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5743-3_0_4_load_101 | 97 | 0.0034684 | 0.00086927 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5743-3_0_4_load_94 | 98 | 0.001508 | 0.00037794 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5743-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5743-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.059149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5743-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5743-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5743-3_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.026259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5743-3_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0067792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5743-3_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.021219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5743-3_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.010314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5743-3_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.016666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5743-3_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.00069863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5743-3_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.040648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5743-3_0_4_line_11 | NAYY 4x150 SE | 10 | 55 | 0.01266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5743-3_0_4_line_12 | NAYY 4x150 SE | 10 | 51 | 0.016295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5743-3_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.025404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5743-3_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.017055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5743-3_0_4_line_15 | NAYY 4x150 SE | 12 | 15 | 0.011193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5743-3_0_4_line_16 | NAYY 4x150 SE | 13 | 16 | 0.021443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5743-3_0_4_line_17 | NAYY 4x150 SE | 13 | 17 | 0.046591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5743-3_0_4_line_18 | NAYY 4x150 SE | 14 | 18 | 0.01198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5743-3_0_4_line_19 | NAYY 4x150 SE | 15 | 19 | 0.0033688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5743-3_0_4_line_20 | NAYY 4x150 SE | 16 | 20 | 0.03693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5743-3_0_4_line_21 | NAYY 4x150 SE | 17 | 21 | 0.0075554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5743-3_0_4_line_22 | NAYY 4x150 SE | 18 | 22 | 0.018829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5743-3_0_4_line_23 | NAYY 4x150 SE | 18 | 23 | 0.013999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5743-3_0_4_line_24 | NAYY 4x150 SE | 19 | 24 | 0.01851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5743-3_0_4_line_25 | NAYY 4x150 SE | 20 | 65 | 0.0035008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5743-3_0_4_line_26 | NAYY 4x150 SE | 21 | 70 | 0.063015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5743-3_0_4_line_27 | NAYY 4x150 SE | 22 | 82 | 0.0071998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5743-3_0_4_line_28 | NAYY 4x150 SE | 23 | 87 | 0.0093726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5743-3_0_4_line_29 | NAYY 4x150 SE | 24 | 66 | 0.003236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5743-3_0_4_line_30 | NAYY 4x150 SE | 25 | 26 | 0.008265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5743-3_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.0057831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5743-3_0_4_line_32 | NAYY 4x150 SE | 26 | 28 | 0.0030884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5743-3_0_4_line_33 | NAYY 4x150 SE | 27 | 29 | 0.015674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5743-3_0_4_line_34 | NAYY 4x150 SE | 27 | 30 | 0.01959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5743-3_0_4_line_35 | NAYY 4x150 SE | 28 | 31 | 0.0004483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5743-3_0_4_line_36 | NAYY 4x150 SE | 29 | 32 | 0.010032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5743-3_0_4_line_37 | NAYY 4x150 SE | 30 | 33 | 0.003526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5743-3_0_4_line_38 | NAYY 4x150 SE | 31 | 34 | 0.0061305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5743-3_0_4_line_39 | NAYY 4x150 SE | 32 | 35 | 0.0021797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5743-3_0_4_line_40 | NAYY 4x150 SE | 33 | 36 | 0.0090501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5743-3_0_4_line_41 | NAYY 4x150 SE | 34 | 50 | 0.0081677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5743-3_0_4_line_42 | NAYY 4x150 SE | 35 | 39 | 0.02351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5743-3_0_4_line_43 | NAYY 4x150 SE | 36 | 61 | 0.012475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5743-3_0_4_line_44 | NAYY 4x150 SE | 37 | 38 | 0.022588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5743-3_0_4_line_45 | NAYY 4x150 SE | 37 | 39 | 0.01749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_5743-3_0_4_line_46 | NAYY 4x150 SE | 38 | 40 | 0.021985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5743-3_0_4_line_47 | NAYY 4x150 SE | 39 | 41 | 0.011394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_5743-3_0_4_line_48 | NAYY 4x150 SE | 41 | 42 | 0.0090935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_5743-3_0_4_line_49 | NAYY 4x150 SE | 41 | 43 | 0.020397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5743-3_0_4_line_50 | NAYY 4x150 SE | 42 | 44 | 0.0028188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5743-3_0_4_line_51 | NAYY 4x150 SE | 43 | 45 | 0.0013582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5743-3_0_4_line_52 | NAYY 4x150 SE | 44 | 69 | 0.014835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_5743-3_0_4_line_53 | NAYY 4x150 SE | 45 | 47 | 0.0084299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5743-3_0_4_line_54 | NAYY 4x150 SE | 46 | 47 | 0.010111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5743-3_0_4_line_55 | NAYY 4x150 SE | 46 | 48 | 0.0021609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5743-3_0_4_line_56 | NAYY 4x150 SE | 48 | 49 | 0.0034466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5743-3_0_4_line_57 | NAYY 4x150 SE | 50 | 51 | 0.01209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5743-3_0_4_line_58 | NAYY 4x150 SE | 50 | 52 | 0.023579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5743-3_0_4_line_59 | NAYY 4x150 SE | 51 | 53 | 0.0090166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5743-3_0_4_line_60 | NAYY 4x150 SE | 52 | 54 | 0.00077199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5743-3_0_4_line_61 | NAYY 4x150 SE | 53 | 56 | 0.012793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5743-3_0_4_line_62 | NAYY 4x150 SE | 54 | 57 | 0.017345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5743-3_0_4_line_63 | NAYY 4x150 SE | 55 | 58 | 0.012155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5743-3_0_4_line_64 | NAYY 4x150 SE | 58 | 64 | 0.016001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5743-3_0_4_line_65 | NAYY 4x150 SE | 59 | 60 | 0.010678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5743-3_0_4_line_66 | NAYY 4x150 SE | 59 | 61 | 0.0027742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5743-3_0_4_line_67 | NAYY 4x150 SE | 60 | 62 | 0.012636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5743-3_0_4_line_68 | NAYY 4x150 SE | 63 | 64 | 0.008216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5743-3_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.017109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5743-3_0_4_line_70 | NAYY 4x150 SE | 67 | 68 | 0.013116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_5743-3_0_4_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0036257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_5743-3_0_4_line_72 | NAYY 4x150 SE | 70 | 73 | 0.010774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5743-3_0_4_line_73 | NAYY 4x150 SE | 70 | 71 | 0.026238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5743-3_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.041117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5743-3_0_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.024096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5743-3_0_4_line_76 | NAYY 4x150 SE | 75 | 78 | 0.014018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5743-3_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.01077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5743-3_0_4_line_78 | NAYY 4x150 SE | 77 | 79 | 0.012604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5743-3_0_4_line_79 | NAYY 4x150 SE | 77 | 80 | 0.00748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5743-3_0_4_line_80 | NAYY 4x150 SE | 78 | 81 | 0.010084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5743-3_0_4_line_81 | NAYY 4x150 SE | 78 | 82 | 0.01594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5743-3_0_4_line_82 | NAYY 4x150 SE | 79 | 83 | 0.018496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5743-3_0_4_line_83 | NAYY 4x150 SE | 79 | 84 | 0.005283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5743-3_0_4_line_84 | NAYY 4x150 SE | 80 | 85 | 0.0017442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5743-3_0_4_line_85 | NAYY 4x150 SE | 80 | 86 | 0.010116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5743-3_0_4_line_86 | NAYY 4x150 SE | 83 | 89 | 0.0077969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5743-3_0_4_line_87 | NAYY 4x150 SE | 86 | 98 | 0.0048979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5743-3_0_4_line_88 | NAYY 4x150 SE | 87 | 88 | 0.0086329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5743-3_0_4_line_89 | NAYY 4x150 SE | 88 | 89 | 0.012178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5743-3_0_4_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0068142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5743-3_0_4_line_91 | NAYY 4x150 SE | 90 | 92 | 0.00093187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5743-3_0_4_line_92 | NAYY 4x150 SE | 91 | 93 | 0.013899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5743-3_0_4_line_93 | NAYY 4x150 SE | 93 | 94 | 0.018516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5743-3_0_4_line_94 | NAYY 4x150 SE | 93 | 95 | 0.0030279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5743-3_0_4_line_95 | NAYY 4x150 SE | 94 | 96 | 0.0017359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5743-3_0_4_line_96 | NAYY 4x150 SE | 95 | 97 | 0.0087718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5743-3_0_4_line_97 | NAYY 4x150 SE | 96 | 98 | 0.0069985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5743-3_0_4_trafo_20 | 0.25 MVA 20/0.4 kV | 99 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2529923.657 | 1171633.6311 | 2529911.6143 | 1171619.6721
1 | 2529971.2242 | 1171664.0266 | 2529961.725 | 1171663.5262 | 2529950.5463 | 1171660.0549 | 2529939.5674 | 1171652.0786 | 2529928.4623 | 1171639.2011 | 2529923.657 | 1171633.6311
2 | 2529896.4957 | 1171605.3779 | 2529906.3761 | 1171613.6003 | 2529911.6143 | 1171619.6721
3 | 2529971.2242 | 1171664.0266 | 2529983.243 | 1171664.4903
4 | 2529971.2242 | 1171664.0266 | 2529971.2608 | 1171665.1935 | 2529969.2711 | 1171672.3208 | 2529962.5421 | 1171684.3396 | 2529959.5331 | 1171686.8476
5 | 2529896.4957 | 1171605.3779 | 2529889.7417 | 1171605.9613
6 | 2529959.5331 | 1171686.8476 | 2529949.4736 | 1171695.2319 | 2529942.2409 | 1171698.9301
7 | 2529879.713 | 1171608.0532 | 2529884.7344 | 1171606.3938 | 2529889.7417 | 1171605.9613
8 | 2529927.4018 | 1171706.5175 | 2529942.2409 | 1171698.9301
9 | 2529879.0496 | 1171608.2724 | 2529879.713 | 1171608.0532
10 | 2529891.2118 | 1171725.0245 | 2529901.1866 | 1171719.9216 | 2529927.4018 | 1171706.5175
11 | 2529879.0496 | 1171608.2724 | 2529874.5181 | 1171596.4518
12 | 2529879.0496 | 1171608.2724 | 2529868.6632 | 1171611.7181 | 2529864.146 | 1171614.6616
13 | 2529817.3612 | 1171784.5726 | 2529810.656 | 1171760.0705
14 | 2529810.656 | 1171760.0705 | 2529793.7185 | 1171762.065
15 | 2529810.656 | 1171760.0705 | 2529812.2079 | 1171752.8038 | 2529809.9228 | 1171749.8151
16 | 2529817.3612 | 1171784.5726 | 2529800.783 | 1171787.0682 | 2529796.8188 | 1171789.5522
17 | 2529817.3612 | 1171784.5726 | 2529832.1322 | 1171801.5205 | 2529838.7172 | 1171824.7131
18 | 2529781.8095 | 1171763.3658 | 2529790.1068 | 1171762.4903 | 2529793.7185 | 1171762.065
19 | 2529807.8765 | 1171747.139 | 2529809.9228 | 1171749.8151
20 | 2529765.5248 | 1171809.1605 | 2529796.8188 | 1171789.5522
21 | 2529838.7172 | 1171824.7131 | 2529840.7808 | 1171831.9812
22 | 2529781.8095 | 1171763.3658 | 2529777.2073 | 1171764.2647 | 2529765.041 | 1171771.4691
23 | 2529781.8095 | 1171763.3658 | 2529772.1594 | 1171753.2246
24 | 2529807.8765 | 1171747.139 | 2529802.4349 | 1171740.022 | 2529796.9409 | 1171732.2087
25 | 2529765.5248 | 1171809.1605 | 2529762.5379 | 1171810.9865
26 | 2529840.7808 | 1171831.9812 | 2529811.7253 | 1171887.8975
27 | 2529765.041 | 1171771.4691 | 2529758.8459 | 1171775.1377
28 | 2529766.636 | 1171745.6978 | 2529770.0602 | 1171751.0186 | 2529772.1594 | 1171753.2246
29 | 2529795.0795 | 1171729.5616 | 2529796.9409 | 1171732.2087
30 | 2529833.5769 | 1171637.5297 | 2529840.0428 | 1171632.3817
31 | 2529829.0526 | 1171641.1318 | 2529833.5769 | 1171637.5297
32 | 2529840.0428 | 1171632.3817 | 2529842.4589 | 1171630.4581
33 | 2529829.0526 | 1171641.1318 | 2529817.1514 | 1171651.331
34 | 2529829.0526 | 1171641.1318 | 2529843.0712 | 1171654.8161
35 | 2529842.4589 | 1171630.4581 | 2529842.8097 | 1171630.1788
36 | 2529817.1514 | 1171651.331 | 2529809.5338 | 1171657.8594
37 | 2529843.0712 | 1171654.8161 | 2529845.5943 | 1171657.2791
38 | 2529842.8097 | 1171630.1788 | 2529847.6057 | 1171626.3604
39 | 2529809.5338 | 1171657.8594 | 2529807.8787 | 1171659.2778
40 | 2529845.5943 | 1171657.2791 | 2529852.0704 | 1171663.6007
41 | 2529853.9956 | 1171621.273 | 2529847.6057 | 1171626.3604
42 | 2529789.334 | 1171673.7044 | 2529801.3932 | 1171664.8358 | 2529807.8787 | 1171659.2778
43 | 2529852.0704 | 1171663.6007 | 2529853.4513 | 1171664.9487 | 2529860.1196 | 1171673.1182
44 | 2529816.6841 | 1171702.918 | 2529812.9055 | 1171699.3874 | 2529804.5052 | 1171691.4812 | 2529800.6877 | 1171687.0081
45 | 2529789.334 | 1171673.7044 | 2529800.6877 | 1171687.0081
46 | 2529837.1247 | 1171705.7149 | 2529831.3976 | 1171707.4533 | 2529819.8974 | 1171705.9203 | 2529816.6841 | 1171702.918
47 | 2529789.334 | 1171673.7044 | 2529780.1418 | 1171680.4714
48 | 2529780.1418 | 1171680.4714 | 2529772.8179 | 1171685.8615
49 | 2529780.1418 | 1171680.4714 | 2529773.0486 | 1171669.2259 | 2529768.7368 | 1171663.5834
50 | 2529770.5476 | 1171687.5323 | 2529772.8179 | 1171685.8615
51 | 2529768.7368 | 1171663.5834 | 2529767.9121 | 1171662.5042
52 | 2529770.5476 | 1171687.5323 | 2529773.188 | 1171692.204 | 2529777.7727 | 1171700.489
53 | 2529767.9121 | 1171662.5042 | 2529764.5105 | 1171658.0529 | 2529763.1285 | 1171655.5858
54 | 2529758.1874 | 1171646.7645 | 2529762.2212 | 1171653.9663 | 2529763.1285 | 1171655.5858
55 | 2529758.1874 | 1171646.7645 | 2529757.1313 | 1171644.8792
56 | 2529755.447 | 1171641.8721 | 2529757.1313 | 1171644.8792
57 | 2529853.9956 | 1171621.273 | 2529864.146 | 1171614.6616
58 | 2529853.9956 | 1171621.273 | 2529856.5532 | 1171625.4121 | 2529868.7537 | 1171639.6017
59 | 2529864.146 | 1171614.6616 | 2529859.9317 | 1171606.6904
60 | 2529869.257 | 1171640.1871 | 2529868.7537 | 1171639.6017
61 | 2529853.9525 | 1171595.381 | 2529859.9317 | 1171606.6904
62 | 2529882.5517 | 1171643.9599 | 2529875.4144 | 1171647.3483 | 2529869.257 | 1171640.1871
63 | 2529874.5181 | 1171596.4518 | 2529870.9458 | 1171587.133 | 2529869.9141 | 1171585.2181
64 | 2529862.4114 | 1171571.0888 | 2529862.9226 | 1171572.2406 | 2529869.9141 | 1171585.2181
65 | 2529861.8739 | 1171675.2674 | 2529868.6259 | 1171683.5395
66 | 2529861.8739 | 1171675.2674 | 2529860.1196 | 1171673.1182
67 | 2529876.6159 | 1171693.3284 | 2529868.6259 | 1171683.5395
68 | 2529858.4465 | 1171563.9333 | 2529860.6598 | 1171567.142 | 2529862.4114 | 1171571.0888
69 | 2529795.0795 | 1171729.5616 | 2529793.123 | 1171726.7791 | 2529786.0241 | 1171715.0534
70 | 2529779.5283 | 1171703.6614 | 2529783.7933 | 1171711.3685 | 2529786.0241 | 1171715.0534
71 | 2529777.7727 | 1171700.489 | 2529779.5283 | 1171703.6614
72 | 2529811.7253 | 1171887.8975 | 2529804.0989 | 1171895.5082
73 | 2529811.7253 | 1171887.8975 | 2529825.2861 | 1171910.3595
74 | 2529825.2861 | 1171910.3595 | 2529864.4262 | 1171897.7641
75 | 2529738.4862 | 1171765.0411 | 2529728.5023 | 1171743.1106
76 | 2529744.2966 | 1171777.8025 | 2529738.4862 | 1171765.0411
77 | 2529729.1355 | 1171710.0194 | 2529730.5567 | 1171717.7071 | 2529729.4064 | 1171720.4259
78 | 2529741.1453 | 1171706.0874 | 2529729.1355 | 1171710.0194
79 | 2529729.1355 | 1171710.0194 | 2529721.7538 | 1171711.3511
80 | 2529744.2966 | 1171777.8025 | 2529747.7313 | 1171787.2839
81 | 2529744.2966 | 1171777.8025 | 2529751.4842 | 1171779.497 | 2529758.8459 | 1171775.1377
82 | 2529741.1453 | 1171706.0874 | 2529751.1545 | 1171721.6408
83 | 2529741.1453 | 1171706.0874 | 2529745.613 | 1171703.268
84 | 2529721.7538 | 1171711.3511 | 2529720.0376 | 1171711.6622
85 | 2529721.7538 | 1171711.3511 | 2529720.4765 | 1171702.2387 | 2529720.2892 | 1171701.3439
86 | 2529751.1545 | 1171721.6408 | 2529755.3739 | 1171728.1974
87 | 2529720.2892 | 1171701.3439 | 2529719.2856 | 1171696.5499
88 | 2529766.636 | 1171745.6978 | 2529761.9642 | 1171738.4382
89 | 2529755.3739 | 1171728.1974 | 2529761.9642 | 1171738.4382
90 | 2529729.6781 | 1171660.6087 | 2529723.8284 | 1171664.1038
91 | 2529729.6781 | 1171660.6087 | 2529730.478 | 1171660.1307
92 | 2529711.8969 | 1171671.2327 | 2529723.8284 | 1171664.1038
93 | 2529711.8969 | 1171671.2327 | 2529714.4624 | 1171672.7813 | 2529717.4051 | 1171687.5663 | 2529717.496 | 1171688.0008
94 | 2529711.8969 | 1171671.2327 | 2529709.3081 | 1171669.6622
95 | 2529717.8517 | 1171689.6999 | 2529717.496 | 1171688.0008
96 | 2529705.7259 | 1171661.6552 | 2529709.3081 | 1171669.6622
97 | 2529717.8517 | 1171689.6999 | 2529719.2856 | 1171696.5499

## bus_geodata
| x | y | coords
0 | 2529923.657 | 1171633.6311
1 | 2529911.6143 | 1171619.6721
2 | 2529971.2243 | 1171664.0266
3 | 2529896.4957 | 1171605.3778
4 | 2529983.243 | 1171664.4903
5 | 2529959.5331 | 1171686.8476
6 | 2529889.7417 | 1171605.9613
7 | 2529942.2409 | 1171698.9301
8 | 2529879.713 | 1171608.0532
9 | 2529927.4018 | 1171706.5175
10 | 2529879.0496 | 1171608.2724
11 | 2529891.2118 | 1171725.0245
12 | 2529810.656 | 1171760.0705
13 | 2529817.3612 | 1171784.5726
14 | 2529793.7185 | 1171762.065
15 | 2529809.9228 | 1171749.8151
16 | 2529796.8188 | 1171789.5522
17 | 2529838.7172 | 1171824.7131
18 | 2529781.8095 | 1171763.3658
19 | 2529807.8765 | 1171747.1389
20 | 2529765.5248 | 1171809.1605
21 | 2529840.7808 | 1171831.9812
22 | 2529765.041 | 1171771.4691
23 | 2529772.1594 | 1171753.2246
24 | 2529796.9409 | 1171732.2087
25 | 2529833.5769 | 1171637.5297
26 | 2529840.0428 | 1171632.3817
27 | 2529829.0526 | 1171641.1318
28 | 2529842.4589 | 1171630.4581
29 | 2529817.1514 | 1171651.331
30 | 2529843.0712 | 1171654.8161
31 | 2529842.8097 | 1171630.1788
32 | 2529809.5338 | 1171657.8594
33 | 2529845.5943 | 1171657.2791
34 | 2529847.6057 | 1171626.3604
35 | 2529807.8787 | 1171659.2778
36 | 2529852.0704 | 1171663.6007
37 | 2529800.6877 | 1171687.0081
38 | 2529816.6841 | 1171702.918
39 | 2529789.334 | 1171673.7044
40 | 2529837.1247 | 1171705.7149
41 | 2529780.1418 | 1171680.4714
42 | 2529772.8179 | 1171685.8615
43 | 2529768.7368 | 1171663.5834
44 | 2529770.5476 | 1171687.5323
45 | 2529767.9121 | 1171662.5042
46 | 2529758.1874 | 1171646.7645
47 | 2529763.1285 | 1171655.5858
48 | 2529757.1314 | 1171644.8792
49 | 2529755.447 | 1171641.8721
50 | 2529853.9956 | 1171621.273
51 | 2529864.146 | 1171614.6616
52 | 2529868.7537 | 1171639.6017
53 | 2529859.9317 | 1171606.6904
54 | 2529869.257 | 1171640.1871
55 | 2529874.5181 | 1171596.4518
56 | 2529853.9525 | 1171595.381
57 | 2529882.5517 | 1171643.9599
58 | 2529869.9141 | 1171585.2181
59 | 2529861.8739 | 1171675.2674
60 | 2529868.6259 | 1171683.5395
61 | 2529860.1196 | 1171673.1182
62 | 2529876.6159 | 1171693.3284
63 | 2529858.4465 | 1171563.9333
64 | 2529862.4114 | 1171571.0888
65 | 2529762.5379 | 1171810.9865
66 | 2529795.0795 | 1171729.5616
67 | 2529786.0241 | 1171715.0534
68 | 2529779.5283 | 1171703.6614
69 | 2529777.7727 | 1171700.489
70 | 2529811.7253 | 1171887.8975
71 | 2529825.2861 | 1171910.3595
72 | 2529864.4262 | 1171897.7641
73 | 2529804.0989 | 1171895.5082
74 | 2529728.5023 | 1171743.1106
75 | 2529738.4862 | 1171765.0411
76 | 2529729.4064 | 1171720.4259
77 | 2529729.1355 | 1171710.0194
78 | 2529744.2966 | 1171777.8025
79 | 2529741.1453 | 1171706.0874
80 | 2529721.7538 | 1171711.3511
81 | 2529747.7313 | 1171787.2839
82 | 2529758.8459 | 1171775.1377
83 | 2529751.1545 | 1171721.6408
84 | 2529745.613 | 1171703.268
85 | 2529720.0376 | 1171711.6622
86 | 2529720.2892 | 1171701.3439
87 | 2529766.636 | 1171745.6978
88 | 2529761.9642 | 1171738.4382
89 | 2529755.3739 | 1171728.1974
90 | 2529729.6781 | 1171660.6087
91 | 2529723.8284 | 1171664.1038
92 | 2529730.478 | 1171660.1307
93 | 2529711.8969 | 1171671.2327
94 | 2529717.496 | 1171688.0008
95 | 2529709.3081 | 1171669.6622
96 | 2529717.8517 | 1171689.6999
97 | 2529705.7259 | 1171661.6552
98 | 2529719.2856 | 1171696.5499
99 | 2529789.334 | 1171673.7044

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1