## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5813-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5813-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5813-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5813-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5813-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5813-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5813-1_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5813-1_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5813-1_0_4_node_96 | 0.4 | n |  | TRUE
9 | bus_LV_5813-1_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5813-1_0_4_node_122 | 0.4 | n |  | TRUE
11 | bus_LV_5813-1_0_4_node_120 | 0.4 | n |  | TRUE
12 | bus_LV_5813-1_0_4_node_123 | 0.4 | n |  | TRUE
13 | bus_LV_5813-1_0_4_node_94 | 0.4 | n |  | TRUE
14 | bus_LV_5813-1_0_4_node_121 | 0.4 | n |  | TRUE
15 | bus_LV_5813-1_0_4_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_5813-1_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5813-1_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5813-1_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5813-1_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5813-1_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5813-1_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5813-1_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5813-1_0_4_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_5813-1_0_4_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_5813-1_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_5813-1_0_4_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_5813-1_0_4_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_5813-1_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_5813-1_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_5813-1_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5813-1_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5813-1_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5813-1_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5813-1_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5813-1_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5813-1_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5813-1_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5813-1_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5813-1_0_4_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_5813-1_0_4_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_5813-1_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5813-1_0_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_5813-1_0_4_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_5813-1_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_5813-1_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5813-1_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5813-1_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5813-1_0_4_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5813-1_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5813-1_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_5813-1_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_5813-1_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_5813-1_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5813-1_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5813-1_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_5813-1_0_4_node_119 | 0.4 | n |  | TRUE
57 | bus_LV_5813-1_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_5813-1_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_5813-1_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_5813-1_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_5813-1_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_5813-1_0_4_node_115 | 0.4 | n |  | TRUE
63 | bus_LV_5813-1_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5813-1_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_5813-1_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5813-1_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5813-1_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_5813-1_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_5813-1_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_5813-1_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_5813-1_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_5813-1_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5813-1_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5813-1_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_5813-1_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_5813-1_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_5813-1_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_5813-1_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_5813-1_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_5813-1_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_5813-1_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_5813-1_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_5813-1_0_4_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_5813-1_0_4_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_5813-1_0_4_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_5813-1_0_4_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_5813-1_0_4_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_5813-1_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_5813-1_0_4_node_68 | 0.4 | n |  | TRUE
90 | bus_LV_5813-1_0_4_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_5813-1_0_4_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_5813-1_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_5813-1_0_4_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_5813-1_0_4_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_5813-1_0_4_node_106 | 0.4 | n |  | TRUE
96 | bus_LV_5813-1_0_4_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_5813-1_0_4_node_80 | 0.4 | n |  | TRUE
98 | bus_LV_5813-1_0_4_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_5813-1_0_4_node_85 | 0.4 | n |  | TRUE
100 | bus_LV_5813-1_0_4_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_5813-1_0_4_node_153 | 0.4 | n |  | TRUE
102 | bus_LV_5813-1_0_4_node_155 | 0.4 | n |  | TRUE
103 | bus_LV_5813-1_0_4_node_156 | 0.4 | n |  | TRUE
104 | bus_LV_5813-1_0_4_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_5813-1_0_4_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_5813-1_0_4_node_93 | 0.4 | n |  | TRUE
107 | bus_LV_5813-1_0_4_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_5813-1_0_4_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_5813-1_0_4_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_5813-1_0_4_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_5813-1_0_4_node_98 | 0.4 | n |  | TRUE
112 | bus_LV_5813-1_0_4_node_143 | 0.4 | n |  | TRUE
113 | bus_LV_5813-1_0_4_node_99 | 0.4 | n |  | TRUE
114 | bus_LV_5813-1_0_4_node_141 | 0.4 | n |  | TRUE
115 | bus_LV_5813-1_0_4_node_128 | 0.4 | n |  | TRUE
116 | bus_LV_5813-1_0_4_node_142 | 0.4 | n |  | TRUE
117 | bus_LV_5813-1_0_4_node_150 | 0.4 | n |  | TRUE
118 | bus_LV_5813-1_0_4_node_140 | 0.4 | n |  | TRUE
119 | bus_LV_5813-1_0_4_node_145 | 0.4 | n |  | TRUE
120 | bus_LV_5813-1_0_4_node_148 | 0.4 | n |  | TRUE
121 | bus_LV_5813-1_0_4_node_126 | 0.4 | n |  | TRUE
122 | bus_LV_5813-1_0_4_node_102 | 0.4 | n |  | TRUE
123 | bus_LV_5813-1_0_4_node_103 | 0.4 | n |  | TRUE
124 | bus_LV_5813-1_0_4_node_107 | 0.4 | n |  | TRUE
125 | bus_LV_5813-1_0_4_node_108 | 0.4 | n |  | TRUE
126 | bus_LV_5813-1_0_4_node_109 | 0.4 | n |  | TRUE
127 | bus_LV_5813-1_0_4_node_110 | 0.4 | n |  | TRUE
128 | bus_LV_5813-1_0_4_node_111 | 0.4 | n |  | TRUE
129 | bus_LV_5813-1_0_4_node_112 | 0.4 | n |  | TRUE
130 | bus_LV_5813-1_0_4_node_113 | 0.4 | n |  | TRUE
131 | bus_LV_5813-1_0_4_node_114 | 0.4 | n |  | TRUE
132 | bus_LV_5813-1_0_4_node_154 | 0.4 | n |  | TRUE
133 | bus_LV_5813-1_0_4_node_152 | 0.4 | n |  | TRUE
134 | bus_LV_5813-1_0_4_node_116 | 0.4 | n |  | TRUE
135 | bus_LV_5813-1_0_4_node_151 | 0.4 | n |  | TRUE
136 | bus_LV_5813-1_0_4_node_117 | 0.4 | n |  | TRUE
137 | bus_LV_5813-1_0_4_node_118 | 0.4 | n |  | TRUE
138 | bus_LV_5813-1_0_4_node_124 | 0.4 | n |  | TRUE
139 | bus_LV_5813-1_0_4_node_125 | 0.4 | n |  | TRUE
140 | bus_LV_5813-1_0_4_node_127 | 0.4 | n |  | TRUE
141 | bus_LV_5813-1_0_4_node_129 | 0.4 | n |  | TRUE
142 | bus_LV_5813-1_0_4_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_5813-1_0_4_node_131 | 0.4 | n |  | TRUE
144 | bus_LV_5813-1_0_4_node_132 | 0.4 | n |  | TRUE
145 | bus_LV_5813-1_0_4_node_138 | 0.4 | n |  | TRUE
146 | bus_LV_5813-1_0_4_node_136 | 0.4 | n |  | TRUE
147 | bus_LV_5813-1_0_4_node_133 | 0.4 | n |  | TRUE
148 | bus_LV_5813-1_0_4_node_134 | 0.4 | n |  | TRUE
149 | bus_LV_5813-1_0_4_node_135 | 0.4 | n |  | TRUE
150 | bus_LV_5813-1_0_4_node_137 | 0.4 | n |  | TRUE
151 | bus_LV_5813-1_0_4_node_139 | 0.4 | n |  | TRUE
152 | bus_LV_5813-1_0_4_node_144 | 0.4 | n |  | TRUE
153 | bus_LV_5813-1_0_4_node_146 | 0.4 | n |  | TRUE
154 | bus_LV_5813-1_0_4_node_147 | 0.4 | n |  | TRUE
155 | bus_LV_5813-1_0_4_node_149 | 0.4 | n |  | TRUE
156 | bus_MV_454_1_node_208 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5813-1_0_4_load_0 | 0 | 0.0017118 | 0.00042901 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5813-1_0_4_load_1 | 1 | 0.00099236 | 0.00024871 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5813-1_0_4_load_5 | 5 | 0.0028931 | 0.00072508 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5813-1_0_4_load_8 | 7 | 0.0011197 | 0.00028061 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5813-1_0_4_load_96 | 8 | 0.0015299 | 0.00038342 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5813-1_0_4_load_122 | 10 | 0.0029108 | 0.00072951 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5813-1_0_4_load_94 | 13 | 0.0079206 | 0.0019851 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5813-1_0_4_load_121 | 14 | 0.0040255 | 0.0010089 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5813-1_0_4_load_82 | 15 | 0.0029968 | 0.00075108 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5813-1_0_4_load_9 | 16 | 0.001199 | 0.00030049 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5813-1_0_4_load_12 | 19 | 0.0008149 | 0.00020423 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5813-1_0_4_load_13 | 20 | 0.00083211 | 0.00020855 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5813-1_0_4_load_14 | 21 | 0.0039081 | 0.00097946 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5813-1_0_4_load_15 | 22 | 0.0015133 | 0.00037926 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5813-1_0_4_load_62 | 23 | 0.00090902 | 0.00022782 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5813-1_0_4_load_72 | 24 | 0.0020562 | 0.00051534 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5813-1_0_4_load_53 | 25 | 0.00032949 | 8.2577e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5813-1_0_4_load_61 | 26 | 0.0017717 | 0.00044404 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5813-1_0_4_load_16 | 29 | 0.00034847 | 8.7336e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5813-1_0_4_load_17 | 30 | 0.0013502 | 0.0003384 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5813-1_0_4_load_19 | 32 | 0.00070751 | 0.00017732 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5813-1_0_4_load_20 | 33 | 0.0010547 | 0.00026433 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5813-1_0_4_load_21 | 34 | 0.00045228 | 0.00011335 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5813-1_0_4_load_22 | 35 | 0.00044389 | 0.00011125 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5813-1_0_4_load_31 | 38 | 0.00037717 | 9.4527e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5813-1_0_4_load_56 | 40 | 0.00038603 | 9.6749e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5813-1_0_4_load_28 | 41 | 0.00087439 | 0.00021914 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5813-1_0_4_load_77 | 43 | 0.00048797 | 0.0001223 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5813-1_0_4_load_55 | 44 | 0.0011326 | 0.00028387 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5813-1_0_4_load_25 | 45 | 0.001432 | 0.0003589 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5813-1_0_4_load_26 | 46 | 0.0003447 | 8.639e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5813-1_0_4_load_30 | 49 | 0.00021529 | 5.3957e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5813-1_0_4_load_32 | 50 | 0.00046583 | 0.00011675 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5813-1_0_4_load_33 | 51 | 0.00028728 | 7.1999e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5813-1_0_4_load_34 | 52 | 0.0003336 | 8.3608e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5813-1_0_4_load_40 | 53 | 0.00076866 | 0.00019264 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5813-1_0_4_load_41 | 55 | 0.00067012 | 0.00016795 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5813-1_0_4_load_119 | 56 | 0.0012538 | 0.00031424 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5813-1_0_4_load_38 | 57 | 0.00055383 | 0.0001388 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5813-1_0_4_load_35 | 58 | 0.00078791 | 0.00019747 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5813-1_0_4_load_42 | 59 | 0.00097648 | 0.00024473 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5813-1_0_4_load_36 | 60 | 0.0011931 | 0.00029902 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5813-1_0_4_load_39 | 61 | 0.00072572 | 0.00018188 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5813-1_0_4_load_115 | 62 | 0.0035117 | 0.00088011 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5813-1_0_4_load_43 | 63 | 0.0010917 | 0.0002736 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5813-1_0_4_load_45 | 65 | 0.00069517 | 0.00017423 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5813-1_0_4_load_46 | 66 | 0.00050913 | 0.0001276 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5813-1_0_4_load_47 | 67 | 0.0019529 | 0.00048944 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5813-1_0_4_load_48 | 68 | 0.00052877 | 0.00013252 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5813-1_0_4_load_50 | 69 | 0.0028417 | 0.00071221 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5813-1_0_4_load_51 | 70 | 0.0029533 | 0.00074016 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5813-1_0_4_load_52 | 71 | 0.0018367 | 0.00046031 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5813-1_0_4_load_54 | 72 | 0.00078184 | 0.00019595 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5813-1_0_4_load_57 | 73 | 0.00054468 | 0.00013651 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5813-1_0_4_load_59 | 75 | 0.00064519 | 0.0001617 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5813-1_0_4_load_78 | 79 | 0.001475 | 0.00036968 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5813-1_0_4_load_71 | 80 | 0.0016204 | 0.00040611 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5813-1_0_4_load_69 | 81 | 0.0017385 | 0.0004357 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5813-1_0_4_load_81 | 82 | 0.00037334 | 9.3569e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5813-1_0_4_load_64 | 84 | 0.00096543 | 0.00024196 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5813-1_0_4_load_65 | 85 | 0.0016525 | 0.00041415 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5813-1_0_4_load_66 | 86 | 0.0011933 | 0.00029907 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5813-1_0_4_load_67 | 87 | 0.0007182 | 0.00018 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5813-1_0_4_load_83 | 88 | 0.0024296 | 0.00060892 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5813-1_0_4_load_68 | 89 | 0.00042476 | 0.00010645 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5813-1_0_4_load_74 | 90 | 0.0022372 | 0.0005607 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5813-1_0_4_load_89 | 91 | 0.00059759 | 0.00014977 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5813-1_0_4_load_87 | 92 | 0.0071045 | 0.0017806 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5813-1_0_4_load_105 | 94 | 0.0055293 | 0.0013858 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5813-1_0_4_load_106 | 95 | 0.0005038 | 0.00012626 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5813-1_0_4_load_80 | 97 | 0.0022444 | 0.0005625 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5813-1_0_4_load_84 | 98 | 0.00057664 | 0.00014452 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5813-1_0_4_load_85 | 99 | 0.0006449 | 0.00016163 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5813-1_0_4_load_88 | 100 | 0.0011115 | 0.00027856 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5813-1_0_4_load_153 | 101 | 0.0014571 | 0.00036518 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5813-1_0_4_load_156 | 103 | 0.0021365 | 0.00053545 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5813-1_0_4_load_91 | 104 | 0.00296 | 0.00074186 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5813-1_0_4_load_92 | 105 | 0.0016665 | 0.00041766 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5813-1_0_4_load_95 | 107 | 0.0044925 | 0.0011259 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5813-1_0_4_load_104 | 109 | 0.001094 | 0.00027419 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5813-1_0_4_load_101 | 110 | 0.0039362 | 0.00098649 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5813-1_0_4_load_98 | 111 | 0.0048426 | 0.0012137 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5813-1_0_4_load_143 | 112 | 0.0025994 | 0.00065147 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5813-1_0_4_load_141 | 114 | 0.0033856 | 0.0008485 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5813-1_0_4_load_142 | 116 | 0.0020436 | 0.00051218 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5813-1_0_4_load_150 | 117 | 0.0028539 | 0.00071525 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5813-1_0_4_load_140 | 118 | 0.0048654 | 0.0012194 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5813-1_0_4_load_145 | 119 | 0.006324 | 0.0015849 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5813-1_0_4_load_148 | 120 | 0.0023606 | 0.00059163 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5813-1_0_4_load_126 | 121 | 0.0014892 | 0.00037322 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5813-1_0_4_load_102 | 122 | 0.0010526 | 0.00026381 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5813-1_0_4_load_103 | 123 | 0.0011327 | 0.00028389 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5813-1_0_4_load_107 | 124 | 0.0014167 | 0.00035507 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5813-1_0_4_load_108 | 125 | 0.0016513 | 0.00041385 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5813-1_0_4_load_111 | 128 | 0.00082765 | 0.00020743 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5813-1_0_4_load_112 | 129 | 0.0017774 | 0.00044546 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5813-1_0_4_load_114 | 131 | 0.00076105 | 0.00019074 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5813-1_0_4_load_154 | 132 | 0.0016369 | 0.00041025 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5813-1_0_4_load_152 | 133 | 0.00039965 | 0.00010016 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5813-1_0_4_load_116 | 134 | 0.0011088 | 0.00027789 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5813-1_0_4_load_151 | 135 | 0.001571 | 0.00039373 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5813-1_0_4_load_117 | 136 | 0.0016381 | 0.00041056 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5813-1_0_4_load_118 | 137 | 0.0015017 | 0.00037635 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5813-1_0_4_load_124 | 138 | 0.0015098 | 0.0003784 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5813-1_0_4_load_125 | 139 | 0.0017522 | 0.00043913 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5813-1_0_4_load_127 | 140 | 0.0016471 | 0.00041279 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5813-1_0_4_load_129 | 141 | 0.0015701 | 0.00039349 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5813-1_0_4_load_130 | 142 | 0.0013195 | 0.0003307 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5813-1_0_4_load_131 | 143 | 0.0017505 | 0.00043871 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5813-1_0_4_load_132 | 144 | 0.0029502 | 0.00073939 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5813-1_0_4_load_138 | 145 | 0.0018424 | 0.00046174 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5813-1_0_4_load_136 | 146 | 0.0020109 | 0.00050399 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5813-1_0_4_load_133 | 147 | 0.0021251 | 0.00053261 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5813-1_0_4_load_134 | 148 | 0.0031135 | 0.00078031 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5813-1_0_4_load_135 | 149 | 0.0023907 | 0.00059917 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5813-1_0_4_load_139 | 151 | 0.0026414 | 0.000662 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5813-1_0_4_load_144 | 152 | 0.002313 | 0.0005797 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5813-1_0_4_load_146 | 153 | 0.00095769 | 0.00024002 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_5813-1_0_4_load_147 | 154 | 0.00081847 | 0.00020513 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_5813-1_0_4_load_149 | 155 | 0.0025018 | 0.00062701 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5813-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5813-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0079864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5813-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0097491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5813-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5813-1_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.021012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5813-1_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.039637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5813-1_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.014091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5813-1_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.012024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_5813-1_0_4_line_8 | NAYY 4x150 SE | 7 | 12 | 0.028566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5813-1_0_4_line_9 | NAYY 4x150 SE | 8 | 13 | 0.019714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5813-1_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.026618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5813-1_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.010409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5813-1_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0009023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5813-1_0_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.004209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_5813-1_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.011799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5813-1_0_4_line_15 | NAYY 4x150 SE | 13 | 105 | 0.020339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5813-1_0_4_line_16 | NAYY 4x150 SE | 14 | 137 | 0.010991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5813-1_0_4_line_17 | NAYY 4x150 SE | 15 | 78 | 0.027386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5813-1_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.032021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5813-1_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.043617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5813-1_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.009068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5813-1_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.030463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5813-1_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.011107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5813-1_0_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.039172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5813-1_0_4_line_24 | NAYY 4x150 SE | 20 | 23 | 0.015841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5813-1_0_4_line_25 | NAYY 4x150 SE | 21 | 24 | 0.030989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5813-1_0_4_line_26 | NAYY 4x150 SE | 22 | 25 | 0.0022324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5813-1_0_4_line_27 | NAYY 4x150 SE | 23 | 26 | 0.02772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5813-1_0_4_line_28 | NAYY 4x150 SE | 24 | 27 | 0.039054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5813-1_0_4_line_29 | NAYY 4x150 SE | 25 | 28 | 0.019023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5813-1_0_4_line_30 | NAYY 4x150 SE | 26 | 83 | 0.019982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5813-1_0_4_line_31 | NAYY 4x150 SE | 27 | 90 | 0.028792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5813-1_0_4_line_32 | NAYY 4x150 SE | 27 | 91 | 0.067647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5813-1_0_4_line_33 | NAYY 4x150 SE | 28 | 70 | 0.022568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5813-1_0_4_line_34 | NAYY 4x150 SE | 28 | 71 | 0.03116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5813-1_0_4_line_35 | NAYY 4x150 SE | 28 | 68 | 0.01438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5813-1_0_4_line_36 | NAYY 4x150 SE | 29 | 30 | 0.0071731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5813-1_0_4_line_37 | NAYY 4x150 SE | 29 | 31 | 0.0098251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5813-1_0_4_line_38 | NAYY 4x150 SE | 30 | 32 | 0.034238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5813-1_0_4_line_39 | NAYY 4x150 SE | 31 | 33 | 0.015012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5813-1_0_4_line_40 | NAYY 4x150 SE | 31 | 34 | 0.027595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5813-1_0_4_line_41 | NAYY 4x150 SE | 32 | 35 | 0.0082928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5813-1_0_4_line_42 | NAYY 4x150 SE | 33 | 36 | 0.022844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5813-1_0_4_line_43 | NAYY 4x150 SE | 34 | 37 | 0.050639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5813-1_0_4_line_44 | NAYY 4x150 SE | 36 | 38 | 0.0051468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5813-1_0_4_line_45 | NAYY 4x150 SE | 36 | 39 | 0.017891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5813-1_0_4_line_46 | NAYY 4x150 SE | 37 | 40 | 0.021469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5813-1_0_4_line_47 | NAYY 4x150 SE | 38 | 41 | 0.012283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5813-1_0_4_line_48 | NAYY 4x150 SE | 39 | 42 | 0.00456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5813-1_0_4_line_49 | NAYY 4x150 SE | 39 | 43 | 0.012311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5813-1_0_4_line_50 | NAYY 4x150 SE | 40 | 44 | 0.015431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5813-1_0_4_line_51 | NAYY 4x150 SE | 42 | 97 | 0.024287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5813-1_0_4_line_52 | NAYY 4x150 SE | 42 | 79 | 0.020905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5813-1_0_4_line_53 | NAYY 4x150 SE | 44 | 72 | 0.0039978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5813-1_0_4_line_54 | NAYY 4x150 SE | 45 | 46 | 0.0063289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5813-1_0_4_line_55 | NAYY 4x150 SE | 45 | 47 | 0.0036121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5813-1_0_4_line_56 | NAYY 4x150 SE | 47 | 48 | 0.015457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5813-1_0_4_line_57 | NAYY 4x150 SE | 47 | 49 | 0.023351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5813-1_0_4_line_58 | NAYY 4x150 SE | 48 | 50 | 0.017751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5813-1_0_4_line_59 | NAYY 4x150 SE | 48 | 51 | 0.020171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5813-1_0_4_line_60 | NAYY 4x150 SE | 49 | 52 | 0.0086869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5813-1_0_4_line_61 | NAYY 4x150 SE | 50 | 53 | 0.0098591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5813-1_0_4_line_62 | NAYY 4x150 SE | 51 | 54 | 0.038186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5813-1_0_4_line_63 | NAYY 4x150 SE | 52 | 55 | 0.010358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5813-1_0_4_line_64 | NAYY 4x150 SE | 53 | 56 | 0.00045316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5813-1_0_4_line_65 | NAYY 4x150 SE | 54 | 57 | 0.022111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5813-1_0_4_line_66 | NAYY 4x150 SE | 54 | 58 | 0.017174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5813-1_0_4_line_67 | NAYY 4x150 SE | 55 | 59 | 0.016602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5813-1_0_4_line_68 | NAYY 4x150 SE | 56 | 62 | 0.0061729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5813-1_0_4_line_69 | NAYY 4x150 SE | 57 | 61 | 0.010701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5813-1_0_4_line_70 | NAYY 4x150 SE | 58 | 60 | 0.024497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5813-1_0_4_line_71 | NAYY 4x150 SE | 59 | 63 | 0.0036691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5813-1_0_4_line_72 | NAYY 4x150 SE | 62 | 129 | 0.030766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5813-1_0_4_line_73 | NAYY 4x150 SE | 63 | 64 | 0.017142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5813-1_0_4_line_74 | NAYY 4x150 SE | 64 | 65 | 0.0086519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5813-1_0_4_line_75 | NAYY 4x150 SE | 65 | 66 | 0.056271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5813-1_0_4_line_76 | NAYY 4x150 SE | 66 | 67 | 0.012652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5813-1_0_4_line_77 | NAYY 4x150 SE | 68 | 69 | 0.0056004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5813-1_0_4_line_78 | NAYY 4x150 SE | 73 | 74 | 0.010246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5813-1_0_4_line_79 | NAYY 4x150 SE | 74 | 75 | 0.013598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5813-1_0_4_line_80 | NAYY 4x150 SE | 74 | 76 | 0.011718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5813-1_0_4_line_81 | NAYY 4x150 SE | 75 | 77 | 0.015844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5813-1_0_4_line_82 | NAYY 4x150 SE | 76 | 78 | 0.016393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5813-1_0_4_line_83 | NAYY 4x150 SE | 76 | 79 | 0.029253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5813-1_0_4_line_84 | NAYY 4x150 SE | 77 | 80 | 0.029397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5813-1_0_4_line_85 | NAYY 4x150 SE | 77 | 81 | 0.0023333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5813-1_0_4_line_86 | NAYY 4x150 SE | 78 | 82 | 0.012134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5813-1_0_4_line_87 | NAYY 4x150 SE | 81 | 89 | 0.0069605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5813-1_0_4_line_88 | NAYY 4x150 SE | 82 | 88 | 0.011341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5813-1_0_4_line_89 | NAYY 4x150 SE | 83 | 84 | 0.013676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5813-1_0_4_line_90 | NAYY 4x150 SE | 83 | 85 | 0.0093865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5813-1_0_4_line_91 | NAYY 4x150 SE | 84 | 86 | 0.0042193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5813-1_0_4_line_92 | NAYY 4x150 SE | 85 | 87 | 0.0083119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5813-1_0_4_line_93 | NAYY 4x150 SE | 87 | 88 | 0.006829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5813-1_0_4_line_94 | NAYY 4x150 SE | 90 | 92 | 0.0089152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5813-1_0_4_line_95 | NAYY 4x150 SE | 91 | 93 | 0.028283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5813-1_0_4_line_96 | NAYY 4x150 SE | 92 | 96 | 0.019292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5813-1_0_4_line_97 | NAYY 4x150 SE | 93 | 101 | 0.036193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5813-1_0_4_line_98 | NAYY 4x150 SE | 93 | 95 | 0.027376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5813-1_0_4_line_99 | NAYY 4x150 SE | 94 | 95 | 0.008681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5813-1_0_4_line_100 | NAYY 4x150 SE | 96 | 100 | 0.01393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5813-1_0_4_line_101 | NAYY 4x150 SE | 96 | 98 | 0.017298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5813-1_0_4_line_102 | NAYY 4x150 SE | 98 | 99 | 0.00021071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5813-1_0_4_line_103 | NAYY 4x150 SE | 101 | 102 | 0.061496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5813-1_0_4_line_104 | NAYY 4x150 SE | 102 | 103 | 0.033675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5813-1_0_4_line_105 | NAYY 4x150 SE | 104 | 105 | 0.037977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5813-1_0_4_line_106 | NAYY 4x150 SE | 104 | 106 | 0.058197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5813-1_0_4_line_107 | NAYY 4x150 SE | 106 | 107 | 0.024833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5813-1_0_4_line_108 | NAYY 4x150 SE | 107 | 108 | 0.018495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5813-1_0_4_line_109 | NAYY 4x150 SE | 108 | 109 | 0.046377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5813-1_0_4_line_110 | NAYY 4x150 SE | 108 | 110 | 0.024224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5813-1_0_4_line_111 | NAYY 4x150 SE | 110 | 122 | 0.0029851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5813-1_0_4_line_112 | NAYY 4x150 SE | 111 | 112 | 0.014927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5813-1_0_4_line_113 | NAYY 4x150 SE | 112 | 116 | 0.019638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5813-1_0_4_line_114 | NAYY 4x150 SE | 113 | 114 | 0.030013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
115 | LV_5813-1_0_4_line_115 | NAYY 4x150 SE | 113 | 115 | 0.067026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
116 | LV_5813-1_0_4_line_116 | NAYY 4x150 SE | 114 | 118 | 0.041326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
117 | LV_5813-1_0_4_line_117 | NAYY 4x150 SE | 115 | 121 | 0.016257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
118 | LV_5813-1_0_4_line_118 | NAYY 4x150 SE | 116 | 152 | 0.0042315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5813-1_0_4_line_119 | NAYY 4x150 SE | 117 | 118 | 0.050775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
120 | LV_5813-1_0_4_line_120 | NAYY 4x150 SE | 117 | 119 | 0.028696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5813-1_0_4_line_121 | NAYY 4x150 SE | 117 | 120 | 0.037668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
122 | LV_5813-1_0_4_line_122 | NAYY 4x150 SE | 119 | 152 | 0.018515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5813-1_0_4_line_123 | NAYY 4x150 SE | 120 | 153 | 0.02559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
124 | LV_5813-1_0_4_line_124 | NAYY 4x150 SE | 121 | 138 | 0.00092994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
125 | LV_5813-1_0_4_line_125 | NAYY 4x150 SE | 122 | 123 | 0.016943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5813-1_0_4_line_126 | NAYY 4x150 SE | 124 | 125 | 0.038915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
127 | LV_5813-1_0_4_line_127 | NAYY 4x150 SE | 124 | 126 | 0.014084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
128 | LV_5813-1_0_4_line_128 | NAYY 4x150 SE | 125 | 127 | 0.017211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
129 | LV_5813-1_0_4_line_129 | NAYY 4x150 SE | 126 | 128 | 0.020498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
130 | LV_5813-1_0_4_line_130 | NAYY 4x150 SE | 126 | 129 | 0.01128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5813-1_0_4_line_131 | NAYY 4x150 SE | 127 | 130 | 0.007611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
132 | LV_5813-1_0_4_line_132 | NAYY 4x150 SE | 128 | 131 | 0.0056653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
133 | LV_5813-1_0_4_line_133 | NAYY 4x150 SE | 130 | 132 | 0.011814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5813-1_0_4_line_134 | NAYY 4x150 SE | 130 | 133 | 0.015666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
135 | LV_5813-1_0_4_line_135 | NAYY 4x150 SE | 131 | 134 | 0.028676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
136 | LV_5813-1_0_4_line_136 | NAYY 4x150 SE | 133 | 135 | 0.0090044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
137 | LV_5813-1_0_4_line_137 | NAYY 4x150 SE | 134 | 136 | 0.011158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
138 | LV_5813-1_0_4_line_138 | NAYY 4x150 SE | 135 | 155 | 0.012437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
139 | LV_5813-1_0_4_line_139 | NAYY 4x150 SE | 136 | 137 | 0.0077282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
140 | LV_5813-1_0_4_line_140 | NAYY 4x150 SE | 138 | 139 | 0.025058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
141 | LV_5813-1_0_4_line_141 | NAYY 4x150 SE | 139 | 140 | 0.0020971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
142 | LV_5813-1_0_4_line_142 | NAYY 4x150 SE | 140 | 141 | 0.02668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
143 | LV_5813-1_0_4_line_143 | NAYY 4x150 SE | 141 | 142 | 0.0047886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
144 | LV_5813-1_0_4_line_144 | NAYY 4x150 SE | 142 | 143 | 0.028102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
145 | LV_5813-1_0_4_line_145 | NAYY 4x150 SE | 143 | 144 | 0.026172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
146 | LV_5813-1_0_4_line_146 | NAYY 4x150 SE | 144 | 145 | 0.023753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
147 | LV_5813-1_0_4_line_147 | NAYY 4x150 SE | 145 | 146 | 0.0075994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
148 | LV_5813-1_0_4_line_148 | NAYY 4x150 SE | 146 | 148 | 0.023846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
149 | LV_5813-1_0_4_line_149 | NAYY 4x150 SE | 147 | 148 | 0.012152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
150 | LV_5813-1_0_4_line_150 | NAYY 4x150 SE | 147 | 149 | 0.027689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
151 | LV_5813-1_0_4_line_151 | NAYY 4x150 SE | 149 | 150 | 0.021183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
152 | LV_5813-1_0_4_line_152 | NAYY 4x150 SE | 150 | 151 | 0.021296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
153 | LV_5813-1_0_4_line_153 | NAYY 4x150 SE | 153 | 154 | 0.010977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
154 | LV_5813-1_0_4_line_154 | NAYY 4x150 SE | 154 | 155 | 0.020826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5813-1_0_4_trafo_94 | 0.25 MVA 20/0.4 kV | 156 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2559497.7413 | 1193081.6012 | 2559508.0505 | 1193086.4315 | 2559508.0505 | 1193086.4315
1 | 2559490.82 | 1193077.7881 | 2559491.749 | 1193078.7935 | 2559497.7413 | 1193081.6012
2 | 2559511.9838 | 1193077.511 | 2559508.0505 | 1193086.4315
3 | 2559470.0368 | 1193086.9787 | 2559483.7348 | 1193080.4821 | 2559487.8091 | 1193077.753 | 2559490.82 | 1193077.7881
4 | 2559511.9838 | 1193077.511 | 2559531.5156 | 1193085.2573
5 | 2559490.2696 | 1193052.8671 | 2559470.0368 | 1193086.9787
6 | 2559470.0368 | 1193086.9787 | 2559472.0294 | 1193100.9284
7 | 2559490.2696 | 1193052.8671 | 2559485.1504 | 1193041.987
8 | 2559461.0122 | 1193127.2844 | 2559472.0294 | 1193100.9284
9 | 2559476.7572 | 1193024.1488 | 2559485.1504 | 1193041.987
10 | 2559443.7709 | 1193105.8342 | 2559460.4469 | 1193126.5811
11 | 2559443.7709 | 1193105.8342 | 2559435.1489 | 1193099.9673
12 | 2559460.4469 | 1193126.5811 | 2559461.0122 | 1193127.2844
13 | 2559435.1489 | 1193099.9673 | 2559431.5374 | 1193097.8055
14 | 2559461.0122 | 1193127.2844 | 2559465.8041 | 1193133.6887 | 2559467.5092 | 1193137.0856
15 | 2559476.7572 | 1193024.1488 | 2559468.0981 | 1193005.7453
16 | 2559422.1068 | 1193092.1604 | 2559431.5374 | 1193097.8055
17 | 2559477.0898 | 1193162.5612 | 2559474.4837 | 1193151.4172 | 2559472.5337 | 1193147.0948 | 2559467.5092 | 1193137.0856
18 | 2559557.0493 | 1193269.422 | 2559574.4945 | 1193296.274
19 | 2559592.8839 | 1193244.4099 | 2559557.0493 | 1193269.422
20 | 2559557.0493 | 1193269.422 | 2559549.5216 | 1193274.478
21 | 2559592.8839 | 1193244.4099 | 2559568.9381 | 1193225.579
22 | 2559592.8839 | 1193244.4099 | 2559601.68 | 1193237.6278
23 | 2559549.5216 | 1193274.478 | 2559517.0036 | 1193296.3187
24 | 2559556.4861 | 1193215.7867 | 2559568.9381 | 1193225.579
25 | 2559601.68 | 1193237.6278 | 2559626.2209 | 1193218.7059
26 | 2559515.1504 | 1193297.5634 | 2559517.0036 | 1193296.3187
27 | 2559534.5685 | 1193198.8391 | 2559536.0209 | 1193199.6929 | 2559556.4861 | 1193215.7867
28 | 2559657.1492 | 1193194.8591 | 2559626.2209 | 1193218.7059
29 | 2559499.9198 | 1193308.9311 | 2559508.3411 | 1193302.1369 | 2559515.1504 | 1193297.5634
30 | 2559517.3421 | 1193188.7135 | 2559534.5685 | 1193198.8391
31 | 2559657.1492 | 1193194.8591 | 2559675.2897 | 1193216.4372 | 2559675.7256 | 1193216.8516
32 | 2559657.1492 | 1193194.8591 | 2559708.0962 | 1193150.3568
33 | 2559499.9198 | 1193308.9311 | 2559512.8116 | 1193327.476
34 | 2559499.9198 | 1193308.9311 | 2559477.4366 | 1193330.5057
35 | 2559499.9198 | 1193308.9311 | 2559496.5186 | 1193306.3972 | 2559494.6667 | 1193305.287 | 2559493.1328 | 1193304.9972 | 2559487.5333 | 1193308.1343
36 | 2559361.8242 | 1193176.4336 | 2559354.994 | 1193174.2424
37 | 2559371.1797 | 1193179.435 | 2559361.8242 | 1193176.4336
38 | 2559354.994 | 1193174.2424 | 2559354.994 | 1193174.2424 | 2559341.3166 | 1193176.9815 | 2559333.403 | 1193185.5957 | 2559325.3736 | 1193182.5391
39 | 2559371.1797 | 1193179.435 | 2559378.7562 | 1193166.4751
40 | 2559371.1797 | 1193179.435 | 2559376.0865 | 1193193.765 | 2559367.7566 | 1193203.0149
41 | 2559317.6234 | 1193179.5888 | 2559325.3736 | 1193182.5391
42 | 2559390.2857 | 1193146.7537 | 2559378.7562 | 1193166.4751
43 | 2559366.3571 | 1193240.1345 | 2559350.0222 | 1193224.2037 | 2559358.1415 | 1193215.5881 | 2559359.7474 | 1193211.9085 | 2559367.7566 | 1193203.0149
44 | 2559390.2857 | 1193146.7537 | 2559385.2842 | 1193145.5391
45 | 2559390.2857 | 1193146.7537 | 2559407.6555 | 1193151.238
46 | 2559366.3571 | 1193240.1345 | 2559381.3278 | 1193224.7464
47 | 2559385.2842 | 1193145.5391 | 2559373.3486 | 1193142.6406
48 | 2559407.6555 | 1193151.238 | 2559412.0839 | 1193152.3752
49 | 2559407.6555 | 1193151.238 | 2559409.212 | 1193148.1146 | 2559413.3955 | 1193140.3486
50 | 2559381.3278 | 1193224.7464 | 2559392.4341 | 1193235.0654 | 2559392.6913 | 1193234.9804
51 | 2559406.8033 | 1193176.0796 | 2559412.0839 | 1193152.3752
52 | 2559412.0839 | 1193152.3752 | 2559432.0664 | 1193158.5169
53 | 2559396.4873 | 1193233.7259 | 2559392.6913 | 1193234.9804
54 | 2559330.6677 | 1193135.7121 | 2559334.8734 | 1193135.1913 | 2559336.9364 | 1193135.5329
55 | 2559327.0829 | 1193136.156 | 2559330.6677 | 1193135.7121
56 | 2559327.0829 | 1193136.156 | 2559324.9359 | 1193120.8512
57 | 2559327.0829 | 1193136.156 | 2559304.0863 | 1193140.2095
58 | 2559324.9359 | 1193120.8512 | 2559328.9127 | 1193103.5513
59 | 2559324.9359 | 1193120.8512 | 2559305.5014 | 1193115.4495
60 | 2559304.0863 | 1193140.2095 | 2559295.5313 | 1193141.7175
61 | 2559331.1214 | 1193093.9428 | 2559328.9127 | 1193103.5513
62 | 2559271.9954 | 1193105.2258 | 2559273.7649 | 1193110.9836 | 2559296.4758 | 1193112.9408 | 2559305.5014 | 1193115.4495
63 | 2559285.3309 | 1193143.5154 | 2559295.5313 | 1193141.7175
64 | 2559331.2229 | 1193093.5012 | 2559331.1214 | 1193093.9428
65 | 2559271.9954 | 1193105.2258 | 2559275.5589 | 1193100.2432 | 2559283.1951 | 1193086.2001
66 | 2559271.9954 | 1193105.2258 | 2559268.3992 | 1193100.9369 | 2559257.9827 | 1193095.8854
67 | 2559285.3309 | 1193143.5154 | 2559279.5806 | 1193144.529 | 2559268.8794 | 1193145.6783
68 | 2559331.2229 | 1193093.5012 | 2559331.5165 | 1193092.2239 | 2559333.5945 | 1193087.828
69 | 2559288.3068 | 1193076.7994 | 2559283.1951 | 1193086.2001
70 | 2559255.5763 | 1193078.1675 | 2559249.3426 | 1193091.6953 | 2559257.9827 | 1193095.8854
71 | 2559265.2313 | 1193146.0701 | 2559268.8794 | 1193145.6783
72 | 2559351.9235 | 1193063.199 | 2559334.875 | 1193085.1194 | 2559333.5945 | 1193087.828
73 | 2559248.187 | 1193147.9007 | 2559265.2313 | 1193146.0701
74 | 2559248.187 | 1193147.9007 | 2559239.8486 | 1193145.5929
75 | 2559186.7332 | 1193127.8731 | 2559197.3455 | 1193133.8292 | 2559239.8486 | 1193145.5929
76 | 2559186.7332 | 1193127.8731 | 2559175.6997 | 1193121.6806
77 | 2559482.6474 | 1193310.8716 | 2559487.5333 | 1193308.1343
78 | 2559454.8836 | 1193174.2629 | 2559450.204 | 1193177.641 | 2559447.2255 | 1193180.9808
79 | 2559454.8836 | 1193174.2629 | 2559456.551 | 1193181.8558 | 2559457.513 | 1193184.3395 | 2559458.7455 | 1193186.2655 | 2559459.3578 | 1193186.8894
80 | 2559460.7213 | 1193164.0955 | 2559454.8836 | 1193174.2629
81 | 2559472.1131 | 1193196.2469 | 2559460.5337 | 1193188.0877 | 2559459.3578 | 1193186.8894
82 | 2559477.0898 | 1193162.5612 | 2559460.7213 | 1193164.0955
83 | 2559460.7213 | 1193164.0955 | 2559444.8377 | 1193161.8577 | 2559438.2352 | 1193160.4129 | 2559432.0664 | 1193158.5169
84 | 2559452.231 | 1193217.9494 | 2559472.1131 | 1193196.2469
85 | 2559472.1131 | 1193196.2469 | 2559474.1178 | 1193197.4408
86 | 2559477.0898 | 1193162.5612 | 2559487.2646 | 1193169.1719
87 | 2559480.098 | 1193201.0026 | 2559474.1178 | 1193197.4408
88 | 2559487.2646 | 1193169.1719 | 2559496.7746 | 1193175.3506
89 | 2559517.3421 | 1193188.7135 | 2559508.7979 | 1193199.3917
90 | 2559517.3421 | 1193188.7135 | 2559509.471 | 1193183.5996
91 | 2559506.1618 | 1193202.6861 | 2559508.7979 | 1193199.3917
92 | 2559502.501 | 1193179.0712 | 2559509.471 | 1193183.5996
93 | 2559502.501 | 1193179.0712 | 2559496.7746 | 1193175.3506
94 | 2559682.1863 | 1193222.9949 | 2559675.7256 | 1193216.8516
95 | 2559728.3434 | 1193130.6096 | 2559726.9047 | 1193131.9979 | 2559721.7856 | 1193136.9129 | 2559708.0962 | 1193150.3568
96 | 2559698.4992 | 1193232.4781 | 2559690.7166 | 1193230.0849 | 2559687.8393 | 1193228.3701 | 2559682.1863 | 1193222.9949
97 | 2559728.3434 | 1193130.6096 | 2559759.4299 | 1193149.1456
98 | 2559728.3434 | 1193130.6096 | 2559724.9769 | 1193129.8208 | 2559701.6882 | 1193124.368
99 | 2559701.6882 | 1193124.368 | 2559693.2358 | 1193122.389
100 | 2559707.7268 | 1193222.0212 | 2559698.4992 | 1193232.4781
101 | 2559698.4992 | 1193232.4781 | 2559712.4043 | 1193242.7679
102 | 2559712.4043 | 1193242.7679 | 2559712.5736 | 1193242.8932
103 | 2559759.4299 | 1193149.1456 | 2559811.2573 | 1193182.2457
104 | 2559811.2573 | 1193182.2457 | 2559803.68 | 1193187.6997 | 2559789.3471 | 1193207.4182
105 | 2559456.2756 | 1192969.8238 | 2559456.8426 | 1192973.5727 | 2559462.9162 | 1192994.732 | 2559468.0981 | 1193005.7453
106 | 2559452.2231 | 1192911.8258 | 2559454.2409 | 1192956.3699 | 2559456.2756 | 1192969.8238
107 | 2559452.2231 | 1192911.8258 | 2559440.5206 | 1192933.7281
108 | 2559431.8046 | 1192950.0411 | 2559440.5206 | 1192933.7281
109 | 2559431.8046 | 1192950.0411 | 2559389.7115 | 1192930.3165
110 | 2559431.8046 | 1192950.0411 | 2559420.3945 | 1192971.4092
111 | 2559418.9884 | 1192974.0424 | 2559420.3945 | 1192971.4092
112 | 2559440.157 | 1192826.5499 | 2559440.157 | 1192826.5499 | 2559437.2145 | 1192827.626 | 2559435.3293 | 1192829.4843 | 2559430.3378 | 1192837.1489
113 | 2559419.621 | 1192853.605 | 2559430.3378 | 1192837.1489
114 | 2559435.2599 | 1192783.415 | 2559419.0744 | 1192808.6903
115 | 2559381.2232 | 1192743.7608 | 2559435.2599 | 1192783.415
116 | 2559391.9945 | 1192838.3551 | 2559398.2059 | 1192828.9364 | 2559410.2053 | 1192822.5402 | 2559419.0744 | 1192808.6903
117 | 2559381.2232 | 1192743.7608 | 2559372.3716 | 1192757.3964
118 | 2559419.621 | 1192853.605 | 2559417.3118 | 1192857.1509
119 | 2559383.1834 | 1192888.3601 | 2559391.9945 | 1192838.3551
120 | 2559383.1834 | 1192888.3601 | 2559407.2079 | 1192872.6658
121 | 2559383.1834 | 1192888.3601 | 2559362.7049 | 1192919.975
122 | 2559407.2079 | 1192872.6658 | 2559417.3118 | 1192857.1509
123 | 2559348.8545 | 1192941.4927 | 2559353.7519 | 1192933.7966 | 2559362.7049 | 1192919.975
124 | 2559371.8652 | 1192758.1764 | 2559372.3716 | 1192757.3964
125 | 2559418.9884 | 1192974.0424 | 2559415.3903 | 1192980.7807 | 2559410.2154 | 1192988.5133
126 | 2559320.2402 | 1193017.9891 | 2559335.5692 | 1193032.6747 | 2559348.5291 | 1193044.7106
127 | 2559358.8488 | 1193054.2947 | 2559348.5291 | 1193044.7106
128 | 2559307.812 | 1193006.0826 | 2559320.2402 | 1193017.9891
129 | 2559358.8488 | 1193054.2947 | 2559376.4367 | 1193064.8226
130 | 2559358.8488 | 1193054.2947 | 2559351.9235 | 1193063.199
131 | 2559307.812 | 1193006.0826 | 2559311.8916 | 1192999.6513
132 | 2559381.2976 | 1193067.7324 | 2559376.4367 | 1193064.8226
133 | 2559309.8001 | 1192988.0258 | 2559311.8916 | 1192999.6513
134 | 2559311.8916 | 1192999.6513 | 2559320.2905 | 1192986.4264
135 | 2559381.2976 | 1193067.7324 | 2559405.902 | 1193082.4603
136 | 2559320.2905 | 1192986.4264 | 2559325.1178 | 1192978.8253
137 | 2559405.902 | 1193082.4603 | 2559415.4758 | 1193088.1911
138 | 2559331.7851 | 1192968.327 | 2559325.1178 | 1192978.8253
139 | 2559422.1068 | 1193092.1604 | 2559415.4758 | 1193088.1911
140 | 2559371.8652 | 1192758.1764 | 2559358.2216 | 1192779.1939
141 | 2559357.0798 | 1192780.9529 | 2559358.2216 | 1192779.1939
142 | 2559357.0798 | 1192780.9529 | 2559342.5526 | 1192803.3316
143 | 2559342.5526 | 1192803.3316 | 2559339.9452 | 1192807.3481
144 | 2559324.6438 | 1192830.9195 | 2559339.9452 | 1192807.3481
145 | 2559310.3935 | 1192852.8716 | 2559324.6438 | 1192830.9195
146 | 2559297.4604 | 1192872.7946 | 2559310.3935 | 1192852.8716
147 | 2559297.4604 | 1192872.7946 | 2559293.3226 | 1192879.1688
148 | 2559280.3389 | 1192899.1698 | 2559293.3226 | 1192879.1688
149 | 2559273.7222 | 1192909.3626 | 2559280.3389 | 1192899.1698
150 | 2559273.7222 | 1192909.3626 | 2559258.6458 | 1192932.5873
151 | 2559247.1118 | 1192950.3551 | 2559258.6458 | 1192932.5873
152 | 2559247.1118 | 1192950.3551 | 2559231.6302 | 1192935.7313
153 | 2559348.8545 | 1192941.4927 | 2559342.9616 | 1192950.7535
154 | 2559342.9616 | 1192950.7535 | 2559334.9518 | 1192963.3408 | 2559331.7851 | 1192968.327

## bus_geodata
| x | y | coords
0 | 2559497.7413 | 1193081.6012
1 | 2559508.0505 | 1193086.4315
2 | 2559490.82 | 1193077.7881
3 | 2559511.9838 | 1193077.511
4 | 2559470.0368 | 1193086.9787
5 | 2559531.5156 | 1193085.2573
6 | 2559490.2696 | 1193052.8671
7 | 2559472.0294 | 1193100.9284
8 | 2559485.1504 | 1193041.987
9 | 2559443.7709 | 1193105.8342
10 | 2559460.4469 | 1193126.5811
11 | 2559435.1489 | 1193099.9673
12 | 2559461.0122 | 1193127.2844
13 | 2559476.7572 | 1193024.1488
14 | 2559431.5374 | 1193097.8055
15 | 2559467.5092 | 1193137.0856
16 | 2559574.4945 | 1193296.274
17 | 2559557.0493 | 1193269.422
18 | 2559592.8839 | 1193244.4099
19 | 2559549.5216 | 1193274.478
20 | 2559568.9381 | 1193225.579
21 | 2559601.68 | 1193237.6278
22 | 2559517.0036 | 1193296.3187
23 | 2559556.4861 | 1193215.7867
24 | 2559626.2209 | 1193218.7059
25 | 2559515.1504 | 1193297.5634
26 | 2559534.5685 | 1193198.8391
27 | 2559657.1492 | 1193194.8591
28 | 2559499.9198 | 1193308.9311
29 | 2559361.8242 | 1193176.4336
30 | 2559354.994 | 1193174.2424
31 | 2559371.1797 | 1193179.435
32 | 2559325.3736 | 1193182.5391
33 | 2559378.7562 | 1193166.4751
34 | 2559367.7566 | 1193203.0149
35 | 2559317.6234 | 1193179.5888
36 | 2559390.2857 | 1193146.7537
37 | 2559366.3571 | 1193240.1345
38 | 2559385.2842 | 1193145.5391
39 | 2559407.6555 | 1193151.238
40 | 2559381.3278 | 1193224.7464
41 | 2559373.3486 | 1193142.6406
42 | 2559412.0839 | 1193152.3752
43 | 2559413.3955 | 1193140.3486
44 | 2559392.6913 | 1193234.9804
45 | 2559330.6677 | 1193135.7121
46 | 2559336.9364 | 1193135.5329
47 | 2559327.0829 | 1193136.156
48 | 2559324.9359 | 1193120.8512
49 | 2559304.0863 | 1193140.2095
50 | 2559328.9127 | 1193103.5513
51 | 2559305.5014 | 1193115.4495
52 | 2559295.5313 | 1193141.7175
53 | 2559331.1214 | 1193093.9428
54 | 2559271.9954 | 1193105.2258
55 | 2559285.3309 | 1193143.5154
56 | 2559331.2229 | 1193093.5012
57 | 2559283.1951 | 1193086.2001
58 | 2559257.9827 | 1193095.8854
59 | 2559268.8794 | 1193145.6783
60 | 2559255.5763 | 1193078.1675
61 | 2559288.3068 | 1193076.7994
62 | 2559333.5945 | 1193087.828
63 | 2559265.2313 | 1193146.0701
64 | 2559248.187 | 1193147.9007
65 | 2559239.8486 | 1193145.5929
66 | 2559186.7332 | 1193127.8731
67 | 2559175.6997 | 1193121.6806
68 | 2559487.5333 | 1193308.1343
69 | 2559482.6474 | 1193310.8716
70 | 2559512.8116 | 1193327.476
71 | 2559477.4366 | 1193330.5057
72 | 2559396.4873 | 1193233.7259
73 | 2559447.2255 | 1193180.9808
74 | 2559454.8836 | 1193174.2629
75 | 2559459.3578 | 1193186.8894
76 | 2559460.7213 | 1193164.0955
77 | 2559472.1131 | 1193196.2469
78 | 2559477.0898 | 1193162.5612
79 | 2559432.0664 | 1193158.5169
80 | 2559452.231 | 1193217.9494
81 | 2559474.1178 | 1193197.4408
82 | 2559487.2646 | 1193169.1719
83 | 2559517.3421 | 1193188.7135
84 | 2559508.7979 | 1193199.3917
85 | 2559509.471 | 1193183.5996
86 | 2559506.1618 | 1193202.6861
87 | 2559502.501 | 1193179.0712
88 | 2559496.7746 | 1193175.3506
89 | 2559480.098 | 1193201.0026
90 | 2559675.7256 | 1193216.8516
91 | 2559708.0962 | 1193150.3568
92 | 2559682.1863 | 1193222.9949
93 | 2559728.3434 | 1193130.6096
94 | 2559693.2358 | 1193122.389
95 | 2559701.6882 | 1193124.368
96 | 2559698.4992 | 1193232.4781
97 | 2559406.8033 | 1193176.0796
98 | 2559712.4043 | 1193242.7679
99 | 2559712.5736 | 1193242.8932
100 | 2559707.7268 | 1193222.0212
101 | 2559759.4299 | 1193149.1456
102 | 2559811.2573 | 1193182.2457
103 | 2559789.3471 | 1193207.4182
104 | 2559456.2756 | 1192969.8238
105 | 2559468.0981 | 1193005.7453
106 | 2559452.2231 | 1192911.8258
107 | 2559440.5206 | 1192933.7281
108 | 2559431.8046 | 1192950.0411
109 | 2559389.7115 | 1192930.3165
110 | 2559420.3945 | 1192971.4092
111 | 2559440.157 | 1192826.5499
112 | 2559430.3378 | 1192837.1489
113 | 2559435.2599 | 1192783.415
114 | 2559419.0744 | 1192808.6903
115 | 2559381.2232 | 1192743.7608
116 | 2559419.621 | 1192853.605
117 | 2559383.1834 | 1192888.3601
118 | 2559391.9945 | 1192838.3551
119 | 2559407.2079 | 1192872.6658
120 | 2559362.7049 | 1192919.975
121 | 2559372.3716 | 1192757.3964
122 | 2559418.9884 | 1192974.0424
123 | 2559410.2154 | 1192988.5133
124 | 2559348.5291 | 1193044.7106
125 | 2559320.2402 | 1193017.9891
126 | 2559358.8488 | 1193054.2947
127 | 2559307.812 | 1193006.0826
128 | 2559376.4367 | 1193064.8226
129 | 2559351.9235 | 1193063.199
130 | 2559311.8916 | 1192999.6513
131 | 2559381.2976 | 1193067.7324
132 | 2559309.8001 | 1192988.0258
133 | 2559320.2905 | 1192986.4264
134 | 2559405.902 | 1193082.4603
135 | 2559325.1178 | 1192978.8253
136 | 2559415.4758 | 1193088.1911
137 | 2559422.1068 | 1193092.1604
138 | 2559371.8652 | 1192758.1764
139 | 2559358.2216 | 1192779.1939
140 | 2559357.0798 | 1192780.9529
141 | 2559342.5526 | 1192803.3316
142 | 2559339.9452 | 1192807.3481
143 | 2559324.6438 | 1192830.9195
144 | 2559310.3935 | 1192852.8716
145 | 2559297.4604 | 1192872.7946
146 | 2559293.3226 | 1192879.1688
147 | 2559273.7222 | 1192909.3626
148 | 2559280.3389 | 1192899.1698
149 | 2559258.6458 | 1192932.5873
150 | 2559247.1118 | 1192950.3551
151 | 2559231.6302 | 1192935.7313
152 | 2559417.3118 | 1192857.1509
153 | 2559348.8545 | 1192941.4927
154 | 2559342.9616 | 1192950.7535
155 | 2559331.7851 | 1192968.327
156 | 2559490.2696 | 1193052.8671

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1