## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5813-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5813-2_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5813-2_0_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_5813-2_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5813-2_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5813-2_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_5813-2_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_5813-2_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5813-2_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_5813-2_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5813-2_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5813-2_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_5813-2_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_5813-2_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5813-2_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5813-2_0_3_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_5813-2_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_5813-2_0_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_5813-2_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5813-2_0_3_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_5813-2_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_5813-2_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5813-2_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5813-2_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5813-2_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5813-2_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5813-2_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5813-2_0_3_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_5813-2_0_3_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_5813-2_0_3_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_5813-2_0_3_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_5813-2_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_5813-2_0_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_5813-2_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_5813-2_0_3_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_5813-2_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5813-2_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_5813-2_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_5813-2_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5813-2_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_5813-2_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5813-2_0_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_5813-2_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5813-2_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5813-2_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5813-2_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5813-2_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_5813-2_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5813-2_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5813-2_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5813-2_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5813-2_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5813-2_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5813-2_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5813-2_0_3_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_5813-2_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5813-2_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5813-2_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5813-2_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5813-2_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_5813-2_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_5813-2_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_5813-2_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5813-2_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_5813-2_0_3_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_5813-2_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_5813-2_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_5813-2_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5813-2_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5813-2_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5813-2_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_5813-2_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_5813-2_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_5813-2_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5813-2_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5813-2_0_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5813-2_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_5813-2_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_5813-2_0_3_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_5813-2_0_3_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_5813-2_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_5813-2_0_3_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_5813-2_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_5813-2_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_5813-2_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_5813-2_0_3_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_5813-2_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_5813-2_0_3_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_5813-2_0_3_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_5813-2_0_3_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_5813-2_0_3_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_5813-2_0_3_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_5813-2_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_5813-2_0_3_node_90 | 0.4 | n |  | TRUE
94 | bus_MV_454_1_node_211 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5813-2_0_3_load_0 | 0 | 0.010566 | 0.002648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5813-2_0_3_load_3 | 4 | 0.002065 | 0.00051753 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5813-2_0_3_load_24 | 5 | 0.0017222 | 0.00043163 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5813-2_0_3_load_21 | 6 | 0.00015277 | 3.8287e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5813-2_0_3_load_4 | 7 | 0.0031903 | 0.00079956 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5813-2_0_3_load_8 | 10 | 0.0011379 | 0.00028518 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5813-2_0_3_load_25 | 11 | 0.0019402 | 0.00048625 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5813-2_0_3_load_22 | 12 | 0.00032584 | 8.1664e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5813-2_0_3_load_9 | 13 | 0.00020918 | 5.2426e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5813-2_0_3_load_11 | 14 | 0.000209 | 5.2381e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5813-2_0_3_load_32 | 15 | 0.00018364 | 4.6025e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5813-2_0_3_load_20 | 16 | 0.0021634 | 0.00054221 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5813-2_0_3_load_23 | 17 | 0.00032623 | 8.176e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5813-2_0_3_load_19 | 18 | 0.00064571 | 0.00016183 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5813-2_0_3_load_66 | 19 | 0.00063407 | 0.00015891 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5813-2_0_3_load_13 | 21 | 0.00060208 | 0.0001509 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5813-2_0_3_load_14 | 22 | 0.00035316 | 8.851e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5813-2_0_3_load_15 | 23 | 0.00094071 | 0.00023576 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5813-2_0_3_load_18 | 26 | 0.00059902 | 0.00015013 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5813-2_0_3_load_91 | 28 | 0.0012395 | 0.00031065 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5813-2_0_3_load_95 | 29 | 0.0010357 | 0.00025956 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5813-2_0_3_load_93 | 30 | 0.0008452 | 0.00021183 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5813-2_0_3_load_58 | 32 | 0.0022209 | 0.00055661 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5813-2_0_3_load_29 | 33 | 0.0018883 | 0.00047325 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5813-2_0_3_load_60 | 34 | 0.0017426 | 0.00043673 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5813-2_0_3_load_27 | 35 | 0.0012894 | 0.00032316 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5813-2_0_3_load_28 | 36 | 0.0013225 | 0.00033145 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5813-2_0_3_load_30 | 37 | 0.0010888 | 0.00027289 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5813-2_0_3_load_36 | 39 | 0.00081231 | 0.00020358 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5813-2_0_3_load_33 | 40 | 0.00023404 | 5.8656e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5813-2_0_3_load_47 | 41 | 0.00081129 | 0.00020333 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5813-2_0_3_load_34 | 42 | 0.00091082 | 0.00022827 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5813-2_0_3_load_35 | 43 | 0.00084786 | 0.00021249 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5813-2_0_3_load_37 | 44 | 0.00082467 | 0.00020668 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5813-2_0_3_load_38 | 45 | 0.00063624 | 0.00015946 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5813-2_0_3_load_48 | 46 | 0.00072932 | 0.00018278 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5813-2_0_3_load_39 | 47 | 0.00082487 | 0.00020673 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5813-2_0_3_load_40 | 48 | 0.00091737 | 0.00022992 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5813-2_0_3_load_41 | 49 | 0.00082487 | 0.00020673 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5813-2_0_3_load_42 | 50 | 0.00091788 | 0.00023004 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5813-2_0_3_load_43 | 51 | 0.00085078 | 0.00021322 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5813-2_0_3_load_44 | 52 | 0.00085702 | 0.00021479 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5813-2_0_3_load_45 | 53 | 0.00076452 | 0.00019161 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5813-2_0_3_load_57 | 54 | 0.00088767 | 0.00022247 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5813-2_0_3_load_49 | 55 | 0.00081231 | 0.00020358 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5813-2_0_3_load_50 | 56 | 0.00081129 | 0.00020333 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5813-2_0_3_load_51 | 57 | 0.00065494 | 0.00016414 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5813-2_0_3_load_52 | 58 | 0.00081231 | 0.00020359 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5813-2_0_3_load_53 | 59 | 0.00054619 | 0.00013689 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5813-2_0_3_load_54 | 60 | 0.00081166 | 0.00020342 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5813-2_0_3_load_56 | 62 | 0.0010589 | 0.00026539 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5813-2_0_3_load_65 | 63 | 0.0010146 | 0.00025428 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5813-2_0_3_load_64 | 64 | 0.00089553 | 0.00022444 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5813-2_0_3_load_59 | 65 | 0.0015979 | 0.00040047 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5813-2_0_3_load_61 | 66 | 0.0013651 | 0.00034213 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5813-2_0_3_load_62 | 67 | 0.00081962 | 0.00020542 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5813-2_0_3_load_63 | 68 | 0.00087217 | 0.00021859 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5813-2_0_3_load_67 | 69 | 0.0011444 | 0.00028682 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5813-2_0_3_load_68 | 70 | 0.00092691 | 0.0002323 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5813-2_0_3_load_70 | 71 | 0.0010414 | 0.00026099 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5813-2_0_3_load_69 | 72 | 0.0010418 | 0.0002611 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5813-2_0_3_load_71 | 73 | 0.0010723 | 0.00026875 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5813-2_0_3_load_72 | 74 | 0.0011273 | 0.00028252 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5813-2_0_3_load_73 | 75 | 0.0010414 | 0.00026099 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5813-2_0_3_load_76 | 76 | 0.0010417 | 0.00026108 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5813-2_0_3_load_74 | 77 | 0.0010718 | 0.00026862 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5813-2_0_3_load_75 | 79 | 0.0010727 | 0.00026884 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5813-2_0_3_load_80 | 80 | 0.0010418 | 0.0002611 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5813-2_0_3_load_81 | 81 | 0.0010718 | 0.00026862 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5813-2_0_3_load_78 | 82 | 0.0012866 | 0.00032245 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5813-2_0_3_load_79 | 83 | 0.0011273 | 0.00028253 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5813-2_0_3_load_83 | 84 | 0.0012884 | 0.00032289 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5813-2_0_3_load_89 | 85 | 0.0012877 | 0.00032272 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5813-2_0_3_load_84 | 86 | 0.0011093 | 0.00027802 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5813-2_0_3_load_87 | 87 | 0.0011098 | 0.00027813 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5813-2_0_3_load_82 | 88 | 0.0011529 | 0.00028893 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5813-2_0_3_load_86 | 90 | 0.0012877 | 0.00032272 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5813-2_0_3_load_94 | 91 | 0.0012877 | 0.00032274 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5813-2_0_3_load_88 | 92 | 0.0012877 | 0.00032272 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5813-2_0_3_load_90 | 93 | 0.0011105 | 0.00027831 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5813-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5813-2_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.17008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5813-2_0_3_line_2 | NAYY 4x150 SE | 2 | 5 | 0.047485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5813-2_0_3_line_3 | NAYY 4x150 SE | 2 | 6 | 0.021938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5813-2_0_3_line_4 | NAYY 4x150 SE | 2 | 3 | 0.049581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5813-2_0_3_line_5 | NAYY 4x150 SE | 3 | 4 | 0.017136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5813-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.069262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5813-2_0_3_line_7 | NAYY 4x150 SE | 5 | 11 | 0.050566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5813-2_0_3_line_8 | NAYY 4x150 SE | 6 | 12 | 0.029865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_5813-2_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.10396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5813-2_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.062092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5813-2_0_3_line_11 | NAYY 4x150 SE | 9 | 16 | 0.12407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_5813-2_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0093088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_5813-2_0_3_line_13 | NAYY 4x150 SE | 11 | 31 | 0.0080638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5813-2_0_3_line_14 | NAYY 4x150 SE | 12 | 17 | 0.00097244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5813-2_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.00031643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_5813-2_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.021062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5813-2_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.027887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_5813-2_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0094966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5813-2_0_3_line_19 | NAYY 4x150 SE | 18 | 26 | 0.018113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5813-2_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.019039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5813-2_0_3_line_21 | NAYY 4x150 SE | 20 | 54 | 0.0044501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5813-2_0_3_line_22 | NAYY 4x150 SE | 20 | 53 | 0.009938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5813-2_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.033811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5813-2_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0058184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5813-2_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0076291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5813-2_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.081677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5813-2_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.023822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5813-2_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.028457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5813-2_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.024347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5813-2_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.043706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5813-2_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.010509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5813-2_0_3_line_32 | NAYY 4x150 SE | 30 | 91 | 0.014905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5813-2_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.021954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5813-2_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0099545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5813-2_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.017726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5813-2_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.015642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5813-2_0_3_line_37 | NAYY 4x150 SE | 34 | 65 | 2.5256e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5813-2_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.00037457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_5813-2_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.00035014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_5813-2_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0082991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_5813-2_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.014507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_5813-2_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.019543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5813-2_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.0087663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_5813-2_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.0059634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5813-2_0_3_line_45 | NAYY 4x150 SE | 41 | 46 | 0.0090523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_5813-2_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.010015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5813-2_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.014834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5813-2_0_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.0082359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5813-2_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0092782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5813-2_0_3_line_50 | NAYY 4x150 SE | 46 | 55 | 0.0074814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_5813-2_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.008408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5813-2_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0084397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5813-2_0_3_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0096625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5813-2_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0090914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5813-2_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.0087133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5813-2_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.0084131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5813-2_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.010875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5813-2_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0071993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5813-2_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.010006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5813-2_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0088038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5813-2_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0085275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5813-2_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.010576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5813-2_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.00052702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5813-2_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.012607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5813-2_0_3_line_65 | NAYY 4x150 SE | 64 | 68 | 0.0054998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5813-2_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.01767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5813-2_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.0012711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5813-2_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.01713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5813-2_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0061182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5813-2_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.013649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5813-2_0_3_line_71 | NAYY 4x150 SE | 71 | 74 | 0.0078357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5813-2_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.01115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5813-2_0_3_line_73 | NAYY 4x150 SE | 73 | 75 | 0.0069014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5813-2_0_3_line_74 | NAYY 4x150 SE | 74 | 76 | 0.01275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5813-2_0_3_line_75 | NAYY 4x150 SE | 75 | 77 | 0.0064148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5813-2_0_3_line_76 | NAYY 4x150 SE | 76 | 78 | 0.013938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5813-2_0_3_line_77 | NAYY 4x150 SE | 77 | 79 | 0.0088248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5813-2_0_3_line_78 | NAYY 4x150 SE | 78 | 82 | 0.0091495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5813-2_0_3_line_79 | NAYY 4x150 SE | 78 | 83 | 0.010036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5813-2_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0023252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5813-2_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.0091038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5813-2_0_3_line_82 | NAYY 4x150 SE | 81 | 88 | 0.0078587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5813-2_0_3_line_83 | NAYY 4x150 SE | 82 | 84 | 0.016746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5813-2_0_3_line_84 | NAYY 4x150 SE | 83 | 85 | 0.0089959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5813-2_0_3_line_85 | NAYY 4x150 SE | 84 | 86 | 0.0079428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5813-2_0_3_line_86 | NAYY 4x150 SE | 85 | 87 | 0.0087871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5813-2_0_3_line_87 | NAYY 4x150 SE | 86 | 89 | 0.015229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5813-2_0_3_line_88 | NAYY 4x150 SE | 87 | 92 | 0.0036316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5813-2_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.012213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5813-2_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0076614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5813-2_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.0038111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5813-2_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.025005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5813-2_0_3_trafo_50 | 0.25 MVA 20/0.4 kV | 94 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2559052.1935 | 1193850.3731 | 2559064.4878 | 1193857.3098
1 | 2559122.3174 | 1193695.4182 | 2559052.1935 | 1193850.3731
2 | 2559122.3174 | 1193695.4182 | 2559081.436 | 1193671.2618
3 | 2559122.3174 | 1193695.4182 | 2559132.9791 | 1193676.245
4 | 2559122.3174 | 1193695.4182 | 2559129.5502 | 1193698.815 | 2559131.0344 | 1193699.6497 | 2559135.5634 | 1193702.1867 | 2559150.8335 | 1193710.7536 | 2559165.8206 | 1193719.1668
5 | 2559165.8206 | 1193719.1668 | 2559182.9341 | 1193718.2862
6 | 2559182.9341 | 1193718.2862 | 2559196.9718 | 1193717.5639 | 2559206.5438 | 1193712.0065 | 2559213.8489 | 1193704.8193 | 2559220.9155 | 1193691.7305 | 2559229.9157 | 1193674.9809
7 | 2559081.436 | 1193671.2618 | 2559065.5547 | 1193661.8777 | 2559061.3303 | 1193659.3275 | 2559056.9883 | 1193655.1661 | 2559054.8891 | 1193651.3451 | 2559055.3768 | 1193649.1183 | 2559061.8699 | 1193636.1186
8 | 2559147.4931 | 1193650.1442 | 2559132.9791 | 1193676.245
9 | 2559143.3698 | 1193476.7092 | 2559168.5289 | 1193495.8253 | 2559172.4591 | 1193498.8112 | 2559213.8738 | 1193530.1452 | 2559206.3911 | 1193543.715
10 | 2559206.3911 | 1193543.715 | 2559176.4168 | 1193598.0934
11 | 2559143.3698 | 1193476.7092 | 2559044.4351 | 1193401.8364
12 | 2559176.4168 | 1193598.0934 | 2559174.0973 | 1193602.3014 | 2559171.9084 | 1193606.2376
13 | 2559065.4732 | 1193628.9046 | 2559061.8699 | 1193636.1186
14 | 2559147.4931 | 1193650.1442 | 2559147.9657 | 1193649.2943
15 | 2559171.7547 | 1193606.5141 | 2559171.9084 | 1193606.2376
16 | 2559161.5187 | 1193624.9217 | 2559171.7547 | 1193606.5141
17 | 2559147.9657 | 1193649.2943 | 2559161.5187 | 1193624.9217
18 | 2559044.4351 | 1193401.8364 | 2559036.8626 | 1193396.1056
19 | 2559022.4197 | 1193385.1753 | 2559036.8626 | 1193396.1056
20 | 2559018.2952 | 1193521.925 | 2559024.3552 | 1193509.8768 | 2559026.8509 | 1193504.9164
21 | 2559018.2952 | 1193521.925 | 2559015.9724 | 1193525.7209
22 | 2559018.2952 | 1193521.925 | 2559026.9577 | 1193526.7959
23 | 2558966.3811 | 1193341.4534 | 2558992.8834 | 1193362.4491
24 | 2558997.444 | 1193366.0621 | 2558992.8834 | 1193362.4491
25 | 2559003.424 | 1193370.7996 | 2558997.444 | 1193366.0621
26 | 2559003.424 | 1193370.7996 | 2558974.7514 | 1193387.2946 | 2558941.7307 | 1193423.1303
27 | 2559003.424 | 1193370.7996 | 2559022.4197 | 1193385.1753
28 | 2558941.7307 | 1193423.1303 | 2558923.8283 | 1193445.2879
29 | 2558941.7307 | 1193423.1303 | 2558959.585 | 1193439.6829
30 | 2558923.8283 | 1193445.2879 | 2558895.4641 | 1193478.5392
31 | 2558923.8283 | 1193445.2879 | 2558926.3433 | 1193455.4911
32 | 2558926.3433 | 1193455.4911 | 2558929.9107 | 1193469.9633
33 | 2559065.4732 | 1193628.9046 | 2559046.5633 | 1193617.7521
34 | 2559065.4732 | 1193628.9046 | 2559070.586 | 1193620.3635
35 | 2559046.5633 | 1193617.7521 | 2559031.2945 | 1193608.7471
36 | 2559078.6203 | 1193606.9421 | 2559070.586 | 1193620.3635
37 | 2559031.2945 | 1193608.7471 | 2559031.2728 | 1193608.7342
38 | 2559078.6203 | 1193606.9421 | 2559078.8127 | 1193606.6208
39 | 2559078.8127 | 1193606.6208 | 2559078.9925 | 1193606.3203
40 | 2559083.2551 | 1193599.1996 | 2559078.9925 | 1193606.3203
41 | 2559083.2551 | 1193599.1996 | 2559070.6405 | 1193592.0348
42 | 2559083.2551 | 1193599.1996 | 2559093.0809 | 1193582.3058
43 | 2559070.6405 | 1193592.0348 | 2559063.0179 | 1193587.7054
44 | 2559093.0809 | 1193582.3058 | 2559096.079 | 1193577.1509
45 | 2559055.1466 | 1193583.2347 | 2559063.0179 | 1193587.7054
46 | 2559101.1143 | 1193568.4936 | 2559101.1143 | 1193568.4936 | 2559096.079 | 1193577.1509
47 | 2559101.1143 | 1193568.4936 | 2559088.1845 | 1193561.2233
48 | 2559081.0057 | 1193557.1867 | 2559088.1845 | 1193561.2233
49 | 2559081.0057 | 1193557.1867 | 2559072.9184 | 1193552.6393
50 | 2559055.1466 | 1193583.2347 | 2559048.6412 | 1193579.5399
51 | 2559065.5895 | 1193548.5183 | 2559072.9184 | 1193552.6393
52 | 2559065.5895 | 1193548.5183 | 2559058.233 | 1193544.3818
53 | 2559049.8106 | 1193539.6459 | 2559058.233 | 1193544.3818
54 | 2559049.8106 | 1193539.6459 | 2559041.8861 | 1193535.19
55 | 2559034.2911 | 1193530.9194 | 2559041.8861 | 1193535.19
56 | 2559034.2911 | 1193530.9194 | 2559026.9577 | 1193526.7959
57 | 2559039.1854 | 1193574.1693 | 2559048.6412 | 1193579.5399
58 | 2559039.1854 | 1193574.1693 | 2559032.9253 | 1193570.6137
59 | 2559024.2249 | 1193565.6721 | 2559032.9253 | 1193570.6137
60 | 2559024.2249 | 1193565.6721 | 2559016.5696 | 1193561.3242
61 | 2559009.1546 | 1193557.1127 | 2559016.5696 | 1193561.3242
62 | 2558999.9588 | 1193551.8897 | 2559009.1546 | 1193557.1127
63 | 2558999.7143 | 1193552.3566 | 2558999.9588 | 1193551.8897
64 | 2558995.4647 | 1193587.6157 | 2558984.6056 | 1193581.2113
65 | 2558995.4647 | 1193587.6157 | 2559000.2021 | 1193590.4097
66 | 2559031.2728 | 1193608.7342 | 2559016.0523 | 1193599.7577
67 | 2559014.9575 | 1193599.112 | 2559016.0523 | 1193599.7577
68 | 2559014.9575 | 1193599.112 | 2559000.2021 | 1193590.4097
69 | 2558959.9481 | 1193546.4172 | 2558962.9408 | 1193547.186 | 2558965.6184 | 1193545.7712
70 | 2558965.6184 | 1193545.7712 | 2558972.3417 | 1193542.2186 | 2558973.9388 | 1193536.3889
71 | 2558973.9388 | 1193536.3889 | 2558974.6241 | 1193533.8872 | 2558974.5317 | 1193528.6461
72 | 2558943.7537 | 1193540.7172 | 2558935.6311 | 1193536.7904 | 2558935.559 | 1193534.6636
73 | 2558935.3252 | 1193527.7662 | 2558935.559 | 1193534.6636
74 | 2558974.3071 | 1193515.8984 | 2558974.5317 | 1193528.6461
75 | 2558935.3252 | 1193527.7662 | 2558935.306 | 1193527.1984 | 2558934.9705 | 1193521.3613
76 | 2558974.0615 | 1193501.9624 | 2558974.3071 | 1193515.8984
77 | 2558934.9705 | 1193521.3613 | 2558934.4641 | 1193512.5511
78 | 2558974.0615 | 1193501.9624 | 2558969.4307 | 1193494.0714
79 | 2558974.0615 | 1193501.9624 | 2558983.7756 | 1193499.4426
80 | 2558934.3306 | 1193510.2296 | 2558934.4641 | 1193512.5511
81 | 2558934.3306 | 1193510.2296 | 2558933.8082 | 1193501.1408
82 | 2558933.8082 | 1193501.1408 | 2558933.3573 | 1193493.2951
83 | 2558969.4307 | 1193494.0714 | 2558967.9925 | 1193491.6207 | 2558955.3321 | 1193485.8712 | 2558955.3321 | 1193485.8712
84 | 2558983.7756 | 1193499.4426 | 2558988.7215 | 1193498.1596 | 2558988.3547 | 1193494.2906
85 | 2558947.5594 | 1193484.2366 | 2558955.3321 | 1193485.8712
86 | 2558987.5254 | 1193485.5428 | 2558988.3547 | 1193494.2906
87 | 2558932.6565 | 1193481.1024 | 2558947.5594 | 1193484.2366
88 | 2558987.5254 | 1193485.5428 | 2558987.1826 | 1193481.9274
89 | 2558932.6565 | 1193481.1024 | 2558933.3573 | 1193493.2951
90 | 2558932.6565 | 1193481.1024 | 2558930.8228 | 1193473.6636
91 | 2558930.8228 | 1193473.6636 | 2558929.9107 | 1193469.9633
92 | 2558980.568 | 1193459.136 | 2558985.4511 | 1193463.6631 | 2558987.1826 | 1193481.9274

## bus_geodata
| x | y | coords
0 | 2559064.4878 | 1193857.3098
1 | 2559052.1935 | 1193850.3731
2 | 2559122.3174 | 1193695.4182
3 | 2559165.8206 | 1193719.1667
4 | 2559182.9341 | 1193718.2862
5 | 2559081.436 | 1193671.2618
6 | 2559132.9791 | 1193676.245
7 | 2559229.9157 | 1193674.9809
8 | 2559206.3911 | 1193543.715
9 | 2559143.3698 | 1193476.7092
10 | 2559176.4168 | 1193598.0934
11 | 2559061.8699 | 1193636.1186
12 | 2559147.4931 | 1193650.1442
13 | 2559171.9084 | 1193606.2376
14 | 2559171.7547 | 1193606.5141
15 | 2559161.5187 | 1193624.9217
16 | 2559044.4351 | 1193401.8364
17 | 2559147.9657 | 1193649.2943
18 | 2559036.8626 | 1193396.1056
19 | 2559026.8509 | 1193504.9164
20 | 2559018.2952 | 1193521.925
21 | 2558966.3811 | 1193341.4534
22 | 2558992.8834 | 1193362.4491
23 | 2558997.444 | 1193366.0621
24 | 2559003.424 | 1193370.7996
25 | 2558941.7307 | 1193423.1303
26 | 2559022.4197 | 1193385.1753
27 | 2558923.8283 | 1193445.2879
28 | 2558959.5851 | 1193439.6829
29 | 2558895.4641 | 1193478.5392
30 | 2558926.3433 | 1193455.4911
31 | 2559065.4732 | 1193628.9046
32 | 2559046.5633 | 1193617.7521
33 | 2559070.586 | 1193620.3635
34 | 2559031.2945 | 1193608.7471
35 | 2559078.6203 | 1193606.9421
36 | 2559078.8127 | 1193606.6208
37 | 2559078.9925 | 1193606.3203
38 | 2559083.2551 | 1193599.1996
39 | 2559070.6405 | 1193592.0348
40 | 2559093.0809 | 1193582.3058
41 | 2559063.0179 | 1193587.7054
42 | 2559096.079 | 1193577.1509
43 | 2559101.1143 | 1193568.4936
44 | 2559088.1845 | 1193561.2233
45 | 2559081.0057 | 1193557.1867
46 | 2559055.1466 | 1193583.2347
47 | 2559072.9184 | 1193552.6393
48 | 2559065.5895 | 1193548.5183
49 | 2559058.233 | 1193544.3818
50 | 2559049.8106 | 1193539.6459
51 | 2559041.8861 | 1193535.19
52 | 2559034.2911 | 1193530.9194
53 | 2559026.9577 | 1193526.7959
54 | 2559015.9724 | 1193525.7209
55 | 2559048.6412 | 1193579.5399
56 | 2559039.1854 | 1193574.1693
57 | 2559032.9253 | 1193570.6137
58 | 2559024.2249 | 1193565.6721
59 | 2559016.5696 | 1193561.3242
60 | 2559009.1546 | 1193557.1127
61 | 2558999.9588 | 1193551.8897
62 | 2558999.7143 | 1193552.3566
63 | 2558984.6056 | 1193581.2113
64 | 2558995.4648 | 1193587.6157
65 | 2559031.2728 | 1193608.7342
66 | 2559016.0523 | 1193599.7577
67 | 2559014.9575 | 1193599.112
68 | 2559000.2021 | 1193590.4097
69 | 2558959.9481 | 1193546.4172
70 | 2558965.6184 | 1193545.7712
71 | 2558973.9388 | 1193536.3889
72 | 2558943.7537 | 1193540.7172
73 | 2558935.559 | 1193534.6636
74 | 2558974.5317 | 1193528.6461
75 | 2558935.3252 | 1193527.7662
76 | 2558974.3071 | 1193515.8984
77 | 2558934.9705 | 1193521.3613
78 | 2558974.0615 | 1193501.9624
79 | 2558934.4641 | 1193512.5511
80 | 2558934.3306 | 1193510.2296
81 | 2558933.8082 | 1193501.1408
82 | 2558969.4307 | 1193494.0714
83 | 2558983.7756 | 1193499.4426
84 | 2558955.3321 | 1193485.8712
85 | 2558988.3547 | 1193494.2906
86 | 2558947.5594 | 1193484.2366
87 | 2558987.5254 | 1193485.5428
88 | 2558933.3573 | 1193493.2951
89 | 2558932.6565 | 1193481.1024
90 | 2558930.8228 | 1193473.6636
91 | 2558929.9107 | 1193469.9633
92 | 2558987.1826 | 1193481.9274
93 | 2558980.568 | 1193459.136
94 | 2559039.1854 | 1193574.1693

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1