## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5817-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5817-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5817-1_0_5_node_56 | 0.4 | n |  | TRUE
3 | bus_LV_5817-1_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5817-1_0_5_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_5817-1_0_5_node_123 | 0.4 | n |  | TRUE
6 | bus_LV_5817-1_0_5_node_156 | 0.4 | n |  | TRUE
7 | bus_LV_5817-1_0_5_node_129 | 0.4 | n |  | TRUE
8 | bus_LV_5817-1_0_5_node_135 | 0.4 | n |  | TRUE
9 | bus_LV_5817-1_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5817-1_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5817-1_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5817-1_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5817-1_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5817-1_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5817-1_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5817-1_0_5_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_5817-1_0_5_node_101 | 0.4 | n |  | TRUE
18 | bus_LV_5817-1_0_5_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_5817-1_0_5_node_149 | 0.4 | n |  | TRUE
20 | bus_LV_5817-1_0_5_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_5817-1_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_5817-1_0_5_node_102 | 0.4 | n |  | TRUE
23 | bus_LV_5817-1_0_5_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_5817-1_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5817-1_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5817-1_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5817-1_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5817-1_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5817-1_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5817-1_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5817-1_0_5_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_5817-1_0_5_node_122 | 0.4 | n |  | TRUE
33 | bus_LV_5817-1_0_5_node_106 | 0.4 | n |  | TRUE
34 | bus_LV_5817-1_0_5_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_5817-1_0_5_node_147 | 0.4 | n |  | TRUE
36 | bus_LV_5817-1_0_5_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_5817-1_0_5_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_5817-1_0_5_node_120 | 0.4 | n |  | TRUE
39 | bus_LV_5817-1_0_5_node_105 | 0.4 | n |  | TRUE
40 | bus_LV_5817-1_0_5_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_5817-1_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_5817-1_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5817-1_0_5_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_5817-1_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5817-1_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5817-1_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5817-1_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5817-1_0_5_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5817-1_0_5_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_5817-1_0_5_node_144 | 0.4 | n |  | TRUE
51 | bus_LV_5817-1_0_5_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_5817-1_0_5_node_145 | 0.4 | n |  | TRUE
53 | bus_LV_5817-1_0_5_node_146 | 0.4 | n |  | TRUE
54 | bus_LV_5817-1_0_5_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_5817-1_0_5_node_138 | 0.4 | n |  | TRUE
56 | bus_LV_5817-1_0_5_node_136 | 0.4 | n |  | TRUE
57 | bus_LV_5817-1_0_5_node_141 | 0.4 | n |  | TRUE
58 | bus_LV_5817-1_0_5_node_137 | 0.4 | n |  | TRUE
59 | bus_LV_5817-1_0_5_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_5817-1_0_5_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_5817-1_0_5_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_5817-1_0_5_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_5817-1_0_5_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_5817-1_0_5_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_5817-1_0_5_node_96 | 0.4 | n |  | TRUE
66 | bus_LV_5817-1_0_5_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_5817-1_0_5_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_5817-1_0_5_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_5817-1_0_5_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_5817-1_0_5_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_5817-1_0_5_node_36 | 0.4 | n |  | TRUE
72 | bus_LV_5817-1_0_5_node_37 | 0.4 | n |  | TRUE
73 | bus_LV_5817-1_0_5_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_5817-1_0_5_node_39 | 0.4 | n |  | TRUE
75 | bus_LV_5817-1_0_5_node_40 | 0.4 | n |  | TRUE
76 | bus_LV_5817-1_0_5_node_41 | 0.4 | n |  | TRUE
77 | bus_LV_5817-1_0_5_node_143 | 0.4 | n |  | TRUE
78 | bus_LV_5817-1_0_5_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_5817-1_0_5_node_127 | 0.4 | n |  | TRUE
80 | bus_LV_5817-1_0_5_node_126 | 0.4 | n |  | TRUE
81 | bus_LV_5817-1_0_5_node_151 | 0.4 | n |  | TRUE
82 | bus_LV_5817-1_0_5_node_150 | 0.4 | n |  | TRUE
83 | bus_LV_5817-1_0_5_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_5817-1_0_5_node_128 | 0.4 | n |  | TRUE
85 | bus_LV_5817-1_0_5_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_5817-1_0_5_node_121 | 0.4 | n |  | TRUE
87 | bus_LV_5817-1_0_5_node_42 | 0.4 | n |  | TRUE
88 | bus_LV_5817-1_0_5_node_43 | 0.4 | n |  | TRUE
89 | bus_LV_5817-1_0_5_node_44 | 0.4 | n |  | TRUE
90 | bus_LV_5817-1_0_5_node_45 | 0.4 | n |  | TRUE
91 | bus_LV_5817-1_0_5_node_46 | 0.4 | n |  | TRUE
92 | bus_LV_5817-1_0_5_node_47 | 0.4 | n |  | TRUE
93 | bus_LV_5817-1_0_5_node_48 | 0.4 | n |  | TRUE
94 | bus_LV_5817-1_0_5_node_109 | 0.4 | n |  | TRUE
95 | bus_LV_5817-1_0_5_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_5817-1_0_5_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_5817-1_0_5_node_134 | 0.4 | n |  | TRUE
98 | bus_LV_5817-1_0_5_node_113 | 0.4 | n |  | TRUE
99 | bus_LV_5817-1_0_5_node_107 | 0.4 | n |  | TRUE
100 | bus_LV_5817-1_0_5_node_133 | 0.4 | n |  | TRUE
101 | bus_LV_5817-1_0_5_node_155 | 0.4 | n |  | TRUE
102 | bus_LV_5817-1_0_5_node_49 | 0.4 | n |  | TRUE
103 | bus_LV_5817-1_0_5_node_50 | 0.4 | n |  | TRUE
104 | bus_LV_5817-1_0_5_node_51 | 0.4 | n |  | TRUE
105 | bus_LV_5817-1_0_5_node_52 | 0.4 | n |  | TRUE
106 | bus_LV_5817-1_0_5_node_53 | 0.4 | n |  | TRUE
107 | bus_LV_5817-1_0_5_node_148 | 0.4 | n |  | TRUE
108 | bus_LV_5817-1_0_5_node_125 | 0.4 | n |  | TRUE
109 | bus_LV_5817-1_0_5_node_77 | 0.4 | n |  | TRUE
110 | bus_LV_5817-1_0_5_node_124 | 0.4 | n |  | TRUE
111 | bus_LV_5817-1_0_5_node_76 | 0.4 | n |  | TRUE
112 | bus_LV_5817-1_0_5_node_78 | 0.4 | n |  | TRUE
113 | bus_LV_5817-1_0_5_node_88 | 0.4 | n |  | TRUE
114 | bus_LV_5817-1_0_5_node_89 | 0.4 | n |  | TRUE
115 | bus_LV_5817-1_0_5_node_59 | 0.4 | n |  | TRUE
116 | bus_LV_5817-1_0_5_node_60 | 0.4 | n |  | TRUE
117 | bus_LV_5817-1_0_5_node_61 | 0.4 | n |  | TRUE
118 | bus_LV_5817-1_0_5_node_64 | 0.4 | n |  | TRUE
119 | bus_LV_5817-1_0_5_node_65 | 0.4 | n |  | TRUE
120 | bus_LV_5817-1_0_5_node_66 | 0.4 | n |  | TRUE
121 | bus_LV_5817-1_0_5_node_100 | 0.4 | n |  | TRUE
122 | bus_LV_5817-1_0_5_node_111 | 0.4 | n |  | TRUE
123 | bus_LV_5817-1_0_5_node_110 | 0.4 | n |  | TRUE
124 | bus_LV_5817-1_0_5_node_67 | 0.4 | n |  | TRUE
125 | bus_LV_5817-1_0_5_node_72 | 0.4 | n |  | TRUE
126 | bus_LV_5817-1_0_5_node_74 | 0.4 | n |  | TRUE
127 | bus_LV_5817-1_0_5_node_114 | 0.4 | n |  | TRUE
128 | bus_LV_5817-1_0_5_node_153 | 0.4 | n |  | TRUE
129 | bus_LV_5817-1_0_5_node_154 | 0.4 | n |  | TRUE
130 | bus_LV_5817-1_0_5_node_112 | 0.4 | n |  | TRUE
131 | bus_LV_5817-1_0_5_node_80 | 0.4 | n |  | TRUE
132 | bus_LV_5817-1_0_5_node_81 | 0.4 | n |  | TRUE
133 | bus_LV_5817-1_0_5_node_86 | 0.4 | n |  | TRUE
134 | bus_LV_5817-1_0_5_node_87 | 0.4 | n |  | TRUE
135 | bus_LV_5817-1_0_5_node_90 | 0.4 | n |  | TRUE
136 | bus_LV_5817-1_0_5_node_117 | 0.4 | n |  | TRUE
137 | bus_LV_5817-1_0_5_node_118 | 0.4 | n |  | TRUE
138 | bus_LV_5817-1_0_5_node_94 | 0.4 | n |  | TRUE
139 | bus_LV_5817-1_0_5_node_95 | 0.4 | n |  | TRUE
140 | bus_LV_5817-1_0_5_node_99 | 0.4 | n |  | TRUE
141 | bus_LV_5817-1_0_5_node_98 | 0.4 | n |  | TRUE
142 | bus_LV_5817-1_0_5_node_115 | 0.4 | n |  | TRUE
143 | bus_LV_5817-1_0_5_node_103 | 0.4 | n |  | TRUE
144 | bus_LV_5817-1_0_5_node_119 | 0.4 | n |  | TRUE
145 | bus_LV_5817-1_0_5_node_142 | 0.4 | n |  | TRUE
146 | bus_LV_5817-1_0_5_node_130 | 0.4 | n |  | TRUE
147 | bus_LV_5817-1_0_5_node_131 | 0.4 | n |  | TRUE
148 | bus_LV_5817-1_0_5_node_139 | 0.4 | n |  | TRUE
149 | bus_LV_5817-1_0_5_node_140 | 0.4 | n |  | TRUE
150 | bus_LV_5817-1_0_5_node_152 | 0.4 | n |  | TRUE
151 | bus_MV_477_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5817-1_0_5_load_0 | 0 | 0.0045473 | 0.0011397 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5817-1_0_5_load_1 | 1 | 0.0014217 | 0.00035631 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5817-1_0_5_load_56 | 2 | 0.001712 | 0.00042906 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5817-1_0_5_load_2 | 3 | 0.0011968 | 0.00029995 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5817-1_0_5_load_57 | 4 | 0.00087597 | 0.00021954 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5817-1_0_5_load_156 | 6 | 0.0027547 | 0.00069039 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5817-1_0_5_load_129 | 7 | 0.001199 | 0.00030049 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5817-1_0_5_load_5 | 9 | 0.0051846 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5817-1_0_5_load_9 | 13 | 0.0038266 | 0.00095905 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5817-1_0_5_load_10 | 14 | 0.0015345 | 0.00038458 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5817-1_0_5_load_11 | 15 | 0.0019923 | 0.00049933 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5817-1_0_5_load_101 | 17 | 0.0015065 | 0.00037756 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5817-1_0_5_load_149 | 19 | 0.0011105 | 0.00027832 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5817-1_0_5_load_84 | 20 | 0.0015491 | 0.00038825 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5817-1_0_5_load_21 | 21 | 0.00051193 | 0.0001283 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5817-1_0_5_load_102 | 22 | 0.0011218 | 0.00028115 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5817-1_0_5_load_68 | 23 | 0.00094905 | 0.00023785 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5817-1_0_5_load_12 | 24 | 0.0050272 | 0.0012599 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5817-1_0_5_load_15 | 27 | 0.0010338 | 0.00025909 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5817-1_0_5_load_16 | 28 | 0.0035645 | 0.00089335 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5817-1_0_5_load_18 | 30 | 0.01115 | 0.0027945 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5817-1_0_5_load_54 | 31 | 0.0021703 | 0.00054394 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5817-1_0_5_load_122 | 32 | 0.0089871 | 0.0022524 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5817-1_0_5_load_106 | 33 | 0.0018848 | 0.00047238 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5817-1_0_5_load_104 | 34 | 0.0018797 | 0.0004711 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5817-1_0_5_load_147 | 35 | 0.001487 | 0.00037267 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5817-1_0_5_load_55 | 36 | 0.0022319 | 0.00055937 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5817-1_0_5_load_63 | 37 | 0.0047473 | 0.0011898 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5817-1_0_5_load_120 | 38 | 0.00019271 | 4.8299e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5817-1_0_5_load_105 | 39 | 0.0055293 | 0.0013858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5817-1_0_5_load_19 | 40 | 0.0020606 | 0.00051643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5817-1_0_5_load_20 | 41 | 0.00061861 | 0.00015504 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5817-1_0_5_load_22 | 42 | 0.00021693 | 5.4367e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5817-1_0_5_load_24 | 44 | 0.00057406 | 0.00014387 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5817-1_0_5_load_26 | 46 | 0.0013533 | 0.00033917 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5817-1_0_5_load_27 | 47 | 0.00070099 | 0.00017568 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5817-1_0_5_load_28 | 48 | 0.00062717 | 0.00015718 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5817-1_0_5_load_71 | 49 | 0.00048137 | 0.00012064 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5817-1_0_5_load_69 | 51 | 0.0011304 | 0.00028331 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5817-1_0_5_load_145 | 52 | 0.0007226 | 0.0001811 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5817-1_0_5_load_146 | 53 | 0.0030683 | 0.000769 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5817-1_0_5_load_138 | 55 | 0.00024474 | 6.1337e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5817-1_0_5_load_136 | 56 | 0.00033224 | 8.3266e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5817-1_0_5_load_137 | 58 | 0.00025235 | 6.3244e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5817-1_0_5_load_31 | 59 | 0.00058385 | 0.00014633 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5817-1_0_5_load_32 | 60 | 0.00092466 | 0.00023174 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5817-1_0_5_load_35 | 63 | 0.0017287 | 0.00043326 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5817-1_0_5_load_93 | 64 | 0.0017979 | 0.0004506 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5817-1_0_5_load_96 | 65 | 0.00098543 | 0.00024697 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5817-1_0_5_load_92 | 67 | 0.0012677 | 0.00031773 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5817-1_0_5_load_97 | 68 | 0.00096182 | 0.00024106 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5817-1_0_5_load_73 | 70 | 0.0007101 | 0.00017797 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5817-1_0_5_load_36 | 71 | 0.00015698 | 3.9342e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5817-1_0_5_load_37 | 72 | 0.0013538 | 0.00033931 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5817-1_0_5_load_39 | 74 | 0.00014139 | 3.5437e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5817-1_0_5_load_40 | 75 | 0.00023908 | 5.9919e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5817-1_0_5_load_91 | 78 | 0.00042774 | 0.0001072 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5817-1_0_5_load_126 | 80 | 0.00022318 | 5.5934e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5817-1_0_5_load_151 | 81 | 0.0049285 | 0.0012352 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5817-1_0_5_load_150 | 82 | 0.0014695 | 0.00036828 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5817-1_0_5_load_128 | 84 | 0.00083305 | 0.00020878 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5817-1_0_5_load_83 | 85 | 0.0001669 | 4.1829e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5817-1_0_5_load_121 | 86 | 0.0049353 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5817-1_0_5_load_42 | 87 | 0.0038045 | 0.00095349 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5817-1_0_5_load_43 | 88 | 0.0037734 | 0.00094569 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5817-1_0_5_load_46 | 91 | 0.00114 | 0.00028571 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5817-1_0_5_load_48 | 93 | 0.0044401 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5817-1_0_5_load_109 | 94 | 0.0024067 | 0.00060318 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5817-1_0_5_load_85 | 95 | 0.0017786 | 0.00044576 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5817-1_0_5_load_108 | 96 | 0.00073086 | 0.00018317 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5817-1_0_5_load_113 | 98 | 0.003353 | 0.00084034 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5817-1_0_5_load_107 | 99 | 0.00099424 | 0.00024918 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5817-1_0_5_load_133 | 100 | 0.0034101 | 0.00085465 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5817-1_0_5_load_155 | 101 | 0.0060616 | 0.0015192 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5817-1_0_5_load_49 | 102 | 0.0014395 | 0.00036077 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5817-1_0_5_load_50 | 103 | 0.0022887 | 0.00057361 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5817-1_0_5_load_51 | 104 | 0.0016503 | 0.0004136 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5817-1_0_5_load_53 | 106 | 0.0025644 | 0.00064269 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5817-1_0_5_load_148 | 107 | 0.0019749 | 0.00049497 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5817-1_0_5_load_125 | 108 | 0.0018441 | 0.00046218 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5817-1_0_5_load_77 | 109 | 0.0028899 | 0.00072427 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5817-1_0_5_load_124 | 110 | 0.0011557 | 0.00028964 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5817-1_0_5_load_78 | 112 | 0.00289 | 0.00072431 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5817-1_0_5_load_88 | 113 | 0.0009017 | 0.00022599 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5817-1_0_5_load_89 | 114 | 0.0002326 | 5.8296e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5817-1_0_5_load_59 | 115 | 0.0043154 | 0.0010815 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5817-1_0_5_load_60 | 116 | 0.0055848 | 0.0013997 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5817-1_0_5_load_61 | 117 | 0.0076641 | 0.0019208 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5817-1_0_5_load_64 | 118 | 0.00076099 | 0.00019072 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5817-1_0_5_load_65 | 119 | 0.0020263 | 0.00050783 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5817-1_0_5_load_100 | 121 | 0.00093588 | 0.00023455 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5817-1_0_5_load_111 | 122 | 0.00079874 | 0.00020018 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5817-1_0_5_load_110 | 123 | 0.0007485 | 0.00018759 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5817-1_0_5_load_67 | 124 | 0.0030534 | 0.00076526 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5817-1_0_5_load_72 | 125 | 0.0012807 | 0.00032097 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5817-1_0_5_load_74 | 126 | 0.0023208 | 0.00058165 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5817-1_0_5_load_114 | 127 | 0.0017542 | 0.00043964 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5817-1_0_5_load_153 | 128 | 0.0028891 | 0.00072407 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5817-1_0_5_load_154 | 129 | 0.0028899 | 0.00072427 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5817-1_0_5_load_80 | 131 | 0.0026299 | 0.00065912 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5817-1_0_5_load_81 | 132 | 0.0015116 | 0.00037885 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5817-1_0_5_load_86 | 133 | 0.0031468 | 0.00078867 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5817-1_0_5_load_90 | 135 | 0.00050233 | 0.0001259 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5817-1_0_5_load_117 | 136 | 0.00015434 | 3.8681e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5817-1_0_5_load_118 | 137 | 0.00085534 | 0.00021437 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5817-1_0_5_load_94 | 138 | 0.0022362 | 0.00056044 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5817-1_0_5_load_95 | 139 | 0.00081814 | 0.00020505 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5817-1_0_5_load_99 | 140 | 0.0019025 | 0.00047682 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5817-1_0_5_load_98 | 141 | 0.001301 | 0.00032606 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5817-1_0_5_load_115 | 142 | 0.0018037 | 0.00045205 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5817-1_0_5_load_103 | 143 | 0.0012808 | 0.00032101 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5817-1_0_5_load_119 | 144 | 0.00046667 | 0.00011696 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5817-1_0_5_load_142 | 145 | 0.00019215 | 4.8158e-05 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5817-1_0_5_load_130 | 146 | 0.0018564 | 0.00046525 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5817-1_0_5_load_131 | 147 | 0.0014771 | 0.00037019 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5817-1_0_5_load_139 | 148 | 0.00065265 | 0.00016357 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5817-1_0_5_load_140 | 149 | 0.00085356 | 0.00021392 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5817-1_0_5_load_152 | 150 | 0.0018512 | 0.00046395 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5817-1_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.052473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5817-1_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.086017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5817-1_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5817-1_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.065475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5817-1_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.033837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5817-1_0_5_line_5 | NAYY 4x150 SE | 3 | 6 | 0.13994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5817-1_0_5_line_6 | NAYY 4x150 SE | 4 | 83 | 0.0040463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5817-1_0_5_line_7 | NAYY 4x150 SE | 5 | 7 | 0.018948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5817-1_0_5_line_8 | NAYY 4x150 SE | 6 | 8 | 0.017502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5817-1_0_5_line_9 | NAYY 4x150 SE | 7 | 101 | 0.12558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5817-1_0_5_line_10 | NAYY 4x150 SE | 8 | 97 | 0.02218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5817-1_0_5_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0087076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5817-1_0_5_line_12 | NAYY 4x150 SE | 9 | 11 | 0.036748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5817-1_0_5_line_13 | NAYY 4x150 SE | 10 | 12 | 0.059941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5817-1_0_5_line_14 | NAYY 4x150 SE | 10 | 13 | 0.021033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5817-1_0_5_line_15 | NAYY 4x150 SE | 11 | 14 | 0.012408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5817-1_0_5_line_16 | NAYY 4x150 SE | 11 | 15 | 0.014674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5817-1_0_5_line_17 | NAYY 4x150 SE | 12 | 16 | 0.005469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_5817-1_0_5_line_18 | NAYY 4x150 SE | 12 | 17 | 0.024596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_5817-1_0_5_line_19 | NAYY 4x150 SE | 14 | 18 | 0.029981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5817-1_0_5_line_20 | NAYY 4x150 SE | 15 | 19 | 0.02105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5817-1_0_5_line_21 | NAYY 4x150 SE | 16 | 20 | 0.0088248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_5817-1_0_5_line_22 | NAYY 4x150 SE | 16 | 21 | 0.021442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5817-1_0_5_line_23 | NAYY 4x150 SE | 17 | 22 | 0.020714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_5817-1_0_5_line_24 | NAYY 4x150 SE | 18 | 23 | 0.0067635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5817-1_0_5_line_25 | NAYY 4x150 SE | 20 | 43 | 0.050349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_5817-1_0_5_line_26 | NAYY 4x150 SE | 21 | 40 | 0.0010479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5817-1_0_5_line_27 | NAYY 4x150 SE | 22 | 143 | 0.011769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_5817-1_0_5_line_28 | NAYY 4x150 SE | 23 | 124 | 0.0166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5817-1_0_5_line_29 | NAYY 4x150 SE | 24 | 25 | 0.011406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5817-1_0_5_line_30 | NAYY 4x150 SE | 25 | 29 | 0.006073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5817-1_0_5_line_31 | NAYY 4x150 SE | 25 | 30 | 0.056536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5817-1_0_5_line_32 | NAYY 4x150 SE | 26 | 27 | 0.020588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5817-1_0_5_line_33 | NAYY 4x150 SE | 26 | 28 | 0.043278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5817-1_0_5_line_34 | NAYY 4x150 SE | 27 | 31 | 0.0024863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5817-1_0_5_line_35 | NAYY 4x150 SE | 28 | 32 | 0.020265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5817-1_0_5_line_36 | NAYY 4x150 SE | 29 | 33 | 0.011191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5817-1_0_5_line_37 | NAYY 4x150 SE | 29 | 34 | 0.037053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5817-1_0_5_line_38 | NAYY 4x150 SE | 30 | 35 | 0.017992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5817-1_0_5_line_39 | NAYY 4x150 SE | 31 | 36 | 0.020375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5817-1_0_5_line_40 | NAYY 4x150 SE | 32 | 37 | 0.0078065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5817-1_0_5_line_41 | NAYY 4x150 SE | 33 | 38 | 0.034494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5817-1_0_5_line_42 | NAYY 4x150 SE | 34 | 39 | 0.011684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5817-1_0_5_line_43 | NAYY 4x150 SE | 36 | 111 | 0.030291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5817-1_0_5_line_44 | NAYY 4x150 SE | 37 | 117 | 0.0014684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5817-1_0_5_line_45 | NAYY 4x150 SE | 38 | 86 | 0.0027159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5817-1_0_5_line_46 | NAYY 4x150 SE | 40 | 41 | 0.049098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5817-1_0_5_line_47 | NAYY 4x150 SE | 41 | 42 | 0.010733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5817-1_0_5_line_48 | NAYY 4x150 SE | 43 | 85 | 0.02552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_5817-1_0_5_line_49 | NAYY 4x150 SE | 43 | 131 | 0.029084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5817-1_0_5_line_50 | NAYY 4x150 SE | 44 | 45 | 0.02122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5817-1_0_5_line_51 | NAYY 4x150 SE | 45 | 46 | 0.027945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5817-1_0_5_line_52 | NAYY 4x150 SE | 45 | 47 | 0.01526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5817-1_0_5_line_53 | NAYY 4x150 SE | 45 | 48 | 0.030318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5817-1_0_5_line_54 | NAYY 4x150 SE | 46 | 49 | 0.02537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5817-1_0_5_line_55 | NAYY 4x150 SE | 48 | 50 | 0.024306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5817-1_0_5_line_56 | NAYY 4x150 SE | 49 | 51 | 0.059207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5817-1_0_5_line_57 | NAYY 4x150 SE | 50 | 52 | 0.0015561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5817-1_0_5_line_58 | NAYY 4x150 SE | 50 | 53 | 0.020624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5817-1_0_5_line_59 | NAYY 4x150 SE | 51 | 124 | 0.035067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5817-1_0_5_line_60 | NAYY 4x150 SE | 54 | 55 | 0.029103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5817-1_0_5_line_61 | NAYY 4x150 SE | 54 | 56 | 0.020945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5817-1_0_5_line_62 | NAYY 4x150 SE | 55 | 57 | 0.006787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5817-1_0_5_line_63 | NAYY 4x150 SE | 56 | 58 | 0.03666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5817-1_0_5_line_64 | NAYY 4x150 SE | 57 | 148 | 0.016314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5817-1_0_5_line_65 | NAYY 4x150 SE | 57 | 145 | 0.0048864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5817-1_0_5_line_66 | NAYY 4x150 SE | 59 | 60 | 0.013827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5817-1_0_5_line_67 | NAYY 4x150 SE | 59 | 61 | 0.025528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5817-1_0_5_line_68 | NAYY 4x150 SE | 61 | 62 | 0.019247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_5817-1_0_5_line_69 | NAYY 4x150 SE | 61 | 63 | 0.02126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_5817-1_0_5_line_70 | NAYY 4x150 SE | 62 | 64 | 0.049502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_5817-1_0_5_line_71 | NAYY 4x150 SE | 62 | 65 | 0.022496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5817-1_0_5_line_72 | NAYY 4x150 SE | 63 | 66 | 0.016737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_5817-1_0_5_line_73 | NAYY 4x150 SE | 64 | 67 | 0.013077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5817-1_0_5_line_74 | NAYY 4x150 SE | 65 | 68 | 0.0065993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5817-1_0_5_line_75 | NAYY 4x150 SE | 66 | 69 | 0.018452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_5817-1_0_5_line_76 | NAYY 4x150 SE | 66 | 70 | 0.019657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5817-1_0_5_line_77 | NAYY 4x150 SE | 67 | 138 | 0.012377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5817-1_0_5_line_78 | NAYY 4x150 SE | 68 | 141 | 0.016687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5817-1_0_5_line_79 | NAYY 4x150 SE | 69 | 127 | 0.021677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5817-1_0_5_line_80 | NAYY 4x150 SE | 69 | 95 | 0.022064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_5817-1_0_5_line_81 | NAYY 4x150 SE | 70 | 125 | 0.0062098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5817-1_0_5_line_82 | NAYY 4x150 SE | 71 | 72 | 0.0089849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_5817-1_0_5_line_83 | NAYY 4x150 SE | 71 | 73 | 0.019454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_5817-1_0_5_line_84 | NAYY 4x150 SE | 72 | 74 | 0.0022504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_5817-1_0_5_line_85 | NAYY 4x150 SE | 73 | 75 | 0.045187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_5817-1_0_5_line_86 | NAYY 4x150 SE | 73 | 76 | 0.002901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_5817-1_0_5_line_87 | NAYY 4x150 SE | 74 | 77 | 0.034123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_5817-1_0_5_line_88 | NAYY 4x150 SE | 75 | 78 | 0.020043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_5817-1_0_5_line_89 | NAYY 4x150 SE | 76 | 79 | 0.013657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_5817-1_0_5_line_90 | NAYY 4x150 SE | 76 | 80 | 0.035848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5817-1_0_5_line_91 | NAYY 4x150 SE | 77 | 81 | 0.077207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5817-1_0_5_line_92 | NAYY 4x150 SE | 77 | 82 | 0.02169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5817-1_0_5_line_93 | NAYY 4x150 SE | 78 | 83 | 0.020312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_5817-1_0_5_line_94 | NAYY 4x150 SE | 79 | 84 | 0.016269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5817-1_0_5_line_95 | NAYY 4x150 SE | 79 | 85 | 0.014283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_5817-1_0_5_line_96 | NAYY 4x150 SE | 80 | 86 | 0.042676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5817-1_0_5_line_97 | NAYY 4x150 SE | 81 | 150 | 0.0075672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5817-1_0_5_line_98 | NAYY 4x150 SE | 82 | 134 | 0.16113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5817-1_0_5_line_99 | NAYY 4x150 SE | 83 | 113 | 0.038829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5817-1_0_5_line_100 | NAYY 4x150 SE | 87 | 88 | 0.01938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5817-1_0_5_line_101 | NAYY 4x150 SE | 87 | 89 | 0.017057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5817-1_0_5_line_102 | NAYY 4x150 SE | 88 | 90 | 0.015943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5817-1_0_5_line_103 | NAYY 4x150 SE | 89 | 91 | 0.037385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
104 | LV_5817-1_0_5_line_104 | NAYY 4x150 SE | 89 | 92 | 0.059959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
105 | LV_5817-1_0_5_line_105 | NAYY 4x150 SE | 89 | 93 | 0.009419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5817-1_0_5_line_106 | NAYY 4x150 SE | 90 | 94 | 0.028908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5817-1_0_5_line_107 | NAYY 4x150 SE | 91 | 95 | 0.037026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
108 | LV_5817-1_0_5_line_108 | NAYY 4x150 SE | 92 | 96 | 0.012677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5817-1_0_5_line_109 | NAYY 4x150 SE | 92 | 97 | 0.038735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
110 | LV_5817-1_0_5_line_110 | NAYY 4x150 SE | 94 | 98 | 0.03622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5817-1_0_5_line_111 | NAYY 4x150 SE | 96 | 99 | 0.016858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5817-1_0_5_line_112 | NAYY 4x150 SE | 97 | 100 | 0.051786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5817-1_0_5_line_113 | NAYY 4x150 SE | 100 | 147 | 0.012083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5817-1_0_5_line_114 | NAYY 4x150 SE | 102 | 103 | 0.02965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
115 | LV_5817-1_0_5_line_115 | NAYY 4x150 SE | 102 | 104 | 0.003055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
116 | LV_5817-1_0_5_line_116 | NAYY 4x150 SE | 103 | 105 | 0.020008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
117 | LV_5817-1_0_5_line_117 | NAYY 4x150 SE | 104 | 106 | 0.026873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
118 | LV_5817-1_0_5_line_118 | NAYY 4x150 SE | 105 | 107 | 0.026033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
119 | LV_5817-1_0_5_line_119 | NAYY 4x150 SE | 106 | 108 | 0.0093701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
120 | LV_5817-1_0_5_line_120 | NAYY 4x150 SE | 107 | 109 | 0.023969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
121 | LV_5817-1_0_5_line_121 | NAYY 4x150 SE | 108 | 110 | 0.019386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
122 | LV_5817-1_0_5_line_122 | NAYY 4x150 SE | 109 | 111 | 0.019409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
123 | LV_5817-1_0_5_line_123 | NAYY 4x150 SE | 110 | 143 | 0.016781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
124 | LV_5817-1_0_5_line_124 | NAYY 4x150 SE | 111 | 112 | 0.037977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5817-1_0_5_line_125 | NAYY 4x150 SE | 112 | 128 | 0.022728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5817-1_0_5_line_126 | NAYY 4x150 SE | 113 | 114 | 0.011693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5817-1_0_5_line_127 | NAYY 4x150 SE | 114 | 135 | 0.025947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5817-1_0_5_line_128 | NAYY 4x150 SE | 115 | 116 | 0.030433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5817-1_0_5_line_129 | NAYY 4x150 SE | 115 | 117 | 0.033441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5817-1_0_5_line_130 | NAYY 4x150 SE | 118 | 119 | 0.028185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5817-1_0_5_line_131 | NAYY 4x150 SE | 119 | 120 | 0.045297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5817-1_0_5_line_132 | NAYY 4x150 SE | 120 | 121 | 0.029448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5817-1_0_5_line_133 | NAYY 4x150 SE | 120 | 122 | 0.04516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5817-1_0_5_line_134 | NAYY 4x150 SE | 122 | 123 | 0.027705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_5817-1_0_5_line_135 | NAYY 4x150 SE | 123 | 130 | 0.018109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_5817-1_0_5_line_136 | NAYY 4x150 SE | 125 | 126 | 0.016157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_5817-1_0_5_line_137 | NAYY 4x150 SE | 127 | 130 | 0.020396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_5817-1_0_5_line_138 | NAYY 4x150 SE | 128 | 129 | 0.022575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_5817-1_0_5_line_139 | NAYY 4x150 SE | 131 | 132 | 0.0053619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_5817-1_0_5_line_140 | NAYY 4x150 SE | 133 | 134 | 0.015476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_5817-1_0_5_line_141 | NAYY 4x150 SE | 135 | 136 | 0.012992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_5817-1_0_5_line_142 | NAYY 4x150 SE | 136 | 137 | 0.022811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_5817-1_0_5_line_143 | NAYY 4x150 SE | 137 | 144 | 0.0033912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_5817-1_0_5_line_144 | NAYY 4x150 SE | 138 | 139 | 0.023094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_5817-1_0_5_line_145 | NAYY 4x150 SE | 139 | 140 | 0.0050493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_5817-1_0_5_line_146 | NAYY 4x150 SE | 141 | 142 | 0.021298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_5817-1_0_5_line_147 | NAYY 4x150 SE | 144 | 145 | 0.010176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_5817-1_0_5_line_148 | NAYY 4x150 SE | 146 | 147 | 0.076063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_5817-1_0_5_line_149 | NAYY 4x150 SE | 148 | 149 | 0.017833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5817-1_0_5_trafo_143 | 0.25 MVA 20/0.4 kV | 151 | 77 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2560930.3231 | 1191346.3892 | 2560898.3743 | 1191388.0143
1 | 2560973.5845 | 1191272.0433 | 2560930.3231 | 1191346.3892
2 | 2560898.3743 | 1191388.0143 | 2560885.3706 | 1191404.9564
3 | 2560973.5845 | 1191272.0433 | 2560966.825 | 1191266.9071 | 2560930.0273 | 1191238.3545 | 2560921.7673 | 1191232.0203
4 | 2560864.7683 | 1191431.7985 | 2560885.3706 | 1191404.9564
5 | 2561002.3924 | 1191481.6917 | 2560885.3706 | 1191404.9564
6 | 2560918.5564 | 1191229.5581 | 2560921.7673 | 1191232.0203
7 | 2560864.7683 | 1191431.7985 | 2560847.9047 | 1191423.1591
8 | 2560994.5814 | 1191497.3624 | 2561002.3924 | 1191481.6917
9 | 2560847.9047 | 1191423.1591 | 2560788.5712 | 1191533.8327
10 | 2560994.5814 | 1191497.3624 | 2561014.3627 | 1191507.5054
11 | 2560910.7754 | 1190993.814 | 2560915.0577 | 1190986.2322
12 | 2560933.1303 | 1190954.235 | 2560915.0577 | 1190986.2322
13 | 2560910.7754 | 1190993.814 | 2560897.0731 | 1191018.0502 | 2560887.7135 | 1191048.7727
14 | 2560897.5313 | 1190977.4473 | 2560910.7754 | 1190993.814
15 | 2560933.1303 | 1190954.235 | 2560939.3418 | 1190943.4938
16 | 2560933.1303 | 1190954.235 | 2560920.4175 | 1190946.907
17 | 2560887.7135 | 1191048.7727 | 2560886.7118 | 1191054.1489
18 | 2560887.7135 | 1191048.7727 | 2560867.1837 | 1191035.2267
19 | 2560956.6232 | 1190919.5846 | 2560950.6512 | 1190923.9372 | 2560939.3418 | 1190943.4938
20 | 2560902.18 | 1190936.3945 | 2560920.4175 | 1190946.907
21 | 2560886.7118 | 1191054.1489 | 2560885.1018 | 1191062.8255
22 | 2560886.7118 | 1191054.1489 | 2560906.5714 | 1191062.2337
23 | 2560867.1837 | 1191035.2267 | 2560849.8938 | 1191023.8185
24 | 2560956.6232 | 1190919.5846 | 2560963.2625 | 1190920.875
25 | 2560875.9161 | 1191112.3291 | 2560885.1018 | 1191062.8255
26 | 2560906.5714 | 1191062.2337 | 2560907.5419 | 1191062.6288
27 | 2560849.8938 | 1191023.8185 | 2560840.0706 | 1191017.337
28 | 2560979.146 | 1190925.5764 | 2560968.4105 | 1190921.8754 | 2560963.2625 | 1190920.875
29 | 2560746.2409 | 1191099.3177 | 2560744.9803 | 1191098.9258 | 2560735.3064 | 1191096.0723
30 | 2560746.2409 | 1191099.3177 | 2560752.0623 | 1191101.1026
31 | 2560746.2409 | 1191099.3177 | 2560735.3765 | 1191130.6396 | 2560713.2694 | 1191123.0195
32 | 2560676.1135 | 1191078.6124 | 2560684.5026 | 1191059.8116
33 | 2560676.1135 | 1191078.6124 | 2560635.0335 | 1191064.995
34 | 2560684.5026 | 1191059.8116 | 2560685.5157 | 1191057.541
35 | 2560635.0335 | 1191064.995 | 2560622.8097 | 1191060.943 | 2560616.0335 | 1191058.002
36 | 2560752.0623 | 1191101.1026 | 2560762.7618 | 1191104.3813
37 | 2560752.0623 | 1191101.1026 | 2560742.2374 | 1191129.3382 | 2560749.0179 | 1191131.6289
38 | 2560696.2592 | 1191117.1563 | 2560713.2694 | 1191123.0195
39 | 2560693.8184 | 1191038.9339 | 2560685.5157 | 1191057.541
40 | 2560608.8725 | 1191054.8939 | 2560616.0335 | 1191058.002
41 | 2560795.3097 | 1191115.7002 | 2560791.3729 | 1191113.829 | 2560773.6215 | 1191107.709 | 2560762.7618 | 1191104.3813
42 | 2560760.0873 | 1191135.3686 | 2560749.0179 | 1191131.6289
43 | 2560706.4349 | 1191011.3984 | 2560701.9746 | 1191020.655 | 2560693.8184 | 1191038.9339
44 | 2560608.8725 | 1191054.8939 | 2560607.5255 | 1191054.3092
45 | 2560797.7627 | 1191116.866 | 2560795.3097 | 1191115.7002
46 | 2560907.5419 | 1191062.6288 | 2560953.0163 | 1191081.1414
47 | 2560962.9574 | 1191085.1885 | 2560953.0163 | 1191081.1414
48 | 2560875.9161 | 1191112.3291 | 2560871.2607 | 1191137.4212
49 | 2560875.9161 | 1191112.3291 | 2560855.3745 | 1191108.5728 | 2560849.7247 | 1191102.6268
50 | 2561118.6762 | 1190973.6786 | 2561117.6261 | 1190983.3463 | 2561116.3786 | 1190994.7738
51 | 2561118.6762 | 1190973.6786 | 2561092.2573 | 1190964.5709
52 | 2561118.6762 | 1190973.6786 | 2561120.4911 | 1190958.5273
53 | 2561118.6762 | 1190973.6786 | 2561148.1723 | 1190980.6896
54 | 2561068.2728 | 1190956.3024 | 2561092.2573 | 1190964.5709
55 | 2561171.3324 | 1190988.0104 | 2561153.0012 | 1190981.8374 | 2561148.1723 | 1190980.6896
56 | 2561068.2728 | 1190956.3024 | 2561012.2985 | 1190937.0056
57 | 2561171.3324 | 1190988.0104 | 2561172.8072 | 1190988.5067
58 | 2561186.0677 | 1190973.54 | 2561171.3324 | 1190988.0104
59 | 2560979.146 | 1190925.5764 | 2561012.2985 | 1190937.0056
60 | 2561058.4116 | 1191159.2503 | 2561029.338 | 1191160.567
61 | 2561058.4116 | 1191159.2503 | 2561063.9099 | 1191139.0403
62 | 2561022.558 | 1191160.874 | 2561029.338 | 1191160.567
63 | 2561073.5337 | 1191103.6658 | 2561063.9099 | 1191139.0403
64 | 2561022.558 | 1191160.874 | 2561028.6221 | 1191145.7294
65 | 2561022.558 | 1191160.874 | 2561017.7083 | 1191161.4721
66 | 2560895.9406 | 1191741.2223 | 2560909.6733 | 1191742.834
67 | 2560935.0275 | 1191745.8096 | 2560909.6733 | 1191742.834
68 | 2560935.0275 | 1191745.8096 | 2560930.5456 | 1191764.5269
69 | 2560935.0275 | 1191745.8096 | 2560940.5448 | 1191725.2778
70 | 2560930.5456 | 1191764.5269 | 2560974.8123 | 1191786.6833
71 | 2560930.5456 | 1191764.5269 | 2560923.498 | 1191785.8907
72 | 2560944.8884 | 1191709.1139 | 2560940.5448 | 1191725.2778
73 | 2560986.5486 | 1191792.4478 | 2560984.5896 | 1191791.577 | 2560974.8123 | 1191786.6833
74 | 2560923.498 | 1191785.8907 | 2560921.4306 | 1191792.1578
75 | 2560944.8884 | 1191709.1139 | 2560949.6813 | 1191691.2951
76 | 2560944.8884 | 1191709.1139 | 2560928.6616 | 1191698.0189
77 | 2560986.5486 | 1191792.4478 | 2560997.8588 | 1191797.4747
78 | 2560916.2028 | 1191808.0052 | 2560921.4306 | 1191792.1578
79 | 2560949.6813 | 1191691.2951 | 2560969.3139 | 1191700.4859
80 | 2560949.6813 | 1191691.2951 | 2560955.842 | 1191670.1088
81 | 2560923.5355 | 1191694.5139 | 2560928.6616 | 1191698.0189
82 | 2560849.6411 | 1191178.9277 | 2560843.5408 | 1191185.5244
83 | 2560862.8482 | 1191164.6433 | 2560860.9783 | 1191166.6677 | 2560849.6411 | 1191178.9277
84 | 2560842.013 | 1191187.1766 | 2560843.5408 | 1191185.5244
85 | 2560862.8482 | 1191164.6433 | 2560892.2239 | 1191198.9785
86 | 2560860.7611 | 1191162.6225 | 2560862.8482 | 1191164.6433
87 | 2560818.5496 | 1191211.9485 | 2560829.4625 | 1191200.7486 | 2560842.013 | 1191187.1766
88 | 2560892.2239 | 1191198.9785 | 2560905.254 | 1191214.2084
89 | 2560868.6552 | 1191151.4647 | 2560860.7611 | 1191162.6225
90 | 2560860.7611 | 1191162.6225 | 2560841.0888 | 1191143.7412 | 2560834.2605 | 1191138.5443
91 | 2560818.5496 | 1191211.9485 | 2560779.9659 | 1191176.3047 | 2560791.1768 | 1191158.2434 | 2560788.1766 | 1191156.5983
92 | 2560818.5496 | 1191211.9485 | 2560816.1641 | 1191214.3988 | 2560803.4129 | 1191227.4841
93 | 2560918.5564 | 1191229.5581 | 2560909.5533 | 1191219.2336 | 2560905.254 | 1191214.2084
94 | 2560868.6552 | 1191151.4647 | 2560884.4563 | 1191155.5189
95 | 2560868.6552 | 1191151.4647 | 2560871.2607 | 1191137.4212
96 | 2560797.7627 | 1191116.866 | 2560819.105 | 1191127.0097 | 2560834.2605 | 1191138.5443
97 | 2560788.1766 | 1191156.5983 | 2560781.5414 | 1191152.9601
98 | 2560803.4129 | 1191227.4841 | 2560690.6923 | 1191342.6159
99 | 2560918.5564 | 1191229.5581 | 2560939.9115 | 1191203.9266 | 2560944.0155 | 1191200.3152
100 | 2561003.2641 | 1191623.5105 | 2560989.0922 | 1191610.2916
101 | 2560976.6191 | 1191598.6572 | 2560989.0922 | 1191610.2916
102 | 2561015.6608 | 1191631.4867 | 2561012.647 | 1191632.2624 | 2561003.2641 | 1191623.5105
103 | 2560976.6191 | 1191598.6572 | 2560966.1804 | 1191634.5555
104 | 2560997.9801 | 1191542.6204 | 2560976.6191 | 1191598.6572
105 | 2560967.957 | 1191594.9007 | 2560976.6191 | 1191598.6572
106 | 2561015.6608 | 1191631.4867 | 2561019.7611 | 1191641.7989 | 2561019.5787 | 1191646.5471 | 2561027.8331 | 1191656.6668
107 | 2560966.1804 | 1191634.5555 | 2560955.842 | 1191670.1088
108 | 2560997.9801 | 1191542.6204 | 2560986.3515 | 1191537.5714
109 | 2560997.9801 | 1191542.6204 | 2561014.3627 | 1191507.5054
110 | 2561015.9291 | 1191682.493 | 2561034.5339 | 1191664.8817 | 2561027.8331 | 1191656.6668
111 | 2560992.6404 | 1191521.9309 | 2560986.3515 | 1191537.5714
112 | 2561014.3627 | 1191507.5054 | 2561059.4278 | 1191533.0188
113 | 2561069.9424 | 1191538.9715 | 2561059.4278 | 1191533.0188
114 | 2560777.0819 | 1190975.7758 | 2560752.3341 | 1190959.4467
115 | 2560777.0819 | 1190975.7758 | 2560779.6319 | 1190977.4584
116 | 2560735.6337 | 1190948.4275 | 2560752.3341 | 1190959.4467
117 | 2560779.6319 | 1190977.4584 | 2560802.062 | 1190992.2582
118 | 2560735.6337 | 1190948.4275 | 2560724.6825 | 1190972.0451
119 | 2560809.883 | 1190997.4187 | 2560802.062 | 1190992.2582
120 | 2560714.5996 | 1190993.7903 | 2560724.6825 | 1190972.0451
121 | 2560826.064 | 1191008.0952 | 2560809.883 | 1190997.4187
122 | 2560706.4349 | 1191011.3984 | 2560714.5996 | 1190993.7903
123 | 2560826.064 | 1191008.0952 | 2560840.0706 | 1191017.337
124 | 2560706.4349 | 1191011.3984 | 2560738.7178 | 1191031.401
125 | 2560738.7178 | 1191031.401 | 2560758.038 | 1191043.372
126 | 2560944.0155 | 1191200.3152 | 2560952.7933 | 1191192.591
127 | 2560972.2727 | 1191175.4498 | 2560952.7933 | 1191192.591
128 | 2560577.2427 | 1191040.146 | 2560551.1609 | 1191024.4649
129 | 2560577.2427 | 1191040.146 | 2560578.2264 | 1191040.7374 | 2560599.5728 | 1191050.8575 | 2560607.5255 | 1191054.3092
130 | 2561136.7885 | 1191778.7183 | 2561111.1424 | 1191767.0283
131 | 2561069.9251 | 1191748.2407 | 2561111.1424 | 1191767.0283
132 | 2561069.9251 | 1191748.2407 | 2561058.336 | 1191775.3127
133 | 2561069.9251 | 1191748.2407 | 2561029.15 | 1191728.8296
134 | 2561004.1356 | 1191716.9193 | 2561018.1151 | 1191723.5765 | 2561029.15 | 1191728.8296
135 | 2560987.7859 | 1191709.1334 | 2561004.1356 | 1191716.9193
136 | 2560910.1985 | 1191685.3947 | 2560923.5355 | 1191694.5139
137 | 2560987.7859 | 1191709.1334 | 2560969.3139 | 1191700.4859
138 | 2560758.038 | 1191043.372 | 2560777.2281 | 1191055.2623
139 | 2560846.0313 | 1191098.7398 | 2560849.7247 | 1191102.6268
140 | 2560690.6923 | 1191342.6159 | 2560676.8999 | 1191335.5953
141 | 2560972.2727 | 1191175.4498 | 2560982.0265 | 1191166.8668
142 | 2561004.2432 | 1191163.1328 | 2560983.3403 | 1191165.7106 | 2560982.0265 | 1191166.8668
143 | 2561004.2432 | 1191163.1328 | 2561007.6089 | 1191162.7177
144 | 2561018.9626 | 1191806.8547 | 2560997.8588 | 1191797.4747
145 | 2561018.9626 | 1191806.8547 | 2561023.5766 | 1191808.9055
146 | 2560916.2028 | 1191808.0052 | 2560916.1861 | 1191808.0558 | 2560909.9404 | 1191828.3621
147 | 2561017.7083 | 1191161.4721 | 2561007.6089 | 1191162.7177
148 | 2561069.9424 | 1191538.9715 | 2561136.1337 | 1191576.4455
149 | 2561035.2511 | 1191129.1739 | 2561028.6221 | 1191145.7294

## bus_geodata
| x | y | coords
0 | 2560930.3231 | 1191346.3892
1 | 2560898.3743 | 1191388.0143
2 | 2560973.5845 | 1191272.0433
3 | 2560885.3706 | 1191404.9564
4 | 2560921.7673 | 1191232.0203
5 | 2560864.7683 | 1191431.7985
6 | 2561002.3924 | 1191481.6917
7 | 2560847.9047 | 1191423.1591
8 | 2560994.5814 | 1191497.3624
9 | 2560915.0577 | 1190986.2322
10 | 2560910.7754 | 1190993.814
11 | 2560933.1303 | 1190954.235
12 | 2560887.7135 | 1191048.7727
13 | 2560897.5313 | 1190977.4473
14 | 2560939.3418 | 1190943.4938
15 | 2560920.4175 | 1190946.907
16 | 2560886.7118 | 1191054.1489
17 | 2560867.1837 | 1191035.2267
18 | 2560956.6232 | 1190919.5846
19 | 2560902.18 | 1190936.3945
20 | 2560885.1018 | 1191062.8255
21 | 2560906.5714 | 1191062.2337
22 | 2560849.8938 | 1191023.8185
23 | 2560963.2625 | 1190920.875
24 | 2560735.3064 | 1191096.0723
25 | 2560746.2409 | 1191099.3177
26 | 2560676.1135 | 1191078.6124
27 | 2560684.5026 | 1191059.8116
28 | 2560635.0335 | 1191064.995
29 | 2560752.0623 | 1191101.1026
30 | 2560713.2694 | 1191123.0195
31 | 2560685.5157 | 1191057.541
32 | 2560616.0335 | 1191058.002
33 | 2560762.7618 | 1191104.3813
34 | 2560749.0179 | 1191131.6289
35 | 2560696.2592 | 1191117.1563
36 | 2560693.8184 | 1191038.9339
37 | 2560608.8725 | 1191054.8939
38 | 2560795.3097 | 1191115.7002
39 | 2560760.0873 | 1191135.3686
40 | 2560907.5419 | 1191062.6288
41 | 2560953.0163 | 1191081.1414
42 | 2560962.9574 | 1191085.1885
43 | 2560875.9161 | 1191112.3291
44 | 2561116.3786 | 1190994.7738
45 | 2561118.6762 | 1190973.6786
46 | 2561092.2573 | 1190964.5709
47 | 2561120.4911 | 1190958.5272
48 | 2561148.1723 | 1190980.6896
49 | 2561068.2728 | 1190956.3024
50 | 2561171.3324 | 1190988.0104
51 | 2561012.2985 | 1190937.0056
52 | 2561172.8072 | 1190988.5067
53 | 2561186.0677 | 1190973.54
54 | 2561058.4116 | 1191159.2503
55 | 2561029.338 | 1191160.567
56 | 2561063.9099 | 1191139.0403
57 | 2561022.558 | 1191160.874
58 | 2561073.5337 | 1191103.6658
59 | 2560909.6733 | 1191742.834
60 | 2560895.9406 | 1191741.2223
61 | 2560935.0275 | 1191745.8096
62 | 2560930.5456 | 1191764.5269
63 | 2560940.5448 | 1191725.2778
64 | 2560974.8123 | 1191786.6833
65 | 2560923.498 | 1191785.8907
66 | 2560944.8884 | 1191709.1139
67 | 2560986.5486 | 1191792.4478
68 | 2560921.4306 | 1191792.1578
69 | 2560949.6813 | 1191691.2951
70 | 2560928.6616 | 1191698.0189
71 | 2560849.6411 | 1191178.9277
72 | 2560843.5408 | 1191185.5244
73 | 2560862.8482 | 1191164.6433
74 | 2560842.013 | 1191187.1766
75 | 2560892.2239 | 1191198.9785
76 | 2560860.7611 | 1191162.6225
77 | 2560818.5496 | 1191211.9485
78 | 2560905.254 | 1191214.2084
79 | 2560868.6552 | 1191151.4647
80 | 2560834.2605 | 1191138.5443
81 | 2560788.1766 | 1191156.5983
82 | 2560803.4129 | 1191227.4841
83 | 2560918.5564 | 1191229.5581
84 | 2560884.4563 | 1191155.5189
85 | 2560871.2607 | 1191137.4212
86 | 2560797.7627 | 1191116.866
87 | 2560989.0922 | 1191610.2916
88 | 2561003.2641 | 1191623.5105
89 | 2560976.6191 | 1191598.6572
90 | 2561015.6608 | 1191631.4867
91 | 2560966.1804 | 1191634.5555
92 | 2560997.9801 | 1191542.6204
93 | 2560967.957 | 1191594.9007
94 | 2561027.8331 | 1191656.6668
95 | 2560955.842 | 1191670.1088
96 | 2560986.3515 | 1191537.5714
97 | 2561014.3627 | 1191507.5054
98 | 2561015.9291 | 1191682.493
99 | 2560992.6404 | 1191521.9309
100 | 2561059.4278 | 1191533.0188
101 | 2560788.5712 | 1191533.8327
102 | 2560777.0819 | 1190975.7758
103 | 2560752.3341 | 1190959.4467
104 | 2560779.6319 | 1190977.4584
105 | 2560735.6337 | 1190948.4275
106 | 2560802.062 | 1190992.2582
107 | 2560724.6825 | 1190972.0451
108 | 2560809.883 | 1190997.4187
109 | 2560714.5996 | 1190993.7903
110 | 2560826.064 | 1191008.0952
111 | 2560706.4349 | 1191011.3984
112 | 2560738.7178 | 1191031.401
113 | 2560944.0155 | 1191200.3152
114 | 2560952.7933 | 1191192.591
115 | 2560577.2427 | 1191040.146
116 | 2560551.1609 | 1191024.4649
117 | 2560607.5255 | 1191054.3092
118 | 2561136.7885 | 1191778.7183
119 | 2561111.1424 | 1191767.0283
120 | 2561069.9251 | 1191748.2407
121 | 2561058.336 | 1191775.3127
122 | 2561029.15 | 1191728.8296
123 | 2561004.1356 | 1191716.9193
124 | 2560979.146 | 1190925.5764
125 | 2560923.5355 | 1191694.5139
126 | 2560910.1985 | 1191685.3947
127 | 2560969.3139 | 1191700.4859
128 | 2560758.038 | 1191043.372
129 | 2560777.2281 | 1191055.2623
130 | 2560987.7859 | 1191709.1334
131 | 2560849.7247 | 1191102.6268
132 | 2560846.0313 | 1191098.7398
133 | 2560676.8999 | 1191335.5953
134 | 2560690.6923 | 1191342.6159
135 | 2560972.2727 | 1191175.4498
136 | 2560982.0265 | 1191166.8668
137 | 2561004.2432 | 1191163.1328
138 | 2560997.8588 | 1191797.4747
139 | 2561018.9626 | 1191806.8547
140 | 2561023.5766 | 1191808.9055
141 | 2560916.2028 | 1191808.0052
142 | 2560909.9404 | 1191828.3621
143 | 2560840.0706 | 1191017.337
144 | 2561007.6089 | 1191162.7177
145 | 2561017.7083 | 1191161.4721
146 | 2561136.1337 | 1191576.4455
147 | 2561069.9424 | 1191538.9715
148 | 2561028.6221 | 1191145.7294
149 | 2561035.2511 | 1191129.1739
150 | 2560781.5414 | 1191152.9601
151 | 2560862.8482 | 1191164.6433

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1