## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5821-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5821-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5821-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5821-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5821-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5821-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5821-1_0_2_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_5821-1_0_2_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_5821-1_0_2_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_5821-1_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5821-1_0_2_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_5821-1_0_2_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_5821-1_0_2_node_74 | 0.4 | n |  | TRUE
13 | bus_LV_5821-1_0_2_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_5821-1_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5821-1_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5821-1_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5821-1_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5821-1_0_2_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_5821-1_0_2_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_5821-1_0_2_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_5821-1_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5821-1_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5821-1_0_2_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5821-1_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5821-1_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5821-1_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5821-1_0_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_5821-1_0_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_5821-1_0_2_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_5821-1_0_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5821-1_0_2_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5821-1_0_2_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5821-1_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5821-1_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5821-1_0_2_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5821-1_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5821-1_0_2_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_5821-1_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_5821-1_0_2_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_5821-1_0_2_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_5821-1_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_5821-1_0_2_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_5821-1_0_2_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5821-1_0_2_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_5821-1_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_5821-1_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_5821-1_0_2_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_5821-1_0_2_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_5821-1_0_2_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_5821-1_0_2_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_5821-1_0_2_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_5821-1_0_2_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_5821-1_0_2_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_5821-1_0_2_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_5821-1_0_2_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_5821-1_0_2_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_5821-1_0_2_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5821-1_0_2_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_5821-1_0_2_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_5821-1_0_2_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_5821-1_0_2_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_5821-1_0_2_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_5821-1_0_2_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_5821-1_0_2_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5821-1_0_2_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5821-1_0_2_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_5821-1_0_2_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5821-1_0_2_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5821-1_0_2_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5821-1_0_2_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5821-1_0_2_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_5821-1_0_2_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5821-1_0_2_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_5821-1_0_2_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_5821-1_0_2_node_77 | 0.4 | n |  | TRUE
76 | bus_MV_377_0_node_200 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5821-1_0_2_load_0 | 0 | 0.0019143 | 0.00047976 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5821-1_0_2_load_1 | 1 | 0.005432 | 0.0013614 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5821-1_0_2_load_3 | 3 | 0.00196 | 0.00049121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5821-1_0_2_load_5 | 5 | 0.0012438 | 0.00031173 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5821-1_0_2_load_51 | 7 | 0.0016249 | 0.00040724 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5821-1_0_2_load_48 | 8 | 0.0013315 | 0.00033371 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5821-1_0_2_load_9 | 9 | 0.0090178 | 0.0022601 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5821-1_0_2_load_75 | 10 | 0.0010382 | 0.00026019 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5821-1_0_2_load_24 | 11 | 0.0019897 | 0.00049867 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5821-1_0_2_load_74 | 12 | 0.00089541 | 0.00022441 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5821-1_0_2_load_49 | 13 | 0.00089979 | 0.00022551 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5821-1_0_2_load_7 | 14 | 0.0029549 | 0.00074056 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5821-1_0_2_load_6 | 15 | 0.0017729 | 0.00044432 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5821-1_0_2_load_8 | 16 | 0.0022846 | 0.00057257 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5821-1_0_2_load_10 | 17 | 0.0017317 | 0.00043402 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5821-1_0_2_load_59 | 19 | 0.0010996 | 0.00027558 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5821-1_0_2_load_57 | 20 | 0.00073932 | 0.00018529 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5821-1_0_2_load_11 | 21 | 0.0022993 | 0.00057627 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5821-1_0_2_load_12 | 22 | 0.00069974 | 0.00017537 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5821-1_0_2_load_14 | 24 | 0.0011316 | 0.00028359 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5821-1_0_2_load_15 | 25 | 0.003916 | 0.00098143 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5821-1_0_2_load_16 | 26 | 0.0037261 | 0.00093385 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5821-1_0_2_load_52 | 27 | 0.002494 | 0.00062506 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5821-1_0_2_load_41 | 28 | 0.0014297 | 0.00035833 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5821-1_0_2_load_53 | 29 | 0.00071485 | 0.00017916 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5821-1_0_2_load_39 | 30 | 0.002066 | 0.00051778 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5821-1_0_2_load_17 | 31 | 0.0065829 | 0.0016498 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5821-1_0_2_load_18 | 32 | 0.0033755 | 0.00084598 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5821-1_0_2_load_20 | 34 | 0.0015139 | 0.00037942 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5821-1_0_2_load_21 | 35 | 0.0021833 | 0.00054718 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5821-1_0_2_load_71 | 37 | 0.00078867 | 0.00019766 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5821-1_0_2_load_35 | 38 | 0.00072354 | 0.00018134 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5821-1_0_2_load_65 | 39 | 0.0019156 | 0.00048011 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5821-1_0_2_load_46 | 40 | 0.0017331 | 0.00043435 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5821-1_0_2_load_34 | 41 | 0.00098619 | 0.00024716 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5821-1_0_2_load_64 | 42 | 0.0019721 | 0.00049425 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5821-1_0_2_load_23 | 43 | 0.0071242 | 0.0017855 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5821-1_0_2_load_25 | 44 | 0.0016402 | 0.00041107 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5821-1_0_2_load_27 | 45 | 0.0023461 | 0.00058798 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5821-1_0_2_load_76 | 47 | 0.0012255 | 0.00030714 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5821-1_0_2_load_47 | 48 | 0.0017085 | 0.00042818 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5821-1_0_2_load_28 | 49 | 0.0043299 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5821-1_0_2_load_29 | 50 | 0.0026665 | 0.0006683 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5821-1_0_2_load_30 | 51 | 0.0019535 | 0.00048959 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5821-1_0_2_load_32 | 53 | 0.0023201 | 0.00058147 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5821-1_0_2_load_44 | 54 | 0.0021238 | 0.00053227 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5821-1_0_2_load_33 | 56 | 0.0025645 | 0.00064273 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5821-1_0_2_load_55 | 57 | 0.00077602 | 0.00019449 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5821-1_0_2_load_37 | 58 | 0.0050792 | 0.001273 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5821-1_0_2_load_38 | 59 | 0.0010011 | 0.00025091 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5821-1_0_2_load_73 | 61 | 0.00098668 | 0.00024728 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5821-1_0_2_load_72 | 62 | 0.0041908 | 0.0010503 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5821-1_0_2_load_42 | 63 | 0.0076551 | 0.0019186 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5821-1_0_2_load_50 | 64 | 0.0050553 | 0.001267 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5821-1_0_2_load_54 | 65 | 0.0018989 | 0.00047591 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5821-1_0_2_load_56 | 66 | 0.0014812 | 0.00037122 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5821-1_0_2_load_58 | 67 | 0.00064275 | 0.00016109 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5821-1_0_2_load_61 | 68 | 0.0015388 | 0.00038566 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5821-1_0_2_load_60 | 69 | 0.0012608 | 0.000316 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5821-1_0_2_load_62 | 70 | 0.0039566 | 0.00099162 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5821-1_0_2_load_66 | 71 | 0.0054414 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5821-1_0_2_load_67 | 72 | 0.0024821 | 0.00062207 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5821-1_0_2_load_68 | 73 | 0.0019856 | 0.00049765 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5821-1_0_2_load_77 | 75 | 0.0028372 | 0.00071106 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5821-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0082181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5821-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0088961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5821-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5821-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5821-1_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.014636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5821-1_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0058185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5821-1_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.025395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5821-1_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.020903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5821-1_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.016218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5821-1_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.039251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5821-1_0_2_line_10 | NAYY 4x150 SE | 6 | 11 | 0.0075739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5821-1_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.018644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5821-1_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.0059299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5821-1_0_2_line_13 | NAYY 4x150 SE | 9 | 14 | 0.0039378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5821-1_0_2_line_14 | NAYY 4x150 SE | 10 | 47 | 0.011628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5821-1_0_2_line_15 | NAYY 4x150 SE | 11 | 43 | 0.01234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5821-1_0_2_line_16 | NAYY 4x150 SE | 13 | 64 | 0.0048571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5821-1_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.047917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5821-1_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0075941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5821-1_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.030571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5821-1_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.004241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5821-1_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.026167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5821-1_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.023744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5821-1_0_2_line_23 | NAYY 4x150 SE | 19 | 24 | 0.0047328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5821-1_0_2_line_24 | NAYY 4x150 SE | 20 | 57 | 0.024648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5821-1_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.019568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5821-1_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.0056938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5821-1_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.018395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5821-1_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.019464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5821-1_0_2_line_29 | NAYY 4x150 SE | 23 | 26 | 0.038363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5821-1_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.0083005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5821-1_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.014208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5821-1_0_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.022577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5821-1_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.01198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5821-1_0_2_line_34 | NAYY 4x150 SE | 29 | 65 | 0.059137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5821-1_0_2_line_35 | NAYY 4x150 SE | 30 | 58 | 0.025971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5821-1_0_2_line_36 | NAYY 4x150 SE | 31 | 32 | 0.042056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5821-1_0_2_line_37 | NAYY 4x150 SE | 31 | 33 | 0.047031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5821-1_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.0053068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5821-1_0_2_line_39 | NAYY 4x150 SE | 33 | 35 | 0.023241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5821-1_0_2_line_40 | NAYY 4x150 SE | 33 | 36 | 0.00531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5821-1_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5821-1_0_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.006252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5821-1_0_2_line_43 | NAYY 4x150 SE | 36 | 39 | 0.011593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5821-1_0_2_line_44 | NAYY 4x150 SE | 37 | 40 | 0.024805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5821-1_0_2_line_45 | NAYY 4x150 SE | 38 | 41 | 0.026334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5821-1_0_2_line_46 | NAYY 4x150 SE | 39 | 42 | 0.034627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5821-1_0_2_line_47 | NAYY 4x150 SE | 40 | 55 | 0.017357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5821-1_0_2_line_48 | NAYY 4x150 SE | 41 | 56 | 0.014473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5821-1_0_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.034642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5821-1_0_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.016204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5821-1_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.0003513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5821-1_0_2_line_52 | NAYY 4x150 SE | 46 | 48 | 0.016858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5821-1_0_2_line_53 | NAYY 4x150 SE | 48 | 52 | 0.0089968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5821-1_0_2_line_54 | NAYY 4x150 SE | 49 | 50 | 0.028629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5821-1_0_2_line_55 | NAYY 4x150 SE | 49 | 51 | 0.022879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5821-1_0_2_line_56 | NAYY 4x150 SE | 50 | 52 | 0.01787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5821-1_0_2_line_57 | NAYY 4x150 SE | 51 | 53 | 0.035061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5821-1_0_2_line_58 | NAYY 4x150 SE | 52 | 54 | 0.035145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5821-1_0_2_line_59 | NAYY 4x150 SE | 54 | 55 | 0.024253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5821-1_0_2_line_60 | NAYY 4x150 SE | 55 | 63 | 0.036892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5821-1_0_2_line_61 | NAYY 4x150 SE | 57 | 66 | 0.0027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5821-1_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.0056721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5821-1_0_2_line_63 | NAYY 4x150 SE | 59 | 60 | 0.021507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5821-1_0_2_line_64 | NAYY 4x150 SE | 60 | 61 | 0.021131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5821-1_0_2_line_65 | NAYY 4x150 SE | 61 | 62 | 0.019036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5821-1_0_2_line_66 | NAYY 4x150 SE | 62 | 74 | 0.03524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5821-1_0_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.0049329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5821-1_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.014747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5821-1_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.023769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5821-1_0_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.010685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5821-1_0_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.026087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5821-1_0_2_line_72 | NAYY 4x150 SE | 71 | 73 | 0.022077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5821-1_0_2_line_73 | NAYY 4x150 SE | 72 | 74 | 0.0031503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5821-1_0_2_line_74 | NAYY 4x150 SE | 72 | 75 | 0.089051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5821-1_0_2_trafo_7 | 0.25 MVA 20/0.4 kV | 76 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2564322.7926 | 1192245.5484 | 2564316.5126 | 1192240.2476
1 | 2564329.5906 | 1192251.2865 | 2564322.7926 | 1192245.5484
2 | 2564316.5126 | 1192240.2476 | 2564316.5126 | 1192240.2476 | 2564303.9223 | 1192230.7571
3 | 2564329.5906 | 1192251.2865 | 2564340.6597 | 1192238.6802 | 2564342.6904 | 1192236.6336 | 2564345.5513 | 1192237.0278 | 2564348.8195 | 1192239.254
4 | 2564329.5906 | 1192251.2865 | 2564339.3509 | 1192262.1931
5 | 2564299.2759 | 1192227.2547 | 2564303.9223 | 1192230.7571
6 | 2564348.8195 | 1192239.254 | 2564369.7841 | 1192253.5846
7 | 2564348.8195 | 1192239.254 | 2564355.4701 | 1192219.4368
8 | 2564339.3509 | 1192262.1931 | 2564346.3737 | 1192270.0408 | 2564349.9276 | 1192274.481
9 | 2564299.2759 | 1192227.2547 | 2564319.259 | 1192193.4713
10 | 2564299.2759 | 1192227.2547 | 2564292.4699 | 1192223.932
11 | 2564385.1761 | 1192264.1059 | 2564369.7841 | 1192253.5846
12 | 2564355.4701 | 1192219.4368 | 2564357.9084 | 1192217.9992 | 2564360.9779 | 1192217.5696
13 | 2564352.3883 | 1192277.5553 | 2564349.9276 | 1192274.481
14 | 2564329.3336 | 1192191.7335 | 2564326.0556 | 1192190.4302 | 2564324.0109 | 1192190.1422 | 2564322.0702 | 1192190.6541 | 2564319.8325 | 1192192.5018 | 2564319.259 | 1192193.4713
15 | 2564281.3806 | 1192218.5181 | 2564292.4699 | 1192223.932
16 | 2564365.4861 | 1192219.377 | 2564360.9779 | 1192217.5696
17 | 2564381.1378 | 1192315.8551 | 2564368.7611 | 1192298.0112 | 2564352.3883 | 1192277.5553
18 | 2564381.1378 | 1192315.8551 | 2564385.4659 | 1192322.0951
19 | 2564402.8891 | 1192347.2147 | 2564385.4659 | 1192322.0951
20 | 2564405.3062 | 1192350.6995 | 2564402.8891 | 1192347.2147
21 | 2564405.3062 | 1192350.6995 | 2564420.3352 | 1192372.1201
22 | 2564405.3062 | 1192350.6995 | 2564390.7297 | 1192369.4427
23 | 2564423.0535 | 1192375.9944 | 2564420.3352 | 1192372.1201
24 | 2564375.5981 | 1192388.8998 | 2564390.7297 | 1192369.4427
25 | 2564433.6187 | 1192391.0529 | 2564444.8578 | 1192407.0719
26 | 2564448.128 | 1192411.7329 | 2564444.8578 | 1192407.0719
27 | 2564423.0535 | 1192375.9944 | 2564433.6187 | 1192391.0529
28 | 2564448.128 | 1192411.7329 | 2564463.227 | 1192399.4505
29 | 2564448.128 | 1192411.7329 | 2564464.614 | 1192446.3724
30 | 2564469.666 | 1192394.2125 | 2564463.227 | 1192399.4505
31 | 2564470.72 | 1192459.202 | 2564464.614 | 1192446.3724
32 | 2564469.666 | 1192394.2125 | 2564487.1803 | 1192379.9653
33 | 2564470.72 | 1192459.202 | 2564471.849 | 1192461.5742 | 2564475.5815 | 1192470.1504
34 | 2564533.0556 | 1192342.6475 | 2564487.1803 | 1192379.9653
35 | 2564485.9453 | 1192493.9634 | 2564475.5815 | 1192470.1504
36 | 2564218.075 | 1192254.7115 | 2564218.075 | 1192254.7115 | 2564229.175 | 1192263.8166 | 2564238.4193 | 1192271.0985 | 2564242.7242 | 1192273.3072 | 2564246.8086 | 1192273.0826 | 2564249.252 | 1192271.2337 | 2564250.6631 | 1192267.5565
37 | 2564176.1063 | 1192233.4852 | 2564218.075 | 1192254.7115
38 | 2564250.8371 | 1192262.2526 | 2564250.6631 | 1192267.5565
39 | 2564176.1063 | 1192233.4852 | 2564186.7468 | 1192212.8227
40 | 2564173.7719 | 1192238.2573 | 2564176.1063 | 1192233.4852
41 | 2564186.7468 | 1192212.8227 | 2564192.1497 | 1192202.3309
42 | 2564173.7719 | 1192238.2573 | 2564171.0871 | 1192243.9036
43 | 2564173.7719 | 1192238.2573 | 2564162.1996 | 1192238.9425
44 | 2564203.5062 | 1192180.2782 | 2564192.1497 | 1192202.3309
45 | 2564159.7787 | 1192267.6863 | 2564171.0871 | 1192243.9036
46 | 2564127.6327 | 1192240.9892 | 2564162.1996 | 1192238.9425
47 | 2564211.4529 | 1192164.8469 | 2564203.5062 | 1192180.2782
48 | 2564159.7787 | 1192267.6863 | 2564153.5638 | 1192280.757
49 | 2564250.7909 | 1192202.4259 | 2564255.5227 | 1192205.894 | 2564281.3806 | 1192218.5181
50 | 2564237.7215 | 1192192.8472 | 2564250.7909 | 1192202.4259
51 | 2564237.7215 | 1192192.8472 | 2564237.4381 | 1192192.6396
52 | 2564237.4381 | 1192192.6396 | 2564249.6651 | 1192181.0336
53 | 2564256.1904 | 1192174.8398 | 2564249.6651 | 1192181.0336
54 | 2564276.1182 | 1192138.2028 | 2564272.9285 | 1192145.3013 | 2564272.5496 | 1192149.4836 | 2564273.9302 | 1192158.5358 | 2564272.5167 | 1192161.8127 | 2564270.1888 | 1192164.9683
55 | 2564285.4239 | 1192117.3026 | 2564283.1969 | 1192122.4496 | 2564276.1182 | 1192138.2028
56 | 2564256.1904 | 1192174.8398 | 2564265.4241 | 1192171.4271 | 2564270.1888 | 1192164.9683
57 | 2564299.4859 | 1192085.1903 | 2564298.4603 | 1192087.1725 | 2564285.4239 | 1192117.3026
58 | 2564256.1904 | 1192174.8398 | 2564230.9341 | 1192150.4001
59 | 2564211.4529 | 1192164.8469 | 2564230.9341 | 1192150.4001
60 | 2564211.4529 | 1192164.8469 | 2564191.8817 | 1192133.5742
61 | 2564375.5981 | 1192388.8998 | 2564373.9406 | 1192391.0311
62 | 2564485.9453 | 1192493.9634 | 2564485.9453 | 1192493.9634 | 2564489.7136 | 1192498.2029
63 | 2564504.0018 | 1192514.2781 | 2564489.7136 | 1192498.2029
64 | 2564504.0018 | 1192514.2781 | 2564523.0664 | 1192523.3923
65 | 2564523.0664 | 1192523.3923 | 2564540.2409 | 1192531.603
66 | 2564572.0345 | 1192546.8026 | 2564540.2409 | 1192531.603
67 | 2564373.9406 | 1192391.0311 | 2564370.9123 | 1192394.9251
68 | 2564361.8592 | 1192406.5661 | 2564370.9123 | 1192394.9251
69 | 2564347.2672 | 1192425.3292 | 2564361.8592 | 1192406.5661
70 | 2564347.2672 | 1192425.3292 | 2564340.7074 | 1192433.7641
71 | 2564598.4094 | 1192559.4194 | 2564574.8764 | 1192548.162
72 | 2564598.4094 | 1192559.4194 | 2564618.3247 | 1192568.9461
73 | 2564572.0345 | 1192546.8026 | 2564574.8764 | 1192548.162
74 | 2564574.8764 | 1192548.162 | 2564618.3065 | 1192470.4199

## bus_geodata
| x | y | coords
0 | 2564322.7926 | 1192245.5484
1 | 2564316.5125 | 1192240.2476
2 | 2564329.5906 | 1192251.2865
3 | 2564303.9223 | 1192230.7571
4 | 2564348.8195 | 1192239.254
5 | 2564339.3509 | 1192262.1931
6 | 2564299.2759 | 1192227.2547
7 | 2564369.7841 | 1192253.5846
8 | 2564355.4701 | 1192219.4368
9 | 2564349.9276 | 1192274.481
10 | 2564319.259 | 1192193.4713
11 | 2564292.4699 | 1192223.932
12 | 2564385.1761 | 1192264.1059
13 | 2564360.9779 | 1192217.5696
14 | 2564352.3883 | 1192277.5553
15 | 2564381.1378 | 1192315.8551
16 | 2564385.4659 | 1192322.0951
17 | 2564402.8891 | 1192347.2147
18 | 2564405.3062 | 1192350.6995
19 | 2564420.3352 | 1192372.1201
20 | 2564390.7297 | 1192369.4427
21 | 2564444.8578 | 1192407.0719
22 | 2564433.6187 | 1192391.0529
23 | 2564448.128 | 1192411.7329
24 | 2564423.0535 | 1192375.9944
25 | 2564463.227 | 1192399.4505
26 | 2564464.6141 | 1192446.3724
27 | 2564469.666 | 1192394.2125
28 | 2564470.72 | 1192459.202
29 | 2564487.1803 | 1192379.9653
30 | 2564475.5815 | 1192470.1504
31 | 2564218.075 | 1192254.7116
32 | 2564250.6631 | 1192267.5565
33 | 2564176.1063 | 1192233.4852
34 | 2564250.8371 | 1192262.2526
35 | 2564186.7468 | 1192212.8227
36 | 2564173.7719 | 1192238.2573
37 | 2564192.1497 | 1192202.3309
38 | 2564171.0871 | 1192243.9036
39 | 2564162.1996 | 1192238.9425
40 | 2564203.5062 | 1192180.2782
41 | 2564159.7787 | 1192267.6863
42 | 2564127.6327 | 1192240.9892
43 | 2564281.3806 | 1192218.5181
44 | 2564250.7909 | 1192202.4259
45 | 2564237.7215 | 1192192.8472
46 | 2564237.4381 | 1192192.6396
47 | 2564329.3336 | 1192191.7335
48 | 2564249.6651 | 1192181.0336
49 | 2564276.1182 | 1192138.2028
50 | 2564270.1888 | 1192164.9683
51 | 2564285.4239 | 1192117.3026
52 | 2564256.1904 | 1192174.8398
53 | 2564299.4859 | 1192085.1903
54 | 2564230.9341 | 1192150.4001
55 | 2564211.4529 | 1192164.8469
56 | 2564153.5638 | 1192280.757
57 | 2564375.5981 | 1192388.8998
58 | 2564485.9453 | 1192493.9634
59 | 2564489.7136 | 1192498.2029
60 | 2564504.0018 | 1192514.2781
61 | 2564523.0664 | 1192523.3923
62 | 2564540.2409 | 1192531.603
63 | 2564191.8817 | 1192133.5742
64 | 2564365.4861 | 1192219.377
65 | 2564533.0556 | 1192342.6475
66 | 2564373.9406 | 1192391.0311
67 | 2564370.9123 | 1192394.9251
68 | 2564361.8592 | 1192406.5661
69 | 2564347.2672 | 1192425.3292
70 | 2564340.7074 | 1192433.7641
71 | 2564598.4094 | 1192559.4194
72 | 2564574.8764 | 1192548.162
73 | 2564618.3247 | 1192568.9461
74 | 2564572.0345 | 1192546.8026
75 | 2564618.3065 | 1192470.4199
76 | 2564329.5906 | 1192251.2865

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1