## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5827-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5827-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5827-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5827-1_0_3_node_77 | 0.4 | n |  | TRUE
4 | bus_LV_5827-1_0_3_node_78 | 0.4 | n |  | TRUE
5 | bus_LV_5827-1_0_3_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_5827-1_0_3_node_97 | 0.4 | n |  | TRUE
7 | bus_LV_5827-1_0_3_node_98 | 0.4 | n |  | TRUE
8 | bus_LV_5827-1_0_3_node_89 | 0.4 | n |  | TRUE
9 | bus_LV_5827-1_0_3_node_90 | 0.4 | n |  | TRUE
10 | bus_LV_5827-1_0_3_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_5827-1_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5827-1_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5827-1_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5827-1_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5827-1_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5827-1_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5827-1_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5827-1_0_3_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_5827-1_0_3_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_5827-1_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_5827-1_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5827-1_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_5827-1_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5827-1_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5827-1_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_5827-1_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5827-1_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_5827-1_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5827-1_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5827-1_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5827-1_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5827-1_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5827-1_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_5827-1_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5827-1_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5827-1_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5827-1_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5827-1_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5827-1_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_5827-1_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5827-1_0_3_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_5827-1_0_3_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_5827-1_0_3_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_5827-1_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5827-1_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5827-1_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5827-1_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5827-1_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5827-1_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_5827-1_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_5827-1_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_5827-1_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_5827-1_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5827-1_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_5827-1_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5827-1_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_5827-1_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_5827-1_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_5827-1_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5827-1_0_3_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_5827-1_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_5827-1_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_5827-1_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5827-1_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5827-1_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_5827-1_0_3_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_5827-1_0_3_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_5827-1_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_5827-1_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_5827-1_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_5827-1_0_3_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_5827-1_0_3_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_5827-1_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5827-1_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5827-1_0_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5827-1_0_3_node_99 | 0.4 | n |  | TRUE
77 | bus_LV_5827-1_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_5827-1_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_5827-1_0_3_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_5827-1_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_5827-1_0_3_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_5827-1_0_3_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_5827-1_0_3_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_5827-1_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_5827-1_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_5827-1_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_5827-1_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_5827-1_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_5827-1_0_3_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_5827-1_0_3_node_96 | 0.4 | n |  | TRUE
91 | bus_MV_478_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5827-1_0_3_load_0 | 0 | 0.0063253 | 0.0015853 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5827-1_0_3_load_1 | 1 | 0.0047412 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5827-1_0_3_load_2 | 2 | 0.0017668 | 0.00044279 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5827-1_0_3_load_78 | 4 | 0.0051602 | 0.0012933 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5827-1_0_3_load_76 | 5 | 0.0041337 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5827-1_0_3_load_97 | 6 | 0.00080354 | 0.00020139 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5827-1_0_3_load_90 | 9 | 0.0015391 | 0.00038573 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5827-1_0_3_load_87 | 10 | 0.0010861 | 0.0002722 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5827-1_0_3_load_7 | 11 | 0.00084831 | 0.00021261 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5827-1_0_3_load_12 | 16 | 0.0019984 | 0.00050084 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5827-1_0_3_load_13 | 17 | 0.00046961 | 0.0001177 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5827-1_0_3_load_64 | 18 | 0.0011517 | 0.00028864 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5827-1_0_3_load_63 | 19 | 0.0038934 | 0.00097577 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5827-1_0_3_load_19 | 20 | 0.0010183 | 0.00025522 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5827-1_0_3_load_16 | 21 | 0.00044367 | 0.0001112 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5827-1_0_3_load_32 | 22 | 0.00060486 | 0.00015159 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5827-1_0_3_load_14 | 23 | 0.0029938 | 0.00075031 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5827-1_0_3_load_20 | 24 | 0.00091242 | 0.00022867 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5827-1_0_3_load_30 | 25 | 0.00054408 | 0.00013636 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5827-1_0_3_load_15 | 26 | 0.00045163 | 0.00011319 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5827-1_0_3_load_33 | 27 | 0.00029568 | 7.4103e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5827-1_0_3_load_21 | 28 | 0.0003928 | 9.8446e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5827-1_0_3_load_17 | 29 | 0.0056891 | 0.0014258 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5827-1_0_3_load_23 | 31 | 0.003801 | 0.00095262 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5827-1_0_3_load_24 | 32 | 0.0018705 | 0.00046879 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5827-1_0_3_load_35 | 33 | 0.002358 | 0.00059098 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5827-1_0_3_load_22 | 35 | 0.001766 | 0.00044259 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5827-1_0_3_load_26 | 36 | 0.00055688 | 0.00013957 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5827-1_0_3_load_27 | 37 | 0.0012574 | 0.00031514 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5827-1_0_3_load_29 | 39 | 0.0033959 | 0.0008511 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5827-1_0_3_load_34 | 40 | 0.00035874 | 8.9909e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5827-1_0_3_load_94 | 41 | 0.0011067 | 0.00027737 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5827-1_0_3_load_95 | 42 | 0.0021775 | 0.00054575 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5827-1_0_3_load_93 | 43 | 0.0016834 | 0.00042189 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5827-1_0_3_load_37 | 44 | 0.00034609 | 8.6738e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5827-1_0_3_load_36 | 45 | 0.00067806 | 0.00016994 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5827-1_0_3_load_41 | 46 | 0.0063417 | 0.0015894 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5827-1_0_3_load_44 | 48 | 0.0022519 | 0.00056439 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5827-1_0_3_load_45 | 49 | 0.0024716 | 0.00061944 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5827-1_0_3_load_46 | 50 | 0.0017449 | 0.00043732 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5827-1_0_3_load_47 | 51 | 0.0012136 | 0.00030417 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5827-1_0_3_load_49 | 53 | 0.0036338 | 0.00091071 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5827-1_0_3_load_50 | 54 | 0.0018641 | 0.00046718 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5827-1_0_3_load_51 | 55 | 0.0010578 | 0.00026511 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5827-1_0_3_load_53 | 57 | 0.0012345 | 0.0003094 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5827-1_0_3_load_54 | 58 | 0.0025475 | 0.00063846 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5827-1_0_3_load_62 | 60 | 0.0010178 | 0.00025508 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5827-1_0_3_load_56 | 61 | 0.010733 | 0.00269 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5827-1_0_3_load_57 | 62 | 0.0098878 | 0.0024781 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5827-1_0_3_load_65 | 65 | 0.0040362 | 0.0010116 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5827-1_0_3_load_69 | 67 | 0.0043276 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5827-1_0_3_load_60 | 68 | 0.012385 | 0.0031041 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5827-1_0_3_load_66 | 70 | 0.00080643 | 0.00020211 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5827-1_0_3_load_74 | 72 | 0.0079947 | 0.0020037 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5827-1_0_3_load_73 | 75 | 0.006425 | 0.0016103 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5827-1_0_3_load_99 | 76 | 0.0038005 | 0.00095249 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5827-1_0_3_load_68 | 77 | 0.00020567 | 5.1546e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5827-1_0_3_load_67 | 78 | 0.00082096 | 0.00020575 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5827-1_0_3_load_81 | 81 | 0.00288 | 0.00072179 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5827-1_0_3_load_92 | 82 | 0.00099893 | 0.00025036 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5827-1_0_3_load_91 | 83 | 0.00090267 | 0.00022623 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5827-1_0_3_load_82 | 84 | 0.0038867 | 0.0009741 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5827-1_0_3_load_83 | 85 | 0.0033167 | 0.00083125 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5827-1_0_3_load_84 | 86 | 0.004999 | 0.0012529 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5827-1_0_3_load_85 | 87 | 0.0043922 | 0.0011008 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5827-1_0_3_load_88 | 89 | 0.0017363 | 0.00043515 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5827-1_0_3_load_96 | 90 | 0.0023603 | 0.00059154 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5827-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.048125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5827-1_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.008569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5827-1_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.018072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5827-1_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.031442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5827-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5827-1_0_3_line_5 | NAYY 4x150 SE | 4 | 79 | 0.015154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5827-1_0_3_line_6 | NAYY 4x150 SE | 5 | 66 | 0.03653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5827-1_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.040267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5827-1_0_3_line_8 | NAYY 4x150 SE | 7 | 45 | 0.094932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5827-1_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.014112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5827-1_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.047968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5827-1_0_3_line_11 | NAYY 4x150 SE | 9 | 43 | 0.0099795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5827-1_0_3_line_12 | NAYY 4x150 SE | 9 | 45 | 0.44694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5827-1_0_3_line_13 | NAYY 4x150 SE | 10 | 88 | 0.021879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_5827-1_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.022803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5827-1_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.0043678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5827-1_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.00441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5827-1_0_3_line_17 | NAYY 4x150 SE | 12 | 15 | 0.062665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_5827-1_0_3_line_18 | NAYY 4x150 SE | 13 | 16 | 0.023141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5827-1_0_3_line_19 | NAYY 4x150 SE | 13 | 17 | 0.010254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5827-1_0_3_line_20 | NAYY 4x150 SE | 14 | 20 | 0.0094451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_5827-1_0_3_line_21 | NAYY 4x150 SE | 14 | 21 | 0.019457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5827-1_0_3_line_22 | NAYY 4x150 SE | 15 | 22 | 0.11155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_5827-1_0_3_line_23 | NAYY 4x150 SE | 16 | 23 | 0.012881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5827-1_0_3_line_24 | NAYY 4x150 SE | 17 | 24 | 0.0054238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5827-1_0_3_line_25 | NAYY 4x150 SE | 18 | 19 | 0.01191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5827-1_0_3_line_26 | NAYY 4x150 SE | 19 | 60 | 0.14904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5827-1_0_3_line_27 | NAYY 4x150 SE | 20 | 25 | 0.0034589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_5827-1_0_3_line_28 | NAYY 4x150 SE | 21 | 26 | 0.00091705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5827-1_0_3_line_29 | NAYY 4x150 SE | 22 | 27 | 0.029395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_5827-1_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.014103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5827-1_0_3_line_31 | NAYY 4x150 SE | 25 | 34 | 0.025566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_5827-1_0_3_line_32 | NAYY 4x150 SE | 27 | 40 | 0.022998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_5827-1_0_3_line_33 | NAYY 4x150 SE | 28 | 35 | 0.015145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5827-1_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.0015382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5827-1_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.04559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_5827-1_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.046114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_5827-1_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0096324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_5827-1_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.016456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_5827-1_0_3_line_39 | NAYY 4x150 SE | 34 | 39 | 0.050143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5827-1_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.020443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5827-1_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.028486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5827-1_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0033408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5827-1_0_3_line_43 | NAYY 4x150 SE | 40 | 44 | 0.026917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_5827-1_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.013546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5827-1_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0045308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5827-1_0_3_line_46 | NAYY 4x150 SE | 42 | 90 | 0.019491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5827-1_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.03617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_5827-1_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.006122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5827-1_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.01226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5827-1_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.010067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5827-1_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.023842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5827-1_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.011265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5827-1_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0061084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5827-1_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.010656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5827-1_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.025852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5827-1_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.017335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5827-1_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.050111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5827-1_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0082063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5827-1_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.027371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5827-1_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.079277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5827-1_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.044711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5827-1_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.026118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5827-1_0_3_line_63 | NAYY 4x150 SE | 59 | 62 | 0.023711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_5827-1_0_3_line_64 | NAYY 4x150 SE | 59 | 63 | 0.021476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_5827-1_0_3_line_65 | NAYY 4x150 SE | 61 | 64 | 0.0068364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5827-1_0_3_line_66 | NAYY 4x150 SE | 62 | 65 | 0.0071776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_5827-1_0_3_line_67 | NAYY 4x150 SE | 63 | 66 | 0.016021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_5827-1_0_3_line_68 | NAYY 4x150 SE | 63 | 67 | 0.025655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5827-1_0_3_line_69 | NAYY 4x150 SE | 64 | 68 | 0.017195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5827-1_0_3_line_70 | NAYY 4x150 SE | 64 | 69 | 0.016586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5827-1_0_3_line_71 | NAYY 4x150 SE | 65 | 70 | 0.021692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_5827-1_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.012628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5827-1_0_3_line_73 | NAYY 4x150 SE | 69 | 72 | 0.017957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5827-1_0_3_line_74 | NAYY 4x150 SE | 70 | 77 | 0.00049801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_5827-1_0_3_line_75 | NAYY 4x150 SE | 71 | 76 | 0.023984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5827-1_0_3_line_76 | NAYY 4x150 SE | 72 | 74 | 0.017073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5827-1_0_3_line_77 | NAYY 4x150 SE | 73 | 74 | 0.003404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5827-1_0_3_line_78 | NAYY 4x150 SE | 73 | 75 | 0.023061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5827-1_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.025576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_5827-1_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.01632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5827-1_0_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.02096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_5827-1_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.015252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5827-1_0_3_line_83 | NAYY 4x150 SE | 80 | 83 | 0.02286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5827-1_0_3_line_84 | NAYY 4x150 SE | 81 | 84 | 0.016764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_5827-1_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.040589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_5827-1_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.020482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_5827-1_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.0058798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_5827-1_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.018194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_5827-1_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.018562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5827-1_0_3_trafo_67 | 0.25 MVA 20/0.4 kV | 91 | 78 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2560804.9397 | 1180047.1207 | 2560798.8453 | 1180028.8956 | 2560825.5534 | 1180017.8343
1 | 2560825.5534 | 1180017.8343 | 2560830.2379 | 1180015.8941 | 2560833.6612 | 1180015.1721
2 | 2560851.3443 | 1180011.4425 | 2560833.6612 | 1180015.1721
3 | 2560851.3443 | 1180011.4425 | 2560853.1509 | 1180026.0384 | 2560854.6176 | 1180037.735 | 2560854.8267 | 1180042.677
4 | 2560851.3443 | 1180011.4425 | 2560849.6763 | 1179998.9913
5 | 2560855.4672 | 1180057.8179 | 2560854.8267 | 1180042.677
6 | 2560841.947 | 1179963.334 | 2560848.3326 | 1179988.9614 | 2560849.6763 | 1179998.9913
7 | 2560280.4268 | 1180470.2732 | 2560287.6708 | 1180477.6735 | 2560310.2401 | 1180497.3031
8 | 2560317.8747 | 1180383.0399 | 2560280.4268 | 1180470.2732
9 | 2560701.8336 | 1180153.7653 | 2560694.1859 | 1180141.9049
10 | 2560701.8336 | 1180153.7653 | 2560736.6197 | 1180130.7468 | 2560740.6458 | 1180125.9595
11 | 2560688.7778 | 1180133.5178 | 2560694.1859 | 1180141.9049
12 | 2560694.1859 | 1180141.9049 | 2560317.8747 | 1180383.0399
13 | 2560743.8865 | 1180105.5858 | 2560744.7142 | 1180121.1219 | 2560740.6458 | 1180125.9595
14 | 2560078.2174 | 1180224.7889 | 2560070.4464 | 1180228.9097 | 2560057.6162 | 1180234.5292
15 | 2560053.6153 | 1180236.2815 | 2560057.6162 | 1180234.5292
16 | 2560075.5815 | 1180221.2491 | 2560078.2174 | 1180224.7889
17 | 2560078.2174 | 1180224.7889 | 2560085.5041 | 1180233.9229 | 2560093.9494 | 1180243.8496 | 2560102.9074 | 1180253.9174 | 2560111.7382 | 1180263.2413 | 2560116.281 | 1180267.5355 | 2560120.3685 | 1180271.1435
18 | 2560053.6153 | 1180236.2815 | 2560054.8221 | 1180241.9876 | 2560056.6623 | 1180247.6228 | 2560060.7145 | 1180256.2114 | 2560061.6067 | 1180257.871
19 | 2560053.6153 | 1180236.2815 | 2560046.155 | 1180238.8883 | 2560044.0228 | 1180239.8784
20 | 2560075.5815 | 1180221.2491 | 2560077.7827 | 1180219.1777 | 2560082.1613 | 1180214.479
21 | 2560075.5815 | 1180221.2491 | 2560069.7583 | 1180213.9507 | 2560065.5252 | 1180207.998 | 2560064.0895 | 1180205.5756
22 | 2560120.3685 | 1180271.1435 | 2560130.5091 | 1180277.5904 | 2560184.7332 | 1180308.7458 | 2560217.0875 | 1180326.6846
23 | 2560067.7062 | 1180269.2161 | 2560061.6067 | 1180257.871
24 | 2560044.0228 | 1180239.8784 | 2560041.2969 | 1180241.1442 | 2560039.2476 | 1180242.4282
25 | 2560587.7961 | 1179936.189 | 2560598.2801 | 1179930.5379
26 | 2560737.7738 | 1179878.0505 | 2560598.2801 | 1179930.5379
27 | 2560082.1613 | 1180214.479 | 2560083.683 | 1180212.8461 | 2560084.5194 | 1180211.9487
28 | 2560064.0895 | 1180205.5756 | 2560063.6219 | 1180204.7866
29 | 2560217.0875 | 1180326.6846 | 2560242.7949 | 1180340.9381
30 | 2560027.4659 | 1180250.1685 | 2560031.3251 | 1180247.3919 | 2560039.2476 | 1180242.4282
31 | 2560102.4908 | 1180193.7882 | 2560096.8725 | 1180198.884 | 2560093.2234 | 1180202.6103 | 2560084.5194 | 1180211.9487
32 | 2560242.7949 | 1180340.9381 | 2560247.6584 | 1180343.6346 | 2560262.9704 | 1180351.9759
33 | 2560027.4659 | 1180250.1685 | 2560019.8772 | 1180255.6284 | 2560014.9395 | 1180258.6647
34 | 2560040.2504 | 1180161.1419 | 2560041.0664 | 1180162.4459
35 | 2560040.2504 | 1180161.1419 | 2560025.7517 | 1180140.3944 | 2560022.1425 | 1180136.372 | 2560016.5023 | 1180131.3403 | 2560010.4861 | 1180127.1783
36 | 2560040.2504 | 1180161.1419 | 2560043.7346 | 1180160.1737 | 2560046.5523 | 1180160.0548 | 2560049.7415 | 1180160.6672 | 2560052.6853 | 1180162.2594 | 2560059.9288 | 1180166.0575 | 2560070.5973 | 1180171.4558 | 2560080.9016 | 1180177.2235 | 2560081.8216 | 1180177.8956
37 | 2560081.8216 | 1180177.8956 | 2560087.28 | 1180181.8834 | 2560089.4913 | 1180183.7167
38 | 2560102.4908 | 1180193.7882 | 2560096.6044 | 1180189.6142 | 2560089.4913 | 1180183.7167
39 | 2560102.4908 | 1180193.7882 | 2560107.1552 | 1180196.8476 | 2560110.6801 | 1180198.5361 | 2560118.9328 | 1180202.4943 | 2560126.4147 | 1180206.5466 | 2560136.1089 | 1180211.3289 | 2560139.0534 | 1180213.0435 | 2560143.0983 | 1180215.9848 | 2560145.8312 | 1180218.5917
40 | 2560168.8156 | 1180240.6072 | 2560168.8582 | 1180240.6486 | 2560172.666 | 1180244.692 | 2560177.9413 | 1180248.8702 | 2560184.193 | 1180254.0202
41 | 2560148.2487 | 1180220.8976 | 2560164.8143 | 1180236.7178 | 2560168.8156 | 1180240.6072
42 | 2560148.2487 | 1180220.8976 | 2560145.8312 | 1180218.5917
43 | 2560262.9704 | 1180351.9759 | 2560280.9047 | 1180361.7456 | 2560286.5322 | 1180364.9869
44 | 2560686.3225 | 1180129.71 | 2560697.7279 | 1180122.401
45 | 2560688.7778 | 1180133.5178 | 2560686.3225 | 1180129.71 | 2560686.3225 | 1180129.71
46 | 2560714.1385 | 1180111.8844 | 2560697.7279 | 1180122.401
47 | 2560317.8747 | 1180383.0399 | 2560286.5322 | 1180364.9869
48 | 2560756.9897 | 1179711.6794 | 2560754.6151 | 1179706.0367
49 | 2560756.9897 | 1179711.6794 | 2560761.2146 | 1179723.1885
50 | 2560761.2146 | 1179723.1885 | 2560764.6838 | 1179732.6389
51 | 2560764.6838 | 1179732.6389 | 2560768.1976 | 1179742.211 | 2560773.7968 | 1179754.6544
52 | 2560773.7968 | 1179754.6544 | 2560778.4194 | 1179764.9276
53 | 2560780.926 | 1179770.4981 | 2560778.4194 | 1179764.9276
54 | 2560780.926 | 1179770.4981 | 2560784.8333 | 1179780.4119
55 | 2560780.926 | 1179770.4981 | 2560802.0359 | 1179774.6174 | 2560806.3784 | 1179774.4951
56 | 2560784.8333 | 1179780.4119 | 2560791.1896 | 1179796.5394
57 | 2560801.918 | 1179845.1668 | 2560800.8198 | 1179830.2883 | 2560795.9027 | 1179808.4978 | 2560791.1896 | 1179796.5394
58 | 2560801.918 | 1179845.1668 | 2560803.7342 | 1179853.1696
59 | 2560801.918 | 1179845.1668 | 2560777.5609 | 1179857.6535
60 | 2560828.0078 | 1179928.5179 | 2560822.0632 | 1179913.082 | 2560812.3309 | 1179886.1648 | 2560807.4477 | 1179869.5324 | 2560803.7342 | 1179853.1696
61 | 2560777.5609 | 1179857.6535 | 2560737.7738 | 1179878.0505
62 | 2560828.0078 | 1179928.5179 | 2560841.1851 | 1179921.6502 | 2560851.3768 | 1179916.866
63 | 2560828.0078 | 1179928.5179 | 2560805.9266 | 1179937.1565
64 | 2560835.8613 | 1179948.5104 | 2560828.0078 | 1179928.5179
65 | 2560857.5652 | 1179913.9611 | 2560851.3768 | 1179916.866
66 | 2560805.9266 | 1179937.1565 | 2560805.7832 | 1179937.2126 | 2560800.0662 | 1179941.2927
67 | 2560835.8613 | 1179948.5104 | 2560841.947 | 1179963.334
68 | 2560835.8613 | 1179948.5104 | 2560812.9684 | 1179960.0895
69 | 2560857.5652 | 1179913.9611 | 2560864.2229 | 1179929.8148
70 | 2560870.7905 | 1179903.9025 | 2560857.5652 | 1179913.9611
71 | 2560781.8776 | 1179952.8474 | 2560785.6127 | 1179951.608 | 2560800.0662 | 1179941.2927
72 | 2560878.7313 | 1179894.0676 | 2560870.7905 | 1179903.9025
73 | 2560870.7905 | 1179903.9025 | 2560877.6324 | 1179914.0632 | 2560880.7694 | 1179918.8314
74 | 2560781.405 | 1179953.0043 | 2560781.8776 | 1179952.8474
75 | 2560859.972 | 1179879.0601 | 2560878.7313 | 1179894.0676
76 | 2560885.0636 | 1179934.9145 | 2560883.8663 | 1179923.5385 | 2560880.7694 | 1179918.8314
77 | 2560885.0636 | 1179934.9145 | 2560884.9866 | 1179938.3168
78 | 2560884.9866 | 1179938.3168 | 2560884.6802 | 1179952.1929 | 2560875.7951 | 1179954.5093
79 | 2560757.1307 | 1179961.0595 | 2560781.405 | 1179953.0043
80 | 2560855.4672 | 1180057.8179 | 2560856.0704 | 1180074.1226
81 | 2560855.4672 | 1180057.8179 | 2560835.2964 | 1180063.5158
82 | 2560856.0704 | 1180074.1226 | 2560870.7405 | 1180078.2955
83 | 2560856.0704 | 1180074.1226 | 2560857.3872 | 1180096.9449
84 | 2560835.2964 | 1180063.5158 | 2560819.164 | 1180068.0729
85 | 2560781.4307 | 1180082.5113 | 2560798.3769 | 1180073.9449 | 2560819.164 | 1180068.0729
86 | 2560763.1518 | 1180091.7514 | 2560781.4307 | 1180082.5113
87 | 2560763.1518 | 1180091.7514 | 2560757.9044 | 1180094.404
88 | 2560743.8865 | 1180105.5858 | 2560751.2748 | 1180097.7553 | 2560757.9044 | 1180094.404
89 | 2560743.8865 | 1180105.5858 | 2560736.2175 | 1180088.6822

## bus_geodata
| x | y | coords
0 | 2560804.9397 | 1180047.1207
1 | 2560825.5534 | 1180017.8343
2 | 2560833.6612 | 1180015.1721
3 | 2560851.3443 | 1180011.4425
4 | 2560854.8267 | 1180042.677
5 | 2560849.6763 | 1179998.9913
6 | 2560310.2401 | 1180497.3031
7 | 2560280.4268 | 1180470.2732
8 | 2560701.8336 | 1180153.7653
9 | 2560694.1859 | 1180141.9049
10 | 2560740.6458 | 1180125.9595
11 | 2560057.6162 | 1180234.5292
12 | 2560078.2174 | 1180224.7889
13 | 2560053.6153 | 1180236.2815
14 | 2560075.5815 | 1180221.2491
15 | 2560120.3685 | 1180271.1435
16 | 2560061.6067 | 1180257.871
17 | 2560044.0228 | 1180239.8784
18 | 2560587.7961 | 1179936.189
19 | 2560598.2801 | 1179930.5379
20 | 2560082.1613 | 1180214.479
21 | 2560064.0895 | 1180205.5756
22 | 2560217.0875 | 1180326.6846
23 | 2560067.7062 | 1180269.2161
24 | 2560039.2476 | 1180242.4282
25 | 2560084.5194 | 1180211.9487
26 | 2560063.6219 | 1180204.7866
27 | 2560242.7949 | 1180340.9381
28 | 2560027.4659 | 1180250.1685
29 | 2560041.0664 | 1180162.4459
30 | 2560040.2504 | 1180161.1419
31 | 2560010.4861 | 1180127.1783
32 | 2560081.8216 | 1180177.8956
33 | 2560089.4913 | 1180183.7167
34 | 2560102.4908 | 1180193.7882
35 | 2560014.9395 | 1180258.6647
36 | 2560168.8156 | 1180240.6072
37 | 2560184.193 | 1180254.0202
38 | 2560148.2487 | 1180220.8976
39 | 2560145.8312 | 1180218.5917
40 | 2560262.9704 | 1180351.9759
41 | 2560686.3225 | 1180129.71
42 | 2560697.7279 | 1180122.401
43 | 2560688.7778 | 1180133.5178
44 | 2560286.5322 | 1180364.9869
45 | 2560317.8747 | 1180383.0399
46 | 2560754.6151 | 1179706.0367
47 | 2560756.9897 | 1179711.6794
48 | 2560761.2146 | 1179723.1885
49 | 2560764.6838 | 1179732.6389
50 | 2560773.7968 | 1179754.6544
51 | 2560778.4194 | 1179764.9276
52 | 2560780.926 | 1179770.4981
53 | 2560784.8333 | 1179780.4119
54 | 2560806.3784 | 1179774.4951
55 | 2560791.1896 | 1179796.5394
56 | 2560801.918 | 1179845.1668
57 | 2560803.7342 | 1179853.1696
58 | 2560777.5609 | 1179857.6535
59 | 2560828.0078 | 1179928.5179
60 | 2560737.7738 | 1179878.0505
61 | 2560851.3768 | 1179916.866
62 | 2560805.9266 | 1179937.1565
63 | 2560835.8613 | 1179948.5104
64 | 2560857.5652 | 1179913.9611
65 | 2560800.0662 | 1179941.2927
66 | 2560841.947 | 1179963.334
67 | 2560812.9684 | 1179960.0895
68 | 2560864.2229 | 1179929.8148
69 | 2560870.7905 | 1179903.9025
70 | 2560781.8776 | 1179952.8474
71 | 2560878.7313 | 1179894.0676
72 | 2560880.7694 | 1179918.8314
73 | 2560884.9866 | 1179938.3168
74 | 2560885.0636 | 1179934.9145
75 | 2560875.7951 | 1179954.5093
76 | 2560859.972 | 1179879.0601
77 | 2560781.405 | 1179953.0043
78 | 2560757.1307 | 1179961.0595
79 | 2560855.4672 | 1180057.8179
80 | 2560856.0704 | 1180074.1226
81 | 2560835.2964 | 1180063.5158
82 | 2560870.7405 | 1180078.2955
83 | 2560857.3872 | 1180096.9449
84 | 2560819.164 | 1180068.0729
85 | 2560781.4307 | 1180082.5113
86 | 2560763.1518 | 1180091.7514
87 | 2560757.9044 | 1180094.404
88 | 2560743.8865 | 1180105.5858
89 | 2560736.2175 | 1180088.6822
90 | 2560714.1385 | 1180111.8844
91 | 2560741.6954 | 1179966.1816

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1