## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5828-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5828-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5828-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5828-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5828-1_0_2_node_35 | 0.4 | n |  | TRUE
5 | bus_LV_5828-1_0_2_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_5828-1_0_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_5828-1_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5828-1_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5828-1_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5828-1_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5828-1_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5828-1_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5828-1_0_2_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_5828-1_0_2_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_5828-1_0_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_5828-1_0_2_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_5828-1_0_2_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_5828-1_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5828-1_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5828-1_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5828-1_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5828-1_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5828-1_0_2_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_5828-1_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5828-1_0_2_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_5828-1_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5828-1_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5828-1_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5828-1_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_5828-1_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5828-1_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5828-1_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5828-1_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5828-1_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5828-1_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_5828-1_0_2_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_5828-1_0_2_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_5828-1_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5828-1_0_2_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5828-1_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5828-1_0_2_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5828-1_0_2_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5828-1_0_2_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5828-1_0_2_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_5828-1_0_2_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_5828-1_0_2_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_5828-1_0_2_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_5828-1_0_2_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_5828-1_0_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_5828-1_0_2_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_5828-1_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_5828-1_0_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_5828-1_0_2_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5828-1_0_2_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5828-1_0_2_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_5828-1_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5828-1_0_2_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5828-1_0_2_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5828-1_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5828-1_0_2_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_5828-1_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5828-1_0_2_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5828-1_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5828-1_0_2_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_5828-1_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_5828-1_0_2_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_5828-1_0_2_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5828-1_0_2_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5828-1_0_2_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5828-1_0_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5828-1_0_2_node_72 | 0.4 | n |  | TRUE
72 | bus_MV_454_0_node_214 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5828-1_0_2_load_0 | 0 | 0.001412 | 0.00035389 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5828-1_0_2_load_1 | 1 | 0.00094511 | 0.00023687 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5828-1_0_2_load_2 | 2 | 0.0014702 | 0.00036848 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5828-1_0_2_load_3 | 3 | 0.00093581 | 0.00023454 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5828-1_0_2_load_37 | 5 | 0.00021297 | 5.3376e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5828-1_0_2_load_34 | 6 | 0.00030253 | 7.5821e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5828-1_0_2_load_4 | 7 | 0.0046093 | 0.0011552 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5828-1_0_2_load_5 | 8 | 0.00104 | 0.00026065 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5828-1_0_2_load_7 | 10 | 0.0033082 | 0.0008291 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5828-1_0_2_load_8 | 11 | 0.011221 | 0.0028121 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5828-1_0_2_load_9 | 12 | 0.0018166 | 0.0004553 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5828-1_0_2_load_24 | 13 | 0.00070955 | 0.00017783 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5828-1_0_2_load_48 | 15 | 0.00062818 | 0.00015744 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5828-1_0_2_load_10 | 18 | 0.0004757 | 0.00011922 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5828-1_0_2_load_11 | 19 | 0.00063417 | 0.00015894 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5828-1_0_2_load_12 | 20 | 0.0012251 | 0.00030703 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5828-1_0_2_load_14 | 22 | 0.00020356 | 5.1017e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5828-1_0_2_load_36 | 23 | 0.00026936 | 6.7509e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5828-1_0_2_load_17 | 24 | 0.00026755 | 6.7054e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5828-1_0_2_load_66 | 25 | 0.002419 | 0.00060625 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5828-1_0_2_load_15 | 26 | 0.00044572 | 0.00011171 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5828-1_0_2_load_16 | 27 | 0.00027981 | 7.0128e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5828-1_0_2_load_25 | 28 | 0.00068765 | 0.00017234 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5828-1_0_2_load_32 | 29 | 0.00079798 | 0.00019999 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5828-1_0_2_load_19 | 30 | 0.0012434 | 0.00031163 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5828-1_0_2_load_20 | 31 | 0.0021642 | 0.0005424 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5828-1_0_2_load_23 | 34 | 0.0013922 | 0.00034893 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5828-1_0_2_load_52 | 36 | 0.0049176 | 0.0012325 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5828-1_0_2_load_49 | 37 | 0.0048645 | 0.0012192 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5828-1_0_2_load_31 | 38 | 0.00034722 | 8.7023e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5828-1_0_2_load_26 | 39 | 0.00022196 | 5.5627e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5828-1_0_2_load_27 | 40 | 0.00020505 | 5.139e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5828-1_0_2_load_28 | 41 | 0.00039618 | 9.9293e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5828-1_0_2_load_30 | 43 | 0.00079518 | 0.00019929 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5828-1_0_2_load_65 | 44 | 0.0002371 | 5.9422e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5828-1_0_2_load_64 | 45 | 0.00087583 | 0.0002195 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5828-1_0_2_load_67 | 46 | 0.0014125 | 0.000354 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5828-1_0_2_load_59 | 47 | 0.0037687 | 0.00094452 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5828-1_0_2_load_50 | 48 | 0.00076825 | 0.00019254 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5828-1_0_2_load_44 | 51 | 0.0028196 | 0.00070666 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5828-1_0_2_load_47 | 52 | 0.001666 | 0.00041754 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5828-1_0_2_load_40 | 54 | 0.0066416 | 0.0016646 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5828-1_0_2_load_41 | 55 | 0.00084336 | 0.00021137 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5828-1_0_2_load_43 | 56 | 0.0017719 | 0.00044408 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5828-1_0_2_load_53 | 58 | 0.00033836 | 8.48e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5828-1_0_2_load_70 | 60 | 0.0032776 | 0.00082145 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5828-1_0_2_load_58 | 61 | 0.00076826 | 0.00019254 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5828-1_0_2_load_57 | 63 | 0.00066565 | 0.00016683 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5828-1_0_2_load_69 | 64 | 0.001086 | 0.00027217 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5828-1_0_2_load_60 | 65 | 0.0014242 | 0.00035694 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5828-1_0_2_load_62 | 67 | 0.0012292 | 0.00030806 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5828-1_0_2_load_61 | 68 | 0.00098346 | 0.00024648 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5828-1_0_2_load_68 | 69 | 0.0015813 | 0.0003963 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5828-1_0_2_load_72 | 71 | 0.00071224 | 0.0001785 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5828-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5828-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5828-1_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5828-1_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5828-1_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.014445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5828-1_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0032296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5828-1_0_2_line_6 | NAYY 4x150 SE | 6 | 21 | 0.012793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5828-1_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.027904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5828-1_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.012703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5828-1_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0013052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5828-1_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.049959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5828-1_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.021107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5828-1_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.011331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5828-1_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.017143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5828-1_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.019617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5828-1_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.050442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5828-1_0_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.037325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5828-1_0_2_line_17 | NAYY 4x150 SE | 16 | 28 | 0.015327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5828-1_0_2_line_18 | NAYY 4x150 SE | 16 | 27 | 0.0091435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5828-1_0_2_line_19 | NAYY 4x150 SE | 17 | 50 | 0.064688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5828-1_0_2_line_20 | NAYY 4x150 SE | 17 | 51 | 0.025525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5828-1_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.020109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5828-1_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.0026144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5828-1_0_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.014328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5828-1_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.010651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5828-1_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.023324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5828-1_0_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0056148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5828-1_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.024336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5828-1_0_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0069024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5828-1_0_2_line_29 | NAYY 4x150 SE | 25 | 49 | 0.021812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5828-1_0_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.00021779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5828-1_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.019472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5828-1_0_2_line_32 | NAYY 4x150 SE | 29 | 38 | 0.021505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5828-1_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.017979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5828-1_0_2_line_34 | NAYY 4x150 SE | 30 | 32 | 0.016236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5828-1_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.026208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5828-1_0_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.06342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5828-1_0_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.030059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5828-1_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.011121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5828-1_0_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.010308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5828-1_0_2_line_40 | NAYY 4x150 SE | 36 | 47 | 0.023604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5828-1_0_2_line_41 | NAYY 4x150 SE | 37 | 48 | 0.016955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5828-1_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.011731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5828-1_0_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.035824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5828-1_0_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.0078193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5828-1_0_2_line_45 | NAYY 4x150 SE | 41 | 43 | 0.027363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5828-1_0_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.017235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5828-1_0_2_line_47 | NAYY 4x150 SE | 42 | 45 | 0.0078705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5828-1_0_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.021793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5828-1_0_2_line_49 | NAYY 4x150 SE | 46 | 69 | 0.00014899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5828-1_0_2_line_50 | NAYY 4x150 SE | 47 | 61 | 0.01165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5828-1_0_2_line_51 | NAYY 4x150 SE | 49 | 60 | 0.025422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5828-1_0_2_line_52 | NAYY 4x150 SE | 49 | 57 | 0.003776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5828-1_0_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.021462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5828-1_0_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.039768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5828-1_0_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0071344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5828-1_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.024718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5828-1_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.012643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5828-1_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0024414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5828-1_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.018992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5828-1_0_2_line_60 | NAYY 4x150 SE | 59 | 62 | 0.014115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5828-1_0_2_line_61 | NAYY 4x150 SE | 59 | 63 | 0.0044365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5828-1_0_2_line_62 | NAYY 4x150 SE | 60 | 64 | 0.023818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5828-1_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0061689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5828-1_0_2_line_64 | NAYY 4x150 SE | 62 | 65 | 0.020766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5828-1_0_2_line_65 | NAYY 4x150 SE | 63 | 66 | 0.016768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5828-1_0_2_line_66 | NAYY 4x150 SE | 64 | 70 | 0.020677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5828-1_0_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.011221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5828-1_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.020126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5828-1_0_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.017709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5828-1_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.053826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5828-1_0_2_trafo_25 | 0.25 MVA 20/0.4 kV | 72 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2551175.5897 | 1180270.5925 | 2551165.9482 | 1180281.105 | 2551150.5305 | 1180300.2302
1 | 2551175.5897 | 1180270.5925 | 2551185.2108 | 1180260.1024
2 | 2551195.5464 | 1180248.8333 | 2551185.2108 | 1180260.1024
3 | 2551205.2941 | 1180238.2051 | 2551195.5464 | 1180248.8333
4 | 2551205.2941 | 1180238.2051 | 2551193.8933 | 1180229.3342
5 | 2551205.2941 | 1180238.2051 | 2551207.4798 | 1180240.5827
6 | 2551216.1375 | 1180250.0008 | 2551207.4798 | 1180240.5827
7 | 2551270.4522 | 1180399.2837 | 2551266.5529 | 1180377.7816 | 2551265.2358 | 1180371.875
8 | 2551272.719 | 1180411.7831 | 2551270.4522 | 1180399.2837
9 | 2551264.9517 | 1180370.6011 | 2551265.2358 | 1180371.875
10 | 2551272.719 | 1180411.7831 | 2551282.047 | 1180460.8639
11 | 2551272.719 | 1180411.7831 | 2551279.1063 | 1180410.1413 | 2551292.5277 | 1180404.6216
12 | 2551264.9517 | 1180370.6011 | 2551262.4856 | 1180359.5417
13 | 2551285.2479 | 1180477.7058 | 2551282.047 | 1180460.8639
14 | 2551308.1639 | 1180394.474 | 2551305.857 | 1180399.1398 | 2551292.5277 | 1180404.6216
15 | 2551248.6247 | 1180311.0803 | 2551251.5497 | 1180320.406 | 2551259.2037 | 1180344.8235 | 2551262.4856 | 1180359.5417
16 | 2551292.2145 | 1180514.369 | 2551285.2479 | 1180477.7058
17 | 2551248.6247 | 1180311.0803 | 2551260.5355 | 1180301.4349
18 | 2551248.6247 | 1180311.0803 | 2551244.9915 | 1180302.6896
19 | 2551292.2145 | 1180514.369 | 2551351.7028 | 1180488.5598
20 | 2551292.2145 | 1180514.369 | 2551298.439 | 1180539.1232
21 | 2551234.4353 | 1180278.9292 | 2551229.117 | 1180267.1043 | 2551224.799 | 1180261.4144
22 | 2551234.4353 | 1180278.9292 | 2551235.5077 | 1180281.3136
23 | 2551216.1375 | 1180250.0008 | 2551224.799 | 1180261.4144
24 | 2551239.8765 | 1180291.0273 | 2551235.5077 | 1180281.3136
25 | 2551216.1375 | 1180250.0008 | 2551228.9141 | 1180230.4872
26 | 2551239.8765 | 1180291.0273 | 2551241.6261 | 1180294.9174 | 2551242.1623 | 1180296.1557
27 | 2551228.9141 | 1180230.4872 | 2551242.245 | 1180210.127
28 | 2551244.9049 | 1180302.4897 | 2551242.1623 | 1180296.1557
29 | 2551256.8378 | 1180194.2054 | 2551247.3711 | 1180202.2981 | 2551242.245 | 1180210.127
30 | 2551244.9915 | 1180302.6896 | 2551244.9049 | 1180302.4897
31 | 2551260.5355 | 1180301.4349 | 2551270.6606 | 1180293.2355 | 2551275.76 | 1180289.2976
32 | 2551275.76 | 1180289.2976 | 2551285.5304 | 1180281.7526 | 2551292.7819 | 1180276.1555
33 | 2551377.6069 | 1180250.149 | 2551362.4726 | 1180259.8548
34 | 2551348.8057 | 1180268.6195 | 2551362.4726 | 1180259.8548
35 | 2551334.7544 | 1180246.4773 | 2551348.8057 | 1180268.6195
36 | 2551348.8057 | 1180268.6195 | 2551382.7957 | 1180322.1622
37 | 2551334.7544 | 1180246.4773 | 2551321.388 | 1180228.7208 | 2551318.1217 | 1180221.5769
38 | 2551318.1217 | 1180221.5769 | 2551313.4946 | 1180211.4646
39 | 2551318.1217 | 1180221.5769 | 2551307.8311 | 1180220.9748
40 | 2551298.7371 | 1180193.0423 | 2551313.4946 | 1180211.4646
41 | 2551307.8311 | 1180220.9748 | 2551302.6085 | 1180220.6693 | 2551297.3452 | 1180216.8545 | 2551292.9128 | 1180214.0911
42 | 2551156.7903 | 1180200.4633 | 2551147.5328 | 1180193.2581
43 | 2551119.2349 | 1180171.2898 | 2551122.9718 | 1180174.1422 | 2551147.5328 | 1180193.2581
44 | 2551162.9609 | 1180205.2659 | 2551156.7903 | 1180200.4633
45 | 2551097.4846 | 1180154.6874 | 2551119.2349 | 1180171.2898
46 | 2551162.9609 | 1180205.2659 | 2551173.0691 | 1180191.3061
47 | 2551162.9609 | 1180205.2659 | 2551169.1726 | 1180210.0992
48 | 2551173.0691 | 1180191.3061 | 2551185.8502 | 1180173.6549
49 | 2551185.9376 | 1180173.5342 | 2551185.8502 | 1180173.6549
50 | 2551291.4538 | 1180183.9502 | 2551298.7371 | 1180193.0423
51 | 2551256.8378 | 1180194.2054 | 2551240.4273 | 1180184.4339 | 2551234.9403 | 1180181.2933
52 | 2551256.8378 | 1180194.2054 | 2551259.7127 | 1180191.7473
53 | 2551351.7028 | 1180488.5598 | 2551362.6784 | 1180507.0027
54 | 2551317.2446 | 1180573.5308 | 2551308.4171 | 1180563.4416 | 2551299.8556 | 1180544.7567 | 2551298.439 | 1180539.1232
55 | 2551317.2446 | 1180573.5308 | 2551322.2083 | 1180578.6553
56 | 2551322.2083 | 1180578.6553 | 2551339.4058 | 1180596.4104
57 | 2551348.2019 | 1180605.4916 | 2551339.4058 | 1180596.4104
58 | 2551259.7127 | 1180191.7473 | 2551261.5681 | 1180190.1605
59 | 2551273.8361 | 1180175.8237 | 2551266.6155 | 1180185.8435 | 2551261.5681 | 1180190.1605
60 | 2551273.8361 | 1180175.8237 | 2551287.5969 | 1180179.1356
61 | 2551273.8361 | 1180175.8237 | 2551275.7308 | 1180171.8121
62 | 2551214.2687 | 1180169.4619 | 2551234.9403 | 1180181.2933
63 | 2551287.5969 | 1180179.1356 | 2551291.4538 | 1180183.9502
64 | 2551287.5969 | 1180179.1356 | 2551302.7324 | 1180164.9184
65 | 2551282.8918 | 1180156.6506 | 2551275.7308 | 1180171.8121
66 | 2551196.3235 | 1180159.1909 | 2551214.2687 | 1180169.4619
67 | 2551282.8918 | 1180156.6506 | 2551278.7854 | 1180146.2078
68 | 2551271.4218 | 1180127.4774 | 2551274.9436 | 1180136.4377 | 2551278.7854 | 1180146.2078
69 | 2551196.3235 | 1180159.1909 | 2551185.9376 | 1180173.5342
70 | 2551148.6954 | 1180141.1142 | 2551158.6744 | 1180137.7642 | 2551168.1095 | 1180141.7005 | 2551196.3235 | 1180159.1909

## bus_geodata
| x | y | coords
0 | 2551175.5897 | 1180270.5925
1 | 2551150.5305 | 1180300.2302
2 | 2551185.2108 | 1180260.1024
3 | 2551195.5464 | 1180248.8333
4 | 2551205.2941 | 1180238.2051
5 | 2551193.8933 | 1180229.3342
6 | 2551207.4798 | 1180240.5827
7 | 2551270.4522 | 1180399.2837
8 | 2551265.2358 | 1180371.875
9 | 2551272.719 | 1180411.7831
10 | 2551264.9517 | 1180370.6011
11 | 2551282.047 | 1180460.8639
12 | 2551292.5277 | 1180404.6216
13 | 2551262.4856 | 1180359.5417
14 | 2551285.2479 | 1180477.7058
15 | 2551308.1639 | 1180394.474
16 | 2551248.6247 | 1180311.0803
17 | 2551292.2145 | 1180514.369
18 | 2551234.4353 | 1180278.9292
19 | 2551224.799 | 1180261.4144
20 | 2551235.5077 | 1180281.3136
21 | 2551216.1375 | 1180250.0008
22 | 2551239.8765 | 1180291.0273
23 | 2551228.9141 | 1180230.4872
24 | 2551242.1623 | 1180296.1557
25 | 2551242.245 | 1180210.127
26 | 2551244.9049 | 1180302.4897
27 | 2551244.9915 | 1180302.6896
28 | 2551260.5355 | 1180301.4349
29 | 2551275.76 | 1180289.2976
30 | 2551362.4726 | 1180259.8548
31 | 2551377.6069 | 1180250.149
32 | 2551348.8057 | 1180268.6195
33 | 2551334.7544 | 1180246.4773
34 | 2551382.7957 | 1180322.1622
35 | 2551318.1217 | 1180221.5769
36 | 2551313.4946 | 1180211.4646
37 | 2551307.8311 | 1180220.9748
38 | 2551292.7819 | 1180276.1555
39 | 2551147.5328 | 1180193.2581
40 | 2551156.7903 | 1180200.4633
41 | 2551119.2349 | 1180171.2898
42 | 2551162.9609 | 1180205.2659
43 | 2551097.4846 | 1180154.6874
44 | 2551173.0691 | 1180191.3061
45 | 2551169.1726 | 1180210.0992
46 | 2551185.8502 | 1180173.6549
47 | 2551298.7371 | 1180193.0423
48 | 2551292.9128 | 1180214.0911
49 | 2551256.8378 | 1180194.2054
50 | 2551351.7028 | 1180488.5598
51 | 2551298.439 | 1180539.1232
52 | 2551362.6784 | 1180507.0027
53 | 2551317.2446 | 1180573.5308
54 | 2551322.2083 | 1180578.6553
55 | 2551339.4058 | 1180596.4104
56 | 2551348.2019 | 1180605.4916
57 | 2551259.7127 | 1180191.7473
58 | 2551261.5681 | 1180190.1605
59 | 2551273.8361 | 1180175.8237
60 | 2551234.9403 | 1180181.2933
61 | 2551291.4538 | 1180183.9502
62 | 2551287.5969 | 1180179.1356
63 | 2551275.7308 | 1180171.8121
64 | 2551214.2687 | 1180169.4619
65 | 2551302.7324 | 1180164.9184
66 | 2551282.8918 | 1180156.6506
67 | 2551278.7854 | 1180146.2078
68 | 2551271.4218 | 1180127.4774
69 | 2551185.9376 | 1180173.5342
70 | 2551196.3235 | 1180159.1909
71 | 2551148.6954 | 1180141.1142
72 | 2551248.6247 | 1180311.0803

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1