## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5831-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5831-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5831-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5831-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5831-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5831-17_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5831-17_0_4_node_78 | 0.4 | n |  | TRUE
7 | bus_LV_5831-17_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5831-17_0_4_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_5831-17_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5831-17_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5831-17_0_4_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_5831-17_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5831-17_0_4_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_5831-17_0_4_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_5831-17_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5831-17_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5831-17_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5831-17_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_5831-17_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_5831-17_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5831-17_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5831-17_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5831-17_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5831-17_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_5831-17_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_5831-17_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_5831-17_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_5831-17_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5831-17_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5831-17_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5831-17_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5831-17_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5831-17_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5831-17_0_4_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_5831-17_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5831-17_0_4_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_5831-17_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5831-17_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5831-17_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5831-17_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5831-17_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5831-17_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5831-17_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5831-17_0_4_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_5831-17_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5831-17_0_4_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_5831-17_0_4_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_5831-17_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_5831-17_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5831-17_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5831-17_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5831-17_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_5831-17_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5831-17_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_5831-17_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_5831-17_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5831-17_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_5831-17_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5831-17_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5831-17_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5831-17_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_5831-17_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5831-17_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5831-17_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5831-17_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5831-17_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5831-17_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5831-17_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5831-17_0_4_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_5831-17_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_5831-17_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5831-17_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5831-17_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_5831-17_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_5831-17_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5831-17_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_5831-17_0_4_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_5831-17_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_5831-17_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_5831-17_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_5831-17_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_5831-17_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_MV_478_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5831-17_0_4_load_0 | 0 | 0.00078275 | 0.00019618 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5831-17_0_4_load_1 | 1 | 0.0014782 | 0.00037048 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5831-17_0_4_load_3 | 3 | 0.00079932 | 0.00020033 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5831-17_0_4_load_4 | 4 | 0.00040016 | 0.00010029 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5831-17_0_4_load_5 | 5 | 0.00040028 | 0.00010032 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5831-17_0_4_load_78 | 6 | 0.0020204 | 0.00050637 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5831-17_0_4_load_6 | 7 | 0.0016733 | 0.00041937 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5831-17_0_4_load_79 | 8 | 0.0012001 | 0.00030078 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5831-17_0_4_load_8 | 9 | 0.0010234 | 0.0002565 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5831-17_0_4_load_9 | 10 | 0.00053975 | 0.00013527 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5831-17_0_4_load_77 | 11 | 0.0084024 | 0.0021058 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5831-17_0_4_load_10 | 12 | 0.0011821 | 0.00029627 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5831-17_0_4_load_84 | 14 | 0.076992 | 0.019296 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5831-17_0_4_load_11 | 15 | 0.0023686 | 0.00059364 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5831-17_0_4_load_31 | 18 | 0.00089299 | 0.00022381 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5831-17_0_4_load_25 | 19 | 0.00087161 | 0.00021845 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5831-17_0_4_load_13 | 20 | 0.020115 | 0.0050413 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5831-17_0_4_load_15 | 22 | 0.0012958 | 0.00032476 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5831-17_0_4_load_16 | 23 | 0.0014784 | 0.00037053 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5831-17_0_4_load_34 | 24 | 0.0015277 | 0.00038287 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5831-17_0_4_load_43 | 25 | 0.0013764 | 0.00034495 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5831-17_0_4_load_44 | 27 | 0.0014456 | 0.00036229 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5831-17_0_4_load_24 | 28 | 0.00089989 | 0.00022553 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5831-17_0_4_load_18 | 29 | 0.00097101 | 0.00024336 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5831-17_0_4_load_19 | 30 | 0.0004582 | 0.00011484 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5831-17_0_4_load_20 | 31 | 0.00077891 | 0.00019521 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5831-17_0_4_load_22 | 33 | 0.00066139 | 0.00016576 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5831-17_0_4_load_82 | 34 | 0.0010488 | 0.00026286 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5831-17_0_4_load_23 | 35 | 0.0002774 | 6.9522e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5831-17_0_4_load_80 | 36 | 0.0002724 | 6.8269e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5831-17_0_4_load_26 | 37 | 0.00068845 | 0.00017254 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5831-17_0_4_load_27 | 38 | 0.00041785 | 0.00010472 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5831-17_0_4_load_28 | 39 | 0.00047359 | 0.00011869 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5831-17_0_4_load_30 | 41 | 0.0011355 | 0.00028459 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5831-17_0_4_load_37 | 42 | 0.0040951 | 0.0010263 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5831-17_0_4_load_38 | 43 | 0.0019096 | 0.00047858 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5831-17_0_4_load_63 | 44 | 0.00053394 | 0.00013382 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5831-17_0_4_load_65 | 46 | 0.0049299 | 0.0012356 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5831-17_0_4_load_64 | 47 | 0.0010442 | 0.00026171 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5831-17_0_4_load_33 | 48 | 0.00067994 | 0.00017041 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5831-17_0_4_load_35 | 49 | 0.0018148 | 0.00045483 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5831-17_0_4_load_39 | 50 | 0.0016805 | 0.00042117 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5831-17_0_4_load_40 | 51 | 0.0012421 | 0.00031129 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5831-17_0_4_load_41 | 53 | 0.0015606 | 0.00039113 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5831-17_0_4_load_42 | 54 | 0.0015421 | 0.00038648 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5831-17_0_4_load_45 | 55 | 0.0015383 | 0.00038553 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5831-17_0_4_load_46 | 56 | 0.0013478 | 0.0003378 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5831-17_0_4_load_50 | 57 | 0.018448 | 0.0046236 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5831-17_0_4_load_52 | 58 | 0.001766 | 0.0004426 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5831-17_0_4_load_47 | 59 | 0.0015448 | 0.00038717 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5831-17_0_4_load_48 | 60 | 0.0011996 | 0.00030066 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5831-17_0_4_load_53 | 61 | 0.0012001 | 0.00030078 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5831-17_0_4_load_54 | 62 | 0.00040044 | 0.00010036 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5831-17_0_4_load_51 | 63 | 0.0014036 | 0.00035177 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5831-17_0_4_load_55 | 64 | 0.0012302 | 0.00030831 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5831-17_0_4_load_56 | 65 | 0.0015901 | 0.00039851 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5831-17_0_4_load_57 | 66 | 0.0047742 | 0.0011965 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5831-17_0_4_load_58 | 67 | 0.0027214 | 0.00068205 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5831-17_0_4_load_59 | 68 | 0.0012028 | 0.00030146 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5831-17_0_4_load_81 | 69 | 0.0015849 | 0.00039722 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5831-17_0_4_load_60 | 70 | 0.0020991 | 0.00052607 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5831-17_0_4_load_68 | 71 | 0.0045565 | 0.001142 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5831-17_0_4_load_61 | 72 | 0.0011893 | 0.00029808 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5831-17_0_4_load_62 | 73 | 0.0017575 | 0.00044046 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5831-17_0_4_load_71 | 75 | 0.0017758 | 0.00044506 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5831-17_0_4_load_69 | 76 | 0.0021115 | 0.00052919 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5831-17_0_4_load_83 | 77 | 0.0027221 | 0.00068221 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5831-17_0_4_load_70 | 78 | 0.0040561 | 0.0010166 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5831-17_0_4_load_72 | 80 | 0.0023386 | 0.00058612 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5831-17_0_4_load_75 | 82 | 0.003595 | 0.00090099 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5831-17_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.033833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5831-17_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0060862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5831-17_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.019538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5831-17_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5831-17_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0057589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5831-17_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.019981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5831-17_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.030573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5831-17_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0012617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5831-17_0_4_line_8 | NAYY 4x150 SE | 8 | 62 | 0.00025457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5831-17_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0081984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5831-17_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.11887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5831-17_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.015084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_5831-17_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.016251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_5831-17_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.30821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5831-17_0_4_line_14 | NAYY 4x150 SE | 13 | 58 | 0.033866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5831-17_0_4_line_15 | NAYY 4x150 SE | 13 | 27 | 0.029922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5831-17_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.037466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5831-17_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.006206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5831-17_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.021638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5831-17_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.033616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5831-17_0_4_line_20 | NAYY 4x150 SE | 18 | 26 | 0.032861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5831-17_0_4_line_21 | NAYY 4x150 SE | 19 | 28 | 0.023053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5831-17_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.041716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5831-17_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.023726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5831-17_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0055717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5831-17_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.027499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5831-17_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.024495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5831-17_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.019348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5831-17_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.024234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5831-17_0_4_line_29 | NAYY 4x150 SE | 26 | 48 | 0.0056477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5831-17_0_4_line_30 | NAYY 4x150 SE | 27 | 57 | 0.040842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5831-17_0_4_line_31 | NAYY 4x150 SE | 28 | 33 | 0.017906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5831-17_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.011815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5831-17_0_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0098558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5831-17_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.033603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5831-17_0_4_line_35 | NAYY 4x150 SE | 31 | 33 | 0.022092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5831-17_0_4_line_36 | NAYY 4x150 SE | 31 | 34 | 0.057074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5831-17_0_4_line_37 | NAYY 4x150 SE | 32 | 35 | 0.019906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5831-17_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.014188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5831-17_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.032732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5831-17_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.018326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5831-17_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.015067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5831-17_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.053046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5831-17_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.035925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_5831-17_0_4_line_44 | NAYY 4x150 SE | 40 | 43 | 0.038631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_5831-17_0_4_line_45 | NAYY 4x150 SE | 41 | 44 | 0.00013231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5831-17_0_4_line_46 | NAYY 4x150 SE | 42 | 45 | 0.026503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_5831-17_0_4_line_47 | NAYY 4x150 SE | 43 | 46 | 0.0060819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_5831-17_0_4_line_48 | NAYY 4x150 SE | 44 | 47 | 0.0022283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5831-17_0_4_line_49 | NAYY 4x150 SE | 45 | 50 | 0.0091094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_5831-17_0_4_line_50 | NAYY 4x150 SE | 45 | 49 | 0.029349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5831-17_0_4_line_51 | NAYY 4x150 SE | 46 | 52 | 0.015403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_5831-17_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0033998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_5831-17_0_4_line_53 | NAYY 4x150 SE | 51 | 53 | 0.01953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5831-17_0_4_line_54 | NAYY 4x150 SE | 52 | 74 | 0.030229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5831-17_0_4_line_55 | NAYY 4x150 SE | 52 | 71 | 0.031362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_5831-17_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0088559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_5831-17_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.012282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5831-17_0_4_line_58 | NAYY 4x150 SE | 55 | 56 | 0.014074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_5831-17_0_4_line_59 | NAYY 4x150 SE | 56 | 59 | 0.0099455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_5831-17_0_4_line_60 | NAYY 4x150 SE | 58 | 63 | 0.02174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_5831-17_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.027318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_5831-17_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0026573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_5831-17_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.021599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5831-17_0_4_line_64 | NAYY 4x150 SE | 61 | 63 | 0.025646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_5831-17_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.022814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_5831-17_0_4_line_66 | NAYY 4x150 SE | 64 | 66 | 0.011002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5831-17_0_4_line_67 | NAYY 4x150 SE | 65 | 67 | 0.0012477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_5831-17_0_4_line_68 | NAYY 4x150 SE | 66 | 68 | 0.011913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5831-17_0_4_line_69 | NAYY 4x150 SE | 67 | 69 | 0.02173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_5831-17_0_4_line_70 | NAYY 4x150 SE | 68 | 70 | 0.015699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5831-17_0_4_line_71 | NAYY 4x150 SE | 69 | 71 | 0.011019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_5831-17_0_4_line_72 | NAYY 4x150 SE | 70 | 72 | 0.0013455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5831-17_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0036497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5831-17_0_4_line_74 | NAYY 4x150 SE | 74 | 75 | 0.032862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_5831-17_0_4_line_75 | NAYY 4x150 SE | 74 | 76 | 0.065929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5831-17_0_4_line_76 | NAYY 4x150 SE | 75 | 77 | 0.01826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_5831-17_0_4_line_77 | NAYY 4x150 SE | 76 | 78 | 0.0013112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5831-17_0_4_line_78 | NAYY 4x150 SE | 77 | 79 | 0.051197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_5831-17_0_4_line_79 | NAYY 4x150 SE | 79 | 81 | 0.056953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5831-17_0_4_line_80 | NAYY 4x150 SE | 80 | 81 | 0.034239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5831-17_0_4_line_81 | NAYY 4x150 SE | 81 | 82 | 0.015465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5831-17_0_4_trafo_8 | 0.25 MVA 20/0.4 kV | 83 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2557723.6673 | 1179418.4285 | 2557721.9012 | 1179419.2171 | 2557711.1508 | 1179424.3291 | 2557707.4612 | 1179424.3552 | 2557703.089 | 1179423.9859 | 2557699.3858 | 1179421.0105 | 2557695.2645 | 1179415.1467
1 | 2557729.1805 | 1179415.8527 | 2557726.5313 | 1179417.1499 | 2557723.6673 | 1179418.4285
2 | 2557729.1805 | 1179415.8527 | 2557746.8682 | 1179407.5545
3 | 2557729.1805 | 1179415.8527 | 2557731.8455 | 1179422.1706 | 2557735.0143 | 1179429.0095
4 | 2557746.8682 | 1179407.5545 | 2557752.0819 | 1179405.1085
5 | 2557743.4144 | 1179447.1385 | 2557735.0143 | 1179429.0095
6 | 2557779.7601 | 1179392.1232 | 2557752.0819 | 1179405.1085
7 | 2557743.4144 | 1179447.1385 | 2557743.9448 | 1179448.2834
8 | 2557743.9448 | 1179448.2834 | 2557744.0518 | 1179448.5144
9 | 2557549.6227 | 1179441.2547 | 2557545.7756 | 1179435.9845 | 2557545.0559 | 1179434.4738
10 | 2557664.4583 | 1179471.9632 | 2557549.6227 | 1179441.2547
11 | 2557538.568 | 1179420.8564 | 2557545.0559 | 1179434.4738
12 | 2557673.7225 | 1179485.3153 | 2557664.4583 | 1179471.9632
13 | 2557538.568 | 1179420.8564 | 2557258.8672 | 1179291.3835
14 | 2557673.7225 | 1179485.3153 | 2557706.8207 | 1179478.1447
15 | 2557689.091 | 1179511.0092 | 2557673.7225 | 1179485.3153
16 | 2557712.1534 | 1179649.2422 | 2557698.2241 | 1179634.7107 | 2557688.4208 | 1179620.412
17 | 2557716.4553 | 1179653.7253 | 2557712.1534 | 1179649.2422
18 | 2557716.4553 | 1179653.7253 | 2557732.2066 | 1179638.8893
19 | 2557716.4553 | 1179653.7253 | 2557741.3988 | 1179676.2606
20 | 2557756.1276 | 1179616.3583 | 2557732.2066 | 1179638.8893
21 | 2557758.5049 | 1179691.7152 | 2557741.3988 | 1179676.2606
22 | 2557717.8571 | 1179557.0637 | 2557705.1518 | 1179564.4019 | 2557678.1095 | 1179564.1683
23 | 2557717.8571 | 1179557.0637 | 2557730.7232 | 1179576.9979
24 | 2557717.8571 | 1179557.0637 | 2557714.9054 | 1179552.3381
25 | 2557745.6356 | 1179600.1026 | 2557730.7232 | 1179576.9979
26 | 2557714.9054 | 1179552.3381 | 2557701.9291 | 1179531.563
27 | 2557756.1276 | 1179616.3583 | 2557745.6356 | 1179600.1026
28 | 2557689.091 | 1179511.0092 | 2557701.9291 | 1179531.563
29 | 2557756.1276 | 1179616.3583 | 2557760.4808 | 1179612.7602
30 | 2557689.091 | 1179511.0092 | 2557648.1295 | 1179510.9323
31 | 2557771.7917 | 1179703.7192 | 2557758.5049 | 1179691.7152
32 | 2557804.2648 | 1179733.0572 | 2557795.4978 | 1179725.1366
33 | 2557788.1846 | 1179718.5295 | 2557795.4978 | 1179725.1366
34 | 2557829.1987 | 1179755.5838 | 2557804.2648 | 1179733.0572
35 | 2557788.1846 | 1179718.5295 | 2557771.7917 | 1179703.7192
36 | 2557788.1846 | 1179718.5295 | 2557747.3341 | 1179758.3882
37 | 2557829.1987 | 1179755.5838 | 2557828.0862 | 1179765.7304 | 2557826.6167 | 1179775.3174
38 | 2557823.4254 | 1179789.1337 | 2557825.2234 | 1179782.215 | 2557826.3701 | 1179776.9263 | 2557826.6167 | 1179775.3174
39 | 2557830.3437 | 1179650.176 | 2557831.2502 | 1179638.1511 | 2557838.378 | 1179618.746
40 | 2557828.966 | 1179668.45 | 2557830.3437 | 1179650.176
41 | 2557846.3853 | 1179605.9827 | 2557838.378 | 1179618.746 | 2557838.378 | 1179618.746
42 | 2557828.966 | 1179668.45 | 2557850.8428 | 1179662.8817 | 2557879.9751 | 1179653.9476
43 | 2557846.3853 | 1179605.9827 | 2557824.744 | 1179577.3072
44 | 2557846.3853 | 1179605.9827 | 2557870.7947 | 1179576.0402
45 | 2557879.9751 | 1179653.9476 | 2557880.1016 | 1179653.9088
46 | 2557802.9522 | 1179562.9993 | 2557821.2318 | 1179572.6534 | 2557824.744 | 1179577.3072
47 | 2557874.6243 | 1179571.3154 | 2557872.1353 | 1179574.3956 | 2557870.7947 | 1179576.0402
48 | 2557882.232 | 1179653.2555 | 2557880.1016 | 1179653.9088
49 | 2557802.9522 | 1179562.9993 | 2557798.7176 | 1179554.934
50 | 2557802.9522 | 1179562.9993 | 2557804.2854 | 1179576.5527 | 2557792.1612 | 1179586.5742
51 | 2557884.3051 | 1179559.3352 | 2557874.6243 | 1179571.3154
52 | 2557797.1372 | 1179551.9239 | 2557798.7176 | 1179554.934
53 | 2557797.1372 | 1179551.9239 | 2557788.0584 | 1179534.6324
54 | 2557884.3051 | 1179559.3352 | 2557903.5285 | 1179535.9652
55 | 2557884.3051 | 1179559.3352 | 2557869.3432 | 1179531.7719
56 | 2557783.9416 | 1179526.7915 | 2557788.0584 | 1179534.6324
57 | 2557783.9416 | 1179526.7915 | 2557778.2321 | 1179515.917
58 | 2557771.6896 | 1179503.4562 | 2557778.2321 | 1179515.917
59 | 2557771.6896 | 1179503.4562 | 2557767.0663 | 1179494.6506
60 | 2557728.0673 | 1179473.5416 | 2557706.8207 | 1179478.1447
61 | 2557767.0663 | 1179494.6506 | 2557754.3674 | 1179470.4641
62 | 2557753.1321 | 1179468.1114 | 2557754.3674 | 1179470.4641
63 | 2557753.1321 | 1179468.1114 | 2557744.0518 | 1179448.5144
64 | 2557753.1321 | 1179468.1114 | 2557728.0673 | 1179473.5416
65 | 2557842.241 | 1179481.8436 | 2557853.1246 | 1179501.8937
66 | 2557842.241 | 1179481.8436 | 2557836.9921 | 1179472.1739
67 | 2557853.1246 | 1179501.8937 | 2557853.7199 | 1179502.9903
68 | 2557831.3086 | 1179461.7037 | 2557836.9921 | 1179472.1739
69 | 2557864.0864 | 1179522.0876 | 2557853.7199 | 1179502.9903
70 | 2557831.3086 | 1179461.7037 | 2557823.8191 | 1179447.9064
71 | 2557864.0864 | 1179522.0876 | 2557869.3432 | 1179531.7719
72 | 2557823.1772 | 1179446.7239 | 2557823.8191 | 1179447.9064
73 | 2557821.4361 | 1179443.5163 | 2557823.1772 | 1179446.7239
74 | 2557903.5285 | 1179535.9652 | 2557919.0641 | 1179507.0072
75 | 2557903.5285 | 1179535.9652 | 2557919.4074 | 1179571.3946 | 2557925.8472 | 1179576.83 | 2557936.1334 | 1179576.324 | 2557943.8451 | 1179573.0495
76 | 2557919.0641 | 1179507.0072 | 2557927.6967 | 1179490.9162
77 | 2557945.0521 | 1179572.5371 | 2557943.8451 | 1179573.0495
78 | 2557944.2558 | 1179443.0513 | 2557943.7969 | 1179451.6591 | 2557939.994 | 1179464.8929 | 2557933.169 | 1179480.716 | 2557927.6967 | 1179490.9162
79 | 2557944.2558 | 1179443.0513 | 2557962.3612 | 1179465.9363 | 2557979.4511 | 1179487.8279
80 | 2557979.4511 | 1179487.8279 | 2558001.4295 | 1179514.0822
81 | 2557966.9799 | 1179497.0204 | 2557979.4511 | 1179487.8279

## bus_geodata
| x | y | coords
0 | 2557723.6673 | 1179418.4285
1 | 2557695.2645 | 1179415.1467
2 | 2557729.1805 | 1179415.8527
3 | 2557746.8682 | 1179407.5545
4 | 2557735.0143 | 1179429.0095
5 | 2557752.0819 | 1179405.1085
6 | 2557743.4144 | 1179447.1385
7 | 2557779.7601 | 1179392.1232
8 | 2557743.9448 | 1179448.2834
9 | 2557549.6227 | 1179441.2547
10 | 2557545.0559 | 1179434.4738
11 | 2557664.4583 | 1179471.9632
12 | 2557538.568 | 1179420.8564
13 | 2557673.7225 | 1179485.3153
14 | 2557258.8672 | 1179291.3835
15 | 2557688.4208 | 1179620.412
16 | 2557712.1534 | 1179649.2422
17 | 2557716.4553 | 1179653.7253
18 | 2557732.2066 | 1179638.8893
19 | 2557741.3988 | 1179676.2606
20 | 2557678.1095 | 1179564.1683
21 | 2557717.8571 | 1179557.0637
22 | 2557730.7232 | 1179576.9979
23 | 2557714.9054 | 1179552.3381
24 | 2557745.6356 | 1179600.1026
25 | 2557701.9291 | 1179531.563
26 | 2557756.1276 | 1179616.3583
27 | 2557689.091 | 1179511.0092
28 | 2557758.5049 | 1179691.7152
29 | 2557795.4977 | 1179725.1366
30 | 2557804.2648 | 1179733.0572
31 | 2557788.1846 | 1179718.5295
32 | 2557829.1987 | 1179755.5838
33 | 2557771.7917 | 1179703.7192
34 | 2557747.3341 | 1179758.3882
35 | 2557826.6167 | 1179775.3174
36 | 2557823.4254 | 1179789.1337
37 | 2557830.3437 | 1179650.176
38 | 2557838.378 | 1179618.746
39 | 2557828.966 | 1179668.45
40 | 2557846.3853 | 1179605.9827
41 | 2557879.9751 | 1179653.9476
42 | 2557824.744 | 1179577.3072
43 | 2557870.7947 | 1179576.0402
44 | 2557880.1016 | 1179653.9088
45 | 2557802.9522 | 1179562.9993
46 | 2557874.6243 | 1179571.3154
47 | 2557882.232 | 1179653.2555
48 | 2557760.4807 | 1179612.7602
49 | 2557792.1612 | 1179586.5742
50 | 2557798.7176 | 1179554.934
51 | 2557797.1372 | 1179551.9239
52 | 2557884.3051 | 1179559.3352
53 | 2557788.0584 | 1179534.6324
54 | 2557783.9416 | 1179526.7915
55 | 2557778.2321 | 1179515.917
56 | 2557771.6896 | 1179503.4562
57 | 2557648.1295 | 1179510.9323
58 | 2557706.8207 | 1179478.1447
59 | 2557767.0663 | 1179494.6506
60 | 2557754.3674 | 1179470.4641
61 | 2557753.1321 | 1179468.1114
62 | 2557744.0518 | 1179448.5144
63 | 2557728.0673 | 1179473.5416
64 | 2557842.241 | 1179481.8436
65 | 2557853.1246 | 1179501.8937
66 | 2557836.9921 | 1179472.1739
67 | 2557853.7199 | 1179502.9903
68 | 2557831.3086 | 1179461.7037
69 | 2557864.0864 | 1179522.0876
70 | 2557823.8191 | 1179447.9064
71 | 2557869.3432 | 1179531.7719
72 | 2557823.1772 | 1179446.7239
73 | 2557821.4361 | 1179443.5163
74 | 2557903.5285 | 1179535.9652
75 | 2557919.0641 | 1179507.0072
76 | 2557943.8451 | 1179573.0495
77 | 2557927.6967 | 1179490.9162
78 | 2557945.0521 | 1179572.5371
79 | 2557944.2558 | 1179443.0513
80 | 2558001.4295 | 1179514.0822
81 | 2557979.4511 | 1179487.8279
82 | 2557966.9799 | 1179497.0204
83 | 2557505.073 | 1179330.5282

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1