## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5831-3_2_2_node_20 | 0.4 | n |  | TRUE
1 | bus_LV_5831-3_2_2_node_36 | 0.4 | n |  | TRUE
2 | bus_LV_5831-3_2_2_node_38 | 0.4 | n |  | TRUE
3 | bus_LV_5831-3_2_2_node_33 | 0.4 | n |  | TRUE
4 | bus_LV_5831-3_2_2_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_5831-3_2_2_node_120 | 0.4 | n |  | TRUE
6 | bus_LV_5831-3_2_2_node_122 | 0.4 | n |  | TRUE
7 | bus_LV_5831-3_2_2_node_116 | 0.4 | n |  | TRUE
8 | bus_LV_5831-3_2_2_node_114 | 0.4 | n |  | TRUE
9 | bus_LV_5831-3_2_2_node_184 | 0.4 | n |  | TRUE
10 | bus_LV_5831-3_2_2_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_5831-3_2_2_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_5831-3_2_2_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_5831-3_2_2_node_101 | 0.4 | n |  | TRUE
14 | bus_LV_5831-3_2_2_node_100 | 0.4 | n |  | TRUE
15 | bus_LV_5831-3_2_2_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_5831-3_2_2_node_118 | 0.4 | n |  | TRUE
17 | bus_LV_5831-3_2_2_node_119 | 0.4 | n |  | TRUE
18 | bus_LV_5831-3_2_2_node_121 | 0.4 | n |  | TRUE
19 | bus_LV_5831-3_2_2_node_117 | 0.4 | n |  | TRUE
20 | bus_LV_5831-3_2_2_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_5831-3_2_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_5831-3_2_2_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_5831-3_2_2_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_5831-3_2_2_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_5831-3_2_2_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_5831-3_2_2_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_5831-3_2_2_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_5831-3_2_2_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5831-3_2_2_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5831-3_2_2_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_5831-3_2_2_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_5831-3_2_2_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_5831-3_2_2_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_5831-3_2_2_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_5831-3_2_2_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_5831-3_2_2_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_5831-3_2_2_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_5831-3_2_2_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_5831-3_2_2_node_102 | 0.4 | n |  | TRUE
40 | bus_LV_5831-3_2_2_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_5831-3_2_2_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_5831-3_2_2_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_5831-3_2_2_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_5831-3_2_2_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_5831-3_2_2_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_5831-3_2_2_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5831-3_2_2_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_5831-3_2_2_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5831-3_2_2_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_5831-3_2_2_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_5831-3_2_2_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_5831-3_2_2_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_5831-3_2_2_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_5831-3_2_2_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_5831-3_2_2_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_5831-3_2_2_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_5831-3_2_2_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5831-3_2_2_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_5831-3_2_2_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_5831-3_2_2_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_5831-3_2_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5831-3_2_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_5831-3_2_2_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_5831-3_2_2_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_5831-3_2_2_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5831-3_2_2_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_5831-3_2_2_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5831-3_2_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5831-3_2_2_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_5831-3_2_2_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_5831-3_2_2_node_186 | 0.4 | n |  | TRUE
72 | bus_LV_5831-3_2_2_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_5831-3_2_2_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5831-3_2_2_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_5831-3_2_2_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5831-3_2_2_node_180 | 0.4 | n |  | TRUE
77 | bus_LV_5831-3_2_2_node_174 | 0.4 | n |  | TRUE
78 | bus_LV_5831-3_2_2_node_178 | 0.4 | n |  | TRUE
79 | bus_LV_5831-3_2_2_node_173 | 0.4 | n |  | TRUE
80 | bus_LV_5831-3_2_2_node_176 | 0.4 | n |  | TRUE
81 | bus_LV_5831-3_2_2_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5831-3_2_2_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_5831-3_2_2_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_5831-3_2_2_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_5831-3_2_2_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_5831-3_2_2_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_5831-3_2_2_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_5831-3_2_2_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_5831-3_2_2_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_5831-3_2_2_node_111 | 0.4 | n |  | TRUE
91 | bus_LV_5831-3_2_2_node_112 | 0.4 | n |  | TRUE
92 | bus_LV_5831-3_2_2_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_5831-3_2_2_node_104 | 0.4 | n |  | TRUE
94 | bus_LV_5831-3_2_2_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_5831-3_2_2_node_106 | 0.4 | n |  | TRUE
96 | bus_LV_5831-3_2_2_node_105 | 0.4 | n |  | TRUE
97 | bus_LV_5831-3_2_2_node_107 | 0.4 | n |  | TRUE
98 | bus_LV_5831-3_2_2_node_108 | 0.4 | n |  | TRUE
99 | bus_LV_5831-3_2_2_node_109 | 0.4 | n |  | TRUE
100 | bus_LV_5831-3_2_2_node_110 | 0.4 | n |  | TRUE
101 | bus_LV_5831-3_2_2_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_5831-3_2_2_node_115 | 0.4 | n |  | TRUE
103 | bus_LV_5831-3_2_2_node_175 | 0.4 | n |  | TRUE
104 | bus_LV_5831-3_2_2_node_177 | 0.4 | n |  | TRUE
105 | bus_LV_5831-3_2_2_node_179 | 0.4 | n |  | TRUE
106 | bus_MV_478_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5831-3_2_2_load_36 | 1 | 0.0017213 | 0.0004314 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5831-3_2_2_load_33 | 3 | 0.0021112 | 0.00052913 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5831-3_2_2_load_120 | 5 | 0.00067919 | 0.00017022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5831-3_2_2_load_122 | 6 | 0.0006405 | 0.00016052 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5831-3_2_2_load_116 | 7 | 0.00025197 | 6.315e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5831-3_2_2_load_184 | 9 | 0.00014074 | 3.5274e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5831-3_2_2_load_83 | 11 | 0.0018631 | 0.00046694 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5831-3_2_2_load_101 | 13 | 0.00034593 | 8.6697e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5831-3_2_2_load_100 | 14 | 0.0014579 | 0.00036538 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5831-3_2_2_load_34 | 15 | 0.0011783 | 0.0002953 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5831-3_2_2_load_118 | 16 | 0.00035371 | 8.8648e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5831-3_2_2_load_121 | 18 | 0.00056786 | 0.00014232 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5831-3_2_2_load_117 | 19 | 0.0010527 | 0.00026384 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5831-3_2_2_load_27 | 20 | 0.0021965 | 0.00055048 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5831-3_2_2_load_28 | 21 | 0.0011456 | 0.00028712 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5831-3_2_2_load_29 | 22 | 0.0042394 | 0.0010625 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5831-3_2_2_load_31 | 24 | 0.0012538 | 0.00031424 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5831-3_2_2_load_63 | 25 | 0.0011169 | 0.00027993 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5831-3_2_2_load_61 | 26 | 0.0015235 | 0.00038182 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5831-3_2_2_load_35 | 27 | 0.001424 | 0.0003569 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5831-3_2_2_load_39 | 28 | 0.00027378 | 6.8615e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5831-3_2_2_load_40 | 29 | 0.00084019 | 0.00021057 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5831-3_2_2_load_84 | 32 | 0.00076269 | 0.00019115 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5831-3_2_2_load_82 | 34 | 0.00138 | 0.00034586 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5831-3_2_2_load_91 | 36 | 0.0010987 | 0.00027537 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5831-3_2_2_load_93 | 37 | 0.00074529 | 0.00018679 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5831-3_2_2_load_97 | 38 | 0.0020091 | 0.00050354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5831-3_2_2_load_41 | 40 | 0.0023791 | 0.00059625 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5831-3_2_2_load_42 | 41 | 0.0012971 | 0.00032509 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5831-3_2_2_load_43 | 42 | 0.00024455 | 6.129e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5831-3_2_2_load_44 | 43 | 0.00034289 | 8.5936e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5831-3_2_2_load_46 | 45 | 0.00049373 | 0.00012374 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5831-3_2_2_load_50 | 47 | 0.0013936 | 0.00034926 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5831-3_2_2_load_48 | 48 | 0.00068958 | 0.00017283 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5831-3_2_2_load_51 | 49 | 0.00033147 | 8.3073e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5831-3_2_2_load_49 | 50 | 0.0011613 | 0.00029105 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5831-3_2_2_load_52 | 51 | 0.0008956 | 0.00022446 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5831-3_2_2_load_54 | 53 | 0.003409 | 0.00085439 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5831-3_2_2_load_55 | 54 | 0.00080743 | 0.00020236 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5831-3_2_2_load_56 | 55 | 0.0033306 | 0.00083473 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5831-3_2_2_load_67 | 58 | 0.00048406 | 0.00012132 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5831-3_2_2_load_68 | 59 | 0.00066796 | 0.00016741 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5831-3_2_2_load_69 | 60 | 0.00020238 | 5.0722e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5831-3_2_2_load_58 | 61 | 0.00083092 | 0.00020825 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5831-3_2_2_load_59 | 62 | 0.00087618 | 0.00021959 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5831-3_2_2_load_79 | 64 | 0.00024662 | 6.181e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5831-3_2_2_load_62 | 65 | 0.00084676 | 0.00021222 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5831-3_2_2_load_80 | 66 | 0.00024094 | 6.0385e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5831-3_2_2_load_64 | 67 | 0.0032004 | 0.00080211 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5831-3_2_2_load_65 | 68 | 0.0010009 | 0.00025085 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5831-3_2_2_load_186 | 71 | 0.00020833 | 5.2214e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5831-3_2_2_load_74 | 72 | 0.0010533 | 0.00026398 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5831-3_2_2_load_70 | 73 | 0.0030092 | 0.00075419 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5831-3_2_2_load_71 | 75 | 0.00048763 | 0.00012221 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5831-3_2_2_load_180 | 76 | 0.0002401 | 6.0175e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5831-3_2_2_load_174 | 77 | 0.00025646 | 6.4276e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5831-3_2_2_load_178 | 78 | 0.0011056 | 0.00027708 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5831-3_2_2_load_173 | 79 | 0.0007998 | 0.00020045 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5831-3_2_2_load_176 | 80 | 0.00083287 | 0.00020874 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5831-3_2_2_load_78 | 81 | 0.00075552 | 0.00018935 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5831-3_2_2_load_85 | 82 | 0.0014561 | 0.00036494 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5831-3_2_2_load_81 | 83 | 0.00030861 | 7.7346e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5831-3_2_2_load_86 | 84 | 0.00032338 | 8.1048e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5831-3_2_2_load_90 | 85 | 0.0010247 | 0.00025683 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5831-3_2_2_load_94 | 86 | 0.0005784 | 0.00014496 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5831-3_2_2_load_98 | 87 | 0.00020771 | 5.2056e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5831-3_2_2_load_95 | 88 | 0.00038668 | 9.6912e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5831-3_2_2_load_96 | 89 | 0.00087133 | 0.00021837 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5831-3_2_2_load_111 | 90 | 0.00034828 | 8.7288e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5831-3_2_2_load_112 | 91 | 0.0036055 | 0.00090362 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5831-3_2_2_load_99 | 92 | 0.00015568 | 3.9018e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5831-3_2_2_load_104 | 93 | 0.00020878 | 5.2325e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5831-3_2_2_load_103 | 94 | 0.00048927 | 0.00012262 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5831-3_2_2_load_106 | 95 | 0.00030473 | 7.6372e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5831-3_2_2_load_105 | 96 | 0.00016881 | 4.2308e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5831-3_2_2_load_107 | 97 | 0.00014219 | 3.5635e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5831-3_2_2_load_108 | 98 | 0.00011966 | 2.9991e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5831-3_2_2_load_109 | 99 | 0.00015766 | 3.9515e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5831-3_2_2_load_110 | 100 | 0.00049292 | 0.00012354 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5831-3_2_2_load_113 | 101 | 0.010359 | 0.0025962 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5831-3_2_2_load_115 | 102 | 0.00034451 | 8.6343e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5831-3_2_2_load_175 | 103 | 0.0008127 | 0.00020368 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5831-3_2_2_load_177 | 104 | 0.00094087 | 0.0002358 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5831-3_2_2_load_179 | 105 | 0.0010248 | 0.00025684 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5831-3_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.081394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5831-3_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5831-3_2_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.03364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5831-3_2_2_line_3 | NAYY 4x150 SE | 1 | 9 | 0.27346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5831-3_2_2_line_4 | NAYY 4x150 SE | 2 | 13 | 0.010678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5831-3_2_2_line_5 | NAYY 4x150 SE | 2 | 14 | 0.026849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5831-3_2_2_line_6 | NAYY 4x150 SE | 3 | 15 | 0.020163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5831-3_2_2_line_7 | NAYY 4x150 SE | 4 | 5 | 0.029088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5831-3_2_2_line_8 | NAYY 4x150 SE | 4 | 6 | 0.025308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5831-3_2_2_line_9 | NAYY 4x150 SE | 5 | 16 | 0.018088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5831-3_2_2_line_10 | NAYY 4x150 SE | 7 | 8 | 0.033893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5831-3_2_2_line_11 | NAYY 4x150 SE | 8 | 102 | 0.016803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5831-3_2_2_line_12 | NAYY 4x150 SE | 8 | 101 | 0.03016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5831-3_2_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.033842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5831-3_2_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.016815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5831-3_2_2_line_15 | NAYY 4x150 SE | 11 | 34 | 0.0014413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5831-3_2_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.024224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5831-3_2_2_line_17 | NAYY 4x150 SE | 12 | 38 | 0.013923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5831-3_2_2_line_18 | NAYY 4x150 SE | 13 | 39 | 0.019338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5831-3_2_2_line_19 | NAYY 4x150 SE | 15 | 27 | 0.0112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5831-3_2_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.035413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5831-3_2_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.021138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5831-3_2_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.011081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5831-3_2_2_line_23 | NAYY 4x150 SE | 18 | 102 | 0.0043677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5831-3_2_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.023013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5831-3_2_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.034231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5831-3_2_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.078171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5831-3_2_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0031398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5831-3_2_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.020581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5831-3_2_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.027145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5831-3_2_2_line_30 | NAYY 4x150 SE | 26 | 63 | 0.011025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5831-3_2_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0097858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5831-3_2_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.013781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5831-3_2_2_line_33 | NAYY 4x150 SE | 29 | 40 | 0.0057158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5831-3_2_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.039563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5831-3_2_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.012884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5831-3_2_2_line_36 | NAYY 4x150 SE | 30 | 33 | 0.016113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5831-3_2_2_line_37 | NAYY 4x150 SE | 31 | 35 | 0.015562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5831-3_2_2_line_38 | NAYY 4x150 SE | 31 | 36 | 0.013371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5831-3_2_2_line_39 | NAYY 4x150 SE | 32 | 82 | 0.018029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5831-3_2_2_line_40 | NAYY 4x150 SE | 33 | 72 | 0.049067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5831-3_2_2_line_41 | NAYY 4x150 SE | 34 | 83 | 0.041875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5831-3_2_2_line_42 | NAYY 4x150 SE | 35 | 37 | 0.039619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5831-3_2_2_line_43 | NAYY 4x150 SE | 36 | 85 | 0.051702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5831-3_2_2_line_44 | NAYY 4x150 SE | 37 | 86 | 0.023475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5831-3_2_2_line_45 | NAYY 4x150 SE | 38 | 87 | 0.015286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5831-3_2_2_line_46 | NAYY 4x150 SE | 39 | 94 | 0.0023481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5831-3_2_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.036549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5831-3_2_2_line_48 | NAYY 4x150 SE | 41 | 43 | 0.017595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5831-3_2_2_line_49 | NAYY 4x150 SE | 42 | 44 | 0.015408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5831-3_2_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.20358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5831-3_2_2_line_51 | NAYY 4x150 SE | 44 | 46 | 0.01725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5831-3_2_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.047435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5831-3_2_2_line_53 | NAYY 4x150 SE | 46 | 48 | 0.0129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5831-3_2_2_line_54 | NAYY 4x150 SE | 47 | 49 | 0.046892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5831-3_2_2_line_55 | NAYY 4x150 SE | 48 | 50 | 0.049561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5831-3_2_2_line_56 | NAYY 4x150 SE | 49 | 51 | 0.0062693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5831-3_2_2_line_57 | NAYY 4x150 SE | 51 | 52 | 0.051004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5831-3_2_2_line_58 | NAYY 4x150 SE | 52 | 53 | 0.016947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5831-3_2_2_line_59 | NAYY 4x150 SE | 52 | 54 | 0.024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5831-3_2_2_line_60 | NAYY 4x150 SE | 53 | 55 | 0.018679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5831-3_2_2_line_61 | NAYY 4x150 SE | 54 | 56 | 0.0096137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5831-3_2_2_line_62 | NAYY 4x150 SE | 55 | 57 | 0.00052108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5831-3_2_2_line_63 | NAYY 4x150 SE | 56 | 58 | 0.019555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5831-3_2_2_line_64 | NAYY 4x150 SE | 56 | 59 | 0.042886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5831-3_2_2_line_65 | NAYY 4x150 SE | 56 | 60 | 0.026576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5831-3_2_2_line_66 | NAYY 4x150 SE | 57 | 61 | 0.015126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5831-3_2_2_line_67 | NAYY 4x150 SE | 57 | 62 | 0.05323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5831-3_2_2_line_68 | NAYY 4x150 SE | 58 | 69 | 0.042584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5831-3_2_2_line_69 | NAYY 4x150 SE | 59 | 70 | 0.034523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5831-3_2_2_line_70 | NAYY 4x150 SE | 60 | 71 | 0.016944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5831-3_2_2_line_71 | NAYY 4x150 SE | 61 | 63 | 0.0080856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5831-3_2_2_line_72 | NAYY 4x150 SE | 62 | 64 | 0.021831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5831-3_2_2_line_73 | NAYY 4x150 SE | 63 | 65 | 0.015084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5831-3_2_2_line_74 | NAYY 4x150 SE | 64 | 66 | 0.023072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5831-3_2_2_line_75 | NAYY 4x150 SE | 65 | 67 | 0.012037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5831-3_2_2_line_76 | NAYY 4x150 SE | 66 | 83 | 0.020311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5831-3_2_2_line_77 | NAYY 4x150 SE | 67 | 68 | 0.036608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5831-3_2_2_line_78 | NAYY 4x150 SE | 69 | 72 | 0.021332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5831-3_2_2_line_79 | NAYY 4x150 SE | 69 | 73 | 0.030148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5831-3_2_2_line_80 | NAYY 4x150 SE | 70 | 74 | 0.010316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5831-3_2_2_line_81 | NAYY 4x150 SE | 73 | 75 | 0.0031719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5831-3_2_2_line_82 | NAYY 4x150 SE | 74 | 76 | 0.035956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5831-3_2_2_line_83 | NAYY 4x150 SE | 74 | 77 | 0.020131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5831-3_2_2_line_84 | NAYY 4x150 SE | 74 | 78 | 0.015264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5831-3_2_2_line_85 | NAYY 4x150 SE | 77 | 79 | 0.032621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5831-3_2_2_line_86 | NAYY 4x150 SE | 78 | 80 | 0.023925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5831-3_2_2_line_87 | NAYY 4x150 SE | 79 | 81 | 0.016466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5831-3_2_2_line_88 | NAYY 4x150 SE | 80 | 103 | 0.0039943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5831-3_2_2_line_89 | NAYY 4x150 SE | 82 | 84 | 0.021991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5831-3_2_2_line_90 | NAYY 4x150 SE | 86 | 88 | 0.020615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5831-3_2_2_line_91 | NAYY 4x150 SE | 87 | 92 | 0.00070455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5831-3_2_2_line_92 | NAYY 4x150 SE | 88 | 89 | 0.030244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5831-3_2_2_line_93 | NAYY 4x150 SE | 89 | 90 | 0.020853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5831-3_2_2_line_94 | NAYY 4x150 SE | 90 | 91 | 0.011271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5831-3_2_2_line_95 | NAYY 4x150 SE | 91 | 101 | 0.00041013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5831-3_2_2_line_96 | NAYY 4x150 SE | 92 | 93 | 0.01337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5831-3_2_2_line_97 | NAYY 4x150 SE | 94 | 95 | 0.017844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5831-3_2_2_line_98 | NAYY 4x150 SE | 95 | 96 | 0.016717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5831-3_2_2_line_99 | NAYY 4x150 SE | 96 | 97 | 0.0047988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5831-3_2_2_line_100 | NAYY 4x150 SE | 97 | 98 | 0.0091277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5831-3_2_2_line_101 | NAYY 4x150 SE | 98 | 99 | 0.0063336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5831-3_2_2_line_102 | NAYY 4x150 SE | 99 | 100 | 6.1136e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5831-3_2_2_line_103 | NAYY 4x150 SE | 103 | 104 | 0.19632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5831-3_2_2_line_104 | NAYY 4x150 SE | 104 | 105 | 0.044409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5831-3_2_2_trafo_81 | 0.25 MVA 20/0.4 kV | 106 | 83 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2558966.5954 | 1178791.1151 | 2559000.5836 | 1178836.484 | 2559015.3931 | 1178856.2588
1 | 2558827.2508 | 1178640.4479 | 2558837.7521 | 1178628.7694 | 2558857.3212 | 1178652.4585 | 2558923.7457 | 1178734.857 | 2558933.6938 | 1178747.1953 | 2558966.5954 | 1178791.1151
2 | 2558966.5954 | 1178791.1151 | 2558995.2467 | 1178773.4871
3 | 2559015.3931 | 1178856.2588 | 2559023.3373 | 1178866.8665 | 2559112.9063 | 1178992.9207 | 2559170.5893 | 1179081.344
4 | 2558827.2508 | 1178640.4479 | 2558819.497 | 1178647.7888
5 | 2558827.2508 | 1178640.4479 | 2558824.3073 | 1178636.8329 | 2558810.2933 | 1178619.6313
6 | 2558995.2467 | 1178773.4871 | 2559004.1607 | 1178758.7181 | 2559004.6487 | 1178755.847
7 | 2558655.7221 | 1178766.6313 | 2558679.2439 | 1178749.5187
8 | 2558655.7221 | 1178766.6313 | 2558639.9878 | 1178746.8086
9 | 2558679.0722 | 1178733.9644 | 2558682.5051 | 1178738.5647 | 2558681.9484 | 1178747.5511 | 2558679.2439 | 1178749.5187
10 | 2558625.2873 | 1178663.309 | 2558598.7935 | 1178684.4463
11 | 2558625.2873 | 1178663.309 | 2558635.6047 | 1178676.5713
12 | 2558625.2873 | 1178663.309 | 2558648.8631 | 1178644.4997
13 | 2558807.599 | 1178592.591 | 2558825.184 | 1178574.4159 | 2558831.0347 | 1178568.1786
14 | 2558807.599 | 1178592.591 | 2558806.4127 | 1178591.1762 | 2558799.8895 | 1178596.9576 | 2558794.996 | 1178600.8489
15 | 2558831.0347 | 1178568.1786 | 2558832.0208 | 1178567.1274
16 | 2558794.996 | 1178600.8489 | 2558797.4772 | 1178603.9001 | 2558810.2933 | 1178619.6313
17 | 2558794.996 | 1178600.8489 | 2558784.0936 | 1178609.5087
18 | 2558802.1753 | 1178655.9288 | 2558817.102 | 1178650.0562 | 2558819.497 | 1178647.7888
19 | 2559004.6487 | 1178755.847 | 2559006.5254 | 1178744.8056 | 2559006.5254 | 1178744.8056
20 | 2558657.8927 | 1178705.5832 | 2558679.0722 | 1178733.9644
21 | 2558651.2657 | 1178696.7027 | 2558638.2865 | 1178680.0187
22 | 2558651.2657 | 1178696.7027 | 2558657.8927 | 1178705.5832
23 | 2558638.2865 | 1178680.0187 | 2558635.6047 | 1178676.5713
24 | 2559033.2507 | 1178607.8975 | 2559020.1704 | 1178588.9629
25 | 2559033.2507 | 1178607.8975 | 2559052.707 | 1178636.062
26 | 2558992.0841 | 1178516.2052 | 2559016.7459 | 1178584.0056 | 2559020.1704 | 1178588.9629
27 | 2558992.0841 | 1178516.2052 | 2558990.0755 | 1178513.792
28 | 2558976.9089 | 1178497.9738 | 2558990.0755 | 1178513.792
29 | 2558960.278 | 1178476.5301 | 2558971.3453 | 1178491.2897 | 2558976.9089 | 1178497.9738
30 | 2558953.664 | 1178467.7096 | 2558960.278 | 1178476.5301
31 | 2559014.4602 | 1178739.0784 | 2559006.5254 | 1178744.8056
32 | 2559027.014 | 1178733.4356 | 2559015.0934 | 1178738.6214 | 2559014.4602 | 1178739.0784
33 | 2559032.2553 | 1178731.1554 | 2559027.014 | 1178733.4356
34 | 2558770.647 | 1178545.5094 | 2558772.6329 | 1178544.3173 | 2558774.8128 | 1178543.5686 | 2558777.1106 | 1178543.2748 | 2558779.4116 | 1178543.4591 | 2558781.6317 | 1178544.1108 | 2558783.6641 | 1178545.2196 | 2558785.424 | 1178546.7082 | 2558790.7792 | 1178539.9678 | 2558794.4252 | 1178534.6509 | 2558796.4094 | 1178530.9909 | 2558798.2249 | 1178527.2431
35 | 2558798.2249 | 1178527.2431 | 2558788.6869 | 1178518.5815
36 | 2558798.2249 | 1178527.2431 | 2558799.6364 | 1178523.6314 | 2558800.8871 | 1178519.9653 | 2558802.8022 | 1178511.8256
37 | 2558770.647 | 1178545.5094 | 2558768.7722 | 1178547.3011 | 2558767.3661 | 1178549.4897 | 2558766.4967 | 1178551.9303 | 2558766.2318 | 1178554.5113 | 2558766.5628 | 1178557.0771 | 2558767.4887 | 1178559.5053
38 | 2558770.647 | 1178545.5094 | 2558762.175 | 1178535.1652
39 | 2558788.6869 | 1178518.5815 | 2558782.4789 | 1178512.9439 | 2558776.8978 | 1178505.0794
40 | 2558802.8022 | 1178511.8256 | 2558806.5396 | 1178512.011 | 2558808.547 | 1178511.7082 | 2558810.2522 | 1178510.8071 | 2558837.0695 | 1178479.3109
41 | 2558860.6695 | 1178536.5857 | 2558832.0208 | 1178567.1274
42 | 2558767.4887 | 1178559.5053 | 2558732.3241 | 1178577.7575
43 | 2558729.4156 | 1178495.1663 | 2558762.175 | 1178535.1652
44 | 2558732.3241 | 1178577.7575 | 2558722.0437 | 1178586.0106 | 2558717.6914 | 1178589.7092 | 2558714.1063 | 1178592.56
45 | 2558784.0936 | 1178609.5087 | 2558772.1241 | 1178619.0161
46 | 2558802.1753 | 1178655.9288 | 2558799.9909 | 1178656.7901
47 | 2559051.7483 | 1178267.7239 | 2559058.4298 | 1178280.281 | 2559050.7573 | 1178301.2461
48 | 2559043.4833 | 1178252.1906 | 2559051.7483 | 1178267.7239
49 | 2559042.6785 | 1178314.2958 | 2559049.9094 | 1178303.5628 | 2559050.7573 | 1178301.2461
50 | 2559042.6785 | 1178314.2958 | 2559054.8595 | 1178310.0991 | 2559085.7936 | 1178278.4262 | 2559120.2052 | 1178231.1992 | 2559126.5329 | 1178224.6747 | 2559127.3483 | 1178218.766 | 2559125.2284 | 1178214.9118 | 2559102.0905 | 1178207.9551 | 2559094.5825 | 1178205.016 | 2559076.6489 | 1178200.4473 | 2559059.4742 | 1178206.279
51 | 2559032.5281 | 1178328.2616 | 2559042.6785 | 1178314.2958
52 | 2559032.5281 | 1178328.2616 | 2559017.8168 | 1178334.4879 | 2558990.5874 | 1178350.246
53 | 2559032.5281 | 1178328.2616 | 2559037.0348 | 1178340.3483
54 | 2558990.5874 | 1178350.246 | 2558977.8091 | 1178357.641 | 2558955.7257 | 1178380.9764
55 | 2559012.3211 | 1178383.2181 | 2559026.4831 | 1178355.951 | 2559037.0348 | 1178340.3483
56 | 2558955.7257 | 1178380.9764 | 2558951.4165 | 1178385.5299
57 | 2558916.359 | 1178422.575 | 2558951.4165 | 1178385.5299
58 | 2558916.359 | 1178422.575 | 2558920.6714 | 1178424.1462 | 2558924.176 | 1178427.1349 | 2558928.6519 | 1178433.4639
59 | 2558916.359 | 1178422.575 | 2558905.3815 | 1178420.616 | 2558898.3017 | 1178418.8192 | 2558893.2058 | 1178416.634
60 | 2558939.4371 | 1178448.7143 | 2558928.6519 | 1178433.4639
61 | 2558884.3702 | 1178412.8451 | 2558893.2058 | 1178416.634
62 | 2558939.7379 | 1178449.1397 | 2558939.4371 | 1178448.7143
63 | 2558884.3702 | 1178412.8451 | 2558884.276 | 1178420.2608 | 2558882.5199 | 1178425.9871 | 2558878.5299 | 1178430.666
64 | 2558884.3702 | 1178412.8451 | 2558870.2407 | 1178406.9613 | 2558844.8467 | 1178396.2005
65 | 2558884.3702 | 1178412.8451 | 2558883.5786 | 1178386.2807
66 | 2558939.7379 | 1178449.1397 | 2558948.813 | 1178461.2409
67 | 2558939.7379 | 1178449.1397 | 2558904.872 | 1178479.8955 | 2558900.8363 | 1178485.2906
68 | 2558850.899 | 1178463.0686 | 2558878.5299 | 1178430.666
69 | 2558813.0603 | 1178382.7307 | 2558844.8467 | 1178396.2005
70 | 2558883.5721 | 1178369.3426 | 2558883.3571 | 1178378.8451 | 2558883.5786 | 1178386.2807
71 | 2558953.664 | 1178467.7096 | 2558948.813 | 1178461.2409
72 | 2558900.8363 | 1178485.2906 | 2558887.7599 | 1178502.7717
73 | 2558953.664 | 1178467.7096 | 2558942.2883 | 1178477.6159
74 | 2558887.7599 | 1178502.7717 | 2558873.9398 | 1178521.2471
75 | 2558933.2106 | 1178485.521 | 2558942.2883 | 1178477.6159
76 | 2558873.9398 | 1178521.2471 | 2558869.5391 | 1178527.1301 | 2558860.6695 | 1178536.5857
77 | 2558931.0462 | 1178514.1117 | 2558923.186 | 1178504.3605 | 2558921.8942 | 1178495.3757 | 2558933.2106 | 1178485.521
78 | 2558850.899 | 1178463.0686 | 2558837.0695 | 1178479.3109
79 | 2558850.899 | 1178463.0686 | 2558827.8629 | 1178443.6204
80 | 2558813.0603 | 1178382.7307 | 2558803.5881 | 1178378.5826
81 | 2558827.8629 | 1178443.6204 | 2558825.4392 | 1178441.5742
82 | 2558803.5881 | 1178378.5826 | 2558798.6641 | 1178368.0998 | 2558793.0543 | 1178357.8886 | 2558786.5966 | 1178346.9253
83 | 2558803.5881 | 1178378.5826 | 2558806.1394 | 1178386.258 | 2558808.2258 | 1178395.2151 | 2558808.5589 | 1178398.0409
84 | 2558803.5881 | 1178378.5826 | 2558789.9608 | 1178371.7064
85 | 2558808.6492 | 1178430.5833 | 2558808.8244 | 1178427.7616 | 2558809.5263 | 1178416.5175 | 2558809.4187 | 1178405.3345 | 2558808.5589 | 1178398.0409
86 | 2558768.6013 | 1178360.9285 | 2558789.9608 | 1178371.7064
87 | 2558807.6343 | 1178447.0182 | 2558807.9647 | 1178441.6082 | 2558808.6492 | 1178430.5833
88 | 2558765.0353 | 1178359.1292 | 2558768.6013 | 1178360.9285
89 | 2558764.1704 | 1178487.1452 | 2558776.8978 | 1178505.0794
90 | 2558714.1063 | 1178592.56 | 2558697.9707 | 1178605.3902
91 | 2558772.5689 | 1178619.5625 | 2558772.1241 | 1178619.0161 | 2558772.1241 | 1178619.0161
92 | 2558697.9707 | 1178605.3902 | 2558674.2986 | 1178624.2132
93 | 2558657.9945 | 1178637.2144 | 2558671.8268 | 1178626.1786 | 2558674.2986 | 1178624.2132
94 | 2558657.9945 | 1178637.2144 | 2558649.1837 | 1178644.2439
95 | 2558649.1837 | 1178644.2439 | 2558648.8631 | 1178644.4997
96 | 2558781.0101 | 1178629.931 | 2558772.5689 | 1178619.5625
97 | 2558799.9909 | 1178656.7901 | 2558791.7595 | 1178660.036 | 2558784.75 | 1178665.6739
98 | 2558771.724 | 1178676.1511 | 2558784.75 | 1178665.6739
99 | 2558767.9847 | 1178679.1587 | 2558771.724 | 1178676.1511
100 | 2558767.9847 | 1178679.1587 | 2558760.8722 | 1178684.8795
101 | 2558760.8722 | 1178684.8795 | 2558755.9369 | 1178688.8491
102 | 2558755.8892 | 1178688.8874 | 2558755.9369 | 1178688.8491
103 | 2558765.0353 | 1178359.1292 | 2558763.0745 | 1178358.1397 | 2558589.7957 | 1178270.6184
104 | 2558550.1559 | 1178250.5967 | 2558589.7957 | 1178270.6184

## bus_geodata
| x | y | coords
0 | 2558966.5954 | 1178791.1151
1 | 2559015.3931 | 1178856.2588
2 | 2558827.2508 | 1178640.4479
3 | 2558995.2467 | 1178773.4871
4 | 2558655.7221 | 1178766.6313
5 | 2558679.2439 | 1178749.5187
6 | 2558639.9878 | 1178746.8086
7 | 2558598.7935 | 1178684.4463
8 | 2558625.2873 | 1178663.309
9 | 2559170.5893 | 1179081.344
10 | 2558807.599 | 1178592.591
11 | 2558831.0347 | 1178568.1786
12 | 2558794.996 | 1178600.8489
13 | 2558819.497 | 1178647.7888
14 | 2558810.2933 | 1178619.6313
15 | 2559004.6487 | 1178755.847
16 | 2558679.0722 | 1178733.9644
17 | 2558651.2657 | 1178696.7027
18 | 2558638.2865 | 1178680.0187
19 | 2558657.8927 | 1178705.5832
20 | 2559033.2507 | 1178607.8975
21 | 2559020.1704 | 1178588.9629
22 | 2559052.707 | 1178636.062
23 | 2558992.0841 | 1178516.2052
24 | 2558990.0755 | 1178513.792
25 | 2558976.9089 | 1178497.9738
26 | 2558960.278 | 1178476.5301
27 | 2559006.5254 | 1178744.8056
28 | 2559014.4602 | 1178739.0784
29 | 2559027.014 | 1178733.4356
30 | 2558798.2249 | 1178527.2431
31 | 2558770.647 | 1178545.5094
32 | 2558788.6869 | 1178518.5815
33 | 2558802.8022 | 1178511.8256
34 | 2558832.0208 | 1178567.1274
35 | 2558767.4887 | 1178559.5053
36 | 2558762.175 | 1178535.1652
37 | 2558732.3241 | 1178577.7575
38 | 2558784.0936 | 1178609.5087
39 | 2558802.1753 | 1178655.9288
40 | 2559032.2553 | 1178731.1554
41 | 2559051.7483 | 1178267.7239
42 | 2559050.7573 | 1178301.2461
43 | 2559043.4833 | 1178252.1906
44 | 2559042.6785 | 1178314.2958
45 | 2559059.4742 | 1178206.279
46 | 2559032.5281 | 1178328.2616
47 | 2558990.5874 | 1178350.246
48 | 2559037.0348 | 1178340.3483
49 | 2558955.7257 | 1178380.9764
50 | 2559012.3211 | 1178383.2181
51 | 2558951.4165 | 1178385.5299
52 | 2558916.359 | 1178422.575
53 | 2558928.6519 | 1178433.4639
54 | 2558893.2058 | 1178416.634
55 | 2558939.4371 | 1178448.7143
56 | 2558884.3702 | 1178412.8451
57 | 2558939.7379 | 1178449.1397
58 | 2558878.5299 | 1178430.666
59 | 2558844.8467 | 1178396.2005
60 | 2558883.5786 | 1178386.2807
61 | 2558948.813 | 1178461.2409
62 | 2558900.8363 | 1178485.2906
63 | 2558953.664 | 1178467.7096
64 | 2558887.7599 | 1178502.7717
65 | 2558942.2883 | 1178477.6159
66 | 2558873.9398 | 1178521.2471
67 | 2558933.2106 | 1178485.521
68 | 2558931.0462 | 1178514.1117
69 | 2558850.899 | 1178463.0686
70 | 2558813.0603 | 1178382.7307
71 | 2558883.5721 | 1178369.3426
72 | 2558837.0695 | 1178479.3109
73 | 2558827.8629 | 1178443.6204
74 | 2558803.5881 | 1178378.5826
75 | 2558825.4392 | 1178441.5742
76 | 2558786.5966 | 1178346.9253
77 | 2558808.5589 | 1178398.0409
78 | 2558789.9608 | 1178371.7064
79 | 2558808.6492 | 1178430.5833
80 | 2558768.6013 | 1178360.9285
81 | 2558807.6343 | 1178447.0182
82 | 2558776.8978 | 1178505.0794
83 | 2558860.6695 | 1178536.5857
84 | 2558764.1704 | 1178487.1452
85 | 2558729.4156 | 1178495.1663
86 | 2558714.1063 | 1178592.56
87 | 2558772.1241 | 1178619.0161
88 | 2558697.9707 | 1178605.3902
89 | 2558674.2986 | 1178624.2132
90 | 2558657.9945 | 1178637.2144
91 | 2558649.1837 | 1178644.2439
92 | 2558772.5689 | 1178619.5625
93 | 2558781.0101 | 1178629.931
94 | 2558799.9909 | 1178656.7901
95 | 2558784.75 | 1178665.6739
96 | 2558771.724 | 1178676.1511
97 | 2558767.9847 | 1178679.1587
98 | 2558760.8722 | 1178684.8795
99 | 2558755.9369 | 1178688.8491
100 | 2558755.8892 | 1178688.8874
101 | 2558648.8631 | 1178644.4997
102 | 2558635.6047 | 1178676.5713
103 | 2558765.0353 | 1178359.1292
104 | 2558589.7957 | 1178270.6184
105 | 2558550.1559 | 1178250.5967
106 | 2558807.599 | 1178592.591

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1