## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5907-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5907-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5907-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5907-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5907-2_0_4_node_85 | 0.4 | n |  | TRUE
5 | bus_LV_5907-2_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5907-2_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5907-2_0_4_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_5907-2_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5907-2_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5907-2_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5907-2_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5907-2_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5907-2_0_4_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_5907-2_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5907-2_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5907-2_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5907-2_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5907-2_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5907-2_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_5907-2_0_4_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_5907-2_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_5907-2_0_4_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_5907-2_0_4_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_5907-2_0_4_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_5907-2_0_4_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_5907-2_0_4_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_5907-2_0_4_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_5907-2_0_4_node_99 | 0.4 | n |  | TRUE
29 | bus_LV_5907-2_0_4_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_5907-2_0_4_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_5907-2_0_4_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_5907-2_0_4_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_5907-2_0_4_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_5907-2_0_4_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_5907-2_0_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_5907-2_0_4_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_5907-2_0_4_node_96 | 0.4 | n |  | TRUE
38 | bus_LV_5907-2_0_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_5907-2_0_4_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_5907-2_0_4_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_5907-2_0_4_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_5907-2_0_4_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_5907-2_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_5907-2_0_4_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_5907-2_0_4_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_5907-2_0_4_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_5907-2_0_4_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_5907-2_0_4_node_83 | 0.4 | n |  | TRUE
49 | bus_LV_5907-2_0_4_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_5907-2_0_4_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_5907-2_0_4_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_5907-2_0_4_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_5907-2_0_4_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_5907-2_0_4_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_5907-2_0_4_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_5907-2_0_4_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_5907-2_0_4_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_5907-2_0_4_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_5907-2_0_4_node_22 | 0.4 | n |  | TRUE
60 | bus_LV_5907-2_0_4_node_16 | 0.4 | n |  | TRUE
61 | bus_LV_5907-2_0_4_node_17 | 0.4 | n |  | TRUE
62 | bus_LV_5907-2_0_4_node_18 | 0.4 | n |  | TRUE
63 | bus_LV_5907-2_0_4_node_19 | 0.4 | n |  | TRUE
64 | bus_LV_5907-2_0_4_node_20 | 0.4 | n |  | TRUE
65 | bus_LV_5907-2_0_4_node_21 | 0.4 | n |  | TRUE
66 | bus_LV_5907-2_0_4_node_25 | 0.4 | n |  | TRUE
67 | bus_LV_5907-2_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_5907-2_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_5907-2_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_5907-2_0_4_node_23 | 0.4 | n |  | TRUE
71 | bus_LV_5907-2_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_5907-2_0_4_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_5907-2_0_4_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_5907-2_0_4_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_5907-2_0_4_node_26 | 0.4 | n |  | TRUE
76 | bus_LV_5907-2_0_4_node_27 | 0.4 | n |  | TRUE
77 | bus_LV_5907-2_0_4_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_5907-2_0_4_node_38 | 0.4 | n |  | TRUE
79 | bus_LV_5907-2_0_4_node_42 | 0.4 | n |  | TRUE
80 | bus_LV_5907-2_0_4_node_37 | 0.4 | n |  | TRUE
81 | bus_LV_5907-2_0_4_node_39 | 0.4 | n |  | TRUE
82 | bus_LV_5907-2_0_4_node_41 | 0.4 | n |  | TRUE
83 | bus_LV_5907-2_0_4_node_29 | 0.4 | n |  | TRUE
84 | bus_LV_5907-2_0_4_node_30 | 0.4 | n |  | TRUE
85 | bus_LV_5907-2_0_4_node_31 | 0.4 | n |  | TRUE
86 | bus_LV_5907-2_0_4_node_32 | 0.4 | n |  | TRUE
87 | bus_LV_5907-2_0_4_node_33 | 0.4 | n |  | TRUE
88 | bus_LV_5907-2_0_4_node_58 | 0.4 | n |  | TRUE
89 | bus_LV_5907-2_0_4_node_51 | 0.4 | n |  | TRUE
90 | bus_LV_5907-2_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_5907-2_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_5907-2_0_4_node_50 | 0.4 | n |  | TRUE
93 | bus_LV_5907-2_0_4_node_43 | 0.4 | n |  | TRUE
94 | bus_LV_5907-2_0_4_node_44 | 0.4 | n |  | TRUE
95 | bus_LV_5907-2_0_4_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_5907-2_0_4_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_5907-2_0_4_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_5907-2_0_4_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_5907-2_0_4_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_5907-2_0_4_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_5907-2_0_4_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_5907-2_0_4_node_100 | 0.4 | n |  | TRUE
103 | bus_MV_454_0_node_244 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5907-2_0_4_load_0 | 0 | 0.001873 | 0.00046941 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5907-2_0_4_load_85 | 4 | 0.0014625 | 0.00036654 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5907-2_0_4_load_4 | 5 | 0.00073344 | 0.00018382 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5907-2_0_4_load_5 | 6 | 0.00076065 | 0.00019064 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5907-2_0_4_load_40 | 7 | 0.0010681 | 0.0002677 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5907-2_0_4_load_6 | 8 | 0.0015817 | 0.00039642 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5907-2_0_4_load_7 | 9 | 0.0017924 | 0.00044923 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5907-2_0_4_load_9 | 11 | 0.00029061 | 7.2835e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5907-2_0_4_load_10 | 12 | 0.0007326 | 0.00018361 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5907-2_0_4_load_56 | 13 | 0.00086769 | 0.00021746 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5907-2_0_4_load_11 | 15 | 0.0042136 | 0.001056 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5907-2_0_4_load_12 | 16 | 0.0011869 | 0.00029746 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5907-2_0_4_load_14 | 17 | 0.0027942 | 0.0007003 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5907-2_0_4_load_15 | 18 | 0.0042395 | 0.0010625 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5907-2_0_4_load_76 | 20 | 0.0023419 | 0.00058694 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5907-2_0_4_load_34 | 21 | 0.010326 | 0.002588 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5907-2_0_4_load_74 | 23 | 0.0026748 | 0.00067036 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5907-2_0_4_load_53 | 24 | 0.0021383 | 0.0005359 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5907-2_0_4_load_54 | 25 | 0.0011334 | 0.00028406 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5907-2_0_4_load_55 | 26 | 0.0012931 | 0.00032408 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5907-2_0_4_load_81 | 29 | 0.0013895 | 0.00034825 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5907-2_0_4_load_59 | 30 | 0.0023066 | 0.00057808 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5907-2_0_4_load_62 | 33 | 0.0013787 | 0.00034554 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5907-2_0_4_load_64 | 35 | 0.0020159 | 0.00050524 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5907-2_0_4_load_75 | 36 | 0.0052926 | 0.0013264 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5907-2_0_4_load_65 | 38 | 0.0032797 | 0.00082197 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5907-2_0_4_load_68 | 41 | 0.0023923 | 0.00059958 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5907-2_0_4_load_70 | 43 | 0.0032975 | 0.00082642 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5907-2_0_4_load_103 | 45 | 0.0059497 | 0.0014911 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5907-2_0_4_load_80 | 46 | 0.0020299 | 0.00050875 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5907-2_0_4_load_84 | 49 | 0.00025577 | 6.4101e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5907-2_0_4_load_91 | 50 | 0.0030583 | 0.00076648 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5907-2_0_4_load_92 | 51 | 0.0024731 | 0.00061982 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5907-2_0_4_load_97 | 52 | 0.0011693 | 0.00029306 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5907-2_0_4_load_98 | 53 | 0.0056945 | 0.0014272 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5907-2_0_4_load_102 | 54 | 0.0057872 | 0.0014504 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5907-2_0_4_load_77 | 55 | 0.00022086 | 5.5353e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5907-2_0_4_load_78 | 56 | 0.0013474 | 0.00033769 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5907-2_0_4_load_22 | 59 | 0.0018952 | 0.00047498 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5907-2_0_4_load_16 | 60 | 0.002456 | 0.00061553 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5907-2_0_4_load_17 | 61 | 0.0017095 | 0.00042844 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5907-2_0_4_load_20 | 64 | 0.0043484 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5907-2_0_4_load_25 | 66 | 0.0017431 | 0.00043687 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5907-2_0_4_load_52 | 67 | 0.0018986 | 0.00047585 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5907-2_0_4_load_48 | 69 | 0.0066298 | 0.0016616 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5907-2_0_4_load_73 | 71 | 0.0004627 | 0.00011596 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5907-2_0_4_load_47 | 72 | 0.0012828 | 0.00032151 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5907-2_0_4_load_45 | 73 | 0.0024181 | 0.00060603 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5907-2_0_4_load_49 | 74 | 0.0013572 | 0.00034014 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5907-2_0_4_load_26 | 75 | 0.0041959 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5907-2_0_4_load_79 | 77 | 0.0017362 | 0.00043514 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5907-2_0_4_load_42 | 79 | 0.0021101 | 0.00052885 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5907-2_0_4_load_37 | 80 | 0.00033584 | 8.4169e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5907-2_0_4_load_39 | 81 | 0.0029144 | 0.00073043 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5907-2_0_4_load_41 | 82 | 0.0012343 | 0.00030936 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5907-2_0_4_load_29 | 83 | 0.0012087 | 0.00030293 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5907-2_0_4_load_30 | 84 | 0.0013419 | 0.0003363 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5907-2_0_4_load_31 | 85 | 0.0015373 | 0.00038529 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5907-2_0_4_load_32 | 86 | 0.0050127 | 0.0012563 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5907-2_0_4_load_33 | 87 | 0.001536 | 0.00038496 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5907-2_0_4_load_51 | 89 | 0.0012435 | 0.00031164 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5907-2_0_4_load_88 | 90 | 0.0025187 | 0.00063124 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5907-2_0_4_load_86 | 91 | 0.0029915 | 0.00074974 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5907-2_0_4_load_50 | 92 | 0.0015052 | 0.00037724 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5907-2_0_4_load_43 | 93 | 0.0015129 | 0.00037918 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5907-2_0_4_load_44 | 94 | 0.0018673 | 0.00046799 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5907-2_0_4_load_71 | 95 | 0.0038385 | 0.00096203 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5907-2_0_4_load_94 | 97 | 0.0005723 | 0.00014343 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5907-2_0_4_load_87 | 98 | 0.0027233 | 0.00068252 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5907-2_0_4_load_101 | 100 | 0.0063852 | 0.0016003 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5907-2_0_4_load_95 | 101 | 0.00057127 | 0.00014317 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5907-2_0_4_load_100 | 102 | 0.00057231 | 0.00014343 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5907-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.04512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5907-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.080383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5907-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.008667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5907-2_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.23794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5907-2_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.014291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5907-2_0_4_line_5 | NAYY 4x150 SE | 2 | 6 | 0.0072531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5907-2_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.061972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5907-2_0_4_line_7 | NAYY 4x150 SE | 4 | 49 | 0.011944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5907-2_0_4_line_8 | NAYY 4x150 SE | 5 | 55 | 0.0051101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5907-2_0_4_line_9 | NAYY 4x150 SE | 6 | 56 | 0.069799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5907-2_0_4_line_10 | NAYY 4x150 SE | 7 | 58 | 0.018907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5907-2_0_4_line_11 | NAYY 4x150 SE | 8 | 9 | 0.010984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5907-2_0_4_line_12 | NAYY 4x150 SE | 8 | 10 | 0.018174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5907-2_0_4_line_13 | NAYY 4x150 SE | 10 | 11 | 0.0031142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5907-2_0_4_line_14 | NAYY 4x150 SE | 10 | 12 | 0.012791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5907-2_0_4_line_15 | NAYY 4x150 SE | 11 | 13 | 0.0095887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5907-2_0_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.026946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5907-2_0_4_line_17 | NAYY 4x150 SE | 13 | 25 | 0.022106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5907-2_0_4_line_18 | NAYY 4x150 SE | 14 | 18 | 0.011191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5907-2_0_4_line_19 | NAYY 4x150 SE | 14 | 15 | 0.013024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5907-2_0_4_line_20 | NAYY 4x150 SE | 15 | 16 | 0.013362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5907-2_0_4_line_21 | NAYY 4x150 SE | 16 | 17 | 0.01765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5907-2_0_4_line_22 | NAYY 4x150 SE | 17 | 19 | 0.0094854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5907-2_0_4_line_23 | NAYY 4x150 SE | 18 | 20 | 0.021714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5907-2_0_4_line_24 | NAYY 4x150 SE | 19 | 21 | 0.0094673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5907-2_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.0012441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5907-2_0_4_line_26 | NAYY 4x150 SE | 22 | 23 | 0.025243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5907-2_0_4_line_27 | NAYY 4x150 SE | 23 | 34 | 0.0083581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5907-2_0_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0077724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5907-2_0_4_line_29 | NAYY 4x150 SE | 24 | 26 | 0.021087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_5907-2_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0034696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5907-2_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.040585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5907-2_0_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0097903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_5907-2_0_4_line_33 | NAYY 4x150 SE | 28 | 54 | 0.014098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5907-2_0_4_line_34 | NAYY 4x150 SE | 28 | 42 | 0.084348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5907-2_0_4_line_35 | NAYY 4x150 SE | 29 | 46 | 0.0087286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5907-2_0_4_line_36 | NAYY 4x150 SE | 30 | 31 | 0.072147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5907-2_0_4_line_37 | NAYY 4x150 SE | 30 | 32 | 0.022984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5907-2_0_4_line_38 | NAYY 4x150 SE | 31 | 33 | 0.034778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5907-2_0_4_line_39 | NAYY 4x150 SE | 32 | 34 | 0.024337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5907-2_0_4_line_40 | NAYY 4x150 SE | 32 | 35 | 0.044012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5907-2_0_4_line_41 | NAYY 4x150 SE | 34 | 36 | 0.016287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5907-2_0_4_line_42 | NAYY 4x150 SE | 35 | 37 | 0.0084331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5907-2_0_4_line_43 | NAYY 4x150 SE | 37 | 52 | 0.019783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5907-2_0_4_line_44 | NAYY 4x150 SE | 38 | 39 | 0.032354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5907-2_0_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.02131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5907-2_0_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.06391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5907-2_0_4_line_47 | NAYY 4x150 SE | 39 | 42 | 0.032872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5907-2_0_4_line_48 | NAYY 4x150 SE | 40 | 43 | 0.012993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5907-2_0_4_line_49 | NAYY 4x150 SE | 41 | 44 | 0.019978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5907-2_0_4_line_50 | NAYY 4x150 SE | 42 | 45 | 0.07468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5907-2_0_4_line_51 | NAYY 4x150 SE | 44 | 50 | 0.036152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5907-2_0_4_line_52 | NAYY 4x150 SE | 46 | 47 | 0.011198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_5907-2_0_4_line_53 | NAYY 4x150 SE | 47 | 48 | 0.003484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5907-2_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.024633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5907-2_0_4_line_55 | NAYY 4x150 SE | 50 | 51 | 0.010379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5907-2_0_4_line_56 | NAYY 4x150 SE | 52 | 53 | 0.019049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5907-2_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.031558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5907-2_0_4_line_58 | NAYY 4x150 SE | 57 | 59 | 0.016298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5907-2_0_4_line_59 | NAYY 4x150 SE | 58 | 80 | 0.010227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5907-2_0_4_line_60 | NAYY 4x150 SE | 59 | 70 | 0.034945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5907-2_0_4_line_61 | NAYY 4x150 SE | 60 | 61 | 0.056645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5907-2_0_4_line_62 | NAYY 4x150 SE | 60 | 62 | 0.015193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5907-2_0_4_line_63 | NAYY 4x150 SE | 61 | 63 | 0.020972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5907-2_0_4_line_64 | NAYY 4x150 SE | 62 | 64 | 0.011905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5907-2_0_4_line_65 | NAYY 4x150 SE | 62 | 65 | 0.023827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5907-2_0_4_line_66 | NAYY 4x150 SE | 63 | 66 | 0.032161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5907-2_0_4_line_67 | NAYY 4x150 SE | 63 | 67 | 0.042915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5907-2_0_4_line_68 | NAYY 4x150 SE | 65 | 68 | 0.002331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5907-2_0_4_line_69 | NAYY 4x150 SE | 65 | 69 | 0.017965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5907-2_0_4_line_70 | NAYY 4x150 SE | 66 | 70 | 0.019634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5907-2_0_4_line_71 | NAYY 4x150 SE | 67 | 71 | 0.0060605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5907-2_0_4_line_72 | NAYY 4x150 SE | 68 | 72 | 0.019883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5907-2_0_4_line_73 | NAYY 4x150 SE | 68 | 73 | 0.019864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5907-2_0_4_line_74 | NAYY 4x150 SE | 69 | 74 | 0.028252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5907-2_0_4_line_75 | NAYY 4x150 SE | 70 | 75 | 0.026837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5907-2_0_4_line_76 | NAYY 4x150 SE | 70 | 76 | 0.007201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5907-2_0_4_line_77 | NAYY 4x150 SE | 75 | 77 | 0.025817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5907-2_0_4_line_78 | NAYY 4x150 SE | 76 | 78 | 0.05448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5907-2_0_4_line_79 | NAYY 4x150 SE | 76 | 79 | 0.050682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5907-2_0_4_line_80 | NAYY 4x150 SE | 78 | 81 | 0.051955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5907-2_0_4_line_81 | NAYY 4x150 SE | 79 | 82 | 0.098178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5907-2_0_4_line_82 | NAYY 4x150 SE | 81 | 92 | 0.0038031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5907-2_0_4_line_83 | NAYY 4x150 SE | 82 | 93 | 0.018197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5907-2_0_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0047648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5907-2_0_4_line_85 | NAYY 4x150 SE | 83 | 85 | 0.033442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5907-2_0_4_line_86 | NAYY 4x150 SE | 84 | 86 | 0.021168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5907-2_0_4_line_87 | NAYY 4x150 SE | 85 | 87 | 0.012051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5907-2_0_4_line_88 | NAYY 4x150 SE | 86 | 88 | 0.0064703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5907-2_0_4_line_89 | NAYY 4x150 SE | 87 | 89 | 0.0099492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5907-2_0_4_line_90 | NAYY 4x150 SE | 88 | 90 | 0.019953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5907-2_0_4_line_91 | NAYY 4x150 SE | 88 | 91 | 0.01477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5907-2_0_4_line_92 | NAYY 4x150 SE | 89 | 92 | 0.012721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5907-2_0_4_line_93 | NAYY 4x150 SE | 90 | 97 | 0.014397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5907-2_0_4_line_94 | NAYY 4x150 SE | 91 | 98 | 9.366e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5907-2_0_4_line_95 | NAYY 4x150 SE | 93 | 94 | 0.034498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5907-2_0_4_line_96 | NAYY 4x150 SE | 94 | 95 | 0.040672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5907-2_0_4_line_97 | NAYY 4x150 SE | 95 | 96 | 0.072433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5907-2_0_4_line_98 | NAYY 4x150 SE | 96 | 99 | 0.013981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5907-2_0_4_line_99 | NAYY 4x150 SE | 97 | 101 | 0.0074071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5907-2_0_4_line_100 | NAYY 4x150 SE | 99 | 100 | 0.034555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5907-2_0_4_line_101 | NAYY 4x150 SE | 101 | 102 | 0.0074071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5907-2_0_4_trafo_1 | 0.25 MVA 20/0.4 kV | 103 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2549634.8671 | 1180691.3665 | 2549626.2872 | 1180677.4534 | 2549620.5644 | 1180649.2544
1 | 2549604.809 | 1180570.4314 | 2549605.2411 | 1180572.7623 | 2549614.3342 | 1180618.5552 | 2549620.5644 | 1180649.2544
2 | 2549639.0113 | 1180683.7497 | 2549634.8671 | 1180691.3665
3 | 2549634.8671 | 1180691.3665 | 2549471.3905 | 1180864.2505
4 | 2549604.809 | 1180570.4314 | 2549618.5864 | 1180566.6355
5 | 2549604.809 | 1180570.4314 | 2549603.5038 | 1180563.2967
6 | 2549639.0113 | 1180683.7497 | 2549656.6642 | 1180645.8804 | 2549663.5488 | 1180626.9003
7 | 2549471.3905 | 1180864.2505 | 2549478.9135 | 1180873.5278
8 | 2549618.9788 | 1180561.5405 | 2549618.5864 | 1180566.6355
9 | 2549590.4003 | 1180494.7397 | 2549601.0218 | 1180549.7298 | 2549603.5038 | 1180563.2967
10 | 2549669.9959 | 1180609.126 | 2549663.5488 | 1180626.9003
11 | 2549393.8303 | 1180929.5958 | 2549385.6918 | 1180922.2187
12 | 2549407.2955 | 1180941.8013 | 2549393.8303 | 1180929.5958
13 | 2549407.2955 | 1180941.8013 | 2549409.9138 | 1180940.1152
14 | 2549407.2955 | 1180941.8013 | 2549396.5369 | 1180948.7203
15 | 2549409.9138 | 1180940.1152 | 2549411.9139 | 1180938.8273 | 2549418.4602 | 1180935.8061
16 | 2549373.8727 | 1180963.2958 | 2549396.5369 | 1180948.7203
17 | 2549438.5315 | 1180926.5429 | 2549418.4602 | 1180935.8061
18 | 2549373.8727 | 1180963.2958 | 2549364.4606 | 1180969.3504
19 | 2549373.8727 | 1180963.2958 | 2549378.7733 | 1180975.3623
20 | 2549382.9864 | 1180987.4337 | 2549383.5603 | 1180987.149 | 2549378.7733 | 1180975.3623
21 | 2549382.9864 | 1180987.4337 | 2549367.1733 | 1180995.2748
22 | 2549358.6753 | 1180999.4886 | 2549367.1733 | 1180995.2748
23 | 2549346.1985 | 1180981.0981 | 2549364.4606 | 1180969.3504
24 | 2549358.6753 | 1180999.4886 | 2549351.4294 | 1181005.5818
25 | 2549345.1521 | 1180981.7712 | 2549346.1985 | 1180981.0981
26 | 2549345.1521 | 1180981.7712 | 2549323.9238 | 1180995.431
27 | 2549316.8951 | 1180999.9538 | 2549323.9238 | 1180995.431
28 | 2549445.5886 | 1180923.2859 | 2549438.5315 | 1180926.5429
29 | 2549445.5886 | 1180923.2859 | 2549448.5986 | 1180921.8968 | 2549464.039 | 1180913.0975
30 | 2549467.0535 | 1180911.3796 | 2549464.039 | 1180913.0975
31 | 2549467.0535 | 1180911.3796 | 2549480.6605 | 1180932.7207 | 2549484.3601 | 1180933.9902 | 2549482.9355 | 1180945.2639
32 | 2549467.0535 | 1180911.3796 | 2549475.0487 | 1180905.7292
33 | 2549482.9355 | 1180945.2639 | 2549493.2284 | 1180954.9268
34 | 2549482.9355 | 1180945.2639 | 2549484.3601 | 1180933.9902 | 2549493.6967 | 1180932.6106 | 2549525.1379 | 1180957.6701 | 2549527.9912 | 1180960.9255 | 2549537.6076 | 1180971.8837 | 2549540.1585 | 1180975.5086
35 | 2549482.2695 | 1180900.8318 | 2549480.0133 | 1180902.2207 | 2549475.0487 | 1180905.7292
36 | 2549306.2055 | 1180935.4202 | 2549295.7705 | 1180948.6603 | 2549275.6404 | 1180973.2333 | 2549274.796 | 1180980.8224 | 2549283.6202 | 1180994.0335
37 | 2549296.3861 | 1181013.1459 | 2549283.6202 | 1180994.0335
38 | 2549306.2055 | 1180935.4202 | 2549320.2351 | 1180903.598
39 | 2549316.8951 | 1180999.9538 | 2549296.3861 | 1181013.1459
40 | 2549296.3861 | 1181013.1459 | 2549259.8369 | 1181037.6662
41 | 2549316.8951 | 1180999.9538 | 2549326.9218 | 1181012.7888
42 | 2549252.8338 | 1181042.3645 | 2549259.8369 | 1181037.6662
43 | 2549252.8338 | 1181042.3645 | 2549241.6359 | 1181033.1878 | 2549237.4965 | 1181029.8694
44 | 2549559.0971 | 1181002.4081 | 2549556.2582 | 1181008.1018 | 2549541.5014 | 1181029.4989
45 | 2549530.2726 | 1181047.5203 | 2549532.2122 | 1181042.9681 | 2549541.5014 | 1181029.4989
46 | 2549559.0971 | 1181002.4081 | 2549595.8974 | 1181054.6601
47 | 2549540.1585 | 1180975.5086 | 2549559.0971 | 1181002.4081
48 | 2549530.2726 | 1181047.5203 | 2549525.1878 | 1181059.4808
49 | 2549607.4011 | 1181070.994 | 2549595.8974 | 1181054.6601
50 | 2549540.1585 | 1180975.5086 | 2549509.0721 | 1181029.5115 | 2549502.3803 | 1181034.7709 | 2549499.1011 | 1181032.6308
51 | 2549607.4011 | 1181070.994 | 2549582.8592 | 1181097.5396
52 | 2549491.8054 | 1180894.9616 | 2549482.2695 | 1180900.8318
53 | 2549491.8054 | 1180894.9616 | 2549494.4285 | 1180892.6604
54 | 2549494.4285 | 1180892.6604 | 2549478.9135 | 1180873.5278
55 | 2549582.8592 | 1181097.5396 | 2549575.8138 | 1181105.1603
56 | 2549220.8856 | 1181021.5952 | 2549229.6016 | 1181023.5402 | 2549237.4965 | 1181029.8694
57 | 2549669.9959 | 1180609.126 | 2549696.5446 | 1180626.3009
58 | 2549696.5446 | 1180626.3009 | 2549705.6622 | 1180612.7914
59 | 2549669.9959 | 1180609.126 | 2549673.4826 | 1180599.5115
60 | 2549725.2112 | 1180583.8257 | 2549705.6622 | 1180612.7914
61 | 2549755.5389 | 1180518.9974 | 2549759.0428 | 1180502.4082 | 2549762.8404 | 1180488.9467 | 2549767.3512 | 1180482.194 | 2549771.7884 | 1180480.3113 | 2549783.1179 | 1180484.2295 | 2549783.8288 | 1180484.5368
62 | 2549797.775 | 1180490.5655 | 2549783.8288 | 1180484.5368
63 | 2549751.2049 | 1180539.5165 | 2549755.5389 | 1180518.9974
64 | 2549803.6226 | 1180480.1885 | 2549797.775 | 1180490.5655
65 | 2549819.5641 | 1180500.3213 | 2549816.0503 | 1180498.4609 | 2549797.775 | 1180490.5655
66 | 2549751.2049 | 1180539.5165 | 2549747.5998 | 1180549.5077 | 2549738.2949 | 1180567.4624 | 2549737.4724 | 1180568.4911
67 | 2549751.2049 | 1180539.5165 | 2549755.9217 | 1180544.5574 | 2549764.79 | 1180558.2682 | 2549770.7214 | 1180568.7908 | 2549777.3139 | 1180572.5793
68 | 2549819.5641 | 1180500.3213 | 2549821.628 | 1180501.4157
69 | 2549819.5641 | 1180500.3213 | 2549810.4263 | 1180515.789
70 | 2549725.2112 | 1180583.8257 | 2549737.4724 | 1180568.4911
71 | 2549782.5685 | 1180575.599 | 2549777.3139 | 1180572.5793
72 | 2549830.921 | 1180483.8282 | 2549821.628 | 1180501.4157
73 | 2549821.628 | 1180501.4157 | 2549838.4221 | 1180510.302 | 2549838.6712 | 1180511.1289
74 | 2549791.3634 | 1180534.7434 | 2549793.7075 | 1180529.1984 | 2549802.5913 | 1180525.6553 | 2549808.0794 | 1180519.7616 | 2549810.4263 | 1180515.789
75 | 2549725.2112 | 1180583.8257 | 2549738.5411 | 1180607.1184
76 | 2549721.63 | 1180577.5746 | 2549725.2112 | 1180583.8257
77 | 2549738.5411 | 1180607.1184 | 2549738.9319 | 1180607.8013 | 2549752.1154 | 1180629.0784
78 | 2549721.63 | 1180577.5746 | 2549699.4965 | 1180527.7779
79 | 2549721.63 | 1180577.5746 | 2549735.1623 | 1180528.733
80 | 2549699.4965 | 1180527.7779 | 2549717.9484 | 1180486.7337 | 2549721.1809 | 1180480.5766
81 | 2549779.6603 | 1180443.4775 | 2549769.1072 | 1180453.0078 | 2549757.4519 | 1180467.6025 | 2549748.8784 | 1180484.4393 | 2549740.9261 | 1180507.93 | 2549735.1623 | 1180528.733
82 | 2549721.1809 | 1180480.5766 | 2549722.9487 | 1180477.2094
83 | 2549779.6603 | 1180443.4775 | 2549780.4022 | 1180442.8074 | 2549795.6622 | 1180434.877
84 | 2549759.6219 | 1180414.2288 | 2549757.1011 | 1180418.2722
85 | 2549739.4086 | 1180446.6503 | 2549757.1011 | 1180418.2722
86 | 2549759.6219 | 1180414.2288 | 2549770.8211 | 1180396.2658
87 | 2549739.4086 | 1180446.6503 | 2549736.7726 | 1180450.8782 | 2549733.4867 | 1180457.1371
88 | 2549774.2443 | 1180390.7752 | 2549770.8211 | 1180396.2658
89 | 2549728.862 | 1180465.9461 | 2549733.4867 | 1180457.1371
90 | 2549774.2443 | 1180390.7752 | 2549784.5464 | 1180373.6875
91 | 2549774.2443 | 1180390.7752 | 2549767.8794 | 1180388.6831 | 2549759.996 | 1180390.4087
92 | 2549728.862 | 1180465.9461 | 2549722.9487 | 1180477.2094
93 | 2549784.5464 | 1180373.6875 | 2549791.8268 | 1180361.6117 | 2549791.9507 | 1180361.3425
94 | 2549759.9046 | 1180390.4287 | 2549759.996 | 1180390.4087
95 | 2549826.9797 | 1180420.4119 | 2549796.2965 | 1180434.5473 | 2549795.6622 | 1180434.877
96 | 2549826.9797 | 1180420.4119 | 2549831.4942 | 1180418.3321 | 2549841.3472 | 1180411.9349 | 2549851.0392 | 1180400.0027 | 2549856.2631 | 1180393.194
97 | 2549900.3317 | 1180335.7102 | 2549900.0147 | 1180336.1687 | 2549856.2631 | 1180393.194
98 | 2549900.3317 | 1180335.7102 | 2549909.449 | 1180346.3286
99 | 2549791.9507 | 1180361.3425 | 2549795.0477 | 1180354.6139
100 | 2549909.449 | 1180346.3286 | 2549907.5678 | 1180354.2709 | 2549895.4286 | 1180377.7186
101 | 2549795.0477 | 1180354.6139 | 2549798.1446 | 1180347.8853

## bus_geodata
| x | y | coords
0 | 2549620.5644 | 1180649.2544
1 | 2549634.8671 | 1180691.3665
2 | 2549604.809 | 1180570.4314
3 | 2549639.0113 | 1180683.7497
4 | 2549471.3905 | 1180864.2505
5 | 2549618.5864 | 1180566.6355
6 | 2549603.5038 | 1180563.2967
7 | 2549663.5488 | 1180626.9003
8 | 2549393.8303 | 1180929.5958
9 | 2549385.6918 | 1180922.2187
10 | 2549407.2955 | 1180941.8013
11 | 2549409.9138 | 1180940.1152
12 | 2549396.5369 | 1180948.7203
13 | 2549418.4602 | 1180935.8061
14 | 2549373.8727 | 1180963.2958
15 | 2549378.7733 | 1180975.3623
16 | 2549382.9864 | 1180987.4337
17 | 2549367.1733 | 1180995.2748
18 | 2549364.4606 | 1180969.3504
19 | 2549358.6753 | 1180999.4886
20 | 2549346.1985 | 1180981.0981
21 | 2549351.4294 | 1181005.5818
22 | 2549345.1521 | 1180981.7712
23 | 2549323.9238 | 1180995.431
24 | 2549445.5886 | 1180923.2859
25 | 2549438.5315 | 1180926.5429
26 | 2549464.039 | 1180913.0975
27 | 2549467.0535 | 1180911.3796
28 | 2549482.9355 | 1180945.2639
29 | 2549475.0487 | 1180905.7292
30 | 2549283.6202 | 1180994.0335
31 | 2549306.2055 | 1180935.4202
32 | 2549296.3861 | 1181013.1459
33 | 2549320.2351 | 1180903.598
34 | 2549316.8951 | 1180999.9538
35 | 2549259.8369 | 1181037.6662
36 | 2549326.9218 | 1181012.7888
37 | 2549252.8338 | 1181042.3645
38 | 2549541.5014 | 1181029.4989
39 | 2549559.0971 | 1181002.4081
40 | 2549530.2726 | 1181047.5203
41 | 2549595.8974 | 1181054.6601
42 | 2549540.1585 | 1180975.5086
43 | 2549525.1878 | 1181059.4808
44 | 2549607.4011 | 1181070.994
45 | 2549499.1011 | 1181032.6308
46 | 2549482.2695 | 1180900.8318
47 | 2549491.8054 | 1180894.9616
48 | 2549494.4285 | 1180892.6604
49 | 2549478.9135 | 1180873.5278
50 | 2549582.8592 | 1181097.5396
51 | 2549575.8138 | 1181105.1603
52 | 2549237.4965 | 1181029.8694
53 | 2549220.8856 | 1181021.5952
54 | 2549493.2284 | 1180954.9268
55 | 2549618.9788 | 1180561.5405
56 | 2549590.4003 | 1180494.7397
57 | 2549696.5446 | 1180626.3009
58 | 2549669.9959 | 1180609.126
59 | 2549705.6622 | 1180612.7914
60 | 2549783.8288 | 1180484.5368
61 | 2549755.5389 | 1180518.9974
62 | 2549797.775 | 1180490.5655
63 | 2549751.2049 | 1180539.5165
64 | 2549803.6226 | 1180480.1885
65 | 2549819.5641 | 1180500.3213
66 | 2549737.4724 | 1180568.4911
67 | 2549777.3139 | 1180572.5793
68 | 2549821.628 | 1180501.4157
69 | 2549810.4263 | 1180515.789
70 | 2549725.2112 | 1180583.8257
71 | 2549782.5685 | 1180575.599
72 | 2549830.921 | 1180483.8282
73 | 2549838.6712 | 1180511.1289
74 | 2549791.3634 | 1180534.7434
75 | 2549738.5411 | 1180607.1184
76 | 2549721.63 | 1180577.5746
77 | 2549752.1154 | 1180629.0784
78 | 2549699.4965 | 1180527.7779
79 | 2549735.1623 | 1180528.733
80 | 2549673.4826 | 1180599.5115
81 | 2549721.1809 | 1180480.5766
82 | 2549779.6603 | 1180443.4775
83 | 2549757.1011 | 1180418.2722
84 | 2549759.6219 | 1180414.2288
85 | 2549739.4086 | 1180446.6503
86 | 2549770.8211 | 1180396.2658
87 | 2549733.4867 | 1180457.1371
88 | 2549774.2443 | 1180390.7752
89 | 2549728.862 | 1180465.9461
90 | 2549784.5464 | 1180373.6875
91 | 2549759.996 | 1180390.4087
92 | 2549722.9487 | 1180477.2094
93 | 2549795.6622 | 1180434.877
94 | 2549826.9797 | 1180420.4119
95 | 2549856.2631 | 1180393.194
96 | 2549900.3317 | 1180335.7102
97 | 2549791.9507 | 1180361.3425
98 | 2549759.9046 | 1180390.4287
99 | 2549909.449 | 1180346.3286
100 | 2549895.4286 | 1180377.7186
101 | 2549795.0477 | 1180354.6139
102 | 2549798.1446 | 1180347.8853
103 | 2549639.0113 | 1180683.7497

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1