## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6417-18_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6417-18_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6417-18_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6417-18_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6417-18_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6417-18_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6417-18_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6417-18_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6417-18_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6417-18_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6417-18_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6417-18_0_2_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_6417-18_0_2_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_6417-18_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6417-18_0_2_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_6417-18_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6417-18_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6417-18_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6417-18_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6417-18_0_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_6417-18_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6417-18_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_6417-18_0_2_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_6417-18_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6417-18_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6417-18_0_2_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_6417-18_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_6417-18_0_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_6417-18_0_2_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6417-18_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_6417-18_0_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_6417-18_0_2_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6417-18_0_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_6417-18_0_2_node_94 | 0.4 | n |  | TRUE
34 | bus_LV_6417-18_0_2_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_6417-18_0_2_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6417-18_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_6417-18_0_2_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_6417-18_0_2_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_6417-18_0_2_node_95 | 0.4 | n |  | TRUE
40 | bus_LV_6417-18_0_2_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_6417-18_0_2_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_6417-18_0_2_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_6417-18_0_2_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_6417-18_0_2_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_6417-18_0_2_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_6417-18_0_2_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_6417-18_0_2_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_6417-18_0_2_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_6417-18_0_2_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_6417-18_0_2_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_6417-18_0_2_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_6417-18_0_2_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_6417-18_0_2_node_96 | 0.4 | n |  | TRUE
54 | bus_MV_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6417-18_0_2_load_0 | 0 | 0.00023144 | 5.8005e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6417-18_0_2_load_1 | 1 | 0.00023183 | 5.8101e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6417-18_0_2_load_3 | 3 | 0.00022258 | 5.5785e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6417-18_0_2_load_4 | 4 | 0.0002431 | 6.0926e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6417-18_0_2_load_5 | 5 | 0.00052759 | 0.00013223 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6417-18_0_2_load_8 | 8 | 0.00017441 | 4.3711e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6417-18_0_2_load_9 | 9 | 0.00021115 | 5.2919e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6417-18_0_2_load_10 | 10 | 0.00014916 | 3.7382e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6417-18_0_2_load_29 | 11 | 0.00026473 | 6.6347e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6417-18_0_2_load_26 | 12 | 0.00020897 | 5.2373e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6417-18_0_2_load_12 | 13 | 0.00023774 | 5.9584e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6417-18_0_2_load_27 | 14 | 0.00038951 | 9.7621e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6417-18_0_2_load_16 | 17 | 0.00022955 | 5.753e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6417-18_0_2_load_14 | 18 | 0.00023233 | 5.8228e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6417-18_0_2_load_21 | 19 | 0.00030451 | 7.6317e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6417-18_0_2_load_17 | 20 | 0.00020388 | 5.1097e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6417-18_0_2_load_42 | 22 | 0.00047743 | 0.00011966 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6417-18_0_2_load_18 | 23 | 0.00027274 | 6.8355e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6417-18_0_2_load_20 | 24 | 0.00031757 | 7.9589e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6417-18_0_2_load_30 | 27 | 0.00021078 | 5.2826e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6417-18_0_2_load_34 | 30 | 0.00031164 | 7.8104e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6417-18_0_2_load_37 | 32 | 0.00014373 | 3.6022e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6417-18_0_2_load_94 | 33 | 0.00017899 | 4.486e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6417-18_0_2_load_35 | 34 | 0.00020784 | 5.209e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6417-18_0_2_load_36 | 35 | 0.00029625 | 7.4247e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6417-18_0_2_load_38 | 36 | 0.00019126 | 4.7933e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6417-18_0_2_load_41 | 37 | 0.00061923 | 0.00015519 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6417-18_0_2_load_95 | 39 | 0.00066124 | 0.00016572 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6417-18_0_2_load_58 | 41 | 0.000257 | 6.4409e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6417-18_0_2_load_63 | 42 | 0.00034722 | 8.7022e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6417-18_0_2_load_56 | 44 | 0.0021756 | 0.00054525 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6417-18_0_2_load_52 | 45 | 0.004097 | 0.0010268 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6417-18_0_2_load_60 | 48 | 0.00040999 | 0.00010275 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6417-18_0_2_load_61 | 49 | 0.0003238 | 8.1152e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6417-18_0_2_load_62 | 50 | 0.0005208 | 0.00013052 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6417-18_0_2_load_65 | 52 | 0.00041005 | 0.00010277 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6417-18_0_2_load_96 | 53 | 0.00040704 | 0.00010201 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6417-18_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.004169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6417-18_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.057145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6417-18_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.066968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6417-18_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.087158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6417-18_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.061124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6417-18_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.27093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6417-18_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.039224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6417-18_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.034029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6417-18_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.16011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6417-18_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.11304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6417-18_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.16609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6417-18_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.099633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6417-18_0_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.023139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6417-18_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.033167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6417-18_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.071914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6417-18_0_2_line_15 | NAYY 4x150 SE | 14 | 26 | 0.16175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6417-18_0_2_line_16 | NAYY 4x150 SE | 15 | 19 | 0.17866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6417-18_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.45131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6417-18_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.01144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6417-18_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.051511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6417-18_0_2_line_20 | NAYY 4x150 SE | 17 | 21 | 0.36668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6417-18_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.064831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6417-18_0_2_line_22 | NAYY 4x150 SE | 21 | 24 | 0.18202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6417-18_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.047927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6417-18_0_2_line_24 | NAYY 4x150 SE | 22 | 25 | 0.010197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6417-18_0_2_line_25 | NAYY 4x150 SE | 25 | 37 | 0.23711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6417-18_0_2_line_26 | NAYY 4x150 SE | 25 | 36 | 0.072482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6417-18_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.1597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6417-18_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.094144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6417-18_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.20471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6417-18_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.13115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6417-18_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.12415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6417-18_0_2_line_32 | NAYY 4x150 SE | 29 | 32 | 0.044502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6417-18_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.084419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6417-18_0_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.10383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6417-18_0_2_line_35 | NAYY 4x150 SE | 33 | 39 | 0.023892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6417-18_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.094256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6417-18_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.019367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6417-18_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.50132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6417-18_0_2_line_39 | NAYY 4x150 SE | 38 | 40 | 0.019037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6417-18_0_2_line_40 | NAYY 4x150 SE | 38 | 41 | 0.051239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6417-18_0_2_line_41 | NAYY 4x150 SE | 39 | 53 | 0.05694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6417-18_0_2_line_42 | NAYY 4x150 SE | 40 | 42 | 0.20861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6417-18_0_2_line_43 | NAYY 4x150 SE | 40 | 43 | 0.55824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6417-18_0_2_line_44 | NAYY 4x150 SE | 41 | 44 | 0.14707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6417-18_0_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0043047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6417-18_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.12166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6417-18_0_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.083257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6417-18_0_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.1309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6417-18_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.044287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6417-18_0_2_line_50 | NAYY 4x150 SE | 47 | 50 | 0.50038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6417-18_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.18603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6417-18_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.19223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6417-18_0_2_trafo_41 | 0.25 MVA 20/0.4 kV | 54 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50
0 | 2545912.6286 | 1196750.9121 | 2545909.508 | 1196753.6766
1 | 2545953.4 | 1196710.9137 | 2545948.1587 | 1196716.7423 | 2545921.0166 | 1196743.4813 | 2545912.6286 | 1196750.9121
2 | 2545909.508 | 1196753.6766 | 2545905.9788 | 1196756.803 | 2545899.4222 | 1196761.2094 | 2545891.169 | 1196769.211 | 2545879.9416 | 1196782.6983 | 2545868.0475 | 1196796.5919 | 2545862.9876 | 1196801.4575
3 | 2545953.4 | 1196710.9137 | 2545956.8065 | 1196706.8805 | 2545960.4511 | 1196703.0564 | 2545973.159 | 1196694.87 | 2545994.2264 | 1196681.1493 | 2546015.5137 | 1196669.8168 | 2546027.3795 | 1196666.2074
4 | 2545953.4 | 1196710.9137 | 2545951.8396 | 1196707.6815 | 2545945.543 | 1196697.9219 | 2545932.4312 | 1196674.9942 | 2545924.1461 | 1196662.6956 | 2545921.1232 | 1196659.1239
5 | 2545697.1032 | 1197012.7912 | 2545699.8343 | 1197008.2415 | 2545707.9626 | 1196991.6025 | 2545716.7807 | 1196977.9477 | 2545735.4954 | 1196952.7742 | 2545743.1292 | 1196942.0542 | 2545754.2183 | 1196922.6312 | 2545759.3858 | 1196915.4356 | 2545765.532 | 1196909.4763 | 2545785.4951 | 1196893.3968 | 2545796.0186 | 1196882.9619 | 2545807.5915 | 1196869.8048 | 2545827.6512 | 1196837.4931 | 2545843.3267 | 1196819.7851 | 2545857.8229 | 1196806.4237 | 2545862.9876 | 1196801.4575
6 | 2546027.3795 | 1196666.2074 | 2546025.5379 | 1196670.6155 | 2546025.626 | 1196675.3063 | 2546026.8778 | 1196679.7864 | 2546028.8988 | 1196684.2596 | 2546032.144 | 1196688.4882 | 2546038.213 | 1196694.9926 | 2546042.5995 | 1196699.0775
7 | 2546027.3795 | 1196666.2074 | 2546041.3485 | 1196661.8341 | 2546046.7184 | 1196659.2619 | 2546052.3937 | 1196655.9309 | 2546057.9461 | 1196651.9085
8 | 2545921.1232 | 1196659.1239 | 2545916.6386 | 1196653.8252 | 2545910.3322 | 1196647.2008 | 2545903.0907 | 1196638.2613 | 2545898.4911 | 1196634.2229 | 2545888.6228 | 1196627.1083 | 2545861.2764 | 1196608.7014 | 2545850.7625 | 1196601.804 | 2545842.2439 | 1196597.3676 | 2545835.5199 | 1196595.1051 | 2545827.5015 | 1196593.7549 | 2545802.6969 | 1196591.0341 | 2545783.9505 | 1196588.5697 | 2545783.9505 | 1196588.5697
9 | 2545697.1032 | 1197012.7912 | 2545627.3786 | 1196962.8642 | 2545601.5204 | 1196958.0638 | 2545600.5458 | 1196957.9579
10 | 2546042.5995 | 1196699.0775 | 2546054.2386 | 1196700.7176 | 2546064.1355 | 1196700.0833 | 2546073.8775 | 1196698.3276 | 2546081.2664 | 1196695.7927 | 2546088.4988 | 1196692.8035 | 2546092.4029 | 1196691.5564 | 2546096.6647 | 1196691.1176 | 2546100.6589 | 1196691.415 | 2546104.8846 | 1196692.0439 | 2546121.7546 | 1196696.8054 | 2546151.9607 | 1196708.9508 | 2546160.5087 | 1196710.7747 | 2546181.5077 | 1196714.7542 | 2546193.9351 | 1196718.511 | 2546202.4825 | 1196721.4479
11 | 2546042.5995 | 1196699.0775 | 2546055.8388 | 1196711.7317 | 2546100.9815 | 1196762.5084 | 2546108.7855 | 1196771.3652 | 2546109.6629 | 1196772.6695
12 | 2545762.1555 | 1196580.9189 | 2545773.136 | 1196585.4995 | 2545783.9505 | 1196588.5697
13 | 2546109.6629 | 1196772.6695 | 2546112.7696 | 1196777.2881 | 2546118.7261 | 1196789.0633 | 2546121.3387 | 1196792.4194 | 2546124.5863 | 1196795.2473 | 2546129.7449 | 1196797.9953
14 | 2545716.8004 | 1196528.19 | 2545725.7184 | 1196547.1976 | 2545730.4915 | 1196556.0592 | 2545736.4649 | 1196563.7204 | 2545743.4276 | 1196570.4387 | 2545752.9921 | 1196575.9549 | 2545762.1555 | 1196580.9189
15 | 2546248.3179 | 1196898.7573 | 2546247.7465 | 1196892.8368 | 2546246.2045 | 1196887.392 | 2546243.8124 | 1196882.2884 | 2546240.299 | 1196877.8509 | 2546236.2945 | 1196873.8736 | 2546212.6837 | 1196853.8749 | 2546207.4624 | 1196850.1087 | 2546204.6917 | 1196848.644 | 2546200.815 | 1196846.1664 | 2546196.4928 | 1196843.2704 | 2546192.183 | 1196838.3842 | 2546177.2913 | 1196821.4978 | 2546171.1593 | 1196815.583 | 2546167.9442 | 1196812.9883 | 2546164.2149 | 1196810.8096 | 2546159.2285 | 1196808.5978 | 2546153.4308 | 1196806.8046 | 2546142.0981 | 1196803.6384 | 2546133.1437 | 1196799.8059 | 2546129.7449 | 1196797.9953
16 | 2545716.8004 | 1196528.19 | 2545684.9308 | 1196531.8265 | 2545645.1685 | 1196546.2413 | 2545608.5148 | 1196574.069 | 2545595.6352 | 1196576.7657 | 2545562.9378 | 1196603.179 | 2545559.8056 | 1196604.6973
17 | 2545955.415 | 1197205.5787 | 2545964.6668 | 1197212.0208 | 2546007.2415 | 1197242.7975 | 2546030.6736 | 1197250.7122 | 2546055.4181 | 1197258.0371 | 2546063.8751 | 1197261.6738 | 2546069.6891 | 1197265.3123 | 2546084.7894 | 1197275.8707 | 2546092.2164 | 1197285.209 | 2546110.6727 | 1197309.7786 | 2546121.7607 | 1197323.0638 | 2546130.3827 | 1197328.1111 | 2546180.7641 | 1197343.8654 | 2546246.7587 | 1197370.5414 | 2546262.4759 | 1197375.2358 | 2546290.4733 | 1197381.0315 | 2546303.8467 | 1197386.8033 | 2546328.5887 | 1197400.7331 | 2546335.552 | 1197408.5527 | 2546342.4872 | 1197415.9348
18 | 2545955.415 | 1197205.5787 | 2545948.4416 | 1197201.773 | 2545944.9492 | 1197201.6294
19 | 2546383.2925 | 1197447.0819 | 2546381.7524 | 1197446.5036 | 2546367.8611 | 1197436.4782 | 2546355.6373 | 1197428.0833 | 2546343.2576 | 1197416.7548 | 2546342.4872 | 1197415.9348
20 | 2546342.4872 | 1197415.9348 | 2546107.6959 | 1197697.5833
21 | 2546441.5345 | 1197474.7262 | 2546436.8501 | 1197471.9677 | 2546430.6208 | 1197466.9763 | 2546421.8644 | 1197462.1744 | 2546407.3692 | 1197456.1234 | 2546383.2925 | 1197447.0819
22 | 2546107.6959 | 1197697.5833 | 2546105.1601 | 1197701.8308 | 2546102.8774 | 1197706.2873 | 2546075.8962 | 1197741.9627 | 2546070.6326 | 1197749.4479 | 2546068.5724 | 1197756.604 | 2546068.4303 | 1197762.7866 | 2546069.0457 | 1197766.8278 | 2546073.3828 | 1197777.3279 | 2546079.1973 | 1197788.6597 | 2546082.4267 | 1197794.5783 | 2546084.8325 | 1197800.371 | 2546087.3837 | 1197806.2513 | 2546090.3591 | 1197816.0856 | 2546094.7955 | 1197825.7845 | 2546100.0147 | 1197837.8331 | 2546109.1531 | 1197858.807
23 | 2546107.6959 | 1197697.5833 | 2546099.6938 | 1197692.7973 | 2546069.2365 | 1197676.7744 | 2546065.6045 | 1197674.6895
24 | 2546450.6744 | 1197472.0103 | 2546448.5414 | 1197473.6637 | 2546445.5935 | 1197475.3245 | 2546441.6664 | 1197474.8039 | 2546441.5345 | 1197474.7262
25 | 2546450.6744 | 1197472.0103 | 2546459.7452 | 1197489.7835 | 2546463.2491 | 1197495.7666 | 2546466.2714 | 1197499.8529 | 2546476.0552 | 1197510.5157 | 2546482.2662 | 1197519.4095 | 2546495.7172 | 1197541.5349 | 2546503.3533 | 1197553.073 | 2546509.8822 | 1197561.7528 | 2546517.0883 | 1197569.5149 | 2546531.1998 | 1197582.9294 | 2546539.8912 | 1197591.5565 | 2546547.7716 | 1197601.4804 | 2546556.9091 | 1197614.0057 | 2546563.4636 | 1197624.7087 | 2546567.3867 | 1197634.9906 | 2546568.7547 | 1197642.3159 | 2546569.0526 | 1197647.5051 | 2546568.8417 | 1197655.4226 | 2546568.4047 | 1197670.0406
26 | 2546450.6744 | 1197472.0103 | 2546450.5384 | 1197465.3522 | 2546449.7569 | 1197458.8999 | 2546446.0294 | 1197446.693 | 2546440.6498 | 1197432.8556 | 2546437.825 | 1197425.3211 | 2546436.6505 | 1197417.5161 | 2546437.682 | 1197401.7756
27 | 2546248.3179 | 1196898.7573 | 2546255.4361 | 1196902.562 | 2546262.5973 | 1196903.5203 | 2546273.204 | 1196901.3791 | 2546285.3489 | 1196889.0516 | 2546299.5043 | 1196872.4258 | 2546310.0191 | 1196860.9246 | 2546331.4623 | 1196859.3085 | 2546357.5383 | 1196873.9491 | 2546380.1612 | 1196890.0328
28 | 2546270.6193 | 1196989.8863 | 2546264.3205 | 1196966.2629 | 2546251.3207 | 1196922.5994 | 2546248.9693 | 1196912.7149 | 2546248.3179 | 1196898.7573
29 | 2546386.5469 | 1197156.3499 | 2546384.0271 | 1197153.1041 | 2546378.646 | 1197146.7821 | 2546374.6207 | 1197141.2929 | 2546369.6168 | 1197133.7113 | 2546366.2715 | 1197128.4718 | 2546361.8804 | 1197122.9636 | 2546355.0987 | 1197116.7433 | 2546334.2397 | 1197097.6866 | 2546327.5513 | 1197089.9868 | 2546320.9034 | 1197081.7085 | 2546315.6916 | 1197073.8954 | 2546308.0105 | 1197061.6908 | 2546278.6408 | 1197011.104 | 2546273.8607 | 1197000.4854 | 2546270.6193 | 1196989.8863
30 | 2546379.5772 | 1196975.876 | 2546365.2638 | 1196971.5355 | 2546350.1732 | 1196968.8696 | 2546345.087 | 1196966.5474 | 2546316.5275 | 1196956.0538 | 2546312.3348 | 1196954.8464 | 2546308.5185 | 1196955.6812 | 2546305.6037 | 1196957.653 | 2546296.8366 | 1196971.2063 | 2546282.5972 | 1196990.3121 | 2546279.7872 | 1196992.0828 | 2546276.6933 | 1196992.7777 | 2546274.5349 | 1196992.4637 | 2546270.6193 | 1196989.8863
31 | 2546386.5469 | 1197156.3499 | 2546497.9081 | 1197211.8599
32 | 2546386.5469 | 1197156.3499 | 2546393.9977 | 1197174.3044 | 2546399.3456 | 1197184.5733 | 2546405.8548 | 1197193.5422 | 2546407.322 | 1197195.4452
33 | 2546497.9081 | 1197211.8599 | 2546502.318 | 1197210.1416 | 2546505.2957 | 1197207.5467 | 2546529.6775 | 1197172.775 | 2546541.6789 | 1197165.6745 | 2546550.6634 | 1197166.1498 | 2546560.4877 | 1197169.3308
34 | 2546408.2282 | 1197293.8245 | 2546403.8863 | 1197277.9193 | 2546402.4847 | 1197270.2831 | 2546402.1088 | 1197261.5036 | 2546402.9105 | 1197254.9371 | 2546405.0595 | 1197245.7459 | 2546410.768 | 1197231.731 | 2546414.9326 | 1197222.2104 | 2546416.0833 | 1197216.3412 | 2546416.0191 | 1197212.584 | 2546414.2372 | 1197205.8517 | 2546409.9238 | 1197198.8198 | 2546407.322 | 1197195.4452
35 | 2546560.4877 | 1197169.3308 | 2546583.218 | 1197176.6904
36 | 2546408.2282 | 1197293.8245 | 2546413.5107 | 1197313.1752 | 2546416.2288 | 1197318.9875 | 2546425.989 | 1197333.775 | 2546428.2987 | 1197338.2123 | 2546430.4855 | 1197345.0966 | 2546433.2891 | 1197362.1257 | 2546436.257 | 1197380.4984 | 2546436.4808 | 1197382.453
37 | 2546436.4808 | 1197382.453 | 2546436.9513 | 1197386.5623 | 2546437.682 | 1197401.7756 | 2546437.682 | 1197401.7756
38 | 2546995.3736 | 1197903.2598 | 2546987.376 | 1197899.7288 | 2546957.322 | 1197882.4083 | 2546947.2809 | 1197872.6253 | 2546938.6755 | 1197867.5545 | 2546913.6376 | 1197861.9296 | 2546882.5022 | 1197843.8074 | 2546851.0229 | 1197829.8464 | 2546829.3504 | 1197813.9082 | 2546813.1474 | 1197804.9475 | 2546796.4155 | 1197798.1706 | 2546783.8937 | 1197796.3479 | 2546757.135 | 1197795.0859 | 2546737.6526 | 1197781.3742 | 2546719.6874 | 1197775.5201 | 2546705.7319 | 1197770.931 | 2546693.677 | 1197765.1132 | 2546686.0344 | 1197763.0025 | 2546675.5684 | 1197758.5713 | 2546644.5393 | 1197734.6016 | 2546634.8091 | 1197730.6975 | 2546627.0709 | 1197726.4198 | 2546607.9098 | 1197713.7729 | 2546590.3947 | 1197700.3887 | 2546579.072 | 1197694.7202 | 2546574.5819 | 1197691.7031 | 2546571.6047 | 1197688.3834 | 2546569.3385 | 1197679.4208 | 2546568.3553 | 1197671.6918 | 2546568.4047 | 1197670.0406
39 | 2547005.8953 | 1197918.2972 | 2546998.6957 | 1197912.002 | 2546996.0335 | 1197907.2451 | 2546995.3736 | 1197903.2598
40 | 2546995.3736 | 1197903.2598 | 2546998.4739 | 1197898.196 | 2547003.0453 | 1197895.8318 | 2547019.2623 | 1197890.1401 | 2547026.8278 | 1197887.0489 | 2547033.3237 | 1197881.8549 | 2547036.6846 | 1197876.9668 | 2547036.8999 | 1197876.4643
41 | 2546583.218 | 1197176.6904 | 2546586.4138 | 1197177.7252 | 2546599.6738 | 1197186.1335 | 2546614.0824 | 1197196.9219 | 2546631.9025 | 1197205.7345
42 | 2547005.8953 | 1197918.2972 | 2547034.6795 | 1197928.1694 | 2547054.7974 | 1197943.2439 | 2547070.0127 | 1197950.8466 | 2547097.3134 | 1197971.2161 | 2547104.4663 | 1197976.5557 | 2547116.1974 | 1197986.324 | 2547122.8053 | 1197994.6146 | 2547128.9815 | 1197999.7517 | 2547137.7835 | 1198002.1195 | 2547151.1867 | 1198004.6466 | 2547162.1515 | 1198008.7296 | 2547172.615 | 1198013.8288 | 2547181.7143 | 1198023.1799
43 | 2546952.9647 | 1198359.0756 | 2546961.5546 | 1198354.7746 | 2546962.3793 | 1198355.879 | 2546966.9733 | 1198353.5368 | 2546977.4847 | 1198347.7956 | 2546988.8107 | 1198342.8922 | 2546998.9282 | 1198340.8122 | 2547006.7262 | 1198337.3743 | 2547016.3834 | 1198329.773 | 2547025.0539 | 1198324.2484 | 2547050.8045 | 1198308.3107 | 2547055.9272 | 1198304.6075 | 2547059.5448 | 1198300.3508 | 2547061.6218 | 1198295.8408 | 2547062.9979 | 1198286.1453 | 2547061.8984 | 1198280.6741 | 2547062.2641 | 1198272.9776 | 2547061.9342 | 1198267.5552 | 2547061.121 | 1198262.5929 | 2547059.4096 | 1198257.6831 | 2547060.1847 | 1198254.919 | 2547061.4064 | 1198246.7146 | 2547050.7999 | 1198233.1899 | 2547048.046 | 1198219.7955 | 2547033.1743 | 1198194.2351 | 2547022.393 | 1198168.7718 | 2547014.4059 | 1198143.2393 | 2547012.4645 | 1198134.7405 | 2547012.055 | 1198127.2176 | 2547014.7849 | 1198113.0519 | 2547014.9079 | 1198108.0369 | 2547013.9215 | 1198104.1545 | 2547008.6832 | 1198094.0175 | 2547001.5801 | 1198083.997 | 2546991.5832 | 1198071.4231 | 2546974.0784 | 1198049.555 | 2546970.1724 | 1198041.096 | 2546967.1568 | 1198029.1271 | 2546966.8691 | 1198018.19 | 2546968.2481 | 1198013.1193 | 2546970.7085 | 1198008.039 | 2546976.3919 | 1197999.7059 | 2546986.5237 | 1197990.5996 | 2547005.8435 | 1197974.1629 | 2547010.841 | 1197966.6253 | 2547016.2496 | 1197953.9256 | 2547019.1466 | 1197943.9719 | 2547019.9322 | 1197938.1061 | 2547019.1123 | 1197932.399 | 2547016.4208 | 1197927.7647 | 2547005.8953 | 1197918.2972
44 | 2547036.8999 | 1197876.4643 | 2547039.5721 | 1197870.2262 | 2547041.5376 | 1197863.427 | 2547047.6326 | 1197839.6705 | 2547052.3418 | 1197812.5131 | 2547055.3114 | 1197793.5759 | 2547059.2173 | 1197787.4378 | 2547063.6043 | 1197783.1742 | 2547070.2137 | 1197780.4473 | 2547076.9973 | 1197780.1981 | 2547084.6003 | 1197781.2979 | 2547099.7214 | 1197783.3873 | 2547111.3417 | 1197782.3281
45 | 2546952.9647 | 1198359.0756 | 2546955.5413 | 1198362.5241
46 | 2547131.5673 | 1197662.647 | 2547129.5152 | 1197674.2941 | 2547125.1051 | 1197716.335 | 2547118.6861 | 1197757.7156 | 2547111.3417 | 1197782.3281
47 | 2547131.5673 | 1197662.647 | 2547153.0502 | 1197628.8707 | 2547163.5905 | 1197617.6265 | 2547170.6613 | 1197608.5031 | 2547180.3213 | 1197603.637 | 2547185.8621 | 1197604.066
48 | 2547131.5673 | 1197662.647 | 2547133.8704 | 1197647.518 | 2547131.1635 | 1197636.002 | 2547130.8665 | 1197625.6988 | 2547129.1774 | 1197608.7151 | 2547123.9379 | 1197602.747 | 2547103.1092 | 1197596.0834 | 2547089.0246 | 1197574.3848 | 2547080.4052 | 1197566.9125 | 2547071.516 | 1197564.1597
49 | 2547185.8621 | 1197604.066 | 2547190.9491 | 1197581.6415 | 2547194.8754 | 1197560.7138
50 | 2547185.8621 | 1197604.066 | 2547189.2934 | 1197611.3954 | 2547192.6573 | 1197620.5819 | 2547201.0132 | 1197635.3053 | 2547233.3667 | 1197679.1775 | 2547240.9684 | 1197685.2915 | 2547257.5969 | 1197691.5925 | 2547266.8365 | 1197692.5892 | 2547274.1784 | 1197691.7238 | 2547289.6712 | 1197691.0421 | 2547306.9797 | 1197697.6041 | 2547338.5391 | 1197709.4655 | 2547347.9581 | 1197716.1195 | 2547379.5652 | 1197744.6348 | 2547394.6851 | 1197756.0857 | 2547419.3926 | 1197768.286 | 2547439.4319 | 1197784.0073 | 2547465.2191 | 1197809.0056 | 2547481.2839 | 1197824.8732 | 2547501.9427 | 1197857.3655 | 2547506.2031 | 1197864.6433 | 2547514.3572 | 1197878.2015 | 2547524.4629 | 1197886.7842 | 2547544.8387 | 1197909.6625 | 2547552.5103 | 1197911.3734
51 | 2547731.5321 | 1197947.7123 | 2547721.7094 | 1197946.1642 | 2547712.5062 | 1197944.9219 | 2547692.9822 | 1197942.6473 | 2547675.6096 | 1197941.6769 | 2547670.4998 | 1197941.7217 | 2547660.3524 | 1197937.0303 | 2547649.8982 | 1197932.953 | 2547639.533 | 1197927.741 | 2547629.8851 | 1197921.8223 | 2547620.8651 | 1197918.0327 | 2547611.127 | 1197914.8608 | 2547587.5032 | 1197910.5881 | 2547579.1183 | 1197909.7391 | 2547560.5509 | 1197912.3482 | 2547553.0876 | 1197911.5022 | 2547552.5103 | 1197911.3734
52 | 2547839.0517 | 1198096.5341 | 2547834.2951 | 1198066.4363 | 2547831.5062 | 1198050.5849 | 2547819.6667 | 1198028.2869 | 2547808.2592 | 1198009.2424 | 2547783.1606 | 1197988.6948 | 2547755.17 | 1197964.9151 | 2547731.5321 | 1197947.7123

## bus_geodata
| x | y | coords
0 | 2545912.6286 | 1196750.9121
1 | 2545909.508 | 1196753.6766
2 | 2545953.4 | 1196710.9137
3 | 2545862.9876 | 1196801.4575
4 | 2546027.3795 | 1196666.2074
5 | 2545921.1232 | 1196659.1239
6 | 2545697.1032 | 1197012.7912
7 | 2546042.5995 | 1196699.0775
8 | 2546057.9461 | 1196651.9085
9 | 2545783.9505 | 1196588.5697
10 | 2545600.5458 | 1196957.9579
11 | 2546202.4825 | 1196721.4479
12 | 2546109.6629 | 1196772.6695
13 | 2545762.1555 | 1196580.9189
14 | 2546129.7449 | 1196797.9953
15 | 2545716.8004 | 1196528.19
16 | 2545955.415 | 1197205.5787
17 | 2546342.4872 | 1197415.9348
18 | 2545944.9492 | 1197201.6294
19 | 2545559.8056 | 1196604.6973
20 | 2546383.2925 | 1197447.0819
21 | 2546107.6959 | 1197697.5833
22 | 2546441.5345 | 1197474.7262
23 | 2546065.6045 | 1197674.6895
24 | 2546109.1531 | 1197858.807
25 | 2546450.6744 | 1197472.0103
26 | 2546248.3179 | 1196898.7573
27 | 2546380.1612 | 1196890.0328
28 | 2546270.6193 | 1196989.8863
29 | 2546386.5469 | 1197156.3499
30 | 2546379.5772 | 1196975.876
31 | 2546497.9081 | 1197211.8599
32 | 2546407.322 | 1197195.4452
33 | 2546560.4877 | 1197169.3308
34 | 2546408.2282 | 1197293.8245
35 | 2546436.4808 | 1197382.453
36 | 2546437.682 | 1197401.7756
37 | 2546568.4047 | 1197670.0406
38 | 2546995.3736 | 1197903.2598
39 | 2546583.218 | 1197176.6904
40 | 2547005.8953 | 1197918.2972
41 | 2547036.8999 | 1197876.4643
42 | 2547181.7143 | 1198023.1799
43 | 2546952.9647 | 1198359.0756
44 | 2547111.3417 | 1197782.3281
45 | 2546955.5413 | 1198362.5241
46 | 2547131.5673 | 1197662.647
47 | 2547185.8621 | 1197604.066
48 | 2547071.516 | 1197564.1597
49 | 2547194.8754 | 1197560.7138
50 | 2547552.5103 | 1197911.3734
51 | 2547731.5321 | 1197947.7123
52 | 2547839.0517 | 1198096.5341
53 | 2546631.9025 | 1197205.7345
54 | 2546568.4047 | 1197670.0406

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1