## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6417-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6417-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6417-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6417-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6417-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6417-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6417-3_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_6417-3_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6417-3_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_6417-3_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6417-3_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_6417-3_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_6417-3_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_6417-3_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_6417-3_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6417-3_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_6417-3_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6417-3_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6417-3_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6417-3_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6417-3_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6417-3_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6417-3_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6417-3_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_6417-3_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_6417-3_0_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_6417-3_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_6417-3_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_6417-3_0_4_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_6417-3_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_6417-3_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6417-3_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6417-3_0_4_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_6417-3_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_6417-3_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6417-3_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6417-3_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_6417-3_0_4_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_6417-3_0_4_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_6417-3_0_4_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_6417-3_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_6417-3_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_6417-3_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6417-3_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_6417-3_0_4_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_6417-3_0_4_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_6417-3_0_4_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_6417-3_0_4_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_6417-3_0_4_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_6417-3_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6417-3_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6417-3_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6417-3_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_6417-3_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_6417-3_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6417-3_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_6417-3_0_4_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_6417-3_0_4_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_6417-3_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6417-3_0_4_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_6417-3_0_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_6417-3_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_6417-3_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_6417-3_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_6417-3_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_6417-3_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_6417-3_0_4_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_6417-3_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_6417-3_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_6417-3_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_6417-3_0_4_node_91 | 0.4 | n |  | TRUE
71 | bus_LV_6417-3_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_6417-3_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_6417-3_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_6417-3_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_6417-3_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_6417-3_0_4_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_6417-3_0_4_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_6417-3_0_4_node_97 | 0.4 | n |  | TRUE
79 | bus_LV_6417-3_0_4_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_6417-3_0_4_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_6417-3_0_4_node_96 | 0.4 | n |  | TRUE
82 | bus_LV_6417-3_0_4_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_6417-3_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_6417-3_0_4_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_6417-3_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_6417-3_0_4_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_6417-3_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_6417-3_0_4_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_6417-3_0_4_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_6417-3_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_6417-3_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_6417-3_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_MV_338_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6417-3_0_4_load_0 | 0 | 0.004129 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6417-3_0_4_load_3 | 3 | 0.00061139 | 0.00015323 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6417-3_0_4_load_5 | 5 | 0.0029625 | 0.00074248 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6417-3_0_4_load_17 | 6 | 0.0084388 | 0.002115 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6417-3_0_4_load_10 | 8 | 0.0013904 | 0.00034847 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6417-3_0_4_load_6 | 9 | 0.0037836 | 0.00094827 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6417-3_0_4_load_20 | 10 | 0.0013334 | 0.00033419 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6417-3_0_4_load_18 | 11 | 0.0095015 | 0.0023813 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6417-3_0_4_load_23 | 12 | 0.0014781 | 0.00037045 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6417-3_0_4_load_26 | 13 | 0.0030102 | 0.00075443 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6417-3_0_4_load_7 | 14 | 0.0015303 | 0.00038353 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6417-3_0_4_load_19 | 15 | 0.002668 | 0.00066866 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6417-3_0_4_load_8 | 16 | 0.0023184 | 0.00058105 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6417-3_0_4_load_11 | 18 | 0.0041036 | 0.0010285 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6417-3_0_4_load_12 | 19 | 0.0015821 | 0.0003965 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6417-3_0_4_load_14 | 21 | 0.0024123 | 0.00060459 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6417-3_0_4_load_16 | 22 | 0.0043729 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6417-3_0_4_load_27 | 26 | 0.0022415 | 0.00056176 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6417-3_0_4_load_94 | 28 | 0.0033845 | 0.00084824 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6417-3_0_4_load_21 | 30 | 0.0037994 | 0.00095223 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6417-3_0_4_load_22 | 31 | 0.0024952 | 0.00062536 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6417-3_0_4_load_88 | 32 | 0.0022807 | 0.0005716 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6417-3_0_4_load_28 | 33 | 0.002481 | 0.00062181 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6417-3_0_4_load_29 | 34 | 0.0043527 | 0.0010909 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6417-3_0_4_load_31 | 35 | 0.0020073 | 0.00050308 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6417-3_0_4_load_33 | 36 | 0.0010901 | 0.0002732 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6417-3_0_4_load_49 | 39 | 0.0026422 | 0.0006622 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6417-3_0_4_load_36 | 40 | 0.0011476 | 0.00028762 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6417-3_0_4_load_37 | 41 | 0.00099025 | 0.00024818 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6417-3_0_4_load_38 | 42 | 0.0008711 | 0.00021832 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6417-3_0_4_load_71 | 44 | 0.001836 | 0.00046014 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6417-3_0_4_load_86 | 46 | 0.00097674 | 0.00024479 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6417-3_0_4_load_73 | 47 | 0.0015399 | 0.00038594 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6417-3_0_4_load_70 | 48 | 0.00053039 | 0.00013293 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6417-3_0_4_load_40 | 49 | 0.0063337 | 0.0015874 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6417-3_0_4_load_41 | 50 | 0.0086303 | 0.0021629 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6417-3_0_4_load_44 | 53 | 0.010485 | 0.0026279 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6417-3_0_4_load_45 | 54 | 0.0085387 | 0.00214 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6417-3_0_4_load_48 | 55 | 0.0090354 | 0.0022645 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6417-3_0_4_load_68 | 57 | 0.013576 | 0.0034025 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6417-3_0_4_load_63 | 59 | 0.010221 | 0.0025617 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6417-3_0_4_load_67 | 60 | 0.012423 | 0.0031136 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6417-3_0_4_load_46 | 61 | 0.0026063 | 0.0006532 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6417-3_0_4_load_50 | 62 | 0.0041485 | 0.0010397 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6417-3_0_4_load_52 | 63 | 0.0013786 | 0.00034552 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6417-3_0_4_load_54 | 64 | 0.0018047 | 0.00045231 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6417-3_0_4_load_90 | 66 | 0.0014332 | 0.0003592 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6417-3_0_4_load_55 | 67 | 0.0019542 | 0.00048977 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6417-3_0_4_load_61 | 68 | 0.008135 | 0.0020388 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6417-3_0_4_load_91 | 70 | 0.0026419 | 0.00066212 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6417-3_0_4_load_56 | 71 | 0.0060728 | 0.001522 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6417-3_0_4_load_87 | 77 | 0.0009188 | 0.00023027 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6417-3_0_4_load_97 | 78 | 0.0017902 | 0.00044867 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6417-3_0_4_load_84 | 80 | 0.0034184 | 0.00085673 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6417-3_0_4_load_96 | 81 | 0.0022132 | 0.00055467 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6417-3_0_4_load_62 | 82 | 0.010472 | 0.0026245 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6417-3_0_4_load_72 | 83 | 0.0016452 | 0.00041232 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6417-3_0_4_load_74 | 84 | 0.0016171 | 0.00040529 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6417-3_0_4_load_75 | 85 | 0.0013375 | 0.00033522 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6417-3_0_4_load_76 | 86 | 0.0021826 | 0.00054702 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6417-3_0_4_load_77 | 87 | 0.0010581 | 0.00026519 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6417-3_0_4_load_79 | 89 | 0.00077226 | 0.00019355 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6417-3_0_4_load_82 | 90 | 0.0028517 | 0.00071471 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6417-3_0_4_load_83 | 91 | 0.0021837 | 0.00054729 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6417-3_0_4_load_92 | 92 | 0.003059 | 0.00076667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6417-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.052808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6417-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6417-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6417-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6417-3_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6417-3_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.03501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6417-3_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.029804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6417-3_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.033481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6417-3_0_4_line_8 | NAYY 4x150 SE | 4 | 9 | 0.0086144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6417-3_0_4_line_9 | NAYY 4x150 SE | 5 | 10 | 0.011752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6417-3_0_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.057027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6417-3_0_4_line_11 | NAYY 4x150 SE | 7 | 12 | 0.003399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6417-3_0_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.0047756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6417-3_0_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.077092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6417-3_0_4_line_14 | NAYY 4x150 SE | 10 | 15 | 0.038851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6417-3_0_4_line_15 | NAYY 4x150 SE | 12 | 17 | 0.04847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_6417-3_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.031323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6417-3_0_4_line_17 | NAYY 4x150 SE | 15 | 30 | 0.025514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6417-3_0_4_line_18 | NAYY 4x150 SE | 17 | 24 | 0.014331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6417-3_0_4_line_19 | NAYY 4x150 SE | 17 | 20 | 0.040672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6417-3_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.02064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6417-3_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.013317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6417-3_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.036724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_6417-3_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.039027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6417-3_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.10766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6417-3_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.009577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6417-3_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0042626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6417-3_0_4_line_27 | NAYY 4x150 SE | 25 | 38 | 0.033311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_6417-3_0_4_line_28 | NAYY 4x150 SE | 25 | 39 | 0.065615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6417-3_0_4_line_29 | NAYY 4x150 SE | 26 | 33 | 0.025114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6417-3_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.038852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6417-3_0_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.019319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6417-3_0_4_line_32 | NAYY 4x150 SE | 28 | 37 | 0.039424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6417-3_0_4_line_33 | NAYY 4x150 SE | 29 | 35 | 0.024591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6417-3_0_4_line_34 | NAYY 4x150 SE | 29 | 34 | 0.0061456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6417-3_0_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.024528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6417-3_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.021936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6417-3_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.034752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6417-3_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0058031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6417-3_0_4_line_39 | NAYY 4x150 SE | 37 | 92 | 0.029699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6417-3_0_4_line_40 | NAYY 4x150 SE | 38 | 65 | 0.056725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_6417-3_0_4_line_41 | NAYY 4x150 SE | 38 | 66 | 0.018056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6417-3_0_4_line_42 | NAYY 4x150 SE | 39 | 62 | 0.01876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6417-3_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.017527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6417-3_0_4_line_44 | NAYY 4x150 SE | 40 | 42 | 0.013153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6417-3_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.020754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6417-3_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0030536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6417-3_0_4_line_47 | NAYY 4x150 SE | 44 | 48 | 0.025289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6417-3_0_4_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0065803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6417-3_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.012994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6417-3_0_4_line_50 | NAYY 4x150 SE | 46 | 77 | 0.019781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6417-3_0_4_line_51 | NAYY 4x150 SE | 47 | 83 | 0.013414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6417-3_0_4_line_52 | NAYY 4x150 SE | 48 | 83 | 0.01899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6417-3_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0031779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6417-3_0_4_line_54 | NAYY 4x150 SE | 49 | 51 | 0.02685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6417-3_0_4_line_55 | NAYY 4x150 SE | 50 | 52 | 0.024377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6417-3_0_4_line_56 | NAYY 4x150 SE | 51 | 53 | 0.012855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6417-3_0_4_line_57 | NAYY 4x150 SE | 51 | 54 | 0.0069416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6417-3_0_4_line_58 | NAYY 4x150 SE | 52 | 55 | 0.0097888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6417-3_0_4_line_59 | NAYY 4x150 SE | 53 | 56 | 0.0055356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6417-3_0_4_line_60 | NAYY 4x150 SE | 54 | 57 | 0.044077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6417-3_0_4_line_61 | NAYY 4x150 SE | 55 | 58 | 0.014951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6417-3_0_4_line_62 | NAYY 4x150 SE | 56 | 59 | 0.010874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6417-3_0_4_line_63 | NAYY 4x150 SE | 57 | 60 | 0.038085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6417-3_0_4_line_64 | NAYY 4x150 SE | 58 | 61 | 0.0057387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6417-3_0_4_line_65 | NAYY 4x150 SE | 59 | 82 | 0.029834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6417-3_0_4_line_66 | NAYY 4x150 SE | 60 | 69 | 0.0077082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6417-3_0_4_line_67 | NAYY 4x150 SE | 62 | 63 | 0.025505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6417-3_0_4_line_68 | NAYY 4x150 SE | 63 | 64 | 0.0092526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6417-3_0_4_line_69 | NAYY 4x150 SE | 64 | 67 | 0.024026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6417-3_0_4_line_70 | NAYY 4x150 SE | 65 | 68 | 0.062792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6417-3_0_4_line_71 | NAYY 4x150 SE | 65 | 69 | 0.011185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6417-3_0_4_line_72 | NAYY 4x150 SE | 66 | 70 | 0.074875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6417-3_0_4_line_73 | NAYY 4x150 SE | 68 | 73 | 0.0021264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6417-3_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.051315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6417-3_0_4_line_75 | NAYY 4x150 SE | 71 | 73 | 0.023844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6417-3_0_4_line_76 | NAYY 4x150 SE | 72 | 74 | 0.064553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6417-3_0_4_line_77 | NAYY 4x150 SE | 73 | 75 | 0.067342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6417-3_0_4_line_78 | NAYY 4x150 SE | 74 | 76 | 0.10038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6417-3_0_4_line_79 | NAYY 4x150 SE | 74 | 77 | 0.044545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6417-3_0_4_line_80 | NAYY 4x150 SE | 75 | 78 | 0.037869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6417-3_0_4_line_81 | NAYY 4x150 SE | 75 | 79 | 0.063447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6417-3_0_4_line_82 | NAYY 4x150 SE | 76 | 80 | 0.047964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6417-3_0_4_line_83 | NAYY 4x150 SE | 79 | 81 | 0.070853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6417-3_0_4_line_84 | NAYY 4x150 SE | 80 | 91 | 0.018564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6417-3_0_4_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0014855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6417-3_0_4_line_86 | NAYY 4x150 SE | 84 | 86 | 0.015099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6417-3_0_4_line_87 | NAYY 4x150 SE | 85 | 87 | 0.019006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6417-3_0_4_line_88 | NAYY 4x150 SE | 86 | 88 | 0.026338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6417-3_0_4_line_89 | NAYY 4x150 SE | 87 | 89 | 0.023607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6417-3_0_4_line_90 | NAYY 4x150 SE | 88 | 90 | 0.0076422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6417-3_0_4_line_91 | NAYY 4x150 SE | 90 | 91 | 0.017769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6417-3_0_4_trafo_69 | 0.25 MVA 20/0.4 kV | 93 | 65 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2549744.0426 | 1194822.1714 | 2549749.7609 | 1194821.6785 | 2549757.9682 | 1194819.0635 | 2549773.4486 | 1194807.8602 | 2549777.5536 | 1194804.0013 | 2549780.5364 | 1194797.1723 | 2549780.9267 | 1194790.9253
1 | 2549782.389 | 1194778.2794 | 2549781.4218 | 1194781.9563 | 2549781.0736 | 1194788.5741 | 2549780.9267 | 1194790.9253
2 | 2549744.0426 | 1194822.1714 | 2549740.6116 | 1194812.2194
3 | 2549798.1224 | 1194772.6773 | 2549792.1604 | 1194773.1833 | 2549787.8068 | 1194774.6763 | 2549782.389 | 1194778.2794
4 | 2549782.389 | 1194778.2794 | 2549772.2588 | 1194771.7798
5 | 2549740.6116 | 1194812.2194 | 2549736.7318 | 1194800.9654 | 2549725.6214 | 1194780.7064
6 | 2549818.3393 | 1194793.6858 | 2549810.6843 | 1194782.2548 | 2549804.3414 | 1194775.5377 | 2549798.1224 | 1194772.6773
7 | 2549798.1224 | 1194772.6773 | 2549802.9952 | 1194780.3628 | 2549803.7735 | 1194787.7382 | 2549802.4382 | 1194798.3777 | 2549799.7119 | 1194803.9925
8 | 2549798.1224 | 1194772.6773 | 2549793.7982 | 1194765.2269
9 | 2549772.2588 | 1194771.7798 | 2549771.2037 | 1194771.1028 | 2549761.4272 | 1194767.4497 | 2549761.3651 | 1194767.4497
10 | 2549725.6214 | 1194780.7064 | 2549698.1996 | 1194730.7046
11 | 2549818.3393 | 1194793.6858 | 2549818.021 | 1194790.3017
12 | 2549799.7119 | 1194803.9925 | 2549797.6521 | 1194808.2346 | 2549797.6218 | 1194808.2862
13 | 2549793.7982 | 1194765.2269 | 2549764.7125 | 1194715.1148 | 2549752.8933 | 1194700.0462
14 | 2549761.3651 | 1194767.4497 | 2549749.0373 | 1194767.4429 | 2549744.7128 | 1194762.4432 | 2549736.8063 | 1194744.1679
15 | 2549817.6366 | 1194741.8625 | 2549817.3853 | 1194783.5436 | 2549818.021 | 1194790.3017
16 | 2549752.8933 | 1194700.0462 | 2549745.741 | 1194690.9275 | 2549733.7325 | 1194675.2674
17 | 2549725.2131 | 1194721.4758 | 2549732.9861 | 1194735.3378 | 2549736.8063 | 1194744.1679
18 | 2549817.6366 | 1194741.8625 | 2549830.4055 | 1194735.2847
19 | 2549817.6366 | 1194741.8625 | 2549815.0093 | 1194701.2839
20 | 2549788.6309 | 1194684.7219 | 2549789.1933 | 1194685.9257 | 2549797.6877 | 1194697.4719 | 2549801.946 | 1194700.0486
21 | 2549815.0093 | 1194701.2839 | 2549808.1697 | 1194701.6527 | 2549805.019 | 1194701.2123 | 2549801.946 | 1194700.0486
22 | 2549788.6309 | 1194684.7219 | 2549773.086 | 1194651.4505
23 | 2549815.0093 | 1194701.2839 | 2549814.0583 | 1194670.6635 | 2549814.9146 | 1194664.6641 | 2549815.7385 | 1194662.4832
24 | 2549715.3598 | 1194560.6878 | 2549751.9675 | 1194615.0657 | 2549769.7086 | 1194644.2217 | 2549773.086 | 1194651.4505
25 | 2549715.3598 | 1194560.6878 | 2549713.9975 | 1194557.264 | 2549711.3774 | 1194551.9831
26 | 2549830.4055 | 1194735.2847 | 2549834.198 | 1194733.3387
27 | 2549711.3774 | 1194551.9831 | 2549719.8919 | 1194546.9085 | 2549740.4392 | 1194535.5624
28 | 2549711.3774 | 1194551.9831 | 2549691.9842 | 1194501.3847 | 2549688.2873 | 1194490.5721
29 | 2549855.2688 | 1194719.8007 | 2549842.5599 | 1194729.0346 | 2549835.8682 | 1194732.4817 | 2549834.198 | 1194733.3387
30 | 2549899.6806 | 1194679.3936 | 2549910.4494 | 1194688.6973 | 2549915.4595 | 1194690.9677 | 2549928.3557 | 1194696.8072 | 2549933.0822 | 1194698.3225
31 | 2549899.6806 | 1194679.3936 | 2549892.4211 | 1194686.9254 | 2549886.3415 | 1194693.4023
32 | 2549970.8274 | 1194697.5181 | 2549959.5453 | 1194702.4154 | 2549946.265 | 1194702.5491 | 2549933.0822 | 1194698.3225
33 | 2549886.3415 | 1194693.4023 | 2549894.3587 | 1194709.8554 | 2549895.9395 | 1194715.942
34 | 2549886.3415 | 1194693.4023 | 2549882.1378 | 1194697.8853
35 | 2549725.2131 | 1194721.4758 | 2549719.6335 | 1194711.5257 | 2549712.2147 | 1194700.7041
36 | 2549696.4724 | 1194685.7174 | 2549708.532 | 1194695.3323 | 2549712.2147 | 1194700.7041
37 | 2549882.1378 | 1194697.8853 | 2549877.3996 | 1194702.9383 | 2549862.296 | 1194714.6051 | 2549860.517 | 1194715.9875 | 2549855.2688 | 1194719.8007
38 | 2549897.3982 | 1194721.5587 | 2549895.9395 | 1194715.942
39 | 2549970.8274 | 1194697.5181 | 2549977.7473 | 1194704.9087 | 2549985.9152 | 1194713.9231 | 2549990.8914 | 1194719.4131
40 | 2549783.9678 | 1194499.6536 | 2549779.1394 | 1194504.508 | 2549761.1598 | 1194521.2688 | 2549755.4019 | 1194527.0427 | 2549747.9813 | 1194531.7301 | 2549740.4392 | 1194535.5624
41 | 2549740.4392 | 1194535.5624 | 2549752.6148 | 1194548.8952
42 | 2549688.2873 | 1194490.5721 | 2549682.2181 | 1194472.8208
43 | 2549762.3641 | 1194275.6056 | 2549750.3439 | 1194265.8048 | 2549748.7729 | 1194264.5387
44 | 2549762.3641 | 1194275.6056 | 2549772.5576 | 1194283.917
45 | 2549788.2557 | 1194297.4925 | 2549772.5576 | 1194283.917 | 2549772.5576 | 1194283.917
46 | 2549788.2557 | 1194297.4925 | 2549790.55 | 1194299.5076
47 | 2549809.5506 | 1194316.1956 | 2549790.55 | 1194299.5076
48 | 2549841.4774 | 1194348.3404 | 2549842.6027 | 1194349.854 | 2549845.4049 | 1194353.62
49 | 2549841.4774 | 1194348.3404 | 2549839.1652 | 1194345.2358 | 2549833.0895 | 1194338.4303
50 | 2549845.4049 | 1194353.62 | 2549849.6396 | 1194359.3113 | 2549858.0861 | 1194368.7778
51 | 2549823.6208 | 1194328.9435 | 2549830.1415 | 1194335.1282 | 2549833.0895 | 1194338.4303
52 | 2549809.5506 | 1194316.1956 | 2549818.0583 | 1194323.6678 | 2549823.6208 | 1194328.9435
53 | 2549723.5965 | 1194379.3858 | 2549721.9256 | 1194376.6828
54 | 2549734.6731 | 1194403.8034 | 2549725.6868 | 1194382.7672 | 2549723.5965 | 1194379.3858
55 | 2549709.1075 | 1194355.9473 | 2549721.9256 | 1194376.6828
56 | 2549734.6731 | 1194403.8034 | 2549746.0478 | 1194409.7923
57 | 2549734.6731 | 1194403.8034 | 2549737.4024 | 1194410.1859
58 | 2549709.1075 | 1194355.9473 | 2549712.4642 | 1194346.752
59 | 2549750.946 | 1194412.3712 | 2549746.0478 | 1194409.7923
60 | 2549755.7105 | 1194450.2538 | 2549748.5953 | 1194436.3601 | 2549737.4024 | 1194410.1859
61 | 2549717.5912 | 1194332.7072 | 2549712.4642 | 1194346.752
62 | 2549750.946 | 1194412.3712 | 2549760.5673 | 1194417.4375
63 | 2549774.2477 | 1194483.4625 | 2549767.5692 | 1194473.4101 | 2549755.7105 | 1194450.2538
64 | 2549717.5912 | 1194332.7072 | 2549713.5536 | 1194328.6292
65 | 2549777.5511 | 1194441.564 | 2549768.3796 | 1194424.8537 | 2549760.5673 | 1194417.4375
66 | 2549778.5133 | 1194489.8829 | 2549774.2477 | 1194483.4625
67 | 2549682.2181 | 1194472.8208 | 2549673.9667 | 1194448.6874
68 | 2549670.9733 | 1194439.9323 | 2549673.9667 | 1194448.6874
69 | 2549670.9733 | 1194439.9323 | 2549664.2326 | 1194420.2174 | 2549662.8112 | 1194417.3609
70 | 2549783.9678 | 1194499.6536 | 2549788.979 | 1194495.6981 | 2549829.9371 | 1194456.9134
71 | 2549778.5133 | 1194489.8829 | 2549783.9678 | 1194499.6536
72 | 2549803.1053 | 1194604.1848 | 2549752.6148 | 1194548.8952
73 | 2549831.4811 | 1194455.4514 | 2549829.9371 | 1194456.9134
74 | 2549889.2217 | 1194448.4735 | 2549884.3264 | 1194453.5397 | 2549879.0231 | 1194459.0206 | 2549876.6658 | 1194456.8948 | 2549848.5245 | 1194438.7765
75 | 2549831.4811 | 1194455.4514 | 2549848.5245 | 1194438.7765
76 | 2549888.9892 | 1194400.8375 | 2549910.8726 | 1194426.0013 | 2549904.6029 | 1194432.5688 | 2549899.5942 | 1194437.7471 | 2549889.2217 | 1194448.4735
77 | 2549831.4811 | 1194455.4514 | 2549834.0852 | 1194457.9309 | 2549879.5958 | 1194502.696
78 | 2549922.0926 | 1194311.0758 | 2549925.2375 | 1194317.1529 | 2549924.8533 | 1194324.0377 | 2549916.9694 | 1194341.6583 | 2549914.682 | 1194360.5659 | 2549907.2254 | 1194375.5258 | 2549896.1691 | 1194386.5025 | 2549888.9892 | 1194400.8375
79 | 2549888.9892 | 1194400.8375 | 2549867.6868 | 1194379.5377 | 2549858.0861 | 1194368.7778
80 | 2549879.5958 | 1194502.696 | 2549853.4917 | 1194530.1974
81 | 2549879.5958 | 1194502.696 | 2549881.9477 | 1194505.0998 | 2549913.2907 | 1194533.3971 | 2549915.6821 | 1194539.5916 | 2549917.7032 | 1194550.692
82 | 2549922.0926 | 1194311.0758 | 2549902.6374 | 1194294.6965 | 2549886.6268 | 1194278.8422
83 | 2549917.7032 | 1194550.692 | 2549906.9988 | 1194555.4401 | 2549894.1081 | 1194561.1849 | 2549883.4302 | 1194569.9906 | 2549881.2507 | 1194571.7877 | 2549875.1071 | 1194578.821 | 2549864.1009 | 1194584.8279 | 2549858.1901 | 1194587.8348
84 | 2549873.4265 | 1194265.7888 | 2549881.2519 | 1194273.5197 | 2549886.6268 | 1194278.8422
85 | 2549818.6706 | 1194229.7897 | 2549817.3186 | 1194229.1742
86 | 2549818.6706 | 1194229.7897 | 2549832.4131 | 1194236.0457
87 | 2549800.0207 | 1194221.2996 | 2549817.3186 | 1194229.1742
88 | 2549856.3841 | 1194246.958 | 2549832.4131 | 1194236.0457
89 | 2549778.6702 | 1194211.3228 | 2549785.0769 | 1194214.9839 | 2549793.9925 | 1194218.5554 | 2549800.0207 | 1194221.2996
90 | 2549856.3841 | 1194246.958 | 2549861.402 | 1194252.722
91 | 2549861.402 | 1194252.722 | 2549868.7881 | 1194261.2063 | 2549873.4265 | 1194265.7888

## bus_geodata
| x | y | coords
0 | 2549780.9267 | 1194790.9253
1 | 2549744.0426 | 1194822.1714
2 | 2549782.389 | 1194778.2794
3 | 2549740.6116 | 1194812.2194
4 | 2549798.1224 | 1194772.6773
5 | 2549772.2588 | 1194771.7798
6 | 2549725.6214 | 1194780.7064
7 | 2549818.3393 | 1194793.6858
8 | 2549799.7119 | 1194803.9925
9 | 2549793.7982 | 1194765.2269
10 | 2549761.3651 | 1194767.4497
11 | 2549698.1996 | 1194730.7046
12 | 2549818.021 | 1194790.3017
13 | 2549797.6218 | 1194808.2862
14 | 2549752.8933 | 1194700.0462
15 | 2549736.8063 | 1194744.1679
16 | 2549733.7325 | 1194675.2674
17 | 2549817.6366 | 1194741.8625
18 | 2549801.946 | 1194700.0486
19 | 2549788.6309 | 1194684.7219
20 | 2549815.0093 | 1194701.2839
21 | 2549773.086 | 1194651.4505
22 | 2549815.7385 | 1194662.4832
23 | 2549715.3598 | 1194560.6878
24 | 2549830.4055 | 1194735.2847
25 | 2549711.3774 | 1194551.9831
26 | 2549834.198 | 1194733.3387
27 | 2549899.6806 | 1194679.3936
28 | 2549933.0822 | 1194698.3225
29 | 2549886.3415 | 1194693.4023
30 | 2549725.2131 | 1194721.4758
31 | 2549712.2147 | 1194700.7041
32 | 2549696.4724 | 1194685.7174
33 | 2549855.2688 | 1194719.8007
34 | 2549882.1378 | 1194697.8853
35 | 2549895.9395 | 1194715.942
36 | 2549897.3982 | 1194721.5587
37 | 2549970.8274 | 1194697.5181
38 | 2549740.4392 | 1194535.5624
39 | 2549688.2873 | 1194490.5721
40 | 2549762.3641 | 1194275.6056
41 | 2549748.7729 | 1194264.5387
42 | 2549772.5576 | 1194283.917
43 | 2549788.2557 | 1194297.4925
44 | 2549790.55 | 1194299.5076
45 | 2549841.4774 | 1194348.3404
46 | 2549845.4049 | 1194353.62
47 | 2549833.0895 | 1194338.4303
48 | 2549809.5506 | 1194316.1956
49 | 2549723.5965 | 1194379.3858
50 | 2549721.9256 | 1194376.6828
51 | 2549734.6731 | 1194403.8034
52 | 2549709.1075 | 1194355.9473
53 | 2549746.0478 | 1194409.7923
54 | 2549737.4024 | 1194410.1859
55 | 2549712.4642 | 1194346.752
56 | 2549750.946 | 1194412.3712
57 | 2549755.7105 | 1194450.2538
58 | 2549717.5912 | 1194332.7072
59 | 2549760.5673 | 1194417.4375
60 | 2549774.2477 | 1194483.4625
61 | 2549713.5536 | 1194328.6292
62 | 2549682.2181 | 1194472.8208
63 | 2549673.9667 | 1194448.6874
64 | 2549670.9733 | 1194439.9323
65 | 2549783.9678 | 1194499.6536
66 | 2549752.6148 | 1194548.8952
67 | 2549662.8112 | 1194417.3609
68 | 2549829.9371 | 1194456.9134
69 | 2549778.5133 | 1194489.8829
70 | 2549803.1053 | 1194604.1848
71 | 2549848.5245 | 1194438.7765
72 | 2549889.2217 | 1194448.4735
73 | 2549831.4811 | 1194455.4514
74 | 2549888.9892 | 1194400.8375
75 | 2549879.5958 | 1194502.696
76 | 2549922.0926 | 1194311.0758
77 | 2549858.0861 | 1194368.7778
78 | 2549853.4917 | 1194530.1974
79 | 2549917.7032 | 1194550.692
80 | 2549886.6268 | 1194278.8422
81 | 2549858.1901 | 1194587.8348
82 | 2549777.5511 | 1194441.564
83 | 2549823.6208 | 1194328.9435
84 | 2549818.6706 | 1194229.7897
85 | 2549817.3186 | 1194229.1742
86 | 2549832.4131 | 1194236.0457
87 | 2549800.0207 | 1194221.2996
88 | 2549856.3841 | 1194246.958
89 | 2549778.6702 | 1194211.3228
90 | 2549861.402 | 1194252.722
91 | 2549873.4265 | 1194265.7888
92 | 2549990.8914 | 1194719.4131
93 | 2549778.5133 | 1194489.8829

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1