## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_971-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_971-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_971-2_0_5_node_90 | 0.4 | n |  | TRUE
3 | bus_LV_971-2_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_971-2_0_5_node_89 | 0.4 | n |  | TRUE
5 | bus_LV_971-2_0_5_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_971-2_0_5_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_971-2_0_5_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_971-2_0_5_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_971-2_0_5_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_971-2_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_971-2_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_971-2_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_971-2_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_971-2_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_971-2_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_971-2_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_971-2_0_5_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_971-2_0_5_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_971-2_0_5_node_113 | 0.4 | n |  | TRUE
20 | bus_LV_971-2_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_971-2_0_5_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_971-2_0_5_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_971-2_0_5_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_971-2_0_5_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_971-2_0_5_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_971-2_0_5_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_971-2_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_971-2_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_971-2_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_971-2_0_5_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_971-2_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_971-2_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_971-2_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_971-2_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_971-2_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_971-2_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_971-2_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_971-2_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_971-2_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_971-2_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_971-2_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_971-2_0_5_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_971-2_0_5_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_971-2_0_5_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_971-2_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_971-2_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_971-2_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_971-2_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_971-2_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_971-2_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_971-2_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_971-2_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_971-2_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_971-2_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_971-2_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_971-2_0_5_node_102 | 0.4 | n |  | TRUE
57 | bus_LV_971-2_0_5_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_971-2_0_5_node_94 | 0.4 | n |  | TRUE
59 | bus_LV_971-2_0_5_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_971-2_0_5_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_971-2_0_5_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_971-2_0_5_node_103 | 0.4 | n |  | TRUE
63 | bus_LV_971-2_0_5_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_971-2_0_5_node_92 | 0.4 | n |  | TRUE
65 | bus_LV_971-2_0_5_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_971-2_0_5_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_971-2_0_5_node_106 | 0.4 | n |  | TRUE
68 | bus_LV_971-2_0_5_node_107 | 0.4 | n |  | TRUE
69 | bus_LV_971-2_0_5_node_108 | 0.4 | n |  | TRUE
70 | bus_LV_971-2_0_5_node_109 | 0.4 | n |  | TRUE
71 | bus_LV_971-2_0_5_node_110 | 0.4 | n |  | TRUE
72 | bus_LV_971-2_0_5_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_971-2_0_5_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_971-2_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_971-2_0_5_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_971-2_0_5_node_99 | 0.4 | n |  | TRUE
77 | bus_LV_971-2_0_5_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_971-2_0_5_node_96 | 0.4 | n |  | TRUE
79 | bus_LV_971-2_0_5_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_971-2_0_5_node_104 | 0.4 | n |  | TRUE
81 | bus_LV_971-2_0_5_node_100 | 0.4 | n |  | TRUE
82 | bus_LV_971-2_0_5_node_101 | 0.4 | n |  | TRUE
83 | bus_LV_971-2_0_5_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_971-2_0_5_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_971-2_0_5_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_971-2_0_5_node_51 | 0.4 | n |  | TRUE
87 | bus_LV_971-2_0_5_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_971-2_0_5_node_53 | 0.4 | n |  | TRUE
89 | bus_LV_971-2_0_5_node_60 | 0.4 | n |  | TRUE
90 | bus_LV_971-2_0_5_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_971-2_0_5_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_971-2_0_5_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_971-2_0_5_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_971-2_0_5_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_971-2_0_5_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_971-2_0_5_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_971-2_0_5_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_971-2_0_5_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_971-2_0_5_node_77 | 0.4 | n |  | TRUE
100 | bus_LV_971-2_0_5_node_79 | 0.4 | n |  | TRUE
101 | bus_LV_971-2_0_5_node_81 | 0.4 | n |  | TRUE
102 | bus_LV_971-2_0_5_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_971-2_0_5_node_61 | 0.4 | n |  | TRUE
104 | bus_LV_971-2_0_5_node_64 | 0.4 | n |  | TRUE
105 | bus_MV_292_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_971-2_0_5_load_0 | 0 | 0.0055603 | 0.0013935 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_971-2_0_5_load_1 | 1 | 0.00075506 | 0.00018924 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_971-2_0_5_load_90 | 2 | 0.00096811 | 0.00024263 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_971-2_0_5_load_2 | 3 | 0.00045497 | 0.00011403 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_971-2_0_5_load_89 | 4 | 0.0013416 | 0.00033623 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_971-2_0_5_load_18 | 5 | 0.00046261 | 0.00011594 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_971-2_0_5_load_56 | 6 | 0.0012155 | 0.00030464 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_971-2_0_5_load_57 | 7 | 0.0015402 | 0.00038601 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_971-2_0_5_load_3 | 8 | 0.0089814 | 0.0022509 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_971-2_0_5_load_14 | 12 | 0.00082805 | 0.00020753 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_971-2_0_5_load_12 | 14 | 0.001507 | 0.00037768 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_971-2_0_5_load_16 | 15 | 0.0014449 | 0.00036212 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_971-2_0_5_load_15 | 16 | 0.0022878 | 0.00057337 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_971-2_0_5_load_65 | 18 | 0.0065705 | 0.0016467 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_971-2_0_5_load_113 | 19 | 0.00094279 | 0.00023629 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_971-2_0_5_load_10 | 20 | 0.00081574 | 0.00020444 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_971-2_0_5_load_63 | 21 | 0.014154 | 0.0035474 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_971-2_0_5_load_9 | 24 | 0.0011088 | 0.00027789 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_971-2_0_5_load_11 | 25 | 0.0011459 | 0.00028719 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_971-2_0_5_load_50 | 26 | 0.0013347 | 0.00033451 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_971-2_0_5_load_20 | 27 | 0.0025806 | 0.00064675 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_971-2_0_5_load_21 | 28 | 0.0015229 | 0.00038167 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_971-2_0_5_load_22 | 29 | 0.0020917 | 0.00052422 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_971-2_0_5_load_33 | 30 | 0.0020418 | 0.00051172 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_971-2_0_5_load_32 | 31 | 0.0026487 | 0.00066382 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_971-2_0_5_load_23 | 32 | 0.0012311 | 0.00030855 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_971-2_0_5_load_24 | 33 | 0.0017553 | 0.00043993 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_971-2_0_5_load_26 | 35 | 0.0069746 | 0.001748 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_971-2_0_5_load_27 | 36 | 0.0020623 | 0.00051686 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_971-2_0_5_load_29 | 38 | 0.023268 | 0.0058316 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_971-2_0_5_load_45 | 40 | 0.0080644 | 0.0020211 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_971-2_0_5_load_42 | 43 | 0.0068512 | 0.0017171 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_971-2_0_5_load_44 | 44 | 0.010555 | 0.0026452 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_971-2_0_5_load_40 | 45 | 0.0020149 | 0.00050498 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_971-2_0_5_load_34 | 46 | 0.0037094 | 0.00092967 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_971-2_0_5_load_35 | 47 | 0.0029192 | 0.00073162 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_971-2_0_5_load_36 | 48 | 0.0065652 | 0.0016454 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_971-2_0_5_load_37 | 49 | 0.0046506 | 0.0011656 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_971-2_0_5_load_38 | 50 | 0.000975 | 0.00024436 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_971-2_0_5_load_39 | 51 | 0.00097533 | 0.00024444 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_971-2_0_5_load_46 | 52 | 0.0022047 | 0.00055256 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_971-2_0_5_load_47 | 53 | 0.001794 | 0.00044962 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_971-2_0_5_load_48 | 54 | 0.00092986 | 0.00023304 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_971-2_0_5_load_94 | 58 | 0.0032885 | 0.00082417 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_971-2_0_5_load_111 | 59 | 0.0044428 | 0.0011135 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_971-2_0_5_load_76 | 61 | 0.0023306 | 0.00058411 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_971-2_0_5_load_91 | 63 | 0.0017818 | 0.00044655 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_971-2_0_5_load_92 | 64 | 0.0017348 | 0.00043478 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_971-2_0_5_load_74 | 65 | 0.0015694 | 0.00039333 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_971-2_0_5_load_93 | 66 | 0.0024192 | 0.00060631 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_971-2_0_5_load_106 | 67 | 0.0012512 | 0.00031358 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_971-2_0_5_load_107 | 68 | 0.0018385 | 0.00046078 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_971-2_0_5_load_108 | 69 | 0.0043775 | 0.0010971 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_971-2_0_5_load_109 | 70 | 0.0013096 | 0.00032821 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_971-2_0_5_load_110 | 71 | 0.0028641 | 0.00071781 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_971-2_0_5_load_52 | 72 | 0.001216 | 0.00030476 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_971-2_0_5_load_66 | 73 | 0.0015527 | 0.00038914 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_971-2_0_5_load_68 | 74 | 0.0020563 | 0.00051535 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_971-2_0_5_load_70 | 75 | 0.0029811 | 0.00074714 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_971-2_0_5_load_95 | 77 | 0.001183 | 0.00029649 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_971-2_0_5_load_96 | 78 | 0.0026496 | 0.00066406 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_971-2_0_5_load_97 | 79 | 0.0020519 | 0.00051425 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_971-2_0_5_load_104 | 80 | 0.0058776 | 0.0014731 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_971-2_0_5_load_100 | 81 | 0.0021355 | 0.0005352 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_971-2_0_5_load_101 | 82 | 0.0014284 | 0.00035799 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_971-2_0_5_load_72 | 83 | 0.0030876 | 0.00077381 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_971-2_0_5_load_71 | 84 | 0.0018153 | 0.00045496 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_971-2_0_5_load_59 | 85 | 0.0036681 | 0.00091931 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_971-2_0_5_load_51 | 86 | 0.0022425 | 0.00056202 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_971-2_0_5_load_53 | 88 | 0.0020617 | 0.00051671 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_971-2_0_5_load_60 | 89 | 0.00064816 | 0.00016244 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_971-2_0_5_load_78 | 92 | 0.0013277 | 0.00033275 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_971-2_0_5_load_84 | 93 | 0.0019302 | 0.00048376 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_971-2_0_5_load_83 | 94 | 0.0033818 | 0.00084755 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_971-2_0_5_load_85 | 96 | 0.0013631 | 0.00034163 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_971-2_0_5_load_87 | 98 | 0.0013949 | 0.00034959 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_971-2_0_5_load_77 | 99 | 0.0010834 | 0.00027152 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_971-2_0_5_load_79 | 100 | 0.0011169 | 0.00027993 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_971-2_0_5_load_81 | 101 | 0.0018757 | 0.0004701 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_971-2_0_5_load_61 | 103 | 0.00056508 | 0.00014162 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_971-2_0_5_load_64 | 104 | 0.00057305 | 0.00014362 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_971-2_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_971-2_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.2958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_971-2_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_971-2_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_971-2_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0054256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_971-2_0_5_line_5 | NAYY 4x150 SE | 4 | 102 | 0.027432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_971-2_0_5_line_6 | NAYY 4x150 SE | 6 | 7 | 0.017664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_971-2_0_5_line_7 | NAYY 4x150 SE | 7 | 26 | 0.020185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_971-2_0_5_line_8 | NAYY 4x150 SE | 8 | 9 | 0.06099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_971-2_0_5_line_9 | NAYY 4x150 SE | 9 | 10 | 0.015135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_971-2_0_5_line_10 | NAYY 4x150 SE | 9 | 11 | 0.065313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_971-2_0_5_line_11 | NAYY 4x150 SE | 10 | 12 | 0.025342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_971-2_0_5_line_12 | NAYY 4x150 SE | 10 | 13 | 0.028573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_971-2_0_5_line_13 | NAYY 4x150 SE | 10 | 14 | 0.012779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_971-2_0_5_line_14 | NAYY 4x150 SE | 11 | 17 | 0.041391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_971-2_0_5_line_15 | NAYY 4x150 SE | 11 | 18 | 0.024957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_971-2_0_5_line_16 | NAYY 4x150 SE | 12 | 19 | 0.0013641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_971-2_0_5_line_17 | NAYY 4x150 SE | 13 | 15 | 0.031466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_971-2_0_5_line_18 | NAYY 4x150 SE | 13 | 16 | 0.01225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_971-2_0_5_line_19 | NAYY 4x150 SE | 14 | 20 | 0.0043395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_971-2_0_5_line_20 | NAYY 4x150 SE | 17 | 21 | 0.042592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_971-2_0_5_line_21 | NAYY 4x150 SE | 17 | 22 | 0.026716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_971-2_0_5_line_22 | NAYY 4x150 SE | 18 | 23 | 0.024483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_971-2_0_5_line_23 | NAYY 4x150 SE | 20 | 24 | 0.014741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_971-2_0_5_line_24 | NAYY 4x150 SE | 21 | 104 | 0.01701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_971-2_0_5_line_25 | NAYY 4x150 SE | 22 | 85 | 0.055551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_971-2_0_5_line_26 | NAYY 4x150 SE | 22 | 55 | 0.1335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_971-2_0_5_line_27 | NAYY 4x150 SE | 23 | 41 | 0.012138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_971-2_0_5_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0086294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_971-2_0_5_line_29 | NAYY 4x150 SE | 26 | 54 | 0.019364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_971-2_0_5_line_30 | NAYY 4x150 SE | 27 | 28 | 0.031956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_971-2_0_5_line_31 | NAYY 4x150 SE | 28 | 29 | 0.01773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_971-2_0_5_line_32 | NAYY 4x150 SE | 29 | 30 | 0.009845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_971-2_0_5_line_33 | NAYY 4x150 SE | 30 | 31 | 0.035757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_971-2_0_5_line_34 | NAYY 4x150 SE | 31 | 46 | 0.0037046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_971-2_0_5_line_35 | NAYY 4x150 SE | 32 | 33 | 0.00034242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_971-2_0_5_line_36 | NAYY 4x150 SE | 32 | 34 | 0.024945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_971-2_0_5_line_37 | NAYY 4x150 SE | 34 | 35 | 0.023303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_971-2_0_5_line_38 | NAYY 4x150 SE | 34 | 36 | 0.040287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_971-2_0_5_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0098997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_971-2_0_5_line_40 | NAYY 4x150 SE | 37 | 38 | 0.035875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_971-2_0_5_line_41 | NAYY 4x150 SE | 37 | 39 | 0.027739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_971-2_0_5_line_42 | NAYY 4x150 SE | 38 | 40 | 0.00011509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_971-2_0_5_line_43 | NAYY 4x150 SE | 39 | 44 | 0.005916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_971-2_0_5_line_44 | NAYY 4x150 SE | 39 | 43 | 0.018356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_971-2_0_5_line_45 | NAYY 4x150 SE | 41 | 42 | 0.01305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_971-2_0_5_line_46 | NAYY 4x150 SE | 41 | 43 | 0.038542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_971-2_0_5_line_47 | NAYY 4x150 SE | 42 | 45 | 0.041568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_971-2_0_5_line_48 | NAYY 4x150 SE | 45 | 51 | 0.014175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_971-2_0_5_line_49 | NAYY 4x150 SE | 46 | 47 | 0.014348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_971-2_0_5_line_50 | NAYY 4x150 SE | 47 | 48 | 0.021789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_971-2_0_5_line_51 | NAYY 4x150 SE | 48 | 49 | 0.00088714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_971-2_0_5_line_52 | NAYY 4x150 SE | 49 | 50 | 0.021113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_971-2_0_5_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0092483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_971-2_0_5_line_54 | NAYY 4x150 SE | 52 | 53 | 0.020744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_971-2_0_5_line_55 | NAYY 4x150 SE | 52 | 54 | 0.0081865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_971-2_0_5_line_56 | NAYY 4x150 SE | 53 | 55 | 0.016091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_971-2_0_5_line_57 | NAYY 4x150 SE | 53 | 56 | 0.10168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_971-2_0_5_line_58 | NAYY 4x150 SE | 55 | 72 | 0.037084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_971-2_0_5_line_59 | NAYY 4x150 SE | 56 | 62 | 0.026707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_971-2_0_5_line_60 | NAYY 4x150 SE | 56 | 81 | 0.039329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_971-2_0_5_line_61 | NAYY 4x150 SE | 57 | 58 | 0.0080998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_971-2_0_5_line_62 | NAYY 4x150 SE | 57 | 59 | 0.023845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_971-2_0_5_line_63 | NAYY 4x150 SE | 57 | 60 | 0.035833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_971-2_0_5_line_64 | NAYY 4x150 SE | 58 | 66 | 0.016768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_971-2_0_5_line_65 | NAYY 4x150 SE | 59 | 71 | 0.022123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_971-2_0_5_line_66 | NAYY 4x150 SE | 60 | 75 | 0.013378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_971-2_0_5_line_67 | NAYY 4x150 SE | 60 | 73 | 0.030671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_971-2_0_5_line_68 | NAYY 4x150 SE | 61 | 62 | 0.020393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_971-2_0_5_line_69 | NAYY 4x150 SE | 62 | 67 | 0.0048215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_971-2_0_5_line_70 | NAYY 4x150 SE | 63 | 64 | 0.011319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_971-2_0_5_line_71 | NAYY 4x150 SE | 63 | 65 | 0.015257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_971-2_0_5_line_72 | NAYY 4x150 SE | 64 | 66 | 0.01799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_971-2_0_5_line_73 | NAYY 4x150 SE | 65 | 83 | 0.010181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_971-2_0_5_line_74 | NAYY 4x150 SE | 67 | 68 | 0.016286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_971-2_0_5_line_75 | NAYY 4x150 SE | 68 | 69 | 0.0055648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_971-2_0_5_line_76 | NAYY 4x150 SE | 69 | 70 | 0.018976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_971-2_0_5_line_77 | NAYY 4x150 SE | 70 | 71 | 0.0042562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_971-2_0_5_line_78 | NAYY 4x150 SE | 72 | 86 | 0.005348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_971-2_0_5_line_79 | NAYY 4x150 SE | 73 | 74 | 0.012156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_971-2_0_5_line_80 | NAYY 4x150 SE | 75 | 76 | 0.018455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_971-2_0_5_line_81 | NAYY 4x150 SE | 76 | 80 | 0.0088149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_971-2_0_5_line_82 | NAYY 4x150 SE | 76 | 79 | 0.012846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_971-2_0_5_line_83 | NAYY 4x150 SE | 77 | 78 | 0.010818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_971-2_0_5_line_84 | NAYY 4x150 SE | 77 | 79 | 0.03491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_971-2_0_5_line_85 | NAYY 4x150 SE | 81 | 82 | 0.00090343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_971-2_0_5_line_86 | NAYY 4x150 SE | 83 | 84 | 0.02281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_971-2_0_5_line_87 | NAYY 4x150 SE | 84 | 87 | 0.045954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_971-2_0_5_line_88 | NAYY 4x150 SE | 85 | 89 | 0.025658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_971-2_0_5_line_89 | NAYY 4x150 SE | 86 | 88 | 0.05788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_971-2_0_5_line_90 | NAYY 4x150 SE | 87 | 90 | 0.009231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_971-2_0_5_line_91 | NAYY 4x150 SE | 89 | 103 | 0.013556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_971-2_0_5_line_92 | NAYY 4x150 SE | 90 | 91 | 0.013964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_971-2_0_5_line_93 | NAYY 4x150 SE | 90 | 92 | 0.02409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_971-2_0_5_line_94 | NAYY 4x150 SE | 91 | 93 | 0.03226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_971-2_0_5_line_95 | NAYY 4x150 SE | 91 | 94 | 0.021974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_971-2_0_5_line_96 | NAYY 4x150 SE | 92 | 99 | 0.016617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_971-2_0_5_line_97 | NAYY 4x150 SE | 93 | 96 | 0.040901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_971-2_0_5_line_98 | NAYY 4x150 SE | 94 | 95 | 0.013271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_971-2_0_5_line_99 | NAYY 4x150 SE | 95 | 101 | 0.03556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_971-2_0_5_line_100 | NAYY 4x150 SE | 96 | 97 | 0.0061802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_971-2_0_5_line_101 | NAYY 4x150 SE | 97 | 98 | 0.033835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_971-2_0_5_line_102 | NAYY 4x150 SE | 98 | 102 | 0.027466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_971-2_0_5_line_103 | NAYY 4x150 SE | 99 | 100 | 0.0054868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_971-2_0_5_trafo_49 | 0.25 MVA 20/0.4 kV | 105 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2612798.496 | 1233894.9576 | 2612772.4431 | 1233894.8445
1 | 2613035.8622 | 1233718.453 | 2612798.496 | 1233894.9576
2 | 2612772.4431 | 1233894.8445 | 2612761.0148 | 1233894.7948
3 | 2613035.8622 | 1233718.453 | 2613045.0506 | 1233702.0041 | 2613046.9754 | 1233698.4746
4 | 2612761.0148 | 1233894.7948 | 2612755.5892 | 1233894.7712
5 | 2613060.749 | 1233674.7997 | 2613057.4768 | 1233679.2175 | 2613046.9754 | 1233698.4746
6 | 2613295.5036 | 1233440.86 | 2613292.9921 | 1233437.991 | 2613285.8587 | 1233426.1184
7 | 2613285.8587 | 1233426.1184 | 2613275.4632 | 1233408.8165
8 | 2613253.9641 | 1233089.0266 | 2613309.3905 | 1233090.9621 | 2613314.8514 | 1233090.0943
9 | 2613251.8246 | 1233074.0461 | 2613252.4944 | 1233079.273 | 2613252.9706 | 1233083.0096 | 2613253.9641 | 1233089.0266
10 | 2613253.9641 | 1233089.0266 | 2613254.6327 | 1233091.3517 | 2613257.5676 | 1233102.6761 | 2613261.1235 | 1233117.2929 | 2613265.7376 | 1233136.0144 | 2613268.593 | 1233145.6155 | 2613269.0628 | 1233148.8296 | 2613268.7369 | 1233152.4199
11 | 2613251.8246 | 1233074.0461 | 2613276.9603 | 1233077.2708
12 | 2613229.5245 | 1233083.2022 | 2613252.4944 | 1233079.273 | 2613251.8246 | 1233074.0461
13 | 2613251.8246 | 1233074.0461 | 2613251.3639 | 1233070.1649 | 2613250.7434 | 1233066.6059 | 2613249.8184 | 1233063.8355 | 2613248.9784 | 1233061.6546
14 | 2613257.7167 | 1233192.3195 | 2613268.7369 | 1233152.4199
15 | 2613268.7369 | 1233152.4199 | 2613293.4505 | 1233148.9449
16 | 2613278.3133 | 1233077.4444 | 2613276.9603 | 1233077.2708
17 | 2613229.5245 | 1233083.2022 | 2613228.8537 | 1233078.4311 | 2613227.8431 | 1233073.3147 | 2613227.1513 | 1233067.7876 | 2613225.4986 | 1233062.0138 | 2613223.5555 | 1233057.4401 | 2613221.4418 | 1233053.033
18 | 2613229.5245 | 1233083.2022 | 2613229.5239 | 1233093.7308 | 2613229.526 | 1233095.4524
19 | 2613248.9784 | 1233061.6546 | 2613248.6141 | 1233060.7087 | 2613247.1517 | 1233057.7216
20 | 2613257.7167 | 1233192.3195 | 2613284.4773 | 1233199.3055 | 2613299.333 | 1233200.8358
21 | 2613257.7167 | 1233192.3195 | 2613256.3882 | 1233197.3863 | 2613259.3855 | 1233207.8549 | 2613261.6942 | 1233218.1885
22 | 2613317.6946 | 1233145.5358 | 2613293.4505 | 1233148.9449
23 | 2613239.6078 | 1233045.0659 | 2613246.2929 | 1233055.9673 | 2613247.1517 | 1233057.7216
24 | 2613299.333 | 1233200.8358 | 2613316.2533 | 1233202.5788
25 | 2613261.6942 | 1233218.1885 | 2613294.5771 | 1233222.6087 | 2613314.3591 | 1233232.3698 | 2613314.6572 | 1233232.4644
26 | 2613261.6942 | 1233218.1885 | 2613262.8048 | 1233229.3755 | 2613258.1803 | 1233259.6613 | 2613267.6194 | 1233314.5599 | 2613265.2157 | 1233350.3985
27 | 2613329.2855 | 1233141.8261 | 2613317.6946 | 1233145.5358
28 | 2613239.6078 | 1233045.0659 | 2613235.0967 | 1233037.7096
29 | 2613265.4906 | 1233392.2184 | 2613275.4632 | 1233408.8165
30 | 2613509.1012 | 1233197.8948 | 2613512.2482 | 1233197.7267 | 2613541.03 | 1233196.5891
31 | 2613509.1012 | 1233197.8948 | 2613491.396 | 1233198.8408
32 | 2613481.565 | 1233199.366 | 2613491.396 | 1233198.8408
33 | 2613445.9436 | 1233198.9615 | 2613458.7425 | 1233200.5854 | 2613481.565 | 1233199.366
34 | 2613445.9436 | 1233198.9615 | 2613442.2685 | 1233198.4952
35 | 2613420.3362 | 1233098.4505 | 2613420.3194 | 1233098.1085
36 | 2613421.5568 | 1233123.3661 | 2613420.3362 | 1233098.4505
37 | 2613421.5568 | 1233123.3661 | 2613398.5005 | 1233126.7476
38 | 2613421.5568 | 1233123.3661 | 2613461.3186 | 1233116.8844
39 | 2613388.7056 | 1233128.1841 | 2613398.5005 | 1233126.7476
40 | 2613388.7056 | 1233128.1841 | 2613388.8536 | 1233149.9532 | 2613385.1977 | 1233153.0802 | 2613375.9038 | 1233153.1482
41 | 2613371.7655 | 1233120.3526 | 2613371.9459 | 1233131.0817 | 2613388.7056 | 1233128.1841
42 | 2613375.7887 | 1233153.1491 | 2613375.9038 | 1233153.1482
43 | 2613373.5042 | 1233114.6975 | 2613371.7655 | 1233120.3526
44 | 2613371.7655 | 1233120.3526 | 2613369.4299 | 1233118.7352 | 2613362.5378 | 1233116.6964 | 2613354.2104 | 1233116.6777
45 | 2613329.2855 | 1233141.8261 | 2613334.5378 | 1233152.6666 | 2613335.1796 | 1233153.4463
46 | 2613329.2855 | 1233141.8261 | 2613331.6364 | 1233133.2262 | 2613336.0157 | 1233124.8309 | 2613343.4381 | 1233119.8889 | 2613354.2104 | 1233116.6777
47 | 2613335.1796 | 1233153.4463 | 2613357.8662 | 1233181.2472 | 2613361.7121 | 1233184.58 | 2613362.2269 | 1233184.8801
48 | 2613375.4893 | 1233189.5078 | 2613369.9173 | 1233188.4118 | 2613365.5603 | 1233186.8233 | 2613362.2269 | 1233184.8801
49 | 2613428.035 | 1233196.6893 | 2613442.2685 | 1233198.4952
50 | 2613406.4356 | 1233193.8242 | 2613419.6682 | 1233195.6278 | 2613428.035 | 1233196.6893
51 | 2613406.4356 | 1233193.8242 | 2613405.5566 | 1233193.7044
52 | 2613405.5566 | 1233193.7044 | 2613384.6369 | 1233190.8532
53 | 2613375.4893 | 1233189.5078 | 2613377.121 | 1233189.8288 | 2613384.6369 | 1233190.8532
54 | 2613261.7112 | 1233384.9667 | 2613260.9335 | 1233383.3311 | 2613259.7895 | 1233380.3601 | 2613258.7339 | 1233375.0323 | 2613258.1033 | 1233369.2719 | 2613258.1872 | 1233365.5921 | 2613258.3315 | 1233364.7627
55 | 2613261.7112 | 1233384.9667 | 2613263.9023 | 1233389.5748 | 2613265.4906 | 1233392.2184
56 | 2613265.2157 | 1233350.3985 | 2613260.2696 | 1233358.4924 | 2613258.8313 | 1233361.8913 | 2613258.3315 | 1233364.7627
57 | 2613258.3315 | 1233364.7627 | 2613158.9284 | 1233386.1516
58 | 2613265.2157 | 1233350.3985 | 2613271.169 | 1233362.5524 | 2613274.7752 | 1233368.1193 | 2613278.5035 | 1233373.164 | 2613283.247 | 1233377.9219 | 2613286.3793 | 1233380.2885
59 | 2613158.9284 | 1233386.1516 | 2613153.2173 | 1233404.7948 | 2613148.9124 | 1233410.5888
60 | 2613158.9284 | 1233386.1516 | 2613146.87 | 1233382.4117 | 2613121.4723 | 1233374.1612
61 | 2613060.5606 | 1233435.7546 | 2613060.3411 | 1233439.1784 | 2613061.4819 | 1233443.7059
62 | 2613060.5606 | 1233435.7546 | 2613062.4148 | 1233432.4789 | 2613064.9123 | 1233429.2824 | 2613071.5477 | 1233424.0048 | 2613078.0285 | 1233420.1389 | 2613078.0285 | 1233420.1389
63 | 2613056.4062 | 1233400.4464 | 2613055.7629 | 1233407.2824 | 2613056.6673 | 1233419.4918 | 2613060.5606 | 1233435.7546
64 | 2613073.0516 | 1233455.2264 | 2613069.5681 | 1233453.385 | 2613066.0541 | 1233450.6312 | 2613063.449 | 1233447.6236 | 2613061.4819 | 1233443.7059
65 | 2613099.8112 | 1233417.2651 | 2613087.1326 | 1233417.8575 | 2613082.1347 | 1233418.6359 | 2613078.0285 | 1233420.1389
66 | 2613056.4062 | 1233400.4464 | 2613057.9317 | 1233395.191 | 2613059.9172 | 1233390.7482 | 2613061.5146 | 1233388.1624
67 | 2613056.4062 | 1233400.4464 | 2613025.8193 | 1233402.7125
68 | 2613148.9124 | 1233410.5888 | 2613150.6371 | 1233430.9086
69 | 2613148.9124 | 1233410.5888 | 2613144.354 | 1233412.1597
70 | 2613098.9625 | 1233468.9231 | 2613088.956 | 1233463.6336
71 | 2613098.9625 | 1233468.9231 | 2613108.6821 | 1233474.061 | 2613112.2685 | 1233476.3663
72 | 2613088.956 | 1233463.6336 | 2613073.0516 | 1233455.2264
73 | 2613120.5519 | 1233482.2729 | 2613115.4855 | 1233478.4341 | 2613112.2685 | 1233476.3663
74 | 2613128.5523 | 1233415.5447 | 2613136.4427 | 1233414.8862 | 2613144.354 | 1233412.1597
75 | 2613128.5523 | 1233415.5447 | 2613123.0068 | 1233416.0075
76 | 2613104.0628 | 1233417.0665 | 2613118.2713 | 1233416.4027 | 2613123.0068 | 1233416.0075
77 | 2613104.0628 | 1233417.0665 | 2613099.8112 | 1233417.2651
78 | 2613290.8993 | 1233383.1253 | 2613287.9401 | 1233381.4678 | 2613286.3793 | 1233380.2885
79 | 2613013.6967 | 1233403.6106 | 2613025.8193 | 1233402.7125
80 | 2613071.2139 | 1233372.4618 | 2613061.5146 | 1233388.1624
81 | 2613071.2139 | 1233372.4618 | 2613076.2455 | 1233365.2241
82 | 2613071.2139 | 1233372.4618 | 2613060.6423 | 1233365.1634
83 | 2613030.2913 | 1233348.8491 | 2613025.0078 | 1233347.4457 | 2613019.8299 | 1233346.0964
84 | 2613030.2913 | 1233348.8491 | 2613041.2136 | 1233351.7504 | 2613060.6423 | 1233365.1634
85 | 2613120.6131 | 1233373.8821 | 2613121.4723 | 1233374.1612
86 | 2613137.2949 | 1233497.7228 | 2613135.5531 | 1233495.7331 | 2613127.2964 | 1233487.9103 | 2613121.622 | 1233483.0837 | 2613120.5519 | 1233482.2729
87 | 2613150.0722 | 1233540.381 | 2613150.5596 | 1233535.6348 | 2613150.6766 | 1233530.6542 | 2613150.5164 | 1233527.741 | 2613149.8975 | 1233523.5037 | 2613148.9672 | 1233519.6772 | 2613147.8472 | 1233516.0836 | 2613145.7458 | 1233511.2983 | 2613142.9199 | 1233505.4552 | 2613139.4343 | 1233500.1666 | 2613137.2949 | 1233497.7228
88 | 2613314.6572 | 1233232.4644 | 2613331.7054 | 1233237.8785 | 2613339.3401 | 1233239.3236
89 | 2613290.8993 | 1233383.1253 | 2613294.3968 | 1233385.0844 | 2613300.9685 | 1233388.0897 | 2613307.278 | 1233389.8604 | 2613313.3475 | 1233390.6077 | 2613320.2283 | 1233390.801 | 2613333.0543 | 1233389.74 | 2613347.1841 | 1233388.1167
90 | 2613150.0722 | 1233540.381 | 2613149.1467 | 1233544.7261 | 2613147.5698 | 1233549.2475
91 | 2613339.3401 | 1233239.3236 | 2613352.66 | 1233241.8449
92 | 2613141.8946 | 1233562.0094 | 2613145.2565 | 1233554.7347 | 2613147.5698 | 1233549.2475
93 | 2613147.5698 | 1233549.2475 | 2613128.9822 | 1233533.9232
94 | 2613141.8946 | 1233562.0094 | 2613131.4771 | 1233579.8418 | 2613125.8694 | 1233590.0055
95 | 2613141.8946 | 1233562.0094 | 2613152.9711 | 1233571.4618 | 2613155.9696 | 1233574.5369 | 2613157.9596 | 1233576.937
96 | 2613116.1609 | 1233523.3528 | 2613128.9822 | 1233533.9232
97 | 2613125.8694 | 1233590.0055 | 2613123.4818 | 1233594.333 | 2613118.7135 | 1233604.3841 | 2613110.5059 | 1233622.4993 | 2613107.7409 | 1233626.6003
98 | 2613164.8263 | 1233588.2425 | 2613163.1759 | 1233584.9035 | 2613161.1552 | 1233581.2524 | 2613158.9895 | 1233578.1791 | 2613157.9596 | 1233576.937
99 | 2613164.8263 | 1233588.2425 | 2613158.9401 | 1233604.0057 | 2613158.0391 | 1233607.5392 | 2613156.7196 | 1233615.4522 | 2613156.1019 | 1233622.4903
100 | 2613104.286 | 1233631.7246 | 2613107.7409 | 1233626.6003
101 | 2613104.286 | 1233631.7246 | 2613088.3823 | 1233648.8334 | 2613080.8446 | 1233656.1082
102 | 2613060.749 | 1233674.7997 | 2613063.7991 | 1233671.5489 | 2613073.5901 | 1233663.1096 | 2613080.8446 | 1233656.1082
103 | 2613111.9274 | 1233519.8625 | 2613116.1609 | 1233523.3528

## bus_geodata
| x | y | coords
0 | 2612798.496 | 1233894.9576
1 | 2612772.4431 | 1233894.8445
2 | 2613035.8622 | 1233718.453
3 | 2612761.0148 | 1233894.7948
4 | 2613046.9754 | 1233698.4746
5 | 2612755.5892 | 1233894.7712
6 | 2613295.5036 | 1233440.86
7 | 2613285.8587 | 1233426.1184
8 | 2613314.8514 | 1233090.0943
9 | 2613253.9641 | 1233089.0266
10 | 2613251.8246 | 1233074.0461
11 | 2613268.7369 | 1233152.4199
12 | 2613276.9603 | 1233077.2708
13 | 2613229.5245 | 1233083.2022
14 | 2613248.9784 | 1233061.6546
15 | 2613221.4418 | 1233053.033
16 | 2613229.5259 | 1233095.4524
17 | 2613257.7167 | 1233192.3195
18 | 2613293.4505 | 1233148.9449
19 | 2613278.3133 | 1233077.4444
20 | 2613247.1517 | 1233057.7216
21 | 2613299.333 | 1233200.8358
22 | 2613261.6942 | 1233218.1885
23 | 2613317.6946 | 1233145.5358
24 | 2613239.6078 | 1233045.0659
25 | 2613235.0967 | 1233037.7096
26 | 2613275.4632 | 1233408.8165
27 | 2613541.03 | 1233196.5891
28 | 2613509.1012 | 1233197.8948
29 | 2613491.396 | 1233198.8408
30 | 2613481.565 | 1233199.366
31 | 2613445.9436 | 1233198.9615
32 | 2613420.3362 | 1233098.4505
33 | 2613420.3194 | 1233098.1085
34 | 2613421.5568 | 1233123.3661
35 | 2613398.5005 | 1233126.7476
36 | 2613461.3186 | 1233116.8844
37 | 2613388.7056 | 1233128.1841
38 | 2613375.9038 | 1233153.1482
39 | 2613371.7655 | 1233120.3526
40 | 2613375.7887 | 1233153.1491
41 | 2613329.2855 | 1233141.8261
42 | 2613335.1796 | 1233153.4463
43 | 2613354.2104 | 1233116.6777
44 | 2613373.5042 | 1233114.6975
45 | 2613362.2269 | 1233184.8801
46 | 2613442.2685 | 1233198.4952
47 | 2613428.035 | 1233196.6893
48 | 2613406.4356 | 1233193.8242
49 | 2613405.5566 | 1233193.7044
50 | 2613384.6369 | 1233190.8532
51 | 2613375.4893 | 1233189.5078
52 | 2613261.7112 | 1233384.9667
53 | 2613258.3315 | 1233364.7627
54 | 2613265.4906 | 1233392.2184
55 | 2613265.2157 | 1233350.3985
56 | 2613158.9284 | 1233386.1516
57 | 2613060.5606 | 1233435.7546
58 | 2613061.4819 | 1233443.7059
59 | 2613078.0285 | 1233420.1389
60 | 2613056.4062 | 1233400.4464
61 | 2613150.6371 | 1233430.9086
62 | 2613148.9124 | 1233410.5888
63 | 2613098.9625 | 1233468.9231
64 | 2613088.956 | 1233463.6336
65 | 2613112.2685 | 1233476.3663
66 | 2613073.0516 | 1233455.2264
67 | 2613144.354 | 1233412.1597
68 | 2613128.5523 | 1233415.5447
69 | 2613123.0068 | 1233416.0075
70 | 2613104.0628 | 1233417.0665
71 | 2613099.8112 | 1233417.2651
72 | 2613286.3793 | 1233380.2885
73 | 2613025.8193 | 1233402.7125
74 | 2613013.6967 | 1233403.6106
75 | 2613061.5146 | 1233388.1624
76 | 2613071.2139 | 1233372.4618
77 | 2613030.2913 | 1233348.8492
78 | 2613019.8299 | 1233346.0964
79 | 2613060.6423 | 1233365.1634
80 | 2613076.2455 | 1233365.2241
81 | 2613121.4723 | 1233374.1612
82 | 2613120.6131 | 1233373.8821
83 | 2613120.5519 | 1233482.2729
84 | 2613137.2949 | 1233497.7228
85 | 2613314.6572 | 1233232.4644
86 | 2613290.8993 | 1233383.1253
87 | 2613150.0722 | 1233540.381
88 | 2613347.1841 | 1233388.1167
89 | 2613339.3401 | 1233239.3236
90 | 2613147.5698 | 1233549.2475
91 | 2613141.8946 | 1233562.0094
92 | 2613128.9822 | 1233533.9232
93 | 2613125.8694 | 1233590.0055
94 | 2613157.9596 | 1233576.937
95 | 2613164.8263 | 1233588.2425
96 | 2613107.7409 | 1233626.6003
97 | 2613104.286 | 1233631.7246
98 | 2613080.8446 | 1233656.1082
99 | 2613116.1609 | 1233523.3528
100 | 2613111.9274 | 1233519.8625
101 | 2613156.1019 | 1233622.4903
102 | 2613060.749 | 1233674.7997
103 | 2613352.66 | 1233241.8449
104 | 2613316.2533 | 1233202.5788
105 | 2613258.1803 | 1233259.6613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1