## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_971-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_971-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_971-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_971-4_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_971-4_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_971-4_0_2_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_971-4_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_971-4_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_971-4_0_2_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_971-4_0_2_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_971-4_0_2_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_971-4_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_971-4_0_2_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_971-4_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_971-4_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_971-4_0_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_971-4_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_971-4_0_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_971-4_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_971-4_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_971-4_0_2_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_971-4_0_2_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_971-4_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_971-4_0_2_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_971-4_0_2_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_971-4_0_2_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_971-4_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_971-4_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_971-4_0_2_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_971-4_0_2_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_971-4_0_2_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_971-4_0_2_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_971-4_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_971-4_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_971-4_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_971-4_0_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_971-4_0_2_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_971-4_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_971-4_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_971-4_0_2_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_971-4_0_2_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_971-4_0_2_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_971-4_0_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_971-4_0_2_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_971-4_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_971-4_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_971-4_0_2_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_971-4_0_2_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_971-4_0_2_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_971-4_0_2_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_971-4_0_2_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_971-4_0_2_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_971-4_0_2_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_971-4_0_2_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_971-4_0_2_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_971-4_0_2_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_971-4_0_2_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_971-4_0_2_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_971-4_0_2_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_971-4_0_2_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_971-4_0_2_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_971-4_0_2_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_971-4_0_2_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_971-4_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_971-4_0_2_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_971-4_0_2_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_971-4_0_2_node_69 | 0.4 | n |  | TRUE
67 | bus_MV_292_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_971-4_0_2_load_0 | 0 | 0.004526 | 0.0011343 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_971-4_0_2_load_5 | 4 | 0.0040044 | 0.0010036 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_971-4_0_2_load_10 | 5 | 0.0051015 | 0.0012786 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_971-4_0_2_load_11 | 6 | 0.0012153 | 0.00030459 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_971-4_0_2_load_7 | 7 | 0.0059242 | 0.0014848 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_971-4_0_2_load_14 | 8 | 0.0011528 | 0.00028892 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_971-4_0_2_load_22 | 9 | 0.0016725 | 0.00041918 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_971-4_0_2_load_12 | 11 | 0.00096614 | 0.00024214 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_971-4_0_2_load_19 | 12 | 0.0051498 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_971-4_0_2_load_8 | 13 | 0.0026372 | 0.00066094 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_971-4_0_2_load_9 | 14 | 0.0016425 | 0.00041166 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_971-4_0_2_load_18 | 15 | 0.0032971 | 0.00082633 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_971-4_0_2_load_15 | 16 | 0.0015096 | 0.00037835 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_971-4_0_2_load_23 | 17 | 0.0016314 | 0.00040886 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_971-4_0_2_load_16 | 18 | 0.00092739 | 0.00023243 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_971-4_0_2_load_13 | 19 | 0.0060945 | 0.0015274 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_971-4_0_2_load_73 | 20 | 0.0061047 | 0.00153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_971-4_0_2_load_74 | 21 | 0.0015785 | 0.00039561 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_971-4_0_2_load_17 | 22 | 0.0022188 | 0.00055608 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_971-4_0_2_load_65 | 24 | 0.002627 | 0.00065838 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_971-4_0_2_load_63 | 25 | 0.0022479 | 0.00056337 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_971-4_0_2_load_24 | 26 | 0.0020019 | 0.00050171 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_971-4_0_2_load_61 | 28 | 0.0014335 | 0.00035927 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_971-4_0_2_load_47 | 29 | 0.00082293 | 0.00020624 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_971-4_0_2_load_51 | 30 | 0.0014117 | 0.0003538 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_971-4_0_2_load_50 | 31 | 0.0021286 | 0.00053348 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_971-4_0_2_load_25 | 32 | 0.0043312 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_971-4_0_2_load_26 | 33 | 0.0014986 | 0.00037557 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_971-4_0_2_load_28 | 34 | 0.0037753 | 0.00094617 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_971-4_0_2_load_30 | 37 | 0.0012811 | 0.00032108 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_971-4_0_2_load_31 | 38 | 0.0036205 | 0.00090739 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_971-4_0_2_load_41 | 39 | 0.001242 | 0.00031128 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_971-4_0_2_load_54 | 40 | 0.0013665 | 0.00034247 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_971-4_0_2_load_60 | 41 | 0.0040776 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_971-4_0_2_load_32 | 42 | 0.0027439 | 0.00068768 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_971-4_0_2_load_56 | 43 | 0.0009243 | 0.00023165 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_971-4_0_2_load_39 | 44 | 0.0012141 | 0.00030428 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_971-4_0_2_load_44 | 45 | 0.00087228 | 0.00021861 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_971-4_0_2_load_33 | 46 | 0.0070209 | 0.0017596 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_971-4_0_2_load_55 | 48 | 0.0018027 | 0.0004518 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_971-4_0_2_load_70 | 49 | 0.0010943 | 0.00027426 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_971-4_0_2_load_35 | 50 | 0.0036313 | 0.0009101 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_971-4_0_2_load_36 | 51 | 0.0018691 | 0.00046845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_971-4_0_2_load_38 | 53 | 0.0059669 | 0.0014954 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_971-4_0_2_load_67 | 55 | 0.0017903 | 0.00044868 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_971-4_0_2_load_66 | 56 | 0.0026937 | 0.0006751 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_971-4_0_2_load_71 | 57 | 0.0014118 | 0.00035382 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_971-4_0_2_load_42 | 58 | 0.0020269 | 0.00050799 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_971-4_0_2_load_43 | 59 | 0.0047302 | 0.0011855 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_971-4_0_2_load_45 | 60 | 0.0072533 | 0.0018178 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_971-4_0_2_load_57 | 62 | 0.0021208 | 0.00053152 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_971-4_0_2_load_58 | 63 | 0.0027412 | 0.00068701 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_971-4_0_2_load_59 | 64 | 0.005162 | 0.0012937 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_971-4_0_2_load_68 | 65 | 0.0015988 | 0.00040069 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_971-4_0_2_load_69 | 66 | 0.0016735 | 0.00041941 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_971-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_971-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.026249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_971-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.043161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_971-4_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.053068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_971-4_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.017704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_971-4_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.014779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_971-4_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.030245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_971-4_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.052165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_971-4_0_2_line_8 | NAYY 4x150 SE | 5 | 11 | 0.04026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_971-4_0_2_line_9 | NAYY 4x150 SE | 6 | 12 | 0.017521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_971-4_0_2_line_10 | NAYY 4x150 SE | 7 | 13 | 0.022852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_971-4_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.032546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_971-4_0_2_line_12 | NAYY 4x150 SE | 10 | 27 | 0.003606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_971-4_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.018925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_971-4_0_2_line_14 | NAYY 4x150 SE | 11 | 19 | 0.017301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_971-4_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0053892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_971-4_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.037894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_971-4_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.018596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_971-4_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0050843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_971-4_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0078153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_971-4_0_2_line_20 | NAYY 4x150 SE | 17 | 26 | 0.016284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_971-4_0_2_line_21 | NAYY 4x150 SE | 18 | 22 | 0.025733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_971-4_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.025461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_971-4_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0078902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_971-4_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.031865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_971-4_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.01379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_971-4_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.016541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_971-4_0_2_line_27 | NAYY 4x150 SE | 24 | 56 | 0.013448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_971-4_0_2_line_28 | NAYY 4x150 SE | 26 | 30 | 0.008169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_971-4_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.024026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_971-4_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0025338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_971-4_0_2_line_31 | NAYY 4x150 SE | 29 | 61 | 0.014833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_971-4_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.013088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_971-4_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.002692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_971-4_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.010989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_971-4_0_2_line_35 | NAYY 4x150 SE | 34 | 39 | 0.0093504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_971-4_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.024097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_971-4_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.010798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_971-4_0_2_line_38 | NAYY 4x150 SE | 35 | 38 | 0.010986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_971-4_0_2_line_39 | NAYY 4x150 SE | 36 | 40 | 0.022804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_971-4_0_2_line_40 | NAYY 4x150 SE | 36 | 41 | 0.0099911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_971-4_0_2_line_41 | NAYY 4x150 SE | 37 | 42 | 0.0056005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_971-4_0_2_line_42 | NAYY 4x150 SE | 38 | 43 | 0.028724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_971-4_0_2_line_43 | NAYY 4x150 SE | 39 | 44 | 0.013736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_971-4_0_2_line_44 | NAYY 4x150 SE | 40 | 45 | 0.0037134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_971-4_0_2_line_45 | NAYY 4x150 SE | 42 | 46 | 0.027867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_971-4_0_2_line_46 | NAYY 4x150 SE | 43 | 47 | 0.015132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_971-4_0_2_line_47 | NAYY 4x150 SE | 44 | 52 | 0.0013597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_971-4_0_2_line_48 | NAYY 4x150 SE | 45 | 59 | 0.0019237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_971-4_0_2_line_49 | NAYY 4x150 SE | 47 | 62 | 0.00855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_971-4_0_2_line_50 | NAYY 4x150 SE | 47 | 61 | 0.018602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_971-4_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.020821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_971-4_0_2_line_52 | NAYY 4x150 SE | 49 | 53 | 0.019699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_971-4_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.013127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_971-4_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.01453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_971-4_0_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.016628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_971-4_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.018523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_971-4_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.024273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_971-4_0_2_line_58 | NAYY 4x150 SE | 54 | 56 | 0.0049697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_971-4_0_2_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0017554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_971-4_0_2_line_60 | NAYY 4x150 SE | 58 | 59 | 0.056356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_971-4_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.029974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_971-4_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.016548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_971-4_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.012685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_971-4_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.0023922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_971-4_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.0033448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_971-4_0_2_trafo_69 | 0.25 MVA 20/0.4 kV | 67 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2613229.5245 | 1233083.2022 | 2613228.8537 | 1233078.4311 | 2613227.8431 | 1233073.3147 | 2613227.713 | 1233072.2754
1 | 2613218.906 | 1233047.7461 | 2613223.5555 | 1233057.4401 | 2613225.4986 | 1233062.0138 | 2613227.1513 | 1233067.7876 | 2613227.713 | 1233072.2754
2 | 2613223.9872 | 1233125.6823 | 2613225.7845 | 1233120.8722 | 2613227.412 | 1233114.0828 | 2613228.5322 | 1233107.3479 | 2613229.5319 | 1233100.3681 | 2613229.5239 | 1233093.7308 | 2613229.5245 | 1233083.2022
3 | 2613218.906 | 1233047.7461 | 2613177.1013 | 1233044.5629 | 2613169.538 | 1233044.7352 | 2613165.9668 | 1233044.9456
4 | 2613223.9872 | 1233125.6823 | 2613207.4532 | 1233119.3523
5 | 2613223.9872 | 1233125.6823 | 2613235.6673 | 1233134.7367
6 | 2613223.9872 | 1233125.6823 | 2613212.5228 | 1233133.8285 | 2613201.3398 | 1233145.5238
7 | 2613114.2748 | 1233051.6564 | 2613120.2474 | 1233051.2307 | 2613145.7162 | 1233047.0175 | 2613161.1715 | 1233045.2282 | 2613165.9668 | 1233044.9456
8 | 2613207.4532 | 1233119.3523 | 2613194.8659 | 1233114.5333 | 2613192.5819 | 1233113.5165 | 2613191.2818 | 1233112.602 | 2613190.3007 | 1233111.2101 | 2613189.5718 | 1233108.7848 | 2613187.3972 | 1233095.9389 | 2613186.335 | 1233093.5685 | 2613184.5652 | 1233091.3593
9 | 2613235.6673 | 1233134.7367 | 2613235.8674 | 1233134.8919 | 2613241.1141 | 1233138.1388 | 2613251.2416 | 1233142.6776
10 | 2613201.3398 | 1233145.5238 | 2613185.5466 | 1233162.0405
11 | 2613261.1235 | 1233117.2929 | 2613265.7376 | 1233136.0144 | 2613268.593 | 1233145.6155 | 2613269.0628 | 1233148.8296
12 | 2613269.0628 | 1233148.8296 | 2613268.7369 | 1233152.4199
13 | 2613269.0628 | 1233148.8296 | 2613264.1444 | 1233147.8069 | 2613258.2666 | 1233145.826 | 2613251.2416 | 1233142.6776
14 | 2613168.2128 | 1233089.37 | 2613175.5891 | 1233088.2749 | 2613178.0872 | 1233088.3249 | 2613180.2213 | 1233088.6631 | 2613182.5887 | 1233089.6467 | 2613184.3721 | 1233091.1182 | 2613184.5652 | 1233091.3593
15 | 2613181.8221 | 1233165.9356 | 2613185.5466 | 1233162.0405
16 | 2613181.8221 | 1233165.9356 | 2613159.7302 | 1233156.4033 | 2613153.7775 | 1233154.0777 | 2613149.7532 | 1233152.6569 | 2613146.707 | 1233151.7626
17 | 2613181.8221 | 1233165.9356 | 2613178.7478 | 1233169.6977 | 2613173.5485 | 1233175.8678 | 2613170.1075 | 1233180.3728
18 | 2613141.7746 | 1233150.5359 | 2613145.403 | 1233151.3798 | 2613146.707 | 1233151.7626
19 | 2613165.3637 | 1233186.5836 | 2613170.1075 | 1233180.3728
20 | 2613125.6431 | 1233148.386 | 2613129.5037 | 1233148.6877 | 2613141.0599 | 1233150.3697 | 2613141.7746 | 1233150.5359
21 | 2613165.3637 | 1233186.5836 | 2613151.1591 | 1233205.1806 | 2613149.6858 | 1233206.9875
22 | 2613168.2128 | 1233089.37 | 2613166.3653 | 1233089.6443 | 2613162.269 | 1233089.9243 | 2613142.7845 | 1233089.6123
23 | 2613134.8953 | 1233089.486 | 2613142.7845 | 1233089.6123
24 | 2613123.7413 | 1233225.0434 | 2613138.5594 | 1233216.7599 | 2613143.7834 | 1233213.058 | 2613147.7205 | 1233209.3978 | 2613149.6858 | 1233206.9875
25 | 2613123.7413 | 1233225.0434 | 2613133.6643 | 1233234.6188
26 | 2613123.7413 | 1233225.0434 | 2613120.3783 | 1233222.4233 | 2613116.1153 | 1233219.401 | 2613111.5408 | 1233216.8672 | 2613109.895 | 1233216.0838
27 | 2613143.3414 | 1233243.957 | 2613133.6643 | 1233234.6188
28 | 2613125.6431 | 1233148.386 | 2613119.5504 | 1233147.9098 | 2613117.4943 | 1233147.8288
29 | 2613268.7369 | 1233152.4199 | 2613262.3404 | 1233175.5791
30 | 2613262.3404 | 1233175.5791 | 2613261.6658 | 1233178.0215
31 | 2613257.7167 | 1233192.3195 | 2613261.6658 | 1233178.0215
32 | 2613104.4167 | 1233147.3134 | 2613117.4943 | 1233147.8288
33 | 2613201.9953 | 1233260.8532 | 2613199.3736 | 1233260.2419
34 | 2613188.6713 | 1233257.7463 | 2613199.3736 | 1233260.2419
35 | 2613188.6713 | 1233257.7463 | 2613179.5652 | 1233255.6229
36 | 2613234.095 | 1233261.6535 | 2613258.1803 | 1233259.6613
37 | 2613234.095 | 1233261.6535 | 2613232.84 | 1233271.1454 | 2613232.3142 | 1233272.2497
38 | 2613234.095 | 1233261.6535 | 2613237.0055 | 1233251.0603
39 | 2613258.1803 | 1233259.6613 | 2613262.0444 | 1233282.1352
40 | 2613258.1803 | 1233259.6613 | 2613259.6884 | 1233249.7847
41 | 2613229.9067 | 1233277.3063 | 2613232.3142 | 1233272.2497
42 | 2613245.2046 | 1233223.5521 | 2613242.7037 | 1233230.3203 | 2613237.0055 | 1233251.0603
43 | 2613166.1877 | 1233252.5035 | 2613179.5652 | 1233255.6229
44 | 2613262.6736 | 1233285.7949 | 2613262.0444 | 1233282.1352
45 | 2613229.9067 | 1233277.3063 | 2613217.9269 | 1233302.4674
46 | 2613250.4492 | 1233209.3582 | 2613245.2046 | 1233223.5521
47 | 2613164.8636 | 1233252.1948 | 2613166.1877 | 1233252.5035
48 | 2613262.6736 | 1233285.7949 | 2613262.9996 | 1233287.6908
49 | 2613250.4492 | 1233209.3582 | 2613242.2563 | 1233211.8036
50 | 2613250.4492 | 1233209.3582 | 2613256.3882 | 1233197.3863 | 2613257.7167 | 1233192.3195
51 | 2613152.4832 | 1233313.8271 | 2613152.4743 | 1233319.4526 | 2613155.3614 | 1233334.3711
52 | 2613152.5142 | 1233294.1279 | 2613152.4832 | 1233313.8271
53 | 2613159.5161 | 1233265.7053 | 2613154.6851 | 1233277.9112
54 | 2613164.8636 | 1233252.1948 | 2613159.5161 | 1233265.7053
55 | 2613152.5142 | 1233294.1279 | 2613152.5311 | 1233283.3531 | 2613154.6851 | 1233277.9112
56 | 2613146.9175 | 1233247.4079 | 2613164.8636 | 1233252.1948
57 | 2613146.9175 | 1233247.4079 | 2613133.9336 | 1233261.6435 | 2613131.5043 | 1233266.0196
58 | 2613146.9175 | 1233247.4079 | 2613143.3414 | 1233243.957
59 | 2613131.5043 | 1233266.0196 | 2613130.6523 | 1233267.5544
60 | 2613265.6725 | 1233343.5874 | 2613267.6194 | 1233314.5599 | 2613262.9996 | 1233287.6908
61 | 2613257.7167 | 1233192.3195 | 2613284.4773 | 1233199.3055 | 2613286.7813 | 1233199.5428
62 | 2613242.2563 | 1233211.8036 | 2613238.359 | 1233212.9669 | 2613226.2611 | 1233216.0341
63 | 2613213.9565 | 1233219.1183 | 2613219.3621 | 1233217.7833 | 2613226.2611 | 1233216.0341
64 | 2613213.9565 | 1233219.1183 | 2613211.6341 | 1233219.6919
65 | 2613211.6341 | 1233219.6919 | 2613208.3868 | 1233220.4939 | 2613208.3868 | 1233220.4939

## bus_geodata
| x | y | coords
0 | 2613227.713 | 1233072.2754
1 | 2613229.5245 | 1233083.2022
2 | 2613218.906 | 1233047.7461
3 | 2613223.9872 | 1233125.6823
4 | 2613165.9668 | 1233044.9456
5 | 2613207.4532 | 1233119.3523
6 | 2613235.6673 | 1233134.7367
7 | 2613201.3398 | 1233145.5238
8 | 2613114.2748 | 1233051.6564
9 | 2613261.1235 | 1233117.2929
10 | 2613269.0628 | 1233148.8296
11 | 2613184.5652 | 1233091.3593
12 | 2613251.2416 | 1233142.6776
13 | 2613185.5466 | 1233162.0405
14 | 2613181.8221 | 1233165.9356
15 | 2613146.707 | 1233151.7626
16 | 2613170.1075 | 1233180.3728
17 | 2613141.7746 | 1233150.5359
18 | 2613165.3637 | 1233186.5836
19 | 2613168.2128 | 1233089.37
20 | 2613142.7845 | 1233089.6123
21 | 2613134.8953 | 1233089.486
22 | 2613149.6858 | 1233206.9875
23 | 2613123.7413 | 1233225.0434
24 | 2613133.6643 | 1233234.6188
25 | 2613109.895 | 1233216.0838
26 | 2613125.6431 | 1233148.386
27 | 2613268.7369 | 1233152.4199
28 | 2613262.3404 | 1233175.5791
29 | 2613261.6658 | 1233178.0215
30 | 2613117.4943 | 1233147.8288
31 | 2613104.4167 | 1233147.3134
32 | 2613201.9953 | 1233260.8532
33 | 2613199.3736 | 1233260.2419
34 | 2613188.6713 | 1233257.7463
35 | 2613234.095 | 1233261.6535
36 | 2613258.1803 | 1233259.6613
37 | 2613232.3142 | 1233272.2497
38 | 2613237.0055 | 1233251.0603
39 | 2613179.5652 | 1233255.6229
40 | 2613262.0444 | 1233282.1352
41 | 2613259.6884 | 1233249.7847
42 | 2613229.9067 | 1233277.3063
43 | 2613245.2046 | 1233223.5521
44 | 2613166.1877 | 1233252.5035
45 | 2613262.6736 | 1233285.7949
46 | 2613217.9269 | 1233302.4674
47 | 2613250.4492 | 1233209.3582
48 | 2613155.3614 | 1233334.3711
49 | 2613152.4832 | 1233313.8271
50 | 2613159.5161 | 1233265.7053
51 | 2613154.6851 | 1233277.9112
52 | 2613164.8636 | 1233252.1948
53 | 2613152.5142 | 1233294.1279
54 | 2613146.9175 | 1233247.4079
55 | 2613131.5043 | 1233266.0196
56 | 2613143.3414 | 1233243.957
57 | 2613130.6523 | 1233267.5544
58 | 2613265.6725 | 1233343.5874
59 | 2613262.9996 | 1233287.6908
60 | 2613286.7813 | 1233199.5428
61 | 2613257.7167 | 1233192.3195
62 | 2613242.2563 | 1233211.8036
63 | 2613226.2611 | 1233216.0341
64 | 2613213.9565 | 1233219.1183
65 | 2613211.6341 | 1233219.6919
66 | 2613208.3868 | 1233220.4939
67 | 2613187.9841 | 1233220.8602

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1