## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_976-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_976-1_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_976-1_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_976-1_0_4_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_976-1_0_4_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_976-1_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_976-1_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_976-1_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_976-1_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_976-1_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_976-1_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_976-1_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_976-1_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_976-1_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_976-1_0_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_976-1_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_976-1_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_976-1_0_4_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_976-1_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_976-1_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_976-1_0_4_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_976-1_0_4_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_976-1_0_4_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_976-1_0_4_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_976-1_0_4_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_976-1_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_976-1_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_976-1_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_976-1_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_976-1_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_976-1_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_976-1_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_976-1_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_976-1_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_976-1_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_976-1_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_976-1_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_976-1_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_976-1_0_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_976-1_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_976-1_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_976-1_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_976-1_0_4_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_976-1_0_4_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_976-1_0_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_976-1_0_4_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_976-1_0_4_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_976-1_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_976-1_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_976-1_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_976-1_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_976-1_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_976-1_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_976-1_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_976-1_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_976-1_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_976-1_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_976-1_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_976-1_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_976-1_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_976-1_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_976-1_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_976-1_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_976-1_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_976-1_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_976-1_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_976-1_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_976-1_0_4_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_976-1_0_4_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_976-1_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_976-1_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_976-1_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_976-1_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_976-1_0_4_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_976-1_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_976-1_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_MV_184_1_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_976-1_0_4_load_0 | 0 | 0.0026 | 0.00065162 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_976-1_0_4_load_3 | 2 | 0.0047329 | 0.0011862 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_976-1_0_4_load_26 | 3 | 0.0010732 | 0.00026897 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_976-1_0_4_load_4 | 5 | 0.0027876 | 0.00069863 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_976-1_0_4_load_30 | 6 | 0.0016613 | 0.00041636 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_976-1_0_4_load_31 | 7 | 0.0030706 | 0.00076956 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_976-1_0_4_load_6 | 8 | 0.0033787 | 0.00084679 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_976-1_0_4_load_7 | 9 | 0.0026284 | 0.00065873 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_976-1_0_4_load_9 | 11 | 0.0046002 | 0.0011529 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_976-1_0_4_load_10 | 12 | 0.00052362 | 0.00013123 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_976-1_0_4_load_11 | 13 | 0.0005267 | 0.000132 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_976-1_0_4_load_54 | 14 | 0.00070508 | 0.00017671 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_976-1_0_4_load_12 | 15 | 0.00049038 | 0.0001229 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_976-1_0_4_load_15 | 16 | 0.0017378 | 0.00043554 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_976-1_0_4_load_55 | 17 | 0.00054403 | 0.00013635 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_976-1_0_4_load_14 | 19 | 0.00081671 | 0.00020469 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_976-1_0_4_load_80 | 20 | 0.0024196 | 0.0006064 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_976-1_0_4_load_77 | 21 | 0.003689 | 0.00092455 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_976-1_0_4_load_78 | 22 | 0.0013245 | 0.00033196 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_976-1_0_4_load_81 | 23 | 0.0035235 | 0.00088307 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_976-1_0_4_load_82 | 24 | 0.0023878 | 0.00059845 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_976-1_0_4_load_24 | 25 | 0.0025059 | 0.00062804 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_976-1_0_4_load_35 | 26 | 0.0045345 | 0.0011365 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_976-1_0_4_load_22 | 27 | 0.0030945 | 0.00077556 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_976-1_0_4_load_33 | 28 | 0.0020947 | 0.00052497 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_976-1_0_4_load_17 | 29 | 0.0020564 | 0.00051537 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_976-1_0_4_load_18 | 30 | 0.0016462 | 0.00041258 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_976-1_0_4_load_20 | 32 | 0.0018579 | 0.00046563 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_976-1_0_4_load_21 | 33 | 0.0029439 | 0.0007378 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_976-1_0_4_load_37 | 34 | 0.0039807 | 0.00099765 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_976-1_0_4_load_25 | 35 | 0.0025247 | 0.00063275 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_976-1_0_4_load_38 | 36 | 0.0066937 | 0.0016776 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_976-1_0_4_load_23 | 37 | 0.0023872 | 0.00059829 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_976-1_0_4_load_56 | 38 | 0.003438 | 0.00086165 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_976-1_0_4_load_28 | 40 | 0.0042667 | 0.0010693 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_976-1_0_4_load_29 | 41 | 0.002798 | 0.00070125 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_976-1_0_4_load_61 | 42 | 0.0045753 | 0.0011467 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_976-1_0_4_load_62 | 43 | 0.0027778 | 0.00069619 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_976-1_0_4_load_60 | 44 | 0.0011292 | 0.00028299 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_976-1_0_4_load_71 | 45 | 0.0036943 | 0.00092588 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_976-1_0_4_load_69 | 46 | 0.0018703 | 0.00046874 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_976-1_0_4_load_49 | 47 | 0.0024893 | 0.00062387 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_976-1_0_4_load_58 | 48 | 0.00098028 | 0.00024568 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_976-1_0_4_load_32 | 50 | 0.0021071 | 0.00052808 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_976-1_0_4_load_34 | 51 | 0.0021472 | 0.00053813 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_976-1_0_4_load_36 | 52 | 0.0021814 | 0.00054671 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_976-1_0_4_load_39 | 53 | 0.0028663 | 0.00071836 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_976-1_0_4_load_46 | 56 | 0.003325 | 0.00083331 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_976-1_0_4_load_40 | 57 | 0.0017662 | 0.00044265 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_976-1_0_4_load_41 | 58 | 0.0046869 | 0.0011747 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_976-1_0_4_load_43 | 59 | 0.0044587 | 0.0011175 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_976-1_0_4_load_59 | 60 | 0.0061486 | 0.001541 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_976-1_0_4_load_45 | 61 | 0.003275 | 0.0008208 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_976-1_0_4_load_47 | 62 | 0.00090959 | 0.00022797 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_976-1_0_4_load_50 | 63 | 0.0016212 | 0.00040632 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_976-1_0_4_load_51 | 64 | 0.0034478 | 0.00086409 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_976-1_0_4_load_53 | 65 | 0.00084233 | 0.00021111 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_976-1_0_4_load_57 | 66 | 0.0028742 | 0.00072034 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_976-1_0_4_load_73 | 67 | 0.00073322 | 0.00018376 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_976-1_0_4_load_72 | 68 | 0.0024766 | 0.0006207 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_976-1_0_4_load_63 | 69 | 0.0046066 | 0.0011545 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_976-1_0_4_load_64 | 70 | 0.0048838 | 0.001224 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_976-1_0_4_load_65 | 71 | 0.0048262 | 0.0012096 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_976-1_0_4_load_66 | 72 | 0.0020832 | 0.0005221 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_976-1_0_4_load_67 | 73 | 0.0077007 | 0.00193 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_976-1_0_4_load_68 | 75 | 0.0018672 | 0.00046795 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_976-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0077617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_976-1_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.024958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_976-1_0_4_line_2 | NAYY 4x150 SE | 2 | 5 | 0.047633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_976-1_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.090997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_976-1_0_4_line_4 | NAYY 4x150 SE | 4 | 6 | 0.0021543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_976-1_0_4_line_5 | NAYY 4x150 SE | 4 | 7 | 0.021938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_976-1_0_4_line_6 | NAYY 4x150 SE | 4 | 5 | 0.25085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_976-1_0_4_line_7 | NAYY 4x150 SE | 6 | 38 | 0.011121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_976-1_0_4_line_8 | NAYY 4x150 SE | 7 | 39 | 0.033002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_976-1_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.015567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_976-1_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.025328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_976-1_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_976-1_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.011426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_976-1_0_4_line_13 | NAYY 4x150 SE | 10 | 13 | 0.039659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_976-1_0_4_line_14 | NAYY 4x150 SE | 11 | 14 | 0.0028679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_976-1_0_4_line_15 | NAYY 4x150 SE | 12 | 15 | 0.039686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_976-1_0_4_line_16 | NAYY 4x150 SE | 13 | 16 | 0.023462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_976-1_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.020248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_976-1_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.030884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_976-1_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.052337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_976-1_0_4_line_20 | NAYY 4x150 SE | 18 | 25 | 0.017898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_976-1_0_4_line_21 | NAYY 4x150 SE | 18 | 26 | 0.019102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_976-1_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.28709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_976-1_0_4_line_23 | NAYY 4x150 SE | 20 | 23 | 0.021604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_976-1_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.020886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_976-1_0_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.020361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_976-1_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.019429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_976-1_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0023249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_976-1_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.015939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_976-1_0_4_line_29 | NAYY 4x150 SE | 27 | 37 | 0.019122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_976-1_0_4_line_30 | NAYY 4x150 SE | 28 | 50 | 0.0059265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_976-1_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.018585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_976-1_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.037394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_976-1_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.02456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_976-1_0_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0017607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_976-1_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.023868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_976-1_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.015511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_976-1_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0046846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_976-1_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.00045596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_976-1_0_4_line_39 | NAYY 4x150 SE | 36 | 53 | 0.022498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_976-1_0_4_line_40 | NAYY 4x150 SE | 38 | 47 | 0.011936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_976-1_0_4_line_41 | NAYY 4x150 SE | 39 | 48 | 0.024595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_976-1_0_4_line_42 | NAYY 4x150 SE | 39 | 49 | 0.014344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_976-1_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.069201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_976-1_0_4_line_44 | NAYY 4x150 SE | 40 | 42 | 0.084996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_976-1_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.025905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_976-1_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.10423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_976-1_0_4_line_47 | NAYY 4x150 SE | 43 | 67 | 0.0070356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_976-1_0_4_line_48 | NAYY 4x150 SE | 44 | 59 | 0.0019474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_976-1_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.020075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_976-1_0_4_line_50 | NAYY 4x150 SE | 46 | 75 | 0.01916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_976-1_0_4_line_51 | NAYY 4x150 SE | 47 | 62 | 0.031496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_976-1_0_4_line_52 | NAYY 4x150 SE | 48 | 60 | 0.0037319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_976-1_0_4_line_53 | NAYY 4x150 SE | 49 | 57 | 0.019804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_976-1_0_4_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0098771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_976-1_0_4_line_55 | NAYY 4x150 SE | 51 | 52 | 0.0090591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_976-1_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.048074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_976-1_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.011807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_976-1_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.054202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_976-1_0_4_line_59 | NAYY 4x150 SE | 55 | 63 | 0.017623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_976-1_0_4_line_60 | NAYY 4x150 SE | 56 | 61 | 0.033379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_976-1_0_4_line_61 | NAYY 4x150 SE | 57 | 58 | 0.024215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_976-1_0_4_line_62 | NAYY 4x150 SE | 58 | 59 | 0.044899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_976-1_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.012386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_976-1_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0078505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_976-1_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0092574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_976-1_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.015503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_976-1_0_4_line_67 | NAYY 4x150 SE | 67 | 68 | 0.00053798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_976-1_0_4_line_68 | NAYY 4x150 SE | 68 | 74 | 0.039238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_976-1_0_4_line_69 | NAYY 4x150 SE | 69 | 70 | 0.069155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_976-1_0_4_line_70 | NAYY 4x150 SE | 69 | 71 | 0.045885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_976-1_0_4_line_71 | NAYY 4x150 SE | 70 | 72 | 0.006915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_976-1_0_4_line_72 | NAYY 4x150 SE | 71 | 73 | 0.011473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_976-1_0_4_line_73 | NAYY 4x150 SE | 73 | 74 | 0.0044803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_976-1_0_4_line_74 | NAYY 4x150 SE | 74 | 75 | 0.012388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_976-1_0_4_trafo_45 | 0.25 MVA 20/0.4 kV | 76 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2621109.0752 | 1230063.8597 | 2621101.3171 | 1230063.6217
1 | 2621123.7653 | 1230043.6552 | 2621109.0752 | 1230063.8597
2 | 2621123.7653 | 1230043.6552 | 2621137.481 | 1229998.0398
3 | 2621382.9535 | 1229946.3761 | 2621379.7843 | 1229959.8951 | 2621378.685 | 1229981.2818 | 2621385.639 | 1230036.5425
4 | 2621382.9535 | 1229946.3761 | 2621382.9557 | 1229944.2218
5 | 2621382.9535 | 1229946.3761 | 2621387.9858 | 1229967.7291
6 | 2621382.9535 | 1229946.3761 | 2621137.481 | 1229998.0398
7 | 2621382.9557 | 1229944.2218 | 2621382.9674 | 1229933.1003
8 | 2621395.5472 | 1229999.8535 | 2621388.7804 | 1229971.1008 | 2621387.9858 | 1229967.7291
9 | 2621312.6806 | 1229531.0963 | 2621297.2953 | 1229528.7273
10 | 2621337.8684 | 1229530.0869 | 2621317.7882 | 1229531.8828 | 2621312.6806 | 1229531.0963
11 | 2621297.2953 | 1229528.7273 | 2621280.9029 | 1229526.2032 | 2621276.0004 | 1229522.3845
12 | 2621337.8684 | 1229530.0869 | 2621340.1949 | 1229518.8998
13 | 2621337.8684 | 1229530.0869 | 2621330.4019 | 1229554.8083 | 2621325.5866 | 1229567.7775
14 | 2621273.7379 | 1229520.6222 | 2621276.0004 | 1229522.3845
15 | 2621342.384 | 1229479.3871 | 2621343.0691 | 1229486.6127 | 2621340.5739 | 1229517.0776 | 2621340.1949 | 1229518.8998
16 | 2621319.7126 | 1229590.2689 | 2621320.2979 | 1229582.0219 | 2621325.5866 | 1229567.7775
17 | 2621273.7379 | 1229520.6222 | 2621270.4784 | 1229518.0833 | 2621260.6532 | 1229505.3078
18 | 2621324.8653 | 1229620.2278 | 2621318.9418 | 1229601.1285 | 2621319.7126 | 1229590.2689
19 | 2621260.6532 | 1229505.3078 | 2621259.8469 | 1229504.2594 | 2621256.4144 | 1229498.1657 | 2621258.3955 | 1229492.7806 | 2621286.3569 | 1229466.6333
20 | 2621324.8653 | 1229620.2278 | 2621330.8281 | 1229637.1035
21 | 2621324.8653 | 1229620.2278 | 2621313.6189 | 1229623.7897 | 2621306.315 | 1229623.6486
22 | 2621286.3569 | 1229466.6333 | 2621128.9426 | 1229226.5521
23 | 2621128.9426 | 1229226.5521 | 2621117.0056 | 1229234.4234 | 2621110.5273 | 1229237.7988
24 | 2621146.379 | 1229215.0544 | 2621128.9426 | 1229226.5521
25 | 2621163.6148 | 1229204.2655 | 2621160.4234 | 1229205.7935 | 2621146.379 | 1229215.0544
26 | 2621110.5273 | 1229237.7988 | 2621108.5282 | 1229238.8405 | 2621098.7328 | 1229243.2529 | 2621092.5723 | 1229245.1008
27 | 2621330.8281 | 1229637.1035 | 2621331.6027 | 1229639.2956
28 | 2621306.315 | 1229623.6486 | 2621290.3788 | 1229623.3407
29 | 2621331.6027 | 1229639.2956 | 2621331.7643 | 1229639.7531 | 2621337.9748 | 1229657.3246
30 | 2621284.4534 | 1229623.2263 | 2621290.3788 | 1229623.3407
31 | 2621289.5353 | 1229675.4889 | 2621298.288 | 1229678.7123 | 2621307.4122 | 1229680.2766
32 | 2621343.8825 | 1229674.0392 | 2621322.4162 | 1229680.1661 | 2621310.6728 | 1229680.8356 | 2621307.4122 | 1229680.2766
33 | 2621343.8825 | 1229674.0392 | 2621351.3223 | 1229697.4451
34 | 2621343.8825 | 1229674.0392 | 2621343.2958 | 1229672.3792
35 | 2621359.4063 | 1229719.8735 | 2621355.7099 | 1229711.2484 | 2621351.3223 | 1229697.4451
36 | 2621338.1268 | 1229657.7545 | 2621343.2958 | 1229672.3792
37 | 2621359.4063 | 1229719.8735 | 2621361.2516 | 1229724.1793
38 | 2621338.1268 | 1229657.7545 | 2621337.9748 | 1229657.3246
39 | 2621361.2516 | 1229724.1793 | 2621370.1139 | 1229744.8581
40 | 2621383.7407 | 1229921.233 | 2621382.9754 | 1229925.4748 | 2621382.9674 | 1229933.1003
41 | 2621395.5472 | 1229999.8535 | 2621420.0714 | 1229997.982
42 | 2621398.5796 | 1230013.8728 | 2621395.5472 | 1229999.8535
43 | 2621372.0936 | 1230204.947 | 2621367.699 | 1230229.2582 | 2621360.5678 | 1230251.4682 | 2621350.3927 | 1230270.0311
44 | 2621456.7677 | 1230197.5584 | 2621372.0936 | 1230204.947
45 | 2621456.7677 | 1230197.5584 | 2621472.9461 | 1230217.7908
46 | 2621419.5158 | 1230102.2918 | 2621422.2676 | 1230114.2404 | 2621425.303 | 1230127.4037 | 2621433.7005 | 1230163.8558 | 2621440.1225 | 1230176.7422 | 2621456.7677 | 1230197.5584
47 | 2621472.9461 | 1230217.7908 | 2621477.3399 | 1230223.2857
48 | 2621419.0787 | 1230100.3941 | 2621419.5158 | 1230102.2918
49 | 2621469.2136 | 1230296.9636 | 2621481.0724 | 1230280.7657
50 | 2621492.3907 | 1230265.3059 | 2621492.3907 | 1230265.3059 | 2621481.0724 | 1230280.7657
51 | 2621389.3329 | 1229890.2375 | 2621383.7407 | 1229921.233
52 | 2621423.7924 | 1229997.698 | 2621420.0714 | 1229997.982
53 | 2621398.5796 | 1230013.8728 | 2621403.2717 | 1230033.1132
54 | 2621284.4534 | 1229623.2263 | 2621274.5781 | 1229623.0355
55 | 2621265.5984 | 1229622.3214 | 2621267.7257 | 1229622.9031 | 2621274.5781 | 1229623.0355
56 | 2621384.7478 | 1229790.4222 | 2621383.716 | 1229782.4248 | 2621377.3892 | 1229761.8342 | 2621370.1139 | 1229744.8581
57 | 2621395.9793 | 1229786.6825 | 2621384.7478 | 1229790.4222
58 | 2621384.7478 | 1229790.4222 | 2621387.457 | 1229844.5561
59 | 2621395.9793 | 1229786.6825 | 2621400.4389 | 1229789.3334 | 2621405.2308 | 1229800.808
60 | 2621389.1243 | 1229877.8931 | 2621388.2817 | 1229861.0329 | 2621387.457 | 1229844.5561
61 | 2621403.2717 | 1230033.1132 | 2621408.8806 | 1230056.1129 | 2621409.0022 | 1230056.6409
62 | 2621409.0022 | 1230056.6409 | 2621419.0787 | 1230100.3941
63 | 2621389.1243 | 1229877.8931 | 2621389.6527 | 1229888.4654 | 2621389.3329 | 1229890.2375
64 | 2621405.2308 | 1229800.808 | 2621408.256 | 1229808.0522
65 | 2621408.256 | 1229808.0522 | 2621411.8235 | 1229816.5947
66 | 2621415.5594 | 1229831.5835 | 2621413.2586 | 1229820.0312 | 2621411.8235 | 1229816.5947
67 | 2621477.6759 | 1230223.7059 | 2621477.3399 | 1230223.2857
68 | 2621500.2342 | 1230255.7173 | 2621490.2648 | 1230239.4493 | 2621477.6759 | 1230223.7059
69 | 2621537.9531 | 1230303.6682 | 2621547.53 | 1230309.3203 | 2621551.4862 | 1230310.7021 | 2621569.3461 | 1230316.9148 | 2621595.4559 | 1230318.3992 | 2621604.2122 | 1230317.7269
70 | 2621537.9531 | 1230303.6682 | 2621533.0491 | 1230300.7739 | 2621520.5796 | 1230288.9106 | 2621508.5712 | 1230269.319
71 | 2621604.2122 | 1230317.7269 | 2621611.1069 | 1230317.1975
72 | 2621502.5755 | 1230259.5371 | 2621508.5712 | 1230269.319
73 | 2621500.2342 | 1230255.7173 | 2621502.5755 | 1230259.5371
74 | 2621500.2342 | 1230255.7173 | 2621492.3907 | 1230265.3059

## bus_geodata
| x | y | coords
0 | 2621101.3171 | 1230063.6217
1 | 2621109.0752 | 1230063.8597
2 | 2621123.7653 | 1230043.6552
3 | 2621385.639 | 1230036.5425
4 | 2621382.9535 | 1229946.3761
5 | 2621137.481 | 1229998.0398
6 | 2621382.9557 | 1229944.2218
7 | 2621387.9858 | 1229967.7291
8 | 2621312.6806 | 1229531.0963
9 | 2621297.2953 | 1229528.7273
10 | 2621337.8684 | 1229530.0869
11 | 2621276.0004 | 1229522.3845
12 | 2621340.1949 | 1229518.8998
13 | 2621325.5866 | 1229567.7775
14 | 2621273.7379 | 1229520.6222
15 | 2621342.384 | 1229479.3871
16 | 2621319.7126 | 1229590.2689
17 | 2621260.6532 | 1229505.3078
18 | 2621324.8653 | 1229620.2278
19 | 2621286.3569 | 1229466.6333
20 | 2621128.9426 | 1229226.5521
21 | 2621163.6148 | 1229204.2655
22 | 2621146.379 | 1229215.0544
23 | 2621110.5273 | 1229237.7988
24 | 2621092.5723 | 1229245.1008
25 | 2621330.8281 | 1229637.1035
26 | 2621306.315 | 1229623.6486
27 | 2621331.6027 | 1229639.2956
28 | 2621290.3788 | 1229623.3407
29 | 2621307.4122 | 1229680.2766
30 | 2621289.5353 | 1229675.4889
31 | 2621343.8825 | 1229674.0392
32 | 2621351.3223 | 1229697.4451
33 | 2621343.2958 | 1229672.3792
34 | 2621359.4063 | 1229719.8734
35 | 2621338.1268 | 1229657.7545
36 | 2621361.2516 | 1229724.1793
37 | 2621337.9748 | 1229657.3246
38 | 2621382.9674 | 1229933.1003
39 | 2621395.5472 | 1229999.8535
40 | 2621372.0936 | 1230204.947
41 | 2621350.3927 | 1230270.0311
42 | 2621456.7677 | 1230197.5584
43 | 2621472.9461 | 1230217.7908
44 | 2621419.5158 | 1230102.2918
45 | 2621469.2136 | 1230296.9636
46 | 2621481.0724 | 1230280.7657
47 | 2621383.7407 | 1229921.233
48 | 2621420.0714 | 1229997.982
49 | 2621398.5796 | 1230013.8728
50 | 2621284.4534 | 1229623.2263
51 | 2621274.5781 | 1229623.0355
52 | 2621265.5984 | 1229622.3214
53 | 2621370.1139 | 1229744.8581
54 | 2621384.7478 | 1229790.4222
55 | 2621395.9793 | 1229786.6825
56 | 2621387.4571 | 1229844.5561
57 | 2621403.2717 | 1230033.1132
58 | 2621409.0022 | 1230056.6409
59 | 2621419.0787 | 1230100.3941
60 | 2621423.7924 | 1229997.698
61 | 2621389.1243 | 1229877.8931
62 | 2621389.3329 | 1229890.2375
63 | 2621405.2308 | 1229800.808
64 | 2621408.256 | 1229808.0522
65 | 2621411.8235 | 1229816.5947
66 | 2621415.5594 | 1229831.5835
67 | 2621477.3399 | 1230223.2857
68 | 2621477.6759 | 1230223.7059
69 | 2621537.9531 | 1230303.6682
70 | 2621604.2122 | 1230317.7269
71 | 2621508.5712 | 1230269.319
72 | 2621611.1069 | 1230317.1975
73 | 2621502.5755 | 1230259.5371
74 | 2621500.2342 | 1230255.7173
75 | 2621492.3907 | 1230265.3059
76 | 2621382.9535 | 1229946.3761

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1