## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_977-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_977-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_977-1_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_977-1_0_5_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_977-1_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_977-1_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_977-1_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_977-1_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_977-1_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_977-1_0_5_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_977-1_0_5_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_977-1_0_5_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_977-1_0_5_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_977-1_0_5_node_96 | 0.4 | n |  | TRUE
14 | bus_LV_977-1_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_977-1_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_977-1_0_5_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_977-1_0_5_node_66 | 0.4 | n |  | TRUE
18 | bus_LV_977-1_0_5_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_977-1_0_5_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_977-1_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_977-1_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_977-1_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_977-1_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_977-1_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_977-1_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_977-1_0_5_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_977-1_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_977-1_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_977-1_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_977-1_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_977-1_0_5_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_977-1_0_5_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_977-1_0_5_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_977-1_0_5_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_977-1_0_5_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_977-1_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_977-1_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_977-1_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_977-1_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_977-1_0_5_node_99 | 0.4 | n |  | TRUE
41 | bus_LV_977-1_0_5_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_977-1_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_977-1_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_977-1_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_977-1_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_977-1_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_977-1_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_977-1_0_5_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_977-1_0_5_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_977-1_0_5_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_977-1_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_977-1_0_5_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_977-1_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_977-1_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_977-1_0_5_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_977-1_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_977-1_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_977-1_0_5_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_977-1_0_5_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_977-1_0_5_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_977-1_0_5_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_977-1_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_977-1_0_5_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_977-1_0_5_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_977-1_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_977-1_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_977-1_0_5_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_977-1_0_5_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_977-1_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_977-1_0_5_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_977-1_0_5_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_977-1_0_5_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_977-1_0_5_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_977-1_0_5_node_100 | 0.4 | n |  | TRUE
75 | bus_LV_977-1_0_5_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_977-1_0_5_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_977-1_0_5_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_977-1_0_5_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_977-1_0_5_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_977-1_0_5_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_977-1_0_5_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_977-1_0_5_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_977-1_0_5_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_977-1_0_5_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_977-1_0_5_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_977-1_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_977-1_0_5_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_977-1_0_5_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_977-1_0_5_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_977-1_0_5_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_977-1_0_5_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_977-1_0_5_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_977-1_0_5_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_977-1_0_5_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_977-1_0_5_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_977-1_0_5_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_977-1_0_5_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_977-1_0_5_node_103 | 0.4 | n |  | TRUE
99 | bus_MV_184_1_node_275 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_977-1_0_5_load_0 | 0 | 0.0043761 | 0.0010967 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_977-1_0_5_load_1 | 1 | 0.014559 | 0.0036489 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_977-1_0_5_load_8 | 3 | 0.00071834 | 0.00018003 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_977-1_0_5_load_5 | 4 | 0.0031892 | 0.0007993 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_977-1_0_5_load_6 | 5 | 0.0051359 | 0.0012872 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_977-1_0_5_load_9 | 6 | 0.0032788 | 0.00082175 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_977-1_0_5_load_59 | 10 | 0.0034856 | 0.00087357 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_977-1_0_5_load_65 | 11 | 0.0044989 | 0.0011275 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_977-1_0_5_load_63 | 12 | 0.0029726 | 0.00074501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_977-1_0_5_load_96 | 13 | 0.0054433 | 0.0013642 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_977-1_0_5_load_11 | 14 | 0.0038734 | 0.00097077 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_977-1_0_5_load_12 | 15 | 0.0044776 | 0.0011222 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_977-1_0_5_load_66 | 17 | 0.0045949 | 0.0011516 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_977-1_0_5_load_56 | 18 | 0.0039582 | 0.00099202 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_977-1_0_5_load_36 | 19 | 0.0013125 | 0.00032894 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_977-1_0_5_load_13 | 20 | 0.0016057 | 0.00040243 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_977-1_0_5_load_19 | 23 | 0.01244 | 0.0031179 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_977-1_0_5_load_17 | 25 | 0.0014325 | 0.00035901 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_977-1_0_5_load_25 | 26 | 0.014794 | 0.0037077 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_977-1_0_5_load_20 | 28 | 0.0032267 | 0.00080869 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_977-1_0_5_load_92 | 32 | 0.0047432 | 0.0011887 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_977-1_0_5_load_57 | 33 | 0.0017286 | 0.00043323 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_977-1_0_5_load_53 | 34 | 0.0074964 | 0.0018788 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_977-1_0_5_load_91 | 35 | 0.0044553 | 0.0011166 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_977-1_0_5_load_26 | 36 | 0.0018913 | 0.000474 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_977-1_0_5_load_28 | 38 | 0.00093056 | 0.00023322 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_977-1_0_5_load_99 | 40 | 0.0016002 | 0.00040106 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_977-1_0_5_load_29 | 42 | 0.0016392 | 0.00041082 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_977-1_0_5_load_30 | 43 | 0.00058822 | 0.00014742 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_977-1_0_5_load_31 | 44 | 0.0012759 | 0.00031976 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_977-1_0_5_load_32 | 45 | 0.00064154 | 0.00016079 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_977-1_0_5_load_34 | 47 | 0.00040528 | 0.00010157 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_977-1_0_5_load_67 | 48 | 0.0013309 | 0.00033355 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_977-1_0_5_load_68 | 49 | 0.00075618 | 0.00018952 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_977-1_0_5_load_81 | 50 | 0.0013979 | 0.00035035 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_977-1_0_5_load_95 | 52 | 0.00092534 | 0.00023191 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_977-1_0_5_load_35 | 53 | 0.0029328 | 0.00073502 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_977-1_0_5_load_37 | 54 | 0.0034548 | 0.00086586 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_977-1_0_5_load_39 | 56 | 0.0027464 | 0.00068832 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_977-1_0_5_load_40 | 57 | 0.002549 | 0.00063883 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_977-1_0_5_load_41 | 58 | 0.0027998 | 0.00070169 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_977-1_0_5_load_54 | 60 | 0.0028085 | 0.00070388 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_977-1_0_5_load_52 | 62 | 0.0034438 | 0.0008631 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_977-1_0_5_load_62 | 63 | 0.0039755 | 0.00099637 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_977-1_0_5_load_60 | 64 | 0.0035708 | 0.00089493 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_977-1_0_5_load_43 | 65 | 0.00047294 | 0.00011853 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_977-1_0_5_load_44 | 66 | 0.0011873 | 0.00029757 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_977-1_0_5_load_69 | 67 | 0.0026183 | 0.00065621 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_977-1_0_5_load_70 | 68 | 0.0014007 | 0.00035105 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_977-1_0_5_load_46 | 69 | 0.0004193 | 0.00010509 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_977-1_0_5_load_47 | 70 | 0.0031477 | 0.00078888 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_977-1_0_5_load_50 | 72 | 0.0016224 | 0.00040661 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_977-1_0_5_load_64 | 73 | 0.0027426 | 0.00068736 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_977-1_0_5_load_100 | 74 | 0.00093778 | 0.00023503 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_977-1_0_5_load_76 | 76 | 0.0026045 | 0.00065275 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_977-1_0_5_load_77 | 77 | 0.0022354 | 0.00056025 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_977-1_0_5_load_85 | 78 | 0.002904 | 0.0007278 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_977-1_0_5_load_79 | 79 | 0.0014124 | 0.00035397 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_977-1_0_5_load_97 | 80 | 0.0048585 | 0.0012177 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_977-1_0_5_load_89 | 81 | 0.00044116 | 0.00011056 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_977-1_0_5_load_78 | 83 | 0.0015396 | 0.00038586 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_977-1_0_5_load_71 | 84 | 0.0011162 | 0.00027974 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_977-1_0_5_load_72 | 85 | 0.0015148 | 0.00037965 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_977-1_0_5_load_73 | 86 | 0.0019346 | 0.00048485 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_977-1_0_5_load_74 | 87 | 0.00070015 | 0.00017547 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_977-1_0_5_load_87 | 89 | 0.0017117 | 0.000429 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_977-1_0_5_load_88 | 90 | 0.0018924 | 0.00047427 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_977-1_0_5_load_82 | 91 | 0.0034925 | 0.00087531 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_977-1_0_5_load_83 | 92 | 0.0017202 | 0.00043111 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_977-1_0_5_load_80 | 93 | 0.0018387 | 0.00046082 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_977-1_0_5_load_94 | 94 | 0.00047209 | 0.00011832 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_977-1_0_5_load_98 | 95 | 0.002069 | 0.00051855 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_977-1_0_5_load_102 | 97 | 0.0012954 | 0.00032466 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_977-1_0_5_load_103 | 98 | 0.00065205 | 0.00016342 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_977-1_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_977-1_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0082112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_977-1_0_5_line_2 | NAYY 4x150 SE | 2 | 3 | 0.042538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_977-1_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_977-1_0_5_line_4 | NAYY 4x150 SE | 4 | 5 | 0.028583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_977-1_0_5_line_5 | NAYY 4x150 SE | 5 | 8 | 0.025715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_977-1_0_5_line_6 | NAYY 4x150 SE | 6 | 7 | 0.046555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_977-1_0_5_line_7 | NAYY 4x150 SE | 7 | 14 | 0.035805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_977-1_0_5_line_8 | NAYY 4x150 SE | 7 | 15 | 0.016558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_977-1_0_5_line_9 | NAYY 4x150 SE | 8 | 9 | 0.002615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_977-1_0_5_line_10 | NAYY 4x150 SE | 8 | 10 | 0.01764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_977-1_0_5_line_11 | NAYY 4x150 SE | 9 | 11 | 0.021115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_977-1_0_5_line_12 | NAYY 4x150 SE | 9 | 12 | 0.019083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_977-1_0_5_line_13 | NAYY 4x150 SE | 10 | 13 | 0.0073373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_977-1_0_5_line_14 | NAYY 4x150 SE | 11 | 79 | 0.016719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_977-1_0_5_line_15 | NAYY 4x150 SE | 12 | 71 | 0.023487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_977-1_0_5_line_16 | NAYY 4x150 SE | 13 | 80 | 0.0078277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_977-1_0_5_line_17 | NAYY 4x150 SE | 14 | 16 | 0.038047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_977-1_0_5_line_18 | NAYY 4x150 SE | 15 | 17 | 0.011438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_977-1_0_5_line_19 | NAYY 4x150 SE | 16 | 18 | 0.026155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_977-1_0_5_line_20 | NAYY 4x150 SE | 16 | 19 | 0.024531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_977-1_0_5_line_21 | NAYY 4x150 SE | 18 | 55 | 1.4692e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_977-1_0_5_line_22 | NAYY 4x150 SE | 19 | 53 | 0.020188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_977-1_0_5_line_23 | NAYY 4x150 SE | 20 | 21 | 0.011347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_977-1_0_5_line_24 | NAYY 4x150 SE | 20 | 22 | 0.052613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_977-1_0_5_line_25 | NAYY 4x150 SE | 21 | 23 | 0.13378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_977-1_0_5_line_26 | NAYY 4x150 SE | 22 | 24 | 0.001997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_977-1_0_5_line_27 | NAYY 4x150 SE | 23 | 25 | 0.048493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_977-1_0_5_line_28 | NAYY 4x150 SE | 24 | 26 | 0.03257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_977-1_0_5_line_29 | NAYY 4x150 SE | 26 | 27 | 0.017951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_977-1_0_5_line_30 | NAYY 4x150 SE | 27 | 28 | 0.024232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_977-1_0_5_line_31 | NAYY 4x150 SE | 28 | 29 | 0.024363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_977-1_0_5_line_32 | NAYY 4x150 SE | 29 | 30 | 0.071818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_977-1_0_5_line_33 | NAYY 4x150 SE | 30 | 31 | 0.026164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_977-1_0_5_line_34 | NAYY 4x150 SE | 30 | 32 | 0.01038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_977-1_0_5_line_35 | NAYY 4x150 SE | 31 | 33 | 0.02116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_977-1_0_5_line_36 | NAYY 4x150 SE | 31 | 34 | 0.0098257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_977-1_0_5_line_37 | NAYY 4x150 SE | 32 | 35 | 0.071876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_977-1_0_5_line_38 | NAYY 4x150 SE | 33 | 75 | 0.035806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_977-1_0_5_line_39 | NAYY 4x150 SE | 34 | 62 | 0.0011607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_977-1_0_5_line_40 | NAYY 4x150 SE | 36 | 37 | 0.020536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_977-1_0_5_line_41 | NAYY 4x150 SE | 37 | 38 | 0.030418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_977-1_0_5_line_42 | NAYY 4x150 SE | 37 | 39 | 0.1186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_977-1_0_5_line_43 | NAYY 4x150 SE | 38 | 42 | 0.026163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_977-1_0_5_line_44 | NAYY 4x150 SE | 39 | 40 | 0.063776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_977-1_0_5_line_45 | NAYY 4x150 SE | 39 | 41 | 0.00614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_977-1_0_5_line_46 | NAYY 4x150 SE | 40 | 74 | 0.053482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_977-1_0_5_line_47 | NAYY 4x150 SE | 41 | 72 | 0.023294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_977-1_0_5_line_48 | NAYY 4x150 SE | 41 | 69 | 0.043581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_977-1_0_5_line_49 | NAYY 4x150 SE | 43 | 44 | 0.015007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_977-1_0_5_line_50 | NAYY 4x150 SE | 43 | 45 | 0.0077799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_977-1_0_5_line_51 | NAYY 4x150 SE | 44 | 46 | 0.016315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_977-1_0_5_line_52 | NAYY 4x150 SE | 45 | 47 | 0.022573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_977-1_0_5_line_53 | NAYY 4x150 SE | 46 | 48 | 0.039367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_977-1_0_5_line_54 | NAYY 4x150 SE | 46 | 49 | 0.0052722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_977-1_0_5_line_55 | NAYY 4x150 SE | 47 | 50 | 0.026687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_977-1_0_5_line_56 | NAYY 4x150 SE | 48 | 51 | 0.0010734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_977-1_0_5_line_57 | NAYY 4x150 SE | 49 | 52 | 0.028978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_977-1_0_5_line_58 | NAYY 4x150 SE | 51 | 67 | 0.034379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_977-1_0_5_line_59 | NAYY 4x150 SE | 51 | 66 | 0.01528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_977-1_0_5_line_60 | NAYY 4x150 SE | 52 | 82 | 0.0044133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_977-1_0_5_line_61 | NAYY 4x150 SE | 53 | 54 | 0.020621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_977-1_0_5_line_62 | NAYY 4x150 SE | 55 | 76 | 0.01793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_977-1_0_5_line_63 | NAYY 4x150 SE | 55 | 77 | 0.01614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_977-1_0_5_line_64 | NAYY 4x150 SE | 56 | 57 | 0.00010792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_977-1_0_5_line_65 | NAYY 4x150 SE | 56 | 58 | 0.047086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_977-1_0_5_line_66 | NAYY 4x150 SE | 58 | 59 | 0.019662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_977-1_0_5_line_67 | NAYY 4x150 SE | 59 | 60 | 0.049442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_977-1_0_5_line_68 | NAYY 4x150 SE | 59 | 61 | 0.005566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_977-1_0_5_line_69 | NAYY 4x150 SE | 60 | 62 | 0.013842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_977-1_0_5_line_70 | NAYY 4x150 SE | 61 | 63 | 0.024106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_977-1_0_5_line_71 | NAYY 4x150 SE | 61 | 64 | 0.020595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_977-1_0_5_line_72 | NAYY 4x150 SE | 63 | 81 | 0.0082062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_977-1_0_5_line_73 | NAYY 4x150 SE | 65 | 66 | 0.00024179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_977-1_0_5_line_74 | NAYY 4x150 SE | 67 | 68 | 0.012999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_977-1_0_5_line_75 | NAYY 4x150 SE | 68 | 73 | 0.024418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_977-1_0_5_line_76 | NAYY 4x150 SE | 69 | 70 | 0.012992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_977-1_0_5_line_77 | NAYY 4x150 SE | 70 | 71 | 0.01619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_977-1_0_5_line_78 | NAYY 4x150 SE | 71 | 73 | 0.00049463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_977-1_0_5_line_79 | NAYY 4x150 SE | 74 | 96 | 0.00050744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_977-1_0_5_line_80 | NAYY 4x150 SE | 75 | 78 | 0.039835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_977-1_0_5_line_81 | NAYY 4x150 SE | 76 | 91 | 0.02773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_977-1_0_5_line_82 | NAYY 4x150 SE | 77 | 80 | 0.010602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_977-1_0_5_line_83 | NAYY 4x150 SE | 79 | 83 | 0.015305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_977-1_0_5_line_84 | NAYY 4x150 SE | 81 | 82 | 0.017405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_977-1_0_5_line_85 | NAYY 4x150 SE | 82 | 94 | 0.029176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_977-1_0_5_line_86 | NAYY 4x150 SE | 83 | 93 | 0.016049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_977-1_0_5_line_87 | NAYY 4x150 SE | 84 | 85 | 0.051748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_977-1_0_5_line_88 | NAYY 4x150 SE | 84 | 86 | 0.0064358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_977-1_0_5_line_89 | NAYY 4x150 SE | 85 | 87 | 0.0097755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_977-1_0_5_line_90 | NAYY 4x150 SE | 87 | 88 | 0.0089113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_977-1_0_5_line_91 | NAYY 4x150 SE | 88 | 89 | 0.011598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_977-1_0_5_line_92 | NAYY 4x150 SE | 88 | 90 | 0.042329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_977-1_0_5_line_93 | NAYY 4x150 SE | 89 | 92 | 0.010369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_977-1_0_5_line_94 | NAYY 4x150 SE | 91 | 92 | 0.0014153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_977-1_0_5_line_95 | NAYY 4x150 SE | 94 | 95 | 0.0086309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_977-1_0_5_line_96 | NAYY 4x150 SE | 96 | 97 | 0.027506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_977-1_0_5_line_97 | NAYY 4x150 SE | 97 | 98 | 0.020869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_977-1_0_5_trafo_33 | 0.25 MVA 20/0.4 kV | 99 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2619785.926 | 1228756.0152 | 2619778.8592 | 1228742.3413
1 | 2619775.0892 | 1228735.0466 | 2619778.8592 | 1228742.3413
2 | 2619775.0892 | 1228735.0466 | 2619790.9639 | 1228729.6071 | 2619799.0405 | 1228731.7463 | 2619815.3586 | 1228725.7006
3 | 2619775.0892 | 1228735.0466 | 2619773.8472 | 1228732.6411 | 2619767.6006 | 1228723.1024
4 | 2619767.6006 | 1228723.1024 | 2619751.9417 | 1228699.1908
5 | 2619737.8536 | 1228677.6779 | 2619751.9417 | 1228699.1908
6 | 2619842.6846 | 1228682.0839 | 2619842.5945 | 1228684.107 | 2619849.2222 | 1228718.6719 | 2619849.8784 | 1228719.5524 | 2619857.9028 | 1228721.4136
7 | 2619842.6846 | 1228682.0839 | 2619837.6593 | 1228666.8692 | 2619831.1756 | 1228652.7503 | 2619828.6601 | 1228649.3299
8 | 2619842.6846 | 1228682.0839 | 2619827.0199 | 1228687.45
9 | 2619736.3151 | 1228675.5605 | 2619737.8536 | 1228677.6779
10 | 2619737.8536 | 1228677.6779 | 2619751.4421 | 1228666.4296
11 | 2619736.3151 | 1228675.5605 | 2619718.4588 | 1228686.8304 | 2619718.4588 | 1228686.8304
12 | 2619736.3151 | 1228675.5605 | 2619731.5411 | 1228669.0074 | 2619725.155 | 1228660.0815
13 | 2619751.4421 | 1228666.4296 | 2619757.0942 | 1228661.751
14 | 2619715.6321 | 1228701.9144 | 2619714.5604 | 1228699.5918 | 2619714.2045 | 1228692.642 | 2619718.4588 | 1228686.8304
15 | 2619711.4889 | 1228640.98 | 2619725.155 | 1228660.0815
16 | 2619763.124 | 1228656.7596 | 2619757.0942 | 1228661.751
17 | 2619802.7167 | 1228621.7039 | 2619820.6922 | 1228638.4959 | 2619828.6601 | 1228649.3299
18 | 2619816.1987 | 1228691.1568 | 2619827.0199 | 1228687.45
19 | 2619802.7167 | 1228621.7039 | 2619783.7348 | 1228639.6971
20 | 2619802.7167 | 1228621.7039 | 2619809.0421 | 1228610.5182 | 2619814.5472 | 1228600.2157
21 | 2619783.7348 | 1228639.6971 | 2619783.7241 | 1228639.7072
22 | 2619813.8413 | 1228582.0865 | 2619815.9073 | 1228585.0814 | 2619818.5043 | 1228590.1486 | 2619816.3303 | 1228596.8788 | 2619814.5472 | 1228600.2157
23 | 2619362.7891 | 1228428.6669 | 2619373.9041 | 1228426.3855
24 | 2619425.4425 | 1228415.8073 | 2619373.9041 | 1228426.3855
25 | 2619362.7891 | 1228428.6669 | 2619267.4857 | 1228334.7801
26 | 2619425.4425 | 1228415.8073 | 2619425.7013 | 1228417.7871
27 | 2619267.4857 | 1228334.7801 | 2619256.5967 | 1228287.5252
28 | 2619425.7013 | 1228417.7871 | 2619457.3568 | 1228410.1217
29 | 2619473.7919 | 1228412.2183 | 2619466.7449 | 1228407.8483 | 2619457.3568 | 1228410.1217
30 | 2619473.7919 | 1228412.2183 | 2619483.643 | 1228400.11 | 2619482.75 | 1228391.5335
31 | 2619480.2271 | 1228367.3015 | 2619482.75 | 1228391.5335
32 | 2619548.8597 | 1228382.0347 | 2619539.0296 | 1228385.3934 | 2619519.2542 | 1228381.015 | 2619480.2271 | 1228367.3015
33 | 2619548.8597 | 1228382.0347 | 2619552.8658 | 1228391.8648 | 2619559.8815 | 1228405.7406
34 | 2619548.8597 | 1228382.0347 | 2619546.3227 | 1228371.9696
35 | 2619559.8815 | 1228405.7406 | 2619565.8526 | 1228398.5559 | 2619570.9077 | 1228387.8734
36 | 2619559.8815 | 1228405.7406 | 2619563.9731 | 1228414.6738
37 | 2619529.9767 | 1228302.1041 | 2619534.5083 | 1228315.448 | 2619535.933 | 1228319.9999 | 2619537.7919 | 1228328.4221 | 2619540.0002 | 1228341.2258 | 2619544.5293 | 1228364.8548 | 2619546.3227 | 1228371.9696
38 | 2619586.2232 | 1228355.5081 | 2619570.9077 | 1228387.8734
39 | 2619564.4564 | 1228415.7291 | 2619563.9731 | 1228414.6738
40 | 2619539.4122 | 1228737.9384 | 2619531.1177 | 1228742.2027 | 2619521.3594 | 1228747.7182
41 | 2619539.4122 | 1228737.9384 | 2619529.4714 | 1228724.3866 | 2619523.306 | 1228721.6092 | 2619517.0685 | 1228724.4376
42 | 2619642.4427 | 1228679.1972 | 2619539.4122 | 1228737.9384
43 | 2619517.0685 | 1228724.4376 | 2619505.1951 | 1228729.8216 | 2619499.228 | 1228733.6154 | 2619501.9493 | 1228739.0239
44 | 2619642.4427 | 1228679.1972 | 2619608.6611 | 1228625.1033
45 | 2619642.4427 | 1228679.1972 | 2619647.824 | 1228676.2132
46 | 2619608.6611 | 1228625.1033 | 2619580.3322 | 1228579.7407
47 | 2619647.824 | 1228676.2132 | 2619636.2234 | 1228655.9962
48 | 2619647.824 | 1228676.2132 | 2619685.9556 | 1228655.1105
49 | 2619668.5468 | 1228535.0549 | 2619667.1885 | 1228536.1378 | 2619661.1127 | 1228538.308 | 2619655.5972 | 1228542.3171
50 | 2619668.5468 | 1228535.0549 | 2619674.6301 | 1228530.2052
51 | 2619642.3999 | 1228551.91 | 2619655.5972 | 1228542.3171
52 | 2619674.6301 | 1228530.2052 | 2619680.049 | 1228525.8852 | 2619691.9421 | 1228515.7246
53 | 2619642.3999 | 1228551.91 | 2619663.146 | 1228578.8055 | 2619666.4309 | 1228583.0918
54 | 2619642.3999 | 1228551.91 | 2619639.4192 | 1228547.5613
55 | 2619710.5792 | 1228496.7575 | 2619701.8013 | 1228507.3015 | 2619691.9421 | 1228515.7246
56 | 2619667.0838 | 1228583.9438 | 2619666.4309 | 1228583.0918
57 | 2619639.4192 | 1228547.5613 | 2619623.0364 | 1228523.6593
58 | 2619667.0838 | 1228583.9438 | 2619687.9917 | 1228611.2341
59 | 2619667.0838 | 1228583.9438 | 2619679.6554 | 1228575.2589
60 | 2619620.5413 | 1228520.019 | 2619623.0364 | 1228523.6593
61 | 2619802.1319 | 1228565.1126 | 2619813.8413 | 1228582.0865
62 | 2619783.7241 | 1228639.7072 | 2619771.3759 | 1228626.7063
63 | 2619783.7241 | 1228639.7072 | 2619771.2909 | 1228649.9992
64 | 2619637.9173 | 1228424.5902 | 2619637.8403 | 1228424.6658
65 | 2619637.8403 | 1228424.6658 | 2619624.7374 | 1228437.5281 | 2619622.6889 | 1228443.0024 | 2619606.264 | 1228458.9314
66 | 2619592.1496 | 1228472.6197 | 2619606.264 | 1228458.9314
67 | 2619592.1496 | 1228472.6197 | 2619574.8288 | 1228438.3757 | 2619570.2203 | 1228428.3139
68 | 2619594.9142 | 1228477.4539 | 2619592.1496 | 1228472.6197
69 | 2619564.4564 | 1228415.7291 | 2619570.2203 | 1228428.3139
70 | 2619594.9142 | 1228477.4539 | 2619606.8817 | 1228498.3798
71 | 2619594.9142 | 1228477.4539 | 2619576.1422 | 1228485.9242
72 | 2619606.8817 | 1228498.3798 | 2619610.9556 | 1228505.5033
73 | 2619679.6554 | 1228575.2589 | 2619679.8543 | 1228575.1214
74 | 2619687.9917 | 1228611.2341 | 2619695.8974 | 1228621.5531
75 | 2619695.8974 | 1228621.5531 | 2619700.4721 | 1228627.5244 | 2619711.1755 | 1228640.5972
76 | 2619685.9556 | 1228655.1105 | 2619697.3231 | 1228648.8195
77 | 2619711.4889 | 1228640.98 | 2619697.3231 | 1228648.8195
78 | 2619711.1755 | 1228640.5972 | 2619711.4889 | 1228640.98
79 | 2619580.0634 | 1228579.3103 | 2619580.3322 | 1228579.7407
80 | 2619586.2232 | 1228355.5081 | 2619591.1385 | 1228353.7677 | 2619596.7121 | 1228354.5754 | 2619603.8381 | 1228360.2688 | 2619616.6997 | 1228375.4119
81 | 2619771.3759 | 1228626.7063 | 2619760.282 | 1228615.0259 | 2619752.8123 | 1228606.1235
82 | 2619763.124 | 1228656.7596 | 2619771.2909 | 1228649.9992
83 | 2619714.6577 | 1228714.3099 | 2619719.3745 | 1228710.025 | 2619715.6321 | 1228701.9144
84 | 2619620.5413 | 1228520.019 | 2619612.7825 | 1228508.6979 | 2619610.9556 | 1228505.5033
85 | 2619620.5413 | 1228520.019 | 2619644.4452 | 1228503.2901
86 | 2619702.7786 | 1228725.1014 | 2619714.6577 | 1228714.3099
87 | 2619736.0503 | 1228525.1298 | 2619723.3897 | 1228536.0344 | 2619723.0635 | 1228543.0153 | 2619733.0546 | 1228569.2263
88 | 2619734.9994 | 1228519.1405 | 2619736.5569 | 1228524.6934 | 2619736.0503 | 1228525.1298
89 | 2619737.1345 | 1228578.1033 | 2619733.7818 | 1228571.1342 | 2619733.0546 | 1228569.2263
90 | 2619740.9978 | 1228586.1337 | 2619737.1345 | 1228578.1033
91 | 2619740.9978 | 1228586.1337 | 2619746.0383 | 1228596.5786
92 | 2619772.4032 | 1228558.0987 | 2619764.2476 | 1228563.764 | 2619758.3723 | 1228571.7159 | 2619740.9978 | 1228586.1337
93 | 2619751.9027 | 1228605.0393 | 2619747.7097 | 1228600.042 | 2619746.0383 | 1228596.5786
94 | 2619751.9027 | 1228605.0393 | 2619752.8123 | 1228606.1235
95 | 2619651.5165 | 1228498.3414 | 2619644.4452 | 1228503.2901
96 | 2619580.0634 | 1228579.3103 | 2619565.739 | 1228555.8287
97 | 2619565.739 | 1228555.8287 | 2619554.8709 | 1228538.0129

## bus_geodata
| x | y | coords
0 | 2619785.926 | 1228756.0152
1 | 2619778.8592 | 1228742.3413
2 | 2619775.0892 | 1228735.0466
3 | 2619815.3586 | 1228725.7006
4 | 2619767.6006 | 1228723.1024
5 | 2619751.9417 | 1228699.1908
6 | 2619857.9028 | 1228721.4136
7 | 2619842.6846 | 1228682.0839
8 | 2619737.8536 | 1228677.6779
9 | 2619736.3151 | 1228675.5605
10 | 2619751.4421 | 1228666.4296
11 | 2619718.4588 | 1228686.8304
12 | 2619725.155 | 1228660.0815
13 | 2619757.0942 | 1228661.751
14 | 2619828.6601 | 1228649.3299
15 | 2619827.0199 | 1228687.45
16 | 2619802.7167 | 1228621.7039
17 | 2619816.1987 | 1228691.1568
18 | 2619783.7348 | 1228639.6971
19 | 2619814.5472 | 1228600.2157
20 | 2619373.9041 | 1228426.3855
21 | 2619362.7891 | 1228428.6669
22 | 2619425.4425 | 1228415.8073
23 | 2619267.4857 | 1228334.7801
24 | 2619425.7013 | 1228417.7871
25 | 2619256.5967 | 1228287.5252
26 | 2619457.3568 | 1228410.1217
27 | 2619473.7919 | 1228412.2183
28 | 2619482.75 | 1228391.5335
29 | 2619480.2271 | 1228367.3015
30 | 2619548.8597 | 1228382.0347
31 | 2619559.8815 | 1228405.7406
32 | 2619546.3227 | 1228371.9696
33 | 2619570.9077 | 1228387.8734
34 | 2619563.9731 | 1228414.6738
35 | 2619529.9767 | 1228302.1041
36 | 2619521.3594 | 1228747.7182
37 | 2619539.4122 | 1228737.9384
38 | 2619517.0685 | 1228724.4376
39 | 2619642.4427 | 1228679.1972
40 | 2619608.6611 | 1228625.1033
41 | 2619647.824 | 1228676.2132
42 | 2619501.9493 | 1228739.0239
43 | 2619668.5468 | 1228535.0549
44 | 2619655.5972 | 1228542.3171
45 | 2619674.6301 | 1228530.2052
46 | 2619642.3999 | 1228551.91
47 | 2619691.9421 | 1228515.7246
48 | 2619666.4309 | 1228583.0918
49 | 2619639.4192 | 1228547.5613
50 | 2619710.5792 | 1228496.7575
51 | 2619667.0838 | 1228583.9438
52 | 2619623.0364 | 1228523.6593
53 | 2619813.8413 | 1228582.0865
54 | 2619802.1319 | 1228565.1126
55 | 2619783.7241 | 1228639.7072
56 | 2619637.8403 | 1228424.6658
57 | 2619637.9173 | 1228424.5902
58 | 2619606.264 | 1228458.9314
59 | 2619592.1496 | 1228472.6197
60 | 2619570.2203 | 1228428.3139
61 | 2619594.9142 | 1228477.4539
62 | 2619564.4564 | 1228415.7291
63 | 2619606.8817 | 1228498.3798
64 | 2619576.1422 | 1228485.9242
65 | 2619679.8543 | 1228575.1214
66 | 2619679.6554 | 1228575.2589
67 | 2619687.9917 | 1228611.2341
68 | 2619695.8974 | 1228621.5531
69 | 2619685.9556 | 1228655.1105
70 | 2619697.3231 | 1228648.8195
71 | 2619711.4889 | 1228640.98
72 | 2619636.2234 | 1228655.9962
73 | 2619711.1755 | 1228640.5972
74 | 2619580.3322 | 1228579.7407
75 | 2619586.2232 | 1228355.5081
76 | 2619771.3759 | 1228626.7063
77 | 2619771.2909 | 1228649.9992
78 | 2619616.6997 | 1228375.4119
79 | 2619715.6321 | 1228701.9144
80 | 2619763.124 | 1228656.7596
81 | 2619610.9556 | 1228505.5033
82 | 2619620.5413 | 1228520.019
83 | 2619714.6577 | 1228714.3099
84 | 2619736.0503 | 1228525.1298
85 | 2619733.0546 | 1228569.2263
86 | 2619734.9994 | 1228519.1405
87 | 2619737.1345 | 1228578.1033
88 | 2619740.9977 | 1228586.1337
89 | 2619746.0383 | 1228596.5786
90 | 2619772.4032 | 1228558.0987
91 | 2619752.8123 | 1228606.1235
92 | 2619751.9027 | 1228605.0393
93 | 2619702.7786 | 1228725.1014
94 | 2619644.4452 | 1228503.2901
95 | 2619651.5165 | 1228498.3414
96 | 2619580.0634 | 1228579.3103
97 | 2619565.739 | 1228555.8287
98 | 2619554.8709 | 1228538.0129
99 | 2619620.5413 | 1228520.019

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1