## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_979-53_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_979-53_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_979-53_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_979-53_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_979-53_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_979-53_0_3_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_979-53_0_3_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_979-53_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_979-53_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_979-53_0_3_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_979-53_0_3_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_979-53_0_3_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_979-53_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_979-53_0_3_node_84 | 0.4 | n |  | TRUE
14 | bus_LV_979-53_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_979-53_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_979-53_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_979-53_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_979-53_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_979-53_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_979-53_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_979-53_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_979-53_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_979-53_0_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_979-53_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_979-53_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_979-53_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_979-53_0_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_979-53_0_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_979-53_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_979-53_0_3_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_979-53_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_979-53_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_979-53_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_979-53_0_3_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_979-53_0_3_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_979-53_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_979-53_0_3_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_979-53_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_979-53_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_979-53_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_979-53_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_979-53_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_979-53_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_979-53_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_979-53_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_979-53_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_979-53_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_979-53_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_979-53_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_979-53_0_3_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_979-53_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_979-53_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_979-53_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_979-53_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_979-53_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_979-53_0_3_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_979-53_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_979-53_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_979-53_0_3_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_979-53_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_979-53_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_979-53_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_979-53_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_979-53_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_979-53_0_3_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_979-53_0_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_979-53_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_979-53_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_979-53_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_979-53_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_979-53_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_979-53_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_979-53_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_979-53_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_979-53_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_979-53_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_979-53_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_979-53_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_979-53_0_3_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_979-53_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_979-53_0_3_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_979-53_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_979-53_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_979-53_0_3_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_979-53_0_3_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_979-53_0_3_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_979-53_0_3_node_88 | 0.4 | n |  | TRUE
88 | bus_MV_184_1_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_979-53_0_3_load_0 | 0 | 0.0076811 | 0.0019251 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_979-53_0_3_load_1 | 1 | 0.0016934 | 0.0004244 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_979-53_0_3_load_3 | 3 | 0.0017955 | 0.00044999 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_979-53_0_3_load_4 | 4 | 0.003244 | 0.00081302 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_979-53_0_3_load_46 | 5 | 0.0007761 | 0.00019451 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_979-53_0_3_load_44 | 6 | 0.0023903 | 0.00059906 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_979-53_0_3_load_9 | 8 | 0.0036256 | 0.00090866 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_979-53_0_3_load_83 | 9 | 0.0021539 | 0.00053981 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_979-53_0_3_load_62 | 10 | 0.0012824 | 0.00032141 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_979-53_0_3_load_7 | 12 | 0.0022654 | 0.00056775 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_979-53_0_3_load_84 | 13 | 0.0031865 | 0.00079861 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_979-53_0_3_load_6 | 14 | 0.0028732 | 0.0007201 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_979-53_0_3_load_8 | 15 | 0.0030574 | 0.00076626 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_979-53_0_3_load_10 | 16 | 0.0020428 | 0.00051197 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_979-53_0_3_load_16 | 17 | 0.0034742 | 0.00087071 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_979-53_0_3_load_14 | 18 | 0.0018403 | 0.00046121 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_979-53_0_3_load_11 | 19 | 0.0027942 | 0.0007003 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_979-53_0_3_load_12 | 20 | 0.001189 | 0.00029798 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_979-53_0_3_load_13 | 21 | 0.0015239 | 0.00038192 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_979-53_0_3_load_40 | 23 | 0.0021341 | 0.00053486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_979-53_0_3_load_19 | 24 | 0.0011763 | 0.00029481 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_979-53_0_3_load_15 | 25 | 0.0025024 | 0.00062717 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_979-53_0_3_load_17 | 26 | 0.0018583 | 0.00046573 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_979-53_0_3_load_47 | 27 | 0.0019723 | 0.0004943 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_979-53_0_3_load_48 | 28 | 0.0012992 | 0.00032561 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_979-53_0_3_load_18 | 29 | 0.00042396 | 0.00010625 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_979-53_0_3_load_23 | 33 | 0.0026026 | 0.00065228 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_979-53_0_3_load_85 | 34 | 0.0044439 | 0.0011137 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_979-53_0_3_load_89 | 35 | 0.0010304 | 0.00025824 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_979-53_0_3_load_29 | 36 | 0.0014683 | 0.000368 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_979-53_0_3_load_87 | 37 | 0.0018844 | 0.00047227 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_979-53_0_3_load_24 | 38 | 0.0038998 | 0.00097738 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_979-53_0_3_load_25 | 39 | 0.0013268 | 0.00033254 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_979-53_0_3_load_26 | 40 | 0.0040984 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_979-53_0_3_load_27 | 41 | 0.001347 | 0.00033759 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_979-53_0_3_load_28 | 42 | 0.0025306 | 0.00063422 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_979-53_0_3_load_49 | 43 | 0.0040706 | 0.0010202 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_979-53_0_3_load_50 | 44 | 0.0019 | 0.0004762 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_979-53_0_3_load_30 | 45 | 0.0038114 | 0.00095522 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_979-53_0_3_load_31 | 46 | 0.0015155 | 0.00037981 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_979-53_0_3_load_32 | 47 | 0.0021347 | 0.00053501 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_979-53_0_3_load_53 | 50 | 0.0018993 | 0.00047602 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_979-53_0_3_load_56 | 51 | 0.0010839 | 0.00027164 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_979-53_0_3_load_52 | 52 | 0.0016926 | 0.0004242 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_979-53_0_3_load_54 | 53 | 0.00095237 | 0.00023869 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_979-53_0_3_load_35 | 54 | 0.00058086 | 0.00014558 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_979-53_0_3_load_36 | 55 | 0.00072722 | 0.00018226 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_979-53_0_3_load_37 | 56 | 0.0035821 | 0.00089776 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_979-53_0_3_load_61 | 58 | 0.0021397 | 0.00053627 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_979-53_0_3_load_65 | 59 | 0.0022904 | 0.00057404 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_979-53_0_3_load_58 | 60 | 0.0023412 | 0.00058676 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_979-53_0_3_load_59 | 61 | 0.0020584 | 0.00051589 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_979-53_0_3_load_55 | 62 | 0.0026196 | 0.00065653 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_979-53_0_3_load_41 | 63 | 0.001798 | 0.00045061 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_979-53_0_3_load_45 | 64 | 0.0019229 | 0.00048193 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_979-53_0_3_load_76 | 66 | 0.001943 | 0.00048697 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_979-53_0_3_load_51 | 67 | 0.0040538 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_979-53_0_3_load_63 | 68 | 0.0027235 | 0.00068256 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_979-53_0_3_load_64 | 69 | 0.0022826 | 0.00057206 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_979-53_0_3_load_66 | 70 | 0.0027959 | 0.00070072 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_979-53_0_3_load_67 | 71 | 0.0072802 | 0.0018246 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_979-53_0_3_load_68 | 72 | 0.0023351 | 0.00058524 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_979-53_0_3_load_69 | 73 | 0.0043193 | 0.0010825 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_979-53_0_3_load_70 | 74 | 0.0018063 | 0.0004527 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_979-53_0_3_load_71 | 75 | 0.0014282 | 0.00035794 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_979-53_0_3_load_72 | 77 | 0.0017824 | 0.0004467 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_979-53_0_3_load_75 | 78 | 0.0012625 | 0.00031642 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_979-53_0_3_load_73 | 79 | 0.0038713 | 0.00097023 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_979-53_0_3_load_78 | 80 | 0.0018432 | 0.00046196 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_979-53_0_3_load_79 | 83 | 0.0023297 | 0.00058387 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_979-53_0_3_load_90 | 84 | 0.0015883 | 0.00039807 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_979-53_0_3_load_91 | 85 | 0.0010542 | 0.00026422 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_979-53_0_3_load_86 | 86 | 0.0024951 | 0.00062534 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_979-53_0_3_load_88 | 87 | 0.0011613 | 0.00029104 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_979-53_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0071476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_979-53_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_979-53_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_979-53_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_979-53_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.00084046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_979-53_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.026764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_979-53_0_3_line_6 | NAYY 4x150 SE | 5 | 10 | 0.00076015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_979-53_0_3_line_7 | NAYY 4x150 SE | 6 | 11 | 0.020904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_979-53_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.016311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_979-53_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.0052511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_979-53_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.019346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_979-53_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.028831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_979-53_0_3_line_12 | NAYY 4x150 SE | 10 | 49 | 0.012932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_979-53_0_3_line_13 | NAYY 4x150 SE | 11 | 64 | 0.020228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_979-53_0_3_line_14 | NAYY 4x150 SE | 11 | 63 | 0.018659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_979-53_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.018599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_979-53_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0038175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_979-53_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.013189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_979-53_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0019729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_979-53_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.018616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_979-53_0_3_line_20 | NAYY 4x150 SE | 18 | 25 | 0.00020656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_979-53_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0059709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_979-53_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.015024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_979-53_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.015731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_979-53_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.011221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_979-53_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.01181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_979-53_0_3_line_26 | NAYY 4x150 SE | 23 | 30 | 0.023277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_979-53_0_3_line_27 | NAYY 4x150 SE | 24 | 29 | 0.024916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_979-53_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.013253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_979-53_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0065094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_979-53_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.0067372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_979-53_0_3_line_31 | NAYY 4x150 SE | 28 | 49 | 0.012454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_979-53_0_3_line_32 | NAYY 4x150 SE | 30 | 60 | 0.01537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_979-53_0_3_line_33 | NAYY 4x150 SE | 30 | 61 | 0.039278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_979-53_0_3_line_34 | NAYY 4x150 SE | 30 | 62 | 0.022516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_979-53_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.015257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_979-53_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.018123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_979-53_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.021573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_979-53_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0072605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_979-53_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.0027897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_979-53_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.013738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_979-53_0_3_line_41 | NAYY 4x150 SE | 36 | 41 | 0.0077258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_979-53_0_3_line_42 | NAYY 4x150 SE | 37 | 86 | 0.038757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_979-53_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0065821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_979-53_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.0061488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_979-53_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.015214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_979-53_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.016637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_979-53_0_3_line_47 | NAYY 4x150 SE | 42 | 43 | 0.012091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_979-53_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.018193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_979-53_0_3_line_49 | NAYY 4x150 SE | 44 | 67 | 0.014886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_979-53_0_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.014893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_979-53_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.011097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_979-53_0_3_line_52 | NAYY 4x150 SE | 46 | 48 | 0.0060578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_979-53_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.021401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_979-53_0_3_line_54 | NAYY 4x150 SE | 48 | 50 | 0.011537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_979-53_0_3_line_55 | NAYY 4x150 SE | 48 | 51 | 0.014274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_979-53_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.025751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_979-53_0_3_line_57 | NAYY 4x150 SE | 51 | 53 | 0.0068666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_979-53_0_3_line_58 | NAYY 4x150 SE | 52 | 67 | 0.016713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_979-53_0_3_line_59 | NAYY 4x150 SE | 53 | 62 | 0.009764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_979-53_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.039827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_979-53_0_3_line_61 | NAYY 4x150 SE | 54 | 56 | 0.039435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_979-53_0_3_line_62 | NAYY 4x150 SE | 56 | 57 | 0.038621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_979-53_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.02448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_979-53_0_3_line_64 | NAYY 4x150 SE | 58 | 59 | 0.014003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_979-53_0_3_line_65 | NAYY 4x150 SE | 59 | 69 | 0.020135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_979-53_0_3_line_66 | NAYY 4x150 SE | 61 | 68 | 0.012963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_979-53_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.004382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_979-53_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.017797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_979-53_0_3_line_69 | NAYY 4x150 SE | 66 | 78 | 0.017009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_979-53_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.0081631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_979-53_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0015008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_979-53_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.0024004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_979-53_0_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.026549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_979-53_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.017826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_979-53_0_3_line_75 | NAYY 4x150 SE | 73 | 75 | 0.0080077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_979-53_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.0089022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_979-53_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.020426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_979-53_0_3_line_78 | NAYY 4x150 SE | 76 | 78 | 0.035098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_979-53_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.0077432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_979-53_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.014981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_979-53_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.0074157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_979-53_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.028753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_979-53_0_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.013613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_979-53_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.027516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_979-53_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0039217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_979-53_0_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.0047619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_979-53_0_3_trafo_14 | 0.25 MVA 20/0.4 kV | 88 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2619526.7469 | 1225810.8264 | 2619533.8147 | 1225811.8914
1 | 2619511.1692 | 1225817.2227 | 2619517.6691 | 1225811.3405 | 2619524.1755 | 1225810.439 | 2619526.7469 | 1225810.8264
2 | 2619533.8147 | 1225811.8914 | 2619557.3223 | 1225815.4336
3 | 2619511.1692 | 1225817.2227 | 2619509.2251 | 1225827.8244
4 | 2619557.3223 | 1225815.4336 | 2619558.1534 | 1225815.5588
5 | 2619509.2251 | 1225827.8244 | 2619504.3977 | 1225854.1495
6 | 2619558.1534 | 1225815.5588 | 2619558.9051 | 1225815.6721
7 | 2619500.6273 | 1225874.7111 | 2619504.3977 | 1225854.1495
8 | 2619511.004 | 1225751.8613 | 2619515.37 | 1225751.8423 | 2619526.4766 | 1225747.4463
9 | 2619511.004 | 1225751.8613 | 2619511.0845 | 1225746.6109
10 | 2619545.5822 | 1225745.6261 | 2619529.4944 | 1225746.2518 | 2619526.4766 | 1225747.4463
11 | 2619511.0845 | 1225746.6109 | 2619511.5267 | 1225717.7833
12 | 2619571.6922 | 1225817.5988 | 2619558.9051 | 1225815.6721
13 | 2619500.6273 | 1225874.7111 | 2619480.4789 | 1225872.9181
14 | 2619500.6273 | 1225874.7111 | 2619519.0644 | 1225877.5819
15 | 2619564.1675 | 1225744.9032 | 2619545.5822 | 1225745.6261
16 | 2619564.1675 | 1225744.9032 | 2619567.9821 | 1225744.7548 | 2619567.9821 | 1225744.7548
17 | 2619568.653 | 1225757.9271 | 2619567.9821 | 1225744.7548
18 | 2619568.653 | 1225757.9271 | 2619568.7534 | 1225759.8974
19 | 2619568.7534 | 1225759.8974 | 2619569.7003 | 1225778.4896
20 | 2619569.7003 | 1225778.4896 | 2619569.7108 | 1225778.6959
21 | 2619709.4954 | 1225802.064 | 2619709.815 | 1225808.0264
22 | 2619709.815 | 1225808.0264 | 2619710.6192 | 1225823.0291
23 | 2619711.4612 | 1225838.738 | 2619710.6192 | 1225823.0291
24 | 2619711.4612 | 1225838.738 | 2619700.3369 | 1225837.2656
25 | 2619711.4612 | 1225838.738 | 2619723.0889 | 1225840.8057
26 | 2619677.2612 | 1225834.2113 | 2619700.3369 | 1225837.2656
27 | 2619723.0889 | 1225840.8057 | 2619747.6202 | 1225845.1681
28 | 2619569.7108 | 1225778.6959 | 2619570.3849 | 1225791.9313
29 | 2619570.716 | 1225798.4323 | 2619570.3849 | 1225791.9313
30 | 2619570.716 | 1225798.4323 | 2619571.0587 | 1225805.1608
31 | 2619571.6922 | 1225817.5988 | 2619571.0587 | 1225805.1608
32 | 2619677.2612 | 1225834.2113 | 2619675.7754 | 1225849.5095
33 | 2619677.2612 | 1225834.2113 | 2619674.7333 | 1225795.015
34 | 2619677.2612 | 1225834.2113 | 2619655.0242 | 1225830.6751
35 | 2619621.3896 | 1225652.6202 | 2619632.9138 | 1225642.5855
36 | 2619621.5677 | 1225628.4287 | 2619632.9138 | 1225642.5855
37 | 2619621.3896 | 1225652.6202 | 2619616.0532 | 1225657.272 | 2619616.7789 | 1225671.7476
38 | 2619621.5677 | 1225628.4287 | 2619628.5384 | 1225626.398
39 | 2619616.7789 | 1225671.7476 | 2619616.9186 | 1225674.5337
40 | 2619641.8921 | 1225623.4383 | 2619637.4175 | 1225623.8114 | 2619628.5384 | 1225626.398
41 | 2619617.3055 | 1225682.2499 | 2619616.9186 | 1225674.5337
42 | 2619680.515 | 1225620.2179 | 2619641.8921 | 1225623.4383
43 | 2619618.3969 | 1225704.019 | 2619618.0673 | 1225697.4452
44 | 2619618.7048 | 1225710.1601 | 2619618.3969 | 1225704.019
45 | 2619618.0673 | 1225697.4452 | 2619617.3055 | 1225682.2499
46 | 2619618.7048 | 1225710.1601 | 2619619.5378 | 1225726.7758
47 | 2619620.1432 | 1225738.8513 | 2619619.5378 | 1225726.7758
48 | 2619620.1432 | 1225738.8513 | 2619621.0542 | 1225757.0218
49 | 2619621.7996 | 1225771.8893 | 2619621.0542 | 1225757.0218
50 | 2619618.5179 | 1225824.8896 | 2619603.8026 | 1225822.5984
51 | 2619592.8381 | 1225820.8913 | 2619603.8026 | 1225822.5984
52 | 2619624.5036 | 1225825.8216 | 2619618.5179 | 1225824.8896
53 | 2619571.6922 | 1225817.5988 | 2619592.8381 | 1225820.8913
54 | 2619624.5036 | 1225825.8216 | 2619623.9259 | 1225814.2994
55 | 2619624.5036 | 1225825.8216 | 2619638.6 | 1225828.0632
56 | 2619622.6365 | 1225788.581 | 2619623.9259 | 1225814.2994
57 | 2619645.3814 | 1225829.1416 | 2619638.6 | 1225828.0632
58 | 2619621.7996 | 1225771.8893 | 2619622.6365 | 1225788.581
59 | 2619645.3814 | 1225829.1416 | 2619655.0242 | 1225830.6751
60 | 2619756.9879 | 1225810.5424 | 2619732.5785 | 1225779.0724
61 | 2619708.4093 | 1225747.912 | 2619732.5785 | 1225779.0724
62 | 2619683.5253 | 1225718.408 | 2619698.282 | 1225734.8553 | 2619708.4093 | 1225747.912
63 | 2619683.5253 | 1225718.408 | 2619674.038 | 1225733.6636 | 2619672.4487 | 1225739.9815
64 | 2619672.0776 | 1225753.8396 | 2619671.442 | 1225743.9833 | 2619672.4487 | 1225739.9815
65 | 2619672.0776 | 1225753.8396 | 2619673.3736 | 1225773.933
66 | 2619673.899 | 1225782.0792 | 2619674.7333 | 1225795.015
67 | 2619476.1141 | 1225872.5297 | 2619480.4789 | 1225872.9181
68 | 2619476.1141 | 1225872.5297 | 2619458.3873 | 1225870.9549
69 | 2619441.4445 | 1225869.4496 | 2619458.3873 | 1225870.9549
70 | 2619673.899 | 1225782.0792 | 2619673.3736 | 1225773.933
71 | 2619411.5468 | 1225837.6582 | 2619411.8077 | 1225836.1802
72 | 2619411.5468 | 1225837.6582 | 2619411.1297 | 1225840.0221
73 | 2619411.8077 | 1225836.1802 | 2619416.4216 | 1225810.0351
74 | 2619411.1297 | 1225840.0221 | 2619408.0317 | 1225857.577
75 | 2619417.8132 | 1225802.1493 | 2619416.4216 | 1225810.0351
76 | 2619406.4846 | 1225866.3437 | 2619408.0317 | 1225857.577
77 | 2619417.8132 | 1225802.1493 | 2619421.363 | 1225782.0339
78 | 2619406.4846 | 1225866.3437 | 2619441.4445 | 1225869.4496
79 | 2619421.363 | 1225782.0339 | 2619422.7087 | 1225774.4086
80 | 2619422.7087 | 1225774.4086 | 2619425.3122 | 1225759.6558
81 | 2619426.6009 | 1225752.353 | 2619425.3122 | 1225759.6558
82 | 2619426.6009 | 1225752.353 | 2619398.0921 | 1225748.0244
83 | 2619426.6009 | 1225752.353 | 2619429.217 | 1225738.9941
84 | 2619398.0921 | 1225748.0244 | 2619396.2247 | 1225760.5257 | 2619393.5858 | 1225775.1662
85 | 2619392.8901 | 1225779.0258 | 2619393.5858 | 1225775.1662
86 | 2619685.2605 | 1225619.8222 | 2619680.515 | 1225620.2179

## bus_geodata
| x | y | coords
0 | 2619526.7469 | 1225810.8264
1 | 2619533.8147 | 1225811.8914
2 | 2619511.1692 | 1225817.2227
3 | 2619557.3223 | 1225815.4336
4 | 2619509.2251 | 1225827.8244
5 | 2619558.1534 | 1225815.5588
6 | 2619504.3977 | 1225854.1495
7 | 2619511.004 | 1225751.8613
8 | 2619526.4766 | 1225747.4463
9 | 2619511.0845 | 1225746.6109
10 | 2619558.9051 | 1225815.6721
11 | 2619500.6273 | 1225874.7111
12 | 2619545.5822 | 1225745.6261
13 | 2619511.5267 | 1225717.7833
14 | 2619564.1675 | 1225744.9032
15 | 2619567.9821 | 1225744.7548
16 | 2619568.653 | 1225757.9271
17 | 2619568.7534 | 1225759.8974
18 | 2619569.7003 | 1225778.4896
19 | 2619709.4954 | 1225802.064
20 | 2619709.815 | 1225808.0264
21 | 2619710.6192 | 1225823.0291
22 | 2619711.4612 | 1225838.738
23 | 2619700.3369 | 1225837.2656
24 | 2619723.0889 | 1225840.8057
25 | 2619569.7108 | 1225778.6959
26 | 2619570.3849 | 1225791.9313
27 | 2619570.716 | 1225798.4323
28 | 2619571.0587 | 1225805.1608
29 | 2619747.6202 | 1225845.1681
30 | 2619677.2612 | 1225834.2113
31 | 2619632.9138 | 1225642.5855
32 | 2619621.3896 | 1225652.6202
33 | 2619621.5677 | 1225628.4287
34 | 2619616.7789 | 1225671.7476
35 | 2619628.5384 | 1225626.398
36 | 2619616.9186 | 1225674.5337
37 | 2619641.8921 | 1225623.4383
38 | 2619618.3969 | 1225704.019
39 | 2619618.0673 | 1225697.4452
40 | 2619618.7048 | 1225710.1601
41 | 2619617.3055 | 1225682.2499
42 | 2619619.5378 | 1225726.7758
43 | 2619620.1432 | 1225738.8513
44 | 2619621.0542 | 1225757.0218
45 | 2619603.8026 | 1225822.5984
46 | 2619618.5179 | 1225824.8896
47 | 2619592.8381 | 1225820.8913
48 | 2619624.5036 | 1225825.8216
49 | 2619571.6922 | 1225817.5988
50 | 2619623.9259 | 1225814.2994
51 | 2619638.6 | 1225828.0632
52 | 2619622.6365 | 1225788.581
53 | 2619645.3814 | 1225829.1416
54 | 2619732.5785 | 1225779.0724
55 | 2619756.9879 | 1225810.5424
56 | 2619708.4093 | 1225747.912
57 | 2619683.5253 | 1225718.4081
58 | 2619672.4487 | 1225739.9815
59 | 2619672.0776 | 1225753.8396
60 | 2619675.7754 | 1225849.5095
61 | 2619674.7333 | 1225795.015
62 | 2619655.0242 | 1225830.6751
63 | 2619519.0644 | 1225877.5819
64 | 2619480.4789 | 1225872.9181
65 | 2619476.1141 | 1225872.5297
66 | 2619458.3873 | 1225870.9549
67 | 2619621.7997 | 1225771.8893
68 | 2619673.899 | 1225782.0792
69 | 2619673.3736 | 1225773.933
70 | 2619411.5468 | 1225837.6582
71 | 2619411.8077 | 1225836.1802
72 | 2619411.1297 | 1225840.0221
73 | 2619416.4216 | 1225810.0351
74 | 2619408.0317 | 1225857.577
75 | 2619417.8132 | 1225802.1493
76 | 2619406.4846 | 1225866.3437
77 | 2619421.363 | 1225782.0339
78 | 2619441.4445 | 1225869.4496
79 | 2619422.7087 | 1225774.4086
80 | 2619425.3122 | 1225759.6558
81 | 2619426.6009 | 1225752.353
82 | 2619398.0921 | 1225748.0244
83 | 2619429.217 | 1225738.9941
84 | 2619393.5858 | 1225775.1662
85 | 2619392.8901 | 1225779.0258
86 | 2619680.515 | 1225620.2179
87 | 2619685.2605 | 1225619.8222
88 | 2619571.6922 | 1225817.5988

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1