## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_982-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_982-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_982-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_982-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_982-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_982-2_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_982-2_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_982-2_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_982-2_0_2_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_982-2_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_982-2_0_2_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_982-2_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_982-2_0_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_982-2_0_2_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_982-2_0_2_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_982-2_0_2_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_982-2_0_2_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_982-2_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_982-2_0_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_982-2_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_982-2_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_982-2_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_982-2_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_982-2_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_982-2_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_982-2_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_982-2_0_2_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_982-2_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_982-2_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_982-2_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_982-2_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_982-2_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_982-2_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_982-2_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_982-2_0_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_982-2_0_2_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_982-2_0_2_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_982-2_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_982-2_0_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_982-2_0_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_982-2_0_2_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_982-2_0_2_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_982-2_0_2_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_982-2_0_2_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_982-2_0_2_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_982-2_0_2_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_982-2_0_2_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_982-2_0_2_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_982-2_0_2_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_982-2_0_2_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_982-2_0_2_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_982-2_0_2_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_982-2_0_2_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_982-2_0_2_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_982-2_0_2_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_982-2_0_2_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_982-2_0_2_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_982-2_0_2_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_982-2_0_2_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_982-2_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_982-2_0_2_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_982-2_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_982-2_0_2_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_982-2_0_2_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_982-2_0_2_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_982-2_0_2_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_982-2_0_2_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_982-2_0_2_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_982-2_0_2_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_982-2_0_2_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_982-2_0_2_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_982-2_0_2_node_72 | 0.4 | n |  | TRUE
72 | bus_MV_184_1_node_189 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_982-2_0_2_load_0 | 0 | 0.0033656 | 0.00084349 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_982-2_0_2_load_1 | 1 | 0.0011373 | 0.00028504 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_982-2_0_2_load_8 | 6 | 0.0035559 | 0.00089119 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_982-2_0_2_load_9 | 7 | 0.0040191 | 0.0010073 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_982-2_0_2_load_25 | 8 | 0.00057432 | 0.00014394 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_982-2_0_2_load_6 | 9 | 0.0012848 | 0.000322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_982-2_0_2_load_27 | 10 | 0.00086166 | 0.00021595 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_982-2_0_2_load_7 | 11 | 0.0011171 | 0.00027998 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_982-2_0_2_load_33 | 13 | 0.00049773 | 0.00012474 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_982-2_0_2_load_30 | 15 | 0.0007786 | 0.00019514 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_982-2_0_2_load_34 | 16 | 0.0014073 | 0.00035271 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_982-2_0_2_load_32 | 18 | 0.00035761 | 8.9626e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_982-2_0_2_load_12 | 20 | 0.0014378 | 0.00036035 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_982-2_0_2_load_15 | 22 | 0.0018218 | 0.00045659 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_982-2_0_2_load_16 | 23 | 0.0018261 | 0.00045767 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_982-2_0_2_load_17 | 25 | 0.0016633 | 0.00041687 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_982-2_0_2_load_29 | 26 | 0.0065493 | 0.0016414 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_982-2_0_2_load_18 | 27 | 0.0023243 | 0.00058252 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_982-2_0_2_load_19 | 28 | 0.0035555 | 0.00089108 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_982-2_0_2_load_20 | 29 | 0.0035926 | 0.00090038 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_982-2_0_2_load_21 | 30 | 0.0033906 | 0.00084977 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_982-2_0_2_load_22 | 31 | 0.0022545 | 0.00056502 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_982-2_0_2_load_23 | 32 | 0.0048868 | 0.0012247 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_982-2_0_2_load_24 | 33 | 0.0037106 | 0.00092996 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_982-2_0_2_load_35 | 37 | 0.0019469 | 0.00048795 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_982-2_0_2_load_36 | 38 | 0.0013256 | 0.00033223 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_982-2_0_2_load_39 | 39 | 0.0025974 | 0.00065098 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_982-2_0_2_load_70 | 40 | 0.0036608 | 0.00091749 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_982-2_0_2_load_62 | 41 | 0.0021652 | 0.00054266 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_982-2_0_2_load_61 | 42 | 0.00482 | 0.001208 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_982-2_0_2_load_54 | 43 | 0.0017627 | 0.00044177 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_982-2_0_2_load_41 | 44 | 0.0016837 | 0.00042198 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_982-2_0_2_load_42 | 45 | 0.0044907 | 0.0011255 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_982-2_0_2_load_43 | 46 | 0.0017127 | 0.00042923 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_982-2_0_2_load_44 | 47 | 0.0014631 | 0.00036669 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_982-2_0_2_load_45 | 48 | 0.0015401 | 0.00038599 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_982-2_0_2_load_46 | 49 | 0.0043137 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_982-2_0_2_load_47 | 50 | 0.0020704 | 0.00051889 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_982-2_0_2_load_56 | 51 | 0.0014668 | 0.00036761 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_982-2_0_2_load_60 | 52 | 0.0014687 | 0.00036808 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_982-2_0_2_load_48 | 53 | 0.00096065 | 0.00024076 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_982-2_0_2_load_49 | 54 | 0.0013206 | 0.00033097 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_982-2_0_2_load_50 | 55 | 0.0021619 | 0.00054183 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_982-2_0_2_load_52 | 57 | 0.0017656 | 0.00044251 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_982-2_0_2_load_53 | 58 | 0.0019192 | 0.00048099 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_982-2_0_2_load_55 | 59 | 0.0012339 | 0.00030923 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_982-2_0_2_load_58 | 61 | 0.0011037 | 0.00027662 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_982-2_0_2_load_63 | 62 | 0.0014668 | 0.00036761 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_982-2_0_2_load_75 | 63 | 0.0021991 | 0.00055116 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_982-2_0_2_load_73 | 64 | 0.0016517 | 0.00041397 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_982-2_0_2_load_65 | 66 | 0.0018911 | 0.00047395 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_982-2_0_2_load_66 | 67 | 0.0014687 | 0.00036809 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_982-2_0_2_load_74 | 68 | 0.0017054 | 0.00042741 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_982-2_0_2_load_71 | 69 | 0.0012256 | 0.00030716 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_982-2_0_2_load_76 | 70 | 0.0011337 | 0.00028413 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_982-2_0_2_load_72 | 71 | 0.0019281 | 0.00048323 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_982-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.047433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_982-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_982-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.027846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_982-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_982-2_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.010485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_982-2_0_2_line_5 | NAYY 4x150 SE | 3 | 9 | 0.040221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_982-2_0_2_line_6 | NAYY 4x150 SE | 3 | 8 | 0.0060888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_982-2_0_2_line_7 | NAYY 4x150 SE | 4 | 10 | 0.11257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_982-2_0_2_line_8 | NAYY 4x150 SE | 5 | 11 | 0.041724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_982-2_0_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.016239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_982-2_0_2_line_10 | NAYY 4x150 SE | 6 | 8 | 0.095364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_982-2_0_2_line_11 | NAYY 4x150 SE | 7 | 17 | 0.030147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_982-2_0_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.020457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_982-2_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.016856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_982-2_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.043242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_982-2_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.045175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_982-2_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0080775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_982-2_0_2_line_17 | NAYY 4x150 SE | 14 | 18 | 0.050799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_982-2_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.004724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_982-2_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.021672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_982-2_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.013268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_982-2_0_2_line_21 | NAYY 4x150 SE | 19 | 22 | 0.011985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_982-2_0_2_line_22 | NAYY 4x150 SE | 20 | 23 | 0.0096552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_982-2_0_2_line_23 | NAYY 4x150 SE | 21 | 24 | 0.021275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_982-2_0_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.01891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_982-2_0_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.023343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_982-2_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.0017804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_982-2_0_2_line_27 | NAYY 4x150 SE | 26 | 34 | 0.013823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_982-2_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.013035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_982-2_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0018638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_982-2_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0047335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_982-2_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.020269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_982-2_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0042116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_982-2_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.017059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_982-2_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.04762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_982-2_0_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.017053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_982-2_0_2_line_36 | NAYY 4x150 SE | 35 | 40 | 0.027943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_982-2_0_2_line_37 | NAYY 4x150 SE | 35 | 41 | 0.013733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_982-2_0_2_line_38 | NAYY 4x150 SE | 36 | 39 | 0.010209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_982-2_0_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0021098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_982-2_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.010687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_982-2_0_2_line_41 | NAYY 4x150 SE | 40 | 42 | 0.0066623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_982-2_0_2_line_42 | NAYY 4x150 SE | 41 | 43 | 0.026699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_982-2_0_2_line_43 | NAYY 4x150 SE | 42 | 50 | 0.0084921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_982-2_0_2_line_44 | NAYY 4x150 SE | 43 | 56 | 0.0023908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_982-2_0_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0032023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_982-2_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.021502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_982-2_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.017983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_982-2_0_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0064755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_982-2_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0066918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_982-2_0_2_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0049517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_982-2_0_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.0013876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_982-2_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.016495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_982-2_0_2_line_53 | NAYY 4x150 SE | 52 | 62 | 0.0080799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_982-2_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0091578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_982-2_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.028486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_982-2_0_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.018861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_982-2_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.0096184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_982-2_0_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.038354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_982-2_0_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.027102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_982-2_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.016807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_982-2_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.032754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_982-2_0_2_line_62 | NAYY 4x150 SE | 62 | 65 | 0.0090243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_982-2_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0017752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_982-2_0_2_line_64 | NAYY 4x150 SE | 64 | 71 | 0.001155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_982-2_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.019076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_982-2_0_2_line_66 | NAYY 4x150 SE | 65 | 67 | 0.0076296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_982-2_0_2_line_67 | NAYY 4x150 SE | 66 | 68 | 0.0032922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_982-2_0_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.0072957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_982-2_0_2_line_69 | NAYY 4x150 SE | 68 | 70 | 0.016705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_982-2_0_2_line_70 | NAYY 4x150 SE | 69 | 71 | 0.024018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_982-2_0_2_trafo_29 | 0.25 MVA 20/0.4 kV | 72 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2618257.4343 | 1225688.8808 | 2618304.8578 | 1225689.8504
1 | 2618238.8781 | 1225688.5014 | 2618257.4343 | 1225688.8808
2 | 2618332.6625 | 1225689.0668 | 2618318.1892 | 1225690.123 | 2618304.8578 | 1225689.8504
3 | 2618238.8781 | 1225688.5014 | 2618241.4223 | 1225699.2711
4 | 2618228.3655 | 1225688.2469 | 2618238.8781 | 1225688.5014
5 | 2618332.6625 | 1225689.0668 | 2618324.7897 | 1225649.6234
6 | 2618332.6625 | 1225689.0668 | 2618337.4488 | 1225692.8303
7 | 2618241.4223 | 1225699.2711 | 2618286.03 | 1225802.6304
8 | 2618228.3655 | 1225688.2469 | 2618229.5758 | 1225654.3418 | 2618229.8573 | 1225646.5491 | 2618229.8573 | 1225646.5491
9 | 2618428.2003 | 1225663.5303 | 2618441.372 | 1225662.5638 | 2618444.4038 | 1225662.5427
10 | 2618428.2003 | 1225663.5303 | 2618337.4488 | 1225692.8303
11 | 2618474.5501 | 1225662.3329 | 2618444.4038 | 1225662.5427
12 | 2618320.7856 | 1225629.5619 | 2618324.7897 | 1225649.6234
13 | 2618229.8573 | 1225646.5491 | 2618246.7103 | 1225646.8637
14 | 2618317.5373 | 1225586.4488 | 2618320.7856 | 1225629.5619
15 | 2618320.7856 | 1225629.5619 | 2618293.7778 | 1225627.1999 | 2618291.126 | 1225629.2819 | 2618289.3018 | 1225643.8607
16 | 2618254.7863 | 1225647.0145 | 2618246.7103 | 1225646.8637
17 | 2618317.5373 | 1225586.4488 | 2618266.8917 | 1225590.3931
18 | 2618474.5501 | 1225662.3329 | 2618479.2712 | 1225662.7366
19 | 2618474.5501 | 1225662.3329 | 2618473.5145 | 1225656.5151 | 2618471.7189 | 1225640.8552
20 | 2618481.4138 | 1225675.7843 | 2618480.2661 | 1225671.8784 | 2618479.2712 | 1225662.7366
21 | 2618479.2712 | 1225662.7366 | 2618489.8632 | 1225661.8133 | 2618491.2122 | 1225661.713
22 | 2618470.6191 | 1225631.2628 | 2618471.7189 | 1225640.8552
23 | 2618495.7153 | 1225691.0153 | 2618486.4537 | 1225683.3488 | 2618482.2238 | 1225678.5551 | 2618481.4138 | 1225675.7843
24 | 2618470.6191 | 1225631.2628 | 2618468.465 | 1225612.4763
25 | 2618495.7153 | 1225691.0153 | 2618515.2327 | 1225703.8194
26 | 2618468.2622 | 1225610.7075 | 2618468.465 | 1225612.4763
27 | 2618526.7903 | 1225711.4015 | 2618515.2327 | 1225703.8194
28 | 2618468.2622 | 1225610.7075 | 2618467.4254 | 1225603.4094 | 2618466.4922 | 1225597.7973
29 | 2618466.4922 | 1225597.7973 | 2618466.1865 | 1225595.9587
30 | 2618465.4101 | 1225591.2893 | 2618466.1865 | 1225595.9587
31 | 2618465.4101 | 1225591.2893 | 2618462.0855 | 1225571.2949
32 | 2618462.0855 | 1225571.2949 | 2618461.3947 | 1225567.1404
33 | 2618458.5965 | 1225550.3121 | 2618461.3947 | 1225567.1404
34 | 2618570.0467 | 1225731.5033 | 2618563.5373 | 1225728.5369 | 2618533.4043 | 1225714.8574 | 2618528.772 | 1225712.764 | 2618526.7903 | 1225711.4015
35 | 2618519.6853 | 1225726.9108 | 2618526.7903 | 1225711.4015
36 | 2618570.0467 | 1225731.5033 | 2618582.086 | 1225706.2875
37 | 2618570.0467 | 1225731.5033 | 2618582.6015 | 1225737.0687
38 | 2618509.9014 | 1225723.9009 | 2618519.6853 | 1225726.9108
39 | 2618519.6853 | 1225726.9108 | 2618521.6285 | 1225727.7325
40 | 2618531.4716 | 1225731.8948 | 2618521.6285 | 1225727.7325
41 | 2618584.9565 | 1225700.2753 | 2618582.086 | 1225706.2875
42 | 2618582.6015 | 1225737.0687 | 2618607.0099 | 1225747.8888
43 | 2618584.9565 | 1225700.2753 | 2618587.8238 | 1225694.27 | 2618589.3552 | 1225693.2548
44 | 2618609.1956 | 1225748.8577 | 2618607.0099 | 1225747.8888
45 | 2618620.624 | 1225695.4455 | 2618623.7096 | 1225696.3021
46 | 2618620.624 | 1225695.4455 | 2618599.9052 | 1225689.6938
47 | 2618623.7096 | 1225696.3021 | 2618641.0369 | 1225701.1122
48 | 2618599.9052 | 1225689.6938 | 2618599.9052 | 1225689.6938 | 2618593.4825 | 1225690.5187
49 | 2618641.0369 | 1225701.1122 | 2618647.4849 | 1225702.9022
50 | 2618593.4825 | 1225690.5187 | 2618593.4825 | 1225690.5187 | 2618589.3552 | 1225693.2548
51 | 2618647.4849 | 1225702.9022 | 2618648.8219 | 1225703.2734
52 | 2618664.7163 | 1225707.6858 | 2618648.8219 | 1225703.2734
53 | 2618664.7163 | 1225707.6858 | 2618672.5018 | 1225709.8471
54 | 2618634.1933 | 1225761.5145 | 2618626.023 | 1225757.3778
55 | 2618634.1933 | 1225761.5145 | 2618659.6076 | 1225774.3822
56 | 2618609.1956 | 1225748.8577 | 2618626.023 | 1225757.3778
57 | 2618659.6076 | 1225774.3822 | 2618661.6029 | 1225775.3925 | 2618668.2474 | 1225778.6087
58 | 2618609.1956 | 1225748.8577 | 2618607.2505 | 1225757.6457 | 2618613.8893 | 1225786.2381
59 | 2618692.6417 | 1225790.4165 | 2618668.2474 | 1225778.6087
60 | 2618707.7696 | 1225797.7391 | 2618692.6417 | 1225790.4165
61 | 2618707.7696 | 1225797.7391 | 2618721.6591 | 1225768.0763
62 | 2618681.1973 | 1225712.261 | 2618672.5018 | 1225709.8471
63 | 2618719.0537 | 1225725.343 | 2618720.7091 | 1225725.984
64 | 2618719.0537 | 1225725.343 | 2618717.9766 | 1225724.9259
65 | 2618681.1973 | 1225712.261 | 2618675.338 | 1225730.4148
66 | 2618681.1973 | 1225712.261 | 2618688.549 | 1225714.3015
67 | 2618674.3267 | 1225733.5478 | 2618675.338 | 1225730.4148
68 | 2618688.549 | 1225714.3015 | 2618695.5789 | 1225716.2528
69 | 2618669.1956 | 1225749.4454 | 2618674.3267 | 1225733.5478
70 | 2618717.9766 | 1225724.9259 | 2618695.5789 | 1225716.2528 | 2618695.5789 | 1225716.2528

## bus_geodata
| x | y | coords
0 | 2618257.4343 | 1225688.8808
1 | 2618304.8578 | 1225689.8504
2 | 2618238.8781 | 1225688.5014
3 | 2618332.6625 | 1225689.0668
4 | 2618241.4223 | 1225699.2711
5 | 2618228.3655 | 1225688.2469
6 | 2618428.2003 | 1225663.5303
7 | 2618444.4038 | 1225662.5427
8 | 2618337.4488 | 1225692.8303
9 | 2618324.7897 | 1225649.6234
10 | 2618286.03 | 1225802.6304
11 | 2618229.8573 | 1225646.5491
12 | 2618320.7856 | 1225629.5619
13 | 2618246.7103 | 1225646.8637
14 | 2618317.5373 | 1225586.4488
15 | 2618289.3018 | 1225643.8607
16 | 2618254.7863 | 1225647.0145
17 | 2618474.5501 | 1225662.3329
18 | 2618266.8917 | 1225590.3931
19 | 2618479.2712 | 1225662.7366
20 | 2618471.7189 | 1225640.8552
21 | 2618481.4138 | 1225675.7843
22 | 2618491.2122 | 1225661.713
23 | 2618470.6191 | 1225631.2628
24 | 2618495.7153 | 1225691.0153
25 | 2618468.465 | 1225612.4763
26 | 2618515.2327 | 1225703.8194
27 | 2618468.2622 | 1225610.7075
28 | 2618466.4922 | 1225597.7973
29 | 2618466.1865 | 1225595.9587
30 | 2618465.4101 | 1225591.2893
31 | 2618462.0855 | 1225571.2949
32 | 2618461.3947 | 1225567.1404
33 | 2618458.5965 | 1225550.3121
34 | 2618526.7903 | 1225711.4015
35 | 2618570.0467 | 1225731.5033
36 | 2618519.6853 | 1225726.9108
37 | 2618521.6285 | 1225727.7325
38 | 2618531.4716 | 1225731.8948
39 | 2618509.9014 | 1225723.9009
40 | 2618582.086 | 1225706.2875
41 | 2618582.6015 | 1225737.0687
42 | 2618584.9565 | 1225700.2753
43 | 2618607.0099 | 1225747.8888
44 | 2618620.624 | 1225695.4455
45 | 2618623.7096 | 1225696.3021
46 | 2618599.9052 | 1225689.6938
47 | 2618641.0369 | 1225701.1122
48 | 2618593.4825 | 1225690.5187
49 | 2618647.4849 | 1225702.9022
50 | 2618589.3552 | 1225693.2548
51 | 2618648.8219 | 1225703.2734
52 | 2618664.7163 | 1225707.6858
53 | 2618634.1933 | 1225761.5145
54 | 2618626.023 | 1225757.3778
55 | 2618659.6076 | 1225774.3822
56 | 2618609.1956 | 1225748.8577
57 | 2618668.2474 | 1225778.6087
58 | 2618613.8894 | 1225786.2381
59 | 2618692.6417 | 1225790.4165
60 | 2618707.7696 | 1225797.7391
61 | 2618721.6591 | 1225768.0763
62 | 2618672.5018 | 1225709.8471
63 | 2618720.7091 | 1225725.984
64 | 2618719.0537 | 1225725.343
65 | 2618681.1973 | 1225712.261
66 | 2618675.338 | 1225730.4148
67 | 2618688.549 | 1225714.3015
68 | 2618674.3267 | 1225733.5478
69 | 2618695.5789 | 1225716.2528
70 | 2618669.1956 | 1225749.4454
71 | 2618717.9766 | 1225724.9259
72 | 2618526.7903 | 1225711.4015

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1