## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_983-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_983-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_983-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_983-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_983-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_983-5_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_983-5_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_983-5_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_983-5_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_983-5_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_983-5_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_983-5_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_983-5_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_983-5_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_983-5_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_983-5_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_983-5_0_3_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_983-5_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_983-5_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_983-5_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_983-5_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_983-5_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_983-5_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_983-5_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_983-5_0_3_node_113 | 0.4 | n |  | TRUE
25 | bus_LV_983-5_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_983-5_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_983-5_0_3_node_114 | 0.4 | n |  | TRUE
28 | bus_LV_983-5_0_3_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_983-5_0_3_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_983-5_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_983-5_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_983-5_0_3_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_983-5_0_3_node_101 | 0.4 | n |  | TRUE
34 | bus_LV_983-5_0_3_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_983-5_0_3_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_983-5_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_983-5_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_983-5_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_983-5_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_983-5_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_983-5_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_983-5_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_983-5_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_983-5_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_983-5_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_983-5_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_983-5_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_983-5_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_983-5_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_983-5_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_983-5_0_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_983-5_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_983-5_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_983-5_0_3_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_983-5_0_3_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_983-5_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_983-5_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_983-5_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_983-5_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_983-5_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_983-5_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_983-5_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_983-5_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_983-5_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_983-5_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_983-5_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_983-5_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_983-5_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_983-5_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_983-5_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_983-5_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_983-5_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_983-5_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_983-5_0_3_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_983-5_0_3_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_983-5_0_3_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_983-5_0_3_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_983-5_0_3_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_983-5_0_3_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_983-5_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_983-5_0_3_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_983-5_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_983-5_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_983-5_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_983-5_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_983-5_0_3_node_100 | 0.4 | n |  | TRUE
87 | bus_LV_983-5_0_3_node_102 | 0.4 | n |  | TRUE
88 | bus_LV_983-5_0_3_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_983-5_0_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_983-5_0_3_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_983-5_0_3_node_98 | 0.4 | n |  | TRUE
92 | bus_LV_983-5_0_3_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_983-5_0_3_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_983-5_0_3_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_983-5_0_3_node_105 | 0.4 | n |  | TRUE
96 | bus_LV_983-5_0_3_node_103 | 0.4 | n |  | TRUE
97 | bus_LV_983-5_0_3_node_106 | 0.4 | n |  | TRUE
98 | bus_LV_983-5_0_3_node_104 | 0.4 | n |  | TRUE
99 | bus_LV_983-5_0_3_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_983-5_0_3_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_983-5_0_3_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_983-5_0_3_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_983-5_0_3_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_983-5_0_3_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_983-5_0_3_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_983-5_0_3_node_111 | 0.4 | n |  | TRUE
107 | bus_LV_983-5_0_3_node_112 | 0.4 | n |  | TRUE
108 | bus_LV_983-5_0_3_node_110 | 0.4 | n |  | TRUE
109 | bus_LV_983-5_0_3_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_983-5_0_3_node_108 | 0.4 | n |  | TRUE
111 | bus_LV_983-5_0_3_node_109 | 0.4 | n |  | TRUE
112 | bus_MV_346_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_983-5_0_3_load_0 | 0 | 0.021662 | 0.0054289 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_983-5_0_3_load_4 | 4 | 0.0032023 | 0.00080258 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_983-5_0_3_load_5 | 6 | 0.0054067 | 0.0013551 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_983-5_0_3_load_22 | 7 | 0.0011994 | 0.00030061 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_983-5_0_3_load_18 | 8 | 0.0030464 | 0.00076349 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_983-5_0_3_load_7 | 9 | 0.0074002 | 0.0018547 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_983-5_0_3_load_16 | 10 | 0.0029626 | 0.00074249 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_983-5_0_3_load_10 | 11 | 0.0046447 | 0.0011641 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_983-5_0_3_load_6 | 12 | 0.001478 | 0.00037043 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_983-5_0_3_load_17 | 13 | 0.0036315 | 0.00091013 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_983-5_0_3_load_19 | 14 | 0.0020309 | 0.00050899 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_983-5_0_3_load_21 | 15 | 0.0051107 | 0.0012809 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_983-5_0_3_load_44 | 16 | 0.0025884 | 0.00064871 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_983-5_0_3_load_42 | 17 | 0.00092034 | 0.00023066 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_983-5_0_3_load_11 | 18 | 0.0061772 | 0.0015481 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_983-5_0_3_load_15 | 21 | 0.0022028 | 0.00055208 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_983-5_0_3_load_30 | 22 | 0.0023732 | 0.00059479 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_983-5_0_3_load_26 | 23 | 0.0021847 | 0.00054754 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_983-5_0_3_load_35 | 25 | 0.0028727 | 0.00071996 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_983-5_0_3_load_114 | 27 | 0.0024013 | 0.00060183 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_983-5_0_3_load_68 | 28 | 0.00176 | 0.00044109 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_983-5_0_3_load_67 | 29 | 0.00062542 | 0.00015675 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_983-5_0_3_load_23 | 30 | 0.0011661 | 0.00029225 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_983-5_0_3_load_94 | 32 | 0.0024377 | 0.00061095 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_983-5_0_3_load_101 | 33 | 0.0012609 | 0.00031602 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_983-5_0_3_load_91 | 34 | 0.00056678 | 0.00014205 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_983-5_0_3_load_27 | 36 | 0.0016437 | 0.00041196 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_983-5_0_3_load_28 | 37 | 0.0019729 | 0.00049446 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_983-5_0_3_load_34 | 39 | 0.0015366 | 0.00038511 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_983-5_0_3_load_31 | 41 | 0.0016401 | 0.00041105 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_983-5_0_3_load_33 | 42 | 0.0013477 | 0.00033777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_983-5_0_3_load_46 | 43 | 0.00086052 | 0.00021567 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_983-5_0_3_load_36 | 45 | 0.001445 | 0.00036215 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_983-5_0_3_load_37 | 46 | 0.0030903 | 0.0007745 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_983-5_0_3_load_38 | 47 | 0.00094228 | 0.00023616 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_983-5_0_3_load_40 | 49 | 0.0011529 | 0.00028896 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_983-5_0_3_load_49 | 50 | 0.0028721 | 0.00071983 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_983-5_0_3_load_48 | 53 | 0.0026006 | 0.00065178 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_983-5_0_3_load_64 | 54 | 0.001288 | 0.00032281 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_983-5_0_3_load_41 | 56 | 0.0045449 | 0.0011391 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_983-5_0_3_load_43 | 57 | 0.00080866 | 0.00020267 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_983-5_0_3_load_45 | 58 | 0.0015488 | 0.00038817 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_983-5_0_3_load_57 | 59 | 0.0015529 | 0.00038918 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_983-5_0_3_load_55 | 60 | 0.0010983 | 0.00027525 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_983-5_0_3_load_56 | 61 | 0.0024462 | 0.00061308 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_983-5_0_3_load_52 | 62 | 0.0023991 | 0.00060127 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_983-5_0_3_load_50 | 63 | 0.001686 | 0.00042255 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_983-5_0_3_load_51 | 64 | 0.0028703 | 0.00071936 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_983-5_0_3_load_53 | 65 | 0.0019751 | 0.00049501 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_983-5_0_3_load_66 | 66 | 0.0037375 | 0.0009367 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_983-5_0_3_load_58 | 67 | 0.001226 | 0.00030728 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_983-5_0_3_load_59 | 68 | 0.0028987 | 0.00072649 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_983-5_0_3_load_60 | 69 | 0.0046918 | 0.0011759 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_983-5_0_3_load_61 | 70 | 0.00099514 | 0.00024941 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_983-5_0_3_load_62 | 71 | 0.0015072 | 0.00037774 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_983-5_0_3_load_70 | 72 | 0.00068521 | 0.00017173 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_983-5_0_3_load_69 | 73 | 0.0040936 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_983-5_0_3_load_89 | 74 | 0.0096322 | 0.002414 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_983-5_0_3_load_85 | 75 | 0.0029142 | 0.00073036 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_983-5_0_3_load_87 | 76 | 0.0022493 | 0.00056372 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_983-5_0_3_load_71 | 78 | 0.0028459 | 0.00071326 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_983-5_0_3_load_74 | 81 | 0.0013549 | 0.00033957 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_983-5_0_3_load_75 | 82 | 0.0013387 | 0.00033551 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_983-5_0_3_load_81 | 85 | 0.0010386 | 0.00026029 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_983-5_0_3_load_100 | 86 | 0.0042335 | 0.001061 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_983-5_0_3_load_102 | 87 | 0.0038108 | 0.00095508 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_983-5_0_3_load_93 | 88 | 0.003528 | 0.0008842 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_983-5_0_3_load_80 | 89 | 0.0057956 | 0.0014525 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_983-5_0_3_load_78 | 90 | 0.0034042 | 0.00085318 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_983-5_0_3_load_98 | 91 | 0.0012189 | 0.0003055 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_983-5_0_3_load_82 | 92 | 0.0056626 | 0.0014192 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_983-5_0_3_load_79 | 93 | 0.0015857 | 0.0003974 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_983-5_0_3_load_105 | 95 | 0.002768 | 0.00069373 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_983-5_0_3_load_103 | 96 | 0.0011989 | 0.00030046 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_983-5_0_3_load_106 | 97 | 0.004099 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_983-5_0_3_load_104 | 98 | 0.00083104 | 0.00020828 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_983-5_0_3_load_86 | 99 | 0.0016905 | 0.00042368 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_983-5_0_3_load_88 | 100 | 0.0051209 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_983-5_0_3_load_90 | 101 | 0.0047252 | 0.0011843 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_983-5_0_3_load_95 | 102 | 0.0031703 | 0.00079454 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_983-5_0_3_load_99 | 104 | 0.0022231 | 0.00055717 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_983-5_0_3_load_97 | 105 | 0.00351 | 0.00087969 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_983-5_0_3_load_112 | 107 | 0.0015985 | 0.00040062 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_983-5_0_3_load_107 | 109 | 0.0024375 | 0.0006109 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_983-5_0_3_load_109 | 111 | 0.00070302 | 0.00017619 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_983-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_983-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_983-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.034506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_983-5_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.015061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_983-5_0_3_line_4 | NAYY 4x150 SE | 1 | 5 | 0.035815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_983-5_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.052218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_983-5_0_3_line_6 | NAYY 4x150 SE | 3 | 9 | 0.026888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_983-5_0_3_line_7 | NAYY 4x150 SE | 3 | 10 | 0.050124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_983-5_0_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.026602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_983-5_0_3_line_9 | NAYY 4x150 SE | 5 | 8 | 0.015737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_983-5_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.017513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_983-5_0_3_line_11 | NAYY 4x150 SE | 7 | 28 | 0.0016483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_983-5_0_3_line_12 | NAYY 4x150 SE | 8 | 14 | 0.014724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_983-5_0_3_line_13 | NAYY 4x150 SE | 9 | 12 | 0.019852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_983-5_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.0046247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_983-5_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.014248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_983-5_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.0088614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_983-5_0_3_line_17 | NAYY 4x150 SE | 17 | 56 | 0.017421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_983-5_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.026548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_983-5_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.007146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_983-5_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.015774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_983-5_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.014014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_983-5_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.026516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_983-5_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.0036269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_983-5_0_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.016862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_983-5_0_3_line_25 | NAYY 4x150 SE | 23 | 26 | 0.00085468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_983-5_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.021411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_983-5_0_3_line_27 | NAYY 4x150 SE | 25 | 38 | 0.028045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_983-5_0_3_line_28 | NAYY 4x150 SE | 26 | 31 | 0.032483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_983-5_0_3_line_29 | NAYY 4x150 SE | 26 | 30 | 0.03229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_983-5_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0060685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_983-5_0_3_line_31 | NAYY 4x150 SE | 29 | 66 | 0.02041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_983-5_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.013891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_983-5_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.010942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_983-5_0_3_line_34 | NAYY 4x150 SE | 33 | 104 | 0.0059412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_983-5_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.012573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_983-5_0_3_line_36 | NAYY 4x150 SE | 35 | 88 | 0.034466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_983-5_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0064478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_983-5_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.014897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_983-5_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.0048264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_983-5_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.019958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_983-5_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.018545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_983-5_0_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.00074743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_983-5_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.042676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_983-5_0_3_line_44 | NAYY 4x150 SE | 44 | 53 | 0.026553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_983-5_0_3_line_45 | NAYY 4x150 SE | 44 | 48 | 0.03027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_983-5_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.0037986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_983-5_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.026237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_983-5_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.017777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_983-5_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0019484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_983-5_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.018966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_983-5_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.024917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_983-5_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.0077038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_983-5_0_3_line_53 | NAYY 4x150 SE | 51 | 54 | 0.015033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_983-5_0_3_line_54 | NAYY 4x150 SE | 51 | 55 | 0.03902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_983-5_0_3_line_55 | NAYY 4x150 SE | 52 | 62 | 0.015189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_983-5_0_3_line_56 | NAYY 4x150 SE | 52 | 59 | 0.031242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_983-5_0_3_line_57 | NAYY 4x150 SE | 53 | 60 | 0.015015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_983-5_0_3_line_58 | NAYY 4x150 SE | 54 | 73 | 0.0017956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_983-5_0_3_line_59 | NAYY 4x150 SE | 55 | 74 | 0.0048081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_983-5_0_3_line_60 | NAYY 4x150 SE | 55 | 75 | 0.024313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_983-5_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.002364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_983-5_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.022845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_983-5_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.013191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_983-5_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.0010084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_983-5_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.012351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_983-5_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.010085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_983-5_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.005449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_983-5_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.0055628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_983-5_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.002935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_983-5_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.0013848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_983-5_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.015631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_983-5_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.013635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_983-5_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0025799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_983-5_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0086889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_983-5_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.019715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_983-5_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.035637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_983-5_0_3_line_77 | NAYY 4x150 SE | 76 | 99 | 0.001298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_983-5_0_3_line_78 | NAYY 4x150 SE | 77 | 94 | 0.024058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_983-5_0_3_line_79 | NAYY 4x150 SE | 77 | 92 | 0.027638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_983-5_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.013728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_983-5_0_3_line_81 | NAYY 4x150 SE | 78 | 80 | 0.037199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_983-5_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.0010488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_983-5_0_3_line_83 | NAYY 4x150 SE | 79 | 82 | 0.019582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_983-5_0_3_line_84 | NAYY 4x150 SE | 80 | 83 | 0.025349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_983-5_0_3_line_85 | NAYY 4x150 SE | 80 | 84 | 0.01492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_983-5_0_3_line_86 | NAYY 4x150 SE | 81 | 85 | 0.020931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_983-5_0_3_line_87 | NAYY 4x150 SE | 82 | 86 | 0.019168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_983-5_0_3_line_88 | NAYY 4x150 SE | 83 | 87 | 0.022364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_983-5_0_3_line_89 | NAYY 4x150 SE | 83 | 88 | 0.016177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_983-5_0_3_line_90 | NAYY 4x150 SE | 84 | 89 | 0.0013989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_983-5_0_3_line_91 | NAYY 4x150 SE | 84 | 90 | 0.032138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_983-5_0_3_line_92 | NAYY 4x150 SE | 86 | 91 | 0.0015049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_983-5_0_3_line_93 | NAYY 4x150 SE | 89 | 92 | 0.030505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_983-5_0_3_line_94 | NAYY 4x150 SE | 90 | 93 | 0.024905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_983-5_0_3_line_95 | NAYY 4x150 SE | 91 | 104 | 0.018001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_983-5_0_3_line_96 | NAYY 4x150 SE | 94 | 95 | 0.021876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_983-5_0_3_line_97 | NAYY 4x150 SE | 94 | 96 | 0.009448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_983-5_0_3_line_98 | NAYY 4x150 SE | 95 | 97 | 0.017099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_983-5_0_3_line_99 | NAYY 4x150 SE | 96 | 98 | 0.010056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_983-5_0_3_line_100 | NAYY 4x150 SE | 99 | 100 | 0.00971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_983-5_0_3_line_101 | NAYY 4x150 SE | 100 | 101 | 0.012092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_983-5_0_3_line_102 | NAYY 4x150 SE | 101 | 102 | 0.013461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_983-5_0_3_line_103 | NAYY 4x150 SE | 102 | 103 | 0.0030854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_983-5_0_3_line_104 | NAYY 4x150 SE | 103 | 105 | 0.018287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_983-5_0_3_line_105 | NAYY 4x150 SE | 105 | 106 | 0.012276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_983-5_0_3_line_106 | NAYY 4x150 SE | 106 | 107 | 0.015799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_983-5_0_3_line_107 | NAYY 4x150 SE | 106 | 108 | 0.027991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_983-5_0_3_line_108 | NAYY 4x150 SE | 108 | 111 | 0.032442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_983-5_0_3_line_109 | NAYY 4x150 SE | 109 | 110 | 0.02125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_983-5_0_3_line_110 | NAYY 4x150 SE | 110 | 111 | 0.0099068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_983-5_0_3_trafo_56 | 0.25 MVA 20/0.4 kV | 112 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2617095.2825 | 1234110.4036 | 2617122.0216 | 1234127.1572
1 | 2617143.5899 | 1234141.5946 | 2617132.9846 | 1234134.0262 | 2617122.0216 | 1234127.1572
2 | 2617064.8333 | 1234094.0064 | 2617095.2825 | 1234110.4036
3 | 2617095.2825 | 1234110.4036 | 2617109.8982 | 1234106.7699
4 | 2617076.8922 | 1234141.1363 | 2617095.2825 | 1234110.4036
5 | 2617143.5899 | 1234141.5946 | 2617183.4545 | 1234175.322
6 | 2617064.8333 | 1234094.0064 | 2617055.8461 | 1234089.6114 | 2617040.7573 | 1234082.0362
7 | 2617064.8333 | 1234094.0064 | 2617080.6587 | 1234046.4458
8 | 2617076.8922 | 1234141.1363 | 2617062.3467 | 1234163.4095
9 | 2617076.8922 | 1234141.1363 | 2617062.4809 | 1234134.8142
10 | 2617183.4545 | 1234175.322 | 2617196.8246 | 1234186.6338
11 | 2617061.4454 | 1234164.7896 | 2617062.3467 | 1234163.4095
12 | 2617048.9969 | 1234128.8989 | 2617062.4809 | 1234134.8142
13 | 2617023.0157 | 1234073.1292 | 2617040.7573 | 1234082.0362
14 | 2617080.6587 | 1234046.4458 | 2617082.1188 | 1234042.0577 | 2617082.1188 | 1234042.0577
15 | 2617035.9492 | 1234123.1749 | 2617048.9969 | 1234128.8989
16 | 2616970.1407 | 1234114.6996 | 2616963.9423 | 1234108.3669
17 | 2616981.7837 | 1234127.6178 | 2616978.3408 | 1234123.0773 | 2616970.1407 | 1234114.6996
18 | 2617180.3373 | 1234249.466 | 2617194.7596 | 1234227.1774
19 | 2617180.3373 | 1234249.466 | 2617176.4523 | 1234255.4696
20 | 2617180.3373 | 1234249.466 | 2617193.8279 | 1234257.6405
21 | 2617176.4523 | 1234255.4696 | 2617168.9401 | 1234254.1361 | 2617162.653 | 1234253.0234
22 | 2617176.4523 | 1234255.4696 | 2617162.3749 | 1234277.9399
23 | 2617196.9298 | 1234259.52 | 2617193.8279 | 1234257.6405
24 | 2617162.653 | 1234253.0234 | 2617146.0493 | 1234250.0849
25 | 2617161.9212 | 1234278.6641 | 2617162.3749 | 1234277.9399
26 | 2617209.7142 | 1234243.6472 | 2617200.4814 | 1234258.8965 | 2617196.9298 | 1234259.52
27 | 2617118.3428 | 1234245.7966 | 2617130.305 | 1234247.2986 | 2617146.0493 | 1234250.0849
28 | 2617161.9212 | 1234278.6641 | 2617144.6604 | 1234306.209
29 | 2617161.9212 | 1234278.6641 | 2617181.2032 | 1234287.7808 | 2617189.4185 | 1234291.9848 | 2617190.7696 | 1234293.07
30 | 2617061.4454 | 1234164.7896 | 2617058.1273 | 1234169.8706
31 | 2617045.2998 | 1234185.7286 | 2617056.8978 | 1234171.7533 | 2617058.1273 | 1234169.8706
32 | 2617144.6604 | 1234306.209 | 2617137.5475 | 1234302.9199 | 2617131.6087 | 1234301.745
33 | 2617131.6087 | 1234301.745 | 2617120.8752 | 1234299.6214
34 | 2617120.8752 | 1234299.6214 | 2617115.047 | 1234298.4683
35 | 2617116.6568 | 1234353.1794 | 2617123.0481 | 1234342.352
36 | 2617116.6568 | 1234353.1794 | 2617082.6548 | 1234347.5432
37 | 2617110.5393 | 1234265.664 | 2617112.8966 | 1234259.6626
38 | 2617118.3428 | 1234245.7966 | 2617112.8966 | 1234259.6626
39 | 2617118.3428 | 1234245.7966 | 2617113.5541 | 1234245.194
40 | 2617093.7525 | 1234242.702 | 2617113.5541 | 1234245.194
41 | 2617093.7525 | 1234242.702 | 2617088.1418 | 1234260.3781
42 | 2617051.9758 | 1234233.6532 | 2617051.2569 | 1234233.4485
43 | 2617010.2128 | 1234221.7615 | 2617051.2569 | 1234233.4485
44 | 2617010.2128 | 1234221.7615 | 2617001.5456 | 1234246.8599
45 | 2617010.2128 | 1234221.7615 | 2616981.0201 | 1234213.451
46 | 2616967.5822 | 1234230.3312 | 2616969.948 | 1234227.3594
47 | 2616967.5822 | 1234230.3312 | 2616951.2414 | 1234250.8579
48 | 2616981.0201 | 1234213.451 | 2616969.948 | 1234227.3594
49 | 2616950.0279 | 1234252.3822 | 2616951.2414 | 1234250.8579
50 | 2616981.0201 | 1234213.451 | 2616992.7322 | 1234198.5334
51 | 2616934.509 | 1234271.8765 | 2616950.0279 | 1234252.3822
52 | 2616997.4896 | 1234192.474 | 2616992.7322 | 1234198.5334
53 | 2616934.509 | 1234271.8765 | 2616922.9715 | 1234262.2398
54 | 2616934.509 | 1234271.8765 | 2616912.2032 | 1234303.9327
55 | 2616997.4896 | 1234192.474 | 2617012.6694 | 1234191.9471
56 | 2616997.4896 | 1234192.474 | 2617000.5921 | 1234168.8574 | 2616998.5621 | 1234161.7176
57 | 2617014.5984 | 1234251.8463 | 2617001.207 | 1234247.8406 | 2617001.5456 | 1234246.8599
58 | 2616921.5933 | 1234261.0887 | 2616922.9715 | 1234262.2398
59 | 2616912.2032 | 1234303.9327 | 2616909.37 | 1234307.8175
60 | 2616912.2032 | 1234303.9327 | 2616935.6053 | 1234310.5236
61 | 2616981.7837 | 1234127.6178 | 2616983.2121 | 1234129.5016
62 | 2616983.2121 | 1234129.5016 | 2616989.29 | 1234137.5172 | 2616994.4787 | 1234149.2023
63 | 2616994.4787 | 1234149.2023 | 2616995.9384 | 1234152.4897 | 2616998.5621 | 1234161.7176
64 | 2617014.5984 | 1234251.8463 | 2617015.5645 | 1234252.1353
65 | 2617025.0134 | 1234191.5186 | 2617012.6694 | 1234191.9471
66 | 2617025.0134 | 1234191.5186 | 2617025.0134 | 1234191.5186 | 2617034.7109 | 1234188.7508
67 | 2617039.9507 | 1234187.2553 | 2617034.7109 | 1234188.7508
68 | 2617039.9507 | 1234187.2553 | 2617045.2998 | 1234185.7286 | 2617045.2998 | 1234185.7286
69 | 2616898.8361 | 1234248.018 | 2616896.4402 | 1234246.3227
70 | 2616898.8361 | 1234248.018 | 2616899.9665 | 1234248.8178
71 | 2616896.4402 | 1234246.3227 | 2616884.6198 | 1234237.9589 | 2616883.6242 | 1234237.382
72 | 2616911.841 | 1234255.4941 | 2616901.563 | 1234249.9475 | 2616899.9665 | 1234248.8178
73 | 2616911.841 | 1234255.4941 | 2616914.1113 | 1234256.7193
74 | 2616921.5933 | 1234261.0887 | 2616920.4716 | 1234260.1518 | 2616914.1113 | 1234256.7193
75 | 2616897.8941 | 1234323.8445 | 2616899.8557 | 1234320.8636 | 2616909.37 | 1234307.8175
76 | 2616969.9076 | 1234320.1843 | 2616935.6053 | 1234310.5236
77 | 2616897.1806 | 1234324.9288 | 2616897.8941 | 1234323.8445
78 | 2616969.9076 | 1234320.1843 | 2616963.0073 | 1234343.2343
79 | 2616969.9076 | 1234320.1843 | 2616996.6299 | 1234327.2406
80 | 2617057.4839 | 1234289.5934 | 2617053.3599 | 1234302.6869
81 | 2617042.1845 | 1234338.1681 | 2617053.3599 | 1234302.6869
82 | 2617057.4839 | 1234289.5934 | 2617056.4738 | 1234289.3113
83 | 2617057.4839 | 1234289.5934 | 2617076.8668 | 1234292.3799
84 | 2617042.1845 | 1234338.1681 | 2617066.6959 | 1234344.8978
85 | 2617027.5169 | 1234335.2133 | 2617042.1845 | 1234338.1681
86 | 2617036.5369 | 1234282.985 | 2617045.6178 | 1234286.2796 | 2617056.4738 | 1234289.3113
87 | 2617095.8398 | 1234295.1075 | 2617076.8668 | 1234292.3799
88 | 2617066.6959 | 1234344.8978 | 2617060.3764 | 1234366.3503
89 | 2617066.6959 | 1234344.8978 | 2617082.6548 | 1234347.5432
90 | 2617027.5169 | 1234335.2133 | 2617026.1457 | 1234334.9362
91 | 2617027.5169 | 1234335.2133 | 2617021.1423 | 1234362.2893 | 2617019.6398 | 1234366.3412
92 | 2617097.3294 | 1234295.3217 | 2617095.8398 | 1234295.1075
93 | 2616996.6299 | 1234327.2406 | 2617024.5592 | 1234334.6156 | 2617026.1457 | 1234334.9362
94 | 2617019.6398 | 1234366.3412 | 2617010.981 | 1234389.6929
95 | 2617097.3294 | 1234295.3217 | 2617103.9607 | 1234296.275 | 2617115.047 | 1234298.4683
96 | 2616963.0073 | 1234343.2343 | 2616956.7753 | 1234364.2042
97 | 2616963.0073 | 1234343.2343 | 2616970.4412 | 1234349.0655
98 | 2616956.7753 | 1234364.2042 | 2616951.9042 | 1234380.5949
99 | 2616970.4412 | 1234349.0655 | 2616978.3535 | 1234355.272
100 | 2616897.1806 | 1234324.9288 | 2616891.843 | 1234333.0401
101 | 2616885.1962 | 1234343.1408 | 2616891.843 | 1234333.0401
102 | 2616877.7968 | 1234354.3853 | 2616885.1962 | 1234343.1408
103 | 2616876.1007 | 1234356.9627 | 2616877.7968 | 1234354.3853
104 | 2616876.1007 | 1234356.9627 | 2616872.9605 | 1234362.0014 | 2616871.3632 | 1234364.7652 | 2616866.823 | 1234372.7186
105 | 2616860.7369 | 1234383.3798 | 2616866.823 | 1234372.7186
106 | 2616860.7369 | 1234383.3798 | 2616854.2162 | 1234379.4368 | 2616847.5934 | 1234374.638
107 | 2616852.9785 | 1234410.2743 | 2616854.7288 | 1234404.2533 | 2616860.7369 | 1234383.3798
108 | 2616852.9785 | 1234410.2743 | 2616884.8926 | 1234416.1051
109 | 2616894.6382 | 1234417.8857 | 2616912.9001 | 1234413.0678 | 2616914.9614 | 1234411.9122
110 | 2616894.6382 | 1234417.8857 | 2616884.8926 | 1234416.1051

## bus_geodata
| x | y | coords
0 | 2617122.0216 | 1234127.1572
1 | 2617095.2825 | 1234110.4036
2 | 2617143.5899 | 1234141.5946
3 | 2617064.8333 | 1234094.0064
4 | 2617109.8982 | 1234106.7699
5 | 2617076.8922 | 1234141.1363
6 | 2617183.4545 | 1234175.322
7 | 2617062.3467 | 1234163.4095
8 | 2617062.4809 | 1234134.8142
9 | 2617040.7573 | 1234082.0362
10 | 2617080.6587 | 1234046.4458
11 | 2617196.8246 | 1234186.6338
12 | 2617023.0157 | 1234073.1292
13 | 2617082.1188 | 1234042.0577
14 | 2617048.9969 | 1234128.8989
15 | 2617035.9492 | 1234123.1749
16 | 2616963.9423 | 1234108.3669
17 | 2616970.1407 | 1234114.6996
18 | 2617194.7596 | 1234227.1774
19 | 2617180.3373 | 1234249.4661
20 | 2617176.4523 | 1234255.4696
21 | 2617193.8279 | 1234257.6405
22 | 2617162.653 | 1234253.0234
23 | 2617162.3749 | 1234277.9399
24 | 2617196.9298 | 1234259.52
25 | 2617146.0493 | 1234250.0849
26 | 2617161.9212 | 1234278.6641
27 | 2617209.7142 | 1234243.6472
28 | 2617061.4454 | 1234164.7896
29 | 2617058.1273 | 1234169.8706
30 | 2617190.7696 | 1234293.07
31 | 2617144.6604 | 1234306.209
32 | 2617131.6087 | 1234301.745
33 | 2617120.8752 | 1234299.6214
34 | 2617123.0481 | 1234342.352
35 | 2617116.6568 | 1234353.1794
36 | 2617110.5393 | 1234265.664
37 | 2617112.8966 | 1234259.6626
38 | 2617118.3428 | 1234245.7966
39 | 2617113.5541 | 1234245.194
40 | 2617093.7525 | 1234242.702
41 | 2617088.1418 | 1234260.3781
42 | 2617051.9758 | 1234233.6532
43 | 2617051.2569 | 1234233.4485
44 | 2617010.2128 | 1234221.7615
45 | 2616967.5822 | 1234230.3312
46 | 2616969.948 | 1234227.3594
47 | 2616951.2414 | 1234250.8579
48 | 2616981.0201 | 1234213.451
49 | 2616950.0279 | 1234252.3822
50 | 2616992.7322 | 1234198.5334
51 | 2616934.509 | 1234271.8765
52 | 2616997.4896 | 1234192.474
53 | 2617001.5456 | 1234246.8599
54 | 2616922.9715 | 1234262.2398
55 | 2616912.2032 | 1234303.9327
56 | 2616981.7837 | 1234127.6178
57 | 2616983.2121 | 1234129.5016
58 | 2616994.4787 | 1234149.2023
59 | 2616998.5621 | 1234161.7176
60 | 2617014.5984 | 1234251.8463
61 | 2617015.5645 | 1234252.1353
62 | 2617012.6694 | 1234191.9471
63 | 2617025.0134 | 1234191.5186
64 | 2617034.7109 | 1234188.7508
65 | 2617039.9507 | 1234187.2553
66 | 2617045.2998 | 1234185.7286
67 | 2616898.8361 | 1234248.018
68 | 2616896.4402 | 1234246.3227
69 | 2616899.9665 | 1234248.8178
70 | 2616883.6242 | 1234237.382
71 | 2616911.841 | 1234255.4941
72 | 2616914.1113 | 1234256.7193
73 | 2616921.5933 | 1234261.0887
74 | 2616909.37 | 1234307.8175
75 | 2616935.6053 | 1234310.5236
76 | 2616897.8941 | 1234323.8445
77 | 2616969.9076 | 1234320.1843
78 | 2617053.3599 | 1234302.6869
79 | 2617057.4839 | 1234289.5934
80 | 2617042.1845 | 1234338.1681
81 | 2617056.4738 | 1234289.3113
82 | 2617076.8668 | 1234292.3799
83 | 2617066.6959 | 1234344.8978
84 | 2617027.5169 | 1234335.2133
85 | 2617036.5369 | 1234282.985
86 | 2617095.8398 | 1234295.1075
87 | 2617060.3764 | 1234366.3503
88 | 2617082.6548 | 1234347.5432
89 | 2617026.1457 | 1234334.9362
90 | 2617019.6398 | 1234366.3412
91 | 2617097.3294 | 1234295.3217
92 | 2616996.6299 | 1234327.2406
93 | 2617010.981 | 1234389.6929
94 | 2616963.0073 | 1234343.2343
95 | 2616956.7753 | 1234364.2042
96 | 2616970.4412 | 1234349.0655
97 | 2616951.9042 | 1234380.5949
98 | 2616978.3535 | 1234355.272
99 | 2616897.1806 | 1234324.9288
100 | 2616891.843 | 1234333.0401
101 | 2616885.1962 | 1234343.1408
102 | 2616877.7968 | 1234354.3853
103 | 2616876.1007 | 1234356.9627
104 | 2617115.047 | 1234298.4683
105 | 2616866.823 | 1234372.7186
106 | 2616860.7369 | 1234383.3798
107 | 2616847.5934 | 1234374.638
108 | 2616852.9785 | 1234410.2743
109 | 2616914.9614 | 1234411.9122
110 | 2616894.6382 | 1234417.8857
111 | 2616884.8926 | 1234416.1051
112 | 2617019.9696 | 1234253.453

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1