## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_985-1_3_3_node_256 | 0.4 | n |  | TRUE
1 | bus_LV_985-1_3_3_node_255 | 0.4 | n |  | TRUE
2 | bus_LV_985-1_3_3_node_339 | 0.4 | n |  | TRUE
3 | bus_LV_985-1_3_3_node_257 | 0.4 | n |  | TRUE
4 | bus_LV_985-1_3_3_node_285 | 0.4 | n |  | TRUE
5 | bus_LV_985-1_3_3_node_258 | 0.4 | n |  | TRUE
6 | bus_LV_985-1_3_3_node_254 | 0.4 | n |  | TRUE
7 | bus_LV_985-1_3_3_node_284 | 0.4 | n |  | TRUE
8 | bus_LV_985-1_3_3_node_259 | 0.4 | n |  | TRUE
9 | bus_LV_985-1_3_3_node_248 | 0.4 | n |  | TRUE
10 | bus_LV_985-1_3_3_node_280 | 0.4 | n |  | TRUE
11 | bus_LV_985-1_3_3_node_273 | 0.4 | n |  | TRUE
12 | bus_LV_985-1_3_3_node_281 | 0.4 | n |  | TRUE
13 | bus_LV_985-1_3_3_node_282 | 0.4 | n |  | TRUE
14 | bus_LV_985-1_3_3_node_283 | 0.4 | n |  | TRUE
15 | bus_LV_985-1_3_3_node_286 | 0.4 | n |  | TRUE
16 | bus_LV_985-1_3_3_node_247 | 0.4 | n |  | TRUE
17 | bus_LV_985-1_3_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_985-1_3_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_985-1_3_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_985-1_3_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_985-1_3_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_985-1_3_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_985-1_3_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_985-1_3_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_985-1_3_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_985-1_3_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_985-1_3_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_985-1_3_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_985-1_3_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_985-1_3_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_985-1_3_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_985-1_3_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_985-1_3_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_985-1_3_3_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_985-1_3_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_985-1_3_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_985-1_3_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_985-1_3_3_node_240 | 0.4 | n |  | TRUE
39 | bus_LV_985-1_3_3_node_239 | 0.4 | n |  | TRUE
40 | bus_LV_985-1_3_3_node_251 | 0.4 | n |  | TRUE
41 | bus_LV_985-1_3_3_node_349 | 0.4 | n |  | TRUE
42 | bus_LV_985-1_3_3_node_444 | 0.4 | n |  | TRUE
43 | bus_LV_985-1_3_3_node_445 | 0.4 | n |  | TRUE
44 | bus_LV_985-1_3_3_node_354 | 0.4 | n |  | TRUE
45 | bus_LV_985-1_3_3_node_446 | 0.4 | n |  | TRUE
46 | bus_LV_985-1_3_3_node_355 | 0.4 | n |  | TRUE
47 | bus_LV_985-1_3_3_node_452 | 0.4 | n |  | TRUE
48 | bus_LV_985-1_3_3_node_447 | 0.4 | n |  | TRUE
49 | bus_LV_985-1_3_3_node_448 | 0.4 | n |  | TRUE
50 | bus_LV_985-1_3_3_node_449 | 0.4 | n |  | TRUE
51 | bus_LV_985-1_3_3_node_450 | 0.4 | n |  | TRUE
52 | bus_LV_985-1_3_3_node_451 | 0.4 | n |  | TRUE
53 | bus_LV_985-1_3_3_node_241 | 0.4 | n |  | TRUE
54 | bus_LV_985-1_3_3_node_335 | 0.4 | n |  | TRUE
55 | bus_LV_985-1_3_3_node_336 | 0.4 | n |  | TRUE
56 | bus_LV_985-1_3_3_node_337 | 0.4 | n |  | TRUE
57 | bus_LV_985-1_3_3_node_338 | 0.4 | n |  | TRUE
58 | bus_LV_985-1_3_3_node_242 | 0.4 | n |  | TRUE
59 | bus_LV_985-1_3_3_node_243 | 0.4 | n |  | TRUE
60 | bus_LV_985-1_3_3_node_245 | 0.4 | n |  | TRUE
61 | bus_LV_985-1_3_3_node_250 | 0.4 | n |  | TRUE
62 | bus_MV_0_node_349 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_985-1_3_3_load_339 | 2 | 0.00049837 | 0.0001249 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_985-1_3_3_load_285 | 4 | 0.0012226 | 0.00030642 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_985-1_3_3_load_254 | 6 | 0.00053459 | 0.00013398 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_985-1_3_3_load_284 | 7 | 0.00044084 | 0.00011048 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_985-1_3_3_load_259 | 8 | 0.00042062 | 0.00010542 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_985-1_3_3_load_280 | 10 | 0.00024918 | 6.2451e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_985-1_3_3_load_281 | 12 | 0.00017705 | 4.4372e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_985-1_3_3_load_282 | 13 | 0.0017465 | 0.00043772 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_985-1_3_3_load_283 | 14 | 0.00027442 | 6.8776e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_985-1_3_3_load_286 | 15 | 0.00079476 | 0.00019919 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_985-1_3_3_load_24 | 17 | 0.0044131 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_985-1_3_3_load_25 | 18 | 0.00043718 | 0.00010957 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_985-1_3_3_load_26 | 19 | 0.0021225 | 0.00053194 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_985-1_3_3_load_27 | 20 | 0.0003493 | 8.7544e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_985-1_3_3_load_29 | 22 | 0.00081006 | 0.00020302 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_985-1_3_3_load_32 | 26 | 0.00094417 | 0.00023663 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_985-1_3_3_load_33 | 27 | 0.00096237 | 0.00024119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_985-1_3_3_load_37 | 28 | 0.0046522 | 0.0011659 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_985-1_3_3_load_39 | 29 | 0.00063699 | 0.00015965 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_985-1_3_3_load_34 | 30 | 0.000344 | 8.6214e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_985-1_3_3_load_35 | 31 | 0.00073093 | 0.00018319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_985-1_3_3_load_43 | 33 | 0.0005716 | 0.00014326 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_985-1_3_3_load_40 | 34 | 0.0003803 | 9.5312e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_985-1_3_3_load_44 | 36 | 0.00032268 | 8.0872e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_985-1_3_3_load_239 | 39 | 0.00075705 | 0.00018974 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_985-1_3_3_load_349 | 41 | 0.00094149 | 0.00023596 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_985-1_3_3_load_444 | 42 | 0.0001062 | 2.6616e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_985-1_3_3_load_445 | 43 | 0.00010455 | 2.6201e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_985-1_3_3_load_355 | 46 | 0.00098203 | 0.00024612 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_985-1_3_3_load_452 | 47 | 0.00072408 | 0.00018147 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_985-1_3_3_load_447 | 48 | 0.0001813 | 4.5437e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_985-1_3_3_load_450 | 51 | 0.0013043 | 0.00032688 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_985-1_3_3_load_451 | 52 | 0.00029671 | 7.4363e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_985-1_3_3_load_335 | 54 | 0.0022273 | 0.00055822 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_985-1_3_3_load_336 | 55 | 0.00090488 | 0.00022678 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_985-1_3_3_load_337 | 56 | 0.0010148 | 0.00025433 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_985-1_3_3_load_338 | 57 | 0.00023947 | 6.0017e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_985-1_3_3_load_242 | 58 | 0.0010209 | 0.00025586 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_985-1_3_3_load_245 | 60 | 0.0018246 | 0.00045728 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_985-1_3_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.29138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_985-1_3_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.03349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_985-1_3_3_line_2 | NAYY 4x150 SE | 1 | 7 | 0.034146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_985-1_3_3_line_3 | NAYY 4x150 SE | 2 | 56 | 0.016706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_985-1_3_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_985-1_3_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.04726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_985-1_3_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.019417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_985-1_3_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0069021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_985-1_3_3_line_8 | NAYY 4x150 SE | 6 | 40 | 0.26431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_985-1_3_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.006088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_985-1_3_3_line_10 | NAYY 4x150 SE | 9 | 16 | 0.53107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_985-1_3_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.019564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_985-1_3_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.013936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_985-1_3_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.034879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_985-1_3_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.038119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_985-1_3_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.009518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_985-1_3_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.069188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_985-1_3_3_line_17 | NAYY 4x150 SE | 16 | 61 | 0.14337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_985-1_3_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.019329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_985-1_3_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.064145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_985-1_3_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0095999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_985-1_3_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.027861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_985-1_3_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0046431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_985-1_3_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.017585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_985-1_3_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.091578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_985-1_3_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.02658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_985-1_3_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.0048928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_985-1_3_3_line_27 | NAYY 4x150 SE | 24 | 35 | 0.26985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_985-1_3_3_line_28 | NAYY 4x150 SE | 24 | 32 | 0.2096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_985-1_3_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.00089925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_985-1_3_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.018265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_985-1_3_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.011837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_985-1_3_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.034269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_985-1_3_3_line_33 | NAYY 4x150 SE | 29 | 34 | 0.021154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_985-1_3_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.04184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_985-1_3_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.55297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_985-1_3_3_line_36 | NAYY 4x150 SE | 33 | 38 | 0.073744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_985-1_3_3_line_37 | NAYY 4x150 SE | 33 | 39 | 0.053388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_985-1_3_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.21055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_985-1_3_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.018921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_985-1_3_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.65348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_985-1_3_3_line_41 | NAYY 4x150 SE | 37 | 41 | 0.2379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_985-1_3_3_line_42 | NAYY 4x150 SE | 38 | 53 | 0.54614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_985-1_3_3_line_43 | NAYY 4x150 SE | 40 | 60 | 0.14456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_985-1_3_3_line_44 | NAYY 4x150 SE | 40 | 61 | 0.14973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_985-1_3_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.01528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_985-1_3_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.018337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_985-1_3_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.03154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_985-1_3_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.067243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_985-1_3_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.1149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_985-1_3_3_line_50 | NAYY 4x150 SE | 47 | 50 | 0.010912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_985-1_3_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.073509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_985-1_3_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.029961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_985-1_3_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.3895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_985-1_3_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.021612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_985-1_3_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.0091926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_985-1_3_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.013413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_985-1_3_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.0017932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_985-1_3_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.021406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_985-1_3_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.018063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_985-1_3_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.04181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_985-1_3_3_trafo_349 | 0.25 MVA 20/0.4 kV | 62 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2621254.8393 | 1220396.0701 | 2621387.5282 | 1220292.9285 | 2621429.1129 | 1220275.6453 | 2621440.1146 | 1220279.6538 | 2621474.1779 | 1220284.3011 | 2621506.2209 | 1220287.4405
1 | 2621254.8393 | 1220396.0701 | 2621274.6019 | 1220423.1071
2 | 2621506.2209 | 1220287.4405 | 2621524.6509 | 1220287.0066 | 2621540.2701 | 1220285.3096
3 | 2621274.6019 | 1220423.1071 | 2621284.4604 | 1220436.5943
4 | 2621543.0795 | 1220244.9042 | 2621539.9938 | 1220250.6075 | 2621531.5596 | 1220258.3482
5 | 2621543.0795 | 1220244.9042 | 2621552.2988 | 1220250.8632 | 2621555.5448 | 1220261.6923 | 2621553.2169 | 1220276.0366 | 2621547.1318 | 1220284.5641
6 | 2621547.1318 | 1220284.5641 | 2621565.0462 | 1220286.1408 | 2621566.4732 | 1220286.2787
7 | 2621547.1318 | 1220284.5641 | 2621540.2701 | 1220285.3096
8 | 2621829.8608 | 1220303.6798 | 2621822.334 | 1220303.8857 | 2621757.1485 | 1220299.6454 | 2621678.5307 | 1220290.1095 | 2621626.937 | 1220291.023 | 2621594.7079 | 1220289.0163 | 2621584.8788 | 1220288.058 | 2621566.4732 | 1220286.2787
9 | 2622001.0279 | 1220889.8151 | 2622005.783 | 1220893.6168
10 | 2621764.0278 | 1220477.0067 | 2621778.9195 | 1220481.3747 | 2621791.5922 | 1220484.6561 | 2621808.1819 | 1220491.4762 | 2621816.4909 | 1220495.1531 | 2621822.9843 | 1220495.3548 | 2621864.2591 | 1220558.4757 | 2621918.6889 | 1220658.4778 | 2621940.6201 | 1220743.3299 | 2621941.7031 | 1220793.3407 | 2621932.7756 | 1220850.7524 | 2621996.5196 | 1220876.0127 | 2622000.6663 | 1220880.8974 | 2622001.0279 | 1220889.8151
11 | 2621646.9312 | 1220413.6332 | 2621656.6051 | 1220411.2891 | 2621666.2039 | 1220410.8237
12 | 2621673.9845 | 1220422.1807 | 2621670.9803 | 1220415.8773 | 2621666.2039 | 1220410.8237
13 | 2621646.9312 | 1220413.6332 | 2621660.4314 | 1220445.7936
14 | 2621687.1776 | 1220461.8378 | 2621687.0035 | 1220461.7621 | 2621676.7792 | 1220465.2825 | 2621666.4874 | 1220460.22 | 2621660.4314 | 1220445.7936
15 | 2621687.1776 | 1220461.8378 | 2621695.9063 | 1220465.6328
16 | 2621764.0278 | 1220477.0067 | 2621747.6175 | 1220475.068 | 2621699.1229 | 1220467.0314 | 2621695.9063 | 1220465.6328
17 | 2621764.0278 | 1220477.0067 | 2621799.1841 | 1220456.2118 | 2621796.9357 | 1220442.4289 | 2621797.3616 | 1220429.6675 | 2621803.0082 | 1220402.0943 | 2621806.5497 | 1220410.7901 | 2621813.3506 | 1220416.1514 | 2621829.3376 | 1220411.4737 | 2621838.7321 | 1220402.5807
18 | 2622031.86 | 1219440.2993 | 2622031.86 | 1219440.2993 | 2622034.8172 | 1219447.0252 | 2622037.5205 | 1219454.684 | 2622038.1844 | 1219458.4861
19 | 2621987.4673 | 1219394.6469 | 2621990.3294 | 1219397.577 | 2622002.6784 | 1219409.018 | 2622020.6821 | 1219424.0709 | 2622027.1168 | 1219432.2771 | 2622031.86 | 1219440.2993
20 | 2622039.8354 | 1219467.943 | 2622038.1844 | 1219458.4861
21 | 2621972.0921 | 1219371.7172 | 2621977.4616 | 1219382.7767 | 2621982.014 | 1219389.0637 | 2621987.4673 | 1219394.6469
22 | 2622040.634 | 1219472.5169 | 2622039.8354 | 1219467.943
23 | 2621972.0921 | 1219371.7172 | 2621982.2522 | 1219357.3463
24 | 2621992.9288 | 1219548.8074 | 2622022.6158 | 1219510.7948 | 2622035.7517 | 1219493.9669 | 2622040.0556 | 1219475.0496 | 2622040.634 | 1219472.5169
25 | 2621959.3627 | 1219344.021 | 2621967.4162 | 1219347.4304 | 2621974.5135 | 1219352.9486 | 2621982.2522 | 1219357.3463
26 | 2621982.2522 | 1219357.3463 | 2621983.8312 | 1219355.1063 | 2621985.9642 | 1219354.8186
27 | 2621797.6753 | 1219722.6477 | 2621817.6545 | 1219676.6385 | 2621846.1219 | 1219643.8236 | 2621874.5966 | 1219625.6617 | 2621905.2394 | 1219612.233 | 2621939.3853 | 1219595.3485 | 2621964.0837 | 1219578.7408 | 2621992.9288 | 1219548.8074
28 | 2621992.9288 | 1219548.8074 | 2621998.0257 | 1219557.5979 | 2621999.0718 | 1219576.4016 | 2621998.5323 | 1219601.314 | 2621990.5658 | 1219625.8655 | 2621983.1706 | 1219641.603 | 2621972.4267 | 1219658.0174 | 2621957.8904 | 1219678.2089 | 2621943.5876 | 1219694.7771 | 2621937.3011 | 1219706.1828 | 2621938.5496 | 1219713.3137 | 2621944.6478 | 1219722.1635 | 2621958.4793 | 1219728.5069
29 | 2621959.3627 | 1219344.021 | 2621958.9538 | 1219343.2201
30 | 2621985.9642 | 1219354.8186 | 2621994.4217 | 1219353.6778 | 2622002.9486 | 1219358.3675
31 | 2621958.9538 | 1219343.2201 | 2621953.8404 | 1219333.2056 | 2621953.4373 | 1219332.7714
32 | 2622031.9369 | 1219376.2736 | 2622031.9369 | 1219376.2736 | 2622015.5308 | 1219368.2863 | 2622002.9486 | 1219358.3675
33 | 2621953.4373 | 1219332.7714 | 2621947.2724 | 1219326.1329 | 2621939.2533 | 1219317.4873 | 2621938.9948 | 1219317.3303
34 | 2622073.4258 | 1219376.5109 | 2622066.0171 | 1219377.6558 | 2622051.2837 | 1219379.0466 | 2622031.9369 | 1219376.2736
35 | 2622388.8098 | 1219871.243 | 2622378.3714 | 1219868.758 | 2622372.5874 | 1219867.38 | 2622360.7081 | 1219858.6082 | 2622353.6265 | 1219847.1417 | 2622350.9256 | 1219832.9011 | 2622352.1505 | 1219825.9238 | 2622356.528 | 1219805.7952 | 2622364.3895 | 1219777.197 | 2622365.305 | 1219773.854 | 2622364.632 | 1219763.112 | 2622356.4647 | 1219751.7859 | 2622340.721 | 1219739.531 | 2622305.3942 | 1219721.0661 | 2622282.5478 | 1219715.0439 | 2622255.7523 | 1219714.0546 | 2622230.057 | 1219717.1051 | 2622195.5718 | 1219725.2037 | 2622166.8347 | 1219728.0653 | 2622081.0809 | 1219732.0165 | 2622030.1026 | 1219733.4513 | 2621974.4392 | 1219731.7341 | 2621958.4793 | 1219728.5069
36 | 2622388.8098 | 1219871.243 | 2622398.2509 | 1219872.6348 | 2622423.3435 | 1219876.3422 | 2622461.7546 | 1219883.3573
37 | 2622388.8098 | 1219871.243 | 2622395.4265 | 1219867.0765 | 2622410.5647 | 1219862.653 | 2622397.9574 | 1219859.8596 | 2622388.9678 | 1219857.4578 | 2622383.2945 | 1219852.4322
38 | 2621874.554 | 1219535.8318 | 2621837.7538 | 1219579.2334 | 2621812.6504 | 1219619.565 | 2621799.2473 | 1219659.9283 | 2621792.8827 | 1219694.8808 | 2621797.6753 | 1219722.6477
39 | 2621797.6753 | 1219722.6477 | 2621789.0171 | 1219739.4814
40 | 2621789.0171 | 1219739.4814 | 2621772.0162 | 1219772.0272 | 2621755.1042 | 1219805.1959 | 2621691.7195 | 1219944.8684 | 2621696.6263 | 1219970.5122 | 2621698.5284 | 1219991.9982 | 2621708.0464 | 1220009.7653 | 2621723.0239 | 1220024.2504 | 2621731.9695 | 1220038.7358 | 2621733.2293 | 1220055.3278 | 2621733.3967 | 1220067.68 | 2621724.2883 | 1220083.3448 | 2621745.9275 | 1220122.6797 | 2621759.0322 | 1220147.1416 | 2621764.8851 | 1220162.8721 | 2621780.4951 | 1220161.8951 | 2621791.833 | 1220165.2273 | 2621815.8962 | 1220178.4116 | 2621822.101 | 1220185.0048 | 2621826.8444 | 1220199.1081 | 2621827.0806 | 1220296.3431 | 2621829.8608 | 1220303.6798
41 | 2621789.0171 | 1219739.4814 | 2621794.405 | 1219751.7415 | 2621802.7562 | 1219762.8673 | 2621820.6379 | 1219775.8624 | 2621852.7937 | 1219792.4229 | 2621903.6089 | 1219812.5541 | 2621928.5639 | 1219824.9639 | 2621952.9232 | 1219830.1231 | 2621962.3622 | 1219832.1256 | 2621990.8797 | 1219837.2113 | 2621997.1567 | 1219837.1328
42 | 2622461.7546 | 1219883.3573 | 2622466.3588 | 1219885.7315 | 2622479.2777 | 1219892.3951 | 2622486.7973 | 1219896.2701 | 2622512.527 | 1219914.0885 | 2622530.4951 | 1219931.8221 | 2622542.5391 | 1219947.0987 | 2622546.9063 | 1219961.9793 | 2622545.2752 | 1219977.9936 | 2622542.7347 | 1219991.7253 | 2622546.3322 | 1220003.479 | 2622553.8249 | 1220010.4002 | 2622566.5801 | 1220014.1061 | 2622579.0439 | 1220020.6459 | 2622599.9552 | 1220040.392 | 2622616.5546 | 1220062.7679 | 2622625.4745 | 1220089.4505 | 2622628.7224 | 1220099.2796 | 2622632.4354 | 1220110.5113 | 2622634.7034 | 1220138.6584 | 2622632.5923 | 1220141.1519 | 2622626.926 | 1220152.8594 | 2622623.0895 | 1220160.1936 | 2622608.014 | 1220170.2534 | 2622578.6307 | 1220190.0204 | 2622565.1544 | 1220202.5545 | 2622557.7872 | 1220212.6659 | 2622554.0628 | 1220230.5066 | 2622554.1369 | 1220275.1328 | 2622548.1368 | 1220290.9304 | 2622542.0305 | 1220312.7089
43 | 2621829.8608 | 1220303.6798 | 2621837.656 | 1220306.8657 | 2621869.8066 | 1220311.6306 | 2621890.1216 | 1220310.2153 | 2621900.01 | 1220303.2364 | 2621909.619 | 1220287.6515 | 2621916.7121 | 1220281.6296 | 2621925.0423 | 1220281.6602 | 2621929.0609 | 1220286.4555 | 2621929.2659 | 1220298.7967 | 2621924.9522 | 1220314.8511
44 | 2621829.8608 | 1220303.6798 | 2621823.4526 | 1220334.0962 | 2621803.0082 | 1220402.0943 | 2621806.5497 | 1220410.7901 | 2621813.3506 | 1220416.1514 | 2621829.3376 | 1220411.4737 | 2621838.7321 | 1220402.5807
45 | 2622545.0288 | 1220711.9077 | 2622558.2038 | 1220710.5233 | 2622560.189 | 1220710.0861
46 | 2622578.0292 | 1220705.8844 | 2622574.6798 | 1220706.8946 | 2622560.189 | 1220710.0861
47 | 2622578.0292 | 1220705.8844 | 2622578.2045 | 1220703.6727 | 2622585.5606 | 1220694.3284 | 2622583.8896 | 1220682.8488 | 2622580.6458 | 1220677.9892
48 | 2622580.6458 | 1220677.9892 | 2622589.1916 | 1220675.0309 | 2622603.5238 | 1220688.6264 | 2622618.2308 | 1220709.4053 | 2622620.7768 | 1220722.1417
49 | 2622580.6458 | 1220677.9892 | 2622575.3536 | 1220675.1787 | 2622567.9946 | 1220675.2398 | 2622562.3206 | 1220679.1095 | 2622552.7336 | 1220682.553 | 2622546.3445 | 1220682.9291 | 2622538.6489 | 1220681.7327 | 2622532.4032 | 1220678.296 | 2622525.3227 | 1220672.8995 | 2622515.38 | 1220658.0422 | 2622504.9995 | 1220628.5082 | 2622504.0725 | 1220623.5015
50 | 2622502.2747 | 1220612.7443 | 2622502.5236 | 1220615.1355 | 2622504.0725 | 1220623.5015
51 | 2622588.9826 | 1220569.9357 | 2622577.4149 | 1220573.5052 | 2622553.6928 | 1220585.3335 | 2622539.0683 | 1220590.7925 | 2622522.2156 | 1220593.6417 | 2622520.1868 | 1220594.4753
52 | 2622502.2747 | 1220612.7443 | 2622501.4037 | 1220604.325 | 2622505.2489 | 1220600.604 | 2622514.7618 | 1220596.7043 | 2622520.1868 | 1220594.4753
53 | 2622588.9826 | 1220569.9357 | 2622607.4836 | 1220560.5447 | 2622636.7032 | 1220547.4812 | 2622651.226 | 1220538.9091 | 2622660.3866 | 1220531.9509 | 2622670.9901 | 1220518.6056 | 2622676.1008 | 1220507.3073 | 2622676.8509 | 1220499.5835 | 2622675.5398 | 1220491.2403 | 2622672.9569 | 1220484.1709 | 2622666.3815 | 1220475.6076 | 2622658.9807 | 1220466.6298 | 2622645.8648 | 1220456.2852 | 2622630.2725 | 1220446.7538 | 2622599.4664 | 1220435.8975 | 2622541.1416 | 1220417.4886 | 2622528.9716 | 1220407.7147 | 2622525.3548 | 1220395.116 | 2622526.6298 | 1220380.9237 | 2622530.0084 | 1220374.2214 | 2622534.316 | 1220354.5818 | 2622535.2919 | 1220349.2824 | 2622540.3649 | 1220321.7493
54 | 2622502.2747 | 1220612.7443 | 2622488.8611 | 1220595.7986
55 | 2622542.0305 | 1220312.7089 | 2622540.3649 | 1220321.7493
56 | 2621285.5186 | 1220438.042 | 2621293.4339 | 1220448.8708
57 | 2621285.5186 | 1220438.042 | 2621284.4604 | 1220436.5943
58 | 2621293.4339 | 1220448.8708 | 2621306.0658 | 1220466.1523
59 | 2621932.2454 | 1220346.8578 | 2621935.0374 | 1220355.095 | 2621935.6338 | 1220362.0902 | 2621935.2631 | 1220364.4054
60 | 2621932.2454 | 1220346.8578 | 2621924.3382 | 1220347.3512 | 2621921.1145 | 1220343.048 | 2621921.8303 | 1220331.9887 | 2621924.4046 | 1220316.8894 | 2621924.9522 | 1220314.8511

## bus_geodata
| x | y | coords
0 | 2621254.8393 | 1220396.0701
1 | 2621506.2209 | 1220287.4405
2 | 2621274.6019 | 1220423.1071
3 | 2621543.0795 | 1220244.9042
4 | 2621531.5596 | 1220258.3482
5 | 2621547.1318 | 1220284.5641
6 | 2621566.4732 | 1220286.2787
7 | 2621540.2701 | 1220285.3096
8 | 2622005.783 | 1220893.6168
9 | 2622001.0279 | 1220889.8151
10 | 2621666.2039 | 1220410.8237
11 | 2621646.9312 | 1220413.6332
12 | 2621673.9845 | 1220422.1807
13 | 2621660.4314 | 1220445.7936
14 | 2621687.1776 | 1220461.8378
15 | 2621695.9063 | 1220465.6329
16 | 2621764.0278 | 1220477.0067
17 | 2622031.86 | 1219440.2993
18 | 2622038.1844 | 1219458.4861
19 | 2621987.4673 | 1219394.6469
20 | 2622039.8354 | 1219467.943
21 | 2621972.0921 | 1219371.7172
22 | 2622040.634 | 1219472.5169
23 | 2621982.2522 | 1219357.3463
24 | 2621992.9288 | 1219548.8074
25 | 2621959.3627 | 1219344.021
26 | 2621985.9642 | 1219354.8186
27 | 2621958.9538 | 1219343.2201
28 | 2622002.9486 | 1219358.3675
29 | 2621953.4373 | 1219332.7714
30 | 2622073.4258 | 1219376.5109
31 | 2622031.9369 | 1219376.2736
32 | 2621958.4793 | 1219728.5069
33 | 2622388.8098 | 1219871.243
34 | 2621938.9948 | 1219317.3303
35 | 2621797.6753 | 1219722.6477
36 | 2621874.554 | 1219535.8318
37 | 2621789.0171 | 1219739.4814
38 | 2622461.7546 | 1219883.3573
39 | 2622383.2945 | 1219852.4322
40 | 2621829.8608 | 1220303.6798
41 | 2621997.1567 | 1219837.1328
42 | 2622545.0288 | 1220711.9077
43 | 2622560.189 | 1220710.0861
44 | 2622578.0292 | 1220705.8844
45 | 2622580.6458 | 1220677.9892
46 | 2622620.7768 | 1220722.1417
47 | 2622504.0725 | 1220623.5015
48 | 2622520.1868 | 1220594.4753
49 | 2622588.9826 | 1220569.9357
50 | 2622502.2747 | 1220612.7443
51 | 2622540.3649 | 1220321.7493
52 | 2622488.8611 | 1220595.7986
53 | 2622542.0305 | 1220312.7089
54 | 2621285.5186 | 1220438.042
55 | 2621293.4339 | 1220448.8708
56 | 2621284.4604 | 1220436.5943
57 | 2621306.0658 | 1220466.1523
58 | 2621935.2631 | 1220364.4054
59 | 2621932.2454 | 1220346.8578
60 | 2621924.9522 | 1220314.8511
61 | 2621838.7321 | 1220402.5807
62 | 2621997.1567 | 1219837.1328

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1