## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_985-1_4_2_node_115 | 0.4 | n |  | TRUE
1 | bus_LV_985-1_4_2_node_414 | 0.4 | n |  | TRUE
2 | bus_LV_985-1_4_2_node_331 | 0.4 | n |  | TRUE
3 | bus_LV_985-1_4_2_node_120 | 0.4 | n |  | TRUE
4 | bus_LV_985-1_4_2_node_418 | 0.4 | n |  | TRUE
5 | bus_LV_985-1_4_2_node_416 | 0.4 | n |  | TRUE
6 | bus_LV_985-1_4_2_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_985-1_4_2_node_305 | 0.4 | n |  | TRUE
8 | bus_LV_985-1_4_2_node_263 | 0.4 | n |  | TRUE
9 | bus_LV_985-1_4_2_node_264 | 0.4 | n |  | TRUE
10 | bus_LV_985-1_4_2_node_265 | 0.4 | n |  | TRUE
11 | bus_LV_985-1_4_2_node_266 | 0.4 | n |  | TRUE
12 | bus_LV_985-1_4_2_node_267 | 0.4 | n |  | TRUE
13 | bus_LV_985-1_4_2_node_274 | 0.4 | n |  | TRUE
14 | bus_LV_985-1_4_2_node_270 | 0.4 | n |  | TRUE
15 | bus_LV_985-1_4_2_node_268 | 0.4 | n |  | TRUE
16 | bus_LV_985-1_4_2_node_269 | 0.4 | n |  | TRUE
17 | bus_LV_985-1_4_2_node_272 | 0.4 | n |  | TRUE
18 | bus_LV_985-1_4_2_node_278 | 0.4 | n |  | TRUE
19 | bus_LV_985-1_4_2_node_277 | 0.4 | n |  | TRUE
20 | bus_LV_985-1_4_2_node_320 | 0.4 | n |  | TRUE
21 | bus_LV_985-1_4_2_node_319 | 0.4 | n |  | TRUE
22 | bus_LV_985-1_4_2_node_420 | 0.4 | n |  | TRUE
23 | bus_LV_985-1_4_2_node_287 | 0.4 | n |  | TRUE
24 | bus_LV_985-1_4_2_node_288 | 0.4 | n |  | TRUE
25 | bus_LV_985-1_4_2_node_289 | 0.4 | n |  | TRUE
26 | bus_LV_985-1_4_2_node_290 | 0.4 | n |  | TRUE
27 | bus_LV_985-1_4_2_node_291 | 0.4 | n |  | TRUE
28 | bus_LV_985-1_4_2_node_292 | 0.4 | n |  | TRUE
29 | bus_LV_985-1_4_2_node_295 | 0.4 | n |  | TRUE
30 | bus_LV_985-1_4_2_node_296 | 0.4 | n |  | TRUE
31 | bus_LV_985-1_4_2_node_293 | 0.4 | n |  | TRUE
32 | bus_LV_985-1_4_2_node_407 | 0.4 | n |  | TRUE
33 | bus_LV_985-1_4_2_node_307 | 0.4 | n |  | TRUE
34 | bus_LV_985-1_4_2_node_302 | 0.4 | n |  | TRUE
35 | bus_LV_985-1_4_2_node_298 | 0.4 | n |  | TRUE
36 | bus_LV_985-1_4_2_node_299 | 0.4 | n |  | TRUE
37 | bus_LV_985-1_4_2_node_300 | 0.4 | n |  | TRUE
38 | bus_LV_985-1_4_2_node_301 | 0.4 | n |  | TRUE
39 | bus_LV_985-1_4_2_node_303 | 0.4 | n |  | TRUE
40 | bus_LV_985-1_4_2_node_304 | 0.4 | n |  | TRUE
41 | bus_LV_985-1_4_2_node_306 | 0.4 | n |  | TRUE
42 | bus_LV_985-1_4_2_node_309 | 0.4 | n |  | TRUE
43 | bus_LV_985-1_4_2_node_417 | 0.4 | n |  | TRUE
44 | bus_LV_985-1_4_2_node_415 | 0.4 | n |  | TRUE
45 | bus_LV_985-1_4_2_node_310 | 0.4 | n |  | TRUE
46 | bus_LV_985-1_4_2_node_308 | 0.4 | n |  | TRUE
47 | bus_LV_985-1_4_2_node_312 | 0.4 | n |  | TRUE
48 | bus_LV_985-1_4_2_node_311 | 0.4 | n |  | TRUE
49 | bus_LV_985-1_4_2_node_313 | 0.4 | n |  | TRUE
50 | bus_LV_985-1_4_2_node_314 | 0.4 | n |  | TRUE
51 | bus_LV_985-1_4_2_node_315 | 0.4 | n |  | TRUE
52 | bus_LV_985-1_4_2_node_316 | 0.4 | n |  | TRUE
53 | bus_LV_985-1_4_2_node_317 | 0.4 | n |  | TRUE
54 | bus_LV_985-1_4_2_node_318 | 0.4 | n |  | TRUE
55 | bus_LV_985-1_4_2_node_395 | 0.4 | n |  | TRUE
56 | bus_LV_985-1_4_2_node_356 | 0.4 | n |  | TRUE
57 | bus_LV_985-1_4_2_node_357 | 0.4 | n |  | TRUE
58 | bus_LV_985-1_4_2_node_358 | 0.4 | n |  | TRUE
59 | bus_LV_985-1_4_2_node_359 | 0.4 | n |  | TRUE
60 | bus_LV_985-1_4_2_node_360 | 0.4 | n |  | TRUE
61 | bus_LV_985-1_4_2_node_361 | 0.4 | n |  | TRUE
62 | bus_LV_985-1_4_2_node_375 | 0.4 | n |  | TRUE
63 | bus_LV_985-1_4_2_node_362 | 0.4 | n |  | TRUE
64 | bus_LV_985-1_4_2_node_363 | 0.4 | n |  | TRUE
65 | bus_LV_985-1_4_2_node_364 | 0.4 | n |  | TRUE
66 | bus_LV_985-1_4_2_node_365 | 0.4 | n |  | TRUE
67 | bus_LV_985-1_4_2_node_366 | 0.4 | n |  | TRUE
68 | bus_LV_985-1_4_2_node_368 | 0.4 | n |  | TRUE
69 | bus_LV_985-1_4_2_node_369 | 0.4 | n |  | TRUE
70 | bus_LV_985-1_4_2_node_370 | 0.4 | n |  | TRUE
71 | bus_LV_985-1_4_2_node_388 | 0.4 | n |  | TRUE
72 | bus_LV_985-1_4_2_node_396 | 0.4 | n |  | TRUE
73 | bus_LV_985-1_4_2_node_371 | 0.4 | n |  | TRUE
74 | bus_LV_985-1_4_2_node_372 | 0.4 | n |  | TRUE
75 | bus_LV_985-1_4_2_node_373 | 0.4 | n |  | TRUE
76 | bus_LV_985-1_4_2_node_393 | 0.4 | n |  | TRUE
77 | bus_LV_985-1_4_2_node_383 | 0.4 | n |  | TRUE
78 | bus_LV_985-1_4_2_node_374 | 0.4 | n |  | TRUE
79 | bus_LV_985-1_4_2_node_377 | 0.4 | n |  | TRUE
80 | bus_LV_985-1_4_2_node_376 | 0.4 | n |  | TRUE
81 | bus_LV_985-1_4_2_node_379 | 0.4 | n |  | TRUE
82 | bus_LV_985-1_4_2_node_378 | 0.4 | n |  | TRUE
83 | bus_LV_985-1_4_2_node_380 | 0.4 | n |  | TRUE
84 | bus_LV_985-1_4_2_node_381 | 0.4 | n |  | TRUE
85 | bus_LV_985-1_4_2_node_382 | 0.4 | n |  | TRUE
86 | bus_LV_985-1_4_2_node_409 | 0.4 | n |  | TRUE
87 | bus_LV_985-1_4_2_node_410 | 0.4 | n |  | TRUE
88 | bus_LV_985-1_4_2_node_403 | 0.4 | n |  | TRUE
89 | bus_LV_985-1_4_2_node_405 | 0.4 | n |  | TRUE
90 | bus_LV_985-1_4_2_node_384 | 0.4 | n |  | TRUE
91 | bus_LV_985-1_4_2_node_385 | 0.4 | n |  | TRUE
92 | bus_LV_985-1_4_2_node_386 | 0.4 | n |  | TRUE
93 | bus_LV_985-1_4_2_node_408 | 0.4 | n |  | TRUE
94 | bus_LV_985-1_4_2_node_389 | 0.4 | n |  | TRUE
95 | bus_LV_985-1_4_2_node_390 | 0.4 | n |  | TRUE
96 | bus_LV_985-1_4_2_node_391 | 0.4 | n |  | TRUE
97 | bus_LV_985-1_4_2_node_392 | 0.4 | n |  | TRUE
98 | bus_LV_985-1_4_2_node_394 | 0.4 | n |  | TRUE
99 | bus_LV_985-1_4_2_node_397 | 0.4 | n |  | TRUE
100 | bus_LV_985-1_4_2_node_398 | 0.4 | n |  | TRUE
101 | bus_LV_985-1_4_2_node_400 | 0.4 | n |  | TRUE
102 | bus_LV_985-1_4_2_node_402 | 0.4 | n |  | TRUE
103 | bus_LV_985-1_4_2_node_401 | 0.4 | n |  | TRUE
104 | bus_LV_985-1_4_2_node_404 | 0.4 | n |  | TRUE
105 | bus_LV_985-1_4_2_node_412 | 0.4 | n |  | TRUE
106 | bus_LV_985-1_4_2_node_406 | 0.4 | n |  | TRUE
107 | bus_LV_985-1_4_2_node_413 | 0.4 | n |  | TRUE
108 | bus_LV_985-1_4_2_node_411 | 0.4 | n |  | TRUE
109 | bus_LV_985-1_4_2_node_419 | 0.4 | n |  | TRUE
110 | bus_MV_0_node_289 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_985-1_4_2_load_414 | 1 | 5.2466e-05 | 1.3149e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_985-1_4_2_load_418 | 4 | 0.002132 | 0.00053434 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_985-1_4_2_load_416 | 5 | 0.00042573 | 0.0001067 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_985-1_4_2_load_133 | 6 | 0.00011481 | 2.8774e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_985-1_4_2_load_263 | 8 | 0.00029312 | 7.3464e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_985-1_4_2_load_264 | 9 | 0.00021023 | 5.2688e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_985-1_4_2_load_265 | 10 | 0.00020955 | 5.2519e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_985-1_4_2_load_266 | 11 | 0.0044957 | 0.0011267 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_985-1_4_2_load_268 | 15 | 0.001788 | 0.00044812 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_985-1_4_2_load_269 | 16 | 0.00038772 | 9.7171e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_985-1_4_2_load_272 | 17 | 0.0014427 | 0.00036158 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_985-1_4_2_load_278 | 18 | 0.0011782 | 0.00029528 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_985-1_4_2_load_320 | 20 | 0.00036477 | 9.1419e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_985-1_4_2_load_319 | 21 | 0.0013137 | 0.00032926 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_985-1_4_2_load_420 | 22 | 0.00033023 | 8.2764e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_985-1_4_2_load_287 | 23 | 0.00029932 | 7.5016e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_985-1_4_2_load_290 | 26 | 0.00031197 | 7.8188e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_985-1_4_2_load_295 | 29 | 0.0019191 | 0.00048098 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_985-1_4_2_load_407 | 32 | 0.00011444 | 2.868e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_985-1_4_2_load_307 | 33 | 0.00051828 | 0.00012989 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_985-1_4_2_load_302 | 34 | 0.00033505 | 8.3971e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_985-1_4_2_load_298 | 35 | 0.00054318 | 0.00013613 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_985-1_4_2_load_299 | 36 | 0.00092848 | 0.0002327 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_985-1_4_2_load_303 | 39 | 0.00051302 | 0.00012857 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_985-1_4_2_load_306 | 41 | 0.00047704 | 0.00011956 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_985-1_4_2_load_309 | 42 | 0.00040131 | 0.00010058 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_985-1_4_2_load_415 | 44 | 0.00023127 | 5.7961e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_985-1_4_2_load_310 | 45 | 0.00071516 | 0.00017924 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_985-1_4_2_load_308 | 46 | 0.00052577 | 0.00013177 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_985-1_4_2_load_312 | 47 | 0.00087531 | 0.00021937 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_985-1_4_2_load_311 | 48 | 0.00032429 | 8.1274e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_985-1_4_2_load_313 | 49 | 0.00025803 | 6.4669e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_985-1_4_2_load_314 | 50 | 0.00059653 | 0.0001495 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_985-1_4_2_load_316 | 52 | 0.0026588 | 0.00066635 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_985-1_4_2_load_318 | 54 | 0.0012086 | 0.00030292 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_985-1_4_2_load_395 | 55 | 6.6007e-05 | 1.6543e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_985-1_4_2_load_356 | 56 | 0.000796 | 0.0001995 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_985-1_4_2_load_357 | 57 | 0.00030519 | 7.6488e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_985-1_4_2_load_359 | 59 | 0.00010683 | 2.6773e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_985-1_4_2_load_360 | 60 | 0.00011343 | 2.8428e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_985-1_4_2_load_361 | 61 | 0.00014757 | 3.6984e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_985-1_4_2_load_375 | 62 | 0.00021374 | 5.3567e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_985-1_4_2_load_362 | 63 | 0.00011936 | 2.9914e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_985-1_4_2_load_370 | 70 | 0.0007842 | 0.00019654 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_985-1_4_2_load_396 | 72 | 9.2713e-05 | 2.3236e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_985-1_4_2_load_372 | 74 | 0.0001875 | 4.6992e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_985-1_4_2_load_373 | 75 | 0.00030705 | 7.6955e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_985-1_4_2_load_393 | 76 | 0.00015059 | 3.7742e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_985-1_4_2_load_374 | 78 | 4.5755e-05 | 1.1467e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_985-1_4_2_load_376 | 80 | 7.202e-05 | 1.805e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_985-1_4_2_load_381 | 84 | 0.00010164 | 2.5474e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_985-1_4_2_load_382 | 85 | 0.00014378 | 3.6035e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_985-1_4_2_load_409 | 86 | 0.0005637 | 0.00014128 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_985-1_4_2_load_410 | 87 | 9.9605e-05 | 2.4963e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_985-1_4_2_load_405 | 89 | 9.8537e-05 | 2.4696e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_985-1_4_2_load_384 | 90 | 0.00013001 | 3.2584e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_985-1_4_2_load_385 | 91 | 5.8186e-05 | 1.4583e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_985-1_4_2_load_386 | 92 | 0.00046757 | 0.00011718 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_985-1_4_2_load_408 | 93 | 0.00063634 | 0.00015948 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_985-1_4_2_load_389 | 94 | 0.00083677 | 0.00020971 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_985-1_4_2_load_391 | 96 | 6.7524e-05 | 1.6923e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_985-1_4_2_load_392 | 97 | 0.00021085 | 5.2844e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_985-1_4_2_load_394 | 98 | 5.796e-05 | 1.4526e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_985-1_4_2_load_397 | 99 | 0.0021214 | 0.00053168 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_985-1_4_2_load_402 | 102 | 0.00075792 | 0.00018995 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_985-1_4_2_load_401 | 103 | 0.00060958 | 0.00015277 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_985-1_4_2_load_404 | 104 | 0.0013759 | 0.00034483 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_985-1_4_2_load_412 | 105 | 0.00039829 | 9.9822e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_985-1_4_2_load_413 | 107 | 0.0012681 | 0.00031782 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_985-1_4_2_load_411 | 108 | 0.00096802 | 0.00024261 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_985-1_4_2_load_419 | 109 | 0.0021674 | 0.0005432 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_985-1_4_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.050101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_985-1_4_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_985-1_4_2_line_2 | NAYY 4x150 SE | 2 | 55 | 0.051555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_985-1_4_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.053692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_985-1_4_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.091053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_985-1_4_2_line_5 | NAYY 4x150 SE | 5 | 44 | 0.054917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_985-1_4_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.53392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_985-1_4_2_line_7 | NAYY 4x150 SE | 7 | 43 | 0.038485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_985-1_4_2_line_8 | NAYY 4x150 SE | 7 | 44 | 0.050725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_985-1_4_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.034389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_985-1_4_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.50128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_985-1_4_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.050392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_985-1_4_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.023457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_985-1_4_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.16784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_985-1_4_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.00845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_985-1_4_2_line_15 | NAYY 4x150 SE | 13 | 18 | 0.25347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_985-1_4_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.044238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_985-1_4_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.016407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_985-1_4_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.00014651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_985-1_4_2_line_19 | NAYY 4x150 SE | 18 | 22 | 0.036329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_985-1_4_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.048352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_985-1_4_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.015884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_985-1_4_2_line_22 | NAYY 4x150 SE | 21 | 54 | 0.033941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_985-1_4_2_line_23 | NAYY 4x150 SE | 22 | 43 | 0.011683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_985-1_4_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.081065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_985-1_4_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.02852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_985-1_4_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.021771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_985-1_4_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.019939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_985-1_4_2_line_28 | NAYY 4x150 SE | 25 | 28 | 0.1595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_985-1_4_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.017524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_985-1_4_2_line_30 | NAYY 4x150 SE | 27 | 30 | 0.082894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_985-1_4_2_line_31 | NAYY 4x150 SE | 28 | 31 | 0.22102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_985-1_4_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.084921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_985-1_4_2_line_33 | NAYY 4x150 SE | 30 | 34 | 0.035968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_985-1_4_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.1989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_985-1_4_2_line_35 | NAYY 4x150 SE | 32 | 106 | 0.031266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_985-1_4_2_line_36 | NAYY 4x150 SE | 33 | 46 | 0.022792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_985-1_4_2_line_37 | NAYY 4x150 SE | 34 | 37 | 0.018805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_985-1_4_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.014546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_985-1_4_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.00282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_985-1_4_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.22451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_985-1_4_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.036765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_985-1_4_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.031883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_985-1_4_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.010666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_985-1_4_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.022962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_985-1_4_2_line_45 | NAYY 4x150 SE | 41 | 45 | 0.020101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_985-1_4_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.0084137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_985-1_4_2_line_47 | NAYY 4x150 SE | 43 | 109 | 0.039006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_985-1_4_2_line_48 | NAYY 4x150 SE | 45 | 48 | 0.0095011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_985-1_4_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.015549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_985-1_4_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.016816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_985-1_4_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.015806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_985-1_4_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.016425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_985-1_4_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.034256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_985-1_4_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_985-1_4_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.056722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_985-1_4_2_line_56 | NAYY 4x150 SE | 55 | 98 | 0.0026291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_985-1_4_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0090764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_985-1_4_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.010196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_985-1_4_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.013213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_985-1_4_2_line_60 | NAYY 4x150 SE | 58 | 60 | 0.031737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_985-1_4_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0068081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_985-1_4_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.0043483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_985-1_4_2_line_63 | NAYY 4x150 SE | 62 | 80 | 0.041942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_985-1_4_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.011988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_985-1_4_2_line_65 | NAYY 4x150 SE | 63 | 65 | 0.023934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_985-1_4_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.013583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_985-1_4_2_line_67 | NAYY 4x150 SE | 64 | 67 | 0.030408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_985-1_4_2_line_68 | NAYY 4x150 SE | 65 | 68 | 0.032943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_985-1_4_2_line_69 | NAYY 4x150 SE | 65 | 69 | 0.0086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_985-1_4_2_line_70 | NAYY 4x150 SE | 66 | 70 | 0.017335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_985-1_4_2_line_71 | NAYY 4x150 SE | 67 | 71 | 0.016609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_985-1_4_2_line_72 | NAYY 4x150 SE | 67 | 72 | 0.066176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_985-1_4_2_line_73 | NAYY 4x150 SE | 68 | 73 | 0.019471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_985-1_4_2_line_74 | NAYY 4x150 SE | 68 | 74 | 0.045114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_985-1_4_2_line_75 | NAYY 4x150 SE | 69 | 75 | 0.0413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_985-1_4_2_line_76 | NAYY 4x150 SE | 71 | 93 | 0.008525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_985-1_4_2_line_77 | NAYY 4x150 SE | 71 | 92 | 0.019962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_985-1_4_2_line_78 | NAYY 4x150 SE | 72 | 98 | 0.011457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_985-1_4_2_line_79 | NAYY 4x150 SE | 73 | 76 | 0.0034236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_985-1_4_2_line_80 | NAYY 4x150 SE | 75 | 77 | 0.010991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_985-1_4_2_line_81 | NAYY 4x150 SE | 76 | 96 | 0.015452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_985-1_4_2_line_82 | NAYY 4x150 SE | 77 | 89 | 0.030681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_985-1_4_2_line_83 | NAYY 4x150 SE | 77 | 84 | 0.0064416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_985-1_4_2_line_84 | NAYY 4x150 SE | 78 | 79 | 0.023516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_985-1_4_2_line_85 | NAYY 4x150 SE | 79 | 82 | 0.025443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_985-1_4_2_line_86 | NAYY 4x150 SE | 79 | 81 | 0.030454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_985-1_4_2_line_87 | NAYY 4x150 SE | 80 | 81 | 0.014002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_985-1_4_2_line_88 | NAYY 4x150 SE | 81 | 85 | 0.029363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_985-1_4_2_line_89 | NAYY 4x150 SE | 82 | 83 | 0.03113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_985-1_4_2_line_90 | NAYY 4x150 SE | 82 | 84 | 0.038637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_985-1_4_2_line_91 | NAYY 4x150 SE | 83 | 86 | 0.027142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_985-1_4_2_line_92 | NAYY 4x150 SE | 83 | 87 | 0.01014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_985-1_4_2_line_93 | NAYY 4x150 SE | 85 | 88 | 0.022599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_985-1_4_2_line_94 | NAYY 4x150 SE | 88 | 106 | 0.024957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_985-1_4_2_line_95 | NAYY 4x150 SE | 88 | 101 | 0.74372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_985-1_4_2_line_96 | NAYY 4x150 SE | 90 | 91 | 0.026336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_985-1_4_2_line_97 | NAYY 4x150 SE | 91 | 92 | 0.04329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_985-1_4_2_line_98 | NAYY 4x150 SE | 94 | 95 | 0.053251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_985-1_4_2_line_99 | NAYY 4x150 SE | 95 | 96 | 0.024604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_985-1_4_2_line_100 | NAYY 4x150 SE | 95 | 97 | 0.013551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_985-1_4_2_line_101 | NAYY 4x150 SE | 99 | 100 | 0.058516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_985-1_4_2_line_102 | NAYY 4x150 SE | 100 | 101 | 0.051972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_985-1_4_2_line_103 | NAYY 4x150 SE | 101 | 102 | 0.011284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_985-1_4_2_line_104 | NAYY 4x150 SE | 102 | 105 | 0.059798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_985-1_4_2_line_105 | NAYY 4x150 SE | 103 | 104 | 0.026857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_985-1_4_2_line_106 | NAYY 4x150 SE | 104 | 107 | 0.00011745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_985-1_4_2_line_107 | NAYY 4x150 SE | 105 | 108 | 0.034422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_985-1_4_2_line_108 | NAYY 4x150 SE | 107 | 108 | 0.0083494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_985-1_4_2_trafo_289 | 0.25 MVA 20/0.4 kV | 110 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2621032.1276 | 1221856.8086 | 2621035.5332 | 1221854.6527 | 2621040.6077 | 1221845.9877 | 2621041.9146 | 1221838.866 | 2621041.7199 | 1221829.571 | 2621040.9968 | 1221825.9663 | 2621034.6937 | 1221811.4622
1 | 2621032.1276 | 1221856.8086 | 2621026.8849 | 1221859.425 | 2620998.5753 | 1221864.6173
2 | 2620998.5753 | 1221864.6173 | 2620956.2909 | 1221872.9847 | 2620948.0005 | 1221874.6248
3 | 2621094.8941 | 1221360.5521 | 2621094.4324 | 1221366.6985 | 2621097.9526 | 1221392.2703 | 2621097.5538 | 1221395.6486 | 2621094.8574 | 1221400.9755 | 2621090.479 | 1221403.5727 | 2621083.6884 | 1221406.1947
4 | 2621083.6884 | 1221406.1947 | 2621056.1319 | 1221377.9143 | 2621034.6678 | 1221347.0207 | 2621032.2628 | 1221338.5406 | 2621032.6834 | 1221333.4239
5 | 2621072.3723 | 1221297.5961 | 2621039.0183 | 1221322.1993 | 2621033.0394 | 1221329.0934 | 2621032.6834 | 1221333.4239
6 | 2621113.1933 | 1221267.4849 | 2621172.4488 | 1221381.6167 | 2621192.6837 | 1221405.9693 | 2621240.4249 | 1221446.796 | 2621273.5949 | 1221468.2599 | 2621303.0886 | 1221488.9549 | 2621335.7826 | 1221528.8727 | 2621406.9459 | 1221620.1583 | 2621424.8203 | 1221642.3465 | 2621450.1937 | 1221671.5324 | 2621450.8041 | 1221672.0376
7 | 2621139.2136 | 1221239.1271 | 2621129.553 | 1221251.0109 | 2621113.1933 | 1221267.4849
8 | 2621113.1933 | 1221267.4849 | 2621072.3723 | 1221297.5961
9 | 2621349.185 | 1221215.575 | 2621345.4236 | 1221193.7788 | 2621344.7841 | 1221183.804 | 2621345.4608 | 1221181.6321
10 | 2621386.0923 | 1221529.7532 | 2621407.8849 | 1221523.3387 | 2621467.2281 | 1221486.4413 | 2621472.5442 | 1221478.3446 | 2621477.6827 | 1221464.7774 | 2621479.1596 | 1221448.5511 | 2621476.6915 | 1221400.8811 | 2621473.8854 | 1221388.0969 | 2621463.1871 | 1221357.2627 | 2621459.3874 | 1221352.8687 | 2621452.6899 | 1221352.7224 | 2621447.8898 | 1221358.6419 | 2621438.963 | 1221379.4108 | 2621430.3797 | 1221391.1424 | 2621421.7545 | 1221395.514 | 2621410.8057 | 1221394.2517 | 2621400.4543 | 1221387.1549 | 2621379.8564 | 1221366.9583 | 2621371.1909 | 1221346.6154 | 2621370.7189 | 1221323.7782 | 2621369.0099 | 1221307.4626 | 2621352.2234 | 1221233.1816 | 2621349.185 | 1221215.575
11 | 2621345.4608 | 1221181.6321 | 2621346.5107 | 1221178.2625 | 2621349.5305 | 1221173.8374 | 2621357.154 | 1221169.6178 | 2621365.5341 | 1221170.2148 | 2621385.1213 | 1221184.7489 | 2621385.1213 | 1221184.7489
12 | 2621393.6567 | 1221163.178 | 2621392.0556 | 1221171.7884 | 2621385.1213 | 1221184.7489
13 | 2621393.6567 | 1221163.178 | 2621387.6012 | 1221163.7567 | 2621385.0361 | 1221157.7218 | 2621387.7061 | 1221142.9783 | 2621386.8963 | 1221133.9702 | 2621378.9299 | 1221119.5332 | 2621322.827 | 1221059.709 | 2621307.2598 | 1221043.0104 | 2621298.1642 | 1221038.8088
14 | 2621393.6567 | 1221163.178 | 2621399.5498 | 1221157.1067
15 | 2621298.1642 | 1221038.8088 | 2621290.4207 | 1221042.5834 | 2621273.2201 | 1221058.4646 | 2621263.3427 | 1221071.4259 | 2621258.2897 | 1221080.1797 | 2621253.2422 | 1221091.635 | 2621250.8815 | 1221102.7331 | 2621250.1808 | 1221126.9335 | 2621249.4869 | 1221164.1638 | 2621243.3139 | 1221187.1108 | 2621231.15 | 1221207.4571 | 2621218.7027 | 1221228.5696 | 2621207.1183 | 1221239.5793 | 2621186.5476 | 1221246.723
16 | 2621399.5498 | 1221157.1067 | 2621425.9511 | 1221166.8293 | 2621420.3604 | 1221181.9305
17 | 2621399.5498 | 1221157.1067 | 2621405.7084 | 1221146.8006 | 2621407.2907 | 1221142.6945
18 | 2621407.3434 | 1221142.5578 | 2621407.2907 | 1221142.6945
19 | 2621186.5476 | 1221246.723 | 2621185.9815 | 1221246.9196 | 2621150.7377 | 1221241.0473
20 | 2620986.9999 | 1220915.8356 | 2620988.3405 | 1220905.6567 | 2620986.7272 | 1220887.685 | 2620981.7268 | 1220881.5305 | 2620978.7815 | 1220875.6056 | 2620973.7676 | 1220873.3089
21 | 2620986.9999 | 1220915.8356 | 2620971.1436 | 1220914.9039
22 | 2620937.3886 | 1220911.8631 | 2620945.7481 | 1220913.4116 | 2620971.1436 | 1220914.9039
23 | 2621139.2136 | 1221239.1271 | 2621150.7377 | 1221241.0473
24 | 2620811.1386 | 1221197.1281 | 2620811.722 | 1221199.5093 | 2620813.3006 | 1221214.5235 | 2620810.3848 | 1221232.7684 | 2620800.5868 | 1221251.6008 | 2620789.6132 | 1221272.733
25 | 2620776.4698 | 1221298.0438 | 2620789.6132 | 1221272.733
26 | 2620811.1386 | 1221197.1281 | 2620829.612 | 1221208.6487
27 | 2620804.3007 | 1221178.4712 | 2620809.321 | 1221189.7619 | 2620811.1386 | 1221197.1281
28 | 2620707.823 | 1221441.7 | 2620708.7279 | 1221436.678 | 2620710.3021 | 1221431.1469 | 2620731.4037 | 1221387.7282 | 2620762.3983 | 1221326.5114 | 2620776.4698 | 1221298.0438
29 | 2620804.3007 | 1221178.4712 | 2620818.1517 | 1221167.7354
30 | 2620807.4723 | 1221099.9255 | 2620799.613 | 1221124.001 | 2620794.8917 | 1221135.7469 | 2620793.1502 | 1221145.6911 | 2620796.2622 | 1221160.3993 | 2620804.3007 | 1221178.4712
31 | 2620550.336 | 1221571.7205 | 2620589.3743 | 1221524.1162 | 2620648.2922 | 1221483.6516 | 2620654.4556 | 1221486.8637 | 2620703.5496 | 1221435.9819 | 2620708.7279 | 1221436.678 | 2620707.823 | 1221441.7
32 | 2620807.4723 | 1221099.9255 | 2620826.6079 | 1221050.8859 | 2620839.2554 | 1221021.1865
33 | 2620807.4723 | 1221099.9255 | 2620840.8203 | 1221113.402
34 | 2620550.336 | 1221571.7205 | 2620653.2531 | 1221694.0468 | 2620677.1832 | 1221724.892
35 | 2620696.3481 | 1221749.595 | 2620677.1832 | 1221724.892
36 | 2620839.2554 | 1221021.1865 | 2620848.1854 | 1221000.2166
37 | 2620858.2556 | 1221120.4479 | 2620840.8203 | 1221113.402
38 | 2620860.8513 | 1221121.55 | 2620874.2409 | 1221127.2349
39 | 2620858.2556 | 1221120.4479 | 2620860.8513 | 1221121.55
40 | 2621079.8963 | 1221217.0379 | 2621059.606 | 1221205.9376 | 2620874.2409 | 1221127.2349
41 | 2620858.2556 | 1221120.4479 | 2620872.2398 | 1221086.4458
42 | 2621109.8429 | 1221228.1946 | 2621097.8569 | 1221224.0943 | 2621079.8963 | 1221217.0379
43 | 2620872.2398 | 1221086.4458 | 2620876.2968 | 1221076.5813
44 | 2621109.8429 | 1221228.1946 | 2621123.0955 | 1221232.3328 | 2621131.4605 | 1221235.8589
45 | 2620883.9427 | 1221057.9908 | 2620876.2968 | 1221076.5813
46 | 2621139.2136 | 1221239.1271 | 2621131.4605 | 1221235.8589
47 | 2621139.2136 | 1221239.1271 | 2621139.8072 | 1221249.2907 | 2621153.1363 | 1221274.8493
48 | 2620883.9427 | 1221057.9908 | 2620885.1254 | 1221055.1149 | 2620879.3068 | 1221052.47
49 | 2620848.1854 | 1221000.2166 | 2620854.2774 | 1220985.9112
50 | 2620854.2774 | 1220985.9112 | 2620860.8662 | 1220970.4392
51 | 2620860.8662 | 1220970.4392 | 2620867.0589 | 1220955.8971
52 | 2620873.4941 | 1220940.7856 | 2620867.0589 | 1220955.8971
53 | 2620873.4941 | 1220940.7856 | 2620903.9571 | 1220956.6236
54 | 2620882.8586 | 1220918.1386 | 2620873.4941 | 1220940.7856
55 | 2620882.8586 | 1220918.1386 | 2620890.0073 | 1220919.5421 | 2620912.9175 | 1220910.7728 | 2620921.951 | 1220909.0034 | 2620937.3886 | 1220911.8631
56 | 2620945.4214 | 1221875.135 | 2620948.0005 | 1221874.6248
57 | 2620710.5332 | 1221822.0098 | 2620712.6257 | 1221823.8281 | 2620717.8366 | 1221827.3765
58 | 2620701.3953 | 1221820.8207 | 2620707.6801 | 1221819.5306 | 2620710.5332 | 1221822.0098
59 | 2620729.79 | 1221832.6261 | 2620729.79 | 1221832.6261 | 2620722.3568 | 1221830.4546 | 2620717.8366 | 1221827.3765
60 | 2620674.6556 | 1221806.3974 | 2620694.4768 | 1221812.3918 | 2620698.9311 | 1221816.1983 | 2620701.3953 | 1221820.8207
61 | 2620729.79 | 1221832.6261 | 2620735.8549 | 1221829.5331
62 | 2620735.8549 | 1221829.5331 | 2620739.7286 | 1221827.5576
63 | 2620757.8368 | 1221790.0047 | 2620748.7104 | 1221814.0699 | 2620739.7286 | 1221827.5576 | 2620739.7286 | 1221827.5576
64 | 2620851.3916 | 1221869.1152 | 2620845.2183 | 1221858.8385
65 | 2620832.8936 | 1221838.3216 | 2620845.2183 | 1221858.8385
66 | 2620851.3916 | 1221869.1152 | 2620847.3848 | 1221871.8584 | 2620839.9281 | 1221876.4461
67 | 2620851.3916 | 1221869.1152 | 2620864.6184 | 1221891.1187 | 2620869.2635 | 1221890.201
68 | 2620832.8936 | 1221838.3216 | 2620824.9031 | 1221845.8981 | 2620812.9307 | 1221864.3115
69 | 2620828.4595 | 1221830.9462 | 2620832.8936 | 1221838.3216
70 | 2620839.9281 | 1221876.4461 | 2620830.1166 | 1221890.7535
71 | 2620869.2635 | 1221890.201 | 2620874.4183 | 1221895.3554 | 2620880.8416 | 1221902.1374
72 | 2620869.2635 | 1221890.201 | 2620934.1818 | 1221877.3585
73 | 2620812.9307 | 1221864.3115 | 2620805.7606 | 1221882.4193
74 | 2620812.9307 | 1221864.3115 | 2620805.0822 | 1221863.795 | 2620795.6556 | 1221863.4286 | 2620787.8934 | 1221862.0897 | 2620784.4196 | 1221862.0776 | 2620773.4976 | 1221874.3969
75 | 2620828.4595 | 1221830.9462 | 2620826.896 | 1221820.3568 | 2620827.4408 | 1221805.5279 | 2620830.7869 | 1221794.3219 | 2620831.272 | 1221790.2888
76 | 2620880.8416 | 1221902.1374 | 2620880.822 | 1221907.7406 | 2620879.9855 | 1221910.5393
77 | 2620880.8416 | 1221902.1374 | 2620886.2731 | 1221908.4156 | 2620891.5348 | 1221917.6616 | 2620891.8413 | 1221918.6368
78 | 2620945.4214 | 1221875.135 | 2620934.1818 | 1221877.3585
79 | 2620805.7606 | 1221882.4193 | 2620804.9098 | 1221885.7355
80 | 2620830.0119 | 1221779.4883 | 2620831.6384 | 1221787.243 | 2620831.272 | 1221790.2888
81 | 2620804.9098 | 1221885.7355 | 2620801.0701 | 1221900.7025
82 | 2620830.0119 | 1221779.4883 | 2620842.7762 | 1221771.128 | 2620855.5054 | 1221762.4196
83 | 2620830.0119 | 1221779.4883 | 2620827.0485 | 1221776.6764 | 2620824.9431 | 1221775.6182
84 | 2620787.53 | 1221763.9201 | 2620800.1006 | 1221783.7942
85 | 2620787.53 | 1221763.9201 | 2620796.3646 | 1221753.5671 | 2620804.193 | 1221744.6558
86 | 2620787.53 | 1221763.9201 | 2620774.9378 | 1221770.8025 | 2620764.2416 | 1221775.5903 | 2620759.8251 | 1221776.1864
87 | 2620759.8251 | 1221776.1864 | 2620758.3864 | 1221788.5553 | 2620757.8368 | 1221790.0047
88 | 2620759.8251 | 1221776.1864 | 2620751.5536 | 1221777.3028 | 2620730.7311 | 1221774.4555
89 | 2620823.5433 | 1221720.4203 | 2620820.8779 | 1221725.6585 | 2620804.193 | 1221744.6558
90 | 2620804.193 | 1221744.6558 | 2620817.4703 | 1221771.8624 | 2620824.9431 | 1221775.6182
91 | 2620823.5433 | 1221720.4203 | 2620830.1673 | 1221734.9852 | 2620834.5991 | 1221745.2177
92 | 2620823.5433 | 1221720.4203 | 2620828.1485 | 1221711.3859
93 | 2620708.3401 | 1221771.3938 | 2620730.7311 | 1221774.4555
94 | 2620708.3401 | 1221771.3938 | 2620699.9047 | 1221754.1878 | 2620696.3481 | 1221749.595
95 | 2620146.1343 | 1222091.6793 | 2620207.5114 | 1222012.3182 | 2620211.2823 | 1222007.4393 | 2620278.2127 | 1221928.22 | 2620287.2961 | 1221911.2632 | 2620293.0144 | 1221882.4436 | 2620300.801 | 1221867.6949 | 2620303.702 | 1221862.2015 | 2620331.2213 | 1221826.0852 | 2620345.0268 | 1221807.9661 | 2620363.0686 | 1221784.2916 | 2620391.5172 | 1221793.8387 | 2620413.6172 | 1221798.9616 | 2620439.365 | 1221799.828 | 2620461.3196 | 1221792.0209 | 2620480.2896 | 1221778.7115 | 2620496.2859 | 1221763.3241 | 2620515.4476 | 1221751.672 | 2620535.4278 | 1221749.0391 | 2620576.239 | 1221754.4272 | 2620681.108 | 1221767.6639 | 2620695.6717 | 1221769.6599 | 2620708.3401 | 1221771.3938
96 | 2620862.787 | 1221956.6053 | 2620869.3924 | 1221959.6197 | 2620875.0513 | 1221950.7343 | 2620879.5145 | 1221949.7716 | 2620883.2769 | 1221951.0553
97 | 2620883.2769 | 1221951.0553 | 2620888.2719 | 1221952.7595 | 2620892.5734 | 1221950.3065 | 2620895.9046 | 1221943.3919 | 2620895.9455 | 1221931.6963 | 2620891.8413 | 1221918.6368
98 | 2620810.4127 | 1221922.9925 | 2620791.8228 | 1221944.6848 | 2620787.5177 | 1221945.9817 | 2620771.8715 | 1221933.226
99 | 2620810.4127 | 1221922.9925 | 2620804.4875 | 1221914.7226 | 2620801.0701 | 1221900.7025
100 | 2620810.4127 | 1221922.9925 | 2620821.3204 | 1221931.0336
101 | 2620114.7917 | 1222133.1979 | 2620058.4442 | 1222117.4148
102 | 2620114.7917 | 1222133.1979 | 2620146.1343 | 1222091.6793
103 | 2620146.1343 | 1222091.6793 | 2620135.2736 | 1222088.6162
104 | 2620077.7209 | 1222072.3843 | 2620135.2736 | 1222088.6162
105 | 2620036.4425 | 1222060.7423 | 2620010.5942 | 1222053.4522
106 | 2620036.4425 | 1222060.7423 | 2620036.5555 | 1222060.7742
107 | 2620044.5915 | 1222063.0406 | 2620077.7209 | 1222072.3843
108 | 2620044.5915 | 1222063.0406 | 2620036.5555 | 1222060.7742

## bus_geodata
| x | y | coords
0 | 2621032.1276 | 1221856.8086
1 | 2621034.6937 | 1221811.4622
2 | 2620998.5753 | 1221864.6173
3 | 2621083.6884 | 1221406.1947
4 | 2621094.8941 | 1221360.5521
5 | 2621032.6834 | 1221333.4239
6 | 2621450.8041 | 1221672.0376
7 | 2621113.1933 | 1221267.4849
8 | 2621349.185 | 1221215.575
9 | 2621345.4608 | 1221181.6321
10 | 2621386.0923 | 1221529.7532
11 | 2621385.1213 | 1221184.7489
12 | 2621393.6567 | 1221163.178
13 | 2621298.1642 | 1221038.8088
14 | 2621399.5498 | 1221157.1067
15 | 2621407.2907 | 1221142.6945
16 | 2621407.3434 | 1221142.5578
17 | 2621420.3604 | 1221181.9306
18 | 2621186.5476 | 1221246.723
19 | 2620986.9999 | 1220915.8356
20 | 2620973.7676 | 1220873.3089
21 | 2620971.1436 | 1220914.9039
22 | 2621150.7377 | 1221241.0473
23 | 2620789.6132 | 1221272.733
24 | 2620811.1386 | 1221197.1281
25 | 2620776.4698 | 1221298.0438
26 | 2620829.612 | 1221208.6487
27 | 2620804.3007 | 1221178.4712
28 | 2620707.823 | 1221441.7
29 | 2620818.1517 | 1221167.7354
30 | 2620807.4723 | 1221099.9255
31 | 2620550.336 | 1221571.7205
32 | 2620677.1832 | 1221724.892
33 | 2620839.2554 | 1221021.1865
34 | 2620840.8203 | 1221113.402
35 | 2620860.8513 | 1221121.55
36 | 2620874.2409 | 1221127.2349
37 | 2620858.2556 | 1221120.4479
38 | 2621079.8963 | 1221217.0379
39 | 2620872.2398 | 1221086.4458
40 | 2621109.8429 | 1221228.1946
41 | 2620876.2968 | 1221076.5813
42 | 2621131.4605 | 1221235.8589
43 | 2621139.2136 | 1221239.1271
44 | 2621072.3723 | 1221297.5961
45 | 2620883.9427 | 1221057.9908
46 | 2620848.1854 | 1221000.2166
47 | 2620854.2774 | 1220985.9112
48 | 2620879.3068 | 1221052.47
49 | 2620860.8662 | 1220970.4392
50 | 2620867.0589 | 1220955.8971
51 | 2620873.4941 | 1220940.7856
52 | 2620903.9571 | 1220956.6236
53 | 2620882.8586 | 1220918.1386
54 | 2620937.3886 | 1220911.8631
55 | 2620948.0005 | 1221874.6248
56 | 2620710.5332 | 1221822.0098
57 | 2620717.8366 | 1221827.3765
58 | 2620701.3953 | 1221820.8207
59 | 2620729.79 | 1221832.6261
60 | 2620674.6556 | 1221806.3974
61 | 2620735.8549 | 1221829.5331
62 | 2620739.7286 | 1221827.5576
63 | 2620845.2183 | 1221858.8385
64 | 2620851.3916 | 1221869.1152
65 | 2620832.8936 | 1221838.3216
66 | 2620839.9281 | 1221876.4461
67 | 2620869.2635 | 1221890.201
68 | 2620812.9307 | 1221864.3115
69 | 2620828.4595 | 1221830.9462
70 | 2620830.1166 | 1221890.7535
71 | 2620880.8416 | 1221902.1374
72 | 2620934.1818 | 1221877.3585
73 | 2620805.7606 | 1221882.4193
74 | 2620773.4976 | 1221874.3969
75 | 2620831.272 | 1221790.2888
76 | 2620804.9098 | 1221885.7355
77 | 2620830.0119 | 1221779.4883
78 | 2620800.1006 | 1221783.7942
79 | 2620787.53 | 1221763.9201
80 | 2620757.8368 | 1221790.0047
81 | 2620759.8251 | 1221776.1864
82 | 2620804.193 | 1221744.6558
83 | 2620823.5433 | 1221720.4203
84 | 2620824.9431 | 1221775.6182
85 | 2620730.7311 | 1221774.4555
86 | 2620834.5991 | 1221745.2177
87 | 2620828.1485 | 1221711.3859
88 | 2620708.3401 | 1221771.3938
89 | 2620855.5054 | 1221762.4196
90 | 2620862.787 | 1221956.6053
91 | 2620883.2769 | 1221951.0553
92 | 2620891.8413 | 1221918.6368
93 | 2620879.9855 | 1221910.5393
94 | 2620771.8715 | 1221933.226
95 | 2620810.4127 | 1221922.9925
96 | 2620801.0701 | 1221900.7025
97 | 2620821.3204 | 1221931.0336
98 | 2620945.4214 | 1221875.135
99 | 2620058.4442 | 1222117.4148
100 | 2620114.7917 | 1222133.1979
101 | 2620146.1343 | 1222091.6793
102 | 2620135.2736 | 1222088.6162
103 | 2620010.5942 | 1222053.4522
104 | 2620036.4425 | 1222060.7423
105 | 2620077.7209 | 1222072.3843
106 | 2620696.3481 | 1221749.595
107 | 2620036.5555 | 1222060.7742
108 | 2620044.5915 | 1222063.0406
109 | 2621153.1363 | 1221274.8493
110 | 2620776.4698 | 1221298.0438

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1