## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_988-5_1_4_node_16 | 0.4 | n |  | TRUE
1 | bus_LV_988-5_1_4_node_17 | 0.4 | n |  | TRUE
2 | bus_LV_988-5_1_4_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_988-5_1_4_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_988-5_1_4_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_988-5_1_4_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_988-5_1_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_988-5_1_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_988-5_1_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_988-5_1_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_988-5_1_4_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_988-5_1_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_988-5_1_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_988-5_1_4_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_988-5_1_4_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_988-5_1_4_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_988-5_1_4_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_988-5_1_4_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_988-5_1_4_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_988-5_1_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_988-5_1_4_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_988-5_1_4_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_988-5_1_4_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_988-5_1_4_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_988-5_1_4_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_988-5_1_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_988-5_1_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_988-5_1_4_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_988-5_1_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_988-5_1_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_988-5_1_4_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_988-5_1_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_988-5_1_4_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_988-5_1_4_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_988-5_1_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_988-5_1_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_988-5_1_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_988-5_1_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_988-5_1_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_988-5_1_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_988-5_1_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_988-5_1_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_988-5_1_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_988-5_1_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_988-5_1_4_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_988-5_1_4_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_988-5_1_4_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_988-5_1_4_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_988-5_1_4_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_988-5_1_4_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_988-5_1_4_node_100 | 0.4 | n |  | TRUE
51 | bus_LV_988-5_1_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_988-5_1_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_988-5_1_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_988-5_1_4_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_988-5_1_4_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_988-5_1_4_node_128 | 0.4 | n |  | TRUE
57 | bus_LV_988-5_1_4_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_988-5_1_4_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_988-5_1_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_988-5_1_4_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_988-5_1_4_node_105 | 0.4 | n |  | TRUE
62 | bus_LV_988-5_1_4_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_988-5_1_4_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_988-5_1_4_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_988-5_1_4_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_988-5_1_4_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_988-5_1_4_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_988-5_1_4_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_988-5_1_4_node_106 | 0.4 | n |  | TRUE
70 | bus_LV_988-5_1_4_node_108 | 0.4 | n |  | TRUE
71 | bus_LV_988-5_1_4_node_104 | 0.4 | n |  | TRUE
72 | bus_LV_988-5_1_4_node_109 | 0.4 | n |  | TRUE
73 | bus_LV_988-5_1_4_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_988-5_1_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_988-5_1_4_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_988-5_1_4_node_101 | 0.4 | n |  | TRUE
77 | bus_LV_988-5_1_4_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_988-5_1_4_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_988-5_1_4_node_96 | 0.4 | n |  | TRUE
80 | bus_LV_988-5_1_4_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_988-5_1_4_node_103 | 0.4 | n |  | TRUE
82 | bus_LV_988-5_1_4_node_110 | 0.4 | n |  | TRUE
83 | bus_LV_988-5_1_4_node_127 | 0.4 | n |  | TRUE
84 | bus_MV_184_0_node_209 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_988-5_1_4_load_16 | 0 | 0.0025565 | 0.00064071 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_988-5_1_4_load_17 | 1 | 0.0018412 | 0.00046146 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_988-5_1_4_load_18 | 2 | 0.0022522 | 0.00056444 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_988-5_1_4_load_20 | 3 | 0.0025455 | 0.00063795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_988-5_1_4_load_45 | 4 | 0.0018017 | 0.00045155 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_988-5_1_4_load_43 | 5 | 0.0015338 | 0.00038441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_988-5_1_4_load_21 | 6 | 0.0023254 | 0.00058281 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_988-5_1_4_load_22 | 7 | 0.003956 | 0.00099148 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_988-5_1_4_load_25 | 10 | 0.00064527 | 0.00016172 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_988-5_1_4_load_75 | 13 | 0.0031855 | 0.00079837 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_988-5_1_4_load_79 | 14 | 0.001614 | 0.00040452 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_988-5_1_4_load_56 | 15 | 0.0018291 | 0.00045841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_988-5_1_4_load_85 | 16 | 0.00087186 | 0.00021851 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_988-5_1_4_load_32 | 18 | 0.0025061 | 0.00062809 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_988-5_1_4_load_33 | 19 | 0.0030941 | 0.00077546 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_988-5_1_4_load_34 | 20 | 0.0020589 | 0.00051602 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_988-5_1_4_load_65 | 21 | 0.0034902 | 0.00087473 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_988-5_1_4_load_50 | 22 | 0.0020887 | 0.00052348 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_988-5_1_4_load_55 | 23 | 0.0019374 | 0.00048555 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_988-5_1_4_load_86 | 24 | 0.0015812 | 0.00039628 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_988-5_1_4_load_36 | 25 | 0.0011172 | 0.00028001 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_988-5_1_4_load_37 | 26 | 0.0025863 | 0.00064818 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_988-5_1_4_load_38 | 27 | 0.0024798 | 0.00062149 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_988-5_1_4_load_39 | 28 | 0.0037363 | 0.0009364 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_988-5_1_4_load_40 | 29 | 0.0020659 | 0.00051777 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_988-5_1_4_load_51 | 31 | 0.0035311 | 0.00088499 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_988-5_1_4_load_107 | 33 | 0.000703 | 0.00017619 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_988-5_1_4_load_49 | 34 | 0.0023113 | 0.00057927 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_988-5_1_4_load_41 | 35 | 0.0018188 | 0.00045584 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_988-5_1_4_load_42 | 36 | 0.0014769 | 0.00037014 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_988-5_1_4_load_44 | 37 | 0.0019499 | 0.00048869 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_988-5_1_4_load_46 | 38 | 0.002737 | 0.00068596 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_988-5_1_4_load_52 | 39 | 0.0015977 | 0.00040042 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_988-5_1_4_load_53 | 40 | 0.0023497 | 0.00058889 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_988-5_1_4_load_47 | 41 | 0.0022776 | 0.00057081 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_988-5_1_4_load_48 | 42 | 0.0022457 | 0.00056283 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_988-5_1_4_load_54 | 43 | 0.0018615 | 0.00046653 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_988-5_1_4_load_58 | 45 | 0.0022926 | 0.00057457 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_988-5_1_4_load_92 | 47 | 0.0038151 | 0.00095617 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_988-5_1_4_load_99 | 48 | 0.0044179 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_988-5_1_4_load_93 | 49 | 0.0023733 | 0.00059481 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_988-5_1_4_load_100 | 50 | 0.00085336 | 0.00021387 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_988-5_1_4_load_60 | 51 | 0.0025231 | 0.00063235 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_988-5_1_4_load_61 | 52 | 0.0020737 | 0.00051971 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_988-5_1_4_load_64 | 55 | 0.0028642 | 0.00071783 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_988-5_1_4_load_128 | 56 | 0.0021387 | 0.000536 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_988-5_1_4_load_68 | 57 | 0.0011605 | 0.00029086 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_988-5_1_4_load_74 | 58 | 0.0019378 | 0.00048566 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_988-5_1_4_load_71 | 59 | 0.0018919 | 0.00047417 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_988-5_1_4_load_69 | 60 | 0.00063123 | 0.0001582 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_988-5_1_4_load_105 | 61 | 0.00062113 | 0.00015567 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_988-5_1_4_load_72 | 62 | 0.0014421 | 0.00036143 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_988-5_1_4_load_73 | 63 | 0.0025042 | 0.00062762 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_988-5_1_4_load_83 | 64 | 0.0013334 | 0.00033418 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_988-5_1_4_load_102 | 65 | 0.001317 | 0.00033006 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_988-5_1_4_load_81 | 66 | 0.0018634 | 0.00046701 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_988-5_1_4_load_76 | 67 | 0.0050491 | 0.0012654 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_988-5_1_4_load_106 | 69 | 0.001669 | 0.00041828 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_988-5_1_4_load_108 | 70 | 0.0010007 | 0.00025081 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_988-5_1_4_load_104 | 71 | 0.012937 | 0.0032423 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_988-5_1_4_load_109 | 72 | 0.00118 | 0.00029573 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_988-5_1_4_load_80 | 73 | 0.0011592 | 0.00029053 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_988-5_1_4_load_82 | 74 | 0.0032694 | 0.00081939 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_988-5_1_4_load_98 | 78 | 0.0026517 | 0.00066459 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_988-5_1_4_load_96 | 79 | 0.00097521 | 0.00024441 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_988-5_1_4_load_97 | 80 | 0.0022341 | 0.00055993 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_988-5_1_4_load_103 | 81 | 0.0051786 | 0.0012979 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_988-5_1_4_load_110 | 82 | 0.0013682 | 0.00034291 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_988-5_1_4_load_127 | 83 | 0.001893 | 0.00047443 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_988-5_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00072055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_988-5_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_988-5_1_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.021582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_988-5_1_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.022456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_988-5_1_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0043352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_988-5_1_4_line_5 | NAYY 4x150 SE | 5 | 35 | 0.016351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_988-5_1_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.027374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_988-5_1_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.012487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_988-5_1_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.006239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_988-5_1_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.016744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_988-5_1_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.021124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_988-5_1_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.011865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_988-5_1_4_line_12 | NAYY 4x150 SE | 10 | 13 | 0.031823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_988-5_1_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.0433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_988-5_1_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.019769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_988-5_1_4_line_15 | NAYY 4x150 SE | 12 | 16 | 0.023453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_988-5_1_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.015638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_988-5_1_4_line_17 | NAYY 4x150 SE | 15 | 23 | 0.016094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_988-5_1_4_line_18 | NAYY 4x150 SE | 16 | 24 | 0.018658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_988-5_1_4_line_19 | NAYY 4x150 SE | 17 | 43 | 0.013981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_988-5_1_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.00027595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_988-5_1_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.01982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_988-5_1_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0029135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_988-5_1_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.015741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_988-5_1_4_line_24 | NAYY 4x150 SE | 22 | 42 | 0.0086999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_988-5_1_4_line_25 | NAYY 4x150 SE | 23 | 44 | 0.023555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_988-5_1_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.013867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_988-5_1_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.01231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_988-5_1_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.016443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_988-5_1_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.014893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_988-5_1_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.025773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_988-5_1_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0085196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_988-5_1_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.038276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_988-5_1_4_line_33 | NAYY 4x150 SE | 30 | 33 | 0.0040647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_988-5_1_4_line_34 | NAYY 4x150 SE | 31 | 34 | 0.010798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_988-5_1_4_line_35 | NAYY 4x150 SE | 32 | 58 | 0.027217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_988-5_1_4_line_36 | NAYY 4x150 SE | 32 | 59 | 0.02893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_988-5_1_4_line_37 | NAYY 4x150 SE | 33 | 61 | 0.018912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_988-5_1_4_line_38 | NAYY 4x150 SE | 34 | 41 | 0.010279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_988-5_1_4_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0060797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_988-5_1_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.014383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_988-5_1_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0034832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_988-5_1_4_line_42 | NAYY 4x150 SE | 38 | 39 | 0.014578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_988-5_1_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.005248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_988-5_1_4_line_44 | NAYY 4x150 SE | 40 | 43 | 0.016443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_988-5_1_4_line_45 | NAYY 4x150 SE | 41 | 42 | 0.013141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_988-5_1_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.02501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_988-5_1_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.025586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_988-5_1_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.0096252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_988-5_1_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_988-5_1_4_line_50 | NAYY 4x150 SE | 47 | 49 | 0.026442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_988-5_1_4_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0064595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_988-5_1_4_line_52 | NAYY 4x150 SE | 49 | 77 | 0.024623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_988-5_1_4_line_53 | NAYY 4x150 SE | 50 | 76 | 0.016099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_988-5_1_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.014557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_988-5_1_4_line_55 | NAYY 4x150 SE | 51 | 53 | 0.016491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_988-5_1_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.022594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_988-5_1_4_line_57 | NAYY 4x150 SE | 53 | 55 | 0.025806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_988-5_1_4_line_58 | NAYY 4x150 SE | 53 | 56 | 0.066108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_988-5_1_4_line_59 | NAYY 4x150 SE | 54 | 57 | 0.0057112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_988-5_1_4_line_60 | NAYY 4x150 SE | 55 | 58 | 0.030906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_988-5_1_4_line_61 | NAYY 4x150 SE | 57 | 60 | 0.0096052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_988-5_1_4_line_62 | NAYY 4x150 SE | 59 | 62 | 0.0016649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_988-5_1_4_line_63 | NAYY 4x150 SE | 61 | 81 | 0.0022103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_988-5_1_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.019879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_988-5_1_4_line_65 | NAYY 4x150 SE | 63 | 64 | 0.028311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_988-5_1_4_line_66 | NAYY 4x150 SE | 64 | 65 | 0.055874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_988-5_1_4_line_67 | NAYY 4x150 SE | 64 | 66 | 0.0070157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_988-5_1_4_line_68 | NAYY 4x150 SE | 66 | 73 | 0.031694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_988-5_1_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.02296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_988-5_1_4_line_70 | NAYY 4x150 SE | 68 | 69 | 0.011585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_988-5_1_4_line_71 | NAYY 4x150 SE | 68 | 70 | 0.015542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_988-5_1_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.01548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_988-5_1_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.008114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_988-5_1_4_line_74 | NAYY 4x150 SE | 71 | 81 | 0.025199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_988-5_1_4_line_75 | NAYY 4x150 SE | 72 | 82 | 0.0051806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_988-5_1_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.010774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_988-5_1_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.026118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_988-5_1_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.002253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_988-5_1_4_line_79 | NAYY 4x150 SE | 77 | 78 | 0.004684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_988-5_1_4_line_80 | NAYY 4x150 SE | 77 | 79 | 0.016461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_988-5_1_4_line_81 | NAYY 4x150 SE | 79 | 80 | 0.011737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_988-5_1_4_line_82 | NAYY 4x150 SE | 82 | 83 | 0.010046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_988-5_1_4_trafo_50 | 0.25 MVA 20/0.4 kV | 84 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2617636.7124 | 1222951.8971 | 2617636.7221 | 1222952.6176
1 | 2617636.4104 | 1222929.5059 | 2617636.7124 | 1222951.8971
2 | 2617636.4104 | 1222929.5059 | 2617636.1194 | 1222907.9254
3 | 2617635.8166 | 1222885.4711 | 2617636.1194 | 1222907.9254
4 | 2617635.7581 | 1222881.1364 | 2617635.8166 | 1222885.4711
5 | 2617635.5376 | 1222864.7866 | 2617635.7581 | 1222881.1364
6 | 2617550.4674 | 1222835.3469 | 2617565.4403 | 1222812.4302
7 | 2617572.27 | 1222801.9771 | 2617565.4403 | 1222812.4302
8 | 2617547.0549 | 1222840.5699 | 2617550.4674 | 1222835.3469
9 | 2617572.27 | 1222801.9771 | 2617555.6523 | 1222799.9279
10 | 2617572.27 | 1222801.9771 | 2617580.5303 | 1222791.0505 | 2617584.2728 | 1222784.6356
11 | 2617547.0549 | 1222840.5699 | 2617542.1394 | 1222851.3729
12 | 2617524.0689 | 1222796.0333 | 2617555.6523 | 1222799.9279
13 | 2617584.2728 | 1222784.6356 | 2617623.3948 | 1222787.7972 | 2617627.377 | 1222788.5362
14 | 2617542.1394 | 1222851.3729 | 2617533.9598 | 1222869.3697
15 | 2617542.1394 | 1222851.3729 | 2617564.3201 | 1222858.9921
16 | 2617642.7527 | 1222791.3897 | 2617627.377 | 1222788.5362
17 | 2617533.9598 | 1222869.3697 | 2617527.3005 | 1222884.0216
18 | 2617581.9656 | 1222865.0535 | 2617564.3201 | 1222858.9921
19 | 2617642.7527 | 1222791.3897 | 2617639.151 | 1222804.8988
20 | 2617473.7353 | 1222849.7851 | 2617474.0025 | 1222849.7161
21 | 2617454.5159 | 1222854.6259 | 2617463.1916 | 1222852.5089 | 2617473.7353 | 1222849.7851
22 | 2617454.5159 | 1222854.6259 | 2617451.6855 | 1222855.3166
23 | 2617451.6855 | 1222855.3166 | 2617436.3932 | 1222859.0481
24 | 2617427.9413 | 1222861.1105 | 2617436.3932 | 1222859.0481
25 | 2617517.5541 | 1222905.4656 | 2617527.3005 | 1222884.0216
26 | 2617359.9952 | 1222877.6905 | 2617352.075 | 1222879.6231 | 2617346.5239 | 1222880.9816
27 | 2617359.9952 | 1222877.6905 | 2617371.9541 | 1222874.7723
28 | 2617330.552 | 1222884.8903 | 2617346.5239 | 1222880.9816
29 | 2617386.4227 | 1222871.2417 | 2617371.9541 | 1222874.7723
30 | 2617305.5173 | 1222891.0169 | 2617330.552 | 1222884.8903
31 | 2617386.4227 | 1222871.2417 | 2617394.6995 | 1222869.2221
32 | 2617310.9595 | 1222928.5991 | 2617311.6255 | 1222918.5729 | 2617305.5173 | 1222891.0169
33 | 2617305.5173 | 1222891.0169 | 2617304.6282 | 1222887.0506
34 | 2617394.6995 | 1222869.2221 | 2617405.1892 | 1222866.6624
35 | 2617310.9595 | 1222928.5991 | 2617283.8445 | 1222926.2386
36 | 2617310.9595 | 1222928.5991 | 2617337.9608 | 1222932.3129 | 2617339.6233 | 1222932.1133
37 | 2617300.4915 | 1222868.597 | 2617304.6282 | 1222887.0506
38 | 2617415.1748 | 1222864.2258 | 2617405.1892 | 1222866.6624
39 | 2617635.5376 | 1222864.7866 | 2617635.4556 | 1222858.7074 | 2617635.4556 | 1222858.7074
40 | 2617635.4556 | 1222858.7074 | 2617635.8901 | 1222844.3306
41 | 2617635.8901 | 1222844.3306 | 2617635.9953 | 1222840.8491
42 | 2617636.4357 | 1222826.2779 | 2617635.9953 | 1222840.8491
43 | 2617636.4357 | 1222826.2779 | 2617636.5942 | 1222821.0323
44 | 2617639.151 | 1222804.8988 | 2617636.8173 | 1222813.6519 | 2617636.5942 | 1222821.0323
45 | 2617415.1748 | 1222864.2258 | 2617427.9413 | 1222861.1105
46 | 2617517.5541 | 1222905.4656 | 2617542.3051 | 1222901.8775
47 | 2617498.6529 | 1222922.1199 | 2617510.9379 | 1222914.3958 | 2617517.5541 | 1222905.4656
48 | 2617542.3051 | 1222901.8775 | 2617551.8308 | 1222900.4966 | 2617551.8308 | 1222900.4966
49 | 2617498.6529 | 1222922.1199 | 2617487.4743 | 1222925.9007
50 | 2617551.8308 | 1222900.4966 | 2617565.9091 | 1222907.053 | 2617573.5547 | 1222914.838
51 | 2617487.4743 | 1222925.9007 | 2617481.3553 | 1222927.9702
52 | 2617572.5967 | 1222935.7338 | 2617579.2463 | 1222920.6334 | 2617573.5547 | 1222914.838
53 | 2617465.8554 | 1222932.1854 | 2617472.9727 | 1222930.8054 | 2617481.3553 | 1222927.9702
54 | 2617243.0687 | 1222932.7739 | 2617256.3894 | 1222933.7775 | 2617257.5718 | 1222933.971
55 | 2617227.2084 | 1222928.5347 | 2617239.664 | 1222932.5174 | 2617243.0687 | 1222932.7739
56 | 2617279.7255 | 1222938.3588 | 2617267.1831 | 1222935.5431 | 2617257.5718 | 1222933.971
57 | 2617227.2084 | 1222928.5347 | 2617252.9838 | 1222927.2796
58 | 2617227.2084 | 1222928.5347 | 2617228.021 | 1222862.4319
59 | 2617279.7255 | 1222938.3588 | 2617280.9328 | 1222943.0539 | 2617280.7025 | 1222943.886
60 | 2617283.8445 | 1222926.2386 | 2617280.4439 | 1222925.9425 | 2617252.9838 | 1222927.2796
61 | 2617280.7025 | 1222943.886 | 2617279.8752 | 1222946.8753 | 2617276.9894 | 1222952.7035
62 | 2617341.2763 | 1222931.9148 | 2617339.6233 | 1222932.1133
63 | 2617300.4915 | 1222868.597 | 2617300.008 | 1222866.4402
64 | 2617341.2763 | 1222931.9148 | 2617361.0134 | 1222929.5448
65 | 2617361.0134 | 1222929.5448 | 2617382.3469 | 1222926.9832 | 2617389.1239 | 1222926.1787
66 | 2617389.1239 | 1222926.1787 | 2617396.2557 | 1222981.5957
67 | 2617389.1239 | 1222926.1787 | 2617396.0907 | 1222925.3517
68 | 2617427.4312 | 1222924.8876 | 2617417.2654 | 1222922.838 | 2617396.0907 | 1222925.3517
69 | 2617286.5713 | 1222815.9405 | 2617309.4708 | 1222814.2746
70 | 2617286.5713 | 1222815.9405 | 2617289.6254 | 1222827.1158
71 | 2617286.5713 | 1222815.9405 | 2617278.0582 | 1222802.9371
72 | 2617293.7062 | 1222842.048 | 2617289.6254 | 1222827.1158
73 | 2617278.0582 | 1222802.9371 | 2617273.6139 | 1222796.1485
74 | 2617300.008 | 1222866.4402 | 2617298.3451 | 1222859.022 | 2617293.7062 | 1222842.048
75 | 2617270.7763 | 1222791.8141 | 2617270.7763 | 1222791.8141 | 2617273.6139 | 1222796.1485
76 | 2617427.4312 | 1222924.8876 | 2617437.9931 | 1222927.017
77 | 2617463.5956 | 1222932.1787 | 2617437.9931 | 1222927.017
78 | 2617465.8554 | 1222932.1854 | 2617463.5956 | 1222932.1787
79 | 2617570.7034 | 1222940.0196 | 2617572.5967 | 1222935.7338
80 | 2617572.5967 | 1222935.7338 | 2617564.9803 | 1222931.4978 | 2617557.5703 | 1222929.2414
81 | 2617547.9013 | 1222934.4493 | 2617549.8598 | 1222931.2199 | 2617557.5703 | 1222929.2414
82 | 2617270.7763 | 1222791.8141 | 2617264.4126 | 1222784.0403

## bus_geodata
| x | y | coords
0 | 2617636.7124 | 1222951.8971
1 | 2617636.7221 | 1222952.6176
2 | 2617636.4104 | 1222929.5059
3 | 2617636.1194 | 1222907.9254
4 | 2617635.8166 | 1222885.4711
5 | 2617635.7581 | 1222881.1364
6 | 2617565.4403 | 1222812.4302
7 | 2617550.4674 | 1222835.3469
8 | 2617572.27 | 1222801.9771
9 | 2617547.0549 | 1222840.5699
10 | 2617555.6523 | 1222799.9279
11 | 2617584.2728 | 1222784.6356
12 | 2617542.1394 | 1222851.3729
13 | 2617524.0689 | 1222796.0333
14 | 2617627.377 | 1222788.5362
15 | 2617533.9598 | 1222869.3697
16 | 2617564.3201 | 1222858.9921
17 | 2617642.7527 | 1222791.3897
18 | 2617474.0025 | 1222849.7161
19 | 2617473.7353 | 1222849.7851
20 | 2617454.5159 | 1222854.6259
21 | 2617451.6855 | 1222855.3166
22 | 2617436.3932 | 1222859.0481
23 | 2617527.3005 | 1222884.0216
24 | 2617581.9656 | 1222865.0535
25 | 2617359.9952 | 1222877.6905
26 | 2617346.5239 | 1222880.9816
27 | 2617371.9541 | 1222874.7723
28 | 2617330.552 | 1222884.8903
29 | 2617386.4227 | 1222871.2417
30 | 2617305.5173 | 1222891.0169
31 | 2617394.6995 | 1222869.2221
32 | 2617310.9595 | 1222928.5991
33 | 2617304.6282 | 1222887.0506
34 | 2617405.1892 | 1222866.6624
35 | 2617635.5376 | 1222864.7866
36 | 2617635.4556 | 1222858.7074
37 | 2617635.8901 | 1222844.3306
38 | 2617635.9953 | 1222840.8491
39 | 2617636.4357 | 1222826.2779
40 | 2617636.5942 | 1222821.0323
41 | 2617415.1748 | 1222864.2258
42 | 2617427.9413 | 1222861.1105
43 | 2617639.151 | 1222804.8988
44 | 2617517.5541 | 1222905.4656
45 | 2617542.3051 | 1222901.8775
46 | 2617498.6529 | 1222922.1199
47 | 2617551.8308 | 1222900.4966
48 | 2617487.4743 | 1222925.9007
49 | 2617573.5547 | 1222914.838
50 | 2617481.3553 | 1222927.9702
51 | 2617243.0687 | 1222932.7739
52 | 2617257.5718 | 1222933.971
53 | 2617227.2084 | 1222928.5347
54 | 2617279.7255 | 1222938.3588
55 | 2617252.9838 | 1222927.2796
56 | 2617228.021 | 1222862.4319
57 | 2617280.7025 | 1222943.886
58 | 2617283.8445 | 1222926.2386
59 | 2617339.6233 | 1222932.1133
60 | 2617276.9894 | 1222952.7035
61 | 2617300.4915 | 1222868.597
62 | 2617341.2763 | 1222931.9148
63 | 2617361.0134 | 1222929.5448
64 | 2617389.1239 | 1222926.1787
65 | 2617396.2557 | 1222981.5957
66 | 2617396.0907 | 1222925.3517
67 | 2617309.4708 | 1222814.2746
68 | 2617286.5713 | 1222815.9405
69 | 2617289.6254 | 1222827.1158
70 | 2617278.0582 | 1222802.9371
71 | 2617293.7062 | 1222842.048
72 | 2617273.6139 | 1222796.1485
73 | 2617427.4312 | 1222924.8876
74 | 2617437.9931 | 1222927.017
75 | 2617463.5956 | 1222932.1787
76 | 2617465.8554 | 1222932.1854
77 | 2617572.5967 | 1222935.7338
78 | 2617570.7034 | 1222940.0196
79 | 2617557.5703 | 1222929.2414
80 | 2617547.9013 | 1222934.4493
81 | 2617300.008 | 1222866.4402
82 | 2617270.7763 | 1222791.8141
83 | 2617264.4126 | 1222784.0403
84 | 2617547.0549 | 1222840.5699

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1